## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-01-27 | 1 | 13:43

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Jan 24, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2022-02-07 14:50 | 2023-02-07 14:49 |  | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2022-02-28 10:52 | 2023-02-27 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Unavoidable Extension | 99 | 0 | 99 | 2022-03-15 10:27 | 2023-02-15 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Unavoidable Extension | 61 | 0 | 61 | 2022-03-15 10:27 | 2023-02-15 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 258 | 226 | 32 | 2022-05-03 17:17 | 2023-01-31 23:59 |  | Exhaust Problems/Repairs
RDCANYON | RDCANYON_RDCNY1 | Wind | Forced Extension | 90 | 83 | 7 | 2022-05-08 22:26 | 2023-01-31 23:59 |  | Other
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 503 | 20 | 2022-05-12 18:30 | 2023-03-24 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2022-05-23 11:30 | 2023-05-23 11:29 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-01-31 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-01-31 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-01-31 23:59 |  | Other
DECKER | DECKER_DPGT_2 | Natural Gas | Forced Extension | 54 | 25 | 29 | 2022-07-08 16:41 | 2023-02-15 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
WHTTAIL | WHTTAIL_WR1 | Wind | Forced Extension | 113 | 102 | 11 | 2022-08-01 00:01 | 2023-01-31 23:59 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-08-18 19:25 | 2023-02-10 23:59 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2022-09-02 13:53 | 2023-01-31 23:59 | 2023-01-25 19:26 | Feedwater Problems/Repairs
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-01-31 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
GBY | GBY_GBYGT74 | Natural Gas | Unavoidable Extension | 65 | 0 | 65 | 2022-09-19 00:01 | 2023-01-26 23:59 | 2023-01-26 09:06 | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 50 | 96 | 2022-09-19 23:21 | 2023-02-13 18:00 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-02-15 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-01-31 23:59 |  | Exhaust Problems/Repairs
MARBFA | MARBFA_MARBFAG1 | Water | Unavoidable Extension | 21 | 0 | 21 | 2022-10-10 07:00 | 2023-02-10 18:00 |  | Other
MARBFA | MARBFA_MARBFAG2 | Water | Unavoidable Extension | 20 | 0 | 20 | 2022-10-10 07:00 | 2023-02-10 18:00 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 67 | 86 | 2022-10-14 17:00 | 2023-02-28 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 79 | 68 | 2022-10-14 17:00 | 2023-02-28 23:59 |  | Turbine/Generator Vibration/Repair
PTLBES | PTLBES_BESS1 | Not Available | Forced Extension | 10 | 5 | 5 | 2022-10-19 07:01 | 2023-06-21 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Unavoidable Extension | 185 | 0 | 185 | 2022-10-29 00:01 | 2023-03-03 |  | Combustion Inspection and Repair
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 768 | 68 | 2022-10-29 11:19 | 2023-01-31 23:59 |  | Exhaust Problems/Repairs
B_DAVIS | B_DAVIS_B_DAVIG1 | Natural Gas | Unavoidable Extension | 292 | 0 | 292 | 2022-11-01 00:01 | 2023-01-30 23:59 |  | Other
OLINGR | OLINGR_OLING_2 | Natural Gas | Unavoidable Extension | 107 | 0 | 107 | 2022-11-01 06:10 | 2023-01-27 18:00 |  | Overhaul
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced Extension | 180 | 173 | 7 | 2022-11-04 19:00 | 2023-02-28 18:59 | 2023-01-26 08:33 | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 90 | 35 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 17 | 113 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-01-31 23:59 |  | Exhaust Problems/Repairs
WL_RANCH | WL_RANCH_UNIT1 | Wind | Forced Extension | 200 | 189 | 11 | 2022-11-11 08:17 | 2023-02-28 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Unavoidable Extension | 258 | 0 | 258 | 2022-11-12 | 2023-03-03 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2022-11-14 09:55 | 2023-02-13 18:00 |  | Feedwater Problems/Repairs
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 512 | 40 | 2022-11-16 08:35 | 2023-01-31 23:59 |  | Exhaust Problems/Repairs
S_HILLS | S_HILLS_UNIT1 | Wind | Forced Extension | 30 | 25 | 5 | 2022-11-21 15:52 | 2023-01-31 23:59 |  | Turbine/Generator Vibration/Repair
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 185 | 0 | 185 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
DIB | DIB_DIB_G4 | Natural Gas | Unavoidable Extension | 82 | 0 | 82 | 2022-11-25 03:42 | 2023-02-10 16:00 |  | Inlet Air Problems/Repairs
ANCHOR | ANCHOR_BESS1 | Not Available | Forced | 35 | 20 | 15 | 2022-11-26 23:35 | 2023-01-30 17:00 |  | Other
ANCHOR | ANCHOR_BESS2 | Not Available | Forced | 36 | 20 | 16 | 2022-11-26 23:35 | 2023-01-30 17:00 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Unavoidable Extension | 109 | 105 | 4 | 2022-11-29 12:35 | 2023-01-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Unavoidable Extension | 190 | 119 | 71 | 2022-11-29 12:35 | 2023-01-31 23:59 |  | Other
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-01-31 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 59 | 0 | 59 | 2022-11-30 11:44 | 2023-01-31 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG11 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2022-12-03 14:48 | 2023-05-31 18:00 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced Extension | 391 | 370 | 21 | 2022-12-04 07:54 | 2023-03-01 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 87 | 75 | 12 | 2022-12-05 10:42 | 2023-01-31 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG10 | Natural Gas | Unavoidable Extension | 84 | 0 | 84 | 2022-12-06 17:06 | 2023-02-01 17:00 |  | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 87 | 75 | 12 | 2022-12-06 20:50 | 2023-01-31 23:59 | 2023-01-24 06:23 | Lack of Steam Load Availability
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2022-12-08 02:12 | 2023-06-30 23:59 |  | Other
UCC_COGN | UCC_COGN_UCC_C_2 | Blast-Furnace Gas | Maintenance Level 1 | 15 | 0 | 15 | 2022-12-08 16:30 | 2023-01-31 17:00 |  | Lack of Steam Load Availability
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 87 | 0 | 87 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 81 | 0 | 81 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 110 | 0 | 110 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBY4 | CBY4_CT41 | Natural Gas | Forced Extension | 173 | 159 | 14 | 2022-12-15 05:42 | 2023-03-02 23:59 |  | Exhaust Problems/Repairs
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-03-01 16:00 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Unavoidable Extension | 121 | 115 | 6 | 2022-12-17 15:28 | 2023-03-31 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 193 | 8 | 2022-12-19 10:11 | 2023-01-31 23:59 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 135 | 8 | 2022-12-20 08:00 | 2023-02-24 17:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 111 | 5 | 2022-12-20 08:00 | 2023-02-24 17:00 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Unavoidable Extension | 50 | 33 | 17 | 2022-12-20 14:41 | 2023-01-31 12:00 |  | Fuel Limitation/Lack of Fuel Availability
CITYVICT | CITYVICT_CTG02 | Natural Gas | Forced Extension | 50 | 43 | 7 | 2022-12-20 14:41 | 2023-01-31 12:00 |  | Fuel Problems/Repairs
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 10 | 120 | 2022-12-20 15:00 | 2023-01-31 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 10 | 60 | 2022-12-20 15:00 | 2023-01-31 17:00 |  | Other
GRANDVW1 | GRANDVW1_COLA | Wind | Forced | 100 | 98 | 2 | 2022-12-21 15:00 | 2023-01-31 20:00 |  | Other
GRIZZLY | GRIZZLY_SOLAR1 | Solar | Forced | 100 | 20 | 80 | 2022-12-21 15:33 | 2023-02-28 17:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 107 | 19 | 2022-12-22 14:23 | 2023-02-09 13:00 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 186 | 160 | 26 | 2022-12-23 06:30 | 2023-03-02 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced Extension | 150 | 108 | 42 | 2022-12-23 07:00 | 2023-02-03 18:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced Extension | 150 | 142 | 8 | 2022-12-23 07:00 | 2023-02-03 18:00 |  | Other
APPALOSA | APPALOSA_UNIT1 | Wind | Forced | 158 | 141 | 17 | 2022-12-23 13:31 | 2023-01-31 14:32 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 54 | 25 | 29 | 2022-12-23 18:08 | 2023-04-14 23:59 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced Extension | 150 | 0 | 150 | 2022-12-23 23:59 | 2023-01-31 23:53 |  | Other
HLSES | HLSES_UNIT3 | Natural Gas | Forced Extension | 375 | 0 | 375 | 2022-12-24 10:01 | 2023-02-12 23:59 | 2023-01-26 00:21 | Fuel Limitation/Lack of Fuel Availability
HLSES | HLSES_UNIT5 | Natural Gas | Forced Extension | 435 | 200 | 235 | 2022-12-24 10:01 | 2023-02-15 23:59 | 2023-01-26 00:31 | Fuel Limitation/Lack of Fuel Availability
ROSELAND | ROSELAND_BESS1 | Not Available | Forced | 50 | 20 | 30 | 2022-12-24 22:16 | 2023-01-31 17:00 |  | Other
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 20 | 65 | 2022-12-24 22:16 | 2023-01-31 17:00 |  | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-02-03 23:59 |  | Cooling Water Problems/Repairs
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 149 | 20 | 2022-12-30 16:00 | 2023-01-31 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 161 | 8 | 2022-12-30 16:00 | 2023-01-31 16:00 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 210 | 3 | 2022-12-30 16:39 | 2023-01-31 23:59 | 2023-01-24 16:54 | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced | 14 | 14 | 0 | 2022-12-30 16:49 | 2023-01-31 23:59 |  | Other
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 42 | 46 | 2022-12-31 17:16 | 2023-03-15 12:00 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 28 | 62 | 2022-12-31 17:16 | 2023-03-15 12:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1235 | 1232 | 3 | 2022-12-31 23:31 | 2023-06-23 10:00 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1225 | 1210 | 15 | 2022-12-31 23:33 | 2023-04-23 23:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-03-31 13:14 |  | Other
RIONOG | RIONOG_CT1 | Natural Gas | Forced | 193 | 162 | 31 | 2023-01-01 | 2023-01-31 23:59 |  | Other
RIONOG | RIONOG_CT2 | Natural Gas | Forced | 193 | 162 | 31 | 2023-01-01 | 2023-01-31 23:59 |  | Other
RIONOG | RIONOG_CT3 | Natural Gas | Forced | 193 | 162 | 31 | 2023-01-01 | 2023-01-31 23:59 |  | Other
RIONOG | RIONOG_ST1 | Blast-Furnace Gas | Forced | 319 | 306 | 13 | 2023-01-01 | 2023-01-31 23:59 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 278 | 247 | 31 | 2023-01-01 00:01 | 2023-04-17 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-04-02 08:59 |  | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Forced Extension | 219 | 0 | 219 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Forced Extension | 258 | 120 | 138 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 855 | 0 | 2023-01-02 06:00 | 2023-01-31 03:59 |  | Other
SALVTION | SALVTION_UNIT2 | Wind | Forced | 125 | 0 | 125 | 2023-01-03 11:00 | 2023-01-31 18:00 |  | Turbine/Generator Vibration/Repair
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 176 | 10 | 2023-01-03 12:37 | 2023-01-25 11:59 | 2023-01-25 11:59 | Turbine/Generator Vibration/Repair
CRANELL | CRANELL_UNIT1 | Wind | Forced | 220 | 207 | 13 | 2023-01-03 14:55 | 2023-02-03 17:00 |  | Other
GIDEON | GIDEON_GIDEONG2 | Natural Gas | Forced Extension | 135 | 0 | 135 | 2023-01-04 10:00 | 2023-02-05 20:00 |  | Other
CAPRIDG4 | CAPRIDG4_CR4 | Wind | Forced | 122 | 121 | 1 | 2023-01-04 14:41 | 2023-01-31 23:59 | 2023-01-24 04:50 | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 135 | 16 | 2023-01-04 15:51 | 2023-01-29 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 134 | 17 | 2023-01-04 15:51 | 2023-01-29 18:00 |  | Other
TAYGETE2 | TAYGETE2_UNIT2 | Solar | Forced | 102 | 0 | 102 | 2023-01-05 05:00 | 2023-01-31 23:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 3 | 147 | 2023-01-05 05:53 | 2023-01-31 23:59 |  | Other
CHE | CHE_CHEGT1 | Natural Gas | Unavoidable Extension | 135 | 0 | 135 | 2023-01-06 20:24 | 2023-02-19 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 176 | 155 | 21 | 2023-01-06 20:24 | 2023-02-19 23:59 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced Extension | 138 | 127 | 11 | 2023-01-07 08:23 | 2023-01-27 12:00 |  | Other
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced Extension | 51 | 33 | 18 | 2023-01-07 20:01 | 2023-02-01 16:00 |  | Other
WHMESA | WHMESA_UNIT2_28 | Wind | Forced | 183 | 155 | 28 | 2023-01-08 10:07 | 2023-01-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 133 | 19 | 2023-01-08 10:08 | 2023-01-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 112 | 21 | 2023-01-08 10:08 | 2023-01-31 23:59 |  | Other
SL | SL_SL_G1 | Natural Gas | Unavoidable Extension | 75 | 0 | 75 | 2023-01-09 07:00 | 2023-01-26 17:00 | 2023-01-26 19:00 | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 4 | 142 | 2023-01-10 10:00 | 2023-01-31 23:59 |  | Other
SALVTION | SALVTION_UNIT2 | Wind | Unavoidable Extension | 125 | 0 | 125 | 2023-01-11 08:00 | 2023-01-31 18:00 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 129 | 36 | 2023-01-11 08:31 | 2023-01-31 17:00 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR1A | Wind | Forced | 46 | 0 | 46 | 2023-01-12 14:43 | 2023-03-01 18:00 | 2023-01-26 14:11 | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 0 | 52 | 2023-01-12 14:43 | 2023-03-01 18:00 | 2023-01-26 14:11 | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced | 25 | 0 | 25 | 2023-01-12 14:43 | 2023-03-01 18:00 | 2023-01-26 14:11 | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 0 | 123 | 2023-01-12 14:43 | 2023-03-01 18:00 | 2023-01-26 14:11 | Transformer Repair/Replace
HHGT | HHGT_HHOLLOW3 | Wind | Forced | 224 | 224 | 0 | 2023-01-12 14:56 | 2023-02-28 23:59 | 2023-01-26 22:21 | Other
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 120 | 11 | 2023-01-12 17:30 | 2023-01-29 18:00 | 2023-01-25 00:59 | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 95 | 25 | 2023-01-12 17:30 | 2023-01-29 18:00 |  | Other
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Unavoidable Extension | 68 | 57 | 11 | 2023-01-13 07:30 | 2023-01-27 16:30 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-03-31 09:24 |  | Other
DERMOTT | DERMOTT_UNIT1 | Wind | Forced Extension | 127 | 108 | 19 | 2023-01-14 09:40 | 2023-02-03 18:00 |  | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced Extension | 127 | 119 | 8 | 2023-01-14 09:40 | 2023-02-03 18:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 105 | 20 | 2023-01-14 14:18 | 2023-01-26 07:59 | 2023-01-26 07:59 | Other
RHESS2 | RHESS2_ESS_1 | Other | Forced Extension | 10 | 8 | 2 | 2023-01-15 09:18 | 2023-02-03 23:59 |  | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced Extension | 46 | 42 | 4 | 2023-01-15 11:24 | 2023-01-27 16:00 |  | Unknown
WIPOPA | WIPOPA_WPP_G3 | Natural Gas | Unavoidable Extension | 46 | 0 | 46 | 2023-01-16 01:00 | 2023-01-28 18:00 |  | Other
TYLRWIND | TYLRWIND_UNIT1 | Wind | Forced Extension | 126 | 114 | 12 | 2023-01-16 19:10 | 2023-01-23 23:59 | 2023-01-24 00:18 | Other
DEC | DEC_AGR_D | Natural Gas | Forced Extension | 56 | 38 | 18 | 2023-01-17 09:55 | 2023-01-26 22:00 | 2023-01-25 02:47 | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 179 | 3 | 2023-01-17 15:22 | 2023-01-31 23:59 |  | Other
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced | 50 | 49 | 1 | 2023-01-17 17:01 | 2023-01-31 17:00 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 131 | 32 | 2023-01-17 17:04 | 2023-01-31 17:00 | 2023-01-24 09:54 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 66 | 29 | 2023-01-17 18:27 | 2023-01-31 22:00 | 2023-01-24 17:19 | Other
FORMOSA | FORMOSA_FORMOSG7 | Purchased Steam | Forced Extension | 62 | 0 | 62 | 2023-01-17 18:52 | 2023-02-01 18:00 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 21 | 34 | 2023-01-17 20:02 | 2023-12-28 23:59 | 2023-01-27 10:25 | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-17 20:04 | 2023-12-28 23:59 | 2023-01-27 10:26 | Other
WILDWIND | WILDWIND_UNIT5 | Wind | Forced | 53 | 34 | 19 | 2023-01-17 20:33 | 2023-12-28 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 96 | 7 | 2023-01-17 22:25 | 2023-01-31 22:25 | 2023-01-25 11:30 | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced Extension | 75 | 65 | 10 | 2023-01-18 07:19 | 2023-02-06 07:31 | 2023-01-26 08:46 | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 110 | 5 | 2023-01-18 09:31 | 2023-01-31 23:59 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 0 | 23 | 2023-01-18 09:47 | 2023-12-28 23:59 |  | Other
EGROVESL | EGROVESL_UNIT1 | Solar | Forced | 108 | 106 | 2 | 2023-01-18 16:23 | 2023-01-29 16:22 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 138 | 12 | 2023-01-19 00:07 | 2023-02-28 23:59 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 179 | 5 | 2023-01-19 06:13 | 2023-03-31 23:59 |  | Other
TAYGETE2 | TAYGETE2_UNIT1 | Solar | Forced | 102 | 71 | 31 | 2023-01-19 09:40 | 2023-01-31 23:59 |  | Other
TAYGETE2 | TAYGETE2_UNIT1 | Solar | Forced | 102 | 0 | 102 | 2023-01-19 11:08 | 2023-01-31 23:59 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 150 | 32 | 2023-01-19 16:50 | 2023-01-31 23:59 |  | Other
DOWGEN | DOWGEN_DOW_ST65 | Natural Gas | Forced Extension | 95 | 0 | 95 | 2023-01-19 18:06 | 2023-01-30 17:00 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 86 | 15 | 2023-01-19 21:04 | 2023-01-25 18:00 | 2023-01-24 18:46 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 820 | 35 | 2023-01-20 05:04 | 2023-01-25 20:00 | 2023-01-25 00:03 | Other
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 100 | 20 | 2023-01-20 08:33 | 2023-01-25 18:00 | 2023-01-24 18:14 | Turbine/Generator Vibration/Repair
MUSTNGCK | MUSTNGCK_SOLAR1 | Solar | Forced Extension | 60 | 33 | 27 | 2023-01-20 11:01 | 2023-02-03 17:00 |  | Other
MUSTNGCK | MUSTNGCK_SOLAR2 | Solar | Forced Extension | 90 | 47 | 43 | 2023-01-20 11:01 | 2023-02-03 17:00 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 128 | 16 | 2023-01-20 14:47 | 2023-01-27 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 128 | 16 | 2023-01-20 14:47 | 2023-01-27 18:00 |  | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 148 | 13 | 2023-01-20 18:58 | 2023-01-25 18:00 | 2023-01-24 18:19 | Turbine/Generator Vibration/Repair
FORMOSA | FORMOSA_FORMOSG14 | Natural Gas | Maintenance Level 2 | 100 | 0 | 100 | 2023-01-20 20:00 | 2023-02-07 18:00 |  | Combustion Inspection and Repair
EXN | EXN_EXN_G2 | Natural Gas | Forced | 33 | 0 | 33 | 2023-01-20 20:22 | 2023-01-25 | 2023-01-25 | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 93 | 16 | 2023-01-20 21:10 | 2023-01-24 23:59 | 2023-01-24 23:59 | Other
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 87 | 22 | 2023-01-20 21:10 | 2023-01-24 23:59 | 2023-01-24 23:59 | Other
GUNMTN | GUNMTN_G1 | Wind | Forced | 120 | 107 | 13 | 2023-01-21 14:00 | 2023-01-28 16:00 |  | Other
PLN | PLN_UNIT1 | Solar | Forced Extension | 257 | 224 | 33 | 2023-01-22 10:00 | 2023-01-30 18:00 |  | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 25 | 3 | 2023-01-22 12:10 | 2023-01-24 18:00 |  | Other
KING_SE | KING_SE_KINGSE | Wind | Forced | 41 | 33 | 8 | 2023-01-22 15:43 | 2023-02-28 23:59 |  | Other
HAYSEN | HAYSEN_HAYSENG2 | Natural Gas | Forced | 240 | 216 | 24 | 2023-01-22 18:06 | 2023-03-15 18:06 |  | Feedwater Problems/Repairs
KING_SW | KING_SW_KINGSW | Wind | Forced | 80 | 54 | 26 | 2023-01-22 20:16 | 2023-02-28 23:59 | 2023-01-27 04:13 | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 768 | 56 | 2023-01-22 21:58 | 2023-01-23 23:59 | 2023-01-24 | Inlet Air Problems/Repairs
SALTFORK | SALTFORK_UNIT1 | Wind | Forced | 64 | 59 | 5 | 2023-01-22 23:51 | 2023-01-27 23:59 |  | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced | 110 | 105 | 5 | 2023-01-22 23:51 | 2023-01-27 23:59 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 200 | 90 | 110 | 2023-01-23 00:01 | 2023-01-27 23:59 |  | Tube Leak
BTE | BTE_BTE_G4 | Natural Gas | Forced Extension | 156 | 0 | 156 | 2023-01-23 00:01 | 2023-01-27 23:59 |  | Tube Leak
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 55 | 25 | 2023-01-23 05:41 | 2023-02-28 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 68 | 18 | 2023-01-23 05:41 | 2023-02-28 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 127 | 11 | 2023-01-23 06:06 | 2023-02-28 07:12 | 2023-01-26 15:28 | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 508 | 328 | 2023-01-23 06:27 | 2023-01-23 23:59 | 2023-01-24 | Emissions
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 125 | 24 | 2023-01-23 07:33 | 2023-01-31 23:59 | 2023-01-24 07:47 | Other
BRP_LOP1 | BRP_LOP1_UNIT1 | Not Available | Maintenance Level 2 | 10 | 0 | 10 | 2023-01-23 11:15 | 2023-01-24 15:20 | 2023-01-24 15:15 | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 138 | 13 | 2023-01-23 11:26 | 2023-01-30 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 86 | 12 | 2023-01-23 11:26 | 2023-01-30 14:00 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 57 | 23 | 2023-01-23 15:33 | 2023-02-28 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 93 | 10 | 2023-01-23 16:22 | 2023-01-30 23:59 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 85 | 30 | 2023-01-23 17:30 | 2023-02-06 23:59 | 2023-01-26 08:48 | Other
AEEC | AEEC_ANTLP_3 | Natural Gas | Forced | 56 | 36 | 20 | 2023-01-23 17:46 | 2023-01-24 23:59 | 2023-01-24 12:04 | Unknown
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 57 | 35 | 2023-01-23 18:06 | 2023-01-31 23:59 | 2023-01-24 00:52 | Other
INRT_W | INRT_W_UNIT1 | Wind | Forced | 68 | 42 | 26 | 2023-01-23 19:09 | 2023-02-28 23:59 | 2023-01-25 08:35 | Other
INRT_W | INRT_W_UNIT2 | Wind | Forced | 28 | 14 | 14 | 2023-01-23 19:09 | 2023-02-28 23:59 | 2023-01-25 08:35 | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced | 50 | 35 | 15 | 2023-01-23 19:30 | 2023-01-24 16:00 | 2023-01-24 09:53 | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 44 | 48 | 2023-01-23 19:52 | 2023-02-28 23:59 | 2023-01-24 10:36 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 42 | 58 | 2023-01-23 20:00 | 2023-01-30 20:00 |  | Turbine/Generator Vibration/Repair
SANMIGL | SANMIGL_G1 | Lignite | Forced Extension | 391 | 0 | 391 | 2023-01-23 20:43 | 2023-01-24 10:00 | 2023-01-24 11:28 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 81 | 9 | 2023-01-23 21:00 | 2023-02-06 23:59 | 2023-01-24 09:28 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 117 | 9 | 2023-01-23 21:00 | 2023-02-06 23:59 | 2023-01-24 09:28 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 56 | 46 | 2023-01-23 22:00 | 2023-01-30 20:00 |  | Turbine/Generator Vibration/Repair
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced | 239 | 222 | 17 | 2023-01-24 | 2023-01-24 23:59 | 2023-01-24 23:57 | Other
HAYSEN | HAYSEN_HAYSENG2 | Natural Gas | Forced | 240 | 221 | 19 | 2023-01-24 | 2023-01-24 23:59 | 2023-01-24 23:57 | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 768 | 56 | 2023-01-24 | 2023-01-25 23:45 | 2023-01-25 19:26 | Inlet Air Problems/Repairs
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 508 | 328 | 2023-01-24 | 2023-01-27 23:59 | 2023-01-26 06:53 | Emissions
MCSES | MCSES_UNIT8 | Natural Gas | Maintenance Level 3 | 568 | 0 | 568 | 2023-01-24 00:01 | 2023-01-29 23:59 |  | Feedwater Problems/Repairs
MDANP | MDANP_CT1 | Natural Gas | Forced | 258 | 234 | 24 | 2023-01-24 00:01 | 2023-01-24 23:59 | 2023-01-24 23:59 | Other
MDANP | MDANP_CT5 | Natural Gas | Forced | 276 | 257 | 19 | 2023-01-24 00:01 | 2023-01-24 23:59 | 2023-01-24 23:59 | Other
MDANP | MDANP_CT6 | Natural Gas | Forced | 278 | 249 | 29 | 2023-01-24 00:01 | 2023-01-24 23:59 | 2023-01-24 23:59 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 186 | 175 | 11 | 2023-01-24 00:05 | 2023-01-24 23:59 | 2023-01-25 00:01 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 178 | 167 | 11 | 2023-01-24 00:05 | 2023-01-24 23:59 | 2023-01-25 00:01 | Other
LGE | LGE_LGE_GT1 | Natural Gas | Forced | 165 | 0 | 165 | 2023-01-24 00:10 | 2023-01-24 23:59 | 2023-01-24 18:50 | Other
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced | 75 | 58 | 17 | 2023-01-24 00:10 | 2023-01-24 23:59 | 2023-01-24 18:50 | Steam Turbine Limited/Unavailable Due to CT/GT Work
BYU | BYU_BYU_G4 | Natural Gas | Unavoidable Extension | 90 | 0 | 90 | 2023-01-24 00:13 | 2023-02-03 20:00 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 70 | 22 | 2023-01-24 00:53 | 2023-01-31 23:59 |  | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 795 | 60 | 2023-01-24 01:07 | 2023-01-24 06:59 | 2023-01-24 03:30 | Other
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced | 75 | 0 | 75 | 2023-01-24 02:52 | 2023-01-24 12:00 | 2023-01-24 11:05 | Control system issues
TGCCS | TGCCS_CT2 | Natural Gas | Forced Extension | 179 | 0 | 179 | 2023-01-24 04:08 | 2023-01-25 23:59 | 2023-01-24 14:06 | Other
TGCCS | TGCCS_UNIT4 | Natural Gas | Forced Extension | 389 | 239 | 150 | 2023-01-24 04:08 | 2023-01-25 23:59 | 2023-01-24 14:06 | Other
CBY4 | CBY4_CT41 | Natural Gas | Forced Extension | 173 | 0 | 173 | 2023-01-24 04:16 | 2023-01-24 19:45 | 2023-01-24 17:30 | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 186 | 93 | 93 | 2023-01-24 04:16 | 2023-01-24 19:45 | 2023-01-24 17:30 | Steam Turbine Limited/Unavailable Due to CT/GT Work
CAPRIDG4 | CAPRIDG4_CR4 | Wind | Forced | 122 | 110 | 12 | 2023-01-24 04:51 | 2023-01-31 23:59 | 2023-01-26 16:16 | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 207 | 25 | 2023-01-24 05:52 | 2023-02-28 23:59 |  | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 75 | 18 | 2023-01-24 05:55 | 2023-02-28 23:59 | 2023-01-24 16:50 | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 186 | 11 | 2023-01-24 05:59 | 2023-02-28 23:59 | 2023-01-26 16:10 | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced | 87 | 65 | 22 | 2023-01-24 06:23 | 2023-01-31 23:59 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 0 | 663 | 2023-01-24 07:00 | 2023-01-25 05:00 | 2023-01-25 00:15 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 0 | 153 | 2023-01-24 07:12 | 2023-03-01 17:00 | 2023-01-24 11:59 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 0 | 149 | 2023-01-24 07:12 | 2023-03-01 17:00 | 2023-01-24 11:59 | Other
SHAFFER | SHAFFER_UNIT1 | Wind | Unavoidable Extension | 226 | 0 | 226 | 2023-01-24 07:12 | 2023-01-27 01:00 | 2023-01-27 00:51 | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 132 | 17 | 2023-01-24 07:48 | 2023-01-31 23:59 | 2023-01-25 08:08 | Other
PR | PR_PR_G2 | Natural Gas | Forced Extension | 33 | 0 | 33 | 2023-01-24 08:37 | 2023-01-26 23:59 | 2023-01-25 23:45 | Other
CBY4 | CBY4_CT42 | Natural Gas | Forced | 173 | 0 | 173 | 2023-01-24 09:00 | 2023-01-24 10:00 | 2023-01-24 10:00 | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced | 186 | 0 | 186 | 2023-01-24 09:00 | 2023-01-24 10:00 | 2023-01-24 10:00 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 81 | 9 | 2023-01-24 09:14 | 2023-02-06 23:59 | 2023-01-25 07:28 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 90 | 36 | 2023-01-24 09:14 | 2023-02-06 23:59 | 2023-01-25 07:28 | Other
GUADG | GUADG_STM5 | Natural Gas | Forced | 203 | 187 | 16 | 2023-01-24 09:15 | 2023-01-24 23:59 | 2023-01-24 18:57 | Other
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 654 | 170 | 2023-01-24 09:16 | 2023-01-24 18:00 | 2023-01-24 15:59 | Fuel Limitation/Lack of Fuel Availability
AMISTAD | AMISTAD_AMISTAG2 | Water | Unavoidable Extension | 38 | 0 | 38 | 2023-01-24 09:35 | 2023-01-27 15:00 | 2023-01-26 15:00 | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced | 50 | 41 | 9 | 2023-01-24 09:54 | 2023-01-24 16:00 | 2023-01-24 16:00 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 120 | 43 | 2023-01-24 09:55 | 2023-01-31 17:00 |  | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 77 | 15 | 2023-01-24 10:34 | 2023-02-28 23:59 |  | Other
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 88 | 39 | 2023-01-24 10:40 | 2023-01-25 18:00 | 2023-01-24 13:07 | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 98 | 29 | 2023-01-24 10:40 | 2023-01-25 18:00 | 2023-01-24 13:07 | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 136 | 33 | 2023-01-24 10:45 | 2023-01-25 18:00 | 2023-01-24 13:08 | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 136 | 33 | 2023-01-24 10:45 | 2023-01-25 18:00 | 2023-01-24 16:24 | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 150 | 19 | 2023-01-24 10:45 | 2023-01-25 18:00 | 2023-01-24 13:08 | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 150 | 19 | 2023-01-24 10:45 | 2023-01-25 18:00 | 2023-01-24 16:24 | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 96 | 54 | 2023-01-24 10:45 | 2023-01-25 18:00 | 2023-01-24 13:07 | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 132 | 18 | 2023-01-24 10:45 | 2023-01-25 18:00 | 2023-01-24 13:07 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 775 | 80 | 2023-01-24 10:58 | 2023-01-24 16:29 | 2023-01-24 18:18 | Other
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 83 | 44 | 2023-01-24 13:08 | 2023-01-25 18:00 | 2023-01-25 13:25 | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 94 | 33 | 2023-01-24 13:08 | 2023-01-25 18:00 | 2023-01-25 13:25 | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 124 | 26 | 2023-01-24 13:08 | 2023-01-25 18:00 | 2023-01-24 16:24 | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 90 | 60 | 2023-01-24 13:08 | 2023-01-25 18:00 | 2023-01-24 16:24 | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 127 | 42 | 2023-01-24 13:09 | 2023-01-25 18:00 | 2023-01-25 13:25 | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 146 | 23 | 2023-01-24 13:09 | 2023-01-25 18:00 | 2023-01-25 13:25 | Other
ROW | ROW_UNIT1 | Solar | Forced Extension | 100 | 52 | 48 | 2023-01-24 13:40 | 2023-01-25 02:00 | 2023-01-24 22:25 | Unknown
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 150 | 11 | 2023-01-24 13:41 | 2023-01-31 23:59 |  | Other
DDPEC | DDPEC_GT1 | Natural Gas | Forced Extension | 203 | 0 | 203 | 2023-01-24 14:29 | 2023-01-26 06:00 | 2023-01-26 00:01 | Other
DDPEC | DDPEC_GT2 | Natural Gas | Forced Extension | 215 | 0 | 215 | 2023-01-24 14:29 | 2023-01-26 06:00 | 2023-01-26 00:01 | Other
DDPEC | DDPEC_GT3 | Natural Gas | Forced Extension | 203 | 0 | 203 | 2023-01-24 14:29 | 2023-01-26 23:59 | 2023-01-26 13:03 | Other
DDPEC | DDPEC_GT4 | Natural Gas | Forced Extension | 215 | 0 | 215 | 2023-01-24 14:29 | 2023-01-26 23:59 | 2023-01-26 10:15 | Other
DDPEC | DDPEC_GT6 | Natural Gas | Forced Extension | 190 | 0 | 190 | 2023-01-24 14:29 | 2023-01-26 06:00 | 2023-01-26 00:01 | Other
DDPEC | DDPEC_ST1 | Natural Gas | Forced Extension | 290 | 0 | 290 | 2023-01-24 14:29 | 2023-01-26 06:00 | 2023-01-26 00:01 | Other
SL | SL_SL_G3 | Waste/Other Coal | Forced Extension | 30 | 0 | 30 | 2023-01-24 14:30 | 2023-01-27 23:59 |  | Other
SL | SL_SL_G4 | Waste/Other Coal | Forced Extension | 30 | 0 | 30 | 2023-01-24 14:30 | 2023-01-27 23:59 |  | Other
DIB | DIB_DIB_G1 | Natural Gas | Forced | 73 | 0 | 73 | 2023-01-24 14:33 | 2023-01-24 23:59 | 2023-01-24 21:49 | Unknown
DIB | DIB_DIB_G2 | Natural Gas | Forced | 73 | 0 | 73 | 2023-01-24 14:33 | 2023-01-24 23:59 | 2023-01-24 21:49 | Unknown
DIB | DIB_DIB_G3 | Purchased Steam | Forced | 75 | 0 | 75 | 2023-01-24 14:33 | 2023-01-24 23:59 | 2023-01-24 21:49 | Unknown
LOSTPI | LOSTPI_LOSTPGT2 | Natural Gas | Forced Extension | 183 | 0 | 183 | 2023-01-24 14:33 | 2023-01-25 | 2023-01-24 19:33 | Other
LOSTPI | LOSTPI_LOSTPST1 | Natural Gas | Forced Extension | 192 | 86 | 106 | 2023-01-24 14:33 | 2023-01-25 | 2023-01-24 19:33 | Other
AZ | AZ_AZ_G1 | Natural Gas | Forced | 40 | 0 | 40 | 2023-01-24 14:34 | 2023-01-25 00:01 | 2023-01-25 00:01 | Other
AZ | AZ_AZ_G2 | Natural Gas | Forced | 40 | 0 | 40 | 2023-01-24 14:34 | 2023-01-25 00:01 | 2023-01-25 00:01 | Other
AZ | AZ_AZ_G3 | Natural Gas | Forced | 40 | 0 | 40 | 2023-01-24 14:34 | 2023-01-25 00:01 | 2023-01-25 00:01 | Other
AZ | AZ_AZ_G4 | Natural Gas | Forced | 40 | 0 | 40 | 2023-01-24 14:34 | 2023-01-25 00:01 | 2023-01-25 00:01 | Other
LONEWOLF | LONEWOLF_G1 | Wind | Forced | 48 | 35 | 13 | 2023-01-24 15:00 | 2023-01-25 15:00 | 2023-01-25 08:51 | Other
LONEWOLF | LONEWOLF_G1 | Wind | Forced | 48 | 35 | 13 | 2023-01-24 15:00 | 2023-01-25 15:00 |  | Other
LONEWOLF | LONEWOLF_G2 | Wind | Forced | 51 | 42 | 9 | 2023-01-24 15:00 | 2023-01-25 15:00 |  | Other
LONEWOLF | LONEWOLF_G2 | Wind | Forced | 51 | 42 | 9 | 2023-01-24 15:00 | 2023-01-25 15:00 | 2023-01-25 08:51 | Other
PLN | PLN_UNIT1 | Solar | Forced | 257 | 235 | 22 | 2023-01-24 15:06 | 2023-01-30 18:00 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-01-24 16:00 | 2023-01-28 12:00 |  | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-01-24 16:00 | 2023-01-31 18:00 | 2023-01-25 12:59 | Other
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 104 | 16 | 2023-01-24 16:15 | 2023-01-30 18:15 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 138 | 31 | 2023-01-24 16:25 | 2023-01-25 18:00 | 2023-01-25 13:25 | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 152 | 17 | 2023-01-24 16:25 | 2023-01-25 18:00 | 2023-01-25 13:25 | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 130 | 20 | 2023-01-24 16:25 | 2023-01-25 18:00 | 2023-01-25 13:25 | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 98 | 52 | 2023-01-24 16:25 | 2023-01-25 18:00 | 2023-01-25 13:25 | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 85 | 8 | 2023-01-24 16:51 | 2023-02-28 23:59 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 185 | 28 | 2023-01-24 16:51 | 2023-01-31 23:59 | 2023-01-25 09:18 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 56 | 39 | 2023-01-24 17:20 | 2023-02-17 22:00 |  | Turbine/Generator Vibration/Repair
PENA | PENA_UNIT1 | Wind | Forced | 161 | 139 | 22 | 2023-01-24 18:21 | 2023-01-30 20:00 |  | Turbine/Generator Vibration/Repair
RTS2 | RTS2_U1 | Wind | Forced | 90 | 78 | 12 | 2023-01-24 18:30 | 2023-01-25 15:00 | 2023-01-25 00:53 | Unknown
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 81 | 20 | 2023-01-24 18:46 | 2023-01-30 18:00 |  | Other
AEEC | AEEC_ANTLP_2 | Natural Gas | Forced | 56 | 45 | 11 | 2023-01-24 19:10 | 2023-01-25 23:59 | 2023-01-25 18:36 | Cooling Water Problems/Repairs
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced | 239 | 224 | 15 | 2023-01-24 23:56 | 2023-01-25 23:59 | 2023-01-25 23:16 | Other
HAYSEN | HAYSEN_HAYSENG2 | Natural Gas | Forced | 240 | 218 | 22 | 2023-01-24 23:56 | 2023-01-25 23:59 | 2023-01-25 23:16 | Other
MDANP | MDANP_CT1 | Natural Gas | Forced | 258 | 238 | 20 | 2023-01-24 23:58 | 2023-01-25 23:59 | 2023-01-25 23:18 | Other
MDANP | MDANP_CT5 | Natural Gas | Forced | 276 | 257 | 19 | 2023-01-24 23:58 | 2023-01-25 23:59 | 2023-01-25 23:18 | Other
MDANP | MDANP_CT6 | Natural Gas | Forced | 278 | 248 | 30 | 2023-01-24 23:58 | 2023-01-25 23:59 | 2023-01-25 23:18 | Other
2023-01-27 |  |  |  | 2 |  |  |  | 13:43