## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-02-05 | 1 | 5:04

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Feb 2, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2022-02-07 14:50 | 2023-02-07 14:49 |  | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2022-02-28 10:52 | 2023-02-27 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Unavoidable Extension | 99 | 0 | 99 | 2022-03-15 10:27 | 2023-02-15 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Unavoidable Extension | 61 | 0 | 61 | 2022-03-15 10:27 | 2023-02-15 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 258 | 226 | 32 | 2022-05-03 17:17 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 503 | 20 | 2022-05-12 18:30 | 2023-03-24 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2022-05-23 11:30 | 2023-05-23 11:29 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-02-28 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-02-28 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-02-28 23:59 |  | Other
DECKER | DECKER_DPGT_2 | Natural Gas | Forced Extension | 54 | 25 | 29 | 2022-07-08 16:41 | 2023-02-15 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
WHTTAIL | WHTTAIL_WR1 | Wind | Forced Extension | 113 | 102 | 11 | 2022-08-01 00:01 | 2023-02-28 23:59 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-08-18 19:25 | 2023-02-10 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 50 | 96 | 2022-09-19 23:21 | 2023-02-13 18:00 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-02-15 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
MARBFA | MARBFA_MARBFAG1 | Water | Unavoidable Extension | 21 | 0 | 21 | 2022-10-10 07:00 | 2023-02-10 18:00 |  | Other
MARBFA | MARBFA_MARBFAG2 | Water | Unavoidable Extension | 20 | 0 | 20 | 2022-10-10 07:00 | 2023-02-10 18:00 | 2023-02-03 14:57 | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 67 | 86 | 2022-10-14 17:00 | 2023-02-28 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 79 | 68 | 2022-10-14 17:00 | 2023-02-28 23:59 |  | Turbine/Generator Vibration/Repair
PTLBES | PTLBES_BESS1 | Not Available | Forced Extension | 10 | 5 | 5 | 2022-10-19 07:01 | 2023-06-21 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Unavoidable Extension | 185 | 0 | 185 | 2022-10-29 00:01 | 2023-03-03 |  | Combustion Inspection and Repair
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 768 | 68 | 2022-10-29 11:19 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 90 | 35 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 17 | 113 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
WL_RANCH | WL_RANCH_UNIT1 | Wind | Forced Extension | 200 | 189 | 11 | 2022-11-11 08:17 | 2023-02-28 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Unavoidable Extension | 258 | 0 | 258 | 2022-11-12 | 2023-03-03 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2022-11-14 09:55 | 2023-02-13 18:00 |  | Feedwater Problems/Repairs
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 512 | 40 | 2022-11-16 08:35 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 185 | 0 | 185 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
DIB | DIB_DIB_G4 | Natural Gas | Unavoidable Extension | 82 | 0 | 82 | 2022-11-25 03:42 | 2023-02-10 16:00 |  | Inlet Air Problems/Repairs
ANCHOR | ANCHOR_BESS1 | Not Available | Forced Extension | 35 | 20 | 15 | 2022-11-26 23:35 | 2023-02-03 22:30 | 2023-02-03 22:30 | Other
ANCHOR | ANCHOR_BESS2 | Not Available | Forced Extension | 36 | 20 | 16 | 2022-11-26 23:35 | 2023-02-03 22:30 |  | Other
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 59 | 0 | 59 | 2022-11-30 11:44 | 2023-02-22 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG11 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2022-12-03 14:48 | 2023-05-31 18:00 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 87 | 75 | 12 | 2022-12-05 10:42 | 2023-02-28 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG10 | Natural Gas | Unavoidable Extension | 84 | 0 | 84 | 2022-12-06 17:06 | 2023-02-07 17:00 |  | Other
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 87 | 0 | 87 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 81 | 0 | 81 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 110 | 0 | 110 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBY4 | CBY4_CT41 | Natural Gas | Forced Extension | 173 | 159 | 14 | 2022-12-15 05:42 | 2023-03-02 23:59 |  | Exhaust Problems/Repairs
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-03-01 16:00 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Unavoidable Extension | 121 | 115 | 6 | 2022-12-17 15:28 | 2023-03-31 23:59 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 135 | 8 | 2022-12-20 08:00 | 2023-02-24 17:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 111 | 5 | 2022-12-20 08:00 | 2023-02-24 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 10 | 120 | 2022-12-20 15:00 | 2023-02-10 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 10 | 60 | 2022-12-20 15:00 | 2023-02-10 17:00 |  | Other
GRIZZLY | GRIZZLY_SOLAR1 | Solar | Forced | 100 | 20 | 80 | 2022-12-21 15:33 | 2023-02-28 17:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 107 | 19 | 2022-12-22 14:23 | 2023-02-09 13:00 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 186 | 160 | 26 | 2022-12-23 06:30 | 2023-03-02 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 54 | 25 | 29 | 2022-12-23 18:08 | 2023-04-14 23:59 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced Extension | 150 | 0 | 150 | 2022-12-23 23:59 | 2023-02-28 23:59 |  | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-02-17 23:59 |  | Cooling Water Problems/Repairs
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 42 | 46 | 2022-12-31 17:16 | 2023-03-15 12:00 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 28 | 62 | 2022-12-31 17:16 | 2023-03-15 12:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1235 | 1232 | 3 | 2022-12-31 23:31 | 2023-06-23 10:00 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1225 | 1210 | 15 | 2022-12-31 23:33 | 2023-04-23 23:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-03-31 13:14 |  | Other
RIONOG | RIONOG_CT1 | Natural Gas | Forced Extension | 193 | 162 | 31 | 2023-01-01 | 2023-03-31 23:59 |  | Other
RIONOG | RIONOG_CT2 | Natural Gas | Forced Extension | 193 | 162 | 31 | 2023-01-01 | 2023-03-31 23:59 |  | Other
RIONOG | RIONOG_CT3 | Natural Gas | Forced Extension | 193 | 162 | 31 | 2023-01-01 | 2023-03-31 23:59 |  | Other
RIONOG | RIONOG_ST1 | Blast-Furnace Gas | Forced Extension | 319 | 306 | 13 | 2023-01-01 | 2023-03-31 23:59 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 278 | 247 | 31 | 2023-01-01 00:01 | 2023-04-17 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-04-02 08:59 |  | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Forced Extension | 219 | 0 | 219 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Forced Extension | 258 | 120 | 138 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 207 | 13 | 2023-01-03 14:55 | 2023-02-28 17:00 |  | Other
GIDEON | GIDEON_GIDEONG2 | Natural Gas | Forced Extension | 135 | 0 | 135 | 2023-01-04 10:00 | 2023-02-05 20:00 |  | Other
TAYGETE2 | TAYGETE2_UNIT2 | Solar | Forced Extension | 102 | 0 | 102 | 2023-01-05 05:00 | 2023-02-03 23:59 | 2023-02-03 09:00 | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced Extension | 150 | 3 | 147 | 2023-01-05 05:53 | 2023-02-28 23:59 |  | Other
CHE | CHE_CHEGT1 | Natural Gas | Unavoidable Extension | 135 | 0 | 135 | 2023-01-06 20:24 | 2023-02-19 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 176 | 155 | 21 | 2023-01-06 20:24 | 2023-02-19 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 176 | 0 | 176 | 2023-01-06 22:44 | 2023-04-01 09:00 |  | Overhaul
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 155 | 28 | 2023-01-08 10:07 | 2023-02-28 23:59 | 2023-02-03 00:36 | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced Extension | 152 | 133 | 19 | 2023-01-08 10:08 | 2023-02-28 23:59 | 2023-02-03 00:36 | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 112 | 21 | 2023-01-08 10:08 | 2023-02-28 23:59 | 2023-02-03 00:36 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 129 | 36 | 2023-01-11 08:31 | 2023-02-02 17:00 | 2023-02-02 16:54 | Turbine/Generator Vibration/Repair
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-03-31 09:24 |  | Other
RHESS2 | RHESS2_ESS_1 | Other | Forced Extension | 10 | 8 | 2 | 2023-01-15 09:18 | 2023-02-03 23:59 | 2023-02-02 16:05 | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced Extension | 46 | 42 | 4 | 2023-01-15 11:24 | 2023-02-03 12:00 | 2023-02-03 12:00 | Unknown
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 179 | 3 | 2023-01-17 15:22 | 2023-02-28 23:59 |  | Other
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced Extension | 50 | 49 | 1 | 2023-01-17 17:01 | 2023-02-28 19:00 |  | Other
FORMOSA | FORMOSA_FORMOSG7 | Purchased Steam | Forced Extension | 62 | 0 | 62 | 2023-01-17 18:52 | 2023-02-07 18:00 |  | Other
WILDWIND | WILDWIND_UNIT5 | Wind | Forced | 53 | 34 | 19 | 2023-01-17 20:33 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 0 | 23 | 2023-01-18 09:47 | 2023-12-28 23:59 |  | Other
TAYGETE2 | TAYGETE2_UNIT1 | Solar | Forced Extension | 102 | 0 | 102 | 2023-01-19 11:08 | 2023-02-03 23:59 | 2023-02-03 09:00 | Other
MUSTNGCK | MUSTNGCK_SOLAR1 | Solar | Forced Extension | 60 | 33 | 27 | 2023-01-20 11:01 | 2023-02-03 17:00 |  | Other
MUSTNGCK | MUSTNGCK_SOLAR2 | Solar | Forced Extension | 90 | 47 | 43 | 2023-01-20 11:01 | 2023-02-03 17:00 |  | Other
FORMOSA | FORMOSA_FORMOSG14 | Natural Gas | Maintenance Level 2 | 100 | 0 | 100 | 2023-01-20 20:00 | 2023-02-07 18:00 | 2023-02-03 19:48 | Combustion Inspection and Repair
HAYSEN | HAYSEN_HAYSENG2 | Natural Gas | Forced | 240 | 216 | 24 | 2023-01-22 18:06 | 2023-03-15 18:06 | 2023-02-03 20:18 | Feedwater Problems/Repairs
SALTFORK | SALTFORK_UNIT1 | Wind | Forced Extension | 64 | 59 | 5 | 2023-01-22 23:51 | 2023-02-03 23:59 | 2023-02-03 23:59 | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced Extension | 110 | 105 | 5 | 2023-01-22 23:51 | 2023-02-03 23:59 | 2023-02-03 23:59 | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 68 | 18 | 2023-01-23 05:41 | 2023-02-28 23:59 | 2023-02-03 15:46 | Other
BYU | BYU_BYU_G4 | Natural Gas | Unavoidable Extension | 90 | 0 | 90 | 2023-01-24 00:13 | 2023-02-08 20:00 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 70 | 22 | 2023-01-24 00:53 | 2023-02-28 23:59 | 2023-02-02 20:45 | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 77 | 15 | 2023-01-24 10:34 | 2023-02-28 23:59 | 2023-02-02 19:09 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced Extension | 161 | 150 | 11 | 2023-01-24 13:41 | 2023-02-07 23:24 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-01-24 16:00 | 2023-02-07 12:00 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-02-28 23:59 |  | Feedwater Problems/Repairs
HLSES | HLSES_UNIT4 | Natural Gas | Forced | 435 | 0 | 435 | 2023-01-26 00:32 | 2023-02-15 23:59 | 2023-02-03 23:59 | Fuel Limitation/Lack of Fuel Availability
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 177 | 3 | 2023-01-26 08:33 | 2023-02-26 08:59 |  | Other
HI_LONE | HI_LONE_WGR1A | Wind | Forced | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-01-27 10:26 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 127 | 11 | 2023-01-27 12:01 | 2023-02-03 12:00 | 2023-02-03 12:00 | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 135 | 0 | 2023-01-27 17:43 | 2023-02-28 23:59 | 2023-02-03 17:18 | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 93 | 10 | 2023-01-28 08:33 | 2023-02-28 22:25 |  | Other
WAP | WAP_WAP_G5 | Bituminous Coal | Forced Extension | 664 | 628 | 36 | 2023-01-29 19:02 | 2023-02-06 23:59 |  | Exhaust Problems/Repairs
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 280 | 132 | 2023-01-29 22:08 | 2023-03-27 23:59 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 46 | 49 | 2023-01-29 23:45 | 2023-02-17 22:00 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 135 | 49 | 2023-01-30 01:31 | 2023-02-28 23:59 | 2023-02-02 22:47 | Icing
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 30 | 120 | 2023-01-30 03:40 | 2023-02-02 23:59 | 2023-02-02 22:47 | Icing
KING_NW | KING_NW_KINGNW | Wind | Forced Extension | 80 | 22 | 58 | 2023-01-30 04:10 | 2023-02-05 23:59 | 2023-02-04 15:58 | Icing
KING_SE | KING_SE_KINGSE | Wind | Forced Extension | 41 | 19 | 22 | 2023-01-30 04:10 | 2023-02-05 23:59 | 2023-02-03 07:58 | Icing
KING_SW | KING_SW_KINGSW | Wind | Forced | 80 | 29 | 51 | 2023-01-30 04:10 | 2023-02-28 23:59 | 2023-02-03 10:20 | Icing
CFLATS | CFLATS_U1 | Wind | Forced Extension | 148 | 0 | 148 | 2023-01-30 04:30 | 2023-02-28 18:00 | 2023-02-02 14:03 | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 5 | 110 | 2023-01-30 04:56 | 2023-02-28 23:59 | 2023-02-02 22:47 | Other
VICTPORT | VICTPORT_CTG02 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2023-01-30 06:58 | 2023-02-05 17:00 |  | Other
RANCHERO | RANCHERO_UNIT1 | Wind | Forced Extension | 150 | 0 | 150 | 2023-01-30 07:45 | 2023-02-02 13:00 | 2023-02-02 10:44 | Other
RANCHERO | RANCHERO_UNIT2 | Wind | Forced Extension | 150 | 0 | 150 | 2023-01-30 07:45 | 2023-02-02 13:00 | 2023-02-02 10:44 | Other
HARALD | HARALD_UNIT1 | Wind | Forced Extension | 162 | 0 | 162 | 2023-01-30 08:00 | 2023-02-02 12:00 | 2023-02-02 12:00 | Icing
STWF | STWF_T1 | Wind | Forced Extension | 98 | 0 | 98 | 2023-01-30 08:03 | 2023-02-03 13:00 | 2023-02-03 13:00 | Icing
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 0 | 151 | 2023-01-30 08:45 | 2023-02-03 18:00 | 2023-02-02 11:55 | Icing
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 0 | 151 | 2023-01-30 08:45 | 2023-02-03 18:00 | 2023-02-02 11:55 | Icing
CAL | CAL_CALGT1 | Natural Gas | Forced Extension | 134 | 120 | 14 | 2023-01-30 08:57 | 2023-02-03 23:59 | 2023-02-04 00:16 | Emissions
CAL | CAL_CALSTG1 | Natural Gas | Forced Extension | 56 | 55 | 1 | 2023-01-30 08:57 | 2023-02-03 23:59 | 2023-02-04 00:16 | Emissions
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 0 | 71 | 2023-01-30 09:30 | 2023-02-02 15:00 | 2023-02-02 12:27 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 0 | 33 | 2023-01-30 09:30 | 2023-02-02 15:00 | 2023-02-02 12:27 | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced Extension | 22 | 0 | 22 | 2023-01-30 09:30 | 2023-02-02 15:00 | 2023-02-02 12:27 | Other
MAVCRK_E | MAVCRK_E_UNIT8 | Wind | Forced Extension | 20 | 0 | 20 | 2023-01-30 09:30 | 2023-02-02 15:00 | 2023-02-02 12:27 | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced Extension | 77 | 0 | 77 | 2023-01-30 09:30 | 2023-02-02 15:00 | 2023-02-02 12:27 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 0 | 202 | 2023-01-30 09:30 | 2023-02-02 15:00 | 2023-02-02 12:27 | Other
MAVCRK_W | MAVCRK_W_UNIT2 | Wind | Forced Extension | 11 | 0 | 11 | 2023-01-30 09:30 | 2023-02-02 15:00 | 2023-02-02 12:27 | Other
MAVCRK_W | MAVCRK_W_UNIT3 | Wind | Forced Extension | 34 | 0 | 34 | 2023-01-30 09:30 | 2023-02-02 15:00 | 2023-02-02 12:27 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 0 | 22 | 2023-01-30 09:30 | 2023-02-02 15:00 | 2023-02-02 12:27 | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 0 | 143 | 2023-01-30 09:41 | 2023-02-02 17:00 | 2023-02-02 13:34 | Icing
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 0 | 116 | 2023-01-30 09:41 | 2023-02-02 17:00 | 2023-02-02 13:34 | Icing
PC_SOUTH | PC_SOUTH_PANTH31 | Wind | Forced Extension | 107 | 0 | 107 | 2023-01-30 09:42 | 2023-02-02 17:00 | 2023-02-02 13:34 | Icing
PC_SOUTH | PC_SOUTH_PANTH32 | Wind | Forced Extension | 109 | 0 | 109 | 2023-01-30 09:42 | 2023-02-02 17:00 | 2023-02-02 13:34 | Icing
LNCRK | LNCRK_G83 | Wind | Forced Extension | 194 | 10 | 184 | 2023-01-30 09:53 | 2023-02-04 16:00 | 2023-02-03 15:37 | Icing
LNCRK2 | LNCRK2_G871 | Wind | Forced Extension | 98 | 5 | 93 | 2023-01-30 09:54 | 2023-02-04 16:00 | 2023-02-03 15:37 | Icing
LNCRK2 | LNCRK2_G872 | Wind | Forced Extension | 100 | 5 | 95 | 2023-01-30 09:54 | 2023-02-04 16:00 | 2023-02-03 15:37 | Icing
FLTCK | FLTCK_SSI | Wind | Forced Extension | 53 | 2 | 51 | 2023-01-30 10:00 | 2023-02-03 18:00 | 2023-02-02 18:17 | Icing
GOAT | GOAT_GOATWIN2 | Wind | Forced Extension | 70 | 3 | 67 | 2023-01-30 10:00 | 2023-02-03 23:59 | 2023-02-02 15:10 | Icing
GOAT | GOAT_GOATWIND | Wind | Forced Extension | 80 | 0 | 80 | 2023-01-30 10:00 | 2023-02-03 23:59 | 2023-02-02 15:10 | Icing
KEO | KEO_SHRBINO2 | Wind | Forced | 132 | 0 | 132 | 2023-01-30 10:00 | 2023-02-02 18:00 | 2023-02-02 14:00 | Icing
SENATEWD | SENATEWD_UNIT1 | Wind | Forced Extension | 150 | 100 | 50 | 2023-01-30 10:18 | 2023-02-03 16:00 | 2023-02-03 16:00 | Icing
ANCHOR | ANCHOR_WIND1 | Wind | Forced | 16 | 10 | 6 | 2023-01-30 10:33 | 2023-02-02 18:30 | 2023-02-02 15:53 | Frozen Equipment
ANCHOR | ANCHOR_WIND2 | Wind | Forced | 99 | 10 | 89 | 2023-01-30 10:33 | 2023-02-02 18:30 | 2023-02-02 15:53 | Frozen Equipment
ANCHOR | ANCHOR_WIND3 | Wind | Forced | 90 | 10 | 80 | 2023-01-30 10:33 | 2023-02-02 18:30 | 2023-02-02 15:53 | Frozen Equipment
ANCHOR | ANCHOR_WIND4 | Wind | Forced | 39 | 10 | 29 | 2023-01-30 10:33 | 2023-02-02 18:30 | 2023-02-02 15:53 | Frozen Equipment
ANCHOR | ANCHOR_WIND5 | Wind | Forced | 19 | 10 | 9 | 2023-01-30 10:33 | 2023-02-02 18:30 | 2023-02-02 15:53 | Frozen Equipment
RTS2 | RTS2_U1 | Wind | Forced Extension | 90 | 0 | 90 | 2023-01-30 10:50 | 2023-02-02 14:00 | 2023-02-02 11:30 | Icing
RTS2 | RTS2_U2 | Wind | Forced Extension | 90 | 0 | 90 | 2023-01-30 10:50 | 2023-02-02 14:00 | 2023-02-02 11:30 | Icing
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 0 | 183 | 2023-01-30 10:59 | 2023-02-03 23:59 | 2023-02-03 00:36 | Icing
WHMESA | WHMESA_UNIT3_23 | Wind | Forced Extension | 19 | 0 | 19 | 2023-01-30 10:59 | 2023-02-03 23:59 | 2023-02-03 00:36 | Icing
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 0 | 133 | 2023-01-30 10:59 | 2023-02-03 23:59 | 2023-02-03 00:36 | Icing
DSKYWND1 | DSKYWND1_UNIT_1A | Wind | Forced Extension | 53 | 0 | 53 | 2023-01-30 11:00 | 2023-02-02 16:00 | 2023-02-02 16:00 | Icing
DSKYWND1 | DSKYWND1_UNIT_1B | Wind | Forced Extension | 19 | 0 | 19 | 2023-01-30 11:00 | 2023-02-02 16:00 | 2023-02-02 16:00 | Icing
DSKYWND2 | DSKYWND2_UNIT_2A | Wind | Forced Extension | 50 | 0 | 50 | 2023-01-30 11:00 | 2023-02-02 16:00 | 2023-02-02 16:00 | Icing
DSKYWND2 | DSKYWND2_UNIT_2B | Wind | Forced Extension | 8 | 0 | 8 | 2023-01-30 11:00 | 2023-02-02 16:00 | 2023-02-02 16:00 | Icing
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 87 | 70 | 17 | 2023-01-30 11:30 | 2023-02-06 12:00 |  | Lack of Steam Load Availability
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 87 | 70 | 17 | 2023-01-30 11:30 | 2023-02-06 12:00 |  | Lack of Steam Load Availability
LGW | LGW_UNIT1 | Wind | Forced Extension | 106 | 25 | 81 | 2023-01-30 11:38 | 2023-02-06 23:59 | 2023-02-02 21:22 | Other
LGW | LGW_UNIT2 | Wind | Forced Extension | 104 | 25 | 79 | 2023-01-30 11:38 | 2023-02-06 23:59 | 2023-02-02 21:22 | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced Extension | 14 | 0 | 14 | 2023-01-30 12:30 | 2023-02-03 23:59 | 2023-02-02 14:45 | Other
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 270 | 122 | 2023-01-30 12:37 | 2023-02-03 12:00 | 2023-02-03 12:00 | Fuel Limitation/Lack of Fuel Availability
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 449 | 74 | 2023-01-30 12:37 | 2023-02-03 12:00 | 2023-02-03 12:00 | Fuel Limitation/Lack of Fuel Availability
HLSES | HLSES_UNIT3 | Natural Gas | Forced | 375 | 300 | 75 | 2023-01-30 13:01 | 2023-02-03 09:00 | 2023-02-03 09:00 | Fuel Limitation/Lack of Fuel Availability
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced Extension | 51 | 33 | 18 | 2023-01-30 13:09 | 2023-02-07 19:00 |  | Other
SWEETWN2 | SWEETWN2_WND2 | Wind | Forced Extension | 111 | 0 | 111 | 2023-01-30 13:15 | 2023-02-02 18:00 | 2023-02-02 14:00 | Icing
SWEETWN3 | SWEETWN3_WND3A | Wind | Forced Extension | 34 | 0 | 34 | 2023-01-30 13:15 | 2023-02-02 18:00 | 2023-02-02 14:00 | Icing
SWEETWN5 | SWEETWN5_WND5 | Wind | Forced Extension | 85 | 0 | 85 | 2023-01-30 13:15 | 2023-02-02 18:00 | 2023-02-02 14:00 | Icing
SWEETWND | SWEETWND_WND1 | Wind | Forced Extension | 43 | 0 | 43 | 2023-01-30 13:15 | 2023-02-02 18:00 | 2023-02-02 14:00 | Icing
AGUAYO | AGUAYO_UNIT1 | Wind | Forced | 193 | 192 | 1 | 2023-01-30 13:47 | 2023-02-10 23:59 |  | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 135 | 16 | 2023-01-30 14:00 | 2023-02-06 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 89 | 9 | 2023-01-30 14:00 | 2023-02-06 14:00 |  | Other
TTWEC | TTWEC_G1 | Wind | Forced | 170 | 20 | 150 | 2023-01-30 14:28 | 2023-02-02 18:00 | 2023-02-02 15:46 | Icing
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 498 | 54 | 2023-01-30 14:34 | 2023-02-28 23:59 |  | Fuel Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 369 | 380 | 2023-01-30 15:02 | 2023-02-08 23:59 |  | Feedwater Problems/Repairs
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 123 | 46 | 2023-01-30 15:28 | 2023-02-28 23:59 |  | Cooling Water Problems/Repairs
PLN | PLN_UNIT1 | Solar | Forced | 257 | 226 | 31 | 2023-01-30 15:33 | 2023-02-06 18:00 | 2023-02-03 10:35 | Other
BORDAS | BORDAS_JAVEL20 | Wind | Forced | 230 | 216 | 14 | 2023-01-30 16:44 | 2023-02-28 17:45 |  | Other
HLSES | HLSES_UNIT5 | Natural Gas | Forced | 435 | 380 | 55 | 2023-01-30 18:01 | 2023-02-03 09:00 | 2023-02-03 09:00 | Fuel Limitation/Lack of Fuel Availability
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 60 | 42 | 2023-01-30 18:49 | 2023-02-06 16:00 |  | Other
FLUVANNA | FLUVANNA_UNIT1 | Wind | Forced Extension | 80 | 0 | 80 | 2023-01-30 19:20 | 2023-02-02 08:00 | 2023-02-02 08:00 | Icing
FLUVANNA | FLUVANNA_UNIT2 | Wind | Forced Extension | 76 | 0 | 76 | 2023-01-30 19:20 | 2023-02-02 08:00 | 2023-02-02 08:00 | Icing
NBOHR | NBOHR_UNIT1 | Wind | Forced Extension | 197 | 0 | 197 | 2023-01-30 19:20 | 2023-02-03 08:00 | 2023-02-02 11:54 | Icing
KING_NE | KING_NE_KINGNE | Wind | Forced Extension | 80 | 52 | 28 | 2023-01-30 20:30 | 2023-02-05 23:59 | 2023-02-03 10:17 | Icing
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 98 | 5 | 2023-01-30 20:49 | 2023-02-28 23:59 | 2023-02-02 20:26 | Other
ELB | ELB_ELBCREEK | Wind | Forced Extension | 122 | 0 | 122 | 2023-01-30 22:17 | 2023-02-03 23:59 | 2023-02-02 15:10 | Icing
AVIATOR | AVIATOR_UNIT1 | Wind | Forced Extension | 180 | 0 | 180 | 2023-01-30 23:50 | 2023-02-02 17:00 | 2023-02-02 14:14 | Other
AVIATOR | AVIATOR_UNIT2 | Wind | Forced Extension | 146 | 0 | 146 | 2023-01-30 23:50 | 2023-02-02 17:00 | 2023-02-02 14:14 | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 88 | 21 | 2023-01-30 23:53 | 2023-02-06 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 94 | 15 | 2023-01-30 23:53 | 2023-02-06 23:59 |  | Other
FTR | FTR_FTR_G1 | Natural Gas | Forced Extension | 180 | 0 | 180 | 2023-01-31 | 2023-02-02 23:59 | 2023-02-02 23:25 | Other
FTR | FTR_FTR_G2 | Natural Gas | Forced Extension | 180 | 0 | 180 | 2023-01-31 | 2023-02-02 23:59 | 2023-02-02 23:25 | Other
FTR | FTR_FTR_G3 | Natural Gas | Forced Extension | 180 | 0 | 180 | 2023-01-31 | 2023-02-02 23:59 | 2023-02-02 23:25 | Other
FTR | FTR_FTR_G4 | Natural Gas | Forced Extension | 400 | 0 | 400 | 2023-01-31 | 2023-02-02 23:59 | 2023-02-02 23:25 | Other
MDANP | MDANP_CT1 | Natural Gas | Forced Extension | 258 | 242 | 16 | 2023-01-31 00:01 | 2023-02-01 23:59 | 2023-02-02 | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 278 | 260 | 18 | 2023-01-31 00:01 | 2023-02-01 23:59 | 2023-02-02 | Other
BUCKTHRN | BUCKTHRN_UNIT1 | Wind | Forced | 45 | 0 | 45 | 2023-01-31 02:00 | 2023-02-03 23:59 | 2023-02-02 15:10 | Icing
BUCKTHRN | BUCKTHRN_UNIT2 | Wind | Forced | 56 | 0 | 56 | 2023-01-31 02:00 | 2023-02-03 23:59 | 2023-02-02 15:10 | Icing
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
MWEC | MWEC_G1 | Wind | Forced | 150 | 110 | 40 | 2023-01-31 02:29 | 2023-02-02 18:00 | 2023-02-02 15:53 | Cold weather related
SWEETWN4 | SWEETWN4_WND4A | Wind | Forced Extension | 125 | 3 | 122 | 2023-01-31 05:13 | 2023-02-02 23:59 | 2023-02-02 15:50 | Other
SWEETWN4 | SWEETWN4_WND4B | Wind | Forced Extension | 112 | 3 | 109 | 2023-01-31 05:13 | 2023-02-02 23:59 | 2023-02-02 13:52 | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced Extension | 135 | 0 | 135 | 2023-01-31 06:09 | 2023-02-03 23:59 | 2023-02-03 11:26 | Other
LACY_CRK | LACY_CRK_UNIT2 | Wind | Forced Extension | 15 | 0 | 15 | 2023-01-31 06:09 | 2023-02-03 23:59 | 2023-02-03 11:26 | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 0 | 138 | 2023-01-31 06:09 | 2023-02-03 23:59 | 2023-02-03 11:26 | Other
LACY_CRK | LACY_CRK_UNIT4 | Wind | Forced Extension | 13 | 0 | 13 | 2023-01-31 06:09 | 2023-02-03 23:59 | 2023-02-03 11:26 | Other
TRENT | TRENT_TRENT | Wind | Forced | 38 | 0 | 38 | 2023-01-31 07:45 | 2023-02-02 17:00 | 2023-02-02 14:00 | Icing
TRENT | TRENT_UNIT_1B | Wind | Forced | 16 | 0 | 16 | 2023-01-31 07:45 | 2023-02-02 17:00 | 2023-02-02 14:00 | Icing
TRENT | TRENT_UNIT_2 | Wind | Forced | 50 | 0 | 50 | 2023-01-31 07:45 | 2023-02-02 17:00 | 2023-02-02 14:00 | Icing
TRENT | TRENT_UNIT_3A | Wind | Forced | 38 | 0 | 38 | 2023-01-31 07:45 | 2023-02-02 17:00 | 2023-02-02 14:00 | Icing
TRENT | TRENT_UNIT_3B | Wind | Forced | 14 | 0 | 14 | 2023-01-31 07:45 | 2023-02-02 17:00 | 2023-02-02 14:00 | Icing
SWEC | SWEC_G1 | Wind | Forced | 120 | 10 | 110 | 2023-01-31 08:00 | 2023-02-02 18:00 | 2023-02-02 15:49 | Icing
HI_LONE | HI_LONE_WGR2A | Wind | Forced | 25 | 0 | 25 | 2023-01-31 08:48 | 2023-02-03 18:30 | 2023-02-02 15:06 | Frozen Equipment
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 0 | 128 | 2023-01-31 08:48 | 2023-02-03 18:30 | 2023-02-02 15:07 | Frozen Equipment
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 0 | 102 | 2023-01-31 08:48 | 2023-02-03 18:30 | 2023-02-02 15:06 | Frozen Equipment
CHAMPION | CHAMPION_UNIT1 | Wind | Forced | 127 | 0 | 127 | 2023-01-31 09:00 | 2023-02-02 17:00 | 2023-02-02 15:29 | Icing
PYR | PYR_PYRON1 | Wind | Forced | 122 | 0 | 122 | 2023-01-31 09:00 | 2023-02-02 17:00 | 2023-02-02 15:29 | Icing
PYR | PYR_PYRON2 | Wind | Forced | 128 | 0 | 128 | 2023-01-31 09:00 | 2023-02-02 17:00 | 2023-02-02 15:29 | Icing
RAMBLER | RAMBLER_UNIT1 | Solar | Forced | 200 | 178 | 22 | 2023-01-31 09:28 | 2023-02-03 18:00 |  | Other
GUNMTN | GUNMTN_G1 | Wind | Forced | 120 | 10 | 110 | 2023-01-31 10:04 | 2023-02-02 18:00 | 2023-02-02 15:52 | Icing
BORDAS | BORDAS_JAVEL18 | Wind | Forced | 20 | 8 | 12 | 2023-01-31 10:13 | 2023-02-28 11:13 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 10 | 121 | 2023-01-31 10:18 | 2023-02-04 18:00 | 2023-02-02 15:50 | Icing
HWF | HWF_HWFG1 | Wind | Forced Extension | 164 | 135 | 29 | 2023-01-31 10:27 | 2023-02-04 23:59 | 2023-02-04 13:55 | Icing
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 10 | 110 | 2023-01-31 10:37 | 2023-02-04 18:00 | 2023-02-02 15:50 | Icing
GWEC | GWEC_GWEC_G1 | Wind | Forced | 149 | 10 | 139 | 2023-01-31 10:58 | 2023-02-02 18:00 | 2023-02-02 16:00 | Icing
WH_WIND | WH_WIND_UNIT1 | Wind | Forced Extension | 209 | 0 | 209 | 2023-01-31 11:05 | 2023-02-02 23:59 | 2023-02-02 13:47 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced Extension | 210 | 0 | 210 | 2023-01-31 11:05 | 2023-02-02 23:59 | 2023-02-02 13:47 | Other
INDL | INDL_INADALE1 | Wind | Forced | 95 | 0 | 95 | 2023-01-31 11:15 | 2023-02-02 17:00 | 2023-02-02 15:35 | Icing
INDL | INDL_INADALE2 | Wind | Forced | 102 | 0 | 102 | 2023-01-31 11:15 | 2023-02-02 17:00 | 2023-02-02 15:35 | Icing
TKWSW1 | TKWSW1_ROSCOE | Wind | Forced | 114 | 0 | 114 | 2023-01-31 11:15 | 2023-02-02 17:00 | 2023-02-02 15:35 | Icing
TKWSW1 | TKWSW1_ROSCOE2A | Wind | Forced | 95 | 0 | 95 | 2023-01-31 11:15 | 2023-02-02 17:00 | 2023-02-02 15:35 | Icing
MARIAH | MARIAH_NORTE1 | Wind | Forced | 115 | 30 | 85 | 2023-01-31 12:00 | 2023-02-02 12:00 | 2023-02-02 02:00 | Icing
MARIAH | MARIAH_NORTE2 | Wind | Forced | 115 | 30 | 85 | 2023-01-31 12:00 | 2023-02-02 12:00 | 2023-02-02 02:00 | Icing
LONEWOLF | LONEWOLF_G1 | Wind | Forced Extension | 48 | 0 | 48 | 2023-01-31 12:20 | 2023-02-02 18:00 | 2023-02-02 15:00 | Other
LONEWOLF | LONEWOLF_G2 | Wind | Forced Extension | 51 | 0 | 51 | 2023-01-31 12:20 | 2023-02-02 18:00 | 2023-02-02 15:00 | Other
LONEWOLF | LONEWOLF_G3 | Wind | Forced Extension | 26 | 0 | 26 | 2023-01-31 12:20 | 2023-02-02 18:00 | 2023-02-02 15:00 | Other
LONEWOLF | LONEWOLF_G4 | Wind | Forced Extension | 24 | 0 | 24 | 2023-01-31 12:20 | 2023-02-02 18:00 | 2023-02-02 15:00 | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 0 | 121 | 2023-01-31 12:31 | 2023-02-02 12:30 | 2023-02-02 12:30 | Icing
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 0 | 116 | 2023-01-31 12:31 | 2023-02-02 12:30 | 2023-02-02 12:30 | Icing
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 0 | 117 | 2023-01-31 12:31 | 2023-02-02 12:30 | 2023-02-02 12:30 | Icing
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 0 | 170 | 2023-01-31 12:31 | 2023-02-02 12:30 | 2023-02-02 12:30 | Icing
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 0 | 88 | 2023-01-31 13:08 | 2023-02-03 16:00 | 2023-02-02 08:18 | Icing
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 0 | 90 | 2023-01-31 13:08 | 2023-02-03 16:00 | 2023-02-02 08:18 | Icing
MCDLD | MCDLD_FCW1 | Wind | Forced Extension | 124 | 0 | 124 | 2023-01-31 13:16 | 2023-02-02 17:00 | 2023-02-02 13:34 | Icing
MCDLD | MCDLD_SB1_2 | Wind | Forced Extension | 71 | 0 | 71 | 2023-01-31 13:16 | 2023-02-02 17:00 | 2023-02-02 13:34 | Icing
SWEETWN2 | SWEETWN2_WND24 | Wind | Forced Extension | 17 | 1 | 16 | 2023-01-31 13:31 | 2023-02-02 23:59 | 2023-02-02 15:50 | Other
SWEETWN3 | SWEETWN3_WND3B | Wind | Forced Extension | 117 | 1 | 116 | 2023-01-31 13:31 | 2023-02-02 23:59 | 2023-02-02 13:52 | Other
LGD | LGD_LANGFORD | Wind | Forced | 160 | 0 | 160 | 2023-01-31 14:41 | 2023-02-02 15:00 | 2023-02-02 13:17 | Icing
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 134 | 35 | 2023-01-31 14:57 | 2023-02-02 23:59 | 2023-02-02 10:42 | Exhaust Problems/Repairs
SHAFFER | SHAFFER_UNIT1 | Wind | Forced | 226 | 208 | 18 | 2023-01-31 18:43 | 2023-02-06 16:00 | 2023-02-03 18:39 | Turbine/Generator Vibration/Repair
B_DAVIS | B_DAVIS_B_DAVIG1 | Natural Gas | Forced Extension | 292 | 0 | 292 | 2023-01-31 19:26 | 2023-02-02 23:59 | 2023-02-02 19:44 | Other
CAPRIDG4 | CAPRIDG4_CR4 | Wind | Forced Extension | 122 | 97 | 25 | 2023-02-01 01:38 | 2023-02-28 23:59 | 2023-02-02 15:29 | Icing
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced Extension | 201 | 131 | 70 | 2023-02-01 01:38 | 2023-02-28 23:59 | 2023-02-02 20:00 | Icing
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 81 | 33 | 2023-02-01 01:38 | 2023-02-03 23:59 | 2023-02-02 20:10 | Icing
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 180 | 17 | 2023-02-01 01:50 | 2023-02-28 23:59 | 2023-02-02 06:18 | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 85 | 8 | 2023-02-01 04:21 | 2023-02-28 23:59 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 167 | 46 | 2023-02-01 04:26 | 2023-02-02 23:59 | 2023-02-02 07:16 | Icing
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced Extension | 68 | 53 | 15 | 2023-02-01 04:31 | 2023-02-10 16:30 |  | Other
ECEC | ECEC_G2 | Natural Gas | Forced Extension | 170 | 120 | 50 | 2023-02-01 05:45 | 2023-02-03 23:59 | 2023-02-03 22:00 | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 118 | 31 | 2023-02-01 05:55 | 2023-02-28 23:59 | 2023-02-02 08:39 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 118 | 34 | 2023-02-01 05:55 | 2023-02-28 23:59 | 2023-02-02 08:39 | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced | 125 | 105 | 20 | 2023-02-01 07:00 | 2023-02-15 18:00 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 360 | 31 | 2023-02-01 08:26 | 2023-03-01 |  | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced | 50 | 40 | 10 | 2023-02-01 08:58 | 2023-02-03 23:59 | 2023-02-03 19:59 | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 45 | 5 | 2023-02-01 09:02 | 2023-02-08 23:59 |  | Other
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 5 | 45 | 2023-02-01 09:08 | 2023-02-02 23:59 | 2023-02-02 12:54 | Icing
WL_RANCH | WL_RANCH_UNIT1 | Wind | Forced | 200 | 0 | 200 | 2023-02-01 09:17 | 2023-02-02 23:59 | 2023-02-02 14:12 | Icing
BARROW | BARROW_UNIT1 | Wind | Forced | 90 | 75 | 15 | 2023-02-01 09:35 | 2023-02-02 23:59 | 2023-02-02 12:52 | Icing
BARROW | BARROW_UNIT2 | Wind | Forced | 71 | 46 | 25 | 2023-02-01 09:35 | 2023-02-02 23:59 | 2023-02-02 12:52 | Icing
ANSON1 | ANSON1_UNIT1 | Solar | Forced | 100 | 80 | 20 | 2023-02-01 09:40 | 2023-02-02 23:59 | 2023-02-02 23:59 | Cold weather related
ANSON1 | ANSON1_UNIT2 | Solar | Forced | 100 | 80 | 20 | 2023-02-01 09:40 | 2023-02-02 23:59 | 2023-02-02 23:59 | Cold weather related
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 3 | 150 | 2023-02-01 09:44 | 2023-02-02 23:59 | 2023-02-02 14:15 | Icing
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 2 | 145 | 2023-02-01 09:44 | 2023-02-02 23:59 | 2023-02-02 14:15 | Icing
PRIDDY | PRIDDY_UNIT1 | Wind | Forced | 187 | 0 | 187 | 2023-02-01 09:50 | 2023-02-02 23:59 | 2023-02-02 18:02 | Icing
PRIDDY | PRIDDY_UNIT2 | Wind | Forced | 115 | 0 | 115 | 2023-02-01 09:50 | 2023-02-02 23:59 | 2023-02-02 18:02 | Icing
SUNVASLR | SUNVASLR_UNIT1 | Solar | Forced | 166 | 156 | 10 | 2023-02-01 09:51 | 2023-02-02 23:59 | 2023-02-02 23:59 | Cold weather related
SUNVASLR | SUNVASLR_UNIT2 | Solar | Forced | 86 | 76 | 10 | 2023-02-01 09:51 | 2023-02-02 23:59 | 2023-02-02 23:59 | Cold weather related
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 815 | 0 | 2023-02-01 09:53 | 2023-03-23 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 0 | 109 | 2023-02-01 09:55 | 2023-02-02 23:59 | 2023-02-02 14:13 | Icing
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 0 | 190 | 2023-02-01 09:55 | 2023-02-02 23:59 | 2023-02-02 14:13 | Icing
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 805 | 15 | 2023-02-01 09:57 | 2023-02-02 09:00 | 2023-02-02 09:26 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 850 | 5 | 2023-02-01 09:59 | 2023-02-01 23:59 | 2023-02-02 | Other
VORTEX | VORTEX_WIND1 | Wind | Forced | 154 | 77 | 77 | 2023-02-01 10:10 | 2023-02-03 18:00 | 2023-02-03 08:54 | Other
VORTEX | VORTEX_WIND2 | Wind | Forced | 24 | 12 | 12 | 2023-02-01 10:10 | 2023-02-03 18:00 | 2023-02-03 08:54 | Other
VORTEX | VORTEX_WIND3 | Wind | Forced | 158 | 79 | 79 | 2023-02-01 10:10 | 2023-02-03 18:00 | 2023-02-03 08:54 | Other
VORTEX | VORTEX_WIND4 | Wind | Forced | 14 | 6 | 8 | 2023-02-01 10:10 | 2023-02-03 18:00 | 2023-02-03 08:54 | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 147 | 35 | 2023-02-01 11:37 | 2023-02-28 23:59 |  | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 57 | 6 | 2023-02-01 13:00 | 2023-02-03 20:00 | 2023-02-03 11:14 | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced | 63 | 50 | 13 | 2023-02-01 13:00 | 2023-02-03 20:00 | 2023-02-03 11:14 | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 483 | 19 | 2023-02-01 13:10 | 2023-02-06 13:10 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 217 | 15 | 2023-02-01 13:27 | 2023-02-28 23:59 | 2023-02-02 02:42 | Icing
HRFDWIND | HRFDWIND_JRDWIND1 | Wind | Forced | 146 | 75 | 71 | 2023-02-01 13:45 | 2023-02-02 23:59 | 2023-02-02 11:01 | Icing
HRFDWIND | HRFDWIND_JRDWIND2 | Wind | Forced | 154 | 75 | 79 | 2023-02-01 13:45 | 2023-02-02 23:59 | 2023-02-02 11:01 | Icing
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 0 | 127 | 2023-02-01 14:20 | 2023-02-04 14:00 | 2023-02-02 07:42 | Icing
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 0 | 127 | 2023-02-01 14:20 | 2023-02-04 14:00 | 2023-02-02 07:42 | Icing
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 0 | 169 | 2023-02-01 14:20 | 2023-02-04 14:00 | 2023-02-02 09:04 | Icing
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 0 | 169 | 2023-02-01 14:20 | 2023-02-04 14:00 | 2023-02-02 09:04 | Icing
CALHOUN | CALHOUN_UNIT2 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2023-02-01 14:45 | 2023-02-03 23:59 | 2023-02-03 12:36 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 216 | 6 | 2023-02-01 14:50 | 2023-02-03 18:00 | 2023-02-02 09:35 | Other
KEECHI | KEECHI_U1 | Wind | Forced | 110 | 0 | 110 | 2023-02-01 15:30 | 2023-02-02 17:00 | 2023-02-02 12:29 | Icing
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 127 | 17 | 2023-02-01 15:30 | 2023-02-07 18:00 | 2023-02-04 21:24 | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 126 | 18 | 2023-02-01 15:30 | 2023-02-07 18:00 | 2023-02-04 21:24 | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 609 | 54 | 2023-02-01 15:45 | 2023-02-05 23:59 |  | Inlet Air Problems/Repairs
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 146 | 18 | 2023-02-01 15:47 | 2023-02-03 06:00 | 2023-02-03 03:30 | Other
VICTPRT2 | VICTPRT2_UNIT2 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2023-02-01 16:05 | 2023-02-06 23:59 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 50 | 36 | 14 | 2023-02-01 16:15 | 2023-03-15 12:00 |  | Fuel Limitation/Lack of Fuel Availability
CITYVICT | CITYVICT_CTG02 | Natural Gas | Forced | 50 | 44 | 6 | 2023-02-01 16:15 | 2023-03-15 12:00 |  | Fuel Problems/Repairs
WHMESA | WHMESA_UNIT1 | Wind | Forced Extension | 152 | 0 | 152 | 2023-02-01 16:27 | 2023-02-03 23:59 | 2023-02-03 00:36 | Icing
DEWOLF | DEWOLF_UNIT1 | Wind | Forced | 199 | 0 | 199 | 2023-02-01 17:01 | 2023-02-02 17:00 | 2023-02-02 14:14 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 136 | 27 | 2023-02-01 17:01 | 2023-02-04 23:00 | 2023-02-04 17:43 | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced | 14 | 0 | 14 | 2023-02-01 17:04 | 2023-02-28 19:00 | 2023-02-03 00:36 | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 15 | 135 | 2023-02-01 17:27 | 2023-02-04 14:00 | 2023-02-02 11:33 | Icing
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 25 | 125 | 2023-02-01 17:27 | 2023-02-04 14:00 | 2023-02-02 11:33 | Icing
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 0 | 195 | 2023-02-01 18:03 | 2023-02-02 23:59 | 2023-02-02 14:44 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 0 | 145 | 2023-02-01 18:03 | 2023-02-02 23:59 | 2023-02-02 14:44 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 50 | 50 | 2023-02-01 18:06 | 2023-02-06 16:00 |  | Turbine/Generator Vibration/Repair
PENA | PENA_UNIT1 | Wind | Forced | 161 | 151 | 10 | 2023-02-01 18:11 | 2023-02-06 16:00 |  | Turbine/Generator Vibration/Repair
FTWIND | FTWIND_UNIT_1 | Wind | Forced | 200 | 0 | 200 | 2023-02-01 18:30 | 2023-02-02 12:00 | 2023-02-02 12:00 | Icing
GOPHER | GOPHER_UNIT1 | Wind | Forced | 82 | 0 | 82 | 2023-02-01 18:47 | 2023-02-02 12:00 | 2023-02-02 10:38 | Icing
GOPHER | GOPHER_UNIT2 | Wind | Forced | 76 | 0 | 76 | 2023-02-01 18:47 | 2023-02-02 12:00 | 2023-02-02 10:38 | Icing
TAYGETE | TAYGETE_UNIT1 | Solar | Maintenance Level 2 | 126 | 97 | 29 | 2023-02-01 19:00 | 2023-02-02 07:00 | 2023-02-02 07:00 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 615 | 40 | 2023-02-01 19:15 | 2023-02-02 23:59 | 2023-02-03 00:01 | Emissions
DEC | DEC_AGR_B | Natural Gas | Forced Extension | 56 | 37 | 19 | 2023-02-01 19:30 | 2023-02-02 20:00 | 2023-02-02 17:00 | Unknown
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 88 | 13 | 2023-02-01 20:16 | 2023-02-06 20:00 | 2023-02-02 20:58 | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-01 20:40 | 2023-02-06 17:00 | 2023-02-02 23:29 | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-01 20:40 | 2023-02-06 17:00 | 2023-02-02 23:29 | Other
STEAM | STEAM_STEAM_3 | Natural Gas | Maintenance Level 1 | 36 | 24 | 12 | 2023-02-01 20:53 | 2023-02-03 12:00 | 2023-02-03 12:04 | Fuel Limitation/Lack of Fuel Availability
STEAM | STEAM_ENGINE_2 | Natural Gas | Maintenance Level 1 | 8 | 5 | 3 | 2023-02-01 20:54 | 2023-02-03 12:00 | 2023-02-03 12:03 | Fuel Limitation/Lack of Fuel Availability
STEAM | STEAM_ENGINE_3 | Natural Gas | Maintenance Level 1 | 8 | 6 | 2 | 2023-02-01 20:54 | 2023-02-03 12:00 | 2023-02-03 12:03 | Fuel Limitation/Lack of Fuel Availability
STEAM | STEAM_STEAM_2 | Natural Gas | Maintenance Level 1 | 22 | 18 | 4 | 2023-02-01 20:54 | 2023-02-03 12:00 | 2023-02-03 12:03 | Fuel Limitation/Lack of Fuel Availability
GRSES | GRSES_UNIT1 | Natural Gas | Forced Extension | 239 | 0 | 239 | 2023-02-01 21:11 | 2023-02-05 23:59 |  | Feedwater Problems/Repairs
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 0 | 390 | 2023-02-01 21:11 | 2023-02-06 23:59 |  | Feedwater Problems/Repairs
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 575 | 261 | 2023-02-01 21:12 | 2023-02-03 23:59 | 2023-02-03 18:00 | Emissions
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 70 | 45 | 2023-02-01 21:41 | 2023-02-06 23:59 | 2023-02-03 06:11 | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 75 | 35 | 2023-02-01 21:43 | 2023-02-04 23:59 | 2023-02-03 06:11 | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 60 | 15 | 2023-02-01 21:44 | 2023-02-04 23:59 | 2023-02-03 16:06 | Other
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 94 | 26 | 2023-02-01 22:04 | 2023-02-06 16:00 | 2023-02-03 13:07 | Turbine/Generator Vibration/Repair
APPALOSA | APPALOSA_UNIT1 | Wind | Forced | 158 | 107 | 51 | 2023-02-01 22:12 | 2023-02-28 23:59 | 2023-02-02 15:21 | Cooling Water Problems/Repairs
INRT_W | INRT_W_UNIT3 | Wind | Forced | 206 | 191 | 15 | 2023-02-01 22:12 | 2023-02-28 23:59 | 2023-02-04 20:22 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 380 | 435 | 2023-02-01 23:01 | 2023-02-02 03:00 | 2023-02-02 03:00 | Emissions
MDANP | MDANP_CT1 | Natural Gas | Forced Extension | 258 | 240 | 18 | 2023-02-02 00:01 | 2023-02-04 23:59 | 2023-02-04 18:31 | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 278 | 258 | 20 | 2023-02-02 00:01 | 2023-02-04 23:59 | 2023-02-04 18:31 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 380 | 440 | 2023-02-02 00:01 | 2023-02-02 04:00 | 2023-02-02 04:00 | Emissions
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 720 | 100 | 2023-02-02 00:01 | 2023-02-02 02:00 | 2023-02-02 04:00 | Emissions
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 655 | 200 | 2023-02-02 00:05 | 2023-02-02 06:00 | 2023-02-02 03:00 | Fuel Problems/Repairs
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 655 | 200 | 2023-02-02 00:05 | 2023-02-02 06:00 | 2023-02-02 03:00 | Fuel Problems/Repairs
FLCNS | FLCNS_UNIT1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-02-02 00:38 | 2023-02-02 14:00 | 2023-02-02 14:00 | Other
FLCNS | FLCNS_UNIT2 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-02-02 00:38 | 2023-02-02 14:00 | 2023-02-02 14:00 | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-02-02 00:38 | 2023-02-02 14:00 | 2023-02-02 14:00 | Other
DEC | DEC_AGR_C | Natural Gas | Forced | 56 | 37 | 19 | 2023-02-02 01:56 | 2023-02-02 23:59 | 2023-02-02 04:40 | Unknown
MARIAH | MARIAH_NORTE1 | Wind | Forced | 115 | 50 | 65 | 2023-02-02 02:01 | 2023-02-02 12:00 | 2023-02-02 10:38 | Icing
MARIAH | MARIAH_NORTE2 | Wind | Forced | 115 | 50 | 65 | 2023-02-02 02:01 | 2023-02-02 12:00 | 2023-02-02 10:38 | Icing
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 770 | 50 | 2023-02-02 02:01 | 2023-02-05 01:00 | 2023-02-02 05:39 | Emissions
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 205 | 27 | 2023-02-02 02:43 | 2023-02-28 23:59 | 2023-02-02 08:09 | Icing
HHGT | HHGT_HHOLLOW3 | Wind | Forced | 224 | 219 | 5 | 2023-02-02 02:57 | 2023-02-05 23:59 | 2023-02-03 10:13 | Icing
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 770 | 85 | 2023-02-02 03:00 | 2023-02-02 06:00 | 2023-02-02 06:35 | Control system issues
AQUILLA | AQUILLA_U1_23 | Wind | Forced | 14 | 0 | 14 | 2023-02-02 03:19 | 2023-02-05 23:59 | 2023-02-03 14:48 | Unknown
AQUILLA | AQUILLA_U1_28 | Wind | Forced | 135 | 0 | 135 | 2023-02-02 03:19 | 2023-02-05 23:59 | 2023-02-03 14:48 | Unknown
AQUILLA | AQUILLA_U2_23 | Wind | Forced | 7 | 0 | 7 | 2023-02-02 03:19 | 2023-02-05 23:59 | 2023-02-03 14:48 | Unknown
AQUILLA | AQUILLA_U2_28 | Wind | Forced | 144 | 0 | 144 | 2023-02-02 03:19 | 2023-02-05 23:59 | 2023-02-03 14:48 | Unknown
WFCOGEN | WFCOGEN_UNIT1 | Natural Gas | Forced Extension | 20 | 7 | 13 | 2023-02-02 03:40 | 2023-02-03 23:59 | 2023-02-03 11:30 | Other
WFCOGEN | WFCOGEN_UNIT2 | Natural Gas | Forced Extension | 20 | 7 | 13 | 2023-02-02 03:40 | 2023-02-03 23:59 | 2023-02-03 11:30 | Other
WFCOGEN | WFCOGEN_UNIT3 | Natural Gas | Forced Extension | 20 | 7 | 13 | 2023-02-02 03:40 | 2023-02-03 23:59 | 2023-02-03 11:30 | Other
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Forced Extension | 16 | 9 | 7 | 2023-02-02 03:40 | 2023-02-03 23:59 | 2023-02-03 11:30 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 580 | 275 | 2023-02-02 03:44 | 2023-02-02 18:00 | 2023-02-02 18:01 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 605 | 250 | 2023-02-02 03:44 | 2023-02-02 18:00 | 2023-02-02 18:01 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 655 | 200 | 2023-02-02 03:45 | 2023-02-02 06:00 | 2023-02-02 04:00 | Fuel Problems/Repairs
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 655 | 200 | 2023-02-02 03:45 | 2023-02-02 06:00 | 2023-02-02 04:00 | Fuel Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 555 | 300 | 2023-02-02 04:01 | 2023-02-02 06:00 | 2023-02-02 06:20 | Fuel Problems/Repairs
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 555 | 300 | 2023-02-02 04:01 | 2023-02-02 06:00 | 2023-02-02 06:20 | Fuel Problems/Repairs
YNG_WND | YNG_WND_UNIT3 | Wind | Forced | 149 | 135 | 14 | 2023-02-02 04:24 | 2023-02-28 23:59 | 2023-02-03 14:17 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 750 | 70 | 2023-02-02 04:45 | 2023-02-02 07:59 | 2023-02-02 05:34 | Emissions
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 820 | 695 | 125 | 2023-02-02 05:37 | 2023-02-02 12:00 | 2023-02-02 12:35 | Emissions
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 720 | 100 | 2023-02-02 05:39 | 2023-02-05 01:00 | 2023-02-02 07:22 | Emissions
COTPLNS | COTPLNS_OLDSETLR | Wind | Forced | 151 | 75 | 76 | 2023-02-02 05:45 | 2023-02-02 17:00 | 2023-02-02 11:05 | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 169 | 28 | 2023-02-02 06:05 | 2023-02-28 23:59 | 2023-02-04 18:59 | Other
COTPLNS | COTPLNS_COTTONPL | Wind | Forced | 50 | 25 | 25 | 2023-02-02 06:22 | 2023-02-02 17:00 | 2023-02-02 11:07 | Icing
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 0 | 133 | 2023-02-02 06:50 | 2023-02-02 09:00 | 2023-02-02 09:07 | Other
BLSUMMIT | BLSUMMIT_BLSMT1_6 | Wind | Forced | 7 | 0 | 7 | 2023-02-02 06:50 | 2023-02-02 09:00 | 2023-02-02 09:07 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced Extension | 815 | 715 | 100 | 2023-02-02 07:16 | 2023-02-02 12:00 | 2023-02-02 09:27 | Fuel Limitation/Lack of Fuel Availability
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 178 | 35 | 2023-02-02 07:17 | 2023-02-02 23:59 | 2023-02-02 22:47 | Icing
BOSQUESW | BOSQUESW_BSQSU_4 | Natural Gas | Forced Extension | 85 | 0 | 85 | 2023-02-02 07:22 | 2023-02-02 14:00 | 2023-02-02 13:17 | Control system issues
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced Extension | 239 | 0 | 239 | 2023-02-02 07:34 | 2023-02-02 13:00 | 2023-02-02 12:32 | Other
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 3 | 124 | 2023-02-02 07:43 | 2023-02-04 14:00 | 2023-02-02 11:36 | Icing
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 3 | 124 | 2023-02-02 07:43 | 2023-02-04 14:00 | 2023-02-02 11:36 | Icing
FLUVANNA | FLUVANNA_UNIT1 | Wind | Forced | 80 | 20 | 60 | 2023-02-02 08:01 | 2023-02-02 12:00 | 2023-02-02 10:52 | Icing
FLUVANNA | FLUVANNA_UNIT2 | Wind | Forced | 76 | 10 | 66 | 2023-02-02 08:01 | 2023-02-02 12:00 | 2023-02-02 10:52 | Icing
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 217 | 15 | 2023-02-02 08:07 | 2023-02-28 23:59 | 2023-02-03 15:18 | Icing
NCO | NCO_ESS1 | Not Available | Maintenance Level 2 | 50 | 45 | 5 | 2023-02-02 08:07 | 2023-02-02 16:00 | 2023-02-02 17:15 | Other
SKY1 | SKY1_SKY1B | Natural Gas | Forced | 27 | 17 | 10 | 2023-02-02 08:15 | 2023-02-02 09:18 | 2023-02-02 08:52 | Other
RHESS2 | RHESS2_ESS_1 | Other | Forced | 10 | 0 | 10 | 2023-02-02 08:25 | 2023-02-02 23:59 |  | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 125 | 24 | 2023-02-02 08:40 | 2023-02-28 23:59 |  | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 135 | 17 | 2023-02-02 08:40 | 2023-02-28 23:59 |  | Other
KING_SE | KING_SE_KINGSE | Wind | Forced | 41 | 30 | 11 | 2023-02-02 08:49 | 2023-02-03 20:00 | 2023-02-02 16:06 | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 10 | 159 | 2023-02-02 09:05 | 2023-02-04 14:00 | 2023-02-02 10:09 | Icing
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 10 | 159 | 2023-02-02 09:05 | 2023-02-04 14:00 | 2023-02-02 10:09 | Icing
PEY | PEY_UNIT1 | Wind | Maintenance Level 1 | 151 | 123 | 28 | 2023-02-02 09:08 | 2023-02-02 17:00 | 2023-02-02 13:53 | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced Extension | 133 | 20 | 113 | 2023-02-02 09:09 | 2023-02-03 15:00 | 2023-02-03 13:17 | Other
BRP_4631 | BRP_4631_UNIT1 | Not Available | Forced | 10 | 0 | 10 | 2023-02-02 09:18 | 2023-02-06 18:00 |  | Other
DIB | DIB_DIB_G1 | Natural Gas | Forced | 73 | 0 | 73 | 2023-02-02 09:20 | 2023-02-02 23:59 | 2023-02-02 19:35 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 805 | 15 | 2023-02-02 09:28 | 2023-02-02 23:59 | 2023-02-03 00:08 | Other
VERAWIND | VERAWIND_UNIT4 | Wind | Forced Extension | 22 | 20 | 2 | 2023-02-02 09:30 | 2023-02-07 15:00 |  | Other
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 820 | 800 | 20 | 2023-02-02 09:32 | 2023-02-02 23:59 | 2023-02-03 00:08 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 192 | 30 | 2023-02-02 09:36 | 2023-02-03 18:00 | 2023-02-02 12:38 | Other
ANCHOR | ANCHOR_WIND2 | Wind | Forced | 99 | 56 | 43 | 2023-02-02 10:00 | 2023-02-02 17:00 | 2023-02-02 14:51 | Unknown
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 20 | 149 | 2023-02-02 10:10 | 2023-02-04 14:00 | 2023-02-02 11:36 | Icing
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 20 | 149 | 2023-02-02 10:10 | 2023-02-04 14:00 | 2023-02-02 11:36 | Icing
RDCANYON | RDCANYON_RDCNY1 | Wind | Forced | 90 | 60 | 30 | 2023-02-02 10:25 | 2023-02-28 23:59 | 2023-02-02 17:26 | Icing
RANCHERO | RANCHERO_UNIT1 | Wind | Forced Extension | 150 | 10 | 140 | 2023-02-02 10:45 | 2023-02-03 13:00 | 2023-02-02 11:53 | Other
RANCHERO | RANCHERO_UNIT2 | Wind | Forced Extension | 150 | 10 | 140 | 2023-02-02 10:45 | 2023-02-03 13:00 | 2023-02-02 11:53 | Other
FLUVANNA | FLUVANNA_UNIT1 | Wind | Forced Extension | 80 | 60 | 20 | 2023-02-02 10:54 | 2023-02-02 20:00 | 2023-02-02 16:48 | Icing
FLUVANNA | FLUVANNA_UNIT2 | Wind | Forced Extension | 76 | 40 | 36 | 2023-02-02 10:54 | 2023-02-02 20:00 | 2023-02-02 16:48 | Icing
CASL_GAP | CASL_GAP_BATTERY1 | Not Available | Unavoidable Extension | 10 | 0 | 10 | 2023-02-02 11:00 | 2023-02-02 17:00 | 2023-02-02 16:45 | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 134 | 35 | 2023-02-02 11:09 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 0 | 114 | 2023-02-02 11:11 | 2023-02-03 23:59 | 2023-02-02 11:58 | Icing
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 0 | 213 | 2023-02-02 11:11 | 2023-02-03 23:59 | 2023-02-02 11:58 | Icing
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 0 | 184 | 2023-02-02 11:11 | 2023-02-03 23:59 | 2023-02-02 11:58 | Icing
HHGT | HHGT_HHOLLOW3 | Wind | Forced | 224 | 0 | 224 | 2023-02-02 11:11 | 2023-02-03 23:59 | 2023-02-02 11:58 | Icing
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 0 | 115 | 2023-02-02 11:11 | 2023-02-03 23:59 | 2023-02-02 11:58 | Other
TYLRWIND | TYLRWIND_UNIT1 | Wind | Forced | 126 | 112 | 14 | 2023-02-02 11:15 | 2023-02-09 23:59 |  | Other
RTS2 | RTS2_U1 | Wind | Forced | 90 | 40 | 50 | 2023-02-02 11:31 | 2023-02-02 14:00 | 2023-02-02 13:45 | Icing
RTS2 | RTS2_U2 | Wind | Forced | 90 | 40 | 50 | 2023-02-02 11:31 | 2023-02-02 14:00 | 2023-02-02 13:45 | Icing
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 15 | 112 | 2023-02-02 11:36 | 2023-02-04 14:00 | 2023-02-02 12:45 | Icing
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 15 | 112 | 2023-02-02 11:36 | 2023-02-04 14:00 | 2023-02-02 12:45 | Icing
RANCHERO | RANCHERO_UNIT1 | Wind | Forced Extension | 150 | 0 | 150 | 2023-02-02 11:53 | 2023-02-03 18:00 | 2023-02-03 14:17 | Unknown
RANCHERO | RANCHERO_UNIT2 | Wind | Forced Extension | 150 | 0 | 150 | 2023-02-02 11:53 | 2023-02-03 18:00 | 2023-02-03 14:17 | Unknown
NBOHR | NBOHR_UNIT1 | Wind | Forced | 197 | 141 | 56 | 2023-02-02 11:54 | 2023-02-02 20:00 | 2023-02-02 20:00 | Icing
AZURE | AZURE_SOLAR2 | Solar | Forced | 154 | 132 | 22 | 2023-02-02 11:55 | 2023-02-03 18:00 | 2023-02-02 16:00 | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 0 | 151 | 2023-02-02 11:55 | 2023-02-10 18:00 | 2023-02-02 19:30 | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 0 | 151 | 2023-02-02 11:55 | 2023-02-10 18:00 | 2023-02-02 19:30 | Other
HARALD | HARALD_UNIT1 | Wind | Forced | 162 | 81 | 81 | 2023-02-02 12:00 | 2023-02-02 15:00 | 2023-02-02 15:00 | Icing
TRIPBUT1 | TRIPBUT1_BELU1 | Not Available | Forced | 8 | 0 | 8 | 2023-02-02 12:04 | 2023-02-02 23:59 | 2023-02-02 14:07 | Other
BATCAVE | BATCAVE_BES1 | Not Available | Forced | 101 | 0 | 101 | 2023-02-02 12:22 | 2023-02-02 15:59 | 2023-02-02 13:45 | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 0 | 121 | 2023-02-02 12:30 | 2023-02-03 12:30 | 2023-02-02 15:30 | Icing
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 0 | 116 | 2023-02-02 12:30 | 2023-02-03 12:30 | 2023-02-02 15:50 | Icing
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 0 | 117 | 2023-02-02 12:30 | 2023-02-03 12:30 | 2023-02-02 15:50 | Icing
KEECHI | KEECHI_U1 | Wind | Forced | 110 | 5 | 105 | 2023-02-02 12:30 | 2023-02-02 17:00 | 2023-02-02 13:53 | Icing
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 59 | 12 | 2023-02-02 12:30 | 2023-02-03 12:00 | 2023-02-03 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 26 | 7 | 2023-02-02 12:30 | 2023-02-03 12:00 | 2023-02-03 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced Extension | 22 | 17 | 5 | 2023-02-02 12:30 | 2023-02-03 12:00 | 2023-02-03 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT8 | Wind | Forced Extension | 20 | 14 | 6 | 2023-02-02 12:30 | 2023-02-03 12:00 | 2023-02-03 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced Extension | 77 | 0 | 77 | 2023-02-02 12:30 | 2023-02-03 12:00 | 2023-02-03 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 164 | 38 | 2023-02-02 12:30 | 2023-02-03 12:00 | 2023-02-03 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 12 | 10 | 2023-02-02 12:30 | 2023-02-03 12:00 | 2023-02-03 12:00 | Other
QUEEN_SL | QUEEN_SL_SOLAR1 | Solar | Forced | 103 | 0 | 103 | 2023-02-02 13:03 | 2023-02-03 18:00 | 2023-02-02 15:32 | Other
QUEEN_SL | QUEEN_SL_SOLAR2 | Solar | Forced | 103 | 0 | 103 | 2023-02-02 13:03 | 2023-02-03 18:00 | 2023-02-02 15:32 | Other
QUEEN_SL | QUEEN_SL_SOLAR3 | Solar | Forced | 98 | 0 | 98 | 2023-02-02 13:03 | 2023-02-03 18:00 | 2023-02-02 15:32 | Other
QUEEN_SL | QUEEN_SL_SOLAR4 | Solar | Forced | 108 | 0 | 108 | 2023-02-02 13:03 | 2023-02-03 18:00 | 2023-02-02 15:32 | Other
BORDAS2 | BORDAS2_JAVEL2_B | Wind | Forced | 74 | 70 | 4 | 2023-02-02 13:28 | 2023-02-03 17:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced | 116 | 80 | 36 | 2023-02-02 13:35 | 2023-02-03 18:00 | 2023-02-03 12:59 | Other
LGD | LGD_LANGFORD | Wind | Forced | 160 | 10 | 150 | 2023-02-02 13:36 | 2023-02-02 15:00 | 2023-02-02 15:04 | Icing
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 820 | 795 | 25 | 2023-02-02 13:41 | 2023-02-02 23:59 | 2023-02-02 16:49 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced Extension | 209 | 127 | 82 | 2023-02-02 13:48 | 2023-02-06 15:00 |  | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced Extension | 210 | 131 | 79 | 2023-02-02 13:48 | 2023-02-06 15:00 |  | Other
BATCAVE | BATCAVE_BES1 | Not Available | Forced | 101 | 0 | 101 | 2023-02-02 13:50 | 2023-02-02 16:59 | 2023-02-02 15:57 | Other
NF_BRP | NF_BRP_BES1 | Not Available | Forced | 101 | 0 | 101 | 2023-02-02 13:51 | 2023-02-02 16:59 | 2023-02-02 15:58 | Other
KEECHI | KEECHI_U1 | Wind | Forced | 110 | 0 | 110 | 2023-02-02 13:54 | 2023-02-03 17:00 | 2023-02-02 15:47 | Icing
RTS2 | RTS2_U1 | Wind | Forced Extension | 90 | 79 | 11 | 2023-02-02 14:00 | 2023-02-07 16:00 |  | Other
RTS2 | RTS2_U2 | Wind | Forced | 90 | 79 | 11 | 2023-02-02 14:00 | 2023-02-03 16:00 | 2023-02-03 15:27 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 110 | 38 | 2023-02-02 14:04 | 2023-02-28 18:00 | 2023-02-02 18:24 | Other
SWEETWN5 | SWEETWN5_WND5 | Wind | Forced | 85 | 55 | 30 | 2023-02-02 14:12 | 2023-02-03 12:00 | 2023-02-02 16:22 | Icing
AVIATOR | AVIATOR_UNIT1 | Wind | Forced | 180 | 147 | 33 | 2023-02-02 14:15 | 2023-02-03 17:00 | 2023-02-03 04:55 | Other
AVIATOR | AVIATOR_UNIT2 | Wind | Forced | 146 | 118 | 28 | 2023-02-02 14:15 | 2023-02-03 17:00 | 2023-02-03 04:55 | Other
DEWOLF | DEWOLF_UNIT1 | Wind | Forced | 199 | 163 | 36 | 2023-02-02 14:15 | 2023-02-03 17:00 | 2023-02-03 04:54 | Other
HI_LONE | HI_LONE_WGR2A | Wind | Forced | 25 | 10 | 15 | 2023-02-02 14:30 | 2023-02-07 18:30 |  | Frozen Equipment
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 30 | 98 | 2023-02-02 14:30 | 2023-02-07 18:30 |  | Frozen Equipment
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 30 | 72 | 2023-02-02 14:30 | 2023-02-07 18:30 |  | Frozen Equipment
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 0 | 114 | 2023-02-02 14:31 | 2023-02-03 23:59 | 2023-02-02 20:11 | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 0 | 213 | 2023-02-02 14:31 | 2023-02-03 23:59 | 2023-02-02 20:11 | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 0 | 184 | 2023-02-02 14:31 | 2023-02-03 23:59 | 2023-02-02 20:11 | Other
HHGT | HHGT_HHOLLOW3 | Wind | Forced | 224 | 0 | 224 | 2023-02-02 14:31 | 2023-02-03 23:59 | 2023-02-02 20:11 | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 0 | 115 | 2023-02-02 14:31 | 2023-02-03 23:59 | 2023-02-02 20:11 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 125 | 70 | 2023-02-02 14:45 | 2023-02-02 23:59 | 2023-02-02 23:59 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 50 | 95 | 2023-02-02 14:45 | 2023-02-02 23:59 | 2023-02-02 23:59 | Other
ANCHOR | ANCHOR_WIND2 | Wind | Forced | 99 | 56 | 43 | 2023-02-02 14:54 | 2023-02-02 17:00 | 2023-02-02 18:07 | Unknown
LONEWOLF | LONEWOLF_G1 | Wind | Forced | 48 | 35 | 13 | 2023-02-02 15:00 | 2023-02-03 15:00 | 2023-02-03 09:10 | Icing
LONEWOLF | LONEWOLF_G2 | Wind | Forced | 51 | 42 | 9 | 2023-02-02 15:00 | 2023-02-03 15:00 | 2023-02-03 09:10 | Icing
LGD | LGD_LANGFORD | Wind | Forced | 160 | 45 | 115 | 2023-02-02 15:05 | 2023-02-02 18:00 | 2023-02-02 17:26 | Icing
APPALOSA | APPALOSA_UNIT1 | Wind | Forced | 158 | 146 | 12 | 2023-02-02 15:21 | 2023-02-04 23:59 | 2023-02-03 15:04 | Icing
CAPRIDG4 | CAPRIDG4_CR4 | Wind | Forced | 122 | 112 | 10 | 2023-02-02 15:25 | 2023-02-28 23:59 | 2023-02-03 15:19 | Icing
CHAMPION | CHAMPION_UNIT1 | Wind | Forced | 127 | 10 | 117 | 2023-02-02 15:30 | 2023-02-03 17:00 | 2023-02-03 09:38 | Icing
PYR | PYR_PYRON1 | Wind | Forced | 122 | 5 | 117 | 2023-02-02 15:30 | 2023-02-03 17:00 | 2023-02-03 09:38 | Icing
PYR | PYR_PYRON2 | Wind | Forced | 128 | 5 | 123 | 2023-02-02 15:30 | 2023-02-03 17:00 | 2023-02-03 09:38 | Icing
INDL | INDL_INADALE1 | Wind | Forced | 95 | 15 | 80 | 2023-02-02 15:36 | 2023-02-03 17:00 | 2023-02-03 14:27 | Icing
TKWSW1 | TKWSW1_ROSCOE | Wind | Forced | 114 | 15 | 99 | 2023-02-02 15:36 | 2023-02-03 17:00 | 2023-02-03 14:27 | Icing
TKWSW1 | TKWSW1_ROSCOE2A | Wind | Forced | 95 | 15 | 80 | 2023-02-02 15:36 | 2023-02-03 17:00 | 2023-02-03 14:27 | Icing
INDL | INDL_INADALE2 | Wind | Forced Extension | 102 | 15 | 87 | 2023-02-02 15:37 | 2023-02-03 17:00 | 2023-02-03 14:27 | Icing
BATCAVE | BATCAVE_BES1 | Not Available | Forced | 101 | 0 | 101 | 2023-02-02 15:57 | 2023-02-02 19:59 | 2023-02-02 19:59 | Other
NF_BRP | NF_BRP_BES1 | Not Available | Forced | 101 | 0 | 101 | 2023-02-02 15:58 | 2023-02-02 19:59 | 2023-02-02 18:00 | Other
RHESS2 | RHESS2_ESS_1 | Other | Forced | 10 | 8 | 2 | 2023-02-02 16:05 | 2023-02-10 23:59 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 108 | 23 | 2023-02-02 16:15 | 2023-02-09 18:00 | 2023-02-04 21:24 | Other
CSEC | CSEC_CSECG2 | Wind | Forced | 120 | 93 | 27 | 2023-02-02 16:17 | 2023-02-09 18:00 | 2023-02-04 21:24 | Other
GUNMTN | GUNMTN_G1 | Wind | Forced | 120 | 100 | 20 | 2023-02-02 16:18 | 2023-02-08 18:00 | 2023-02-04 13:38 | Other
SWEC | SWEC_G1 | Wind | Forced | 120 | 99 | 21 | 2023-02-02 16:20 | 2023-02-07 18:00 |  | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced | 149 | 139 | 10 | 2023-02-02 16:21 | 2023-02-09 18:00 | 2023-02-04 21:24 | Other
TTWEC | TTWEC_G1 | Wind | Forced | 170 | 155 | 15 | 2023-02-02 16:22 | 2023-02-08 18:00 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 755 | 60 | 2023-02-02 16:42 | 2023-02-02 23:59 | 2023-02-02 23:59 | Other
NBOHR | NBOHR_UNIT1 | Wind | Forced | 197 | 151 | 46 | 2023-02-02 16:44 | 2023-02-03 08:00 | 2023-02-03 08:00 | Icing
FLUVANNA | FLUVANNA_UNIT1 | Wind | Forced | 80 | 73 | 7 | 2023-02-02 16:49 | 2023-02-03 08:00 | 2023-02-03 08:00 | Icing
FLUVANNA | FLUVANNA_UNIT2 | Wind | Forced | 76 | 62 | 14 | 2023-02-02 16:49 | 2023-02-03 08:00 | 2023-02-03 08:00 | Icing
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 795 | 25 | 2023-02-02 16:49 | 2023-02-02 23:59 | 2023-02-02 18:54 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 135 | 30 | 2023-02-02 16:54 | 2023-02-03 17:00 | 2023-02-03 16:40 | Turbine/Generator Vibration/Repair
RDCANYON | RDCANYON_RDCNY1 | Wind | Forced | 90 | 75 | 15 | 2023-02-02 17:23 | 2023-02-28 23:59 |  | Icing
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 820 | 670 | 150 | 2023-02-02 18:01 | 2023-02-03 06:00 | 2023-02-03 00:03 | Emissions
DEC | DEC_AGR_B | Natural Gas | Forced | 56 | 37 | 19 | 2023-02-02 18:02 | 2023-02-02 23:59 | 2023-02-02 22:00 | Unknown
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 715 | 100 | 2023-02-02 18:05 | 2023-02-02 23:59 | 2023-02-03 00:01 | Emissions
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 605 | 250 | 2023-02-02 18:09 | 2023-02-02 20:00 | 2023-02-02 18:40 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 500 | 355 | 2023-02-02 18:09 | 2023-02-02 20:00 | 2023-02-02 18:40 | Fuel Limitation/Lack of Fuel Availability
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 128 | 20 | 2023-02-02 18:24 | 2023-02-28 18:00 | 2023-02-03 21:29 | Other
RTS2 | RTS2_U2 | Wind | Forced | 90 | 73 | 17 | 2023-02-02 18:35 | 2023-02-03 16:00 | 2023-02-02 21:41 | Other
DEC | DEC_AGR_A | Natural Gas | Forced | 56 | 37 | 19 | 2023-02-02 18:36 | 2023-02-02 23:59 | 2023-02-02 20:00 | Unknown
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 400 | 455 | 2023-02-02 18:49 | 2023-02-02 23:59 | 2023-02-02 23:56 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 455 | 400 | 2023-02-02 18:49 | 2023-02-02 23:59 | 2023-02-02 23:56 | Fuel Limitation/Lack of Fuel Availability
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 820 | 770 | 50 | 2023-02-02 18:55 | 2023-02-04 19:00 | 2023-02-03 20:30 | Other
HOVEY | HOVEY_UNIT1 | Solar | Maintenance Level 2 | 22 | 0 | 22 | 2023-02-02 19:00 | 2023-02-03 06:00 | 2023-02-02 20:59 | Transformer Repair/Replace
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 165 | 57 | 2023-02-02 19:00 | 2023-02-03 18:00 | 2023-02-03 16:45 | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 60 | 32 | 2023-02-02 19:10 | 2023-02-28 23:59 | 2023-02-03 14:05 | Other
HOVEY | HOVEY_UNIT2 | Solar | Forced | 7 | 0 | 7 | 2023-02-02 19:46 | 2023-02-03 06:00 | 2023-02-02 20:59 | Other
BATCAVE | BATCAVE_BES1 | Not Available | Forced | 101 | 0 | 101 | 2023-02-02 20:00 | 2023-02-02 23:59 | 2023-02-02 23:24 | Other
NBOHR | NBOHR_UNIT1 | Wind | Forced | 197 | 141 | 56 | 2023-02-02 20:00 | 2023-02-03 08:00 | 2023-02-03 08:00 | Icing
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 100 | 14 | 2023-02-02 20:11 | 2023-02-03 23:59 | 2023-02-02 23:11 | Icing
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 100 | 3 | 2023-02-02 20:27 | 2023-02-28 23:59 |  | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced | 77 | 39 | 38 | 2023-02-02 20:30 | 2023-02-03 15:00 | 2023-02-03 12:40 | Other
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced | 239 | 0 | 239 | 2023-02-02 20:36 | 2023-02-02 22:59 | 2023-02-02 23:00 | Control system issues
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 65 | 27 | 2023-02-02 20:46 | 2023-02-28 23:59 | 2023-02-03 10:24 | Other
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 94 | 7 | 2023-02-02 20:58 | 2023-02-06 20:00 | 2023-02-03 09:32 | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 186 | 15 | 2023-02-02 21:00 | 2023-02-28 23:59 | 2023-02-03 15:20 | Icing
RTS2 | RTS2_U2 | Wind | Forced | 90 | 76 | 14 | 2023-02-02 21:41 | 2023-02-03 16:00 | 2023-02-03 15:27 | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 102 | 111 | 2023-02-02 22:47 | 2023-02-02 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced Extension | 150 | 119 | 31 | 2023-02-02 22:48 | 2023-02-05 23:59 | 2023-02-03 15:21 | Icing
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 102 | 111 | 2023-02-02 22:48 | 2023-02-02 23:59 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 82 | 102 | 2023-02-02 22:48 | 2023-02-28 23:59 | 2023-02-04 03:26 | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 32 | 83 | 2023-02-02 22:48 | 2023-02-28 23:59 | 2023-02-03 14:04 | Other
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced Extension | 239 | 0 | 239 | 2023-02-02 23:01 | 2023-02-04 04:00 | 2023-02-04 03:14 | Control system issues
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 84 | 30 | 2023-02-02 23:12 | 2023-02-03 23:59 | 2023-02-03 00:10 | Other
BATCAVE | BATCAVE_BES1 | Not Available | Forced | 101 | 0 | 101 | 2023-02-02 23:23 | 2023-02-03 12:00 | 2023-02-03 09:21 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 555 | 300 | 2023-02-02 23:57 | 2023-02-03 01:59 | 2023-02-03 02:00 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 580 | 275 | 2023-02-02 23:57 | 2023-02-03 01:59 | 2023-02-03 02:00 | Fuel Limitation/Lack of Fuel Availability
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 125 | 70 | 2023-02-02 23:59 | 2023-02-03 11:31 | 2023-02-03 11:31 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 50 | 95 | 2023-02-02 23:59 | 2023-02-03 11:31 | 2023-02-03 11:31 | Other
2023-02-05 |  |  |  | 2 |  |  |  | 5:04