## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-02-08 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Feb 5, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2022-02-07 14:50 | 2023-02-07 14:49 | 2023-02-06 16:10 | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2022-02-28 10:52 | 2023-02-27 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Unavoidable Extension | 99 | 0 | 99 | 2022-03-15 10:27 | 2023-02-15 23:59 | 2023-02-07 11:49 | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Unavoidable Extension | 61 | 0 | 61 | 2022-03-15 10:27 | 2023-02-15 23:59 | 2023-02-07 11:54 | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 258 | 226 | 32 | 2022-05-03 17:17 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 503 | 20 | 2022-05-12 18:30 | 2023-03-24 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2022-05-23 11:30 | 2023-05-23 11:29 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-02-28 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-02-28 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-02-28 23:59 |  | Other
DECKER | DECKER_DPGT_2 | Natural Gas | Forced Extension | 54 | 25 | 29 | 2022-07-08 16:41 | 2023-02-15 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
WHTTAIL | WHTTAIL_WR1 | Wind | Forced Extension | 113 | 102 | 11 | 2022-08-01 00:01 | 2023-02-28 23:59 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-08-18 19:25 | 2023-02-10 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 50 | 96 | 2022-09-19 23:21 | 2023-02-13 18:00 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-02-15 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
MARBFA | MARBFA_MARBFAG1 | Water | Unavoidable Extension | 21 | 0 | 21 | 2022-10-10 07:00 | 2023-02-10 18:00 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 67 | 86 | 2022-10-14 17:00 | 2023-02-28 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 79 | 68 | 2022-10-14 17:00 | 2023-02-28 23:59 |  | Turbine/Generator Vibration/Repair
PTLBES | PTLBES_BESS1 | Not Available | Forced Extension | 10 | 5 | 5 | 2022-10-19 07:01 | 2023-06-21 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Unavoidable Extension | 185 | 0 | 185 | 2022-10-29 00:01 | 2023-03-03 |  | Combustion Inspection and Repair
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 768 | 68 | 2022-10-29 11:19 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 90 | 35 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 17 | 113 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
WL_RANCH | WL_RANCH_UNIT1 | Wind | Forced Extension | 200 | 189 | 11 | 2022-11-11 08:17 | 2023-02-28 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Unavoidable Extension | 258 | 0 | 258 | 2022-11-12 | 2023-03-03 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2022-11-14 09:55 | 2023-02-13 18:00 |  | Feedwater Problems/Repairs
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 512 | 40 | 2022-11-16 08:35 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 185 | 0 | 185 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
DIB | DIB_DIB_G4 | Natural Gas | Unavoidable Extension | 82 | 0 | 82 | 2022-11-25 03:42 | 2023-02-10 16:00 |  | Inlet Air Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 59 | 0 | 59 | 2022-11-30 11:44 | 2023-02-22 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG11 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2022-12-03 14:48 | 2023-05-31 18:00 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 87 | 75 | 12 | 2022-12-05 10:42 | 2023-02-28 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG10 | Natural Gas | Unavoidable Extension | 84 | 0 | 84 | 2022-12-06 17:06 | 2023-02-07 17:00 | 2023-02-07 10:00 | Other
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 87 | 0 | 87 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 81 | 0 | 81 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 110 | 0 | 110 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBY4 | CBY4_CT41 | Natural Gas | Forced Extension | 173 | 159 | 14 | 2022-12-15 05:42 | 2023-03-02 23:59 |  | Exhaust Problems/Repairs
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-03-01 16:00 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Unavoidable Extension | 121 | 115 | 6 | 2022-12-17 15:28 | 2023-03-31 23:59 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 135 | 8 | 2022-12-20 08:00 | 2023-02-24 17:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 111 | 5 | 2022-12-20 08:00 | 2023-02-24 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 10 | 120 | 2022-12-20 15:00 | 2023-02-10 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 10 | 60 | 2022-12-20 15:00 | 2023-02-10 17:00 |  | Other
GRIZZLY | GRIZZLY_SOLAR1 | Solar | Forced | 100 | 20 | 80 | 2022-12-21 15:33 | 2023-02-28 17:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 107 | 19 | 2022-12-22 14:23 | 2023-02-09 13:00 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 186 | 160 | 26 | 2022-12-23 06:30 | 2023-03-02 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 54 | 25 | 29 | 2022-12-23 18:08 | 2023-04-14 23:59 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced Extension | 150 | 0 | 150 | 2022-12-23 23:59 | 2023-02-28 23:59 | 2023-02-06 11:25 | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-02-17 23:59 |  | Cooling Water Problems/Repairs
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 42 | 46 | 2022-12-31 17:16 | 2023-03-15 12:00 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 28 | 62 | 2022-12-31 17:16 | 2023-03-15 12:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1235 | 1232 | 3 | 2022-12-31 23:31 | 2023-06-23 10:00 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1225 | 1210 | 15 | 2022-12-31 23:33 | 2023-04-23 23:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-03-31 13:14 |  | Other
RIONOG | RIONOG_CT1 | Natural Gas | Forced Extension | 193 | 162 | 31 | 2023-01-01 | 2023-03-31 23:59 |  | Other
RIONOG | RIONOG_CT2 | Natural Gas | Forced Extension | 193 | 162 | 31 | 2023-01-01 | 2023-03-31 23:59 |  | Other
RIONOG | RIONOG_CT3 | Natural Gas | Forced Extension | 193 | 162 | 31 | 2023-01-01 | 2023-03-31 23:59 |  | Other
RIONOG | RIONOG_ST1 | Blast-Furnace Gas | Forced Extension | 319 | 306 | 13 | 2023-01-01 | 2023-03-31 23:59 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 278 | 247 | 31 | 2023-01-01 00:01 | 2023-04-17 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-04-02 08:59 |  | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Forced Extension | 219 | 0 | 219 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Forced Extension | 258 | 120 | 138 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 207 | 13 | 2023-01-03 14:55 | 2023-02-28 17:00 |  | Other
GIDEON | GIDEON_GIDEONG2 | Natural Gas | Forced Extension | 135 | 0 | 135 | 2023-01-04 10:00 | 2023-02-08 20:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced Extension | 150 | 3 | 147 | 2023-01-05 05:53 | 2023-02-28 23:59 | 2023-02-06 11:25 | Other
CHE | CHE_CHEGT1 | Natural Gas | Unavoidable Extension | 135 | 0 | 135 | 2023-01-06 20:24 | 2023-02-19 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 176 | 155 | 21 | 2023-01-06 20:24 | 2023-02-19 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 176 | 0 | 176 | 2023-01-06 22:44 | 2023-04-01 09:00 |  | Overhaul
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-03-31 09:24 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 179 | 3 | 2023-01-17 15:22 | 2023-02-28 23:59 |  | Other
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced Extension | 50 | 49 | 1 | 2023-01-17 17:01 | 2023-02-28 19:00 |  | Other
FORMOSA | FORMOSA_FORMOSG7 | Purchased Steam | Forced Extension | 62 | 0 | 62 | 2023-01-17 18:52 | 2023-02-07 18:00 | 2023-02-07 10:00 | Other
WILDWIND | WILDWIND_UNIT5 | Wind | Forced | 53 | 34 | 19 | 2023-01-17 20:33 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 0 | 23 | 2023-01-18 09:47 | 2023-12-28 23:59 |  | Other
BYU | BYU_BYU_G4 | Natural Gas | Unavoidable Extension | 90 | 0 | 90 | 2023-01-24 00:13 | 2023-02-08 20:00 | 2023-02-05 20:19 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced Extension | 161 | 150 | 11 | 2023-01-24 13:41 | 2023-02-10 23:59 | 2023-02-08 03:05 | Other
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-01-24 16:00 | 2023-02-09 12:00 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-02-28 23:59 |  | Feedwater Problems/Repairs
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 177 | 3 | 2023-01-26 08:33 | 2023-02-26 08:59 |  | Other
HI_LONE | HI_LONE_WGR1A | Wind | Forced | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-01-27 10:26 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
TKWSW1 | TKWSW1_ROSCOE | Wind | Forced | 114 | 113 | 1 | 2023-01-27 15:00 | 2023-02-10 15:30 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 93 | 10 | 2023-01-28 08:33 | 2023-02-28 22:25 |  | Other
WAP | WAP_WAP_G5 | Bituminous Coal | Forced Extension | 664 | 628 | 36 | 2023-01-29 19:02 | 2023-02-08 23:59 |  | Exhaust Problems/Repairs
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 280 | 132 | 2023-01-29 22:08 | 2023-03-27 23:59 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 46 | 49 | 2023-01-29 23:45 | 2023-02-17 22:00 |  | Turbine/Generator Vibration/Repair
VICTPORT | VICTPORT_CTG02 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2023-01-30 06:58 | 2023-02-08 17:00 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 87 | 70 | 17 | 2023-01-30 11:30 | 2023-02-06 12:00 | 2023-02-05 10:40 | Lack of Steam Load Availability
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 87 | 70 | 17 | 2023-01-30 11:30 | 2023-02-06 12:00 | 2023-02-05 10:40 | Lack of Steam Load Availability
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced Extension | 51 | 33 | 18 | 2023-01-30 13:09 | 2023-02-08 18:00 |  | Other
AGUAYO | AGUAYO_UNIT1 | Wind | Forced | 193 | 192 | 1 | 2023-01-30 13:47 | 2023-02-10 23:59 |  | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 135 | 16 | 2023-01-30 14:00 | 2023-02-06 14:00 | 2023-02-06 14:00 | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 89 | 9 | 2023-01-30 14:00 | 2023-02-06 14:00 | 2023-02-06 14:00 | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 498 | 54 | 2023-01-30 14:34 | 2023-02-28 23:59 |  | Fuel Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 369 | 380 | 2023-01-30 15:02 | 2023-02-28 23:59 |  | Feedwater Problems/Repairs
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 123 | 46 | 2023-01-30 15:28 | 2023-02-28 23:59 |  | Cooling Water Problems/Repairs
BORDAS | BORDAS_JAVEL20 | Wind | Forced | 230 | 216 | 14 | 2023-01-30 16:44 | 2023-02-28 17:45 |  | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 60 | 42 | 2023-01-30 18:49 | 2023-02-06 16:00 | 2023-02-05 17:48 | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 88 | 21 | 2023-01-30 23:53 | 2023-02-09 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 94 | 15 | 2023-01-30 23:53 | 2023-02-09 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
BORDAS | BORDAS_JAVEL18 | Wind | Forced | 20 | 8 | 12 | 2023-01-31 10:13 | 2023-02-28 11:13 |  | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 85 | 8 | 2023-02-01 04:21 | 2023-02-28 23:59 |  | Other
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced Extension | 68 | 53 | 15 | 2023-02-01 04:31 | 2023-02-10 16:30 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 105 | 20 | 2023-02-01 07:02 | 2023-02-08 05:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 360 | 31 | 2023-02-01 08:26 | 2023-03-01 |  | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 45 | 5 | 2023-02-01 09:02 | 2023-02-08 23:59 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 815 | 0 | 2023-02-01 09:53 | 2023-03-23 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 147 | 35 | 2023-02-01 11:37 | 2023-02-28 23:59 | 2023-02-07 11:13 | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 483 | 19 | 2023-02-01 13:10 | 2023-02-20 14:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Forced | 13 | 0 | 13 | 2023-02-01 15:20 | 2023-02-13 10:00 |  | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 609 | 54 | 2023-02-01 15:45 | 2023-02-08 23:59 |  | Inlet Air Problems/Repairs
VICTPRT2 | VICTPRT2_UNIT2 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2023-02-01 16:05 | 2023-02-08 23:59 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 50 | 36 | 14 | 2023-02-01 16:15 | 2023-03-15 12:00 |  | Fuel Limitation/Lack of Fuel Availability
CITYVICT | CITYVICT_CTG02 | Natural Gas | Forced | 50 | 44 | 6 | 2023-02-01 16:15 | 2023-03-15 12:00 |  | Fuel Problems/Repairs
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 50 | 50 | 2023-02-01 18:06 | 2023-02-06 16:00 | 2023-02-05 17:44 | Turbine/Generator Vibration/Repair
PENA | PENA_UNIT1 | Wind | Forced Extension | 161 | 151 | 10 | 2023-02-01 18:11 | 2023-02-09 18:00 |  | Turbine/Generator Vibration/Repair
GRSES | GRSES_UNIT1 | Natural Gas | Forced Extension | 239 | 0 | 239 | 2023-02-01 21:11 | 2023-02-08 11:59 |  | Feedwater Problems/Repairs
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 0 | 390 | 2023-02-01 21:11 | 2023-02-09 23:59 |  | Feedwater Problems/Repairs
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 125 | 24 | 2023-02-02 08:40 | 2023-02-28 23:59 | 2023-02-06 08:28 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 135 | 17 | 2023-02-02 08:40 | 2023-02-28 23:59 | 2023-02-06 08:28 | Other
BRP_4631 | BRP_4631_UNIT1 | Not Available | Forced | 10 | 0 | 10 | 2023-02-02 09:18 | 2023-02-06 18:00 | 2023-02-05 15:57 | Other
VERAWIND | VERAWIND_UNIT4 | Wind | Forced Extension | 22 | 20 | 2 | 2023-02-02 09:30 | 2023-02-14 15:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 134 | 35 | 2023-02-02 11:09 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
TYLRWIND | TYLRWIND_UNIT1 | Wind | Forced | 126 | 112 | 14 | 2023-02-02 11:15 | 2023-02-09 23:59 |  | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced Extension | 209 | 127 | 82 | 2023-02-02 13:48 | 2023-02-07 17:00 | 2023-02-07 03:47 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced Extension | 210 | 131 | 79 | 2023-02-02 13:48 | 2023-02-07 17:00 | 2023-02-07 03:47 | Other
RTS2 | RTS2_U1 | Wind | Forced Extension | 90 | 79 | 11 | 2023-02-02 14:00 | 2023-02-07 16:00 | 2023-02-07 08:44 | Other
HI_LONE | HI_LONE_WGR2A | Wind | Forced | 25 | 10 | 15 | 2023-02-02 14:30 | 2023-02-07 18:30 |  | Frozen Equipment
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 30 | 98 | 2023-02-02 14:30 | 2023-02-07 18:30 |  | Frozen Equipment
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 30 | 72 | 2023-02-02 14:30 | 2023-02-07 18:30 |  | Frozen Equipment
RHESS2 | RHESS2_ESS_1 | Other | Forced | 10 | 8 | 2 | 2023-02-02 16:05 | 2023-02-10 23:59 |  | Other
SWEC | SWEC_G1 | Wind | Forced | 120 | 99 | 21 | 2023-02-02 16:20 | 2023-02-07 18:00 | 2023-02-07 16:33 | Other
TTWEC | TTWEC_G1 | Wind | Forced | 170 | 155 | 15 | 2023-02-02 16:22 | 2023-02-08 18:00 |  | Other
RDCANYON | RDCANYON_RDCNY1 | Wind | Forced | 90 | 75 | 15 | 2023-02-02 17:23 | 2023-02-28 23:59 |  | Icing
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 100 | 3 | 2023-02-02 20:27 | 2023-02-28 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 0 | 749 | 2023-02-03 00:01 | 2023-02-28 23:59 |  | Feedwater Problems/Repairs
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 0 | 502 | 2023-02-03 05:47 | 2023-02-05 23:59 | 2023-02-05 22:00 | Temperature Limit
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 70 | 40 | 2023-02-03 06:11 | 2023-02-10 23:59 |  | Other
TAYGETE2 | TAYGETE2_UNIT1 | Solar | Forced | 102 | 71 | 31 | 2023-02-03 09:00 | 2023-02-28 23:59 |  | Other
BATCAVE | BATCAVE_BES1 | Not Available | Maintenance Level 1 | 101 | 0 | 101 | 2023-02-03 09:22 | 2023-02-05 23:59 | 2023-02-05 10:35 | Other
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 117 | 10 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 113 | 14 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 152 | 17 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 142 | 27 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 135 | 15 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 146 | 4 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 65 | 15 | 2023-02-03 10:15 | 2023-02-05 23:59 | 2023-02-05 23:58 | Icing
KING_SW | KING_SW_KINGSW | Wind | Forced | 80 | 61 | 19 | 2023-02-03 10:20 | 2023-02-28 23:59 | 2023-02-07 13:40 | Icing
PLN | PLN_UNIT1 | Solar | Forced | 257 | 222 | 35 | 2023-02-03 10:36 | 2023-02-10 18:00 | 2023-02-05 15:00 | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced Extension | 63 | 59 | 4 | 2023-02-03 11:15 | 2023-02-08 12:00 |  | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced Extension | 63 | 58 | 5 | 2023-02-03 11:15 | 2023-02-08 12:00 |  | Other
WFCOGEN | WFCOGEN_UNIT1 | Natural Gas | Forced Extension | 20 | 11 | 9 | 2023-02-03 11:31 | 2023-02-06 12:00 | 2023-02-06 12:00 | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 0 | 146 | 2023-02-03 12:00 | 2023-02-06 08:00 | 2023-02-06 08:00 | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 126 | 12 | 2023-02-03 12:01 | 2023-02-17 12:00 |  | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 42 | 4 | 2023-02-03 12:01 | 2023-02-17 12:01 |  | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 63 | 8 | 2023-02-03 12:30 | 2023-02-06 20:00 | 2023-02-06 20:00 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 30 | 3 | 2023-02-03 12:30 | 2023-02-06 20:00 | 2023-02-06 20:00 | Other
MAVCRK_E | MAVCRK_E_UNIT8 | Wind | Forced Extension | 20 | 18 | 2 | 2023-02-03 12:30 | 2023-02-06 20:00 | 2023-02-06 20:00 | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced Extension | 77 | 58 | 19 | 2023-02-03 12:30 | 2023-02-06 20:00 | 2023-02-06 20:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 189 | 13 | 2023-02-03 12:30 | 2023-02-06 20:00 | 2023-02-06 20:00 | Other
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 102 | 18 | 2023-02-03 13:07 | 2023-02-10 20:00 |  | Turbine/Generator Vibration/Repair
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 86 | 6 | 2023-02-03 14:06 | 2023-03-31 23:59 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced Extension | 124 | 78 | 46 | 2023-02-03 15:41 | 2023-02-08 17:00 |  | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 54 | 36 | 2023-02-03 16:04 | 2023-02-17 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT2 | Wind | Forced | 27 | 26 | 1 | 2023-02-03 16:04 | 2023-02-17 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 63 | 63 | 2023-02-03 16:04 | 2023-02-17 23:59 |  | Other
APOGEE | APOGEE_UNIT1 | Wind | Forced | 25 | 15 | 10 | 2023-02-03 16:05 | 2023-02-17 23:59 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 90 | 25 | 2023-02-03 16:05 | 2023-02-17 23:59 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 141 | 24 | 2023-02-03 16:40 | 2023-02-10 17:00 |  | Turbine/Generator Vibration/Repair
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 130 | 5 | 2023-02-03 17:18 | 2023-02-28 23:59 | 2023-02-06 09:05 | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 133 | 17 | 2023-02-03 17:38 | 2023-02-28 23:59 | 2023-02-05 12:38 | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 648 | 188 | 2023-02-03 18:00 | 2023-02-07 12:00 | 2023-02-07 06:00 | Emissions
WAP | WAP_WAP_G5 | Bituminous Coal | Unavoidable Extension | 664 | 0 | 664 | 2023-02-03 18:00 | 2023-02-08 23:59 |  | Inlet Air Problems/Repairs
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 103 | 12 | 2023-02-03 18:34 | 2023-02-28 23:59 |  | Other
SHAFFER | SHAFFER_UNIT1 | Wind | Forced | 226 | 219 | 7 | 2023-02-03 18:39 | 2023-02-09 18:00 |  | Turbine/Generator Vibration/Repair
KING_SE | KING_SE_KINGSE | Wind | Forced | 41 | 33 | 8 | 2023-02-03 19:53 | 2023-02-05 23:59 | 2023-02-05 23:58 | Icing
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced | 50 | 0 | 50 | 2023-02-03 23:31 | 2023-02-06 23:59 |  | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced | 50 | 0 | 50 | 2023-02-03 23:31 | 2023-02-06 23:59 |  | Other
KMCHI | KMCHI_1CT101 | Natural Gas | Unavoidable Extension | 185 | 0 | 185 | 2023-02-03 23:59 | 2023-02-06 12:00 | 2023-02-06 11:14 | Other
KMCHI | KMCHI_1CT201 | Natural Gas | Unavoidable Extension | 185 | 0 | 185 | 2023-02-03 23:59 | 2023-02-06 12:00 | 2023-02-06 11:14 | Other
KMCHI | KMCHI_1ST | Natural Gas | Unavoidable Extension | 330 | 0 | 330 | 2023-02-03 23:59 | 2023-02-06 12:00 | 2023-02-06 11:14 | Other
HLSES | HLSES_UNIT3 | Natural Gas | Forced | 375 | 0 | 375 | 2023-02-04 00:01 | 2023-02-12 23:59 |  | Fuel Limitation/Lack of Fuel Availability
HLSES | HLSES_UNIT4 | Natural Gas | Forced | 435 | 200 | 235 | 2023-02-04 00:01 | 2023-02-15 23:59 |  | Fuel Limitation/Lack of Fuel Availability
MDANP | MDANP_CT1 | Natural Gas | Forced Extension | 258 | 231 | 27 | 2023-02-04 00:01 | 2023-02-07 23:59 | 2023-02-07 23:59 | Temperature Limit
MDANP | MDANP_CT5 | Natural Gas | Forced Extension | 276 | 254 | 22 | 2023-02-04 00:01 | 2023-02-07 23:59 | 2023-02-07 23:59 | Temperature Limit
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 278 | 243 | 35 | 2023-02-04 00:01 | 2023-02-07 23:59 | 2023-02-07 23:59 | Temperature Limit
CVC | CVC_CVC_G5 | Natural Gas | Forced Extension | 144 | 0 | 144 | 2023-02-04 00:27 | 2023-02-06 09:00 | 2023-02-06 08:58 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 835 | 20 | 2023-02-04 03:25 | 2023-02-09 08:00 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 118 | 66 | 2023-02-04 03:27 | 2023-02-28 23:59 |  | Other
ROUTE_66 | ROUTE_66_WIND1 | Wind | Maintenance Level 2 | 150 | 126 | 24 | 2023-02-04 08:00 | 2023-02-05 17:00 | 2023-02-05 13:19 | Other
TAYGETE2 | TAYGETE2_UNIT2 | Solar | Forced | 102 | 96 | 6 | 2023-02-04 09:00 | 2023-02-28 23:59 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 93 | 8 | 2023-02-04 09:01 | 2023-02-06 20:00 | 2023-02-06 08:35 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 195 | 181 | 14 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 185 | 172 | 13 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 185 | 172 | 13 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 195 | 181 | 14 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 185 | 172 | 13 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 185 | 172 | 13 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
LPCCS | LPCCS_CT11 | Natural Gas | Forced Extension | 186 | 168 | 18 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
LPCCS | LPCCS_CT12 | Natural Gas | Forced Extension | 178 | 161 | 17 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 178 | 172 | 6 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 186 | 164 | 22 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 195 | 168 | 27 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 189 | 161 | 28 | 2023-02-04 10:00 | 2023-02-06 23:59 | 2023-02-06 17:00 | Temperature Limit
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 146 | 6 | 2023-02-04 11:07 | 2023-02-28 23:59 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 0 | 745 | 2023-02-04 11:22 | 2023-02-05 18:00 | 2023-02-05 00:01 | Tube Leak
WHMESA | WHMESA_UNIT3_23 | Wind | Forced | 19 | 11 | 8 | 2023-02-04 12:02 | 2023-02-28 23:59 |  | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 120 | 13 | 2023-02-04 12:40 | 2023-02-28 23:59 | 2023-02-06 10:37 | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 178 | 35 | 2023-02-04 13:55 | 2023-02-28 23:59 | 2023-02-06 06:30 | Other
WHMESA | WHMESA_UNIT2_28 | Wind | Forced | 183 | 174 | 9 | 2023-02-04 14:31 | 2023-02-28 23:59 | 2023-02-06 18:12 | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 118 | 15 | 2023-02-04 14:33 | 2023-02-28 23:59 | 2023-02-05 17:30 | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 79 | 7 | 2023-02-04 15:50 | 2023-02-20 23:59 |  | Other
APPALOSA | APPALOSA_UNIT1 | Wind | Forced | 158 | 52 | 106 | 2023-02-04 15:54 | 2023-02-28 23:59 |  | Other
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Maintenance Level 1 | 239 | 0 | 239 | 2023-02-04 16:00 | 2023-02-06 07:00 | 2023-02-05 23:30 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 142 | 21 | 2023-02-04 17:44 | 2023-02-10 17:00 |  | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 59 | 31 | 2023-02-04 18:25 | 2023-02-17 23:59 | 2023-02-07 00:03 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 99 | 27 | 2023-02-04 18:25 | 2023-02-17 23:59 | 2023-02-07 00:03 | Other
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 65 | 15 | 2023-02-04 18:31 | 2023-02-05 23:59 | 2023-02-05 23:58 | Icing
HOLSTEIN | HOLSTEIN_SOLAR1 | Solar | Maintenance Level 1 | 102 | 0 | 102 | 2023-02-04 19:03 | 2023-02-05 07:00 | 2023-02-05 08:02 | Other
HOLSTEIN | HOLSTEIN_SOLAR2 | Solar | Maintenance Level 1 | 102 | 0 | 102 | 2023-02-04 19:04 | 2023-02-05 07:00 | 2023-02-05 08:03 | Other
INRT_W | INRT_W_UNIT3 | Wind | Forced | 206 | 203 | 3 | 2023-02-04 20:23 | 2023-02-28 23:59 | 2023-02-07 06:50 | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 115 | 16 | 2023-02-04 21:24 | 2023-02-09 18:00 | 2023-02-08 02:34 | Other
CSEC | CSEC_CSECG2 | Wind | Forced | 120 | 105 | 15 | 2023-02-04 21:24 | 2023-02-09 18:00 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 131 | 13 | 2023-02-04 21:24 | 2023-02-09 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 131 | 13 | 2023-02-04 21:24 | 2023-02-09 18:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 131 | 20 | 2023-02-04 21:24 | 2023-02-09 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 131 | 20 | 2023-02-04 21:24 | 2023-02-09 18:00 |  | Other
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced Extension | 239 | 221 | 18 | 2023-02-04 21:57 | 2023-02-07 23:59 | 2023-02-07 23:59 | Temperature Limit
HAYSEN | HAYSEN_HAYSENG3 | Natural Gas | Forced Extension | 242 | 242 | 0 | 2023-02-04 21:57 | 2023-02-07 23:59 | 2023-02-07 23:59 | Temperature Limit
HAYSEN | HAYSEN_HAYSENG4 | Natural Gas | Forced Extension | 243 | 226 | 17 | 2023-02-04 21:57 | 2023-02-07 23:59 | 2023-02-07 23:59 | Temperature Limit
ETCCS | ETCCS_CT1 | Natural Gas | Forced Extension | 245 | 225 | 20 | 2023-02-04 21:59 | 2023-02-07 23:59 | 2023-02-07 23:59 | Other
HWF | HWF_HWFG1 | Wind | Forced | 164 | 142 | 22 | 2023-02-05 00:01 | 2023-02-13 23:59 |  | Icing
ANCHOR | ANCHOR_WIND2 | Wind | Forced | 99 | 78 | 21 | 2023-02-05 01:06 | 2023-02-06 18:00 |  | Other
SL | SL_SL_G1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-02-05 02:01 | 2023-02-12 17:30 | 2023-02-07 11:53 | Other
FTR | FTR_FTR_G3 | Natural Gas | Forced | 180 | 0 | 180 | 2023-02-05 03:35 | 2023-02-05 17:00 | 2023-02-05 12:05 | Other
FTR | FTR_FTR_G4 | Natural Gas | Forced | 400 | 270 | 130 | 2023-02-05 03:35 | 2023-02-05 17:00 | 2023-02-05 12:05 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 264 | 0 | 264 | 2023-02-05 05:00 | 2023-02-05 07:00 | 2023-02-05 06:18 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced | 264 | 0 | 264 | 2023-02-05 05:00 | 2023-02-05 07:00 | 2023-02-05 06:18 | Other
WCPP | WCPP_ST1 | Natural Gas | Forced | 298 | 0 | 298 | 2023-02-05 05:00 | 2023-02-05 07:00 | 2023-02-05 06:18 | Other
MDANP | MDANP_CT4 | Natural Gas | Forced | 258 | 0 | 258 | 2023-02-05 06:10 | 2023-02-05 07:10 | 2023-02-05 06:43 | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 128 | 21 | 2023-02-05 09:36 | 2023-02-28 23:59 |  | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 132 | 20 | 2023-02-05 09:36 | 2023-02-28 23:59 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced | 836 | 0 | 836 | 2023-02-05 09:56 | 2023-02-06 18:00 | 2023-02-06 18:00 | Turbine/Generator Vibration/Repair
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 87 | 65 | 22 | 2023-02-05 10:40 | 2023-02-08 23:59 |  | Lack of Steam Load Availability
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 87 | 65 | 22 | 2023-02-05 10:40 | 2023-02-08 23:59 |  | Lack of Steam Load Availability
HHGT | HHGT_HHOLLOW3 | Wind | Forced | 224 | 103 | 121 | 2023-02-05 11:03 | 2023-03-31 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 145 | 5 | 2023-02-05 12:39 | 2023-03-31 23:59 | 2023-02-05 22:34 | Other
PLN | PLN_UNIT1 | Solar | Forced | 257 | 244 | 13 | 2023-02-05 15:00 | 2023-02-10 18:00 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 181 | 32 | 2023-02-05 16:37 | 2023-03-31 23:59 |  | Other
DCSES | DCSES_CT10 | Natural Gas | Forced | 88 | 75 | 13 | 2023-02-05 17:00 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
DCSES | DCSES_CT30 | Natural Gas | Forced | 86 | 74 | 12 | 2023-02-05 17:00 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
MGSES | MGSES_CT2 | Natural Gas | Forced | 80 | 69 | 11 | 2023-02-05 17:00 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
MGSES | MGSES_CT3 | Natural Gas | Forced | 80 | 69 | 11 | 2023-02-05 17:00 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
PB2SES | PB2SES_CT1 | Natural Gas | Forced | 79 | 66 | 13 | 2023-02-05 17:00 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
PB2SES | PB2SES_CT5 | Natural Gas | Forced | 79 | 68 | 11 | 2023-02-05 17:00 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
DCSES | DCSES_CT20 | Natural Gas | Forced | 87 | 74 | 13 | 2023-02-05 17:20 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
DCSES | DCSES_CT40 | Natural Gas | Forced | 86 | 74 | 12 | 2023-02-05 17:20 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
MGSES | MGSES_CT1 | Natural Gas | Forced | 82 | 70 | 12 | 2023-02-05 17:20 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
MGSES | MGSES_CT4 | Natural Gas | Forced | 81 | 69 | 12 | 2023-02-05 17:20 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
MGSES | MGSES_CT6 | Natural Gas | Forced | 82 | 71 | 11 | 2023-02-05 17:20 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
PB2SES | PB2SES_CT3 | Natural Gas | Forced | 78 | 66 | 12 | 2023-02-05 17:20 | 2023-02-05 20:00 | 2023-02-05 20:00 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 50 | 50 | 2023-02-05 17:47 | 2023-02-10 19:00 |  | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 60 | 42 | 2023-02-05 17:49 | 2023-02-10 19:00 |  | Turbine/Generator Vibration/Repair
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 130 | 3 | 2023-02-05 18:22 | 2023-02-28 23:59 |  | Other
PRIDDY | PRIDDY_UNIT2 | Wind | Forced | 115 | 89 | 26 | 2023-02-05 20:15 | 2023-02-13 02:09 |  | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Unavoidable Extension | 185 | 0 | 185 | 2023-02-05 22:00 | 2023-02-06 22:00 | 2023-02-06 22:00 | Other
FRNYPP | FRNYPP_ST10 | Natural Gas | Unavoidable Extension | 418 | 260 | 158 | 2023-02-05 22:00 | 2023-02-06 22:00 | 2023-02-06 22:00 | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 138 | 12 | 2023-02-05 22:35 | 2023-03-31 23:59 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 65 | 15 | 2023-02-05 23:59 | 2023-02-07 23:59 | 2023-02-07 13:40 | Icing
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 65 | 15 | 2023-02-05 23:59 | 2023-02-07 23:59 | 2023-02-07 13:40 | Icing
KING_SE | KING_SE_KINGSE | Wind | Forced | 41 | 33 | 8 | 2023-02-05 23:59 | 2023-02-07 23:59 | 2023-02-07 13:40 | Icing
2023-02-08 |  |  |  | 2 |  |  |  | 5:03