## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-02-14 | 1 | 5:02

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Feb 11, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2022-02-28 10:52 | 2023-02-27 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 258 | 226 | 32 | 2022-05-03 17:17 | 2023-03-03 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 503 | 20 | 2022-05-12 18:30 | 2023-03-24 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2022-05-23 11:30 | 2023-05-23 11:29 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-02-28 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-02-28 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-02-28 23:59 |  | Other
DECKER | DECKER_DPGT_2 | Natural Gas | Forced Extension | 54 | 25 | 29 | 2022-07-08 16:41 | 2023-02-15 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
WHTTAIL | WHTTAIL_WR1 | Wind | Forced Extension | 113 | 102 | 11 | 2022-08-01 00:01 | 2023-02-28 23:59 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-08-18 19:25 | 2023-02-14 23:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 50 | 96 | 2022-09-19 23:21 | 2023-02-24 18:00 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-03-31 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
MARBFA | MARBFA_MARBFAG1 | Water | Unavoidable Extension | 21 | 0 | 21 | 2022-10-10 07:00 | 2023-02-24 20:00 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 67 | 86 | 2022-10-14 17:00 | 2023-02-28 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 79 | 68 | 2022-10-14 17:00 | 2023-02-28 23:59 |  | Turbine/Generator Vibration/Repair
PTLBES | PTLBES_BESS1 | Not Available | Forced Extension | 10 | 5 | 5 | 2022-10-19 07:01 | 2023-06-21 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Unavoidable Extension | 185 | 0 | 185 | 2022-10-29 00:01 | 2023-03-03 |  | Combustion Inspection and Repair
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 768 | 68 | 2022-10-29 11:19 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 90 | 35 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 17 | 113 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
WL_RANCH | WL_RANCH_UNIT1 | Wind | Forced Extension | 200 | 189 | 11 | 2022-11-11 08:17 | 2023-02-28 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Unavoidable Extension | 258 | 0 | 258 | 2022-11-12 | 2023-03-03 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2022-11-14 09:55 | 2023-02-24 22:00 |  | Feedwater Problems/Repairs
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 512 | 40 | 2022-11-16 08:35 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 185 | 0 | 185 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
DIB | DIB_DIB_G4 | Natural Gas | Unavoidable Extension | 82 | 0 | 82 | 2022-11-25 03:42 | 2023-02-17 16:00 |  | Inlet Air Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 59 | 0 | 59 | 2022-11-30 11:44 | 2023-02-22 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG11 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2022-12-03 14:48 | 2023-05-31 18:00 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 87 | 75 | 12 | 2022-12-05 10:42 | 2023-02-28 23:59 |  | Other
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 87 | 0 | 87 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 81 | 0 | 81 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 110 | 0 | 110 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBY4 | CBY4_CT41 | Natural Gas | Forced Extension | 173 | 159 | 14 | 2022-12-15 05:42 | 2023-03-02 23:59 |  | Exhaust Problems/Repairs
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-03-01 16:00 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Unavoidable Extension | 121 | 115 | 6 | 2022-12-17 15:28 | 2023-03-31 23:59 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 135 | 8 | 2022-12-20 08:00 | 2023-02-24 17:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 111 | 5 | 2022-12-20 08:00 | 2023-02-24 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 10 | 120 | 2022-12-20 15:00 | 2023-02-15 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 10 | 60 | 2022-12-20 15:00 | 2023-02-15 17:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 107 | 19 | 2022-12-22 14:23 | 2023-03-09 13:00 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 186 | 160 | 26 | 2022-12-23 06:30 | 2023-03-02 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 54 | 25 | 29 | 2022-12-23 18:08 | 2023-04-14 23:59 |  | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-02-17 23:59 |  | Cooling Water Problems/Repairs
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 42 | 46 | 2022-12-31 17:16 | 2023-03-15 12:00 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 28 | 62 | 2022-12-31 17:16 | 2023-03-15 12:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1235 | 1232 | 3 | 2022-12-31 23:31 | 2023-06-23 10:00 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1225 | 1210 | 15 | 2022-12-31 23:33 | 2023-04-23 23:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-03-31 13:14 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 278 | 247 | 31 | 2023-01-01 00:01 | 2023-04-17 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-04-02 08:59 |  | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Forced Extension | 219 | 0 | 219 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Forced Extension | 258 | 120 | 138 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 207 | 13 | 2023-01-03 14:55 | 2023-02-28 17:00 |  | Other
CHE | CHE_CHEGT1 | Natural Gas | Unavoidable Extension | 135 | 0 | 135 | 2023-01-06 20:24 | 2023-02-19 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 176 | 155 | 21 | 2023-01-06 20:24 | 2023-02-19 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 176 | 0 | 176 | 2023-01-06 22:44 | 2023-04-01 09:00 |  | Overhaul
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-03-31 09:24 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 179 | 3 | 2023-01-17 15:22 | 2023-02-28 23:59 |  | Other
WILDWIND | WILDWIND_UNIT5 | Wind | Forced | 53 | 34 | 19 | 2023-01-17 20:33 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 0 | 23 | 2023-01-18 09:47 | 2023-12-28 23:59 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-01-24 16:00 | 2023-02-16 12:00 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-02-28 23:59 |  | Feedwater Problems/Repairs
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 177 | 3 | 2023-01-26 08:33 | 2023-02-26 08:59 |  | Other
HI_LONE | HI_LONE_WGR1A | Wind | Forced | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-01-27 10:26 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
TKWSW1 | TKWSW1_ROSCOE | Wind | Forced Extension | 114 | 113 | 1 | 2023-01-27 15:00 | 2023-02-17 17:00 |  | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 280 | 132 | 2023-01-29 22:08 | 2023-03-27 23:59 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 46 | 49 | 2023-01-29 23:45 | 2023-02-17 22:00 | 2023-02-13 14:00 | Turbine/Generator Vibration/Repair
VICTPORT | VICTPORT_CTG02 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2023-01-30 06:58 | 2023-02-11 17:00 | 2023-02-11 14:35 | Other
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced Extension | 51 | 33 | 18 | 2023-01-30 13:09 | 2023-02-24 18:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 498 | 54 | 2023-01-30 14:34 | 2023-02-28 23:59 |  | Fuel Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 369 | 380 | 2023-01-30 15:02 | 2023-02-28 23:59 |  | Feedwater Problems/Repairs
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 123 | 46 | 2023-01-30 15:28 | 2023-02-28 23:59 |  | Cooling Water Problems/Repairs
BORDAS | BORDAS_JAVEL20 | Wind | Forced | 230 | 216 | 14 | 2023-01-30 16:44 | 2023-02-28 17:45 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 88 | 21 | 2023-01-30 23:53 | 2023-02-15 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 94 | 15 | 2023-01-30 23:53 | 2023-02-15 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
BORDAS | BORDAS_JAVEL18 | Wind | Forced | 20 | 8 | 12 | 2023-01-31 10:13 | 2023-02-28 11:13 | 2023-02-12 16:36 | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 85 | 8 | 2023-02-01 04:21 | 2023-02-28 23:59 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 105 | 20 | 2023-02-01 07:02 | 2023-02-15 18:00 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 360 | 31 | 2023-02-01 08:26 | 2023-03-01 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 815 | 0 | 2023-02-01 09:53 | 2023-03-23 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 483 | 19 | 2023-02-01 13:10 | 2023-02-20 14:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Forced Extension | 13 | 0 | 13 | 2023-02-01 15:20 | 2023-04-01 10:00 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 50 | 36 | 14 | 2023-02-01 16:15 | 2023-03-15 12:00 |  | Fuel Limitation/Lack of Fuel Availability
CITYVICT | CITYVICT_CTG02 | Natural Gas | Forced | 50 | 44 | 6 | 2023-02-01 16:15 | 2023-03-15 12:00 |  | Fuel Problems/Repairs
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 0 | 390 | 2023-02-01 21:11 | 2023-02-14 23:59 |  | Feedwater Problems/Repairs
VERAWIND | VERAWIND_UNIT4 | Wind | Forced Extension | 22 | 20 | 2 | 2023-02-02 09:30 | 2023-02-14 15:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 134 | 35 | 2023-02-02 11:09 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
TYLRWIND | TYLRWIND_UNIT1 | Wind | Forced Extension | 126 | 112 | 14 | 2023-02-02 11:15 | 2023-02-12 23:59 | 2023-02-12 23:59 | Other
RHESS2 | RHESS2_ESS_1 | Other | Forced Extension | 10 | 8 | 2 | 2023-02-02 16:05 | 2023-02-21 23:59 |  | Other
RDCANYON | RDCANYON_RDCNY1 | Wind | Forced | 90 | 75 | 15 | 2023-02-02 17:23 | 2023-02-28 23:59 |  | Icing
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 0 | 749 | 2023-02-03 00:01 | 2023-02-28 23:59 |  | Feedwater Problems/Repairs
TAYGETE2 | TAYGETE2_UNIT1 | Solar | Forced | 102 | 71 | 31 | 2023-02-03 09:00 | 2023-02-28 23:59 |  | Other
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 117 | 10 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 113 | 14 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 152 | 17 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 142 | 27 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 135 | 15 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 146 | 4 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 42 | 4 | 2023-02-03 12:01 | 2023-02-17 12:01 |  | Other
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 102 | 18 | 2023-02-03 13:07 | 2023-02-15 18:00 |  | Turbine/Generator Vibration/Repair
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 86 | 6 | 2023-02-03 14:06 | 2023-03-31 23:59 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced Extension | 124 | 78 | 46 | 2023-02-03 15:41 | 2023-02-17 17:00 | 2023-02-13 14:59 | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 103 | 12 | 2023-02-03 18:34 | 2023-02-28 23:59 |  | Other
HLSES | HLSES_UNIT3 | Natural Gas | Forced | 375 | 0 | 375 | 2023-02-04 00:01 | 2023-02-12 23:59 | 2023-02-12 23:59 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 835 | 20 | 2023-02-04 03:25 | 2023-02-11 20:30 | 2023-02-11 09:22 | Other
TAYGETE2 | TAYGETE2_UNIT2 | Solar | Forced | 102 | 96 | 6 | 2023-02-04 09:00 | 2023-02-28 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 146 | 6 | 2023-02-04 11:07 | 2023-02-28 23:59 |  | Other
WHMESA | WHMESA_UNIT3_23 | Wind | Forced | 19 | 11 | 8 | 2023-02-04 12:02 | 2023-02-28 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 79 | 7 | 2023-02-04 15:50 | 2023-02-20 23:59 |  | Other
APPALOSA | APPALOSA_UNIT1 | Wind | Forced | 158 | 52 | 106 | 2023-02-04 15:54 | 2023-02-28 23:59 | 2023-02-13 09:49 | Other
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 131 | 13 | 2023-02-04 21:24 | 2023-02-15 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 131 | 13 | 2023-02-04 21:24 | 2023-02-15 18:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 131 | 20 | 2023-02-04 21:24 | 2023-02-14 18:00 | 2023-02-13 08:24 | Other
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 131 | 20 | 2023-02-04 21:24 | 2023-02-14 18:00 | 2023-02-13 08:24 | Other
HWF | HWF_HWFG1 | Wind | Forced | 164 | 142 | 22 | 2023-02-05 00:01 | 2023-02-13 23:59 |  | Icing
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 87 | 65 | 22 | 2023-02-05 10:40 | 2023-02-13 23:59 | 2023-02-13 00:29 | Lack of Steam Load Availability
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 87 | 65 | 22 | 2023-02-05 10:40 | 2023-02-15 23:59 |  | Lack of Steam Load Availability
HHGT | HHGT_HHOLLOW3 | Wind | Forced | 224 | 103 | 121 | 2023-02-05 11:03 | 2023-03-31 23:59 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced Extension | 100 | 50 | 50 | 2023-02-05 17:47 | 2023-02-15 18:00 |  | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 60 | 42 | 2023-02-05 17:49 | 2023-02-15 18:00 |  | Turbine/Generator Vibration/Repair
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 130 | 3 | 2023-02-05 18:22 | 2023-02-28 23:59 |  | Other
PRIDDY | PRIDDY_UNIT2 | Wind | Forced | 115 | 89 | 26 | 2023-02-05 20:15 | 2023-02-13 02:09 | 2023-02-11 21:37 | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 88 | 4 | 2023-02-06 00:16 | 2023-02-28 23:59 |  | Other
GOLINDA | GOLINDA_UNIT1 | Solar | Forced | 101 | 20 | 81 | 2023-02-06 07:43 | 2023-02-28 23:59 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Forced Extension | 70 | 0 | 70 | 2023-02-06 07:59 | 2023-02-15 17:00 |  | Unknown
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 129 | 23 | 2023-02-06 08:28 | 2023-02-28 23:59 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 89 | 12 | 2023-02-06 08:35 | 2023-02-16 20:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-02-06 08:51 | 2023-02-21 10:00 |  | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 124 | 11 | 2023-02-06 09:06 | 2023-02-28 23:59 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 9 | 141 | 2023-02-06 11:26 | 2023-02-28 23:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 42 | 108 | 2023-02-06 11:26 | 2023-02-28 23:59 |  | Other
CALAVERS | CALAVERS_JKS1 | Subbituminous Coal | Maintenance Level 1 | 560 | 0 | 560 | 2023-02-06 12:00 | 2023-02-16 23:59 |  | Other
DOWGEN | DOWGEN_DOW_G82 | Natural Gas | Forced Extension | 81 | 0 | 81 | 2023-02-06 13:26 | 2023-03-07 10:00 |  | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Maintenance Level 1 | 151 | 135 | 16 | 2023-02-06 14:00 | 2023-02-13 14:00 | 2023-02-13 14:00 | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Unavoidable Extension | 98 | 92 | 6 | 2023-02-06 14:00 | 2023-02-20 14:00 |  | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 129 | 4 | 2023-02-06 15:15 | 2023-02-28 23:59 |  | Other
ROSELAND | ROSELAND_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-06 15:39 | 2023-02-17 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR1 | Solar | Forced Extension | 250 | 90 | 160 | 2023-02-06 15:39 | 2023-02-17 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced Extension | 165 | 14 | 151 | 2023-02-06 15:39 | 2023-02-17 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced Extension | 85 | 0 | 85 | 2023-02-06 15:39 | 2023-02-17 18:00 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 135 | 3 | 2023-02-06 16:06 | 2023-02-28 23:59 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 107 | 0 | 107 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
TGS | TGS_GT01 | Natural Gas | Forced | 78 | 78 | 0 | 2023-02-06 16:12 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 180 | 17 | 2023-02-07 02:22 | 2023-02-28 23:59 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 118 | 34 | 2023-02-07 02:22 | 2023-02-28 23:59 |  | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 125 | 24 | 2023-02-07 08:06 | 2023-02-28 23:59 | 2023-02-12 08:22 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 138 | 14 | 2023-02-07 08:08 | 2023-02-28 23:59 | 2023-02-13 07:55 | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 99 | 0 | 99 | 2023-02-07 11:50 | 2023-04-17 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 61 | 0 | 61 | 2023-02-07 11:54 | 2023-04-17 23:59 |  | Other
INRT_W | INRT_W_UNIT3 | Wind | Forced | 206 | 197 | 9 | 2023-02-07 12:36 | 2023-02-28 23:59 | 2023-02-13 02:55 | Other
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 114 | 0 | 2023-02-07 15:10 | 2023-02-28 23:59 |  | Other
RTS2 | RTS2_U1 | Wind | Forced Extension | 90 | 78 | 12 | 2023-02-07 15:50 | 2023-02-14 16:00 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-03-31 18:00 |  | Lack of Steam Load Availability
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 184 | 0 | 2023-02-08 06:01 | 2023-02-28 23:59 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 152 | 30 | 2023-02-08 08:26 | 2023-02-28 23:59 |  | Other
LEG | LEG_LEG_G2 | Lignite | Maintenance Level 1 | 836 | 0 | 836 | 2023-02-08 09:00 | 2023-02-18 18:00 |  | Emissions
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 125 | 13 | 2023-02-08 17:20 | 2023-02-15 18:00 |  | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 93 | 10 | 2023-02-09 06:09 | 2023-02-28 23:59 |  | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 149 | 12 | 2023-02-09 06:14 | 2023-02-16 18:00 | 2023-02-12 18:19 | Turbine/Generator Vibration/Repair
QUEEN_BA | QUEEN_BA_BESS1 | Not Available | Unavoidable Extension | 50 | 0 | 50 | 2023-02-09 07:06 | 2023-02-11 09:00 | 2023-02-11 09:23 | Other
PLN | PLN_UNIT1 | Solar | Forced | 257 | 251 | 6 | 2023-02-09 14:06 | 2023-02-16 18:00 | 2023-02-11 07:19 | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced | 50 | 45 | 5 | 2023-02-09 15:01 | 2023-02-17 23:59 | 2023-02-11 09:01 | Other
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 111 | 17 | 2023-02-09 15:16 | 2023-02-28 23:59 |  | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-02-09 15:22 | 2023-02-28 23:59 |  | Other
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced Extension | 50 | 48 | 2 | 2023-02-09 19:45 | 2023-02-21 17:59 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 65 | 15 | 2023-02-09 22:08 | 2023-02-28 23:09 |  | Other
HLSES | HLSES_UNIT4 | Natural Gas | Forced Extension | 435 | 325 | 110 | 2023-02-10 00:01 | 2023-02-17 23:59 |  | Fuel Limitation/Lack of Fuel Availability
HLSES | HLSES_UNIT5 | Natural Gas | Forced Extension | 435 | 325 | 110 | 2023-02-10 00:01 | 2023-02-17 23:59 |  | Fuel Limitation/Lack of Fuel Availability
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 138 | 27 | 2023-02-10 03:05 | 2023-02-17 17:00 |  | Turbine/Generator Vibration/Repair
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 142 | 21 | 2023-02-10 03:05 | 2023-02-17 17:00 |  | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 615 | 40 | 2023-02-10 06:34 | 2023-02-13 16:00 | 2023-02-13 16:00 | Other
CRWN_SLR | CRWN_SLR_UNIT1 | Solar | Forced | 101 | 20 | 81 | 2023-02-10 08:40 | 2023-03-10 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 91 | 12 | 2023-02-10 10:22 | 2023-02-28 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG10 | Natural Gas | Forced Extension | 84 | 0 | 84 | 2023-02-10 12:22 | 2023-02-14 12:00 |  | Fuel Problems/Repairs
SWEC | SWEC_G1 | Wind | Forced | 120 | 100 | 20 | 2023-02-10 17:41 | 2023-02-17 18:00 | 2023-02-13 11:33 | Other
RIONOG | RIONOG_CT1 | Natural Gas | Forced | 193 | 0 | 193 | 2023-02-10 18:00 | 2023-02-11 23:59 | 2023-02-11 05:21 | Other
SWEETWN3 | SWEETWN3_WND3B | Wind | Forced | 117 | 0 | 117 | 2023-02-10 18:00 | 2023-02-11 23:59 | 2023-02-11 11:36 | Other
SWEETWN3 | SWEETWN3_WND3A | Wind | Forced Extension | 34 | 0 | 34 | 2023-02-10 18:20 | 2023-02-11 18:00 | 2023-02-11 11:57 | Other
SHAFFER | SHAFFER_UNIT1 | Wind | Forced | 226 | 194 | 32 | 2023-02-10 18:54 | 2023-02-14 18:00 | 2023-02-13 18:59 | Turbine/Generator Vibration/Repair
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 67 | 23 | 2023-02-10 19:32 | 2023-02-17 23:59 | 2023-02-11 00:55 | Other
COYOTE_W | COYOTE_W_UNIT2 | Wind | Forced | 27 | 26 | 1 | 2023-02-10 19:32 | 2023-02-17 23:59 | 2023-02-11 00:55 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 108 | 18 | 2023-02-10 19:32 | 2023-02-17 23:59 | 2023-02-11 00:55 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 131 | 17 | 2023-02-10 19:40 | 2023-02-28 18:00 | 2023-02-11 10:59 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced Extension | 195 | 140 | 55 | 2023-02-10 21:06 | 2023-02-12 12:00 | 2023-02-12 02:30 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 135 | 10 | 2023-02-10 21:06 | 2023-02-11 12:00 | 2023-02-11 11:40 | Other
LMAJADAS | LMAJADAS_UNIT3 | Wind | Forced | 139 | 124 | 15 | 2023-02-10 21:31 | 2023-02-12 23:59 | 2023-02-12 23:59 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 0 | 815 | 2023-02-10 21:56 | 2023-02-12 22:00 | 2023-02-12 09:40 | Tube Leak
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 176 | 10 | 2023-02-10 23:00 | 2023-02-14 23:00 |  | Turbine/Generator Vibration/Repair
MDANP | MDANP_CT1 | Natural Gas | Forced Extension | 258 | 238 | 20 | 2023-02-10 23:55 | 2023-02-12 23:59 | 2023-02-12 23:59 | Other
MDANP | MDANP_CT5 | Natural Gas | Forced Extension | 276 | 261 | 15 | 2023-02-10 23:55 | 2023-02-12 23:59 | 2023-02-12 23:59 | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 278 | 255 | 23 | 2023-02-10 23:55 | 2023-02-12 23:59 | 2023-02-12 23:59 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 195 | 185 | 10 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 185 | 174 | 11 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 185 | 174 | 11 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 195 | 185 | 10 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 185 | 174 | 11 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 185 | 174 | 11 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 186 | 176 | 10 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 178 | 168 | 10 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 178 | 176 | 2 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 186 | 168 | 18 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced | 195 | 175 | 20 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 189 | 168 | 21 | 2023-02-10 23:57 | 2023-02-11 23:59 | 2023-02-11 21:50 | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Maintenance Level 3 | 80 | 0 | 80 | 2023-02-11 | 2023-02-20 18:00 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 710 | 110 | 2023-02-11 | 2023-02-11 08:00 | 2023-02-11 06:40 | Emissions
WCPP | WCPP_CT1 | Natural Gas | Forced | 264 | 0 | 264 | 2023-02-11 | 2023-02-11 02:59 | 2023-02-11 01:51 | Other
WCPP | WCPP_ST1 | Natural Gas | Forced | 298 | 125 | 173 | 2023-02-11 | 2023-02-11 02:59 | 2023-02-11 01:51 | Other
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced | 239 | 0 | 239 | 2023-02-11 00:11 | 2023-02-11 03:59 | 2023-02-11 02:40 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 67 | 23 | 2023-02-11 00:57 | 2023-02-17 23:59 | 2023-02-13 07:28 | Other
COYOTE_W | COYOTE_W_UNIT2 | Wind | Forced | 27 | 26 | 1 | 2023-02-11 00:57 | 2023-02-17 23:59 | 2023-02-11 06:31 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 90 | 36 | 2023-02-11 00:57 | 2023-02-17 23:59 | 2023-02-13 11:32 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 67 | 23 | 2023-02-11 02:12 | 2023-02-17 23:59 | 2023-02-13 19:05 | Other
COYOTE_W | COYOTE_W_UNIT2 | Wind | Forced | 27 | 12 | 15 | 2023-02-11 02:12 | 2023-02-17 23:59 | 2023-02-13 19:05 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 90 | 36 | 2023-02-11 02:12 | 2023-02-17 23:59 | 2023-02-13 19:05 | Other
NACPW | NACPW_UNIT1 | Wood/Wood Waste Solids | Forced | 105 | 0 | 105 | 2023-02-11 03:25 | 2023-02-11 23:59 | 2023-02-11 05:50 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 820 | 700 | 120 | 2023-02-11 04:24 | 2023-02-11 10:30 | 2023-02-11 06:42 | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced | 126 | 0 | 126 | 2023-02-11 04:42 | 2023-02-13 18:00 | 2023-02-12 10:42 | Unknown
STWF | STWF_T1 | Wind | Forced | 98 | 87 | 11 | 2023-02-11 04:46 | 2023-02-11 15:00 | 2023-02-11 15:11 | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced | 126 | 0 | 126 | 2023-02-11 04:50 | 2023-02-13 18:00 | 2023-02-12 10:42 | Unknown
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced | 239 | 222 | 17 | 2023-02-11 06:26 | 2023-02-11 23:59 | 2023-02-11 21:43 | Other
TAYGETE | TAYGETE_UNIT2 | Solar | Forced | 129 | 0 | 129 | 2023-02-11 06:36 | 2023-02-13 18:00 | 2023-02-12 10:42 | Unknown
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 670 | 150 | 2023-02-11 06:41 | 2023-02-11 10:00 | 2023-02-11 09:44 | Emissions
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 820 | 780 | 40 | 2023-02-11 06:42 | 2023-02-11 12:30 | 2023-02-11 10:44 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 815 | 40 | 2023-02-11 06:44 | 2023-02-11 08:00 | 2023-02-11 08:30 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 830 | 25 | 2023-02-11 06:46 | 2023-02-11 20:00 | 2023-02-11 09:16 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 138 | 71 | 2023-02-11 07:15 | 2023-02-11 16:00 | 2023-02-11 15:40 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 195 | 15 | 2023-02-11 07:15 | 2023-02-11 16:00 | 2023-02-11 15:40 | Other
PLN | PLN_UNIT1 | Solar | Forced | 257 | 226 | 31 | 2023-02-11 07:20 | 2023-02-13 18:00 | 2023-02-11 13:31 | Other
NUECES_B | NUECES_B_NUECESG7 | Natural Gas | Forced | 325 | 0 | 325 | 2023-02-11 08:10 | 2023-02-11 23:59 | 2023-02-11 13:00 | Feedwater Problems/Repairs
NUECES_B | NUECES_B_NUECESG8 | Natural Gas | Forced | 165 | 0 | 165 | 2023-02-11 08:10 | 2023-02-11 23:59 | 2023-02-11 13:00 | Feedwater Problems/Repairs
NUECES_B | NUECES_B_NUECESG9 | Natural Gas | Forced | 165 | 0 | 165 | 2023-02-11 08:10 | 2023-02-11 23:59 | 2023-02-11 13:00 | Feedwater Problems/Repairs
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 825 | 30 | 2023-02-11 08:28 | 2023-02-11 20:00 | 2023-02-11 22:00 | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 70 | 45 | 2023-02-11 09:38 | 2023-02-13 18:00 | 2023-02-11 18:50 | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced Extension | 75 | 50 | 25 | 2023-02-11 09:38 | 2023-02-20 23:59 | 2023-02-14 04:02 | Other
RAB | RAB_UNIT2 | Natural Gas | Maintenance Level 2 | 50 | 0 | 50 | 2023-02-11 10:00 | 2023-02-11 16:00 | 2023-02-11 15:00 | Boroscope
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 115 | 16 | 2023-02-11 10:14 | 2023-02-18 18:00 | 2023-02-13 16:30 | Other
CSEC | CSEC_CSECG2 | Wind | Forced | 120 | 95 | 25 | 2023-02-11 10:14 | 2023-02-18 18:00 |  | Other
PRIDDY | PRIDDY_UNIT1 | Wind | Maintenance Level 2 | 187 | 163 | 24 | 2023-02-11 10:30 | 2023-02-11 23:59 | 2023-02-11 19:30 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 800 | 20 | 2023-02-11 10:45 | 2023-02-11 20:00 | 2023-02-11 22:00 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 135 | 13 | 2023-02-11 10:59 | 2023-02-28 18:00 | 2023-02-13 18:29 | Other
JACKCNTY | JACKCNTY_CT2 | Natural Gas | Forced Extension | 165 | 0 | 165 | 2023-02-11 12:11 | 2023-02-13 23:59 | 2023-02-13 23:59 | Other
JACKCNTY | JACKCNTY_STG | Natural Gas | Forced Extension | 300 | 160 | 140 | 2023-02-11 12:11 | 2023-02-13 23:59 | 2023-02-13 23:59 | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced Extension | 203 | 190 | 13 | 2023-02-11 12:20 | 2023-02-14 23:59 |  | Other
PLN | PLN_UNIT1 | Solar | Forced | 257 | 244 | 13 | 2023-02-11 13:56 | 2023-02-13 18:00 | 2023-02-13 14:30 | Other
TXCTY | TXCTY_CTA | Natural Gas | Forced Extension | 102 | 0 | 102 | 2023-02-11 14:09 | 2023-02-17 23:59 |  | Other
TXCTY | TXCTY_ST | Natural Gas | Forced Extension | 131 | 90 | 41 | 2023-02-11 14:09 | 2023-02-17 23:59 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 780 | 40 | 2023-02-11 19:00 | 2023-02-11 23:59 | 2023-02-11 21:40 | Emissions
DEC | DEC_AGR_C | Natural Gas | Forced Extension | 56 | 37 | 19 | 2023-02-11 19:03 | 2023-02-12 06:00 | 2023-02-12 02:00 | Cooling Water Problems/Repairs
APOGEE | APOGEE_UNIT4 | Wind | Forced Extension | 115 | 85 | 30 | 2023-02-11 19:45 | 2023-02-20 23:59 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 700 | 120 | 2023-02-11 21:44 | 2023-02-12 03:59 | 2023-02-12 | Emissions
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced Extension | 239 | 225 | 14 | 2023-02-11 21:47 | 2023-02-14 23:59 |  | Other
HAYSEN | HAYSEN_HAYSENG3 | Natural Gas | Forced Extension | 242 | 242 | 0 | 2023-02-11 21:47 | 2023-02-14 23:59 |  | Other
HAYSEN | HAYSEN_HAYSENG4 | Natural Gas | Forced Extension | 243 | 229 | 14 | 2023-02-11 21:47 | 2023-02-14 23:59 |  | Other
SKY1 | SKY1_SKY1B | Natural Gas | Forced | 27 | 17 | 10 | 2023-02-11 21:50 | 2023-02-11 23:00 | 2023-02-11 22:47 | Other
ETCCS | ETCCS_CT1 | Natural Gas | Forced | 245 | 231 | 14 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 195 | 185 | 10 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 185 | 174 | 11 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 185 | 174 | 11 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 195 | 185 | 10 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 185 | 174 | 11 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 185 | 174 | 11 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 186 | 176 | 10 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 178 | 168 | 10 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 178 | 176 | 2 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 186 | 168 | 18 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced | 195 | 175 | 20 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 189 | 168 | 21 | 2023-02-11 21:51 | 2023-02-12 23:59 | 2023-02-12 23:55 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 800 | 20 | 2023-02-11 22:01 | 2023-02-12 23:58 | 2023-02-12 09:32 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 825 | 30 | 2023-02-11 22:01 | 2023-02-12 20:00 | 2023-02-12 19:10 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 177 | 32 | 2023-02-11 23:28 | 2023-02-12 12:00 | 2023-02-12 11:40 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 202 | 8 | 2023-02-11 23:28 | 2023-02-12 12:00 | 2023-02-12 11:40 | Other
2023-02-14 |  |  |  | 2 |  |  |  | 5:02