## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-02-20 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Feb 17, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2022-02-28 10:52 | 2023-02-27 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 258 | 226 | 32 | 2022-05-03 17:17 | 2023-03-03 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 503 | 20 | 2022-05-12 18:30 | 2023-03-24 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2022-05-23 11:30 | 2023-05-23 11:29 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-02-28 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-02-28 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-02-28 23:59 |  | Other
DECKER | DECKER_DPGT_2 | Natural Gas | Forced Extension | 54 | 25 | 29 | 2022-07-08 16:41 | 2023-03-18 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
WHTTAIL | WHTTAIL_WR1 | Wind | Forced Extension | 113 | 102 | 11 | 2022-08-01 00:01 | 2023-02-28 23:59 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-08-18 19:25 | 2023-02-22 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 50 | 96 | 2022-09-19 23:21 | 2023-02-24 18:00 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-03-31 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
MARBFA | MARBFA_MARBFAG1 | Water | Unavoidable Extension | 21 | 0 | 21 | 2022-10-10 07:00 | 2023-02-24 20:00 | 2023-02-17 13:23 | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 67 | 86 | 2022-10-14 17:00 | 2023-02-28 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 79 | 68 | 2022-10-14 17:00 | 2023-02-28 23:59 |  | Turbine/Generator Vibration/Repair
KMCHI | KMCHI_2CT201 | Natural Gas | Unavoidable Extension | 185 | 0 | 185 | 2022-10-29 00:01 | 2023-03-03 |  | Combustion Inspection and Repair
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 768 | 68 | 2022-10-29 11:19 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 90 | 35 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 17 | 113 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
WL_RANCH | WL_RANCH_UNIT1 | Wind | Forced Extension | 200 | 189 | 11 | 2022-11-11 08:17 | 2023-02-28 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Unavoidable Extension | 258 | 0 | 258 | 2022-11-12 | 2023-03-03 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2022-11-14 09:55 | 2023-02-24 22:00 |  | Feedwater Problems/Repairs
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 512 | 40 | 2022-11-16 08:35 | 2023-02-28 23:59 | 2023-02-17 19:04 | Exhaust Problems/Repairs
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 185 | 0 | 185 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
DIB | DIB_DIB_G4 | Natural Gas | Unavoidable Extension | 82 | 0 | 82 | 2022-11-25 03:42 | 2023-02-28 16:00 |  | Inlet Air Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 59 | 0 | 59 | 2022-11-30 11:44 | 2023-02-24 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG11 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2022-12-03 14:48 | 2023-05-31 18:00 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 87 | 75 | 12 | 2022-12-05 10:42 | 2023-02-28 23:59 |  | Other
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 87 | 0 | 87 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 81 | 0 | 81 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 110 | 0 | 110 | 2022-12-09 12:56 | 2023-03-15 23:59 |  | Other
CBY4 | CBY4_CT41 | Natural Gas | Forced Extension | 173 | 159 | 14 | 2022-12-15 05:42 | 2023-03-02 23:59 |  | Exhaust Problems/Repairs
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-03-01 16:00 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Unavoidable Extension | 121 | 115 | 6 | 2022-12-17 15:28 | 2023-03-31 23:59 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 135 | 8 | 2022-12-20 08:00 | 2023-02-24 17:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 111 | 5 | 2022-12-20 08:00 | 2023-02-24 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 10 | 120 | 2022-12-20 15:00 | 2023-02-24 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 10 | 60 | 2022-12-20 15:00 | 2023-02-24 17:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 107 | 19 | 2022-12-22 14:23 | 2023-03-09 13:00 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 186 | 160 | 26 | 2022-12-23 06:30 | 2023-03-02 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 54 | 25 | 29 | 2022-12-23 18:08 | 2023-04-14 23:59 |  | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-03-31 18:00 |  | Cooling Water Problems/Repairs
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 42 | 46 | 2022-12-31 17:16 | 2023-03-15 12:00 | 2023-02-18 11:50 | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 28 | 62 | 2022-12-31 17:16 | 2023-03-15 12:00 | 2023-02-18 11:50 | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1235 | 1232 | 3 | 2022-12-31 23:31 | 2023-06-23 10:00 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1225 | 1210 | 15 | 2022-12-31 23:33 | 2023-04-23 23:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-03-31 13:14 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 278 | 247 | 31 | 2023-01-01 00:01 | 2023-04-17 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-04-02 08:59 |  | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Forced Extension | 219 | 0 | 219 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Forced Extension | 258 | 120 | 138 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 207 | 13 | 2023-01-03 14:55 | 2023-02-28 17:00 |  | Other
CHE | CHE_CHEGT1 | Natural Gas | Unavoidable Extension | 135 | 0 | 135 | 2023-01-06 20:24 | 2023-02-25 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 176 | 155 | 21 | 2023-01-06 20:24 | 2023-02-25 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 176 | 0 | 176 | 2023-01-06 22:44 | 2023-04-01 09:00 |  | Overhaul
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-03-31 09:24 |  | Other
WILDWIND | WILDWIND_UNIT5 | Wind | Forced | 53 | 34 | 19 | 2023-01-17 20:33 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 0 | 23 | 2023-01-18 09:47 | 2023-12-28 23:59 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-01-24 16:00 | 2023-02-20 12:00 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-02-28 23:59 |  | Feedwater Problems/Repairs
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 177 | 3 | 2023-01-26 08:33 | 2023-02-26 08:59 |  | Other
HI_LONE | HI_LONE_WGR1A | Wind | Forced | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-03-01 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-01-27 10:26 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
TKWSW1 | TKWSW1_ROSCOE | Wind | Forced Extension | 114 | 113 | 1 | 2023-01-27 15:00 | 2023-02-17 17:00 | 2023-02-17 15:31 | Other
AMOCOOIL | AMOCOOIL_AMOCO_2 | Natural Gas | Unavoidable Extension | 80 | 0 | 80 | 2023-01-28 | 2023-02-17 07:00 | 2023-02-17 07:00 | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 280 | 132 | 2023-01-29 22:08 | 2023-03-27 23:59 | 2023-02-17 22:11 | Other
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced Extension | 51 | 33 | 18 | 2023-01-30 13:09 | 2023-02-24 18:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 498 | 54 | 2023-01-30 14:34 | 2023-02-28 23:59 | 2023-02-17 19:04 | Fuel Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 369 | 380 | 2023-01-30 15:02 | 2023-02-28 23:59 |  | Feedwater Problems/Repairs
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 123 | 46 | 2023-01-30 15:28 | 2023-02-28 23:59 |  | Cooling Water Problems/Repairs
BORDAS | BORDAS_JAVEL20 | Wind | Forced | 230 | 216 | 14 | 2023-01-30 16:44 | 2023-02-28 17:45 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 85 | 8 | 2023-02-01 04:21 | 2023-02-28 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 360 | 31 | 2023-02-01 08:26 | 2023-03-01 | 2023-02-18 10:40 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 815 | 0 | 2023-02-01 09:53 | 2023-03-23 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 483 | 19 | 2023-02-01 13:10 | 2023-02-20 14:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Forced Extension | 13 | 0 | 13 | 2023-02-01 15:20 | 2023-04-01 10:00 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 50 | 36 | 14 | 2023-02-01 16:15 | 2023-03-15 12:00 |  | Fuel Limitation/Lack of Fuel Availability
CITYVICT | CITYVICT_CTG02 | Natural Gas | Forced | 50 | 44 | 6 | 2023-02-01 16:15 | 2023-03-15 12:00 |  | Fuel Problems/Repairs
VERAWIND | VERAWIND_UNIT4 | Wind | Forced Extension | 22 | 20 | 2 | 2023-02-02 09:30 | 2023-02-24 17:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 134 | 35 | 2023-02-02 11:09 | 2023-02-28 23:59 |  | Exhaust Problems/Repairs
RDCANYON | RDCANYON_RDCNY1 | Wind | Forced | 90 | 75 | 15 | 2023-02-02 17:23 | 2023-02-28 23:59 |  | Icing
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 0 | 749 | 2023-02-03 00:01 | 2023-02-28 23:59 |  | Feedwater Problems/Repairs
TAYGETE2 | TAYGETE2_UNIT1 | Solar | Forced | 102 | 71 | 31 | 2023-02-03 09:00 | 2023-02-28 23:59 |  | Other
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 117 | 10 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 113 | 14 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 152 | 17 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 142 | 27 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 135 | 15 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 146 | 4 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 42 | 4 | 2023-02-03 12:01 | 2023-02-17 12:01 | 2023-02-17 12:01 | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 86 | 6 | 2023-02-03 14:06 | 2023-03-31 23:59 |  | Other
TAYGETE2 | TAYGETE2_UNIT2 | Solar | Forced | 102 | 96 | 6 | 2023-02-04 09:00 | 2023-02-28 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 146 | 6 | 2023-02-04 11:07 | 2023-02-28 23:59 | 2023-02-18 07:24 | Other
WHMESA | WHMESA_UNIT3_23 | Wind | Forced | 19 | 11 | 8 | 2023-02-04 12:02 | 2023-02-28 23:59 | 2023-02-18 08:38 | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 130 | 3 | 2023-02-05 18:22 | 2023-02-28 23:59 | 2023-02-18 07:24 | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 88 | 4 | 2023-02-06 00:16 | 2023-02-28 23:59 |  | Other
GOLINDA | GOLINDA_UNIT1 | Solar | Forced | 101 | 20 | 81 | 2023-02-06 07:43 | 2023-02-28 23:59 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Forced Extension | 70 | 0 | 70 | 2023-02-06 07:59 | 2023-02-24 17:00 |  | Unknown
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 89 | 12 | 2023-02-06 08:35 | 2023-02-21 20:00 | 2023-02-17 07:08 | Other
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-02-06 08:51 | 2023-02-21 10:00 |  | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 124 | 11 | 2023-02-06 09:06 | 2023-02-28 23:59 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 9 | 141 | 2023-02-06 11:26 | 2023-02-28 23:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 42 | 108 | 2023-02-06 11:26 | 2023-02-28 23:59 |  | Other
DOWGEN | DOWGEN_DOW_G82 | Natural Gas | Forced Extension | 81 | 0 | 81 | 2023-02-06 13:26 | 2023-03-07 10:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Unavoidable Extension | 98 | 92 | 6 | 2023-02-06 14:00 | 2023-02-20 14:00 |  | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 129 | 4 | 2023-02-06 15:15 | 2023-02-28 23:59 |  | Other
ROSELAND | ROSELAND_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-06 15:39 | 2023-03-03 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR1 | Solar | Forced Extension | 250 | 90 | 160 | 2023-02-06 15:39 | 2023-03-03 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced Extension | 165 | 14 | 151 | 2023-02-06 15:39 | 2023-03-03 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced Extension | 85 | 0 | 85 | 2023-02-06 15:39 | 2023-03-03 18:00 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 135 | 3 | 2023-02-06 16:06 | 2023-02-28 23:59 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 107 | 0 | 107 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
TGS | TGS_GT01 | Natural Gas | Forced | 78 | 78 | 0 | 2023-02-06 16:12 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 180 | 17 | 2023-02-07 02:22 | 2023-02-28 23:59 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 118 | 34 | 2023-02-07 02:22 | 2023-02-28 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 99 | 0 | 99 | 2023-02-07 11:50 | 2023-04-17 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 61 | 0 | 61 | 2023-02-07 11:54 | 2023-04-17 23:59 |  | Other
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 114 | 0 | 2023-02-07 15:10 | 2023-02-28 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-03-31 18:00 |  | Lack of Steam Load Availability
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 184 | 0 | 2023-02-08 06:01 | 2023-02-28 23:59 |  | Other
LEG | LEG_LEG_G2 | Lignite | Unavoidable Extension | 836 | 0 | 836 | 2023-02-08 09:00 | 2023-02-18 23:59 | 2023-02-18 23:59 | Emissions
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 111 | 17 | 2023-02-09 15:16 | 2023-02-28 23:59 |  | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-02-09 15:22 | 2023-02-28 23:59 |  | Other
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced Extension | 50 | 48 | 2 | 2023-02-09 19:45 | 2023-02-21 17:59 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 65 | 15 | 2023-02-09 22:08 | 2023-02-28 23:09 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 138 | 27 | 2023-02-10 03:05 | 2023-02-24 17:00 |  | Turbine/Generator Vibration/Repair
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 142 | 21 | 2023-02-10 03:05 | 2023-02-17 17:00 | 2023-02-17 16:51 | Other
CRWN_SLR | CRWN_SLR_UNIT1 | Solar | Forced | 101 | 20 | 81 | 2023-02-10 08:40 | 2023-03-10 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 91 | 12 | 2023-02-10 10:22 | 2023-02-28 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG10 | Natural Gas | Forced Extension | 84 | 0 | 84 | 2023-02-10 12:22 | 2023-02-21 12:00 |  | Fuel Problems/Repairs
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 176 | 10 | 2023-02-10 23:00 | 2023-02-20 23:00 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Maintenance Level 3 | 80 | 0 | 80 | 2023-02-11 | 2023-02-20 18:00 |  | Other
CSEC | CSEC_CSECG2 | Wind | Forced | 120 | 95 | 25 | 2023-02-11 10:14 | 2023-02-18 18:00 | 2023-02-18 18:00 | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced Extension | 115 | 85 | 30 | 2023-02-11 19:45 | 2023-02-20 23:59 | 2023-02-17 08:15 | Other
BVE | BVE_UNIT3 | Natural Gas | Forced Extension | 270 | 190 | 80 | 2023-02-12 06:59 | 2023-02-25 23:59 |  | Other
BORDAS | BORDAS_JAVEL18 | Wind | Forced | 20 | 17 | 3 | 2023-02-12 16:37 | 2023-02-28 23:59 |  | Other
BOSQUESW | BOSQUESW_BSQSU_2 | Natural Gas | Maintenance Level 3 | 171 | 0 | 171 | 2023-02-12 22:00 | 2023-02-26 09:00 |  | Other
BOSQUESW | BOSQUESW_BSQSU_5 | Natural Gas | Maintenance Level 3 | 227 | 110 | 117 | 2023-02-12 22:00 | 2023-02-26 09:00 |  | Other
INRT_W | INRT_W_UNIT3 | Wind | Forced | 206 | 183 | 23 | 2023-02-13 02:55 | 2023-02-28 23:59 |  | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-13 07:11 | 2023-02-20 23:59 |  | Other
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Unavoidable Extension | 51 | 25 | 26 | 2023-02-13 08:00 | 2023-02-24 18:00 |  | Other
ANCHOR | ANCHOR_BESS1 | Not Available | Unavoidable Extension | 35 | 0 | 35 | 2023-02-13 09:57 | 2023-02-24 18:00 |  | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Unavoidable Extension | 135 | 0 | 135 | 2023-02-13 10:15 | 2023-02-20 09:00 |  | Other
LACY_CRK | LACY_CRK_UNIT2 | Wind | Unavoidable Extension | 15 | 0 | 15 | 2023-02-13 10:15 | 2023-02-20 09:00 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Unavoidable Extension | 138 | 0 | 138 | 2023-02-13 10:15 | 2023-02-20 09:00 |  | Other
LACY_CRK | LACY_CRK_UNIT4 | Wind | Unavoidable Extension | 13 | 0 | 13 | 2023-02-13 10:15 | 2023-02-20 09:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 131 | 20 | 2023-02-13 10:25 | 2023-02-18 18:00 | 2023-02-18 18:00 | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 131 | 20 | 2023-02-13 10:25 | 2023-02-18 18:00 | 2023-02-18 18:00 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 66 | 29 | 2023-02-13 14:00 | 2023-03-17 22:00 |  | Turbine/Generator Vibration/Repair
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 138 | 13 | 2023-02-13 14:00 | 2023-02-20 14:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced Extension | 124 | 85 | 39 | 2023-02-13 15:00 | 2023-02-22 18:00 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 107 | 24 | 2023-02-13 16:31 | 2023-02-18 18:00 | 2023-02-18 18:00 | Other
COYOTE_W | COYOTE_W_UNIT2 | Wind | Forced | 27 | 12 | 15 | 2023-02-13 19:05 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
THW | THW_THWGT33 | Natural Gas | Unavoidable Extension | 69 | 0 | 69 | 2023-02-14 00:01 | 2023-02-24 23:59 |  | Transformer Repair/Replace
THW | THW_THWGT34 | Natural Gas | Unavoidable Extension | 69 | 0 | 69 | 2023-02-14 00:01 | 2023-02-24 23:59 |  | Transformer Repair/Replace
TNP_ONE | TNP_ONE_TNP_O_2 | Lignite | Maintenance Level 1 | 155 | 0 | 155 | 2023-02-14 02:31 | 2023-02-21 23:59 |  | Other
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 54 | 26 | 2023-02-14 03:23 | 2023-02-28 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 58 | 32 | 2023-02-14 04:04 | 2023-02-17 23:59 | 2023-02-17 08:15 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 94 | 32 | 2023-02-14 04:05 | 2023-02-17 23:59 | 2023-02-17 08:15 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 135 | 17 | 2023-02-14 07:55 | 2023-02-28 23:59 |  | Other
HWF | HWF_HWFG1 | Wind | Forced | 164 | 150 | 14 | 2023-02-14 08:29 | 2023-02-28 23:59 |  | Other
BULLCRK | BULLCRK_WND1 | Wind | Unavoidable Extension | 88 | 0 | 88 | 2023-02-14 09:00 | 2023-02-18 18:00 | 2023-02-18 11:50 | Other
BULLCRK | BULLCRK_WND2 | Wind | Unavoidable Extension | 90 | 0 | 90 | 2023-02-14 09:00 | 2023-02-18 18:00 | 2023-02-18 11:50 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 156 | 26 | 2023-02-14 10:50 | 2023-02-28 23:59 | 2023-02-18 12:08 | Other
CABEZON | CABEZON_WIND1 | Wind | Forced | 115 | 109 | 6 | 2023-02-14 18:30 | 2023-02-24 12:30 |  | Other
CABEZON | CABEZON_WIND2 | Wind | Forced | 122 | 112 | 10 | 2023-02-14 18:30 | 2023-02-24 12:30 |  | Other
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 94 | 26 | 2023-02-14 18:33 | 2023-02-22 18:00 |  | Turbine/Generator Vibration/Repair
PENA | PENA_UNIT1 | Wind | Forced | 161 | 146 | 15 | 2023-02-14 18:41 | 2023-02-22 18:00 |  | Turbine/Generator Vibration/Repair
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced | 68 | 53 | 15 | 2023-02-14 20:35 | 2023-02-24 16:00 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 200 | 0 | 200 | 2023-02-15 02:05 | 2023-02-18 23:59 | 2023-02-17 18:23 | Other
BTE | BTE_BTE_G2 | Natural Gas | Forced Extension | 156 | 0 | 156 | 2023-02-15 02:05 | 2023-02-18 23:59 | 2023-02-17 18:23 | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 54 | 71 | 2023-02-15 05:50 | 2023-02-17 17:00 | 2023-02-17 06:08 | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 61 | 2 | 2023-02-15 12:00 | 2023-02-17 12:00 | 2023-02-17 12:00 | Unknown
THW | THW_THWST_3 | Natural Gas | Unavoidable Extension | 110 | 55 | 55 | 2023-02-15 13:42 | 2023-02-24 23:59 |  | Transformer Repair/Replace
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 81 | 28 | 2023-02-15 15:45 | 2023-02-20 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 93 | 16 | 2023-02-15 15:45 | 2023-02-20 23:59 |  | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 60 | 42 | 2023-02-15 17:32 | 2023-02-21 18:00 |  | Turbine/Generator Vibration/Repair
DCSES | DCSES_BES4 | Other | Forced Extension | 64 | 54 | 10 | 2023-02-15 17:50 | 2023-02-20 18:59 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 127 | 11 | 2023-02-15 18:01 | 2023-02-22 18:00 |  | Other
BRP_PBL2 | BRP_PBL2_UNIT1 | Not Available | Forced Extension | 10 | 0 | 10 | 2023-02-15 18:24 | 2023-02-21 18:00 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 50 | 50 | 2023-02-15 19:30 | 2023-02-21 18:00 |  | Turbine/Generator Vibration/Repair
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 137 | 7 | 2023-02-15 21:39 | 2023-02-21 18:00 |  | Unknown
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 137 | 7 | 2023-02-15 21:39 | 2023-02-21 18:00 |  | Unknown
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 218 | 14 | 2023-02-15 23:24 | 2023-02-28 23:59 | 2023-02-17 16:05 | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 95 | 15 | 2023-02-16 04:29 | 2023-02-21 23:59 | 2023-02-19 07:33 | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 60 | 15 | 2023-02-16 04:30 | 2023-02-20 23:59 | 2023-02-17 08:15 | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 122 | 27 | 2023-02-16 08:21 | 2023-02-28 23:59 |  | Other
RHESS2 | RHESS2_ESS_1 | Other | Forced | 10 | 8 | 2 | 2023-02-16 09:12 | 2023-02-17 05:00 | 2023-02-17 05:00 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 105 | 40 | 2023-02-16 10:13 | 2023-02-17 15:00 | 2023-02-17 15:00 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 153 | 56 | 2023-02-16 10:30 | 2023-02-17 15:00 | 2023-02-17 09:16 | Other
PLN | PLN_UNIT1 | Solar | Forced | 257 | 251 | 6 | 2023-02-16 13:20 | 2023-02-22 18:00 | 2023-02-18 08:40 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 135 | 13 | 2023-02-16 15:00 | 2023-02-28 18:00 | 2023-02-17 09:40 | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 87 | 65 | 22 | 2023-02-16 16:34 | 2023-02-20 23:59 |  | Lack of Steam Load Availability
SJS | SJS_SJS_G2 | Natural Gas | Forced | 87 | 65 | 22 | 2023-02-16 16:34 | 2023-02-17 12:00 | 2023-02-17 06:00 | Lack of Steam Load Availability
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 182 | 0 | 2023-02-16 16:56 | 2023-02-28 23:59 | 2023-02-17 09:38 | Other
YNG_WND | YNG_WND_UNIT3 | Wind | Forced | 149 | 149 | 0 | 2023-02-16 16:56 | 2023-02-28 23:59 |  | Other
CCEC | CCEC_GT1 | Natural Gas | Forced Extension | 141 | 0 | 141 | 2023-02-16 17:34 | 2023-02-17 23:59 | 2023-02-17 21:56 | Other
CCEC | CCEC_ST1 | Natural Gas | Forced Extension | 139 | 0 | 139 | 2023-02-16 17:34 | 2023-02-17 23:59 | 2023-02-17 21:56 | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 65 | 38 | 2023-02-16 18:16 | 2023-02-28 23:59 | 2023-02-17 07:13 | Other
KING_SE | KING_SE_KINGSE | Wind | Forced | 41 | 11 | 30 | 2023-02-16 18:45 | 2023-02-28 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 156 | 8 | 2023-02-16 19:38 | 2023-02-18 11:00 | 2023-02-18 13:00 | Other
PSA | PSA_PSA_G7 | Purchased Steam | Forced Extension | 127 | 0 | 127 | 2023-02-16 20:49 | 2023-02-19 23:59 | 2023-02-18 14:26 | Other
GBY | GBY_GBYGT74 | Natural Gas | Forced Extension | 65 | 0 | 65 | 2023-02-16 20:57 | 2023-02-17 23:59 | 2023-02-17 20:15 | Fuel Problems/Repairs
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 0 | 552 | 2023-02-16 21:55 | 2023-02-17 06:00 | 2023-02-17 06:26 | Fuel Problems/Repairs
SWEC | SWEC_G1 | Wind | Forced | 120 | 102 | 18 | 2023-02-16 23:04 | 2023-02-18 18:00 | 2023-02-18 18:00 | Unknown
GUNMTN | GUNMTN_G1 | Wind | Forced | 120 | 100 | 20 | 2023-02-16 23:14 | 2023-02-19 18:00 | 2023-02-18 15:00 | Unknown
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced | 239 | 220 | 19 | 2023-02-16 23:37 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
MDANP | MDANP_CT1 | Natural Gas | Forced | 258 | 233 | 25 | 2023-02-16 23:38 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
MDANP | MDANP_CT5 | Natural Gas | Forced | 276 | 255 | 21 | 2023-02-16 23:38 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
MDANP | MDANP_CT6 | Natural Gas | Forced | 278 | 247 | 31 | 2023-02-16 23:38 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 195 | 185 | 10 | 2023-02-16 23:41 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 195 | 175 | 20 | 2023-02-16 23:41 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 185 | 174 | 11 | 2023-02-16 23:41 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 185 | 174 | 11 | 2023-02-16 23:41 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 186 | 171 | 15 | 2023-02-16 23:41 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 178 | 164 | 14 | 2023-02-16 23:41 | 2023-02-17 23:59 | 2023-02-17 23:59 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 835 | 20 | 2023-02-16 23:42 | 2023-02-17 07:59 | 2023-02-17 07:41 | Other
BRP_PBL1 | BRP_PBL1_UNIT1 | Not Available | Unavoidable Extension | 10 | 0 | 10 | 2023-02-17 | 2023-02-21 18:00 |  | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 176 | 10 | 2023-02-17 01:25 | 2023-02-18 23:00 | 2023-02-18 01:00 | Turbine/Generator Vibration/Repair
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 200 | 190 | 2023-02-17 01:42 | 2023-02-19 15:58 | 2023-02-19 12:15 | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 0 | 502 | 2023-02-17 03:54 | 2023-02-18 06:59 | 2023-02-18 04:48 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 815 | 40 | 2023-02-17 04:24 | 2023-02-17 08:00 | 2023-02-17 07:41 | Other
RHESS2 | RHESS2_ESS_1 | Other | Forced | 10 | 0 | 10 | 2023-02-17 05:00 | 2023-02-17 06:00 | 2023-02-17 06:00 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 700 | 120 | 2023-02-17 05:16 | 2023-02-17 06:16 | 2023-02-17 05:24 | Other
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 105 | 22 | 2023-02-17 05:19 | 2023-02-18 12:00 | 2023-02-17 06:49 | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 88 | 39 | 2023-02-17 05:19 | 2023-02-18 12:00 | 2023-02-17 06:49 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 700 | 120 | 2023-02-17 05:40 | 2023-02-17 23:59 | 2023-02-17 08:06 | Emissions
RHESS2 | RHESS2_ESS_1 | Other | Forced Extension | 10 | 8 | 2 | 2023-02-17 06:00 | 2023-02-21 23:59 |  | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced | 87 | 75 | 12 | 2023-02-17 06:00 | 2023-02-17 09:00 | 2023-02-17 10:46 | Lack of Steam Load Availability
TC | TC_TCHP1 | Natural Gas | Forced | 45 | 0 | 45 | 2023-02-17 06:34 | 2023-02-17 12:00 | 2023-02-17 06:38 | Other
TC | TC_TCHP1 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-02-17 06:38 | 2023-02-17 19:00 | 2023-02-17 17:16 | Other
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 77 | 24 | 2023-02-17 07:08 | 2023-02-21 20:00 | 2023-02-18 06:50 | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 85 | 18 | 2023-02-17 07:14 | 2023-02-28 23:59 |  | Other
SWEETWN4 | SWEETWN4_WND4A | Wind | Maintenance Level 1 | 125 | 72 | 53 | 2023-02-17 07:30 | 2023-02-17 12:00 | 2023-02-17 09:56 | Other
MIL | MIL_MILLERG3 | Natural Gas | Maintenance Level 1 | 208 | 0 | 208 | 2023-02-17 08:00 | 2023-02-17 16:00 | 2023-02-17 15:16 | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 85 | 30 | 2023-02-17 08:15 | 2023-03-03 23:59 |  | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 70 | 40 | 2023-02-17 08:15 | 2023-03-03 23:59 | 2023-02-19 07:33 | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 60 | 15 | 2023-02-17 08:15 | 2023-03-03 23:59 | 2023-02-19 07:33 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 49 | 41 | 2023-02-17 08:15 | 2023-03-03 23:59 | 2023-02-19 07:33 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 99 | 27 | 2023-02-17 08:15 | 2023-03-03 23:59 |  | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 142 | 67 | 2023-02-17 09:16 | 2023-02-17 18:00 | 2023-02-17 15:14 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 191 | 19 | 2023-02-17 09:16 | 2023-02-17 18:00 | 2023-02-17 17:53 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 810 | 45 | 2023-02-17 09:30 | 2023-02-20 08:28 |  | Other
STWF | STWF_T1 | Wind | Forced | 98 | 80 | 18 | 2023-02-17 09:35 | 2023-02-17 18:00 | 2023-02-17 17:50 | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 171 | 11 | 2023-02-17 09:39 | 2023-02-28 23:59 | 2023-02-18 12:08 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 131 | 17 | 2023-02-17 09:40 | 2023-02-28 18:00 | 2023-02-17 12:04 | Other
LMAJADAS | LMAJADAS_UNIT3 | Wind | Forced | 139 | 127 | 12 | 2023-02-17 10:08 | 2023-02-20 23:59 | 2023-02-19 07:33 | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced | 87 | 0 | 87 | 2023-02-17 10:46 | 2023-02-17 23:59 | 2023-02-17 16:17 | Cooling Water Problems/Repairs
SJS | SJS_SJS_G2 | Natural Gas | Forced | 87 | 82 | 5 | 2023-02-17 10:46 | 2023-02-17 23:59 | 2023-02-17 18:00 | Lack of Steam Load Availability
SJS | SJS_SJS_G2 | Natural Gas | Forced | 87 | 82 | 5 | 2023-02-17 10:46 | 2023-02-17 23:59 | 2023-02-17 10:47 | Lack of Steam Load Availability
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 42 | 4 | 2023-02-17 11:01 | 2023-03-03 12:00 |  | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced | 63 | 58 | 5 | 2023-02-17 11:25 | 2023-02-18 12:00 | 2023-02-18 11:59 | Other
LIG | LIG_UNIT1 | Natural Gas | Maintenance Level 2 | 44 | 0 | 44 | 2023-02-17 12:01 | 2023-02-17 12:59 | 2023-02-17 12:57 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 124 | 24 | 2023-02-17 12:05 | 2023-02-28 18:00 | 2023-02-19 14:47 | Other
LIG | LIG_UNIT2 | Natural Gas | Maintenance Level 2 | 44 | 0 | 44 | 2023-02-17 13:00 | 2023-02-17 13:59 | 2023-02-17 13:53 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 700 | 120 | 2023-02-17 14:00 | 2023-02-17 23:59 | 2023-02-17 16:55 | Emissions
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 100 | 45 | 2023-02-17 15:01 | 2023-02-18 15:00 | 2023-02-18 09:49 | Other
DUKE | DUKE_DUKE_GT1 | Natural Gas | Forced | 150 | 0 | 150 | 2023-02-17 15:04 | 2023-02-17 21:00 | 2023-02-17 20:37 | Other
DUKE | DUKE_DUKE_ST1 | Natural Gas | Forced | 176 | 80 | 96 | 2023-02-17 15:04 | 2023-02-17 21:00 | 2023-02-17 20:37 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 166 | 43 | 2023-02-17 15:15 | 2023-02-18 15:00 | 2023-02-17 17:54 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 700 | 120 | 2023-02-17 16:01 | 2023-02-17 23:59 | 2023-02-17 16:55 | Emissions
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced | 143 | 95 | 48 | 2023-02-17 16:02 | 2023-02-17 23:59 | 2023-02-17 19:56 | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 225 | 7 | 2023-02-17 16:06 | 2023-02-28 23:59 |  | Other
COTPLNS | COTPLNS_COTTONPL | Wind | Forced | 50 | 0 | 50 | 2023-02-17 16:45 | 2023-02-18 07:45 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 135 | 28 | 2023-02-17 16:51 | 2023-02-24 17:00 |  | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 700 | 120 | 2023-02-17 16:56 | 2023-02-17 23:59 | 2023-02-18 | Emissions
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 750 | 70 | 2023-02-17 16:58 | 2023-02-17 23:59 | 2023-02-18 | Emissions
COTPLNS | COTPLNS_OLDSETLR | Wind | Forced Extension | 151 | 0 | 151 | 2023-02-17 17:52 | 2023-02-20 01:00 | 2023-02-20 00:19 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 159 | 50 | 2023-02-17 17:55 | 2023-02-18 15:00 | 2023-02-18 15:00 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-02-17 18:00 | 2023-02-28 18:00 | 2023-02-19 14:47 | Other
RTS2 | RTS2_U1 | Wind | Forced | 90 | 79 | 11 | 2023-02-17 18:34 | 2023-02-18 17:00 | 2023-02-18 11:32 | Unknown
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 552 | 430 | 122 | 2023-02-17 19:04 | 2023-02-28 23:59 |  | Fuel Problems/Repairs
BTE | BTE_BTE_G1 | Natural Gas | Forced | 200 | 0 | 200 | 2023-02-17 19:30 | 2023-02-18 23:59 | 2023-02-18 14:00 | Other
BTE | BTE_BTE_G2 | Natural Gas | Forced | 156 | 0 | 156 | 2023-02-17 19:30 | 2023-02-18 23:59 | 2023-02-18 14:00 | Other
PHOENIX | PHOENIX_UNIT1 | Solar | Forced | 84 | 0 | 84 | 2023-02-17 22:37 | 2023-02-18 05:30 | 2023-02-18 02:25 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 790 | 65 | 2023-02-17 22:55 | 2023-02-18 01:54 | 2023-02-18 00:14 | Fuel Problems/Repairs
2023-02-20 |  |  |  | 2 |  |  |  | 5:03