## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-03-04 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Mar 1, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 226 | 20 | 2022-05-03 17:17 | 2023-04-07 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 503 | 20 | 2022-05-12 18:30 | 2023-03-24 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2022-05-23 11:30 | 2023-05-23 11:29 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-03-31 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-03-31 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-03-31 23:59 |  | Other
DECKER | DECKER_DPGT_2 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-07-08 16:41 | 2023-03-18 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
WHTTAIL | WHTTAIL_WR1 | Wind | Forced Extension | 113 | 102 | 11 | 2022-08-01 00:01 | 2023-03-31 23:59 | 2023-03-01 02:48 | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-08-18 19:25 | 2023-03-10 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 50 | 96 | 2022-09-19 23:21 | 2023-03-31 18:00 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-03-31 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 67 | 86 | 2022-10-14 17:00 | 2023-03-31 23:59 | 2023-03-02 11:08 | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 79 | 68 | 2022-10-14 17:00 | 2023-03-31 23:59 | 2023-03-02 11:12 | Turbine/Generator Vibration/Repair
KMCHI | KMCHI_2CT201 | Natural Gas | Unavoidable Extension | 161 | 0 | 161 | 2022-10-29 00:01 | 2023-03-03 | 2023-03-03 | Combustion Inspection and Repair
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 768 | 68 | 2022-10-29 11:19 | 2023-03-24 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 90 | 35 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 17 | 113 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G3 | Natural Gas | Unavoidable Extension | 246 | 0 | 246 | 2022-11-12 | 2023-03-03 23:59 | 2023-03-04 00:01 | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2022-11-14 09:55 | 2023-03-09 18:00 |  | Feedwater Problems/Repairs
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 181 | 0 | 181 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
DIB | DIB_DIB_G4 | Natural Gas | Unavoidable Extension | 81 | 0 | 81 | 2022-11-25 03:42 | 2023-03-08 16:00 |  | Inlet Air Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 59 | 0 | 59 | 2022-11-30 11:44 | 2023-03-10 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG11 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2022-12-03 14:48 | 2023-05-31 18:00 |  | Other
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 78 | 0 | 78 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
CBY4 | CBY4_CT41 | Natural Gas | Forced Extension | 168 | 159 | 9 | 2022-12-15 05:42 | 2023-03-02 23:59 | 2023-03-03 | Exhaust Problems/Repairs
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced Extension | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-03-17 18:00 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Unavoidable Extension | 121 | 115 | 6 | 2022-12-17 15:28 | 2023-03-31 23:59 | 2023-03-02 15:29 | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 135 | 8 | 2022-12-20 08:00 | 2023-03-31 17:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 111 | 5 | 2022-12-20 08:00 | 2023-03-31 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 10 | 120 | 2022-12-20 15:00 | 2023-03-15 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 10 | 60 | 2022-12-20 15:00 | 2023-03-15 17:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 107 | 19 | 2022-12-22 14:23 | 2023-03-09 13:00 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 182 | 160 | 22 | 2022-12-23 06:30 | 2023-03-02 23:59 | 2023-03-03 | Steam Turbine Limited/Unavailable Due to CT/GT Work
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-12-23 18:08 | 2023-05-31 23:59 |  | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-03-31 18:00 |  | Cooling Water Problems/Repairs
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1227 | 1232 | 0 | 2022-12-31 23:31 | 2023-06-23 10:00 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1214 | 1210 | 4 | 2022-12-31 23:33 | 2023-04-23 23:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-03-31 13:14 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 246 | 247 | 0 | 2023-01-01 00:01 | 2023-04-17 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced Extension | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-05-01 08:59 |  | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Forced Extension | 214 | 0 | 214 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Forced Extension | 255 | 120 | 135 | 2023-01-01 16:00 | 2023-03-20 08:00 |  | Tube Leak
CHE | CHE_CHEGT1 | Natural Gas | Unavoidable Extension | 115 | 0 | 115 | 2023-01-06 20:24 | 2023-03-04 12:00 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 169 | 155 | 14 | 2023-01-06 20:24 | 2023-03-04 12:00 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-01-06 22:44 | 2023-04-01 09:00 |  | Overhaul
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-03-31 09:24 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-01-24 16:00 | 2023-03-04 23:58 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-03-31 23:59 |  | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-01-27 10:26 | 2023-12-28 23:59 | 2023-03-01 09:48 | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-01-27 10:27 | 2023-12-28 23:59 | 2023-03-01 09:50 | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced Extension | 51 | 33 | 18 | 2023-01-30 13:09 | 2023-03-10 18:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 369 | 380 | 2023-01-30 15:02 | 2023-03-31 23:59 | 2023-03-02 14:38 | Feedwater Problems/Repairs
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 815 | 0 | 2023-02-01 09:53 | 2023-03-23 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Forced Extension | 13 | 0 | 13 | 2023-02-01 15:20 | 2023-05-01 10:00 |  | Other
CITYVICT | CITYVICT_CTG02 | Natural Gas | Forced | 47 | 44 | 3 | 2023-02-01 16:15 | 2023-03-15 12:00 |  | Fuel Problems/Repairs
RDCANYON | RDCANYON_RDCNY1 | Wind | Forced Extension | 90 | 75 | 15 | 2023-02-02 17:23 | 2023-03-31 23:59 | 2023-03-02 13:54 | Icing
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 0 | 749 | 2023-02-03 00:01 | 2023-03-01 22:00 | 2023-03-01 11:38 | Feedwater Problems/Repairs
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 117 | 10 | 2023-02-03 10:00 | 2023-03-03 16:00 | 2023-03-03 16:00 | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 113 | 14 | 2023-02-03 10:00 | 2023-03-03 16:00 | 2023-03-03 16:00 | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 152 | 17 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 142 | 27 | 2023-02-03 10:00 | 2023-03-03 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced Extension | 150 | 135 | 15 | 2023-02-03 10:00 | 2023-03-17 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced Extension | 150 | 146 | 4 | 2023-02-03 10:00 | 2023-03-17 16:00 |  | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 86 | 6 | 2023-02-03 14:06 | 2023-03-31 23:59 | 2023-03-02 19:09 | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Forced Extension | 70 | 0 | 70 | 2023-02-06 07:59 | 2023-03-15 17:00 |  | Unknown
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-02-06 08:51 | 2023-03-06 17:00 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced Extension | 150 | 9 | 141 | 2023-02-06 11:26 | 2023-03-31 18:00 | 2023-03-02 22:40 | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced Extension | 150 | 42 | 108 | 2023-02-06 11:26 | 2023-03-31 18:00 | 2023-03-02 22:42 | Other
DOWGEN | DOWGEN_DOW_G82 | Natural Gas | Forced Extension | 77 | 0 | 77 | 2023-02-06 13:26 | 2023-03-17 10:00 |  | Other
ROSELAND | ROSELAND_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-06 15:39 | 2023-04-03 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR1 | Solar | Forced Extension | 250 | 90 | 160 | 2023-02-06 15:39 | 2023-03-06 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced Extension | 165 | 14 | 151 | 2023-02-06 15:39 | 2023-03-06 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced Extension | 85 | 0 | 85 | 2023-02-06 15:39 | 2023-04-03 18:00 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 101 | 0 | 101 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
TGS | TGS_GT01 | Natural Gas | Forced | 69 | 78 | 0 | 2023-02-06 16:12 | 2023-03-31 23:59 | 2023-03-03 15:08 | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 99 | 0 | 99 | 2023-02-07 11:50 | 2023-04-17 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 61 | 0 | 61 | 2023-02-07 11:54 | 2023-04-17 23:59 |  | Other
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 114 | 0 | 2023-02-07 15:10 | 2023-03-31 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-03-31 18:00 |  | Lack of Steam Load Availability
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced | 50 | 49 | 1 | 2023-02-09 18:00 | 2023-03-09 18:00 |  | Other
CRWN_SLR | CRWN_SLR_UNIT1 | Solar | Forced | 101 | 20 | 81 | 2023-02-10 08:40 | 2023-03-10 23:59 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Unavoidable Extension | 75 | 0 | 75 | 2023-02-11 | 2023-03-03 23:59 |  | Other
BOSQUESW | BOSQUESW_BSQSU_2 | Natural Gas | Unavoidable Extension | 162 | 0 | 162 | 2023-02-12 22:00 | 2023-03-03 14:00 | 2023-03-03 11:30 | Other
BOSQUESW | BOSQUESW_BSQSU_5 | Natural Gas | Unavoidable Extension | 222 | 110 | 112 | 2023-02-12 22:00 | 2023-03-03 14:00 | 2023-03-03 11:30 | Other
ANCHOR | ANCHOR_BESS1 | Not Available | Unavoidable Extension | 35 | 0 | 35 | 2023-02-13 09:57 | 2023-03-12 18:00 |  | Other
THW | THW_THWGT33 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-02-14 00:01 | 2023-03-12 23:59 |  | Transformer Repair/Replace
THW | THW_THWGT34 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-02-14 00:01 | 2023-03-12 23:59 |  | Transformer Repair/Replace
KING_NW | KING_NW_KINGNW | Wind | Forced Extension | 80 | 54 | 26 | 2023-02-14 03:23 | 2023-03-31 23:59 | 2023-03-03 16:35 | Other
HWF | HWF_HWFG1 | Wind | Forced Extension | 164 | 150 | 14 | 2023-02-14 08:29 | 2023-03-31 23:59 | 2023-03-01 15:47 | Other
THW | THW_THWST_3 | Natural Gas | Unavoidable Extension | 109 | 55 | 54 | 2023-02-15 13:42 | 2023-03-12 23:59 |  | Transformer Repair/Replace
DCSES | DCSES_BES4 | Other | Forced Extension | 64 | 54 | 10 | 2023-02-15 17:50 | 2023-03-10 18:30 |  | Other
KING_SE | KING_SE_KINGSE | Wind | Forced Extension | 41 | 11 | 30 | 2023-02-16 18:45 | 2023-03-31 23:59 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 105 | 20 | 2023-02-17 06:09 | 2023-04-14 18:00 | 2023-03-03 13:43 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 135 | 28 | 2023-02-17 16:51 | 2023-03-05 17:00 | 2023-03-03 16:19 | Other
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 45 | 43 | 2023-02-18 11:50 | 2023-03-13 20:00 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 35 | 55 | 2023-02-18 11:50 | 2023-03-13 20:00 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 115 | 16 | 2023-02-18 20:46 | 2023-03-03 18:00 | 2023-03-01 22:32 | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 96 | 24 | 2023-02-18 20:46 | 2023-03-09 18:00 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced Extension | 391 | 320 | 71 | 2023-02-19 17:19 | 2023-03-01 14:00 | 2023-03-01 14:04 | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced Extension | 201 | 186 | 15 | 2023-02-20 05:28 | 2023-03-31 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-03-31 20:50 |  | Exhaust Problems/Repairs
MYR | MYR_UNIT2 | Solar | Forced Extension | 146 | 4 | 142 | 2023-02-20 14:18 | 2023-03-07 07:59 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 83 | 75 | 8 | 2023-02-21 13:55 | 2023-03-04 23:59 |  | Inlet Air Problems/Repairs
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 197 | 16 | 2023-02-21 14:08 | 2023-03-31 23:59 |  | Other
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
SSPURTWO | SSPURTWO_SS3WIND2 | Wind | Unavoidable Extension | 98 | 0 | 98 | 2023-02-21 18:00 | 2023-03-03 09:30 | 2023-03-03 08:51 | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-03-31 16:00 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 211 | 21 | 2023-02-22 09:47 | 2023-03-31 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced Extension | 103 | 88 | 15 | 2023-02-22 10:07 | 2023-03-31 23:59 | 2023-03-03 02:16 | Other
BAC | BAC_CTG3 | Natural Gas | Forced Extension | 52 | 0 | 52 | 2023-02-22 15:10 | 2023-03-11 19:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced Extension | 124 | 101 | 23 | 2023-02-22 15:34 | 2023-03-10 17:00 |  | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced Extension | 75 | 60 | 15 | 2023-02-23 06:16 | 2023-03-15 23:59 | 2023-03-02 17:56 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 810 | 45 | 2023-02-23 11:38 | 2023-03-03 20:00 | 2023-03-02 06:17 | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced Extension | 100 | 88 | 12 | 2023-02-23 16:18 | 2023-03-10 20:00 |  | Turbine/Generator Vibration/Repair
FORMOSA | FORMOSA_FORMOSG10 | Natural Gas | Maintenance Level 1 | 79 | 0 | 79 | 2023-02-23 19:48 | 2023-03-30 20:00 |  | Fuel Problems/Repairs
X443ESS1 | X443ESS1_SWRI | Not Available | Forced Extension | 10 | 9 | 1 | 2023-02-23 21:54 | 2023-03-06 23:59 |  | Other
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 104 | 11 | 2023-02-24 13:00 | 2023-03-10 17:30 |  | Other
CABEZON | CABEZON_WIND2 | Wind | Forced Extension | 122 | 112 | 10 | 2023-02-24 13:00 | 2023-03-10 17:30 |  | Other
HI_LONEB | HI_LONEB_BESS1 | Not Available | Forced | 50 | 0 | 50 | 2023-02-24 14:15 | 2023-03-07 18:00 |  | Other
DCSES | DCSES_BES3 | Other | Forced Extension | 64 | 60 | 4 | 2023-02-24 14:59 | 2023-03-10 18:30 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 133 | 5 | 2023-02-24 16:00 | 2023-03-03 18:00 | 2023-03-02 16:59 | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 420 | 116 | 2023-02-24 16:03 | 2023-03-04 23:59 |  | Inlet Air Problems/Repairs
BAFFIN | BAFFIN_UNIT1 | Wind | Forced Extension | 100 | 50 | 50 | 2023-02-24 18:35 | 2023-03-10 18:00 | 2023-03-01 14:38 | Turbine/Generator Vibration/Repair
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 93 | 8 | 2023-02-24 20:14 | 2023-03-10 22:00 |  | Other
EXN | EXN_EXN_G2 | Natural Gas | Unavoidable Extension | 29 | 0 | 29 | 2023-02-25 00:01 | 2023-03-15 12:00 |  | Other
RHESS2 | RHESS2_ESS_1 | Other | Forced Extension | 10 | 8 | 2 | 2023-02-25 05:09 | 2023-03-10 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced Extension | 126 | 99 | 27 | 2023-02-25 07:47 | 2023-03-03 23:59 | 2023-03-01 15:44 | Turbine/Generator Vibration/Repair
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced | 18 | 0 | 18 | 2023-02-25 08:37 | 2023-03-06 23:59 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced Extension | 80 | 72 | 8 | 2023-02-25 20:46 | 2023-03-31 23:59 | 2023-03-01 22:32 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 66 | 29 | 2023-02-26 04:13 | 2023-03-03 22:00 |  | Turbine/Generator Vibration/Repair
FORMOSA | FORMOSA_FORMOSG8 | Natural Gas | Forced | 35 | 0 | 35 | 2023-02-26 08:18 | 2023-03-06 18:00 |  | Tube Leak
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 173 | 7 | 2023-02-26 10:10 | 2023-03-18 23:58 |  | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced Extension | 149 | 135 | 14 | 2023-02-26 12:23 | 2023-03-07 18:00 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 121 | 29 | 2023-02-26 21:22 | 2023-03-31 23:27 |  | Other
ETCCS | ETCCS_CT1 | Natural Gas | Forced Extension | 209 | 210 | 0 | 2023-02-26 23:37 | 2023-03-02 23:59 | 2023-03-02 23:12 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced Extension | 161 | 161 | 0 | 2023-02-26 23:41 | 2023-03-04 23:59 |  | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced Extension | 153 | 158 | 0 | 2023-02-26 23:41 | 2023-03-04 23:59 |  | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 153 | 166 | 0 | 2023-02-26 23:41 | 2023-03-04 23:59 |  | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 161 | 157 | 4 | 2023-02-26 23:41 | 2023-03-04 23:59 |  | Other
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 165 | 168 | 0 | 2023-02-26 23:41 | 2023-03-04 23:59 |  | Other
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 156 | 161 | 0 | 2023-02-26 23:41 | 2023-03-04 23:59 |  | Other
DCSES | DCSES_CT10 | Natural Gas | Forced Extension | 71 | 75 | 0 | 2023-02-26 23:44 | 2023-03-02 23:59 | 2023-03-02 23:17 | Other
DCSES | DCSES_CT30 | Natural Gas | Forced Extension | 70 | 73 | 0 | 2023-02-26 23:44 | 2023-03-02 23:59 | 2023-03-02 23:17 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 166 | 20 | 2023-02-27 01:48 | 2023-03-03 23:59 | 2023-03-02 06:35 | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 66 | 20 | 2023-02-27 04:27 | 2023-03-31 23:59 | 2023-03-03 06:31 | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2023-02-27 05:51 | 2024-02-26 23:59 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 88 | 4 | 2023-02-27 06:38 | 2023-03-31 23:59 | 2023-03-03 06:30 | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 191 | 11 | 2023-02-27 06:48 | 2023-12-31 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 181 | 1 | 2023-02-27 06:57 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT2_28 | Wind | Forced | 183 | 183 | 0 | 2023-02-27 06:59 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 149 | 3 | 2023-02-27 07:00 | 2023-03-31 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 88 | 15 | 2023-02-27 07:01 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 129 | 4 | 2023-02-27 07:02 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced | 14 | 13 | 1 | 2023-02-27 07:03 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 180 | 17 | 2023-02-27 07:23 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 118 | 34 | 2023-02-27 07:23 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT3 | Wind | Forced | 149 | 149 | 0 | 2023-02-27 07:25 | 2023-03-31 23:59 |  | Other
BORDAS | BORDAS_JAVEL20 | Wind | Forced | 230 | 216 | 14 | 2023-02-27 07:30 | 2023-03-31 23:59 |  | Other
BORDAS | BORDAS_JAVEL18 | Wind | Forced | 20 | 17 | 3 | 2023-02-27 07:32 | 2023-03-31 23:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced Extension | 150 | 120 | 30 | 2023-02-27 08:00 | 2023-03-10 18:00 |  | Other
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced Extension | 68 | 52 | 16 | 2023-02-27 08:14 | 2023-03-10 15:05 |  | Other
GRIF_TRL | GRIF_TRL_UNIT1 | Wind | Forced Extension | 99 | 88 | 11 | 2023-02-27 09:33 | 2023-03-02 20:30 | 2023-03-01 12:00 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 116 | 11 | 2023-02-27 09:33 | 2023-03-02 20:30 | 2023-03-01 12:00 | Other
AEEC | AEEC_ELK_1 | Natural Gas | Forced Extension | 195 | 0 | 195 | 2023-02-27 09:39 | 2023-03-04 23:59 | 2023-03-04 01:29 | Other
AEEC | AEEC_ELK_2 | Natural Gas | Forced Extension | 195 | 0 | 195 | 2023-02-27 09:39 | 2023-03-02 23:59 | 2023-03-02 08:34 | Other
AEEC | AEEC_ELK_3 | Natural Gas | Forced Extension | 195 | 0 | 195 | 2023-02-27 09:39 | 2023-03-02 23:59 | 2023-03-02 08:34 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 148 | 13 | 2023-02-27 10:57 | 2023-03-06 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced Extension | 90 | 67 | 23 | 2023-02-27 11:05 | 2023-03-03 23:59 | 2023-03-01 15:44 | Turbine/Generator Vibration/Repair
LMAJADAS | LMAJADAS_UNIT3 | Wind | Forced | 139 | 127 | 12 | 2023-02-27 11:19 | 2023-03-01 23:59 | 2023-03-01 23:25 | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 92 | 6 | 2023-02-27 14:00 | 2023-03-06 14:00 |  | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 138 | 13 | 2023-02-27 14:06 | 2023-03-06 14:00 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 143 | 21 | 2023-02-27 14:13 | 2023-03-03 23:59 | 2023-03-02 06:34 | Other
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 89 | 20 | 2023-02-27 15:42 | 2023-03-31 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 96 | 13 | 2023-02-27 15:42 | 2023-03-31 23:59 |  | Other
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 102 | 18 | 2023-02-27 18:37 | 2023-03-07 16:37 |  | Turbine/Generator Vibration/Repair
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 167 | 178 | 0 | 2023-02-27 23:24 | 2023-03-04 23:59 |  | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 159 | 172 | 0 | 2023-02-27 23:24 | 2023-03-04 23:59 |  | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 159 | 170 | 0 | 2023-02-27 23:24 | 2023-03-04 23:59 |  | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 167 | 178 | 0 | 2023-02-27 23:24 | 2023-03-04 23:59 |  | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 159 | 171 | 0 | 2023-02-27 23:24 | 2023-03-04 23:59 |  | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 159 | 170 | 0 | 2023-02-27 23:24 | 2023-03-04 23:59 |  | Other
DCSES | DCSES_CT20 | Natural Gas | Forced Extension | 70 | 72 | 0 | 2023-02-27 23:32 | 2023-03-02 23:59 | 2023-03-02 23:16 | Other
DCSES | DCSES_CT40 | Natural Gas | Forced Extension | 71 | 72 | 0 | 2023-02-27 23:32 | 2023-03-02 23:59 | 2023-03-02 23:16 | Other
SALTFORK | SALTFORK_UNIT1 | Wind | Forced | 64 | 57 | 7 | 2023-02-28 00:01 | 2023-03-02 23:59 | 2023-03-01 01:24 | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced | 110 | 103 | 7 | 2023-02-28 00:01 | 2023-03-02 23:59 | 2023-03-01 01:24 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 40 | 62 | 2023-02-28 01:10 | 2023-03-10 18:00 | 2023-03-01 14:35 | Turbine/Generator Vibration/Repair
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 805 | 50 | 2023-02-28 04:15 | 2023-03-01 06:00 | 2023-03-01 02:54 | Exhaust Problems/Repairs
TYLRWIND | TYLRWIND_UNIT1 | Wind | Forced | 126 | 114 | 12 | 2023-02-28 04:34 | 2023-03-02 23:59 | 2023-03-02 23:59 | Other
SALTFORK | SALTFORK_UNIT1 | Wind | Forced | 64 | 57 | 7 | 2023-02-28 04:38 | 2023-03-02 23:59 | 2023-03-01 01:24 | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced | 110 | 107 | 3 | 2023-02-28 04:38 | 2023-03-02 23:59 | 2023-03-01 01:24 | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 175 | 9 | 2023-02-28 05:46 | 2023-03-31 22:59 |  | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 115 | 34 | 2023-02-28 06:27 | 2023-03-09 23:59 |  | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 112 | 40 | 2023-02-28 06:33 | 2023-03-09 23:59 |  | Other
PLN | PLN_UNIT1 | Solar | Forced | 257 | 211 | 46 | 2023-02-28 07:47 | 2023-03-06 18:00 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 156 | 26 | 2023-02-28 07:55 | 2023-03-31 23:59 | 2023-03-03 17:26 | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced | 50 | 41 | 9 | 2023-02-28 08:03 | 2023-03-01 23:59 | 2023-03-01 23:59 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 102 | 63 | 2023-02-28 10:43 | 2023-03-05 17:00 | 2023-03-03 16:19 | Turbine/Generator Vibration/Repair
TXCTY | TXCTY_CTA | Natural Gas | Forced Extension | 101 | 63 | 38 | 2023-02-28 10:50 | 2023-03-05 23:59 | 2023-03-02 22:15 | Feedwater Problems/Repairs
TXCTY | TXCTY_ST | Natural Gas | Forced Extension | 132 | 72 | 60 | 2023-02-28 10:50 | 2023-03-05 23:59 | 2023-03-02 22:15 | Feedwater Problems/Repairs
DIB | DIB_DIB_G1 | Natural Gas | Forced Extension | 70 | 0 | 70 | 2023-02-28 11:55 | 2023-03-01 23:39 | 2023-03-02 01:01 | Unknown
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 120 | 43 | 2023-02-28 12:35 | 2023-03-31 16:00 | 2023-03-01 09:10 | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced | 220 | 0 | 220 | 2023-02-28 13:00 | 2023-05-12 17:00 |  | Other
WAP | WAP_WAP_G7 | Bituminous Coal | Forced Extension | 577 | 0 | 577 | 2023-02-28 14:03 | 2023-03-06 23:59 |  | Tube Leak
DIB | DIB_DIB_G3 | Purchased Steam | Forced Extension | 75 | 0 | 75 | 2023-02-28 14:50 | 2023-03-01 23:39 | 2023-03-01 23:39 | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 122 | 11 | 2023-02-28 15:38 | 2023-03-31 23:59 | 2023-03-01 08:31 | Other
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 91 | 37 | 2023-02-28 16:05 | 2023-03-31 23:59 | 2023-03-01 02:57 | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 43 | 3 | 2023-02-28 16:10 | 2023-03-17 12:00 | 2023-03-02 16:59 | Other
TRENT | TRENT_UNIT_2 | Wind | Forced | 50 | 0 | 50 | 2023-02-28 16:35 | 2023-03-03 15:00 | 2023-03-02 07:00 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 131 | 17 | 2023-02-28 17:15 | 2023-03-31 18:00 | 2023-03-01 10:30 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 820 | 780 | 40 | 2023-02-28 17:15 | 2023-03-01 08:00 | 2023-03-01 01:00 | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 63 | 98 | 2023-02-28 17:36 | 2023-03-02 15:36 | 2023-03-02 09:28 | Turbine/Generator Vibration/Repair
IMPACT | IMPACT_UNIT1 | Solar | Maintenance Level 2 | 199 | 131 | 68 | 2023-02-28 18:00 | 2023-03-01 06:00 | 2023-03-01 00:08 | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 118 | 20 | 2023-02-28 18:51 | 2023-03-31 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Forced | 180 | 85 | 95 | 2023-02-28 20:35 | 2023-03-31 |  | Other
JAY | JAY_UNIT2 | Solar | Forced | 172 | 115 | 57 | 2023-02-28 20:35 | 2023-03-31 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 4 | 19 | 2023-02-28 21:35 | 2023-12-28 21:35 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 700 | 155 | 2023-02-28 22:14 | 2023-03-01 03:00 | 2023-03-01 01:02 | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 126 | 25 | 2023-02-28 23:03 | 2023-03-08 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 126 | 25 | 2023-02-28 23:03 | 2023-03-08 18:00 |  | Other
GUNMTN | GUNMTN_G1 | Wind | Forced | 120 | 105 | 15 | 2023-02-28 23:09 | 2023-03-07 18:00 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 130 | 14 | 2023-02-28 23:09 | 2023-03-07 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 130 | 14 | 2023-02-28 23:09 | 2023-03-07 18:00 |  | Other
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced Extension | 213 | 213 | 0 | 2023-02-28 23:36 | 2023-03-04 23:59 |  | Other
HAYSEN | HAYSEN_HAYSENG3 | Natural Gas | Forced Extension | 213 | 213 | 0 | 2023-02-28 23:36 | 2023-03-04 23:59 |  | Other
HAYSEN | HAYSEN_HAYSENG4 | Natural Gas | Forced Extension | 216 | 216 | 0 | 2023-02-28 23:36 | 2023-03-04 23:59 |  | Other
MDANP | MDANP_CT1 | Natural Gas | Forced Extension | 232 | 225 | 7 | 2023-02-28 23:40 | 2023-03-02 23:59 | 2023-03-02 23:10 | Other
MDANP | MDANP_CT2 | Natural Gas | Forced Extension | 230 | 230 | 0 | 2023-02-28 23:40 | 2023-03-02 23:59 | 2023-03-02 23:10 | Other
MDANP | MDANP_CT4 | Natural Gas | Forced Extension | 232 | 232 | 0 | 2023-02-28 23:40 | 2023-03-02 23:59 | 2023-03-02 23:10 | Other
MDANP | MDANP_CT5 | Natural Gas | Forced Extension | 244 | 243 | 1 | 2023-02-28 23:40 | 2023-03-02 23:59 | 2023-03-02 23:10 | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 246 | 234 | 12 | 2023-02-28 23:40 | 2023-03-02 23:59 | 2023-03-02 23:10 | Other
AMOCOOIL | AMOCOOIL_AMOCO_2 | Natural Gas | Maintenance Level 1 | 75 | 0 | 75 | 2023-03-01 | 2023-03-08 18:00 |  | Tube Leak
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 765 | 90 | 2023-03-01 01:02 | 2023-03-01 08:00 | 2023-03-01 02:48 | Other
SALTFORK | SALTFORK_UNIT1 | Wind | Forced | 64 | 56 | 8 | 2023-03-01 01:53 | 2023-03-02 23:59 | 2023-03-01 21:11 | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced | 110 | 102 | 8 | 2023-03-01 01:53 | 2023-03-02 23:59 | 2023-03-01 21:11 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 820 | 35 | 2023-03-01 02:48 | 2023-03-01 08:00 | 2023-03-01 02:52 | Other
WHTTAIL | WHTTAIL_WR1 | Wind | Forced | 113 | 106 | 7 | 2023-03-01 02:49 | 2023-03-31 23:59 | 2023-03-01 14:02 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 830 | 25 | 2023-03-01 02:52 | 2023-03-01 06:00 | 2023-03-01 02:56 | Exhaust Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 830 | 25 | 2023-03-01 02:53 | 2023-03-03 23:59 | 2023-03-03 06:55 | Exhaust Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 820 | 35 | 2023-03-01 02:54 | 2023-03-01 06:00 | 2023-03-01 06:00 | Exhaust Problems/Repairs
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 108 | 20 | 2023-03-01 02:57 | 2023-03-31 23:59 | 2023-03-02 10:51 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 820 | 770 | 50 | 2023-03-01 03:12 | 2023-03-02 10:00 | 2023-03-01 21:26 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 820 | 770 | 50 | 2023-03-01 03:14 | 2023-03-01 18:00 | 2023-03-01 05:00 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 800 | 20 | 2023-03-01 04:59 | 2023-03-01 20:00 | 2023-03-01 12:09 | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 3 | 180 | 46 | 134 | 2023-03-01 06:00 | 2023-03-15 19:00 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 3 | 172 | 46 | 126 | 2023-03-01 06:00 | 2023-03-15 19:00 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Maintenance Level 1 | 100 | 51 | 49 | 2023-03-01 06:41 | 2023-03-01 10:00 | 2023-03-01 09:18 | Other
WFCOGEN | WFCOGEN_UNIT1 | Natural Gas | Maintenance Level 2 | 20 | 0 | 20 | 2023-03-01 07:58 | 2023-03-01 20:00 | 2023-03-01 18:49 | Other
WFCOGEN | WFCOGEN_UNIT2 | Natural Gas | Maintenance Level 2 | 20 | 0 | 20 | 2023-03-01 07:58 | 2023-03-01 20:00 | 2023-03-01 18:49 | Other
WFCOGEN | WFCOGEN_UNIT3 | Natural Gas | Maintenance Level 2 | 20 | 0 | 20 | 2023-03-01 07:58 | 2023-03-01 20:00 | 2023-03-01 18:49 | Other
SWEETWN3 | SWEETWN3_WND3B | Wind | Maintenance Level 2 | 117 | 83 | 34 | 2023-03-01 08:00 | 2023-03-01 15:00 | 2023-03-01 10:49 | Other
PLN | PLN_UNIT1 | Solar | Forced | 257 | 248 | 9 | 2023-03-01 08:19 | 2023-03-06 18:00 | 2023-03-01 10:23 | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 139 | 11 | 2023-03-01 08:34 | 2023-03-31 23:59 |  | Other
RADN_SLR | RADN_SLR_UNIT1 | Solar | Forced | 159 | 48 | 111 | 2023-03-01 09:10 | 2023-03-31 16:00 | 2023-03-01 10:10 | Other
WAP | WAP_WAP_G5 | Bituminous Coal | Forced | 664 | 515 | 149 | 2023-03-01 09:13 | 2023-03-01 23:59 | 2023-03-01 15:57 | Exhaust Problems/Repairs
LASSO | LASSO_UNIT1 | Solar | Forced Extension | 50 | 0 | 50 | 2023-03-01 09:30 | 2023-03-01 23:59 | 2023-03-01 18:00 | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 14 | 41 | 2023-03-01 09:48 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 45 | 3 | 2023-03-01 09:50 | 2023-12-28 23:59 |  | Other
RAB | RAB_UNIT6 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-03-01 10:00 | 2023-03-01 14:00 | 2023-03-01 13:39 | Boroscope
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 121 | 42 | 2023-03-01 10:10 | 2023-03-31 16:00 | 2023-03-03 23:52 | Other
PLN | PLN_UNIT1 | Solar | Forced | 257 | 190 | 67 | 2023-03-01 10:24 | 2023-03-03 18:00 | 2023-03-02 07:56 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 127 | 21 | 2023-03-01 10:31 | 2023-03-31 18:00 | 2023-03-01 20:30 | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 38 | 97 | 2023-03-01 10:37 | 2023-03-31 23:59 | 2023-03-01 10:41 | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 124 | 11 | 2023-03-01 10:41 | 2023-03-31 23:59 | 2023-03-01 14:10 | Other
HLSES | HLSES_UNIT5 | Natural Gas | Forced | 435 | 0 | 435 | 2023-03-01 11:00 | 2023-03-01 12:15 | 2023-03-01 12:00 | Fuel Problems/Repairs
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 140 | 55 | 2023-03-01 11:09 | 2023-03-01 18:00 | 2023-03-01 16:00 | Other
STWF | STWF_T1 | Wind | Forced Extension | 98 | 80 | 18 | 2023-03-01 11:18 | 2023-03-03 18:00 | 2023-03-02 21:18 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced | 153 | 18 | 135 | 2023-03-01 12:00 | 2023-03-01 20:00 | 2023-03-01 20:00 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced | 149 | 0 | 149 | 2023-03-01 12:00 | 2023-03-08 08:00 |  | Other
TAYGETE2 | TAYGETE2_UNIT1 | Solar | Forced | 102 | 0 | 102 | 2023-03-01 13:51 | 2023-03-02 19:00 | 2023-03-01 21:41 | Other
TAYGETE2 | TAYGETE2_UNIT2 | Solar | Forced | 102 | 0 | 102 | 2023-03-01 13:51 | 2023-03-02 19:00 | 2023-03-01 21:41 | Other
WAP | WAP_WAP_G4 | Natural Gas | Unavoidable Extension | 536 | 0 | 536 | 2023-03-01 14:00 | 2023-03-04 23:59 |  | Tube Leak
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 130 | 5 | 2023-03-01 14:11 | 2023-03-31 23:59 |  | Other
SANDHSYD | SANDHSYD_SH3 | Natural Gas | Forced | 47 | 0 | 47 | 2023-03-01 14:13 | 2023-03-01 23:59 | 2023-03-01 15:50 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 66 | 36 | 2023-03-01 14:36 | 2023-03-06 20:00 |  | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 42 | 58 | 2023-03-01 14:39 | 2023-03-07 18:39 |  | Turbine/Generator Vibration/Repair
MGSES | MGSES_CT1 | Natural Gas | Forced | 67 | 67 | 0 | 2023-03-01 14:49 | 2023-03-01 23:59 | 2023-03-01 23:59 | Other
MGSES | MGSES_CT4 | Natural Gas | Forced | 67 | 66 | 1 | 2023-03-01 14:49 | 2023-03-01 23:59 | 2023-03-01 23:59 | Other
MGSES | MGSES_CT6 | Natural Gas | Forced | 68 | 68 | 0 | 2023-03-01 14:49 | 2023-03-01 23:59 | 2023-03-01 23:59 | Other
MGSES | MGSES_CT2 | Natural Gas | Forced | 66 | 66 | 0 | 2023-03-01 14:52 | 2023-03-01 23:59 | 2023-03-01 23:59 | Other
MGSES | MGSES_CT3 | Natural Gas | Forced | 66 | 66 | 0 | 2023-03-01 14:52 | 2023-03-01 23:59 | 2023-03-01 23:59 | Other
AZ | AZ_AZ_G2 | Natural Gas | Forced | 36 | 0 | 36 | 2023-03-01 14:53 | 2023-03-01 17:00 | 2023-03-01 15:03 | Other
AZ | AZ_AZ_G4 | Natural Gas | Forced Extension | 36 | 0 | 36 | 2023-03-01 14:53 | 2023-03-04 17:00 |  | Other
PB2SES | PB2SES_CT1 | Natural Gas | Forced | 64 | 64 | 0 | 2023-03-01 14:56 | 2023-03-01 23:59 | 2023-03-01 23:59 | Other
PB2SES | PB2SES_CT5 | Natural Gas | Forced | 65 | 65 | 0 | 2023-03-01 14:56 | 2023-03-01 23:59 | 2023-03-01 23:59 | Other
PB2SES | PB2SES_CT3 | Natural Gas | Forced | 64 | 64 | 0 | 2023-03-01 14:58 | 2023-03-01 23:59 | 2023-03-01 23:59 | Other
AZ | AZ_AZ_G2 | Natural Gas | Forced Extension | 36 | 0 | 36 | 2023-03-01 15:08 | 2023-03-04 17:00 |  | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 95 | 15 | 2023-03-01 15:42 | 2023-03-15 23:59 | 2023-03-02 17:56 | Turbine/Generator Vibration/Repair
LEON_CRK | LEON_CRK_LCPCT1 | Natural Gas | Forced | 46 | 0 | 46 | 2023-03-01 15:43 | 2023-03-01 23:59 | 2023-03-01 16:03 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 85 | 41 | 2023-03-01 15:44 | 2023-03-15 23:59 | 2023-03-02 18:05 | Turbine/Generator Vibration/Repair
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 58 | 32 | 2023-03-01 15:45 | 2023-03-03 23:59 | 2023-03-01 15:46 | Turbine/Generator Vibration/Repair
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 58 | 32 | 2023-03-01 15:46 | 2023-03-15 23:59 | 2023-03-02 18:06 | Turbine/Generator Vibration/Repair
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 60 | 55 | 2023-03-01 15:50 | 2023-03-15 23:59 | 2023-03-02 18:09 | Turbine/Generator Vibration/Repair
SANDHSYD | SANDHSYD_SH1 | Natural Gas | Forced | 47 | 35 | 12 | 2023-03-01 16:10 | 2023-03-31 23:59 | 2023-03-03 15:15 | Cooling Water Problems/Repairs
SANDHSYD | SANDHSYD_SH2 | Natural Gas | Forced | 47 | 35 | 12 | 2023-03-01 16:10 | 2023-03-31 23:59 | 2023-03-03 15:15 | Cooling Water Problems/Repairs
SANDHSYD | SANDHSYD_SH3 | Natural Gas | Forced | 47 | 35 | 12 | 2023-03-01 16:10 | 2023-03-31 23:59 | 2023-03-03 15:15 | Cooling Water Problems/Repairs
SANDHSYD | SANDHSYD_SH4 | Natural Gas | Forced | 47 | 35 | 12 | 2023-03-01 16:10 | 2023-03-31 23:59 | 2023-03-03 15:15 | Cooling Water Problems/Repairs
WAP | WAP_WAP_G5 | Bituminous Coal | Forced | 664 | 496 | 168 | 2023-03-01 16:46 | 2023-03-02 23:59 | 2023-03-02 06:42 | Inlet Air Problems/Repairs
IMPACT | IMPACT_UNIT1 | Solar | Maintenance Level 3 | 199 | 131 | 68 | 2023-03-01 17:49 | 2023-03-02 06:00 | 2023-03-02 02:22 | Other
RTS2 | RTS2_U1 | Wind | Forced | 90 | 79 | 11 | 2023-03-01 18:30 | 2023-03-02 14:00 | 2023-03-02 01:30 | Other
BYRDR_ES | BYRDR_ES_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-01 18:50 | 2023-03-07 23:59 |  | Other
QUEEN_SL | QUEEN_SL_SOLAR4 | Solar | Forced | 108 | 54 | 54 | 2023-03-01 19:47 | 2023-03-02 14:00 | 2023-03-02 12:59 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 1 | 153 | 0 | 153 | 2023-03-01 20:00 | 2023-03-02 08:00 | 2023-03-02 08:00 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced Extension | 195 | 145 | 50 | 2023-03-01 20:20 | 2023-03-03 00:01 | 2023-03-02 10:43 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 121 | 27 | 2023-03-01 20:33 | 2023-03-31 18:00 | 2023-03-02 03:39 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 164 | 9 | 2023-03-01 21:01 | 2023-03-04 22:00 | 2023-03-03 16:30 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 710 | 110 | 2023-03-01 21:26 | 2023-03-02 10:00 | 2023-03-02 01:00 | Other
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Maintenance Level 2 | 785 | 0 | 785 | 2023-03-01 22:00 | 2023-03-12 23:59 |  | Tube Leak
EXN | EXN_EXN_G9 | Natural Gas | Forced | 21 | 0 | 21 | 2023-03-01 22:15 | 2023-03-03 12:00 | 2023-03-03 07:05 | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 105 | 26 | 2023-03-01 22:32 | 2023-03-08 18:00 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 60 | 20 | 2023-03-01 22:32 | 2023-03-31 23:59 |  | Other
CALHOUN | CALHOUN_UNIT2 | Natural Gas | Forced Extension | 47 | 0 | 47 | 2023-03-01 22:35 | 2023-03-04 23:59 |  | Other
2023-03-04 |  |  |  | 2 |  |  |  | 5:03