## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-03-10 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Mar 7, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 226 | 20 | 2022-05-03 17:17 | 2023-04-07 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 503 | 20 | 2022-05-12 18:30 | 2023-03-24 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2022-05-23 11:30 | 2023-05-23 11:29 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-03-31 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-03-31 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-03-31 23:59 |  | Other
DECKER | DECKER_DPGT_2 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-07-08 16:41 | 2023-03-18 23:59 | 2023-03-09 00:17 | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-08-18 19:25 | 2023-03-10 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 50 | 96 | 2022-09-19 23:21 | 2023-03-31 18:00 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-03-31 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 768 | 68 | 2022-10-29 11:19 | 2023-03-24 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 90 | 35 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 17 | 113 | 2022-11-08 12:44 | 2023-03-31 12:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2022-11-14 09:55 | 2023-03-24 18:00 |  | Feedwater Problems/Repairs
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 181 | 0 | 181 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
DIB | DIB_DIB_G4 | Natural Gas | Unavoidable Extension | 81 | 0 | 81 | 2022-11-25 03:42 | 2023-03-15 16:00 |  | Inlet Air Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 59 | 0 | 59 | 2022-11-30 11:44 | 2023-03-31 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG11 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2022-12-03 14:48 | 2023-05-31 18:00 |  | Other
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 78 | 0 | 78 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced Extension | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-03-17 18:00 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 135 | 8 | 2022-12-20 08:00 | 2023-03-31 17:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 111 | 5 | 2022-12-20 08:00 | 2023-03-31 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 10 | 120 | 2022-12-20 15:00 | 2023-03-15 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 10 | 60 | 2022-12-20 15:00 | 2023-03-15 17:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 107 | 19 | 2022-12-22 14:23 | 2023-04-09 13:00 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-12-23 18:08 | 2023-05-31 23:59 |  | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-03-31 18:00 |  | Cooling Water Problems/Repairs
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1227 | 1232 | 0 | 2022-12-31 23:31 | 2023-06-23 10:00 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1214 | 1210 | 4 | 2022-12-31 23:33 | 2023-04-23 23:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-03-31 13:14 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 246 | 247 | 0 | 2023-01-01 00:01 | 2023-04-17 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced Extension | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-05-01 08:59 |  | Other
DOWGEN | DOWGEN_DOW_G67 | Natural Gas | Unavoidable Extension | 101 | 0 | 101 | 2023-01-03 07:00 | 2023-04-04 21:00 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-01-06 22:44 | 2023-04-01 09:00 |  | Overhaul
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-03-31 09:24 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-01-24 16:00 | 2023-03-08 12:00 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-03-31 23:59 |  | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced Extension | 51 | 33 | 18 | 2023-01-30 13:09 | 2023-03-10 18:00 | 2023-03-09 09:58 | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 815 | 0 | 2023-02-01 09:53 | 2023-03-23 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Forced Extension | 13 | 0 | 13 | 2023-02-01 15:20 | 2023-05-01 10:00 |  | Other
CITYVICT | CITYVICT_CTG02 | Natural Gas | Forced | 47 | 44 | 3 | 2023-02-01 16:15 | 2023-03-15 12:00 |  | Fuel Problems/Repairs
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced Extension | 150 | 135 | 15 | 2023-02-03 10:00 | 2023-03-17 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced Extension | 150 | 146 | 4 | 2023-02-03 10:00 | 2023-03-17 16:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Forced Extension | 70 | 0 | 70 | 2023-02-06 07:59 | 2023-03-15 17:00 | 2023-03-07 13:18 | Unknown
DOWGEN | DOWGEN_DOW_G82 | Natural Gas | Forced Extension | 77 | 0 | 77 | 2023-02-06 13:26 | 2023-03-17 10:00 |  | Other
ROSELAND | ROSELAND_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-06 15:39 | 2023-04-03 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR1 | Solar | Forced Extension | 250 | 90 | 160 | 2023-02-06 15:39 | 2023-03-14 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced Extension | 165 | 14 | 151 | 2023-02-06 15:39 | 2023-03-14 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced Extension | 85 | 0 | 85 | 2023-02-06 15:39 | 2023-04-03 18:00 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 101 | 0 | 101 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 99 | 0 | 99 | 2023-02-07 11:50 | 2023-04-17 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 61 | 0 | 61 | 2023-02-07 11:54 | 2023-04-17 23:59 |  | Other
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 114 | 0 | 2023-02-07 15:10 | 2023-03-31 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-03-31 18:00 |  | Lack of Steam Load Availability
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced | 50 | 49 | 1 | 2023-02-09 18:00 | 2023-03-09 18:00 |  | Other
CRWN_SLR | CRWN_SLR_UNIT1 | Solar | Forced Extension | 101 | 20 | 81 | 2023-02-10 08:40 | 2023-03-31 09:49 |  | Other
ANCHOR | ANCHOR_BESS1 | Not Available | Unavoidable Extension | 35 | 0 | 35 | 2023-02-13 09:57 | 2023-03-12 18:00 |  | Other
THW | THW_THWGT33 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-02-14 00:01 | 2023-03-17 23:59 |  | Transformer Repair/Replace
THW | THW_THWGT34 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-02-14 00:01 | 2023-03-17 23:59 |  | Transformer Repair/Replace
THW | THW_THWST_3 | Natural Gas | Unavoidable Extension | 109 | 55 | 54 | 2023-02-15 13:42 | 2023-03-17 23:59 |  | Transformer Repair/Replace
DCSES | DCSES_BES4 | Other | Forced Extension | 64 | 54 | 10 | 2023-02-15 17:50 | 2023-03-10 18:30 |  | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Unavoidable Extension | 214 | 0 | 214 | 2023-02-19 20:00 | 2023-03-30 23:59 |  | Boroscope
NEDIN | NEDIN_NEDIN_G2 | Natural Gas | Unavoidable Extension | 214 | 0 | 214 | 2023-02-19 20:00 | 2023-03-30 23:59 |  | Boroscope
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Unavoidable Extension | 255 | 0 | 255 | 2023-02-19 20:00 | 2023-03-30 23:59 |  | Boroscope
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced Extension | 201 | 186 | 15 | 2023-02-20 05:28 | 2023-03-31 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-03-31 20:50 |  | Exhaust Problems/Repairs
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 83 | 75 | 8 | 2023-02-21 13:55 | 2023-03-12 23:59 |  | Inlet Air Problems/Repairs
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 197 | 16 | 2023-02-21 14:08 | 2023-03-31 23:59 |  | Other
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-03-31 16:00 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 211 | 21 | 2023-02-22 09:47 | 2023-03-31 23:59 |  | Other
BAC | BAC_CTG3 | Natural Gas | Forced Extension | 52 | 0 | 52 | 2023-02-22 15:10 | 2023-03-11 19:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced Extension | 124 | 101 | 23 | 2023-02-22 15:34 | 2023-03-10 17:00 |  | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced Extension | 100 | 88 | 12 | 2023-02-23 16:18 | 2023-03-10 20:00 |  | Turbine/Generator Vibration/Repair
FORMOSA | FORMOSA_FORMOSG10 | Natural Gas | Maintenance Level 1 | 79 | 0 | 79 | 2023-02-23 19:48 | 2023-03-30 20:00 |  | Fuel Problems/Repairs
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 104 | 11 | 2023-02-24 13:00 | 2023-03-10 17:30 |  | Other
CABEZON | CABEZON_WIND2 | Wind | Forced Extension | 122 | 112 | 10 | 2023-02-24 13:00 | 2023-03-10 17:30 |  | Other
HI_LONEB | HI_LONEB_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-24 14:15 | 2023-03-08 18:00 | 2023-03-08 18:00 | Other
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 93 | 8 | 2023-02-24 20:14 | 2023-03-10 22:00 |  | Other
EXN | EXN_EXN_G2 | Natural Gas | Unavoidable Extension | 29 | 0 | 29 | 2023-02-25 00:01 | 2023-03-15 12:00 |  | Other
RHESS2 | RHESS2_ESS_1 | Other | Forced Extension | 10 | 8 | 2 | 2023-02-25 05:09 | 2023-03-17 23:59 |  | Other
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced Extension | 18 | 0 | 18 | 2023-02-25 08:37 | 2023-03-13 23:59 | 2023-03-09 22:34 | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 173 | 7 | 2023-02-26 10:10 | 2023-03-18 23:58 |  | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced Extension | 149 | 135 | 14 | 2023-02-26 12:23 | 2023-03-11 18:00 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 121 | 29 | 2023-02-26 21:22 | 2023-03-31 23:27 |  | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced Extension | 161 | 161 | 0 | 2023-02-26 23:41 | 2023-03-07 23:59 | 2023-03-08 00:01 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced Extension | 153 | 158 | 0 | 2023-02-26 23:41 | 2023-03-07 23:59 | 2023-03-08 00:01 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 153 | 166 | 0 | 2023-02-26 23:41 | 2023-03-07 23:59 | 2023-03-08 00:01 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 161 | 157 | 4 | 2023-02-26 23:41 | 2023-03-07 23:59 | 2023-03-08 00:01 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 165 | 168 | 0 | 2023-02-26 23:41 | 2023-03-07 23:59 | 2023-03-08 00:01 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 156 | 161 | 0 | 2023-02-26 23:41 | 2023-03-07 23:59 | 2023-03-08 00:01 | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2023-02-27 05:51 | 2024-02-26 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 191 | 11 | 2023-02-27 06:48 | 2023-12-31 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 181 | 1 | 2023-02-27 06:57 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT2_28 | Wind | Forced | 183 | 183 | 0 | 2023-02-27 06:59 | 2023-03-31 23:59 | 2023-03-07 11:02 | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 149 | 3 | 2023-02-27 07:00 | 2023-03-31 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 88 | 15 | 2023-02-27 07:01 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 129 | 4 | 2023-02-27 07:02 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced | 14 | 13 | 1 | 2023-02-27 07:03 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 180 | 17 | 2023-02-27 07:23 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 118 | 34 | 2023-02-27 07:23 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT3 | Wind | Forced | 149 | 149 | 0 | 2023-02-27 07:25 | 2023-03-31 23:59 |  | Other
BORDAS | BORDAS_JAVEL18 | Wind | Forced | 20 | 17 | 3 | 2023-02-27 07:32 | 2023-03-31 23:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced Extension | 150 | 120 | 30 | 2023-02-27 08:00 | 2023-03-10 18:00 |  | Other
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced Extension | 68 | 52 | 16 | 2023-02-27 08:14 | 2023-03-10 15:05 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 89 | 20 | 2023-02-27 15:42 | 2023-03-31 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 96 | 13 | 2023-02-27 15:42 | 2023-03-31 23:59 |  | Other
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 102 | 18 | 2023-02-27 18:37 | 2023-03-10 18:00 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 175 | 9 | 2023-02-28 05:46 | 2023-03-31 22:59 |  | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 115 | 34 | 2023-02-28 06:27 | 2023-03-09 23:59 | 2023-03-07 07:49 | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced | 220 | 0 | 220 | 2023-02-28 13:00 | 2023-05-12 17:00 | 2023-03-09 00:20 | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 118 | 20 | 2023-02-28 18:51 | 2023-03-31 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Forced | 180 | 85 | 95 | 2023-02-28 20:35 | 2023-03-31 |  | Other
JAY | JAY_UNIT2 | Solar | Forced | 172 | 115 | 57 | 2023-02-28 20:35 | 2023-03-31 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 4 | 19 | 2023-02-28 21:35 | 2023-12-28 21:35 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_2 | Natural Gas | Maintenance Level 1 | 75 | 0 | 75 | 2023-03-01 | 2023-03-08 18:00 | 2023-03-07 19:00 | Tube Leak
FRNYPP | FRNYPP_GT21 | Natural Gas | Unavoidable Extension | 167 | 0 | 167 | 2023-03-01 00:01 | 2023-03-09 23:59 | 2023-03-10 00:01 | Overhaul
FRNYPP | FRNYPP_GT22 | Natural Gas | Unavoidable Extension | 159 | 0 | 159 | 2023-03-01 00:01 | 2023-03-11 18:00 |  | Overhaul
JAY | JAY_UNIT1 | Solar | Maintenance Level 3 | 180 | 46 | 134 | 2023-03-01 06:00 | 2023-03-15 19:00 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 3 | 172 | 46 | 126 | 2023-03-01 06:00 | 2023-03-15 19:00 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 139 | 11 | 2023-03-01 08:34 | 2023-03-31 23:59 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 14 | 41 | 2023-03-01 09:48 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 45 | 3 | 2023-03-01 09:50 | 2023-12-28 23:59 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 0 | 149 | 2023-03-01 12:00 | 2023-03-10 08:00 |  | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 130 | 5 | 2023-03-01 14:11 | 2023-03-31 23:59 |  | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 66 | 36 | 2023-03-01 14:36 | 2023-03-10 18:00 |  | Turbine/Generator Vibration/Repair
AZ | AZ_AZ_G4 | Natural Gas | Forced Extension | 36 | 0 | 36 | 2023-03-01 14:53 | 2023-03-31 23:59 |  | Other
BYRDR_ES | BYRDR_ES_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-01 18:50 | 2023-03-13 23:59 |  | Other
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Maintenance Level 2 | 785 | 0 | 785 | 2023-03-01 22:00 | 2023-03-12 23:59 |  | Tube Leak
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 60 | 20 | 2023-03-01 22:32 | 2023-03-31 23:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Unavoidable Extension | 62 | 0 | 62 | 2023-03-02 00:01 | 2023-03-07 23:59 | 2023-03-07 06:03 | Tube Leak
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 57 | 96 | 2023-03-02 11:07 | 2023-03-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 50 | 97 | 2023-03-02 11:07 | 2023-03-31 23:59 |  | Turbine/Generator Vibration/Repair
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 176 | 10 | 2023-03-02 13:08 | 2023-03-07 23:59 | 2023-03-07 06:15 | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 102 | 19 | 2023-03-02 15:30 | 2023-12-31 23:59 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 133 | 5 | 2023-03-02 17:00 | 2023-03-09 18:00 | 2023-03-09 18:00 | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced Extension | 150 | 12 | 138 | 2023-03-02 22:42 | 2023-03-17 18:00 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 15 | 135 | 2023-03-02 22:42 | 2023-03-31 18:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-03-02 22:43 | 2023-03-31 18:00 |  | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 95 | 8 | 2023-03-03 02:17 | 2023-03-31 23:59 |  | Other
RADN_SLR | RADN_SLR_UNIT1 | Solar | Forced | 159 | 143 | 16 | 2023-03-03 06:00 | 2023-03-31 18:00 |  | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 122 | 41 | 2023-03-03 06:00 | 2023-03-31 18:00 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 79 | 13 | 2023-03-03 06:27 | 2023-03-31 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 73 | 13 | 2023-03-03 06:31 | 2023-03-31 23:59 |  | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 80 | 12 | 2023-03-03 09:29 | 2023-03-31 23:59 |  | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced | 125 | 83 | 42 | 2023-03-03 13:43 | 2023-03-10 18:01 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced | 125 | 82 | 43 | 2023-03-03 13:43 | 2023-03-10 18:01 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 83 | 42 | 2023-03-03 13:43 | 2023-03-10 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced | 125 | 82 | 43 | 2023-03-03 13:43 | 2023-03-10 18:00 |  | Other
COTTON | COTTON_PAP2 | Wind | Forced | 200 | 126 | 74 | 2023-03-03 14:48 | 2023-03-10 15:00 | 2023-03-09 18:00 | Other
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 39 | 41 | 2023-03-03 16:33 | 2023-03-31 23:59 | 2023-03-09 20:40 | Other
DNDAM | DNDAM_DENISOG1 | Water | Forced Extension | 50 | 0 | 50 | 2023-03-03 16:52 | 2023-03-07 23:59 | 2023-03-07 14:45 | Other
DNDAM | DNDAM_DENISOG2 | Water | Forced Extension | 50 | 0 | 50 | 2023-03-03 16:52 | 2023-03-07 23:59 | 2023-03-07 14:45 | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 144 | 25 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 143 | 26 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 132 | 18 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 136 | 14 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 152 | 30 | 2023-03-03 17:27 | 2023-03-31 23:59 | 2023-03-07 13:21 | Other
PENA | PENA_UNIT1 | Wind | Forced Extension | 161 | 139 | 22 | 2023-03-03 17:44 | 2023-03-10 17:06 | 2023-03-09 18:08 | Turbine/Generator Vibration/Repair
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 132 | 17 | 2023-03-03 17:45 | 2023-03-07 07:49 | 2023-03-07 07:49 | Other
TNP_ONE | TNP_ONE_TNP_O_1 | Lignite | Maintenance Level 3 | 155 | 0 | 155 | 2023-03-04 01:00 | 2023-04-07 23:59 |  | Other
KING_SE | KING_SE_KINGSE | Wind | Forced | 41 | 28 | 13 | 2023-03-04 08:46 | 2023-03-31 23:59 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 85 | 30 | 2023-03-04 10:52 | 2023-03-15 23:59 | 2023-03-08 10:47 | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 610 | 53 | 2023-03-04 18:10 | 2023-03-31 23:59 |  | Inlet Air Problems/Repairs
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 40 | 6 | 2023-03-05 09:50 | 2023-03-17 12:00 |  | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced Extension | 195 | 145 | 50 | 2023-03-05 12:34 | 2023-03-10 23:59 | 2023-03-08 16:50 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced | 127 | 88 | 39 | 2023-03-05 17:10 | 2023-03-07 17:10 | 2023-03-07 10:30 | Turbine/Generator Vibration/Repair
BYU | BYU_BYU_G1 | Natural Gas | Maintenance Level 2 | 85 | 0 | 85 | 2023-03-05 18:00 | 2023-03-10 20:00 |  | Other
BORDAS | BORDAS_JAVEL20 | Wind | Forced | 230 | 226 | 4 | 2023-03-05 18:29 | 2023-03-31 23:59 |  | Other
SANDHSYD | SANDHSYD_SH1 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-06 | 2023-03-13 23:59 |  | Other
LARDVFTN | LARDVFTN_G4 | Natural Gas | Unavoidable Extension | 93 | 0 | 93 | 2023-03-06 00:01 | 2023-03-12 23:59 |  | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 157 | 16 | 2023-03-06 00:04 | 2023-03-08 18:00 | 2023-03-07 16:29 | Other
CHALUPA | CHALUPA_UNIT2 | Wind | Forced | 25 | 25 | 0 | 2023-03-06 00:04 | 2023-03-08 18:00 | 2023-03-07 16:29 | Other
MYR | MYR_UNIT2 | Solar | Maintenance Level 2 | 146 | 9 | 137 | 2023-03-06 08:00 | 2023-03-31 17:00 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 154 | 10 | 2023-03-06 08:05 | 2023-03-08 07:59 | 2023-03-07 06:16 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 135 | 17 | 2023-03-06 08:15 | 2023-03-31 23:59 | 2023-03-07 07:49 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 56 | 39 | 2023-03-06 09:31 | 2023-03-31 22:00 | 2023-03-07 08:15 | Turbine/Generator Vibration/Repair
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 820 | 807 | 13 | 2023-03-06 09:55 | 2023-03-08 23:59 | 2023-03-07 19:34 | Other
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 97 | 4 | 2023-03-06 10:34 | 2023-03-13 17:00 |  | Other
DUKE | DUKE_DUKE_GT1 | Natural Gas | Forced | 143 | 0 | 143 | 2023-03-06 12:22 | 2023-03-11 23:59 |  | Tube Leak
DUKE | DUKE_DUKE_GT2 | Natural Gas | Forced | 143 | 0 | 143 | 2023-03-06 12:22 | 2023-03-11 23:59 |  | Tube Leak
DUKE | DUKE_DUKE_ST1 | Natural Gas | Forced | 172 | 0 | 172 | 2023-03-06 12:22 | 2023-03-11 23:59 |  | Tube Leak
KING_SW | KING_SW_KINGSW | Wind | Forced | 80 | 64 | 16 | 2023-03-06 12:52 | 2023-03-31 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 76 | 14 | 2023-03-06 13:42 | 2023-03-15 23:59 | 2023-03-07 20:23 | Turbine/Generator Vibration/Repair
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 60 | 28 | 2023-03-06 13:45 | 2023-03-11 17:00 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 60 | 30 | 2023-03-06 13:45 | 2023-03-11 17:00 |  | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 145 | 6 | 2023-03-06 14:00 | 2023-03-13 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 92 | 6 | 2023-03-06 14:00 | 2023-03-13 14:00 |  | Other
DCSES | DCSES_CT10 | Natural Gas | Forced Extension | 71 | 71 | 0 | 2023-03-06 14:04 | 2023-03-07 23:59 | 2023-03-08 00:02 | Other
DCSES | DCSES_CT30 | Natural Gas | Forced Extension | 70 | 70 | 0 | 2023-03-06 14:04 | 2023-03-07 23:59 | 2023-03-08 00:02 | Other
DCSES | DCSES_CT20 | Natural Gas | Forced Extension | 70 | 69 | 1 | 2023-03-06 14:06 | 2023-03-07 23:59 | 2023-03-08 | Other
DCSES | DCSES_CT40 | Natural Gas | Forced Extension | 71 | 70 | 1 | 2023-03-06 14:06 | 2023-03-07 23:59 | 2023-03-08 | Other
MGSES | MGSES_CT1 | Natural Gas | Forced Extension | 67 | 67 | 0 | 2023-03-06 14:09 | 2023-03-07 23:59 | 2023-03-08 | Other
MGSES | MGSES_CT4 | Natural Gas | Forced Extension | 67 | 66 | 1 | 2023-03-06 14:09 | 2023-03-07 23:59 | 2023-03-08 | Other
MGSES | MGSES_CT5 | Natural Gas | Forced Extension | 68 | 67 | 1 | 2023-03-06 14:09 | 2023-03-07 23:59 | 2023-03-08 | Other
MGSES | MGSES_CT6 | Natural Gas | Forced Extension | 68 | 67 | 1 | 2023-03-06 14:09 | 2023-03-07 23:59 | 2023-03-08 | Other
PB2SES | PB2SES_CT1 | Natural Gas | Forced Extension | 64 | 63 | 1 | 2023-03-06 14:11 | 2023-03-07 23:59 | 2023-03-08 | Other
PB2SES | PB2SES_CT5 | Natural Gas | Forced Extension | 65 | 64 | 1 | 2023-03-06 14:11 | 2023-03-07 23:59 | 2023-03-08 | Other
PB2SES | PB2SES_CT3 | Natural Gas | Forced Extension | 64 | 63 | 1 | 2023-03-06 14:13 | 2023-03-07 23:58 | 2023-03-08 | Other
BCH | BCH_UNIT3 | Natural Gas | Forced | 45 | 0 | 45 | 2023-03-06 14:25 | 2023-03-08 23:59 | 2023-03-08 17:30 | Other
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 118 | 10 | 2023-03-06 15:54 | 2023-03-31 23:59 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 110 | 55 | 2023-03-06 16:17 | 2023-03-10 17:00 | 2023-03-07 18:56 | Turbine/Generator Vibration/Repair
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 135 | 28 | 2023-03-06 16:27 | 2023-03-10 17:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-03-06 17:00 | 2023-03-10 21:00 |  | Other
TAV | TAV_UNIT1 | Solar | Maintenance Level 2 | 144 | 20 | 124 | 2023-03-06 17:00 | 2023-04-30 12:00 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 114 | 17 | 2023-03-06 17:20 | 2023-03-10 18:00 | 2023-03-08 14:30 | Other
CSEC | CSEC_CSECG2 | Wind | Forced | 120 | 105 | 15 | 2023-03-06 17:20 | 2023-03-13 18:00 |  | Other
GUNMTN | GUNMTN_G1 | Wind | Forced | 120 | 111 | 9 | 2023-03-06 17:20 | 2023-03-13 18:00 | 2023-03-08 16:41 | Other
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 128 | 16 | 2023-03-06 17:20 | 2023-03-14 18:00 | 2023-03-08 16:17 | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 127 | 17 | 2023-03-06 17:20 | 2023-03-14 18:00 | 2023-03-08 16:17 | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 132 | 19 | 2023-03-06 17:20 | 2023-03-12 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 132 | 19 | 2023-03-06 17:20 | 2023-03-12 18:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Maintenance Level 2 | 126 | 96 | 30 | 2023-03-06 18:00 | 2023-03-07 07:00 | 2023-03-07 07:00 | Other
PLN | PLN_UNIT1 | Solar | Forced | 257 | 219 | 38 | 2023-03-06 18:01 | 2023-03-13 18:00 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 745 | 75 | 2023-03-06 18:36 | 2023-03-08 23:59 | 2023-03-08 21:38 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-03-06 18:40 | 2023-03-31 18:00 | 2023-03-07 08:40 | Other
PHOEBE | PHOEBE_UNIT1 | Solar | Maintenance Level 2 | 125 | 0 | 125 | 2023-03-06 18:56 | 2023-03-07 06:00 | 2023-03-07 05:56 | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 47 | 0 | 47 | 2023-03-06 19:00 | 2023-03-07 18:00 | 2023-03-07 15:25 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 50 | 50 | 2023-03-06 19:10 | 2023-03-10 18:00 | 2023-03-09 18:47 | Turbine/Generator Vibration/Repair
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 2 | 153 | 0 | 153 | 2023-03-06 20:01 | 2023-03-07 07:59 | 2023-03-07 07:59 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 720 | 100 | 2023-03-06 20:02 | 2023-03-07 23:59 | 2023-03-07 05:00 | Emissions
MLSES | MLSES_UNIT1 | Lignite | Forced Extension | 815 | 725 | 90 | 2023-03-06 20:04 | 2023-03-07 07:59 | 2023-03-07 05:00 | Emissions
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 132 | 1 | 2023-03-06 20:09 | 2023-03-31 23:59 | 2023-03-09 12:41 | Other
COYOTE_W | COYOTE_W_UNIT2 | Wind | Forced | 27 | 5 | 22 | 2023-03-06 22:33 | 2023-03-10 23:59 | 2023-03-07 20:23 | Turbine/Generator Vibration/Repair
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 45 | 81 | 2023-03-06 22:33 | 2023-03-10 23:59 | 2023-03-07 00:30 | Turbine/Generator Vibration/Repair
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced Extension | 213 | 213 | 0 | 2023-03-06 23:28 | 2023-03-07 23:59 | 2023-03-08 | Other
HAYSEN | HAYSEN_HAYSENG3 | Natural Gas | Forced Extension | 213 | 213 | 0 | 2023-03-06 23:28 | 2023-03-07 23:59 | 2023-03-08 | Other
HAYSEN | HAYSEN_HAYSENG4 | Natural Gas | Forced Extension | 216 | 216 | 0 | 2023-03-06 23:28 | 2023-03-07 23:59 | 2023-03-08 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 167 | 167 | 0 | 2023-03-06 23:47 | 2023-03-07 23:59 | 2023-03-08 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 159 | 159 | 0 | 2023-03-06 23:47 | 2023-03-07 23:59 | 2023-03-08 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 159 | 159 | 0 | 2023-03-06 23:47 | 2023-03-07 23:59 | 2023-03-08 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 167 | 167 | 0 | 2023-03-06 23:47 | 2023-03-07 23:59 | 2023-03-08 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 159 | 159 | 0 | 2023-03-06 23:47 | 2023-03-07 23:59 | 2023-03-08 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 159 | 159 | 0 | 2023-03-06 23:47 | 2023-03-07 23:59 | 2023-03-08 | Other
MDANP | MDANP_CT1 | Natural Gas | Forced | 232 | 225 | 7 | 2023-03-06 23:54 | 2023-03-07 23:59 | 2023-03-08 | Other
MDANP | MDANP_CT2 | Natural Gas | Forced | 230 | 230 | 0 | 2023-03-06 23:54 | 2023-03-07 23:59 | 2023-03-08 | Other
MDANP | MDANP_CT4 | Natural Gas | Forced | 232 | 232 | 0 | 2023-03-06 23:54 | 2023-03-07 23:59 | 2023-03-08 | Other
MDANP | MDANP_CT5 | Natural Gas | Forced | 244 | 243 | 1 | 2023-03-06 23:54 | 2023-03-07 23:59 | 2023-03-08 | Other
MDANP | MDANP_CT6 | Natural Gas | Forced | 246 | 234 | 12 | 2023-03-06 23:54 | 2023-03-07 23:59 | 2023-03-08 | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced | 75 | 0 | 75 | 2023-03-07 | 2023-03-10 18:00 |  | Tube Leak
MGSES | MGSES_CT2 | Natural Gas | Forced | 66 | 66 | 0 | 2023-03-07 00:06 | 2023-03-07 23:59 | 2023-03-08 | Other
MGSES | MGSES_CT3 | Natural Gas | Forced | 66 | 66 | 0 | 2023-03-07 00:06 | 2023-03-07 23:59 | 2023-03-08 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 94 | 32 | 2023-03-07 00:30 | 2023-03-10 23:59 | 2023-03-07 20:23 | Turbine/Generator Vibration/Repair
BASTEN | BASTEN_GTG1100 | Natural Gas | Forced | 178 | 0 | 178 | 2023-03-07 03:34 | 2023-03-07 23:59 | 2023-03-07 14:36 | Unknown
BASTEN | BASTEN_GTG2100 | Natural Gas | Forced | 178 | 0 | 178 | 2023-03-07 03:34 | 2023-03-07 23:59 | 2023-03-07 14:36 | Unknown
BASTEN | BASTEN_ST0100 | Natural Gas | Forced | 236 | 0 | 236 | 2023-03-07 03:34 | 2023-03-07 23:59 | 2023-03-07 14:36 | Unknown
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-03-07 06:14 | 2023-03-07 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 144 | 20 | 2023-03-07 06:16 | 2023-03-08 23:59 | 2023-03-08 06:11 | Other
ETCCS | ETCCS_CT1 | Natural Gas | Forced | 209 | 206 | 3 | 2023-03-07 06:33 | 2023-03-07 23:59 | 2023-03-08 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 244 | 243 | 1 | 2023-03-07 06:36 | 2023-03-07 23:59 | 2023-03-08 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced | 244 | 243 | 1 | 2023-03-07 06:36 | 2023-03-07 23:59 | 2023-03-08 | Other
GOAT | GOAT_GOATWIN2 | Wind | Maintenance Level 1 | 70 | 22 | 48 | 2023-03-07 07:15 | 2023-03-07 15:15 | 2023-03-07 13:55 | Other
WAP | WAP_WAP_G7 | Bituminous Coal | Forced Extension | 577 | 0 | 577 | 2023-03-07 07:15 | 2023-03-08 17:00 | 2023-03-08 15:51 | Other
SRWE1 | SRWE1_UNIT1 | Wind | Forced | 211 | 98 | 113 | 2023-03-07 07:20 | 2023-03-07 16:00 | 2023-03-07 14:19 | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 132 | 17 | 2023-03-07 07:49 | 2023-03-31 23:59 |  | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 139 | 13 | 2023-03-07 07:49 | 2023-03-31 23:59 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 1 | 153 | 18 | 135 | 2023-03-07 08:00 | 2023-03-07 20:00 | 2023-03-07 20:00 | Other
TRENT | TRENT_TRENT | Wind | Maintenance Level 3 | 38 | 0 | 38 | 2023-03-07 08:00 | 2023-03-07 16:00 | 2023-03-07 12:32 | Other
TRENT | TRENT_UNIT_1B | Wind | Maintenance Level 3 | 16 | 0 | 16 | 2023-03-07 08:00 | 2023-03-07 16:00 | 2023-03-07 12:32 | Other
TRENT | TRENT_UNIT_2 | Wind | Maintenance Level 3 | 50 | 0 | 50 | 2023-03-07 08:00 | 2023-03-07 16:00 | 2023-03-07 12:32 | Other
TRENT | TRENT_UNIT_3A | Wind | Maintenance Level 3 | 38 | 0 | 38 | 2023-03-07 08:00 | 2023-03-07 16:00 | 2023-03-07 12:32 | Other
TRENT | TRENT_UNIT_3B | Wind | Maintenance Level 3 | 14 | 0 | 14 | 2023-03-07 08:00 | 2023-03-07 16:00 | 2023-03-07 12:32 | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Maintenance Level 2 | 50 | 0 | 50 | 2023-03-07 08:10 | 2023-03-07 13:00 | 2023-03-07 14:15 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 66 | 29 | 2023-03-07 08:15 | 2023-03-31 22:00 |  | Turbine/Generator Vibration/Repair
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 124 | 24 | 2023-03-07 08:40 | 2023-03-31 18:00 | 2023-03-07 18:54 | Other
SWOOSE1 | SWOOSE1_SWOOSEU1 | Not Available | Maintenance Level 1 | 10 | 0 | 10 | 2023-03-07 09:00 | 2023-03-07 09:59 | 2023-03-07 09:59 | Other
BAC | BAC_CTG3 | Natural Gas | Maintenance Level 2 | 52 | 0 | 52 | 2023-03-07 09:02 | 2023-04-07 19:00 |  | Other
MDANP | MDANP_CT5 | Natural Gas | Forced | 244 | 0 | 244 | 2023-03-07 09:52 | 2023-03-07 10:30 | 2023-03-07 10:14 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced Extension | 209 | 177 | 32 | 2023-03-07 09:52 | 2023-03-10 23:59 | 2023-03-08 16:50 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 192 | 18 | 2023-03-07 09:52 | 2023-03-07 23:59 | 2023-03-07 12:14 | Other
FLVABES1 | FLVABES1_FLATU1 | Not Available | Maintenance Level 1 | 10 | 0 | 10 | 2023-03-07 10:01 | 2023-03-07 10:59 | 2023-03-07 10:59 | Other
STWF | STWF_T1 | Wind | Forced | 98 | 92 | 6 | 2023-03-07 10:05 | 2023-03-07 23:59 | 2023-03-07 23:59 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 700 | 115 | 2023-03-07 10:16 | 2023-03-07 12:00 | 2023-03-07 11:35 | Fuel Limitation/Lack of Fuel Availability
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 730 | 90 | 2023-03-07 10:17 | 2023-03-07 23:59 | 2023-03-07 19:00 | Other
SKY1 | SKY1_SKY1B | Natural Gas | Forced Extension | 27 | 17 | 10 | 2023-03-07 10:47 | 2023-03-08 21:00 | 2023-03-08 15:52 | Other
SRWE1 | SRWE1_UNIT1 | Wind | Maintenance Level 1 | 211 | 133 | 78 | 2023-03-07 11:00 | 2023-03-07 13:30 | 2023-03-07 13:30 | Other
TRIPBUT1 | TRIPBUT1_BELU1 | Not Available | Maintenance Level 1 | 8 | 0 | 8 | 2023-03-07 11:01 | 2023-03-07 11:59 | 2023-03-07 11:59 | Other
WHMESA | WHMESA_UNIT2_28 | Wind | Forced | 183 | 170 | 13 | 2023-03-07 11:03 | 2023-03-31 23:59 | 2023-03-07 17:01 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 185 | 25 | 2023-03-07 12:14 | 2023-03-07 23:59 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 805 | 10 | 2023-03-07 13:18 | 2023-03-07 22:00 | 2023-03-07 19:00 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 143 | 39 | 2023-03-07 13:21 | 2023-03-31 23:59 |  | Other
AEEC | AEEC_ANTLP_2 | Natural Gas | Forced | 56 | 45 | 11 | 2023-03-07 13:53 | 2023-03-07 23:59 | 2023-03-07 18:34 | Other
PB2SES | PB2SES_CT2 | Natural Gas | Forced | 64 | 0 | 64 | 2023-03-07 14:51 | 2023-03-07 16:00 | 2023-03-07 15:32 | Other
PB2SES | PB2SES_CT3 | Natural Gas | Forced | 64 | 0 | 64 | 2023-03-07 14:51 | 2023-03-07 16:00 | 2023-03-07 15:32 | Other
PB2SES | PB2SES_CT4 | Natural Gas | Forced | 64 | 0 | 64 | 2023-03-07 14:51 | 2023-03-07 16:00 | 2023-03-07 15:32 | Other
PB2SES | PB2SES_CT1 | Natural Gas | Forced | 64 | 0 | 64 | 2023-03-07 14:52 | 2023-03-07 16:00 | 2023-03-07 15:32 | Other
PB2SES | PB2SES_CT5 | Natural Gas | Forced | 65 | 0 | 65 | 2023-03-07 14:52 | 2023-03-07 16:00 | 2023-03-07 15:32 | Other
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 751 | 73 | 2023-03-07 15:09 | 2023-03-07 23:59 | 2023-03-07 20:23 | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 178 | 25 | 2023-03-07 16:45 | 2023-03-31 23:59 | 2023-03-08 09:53 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 745 | 75 | 2023-03-07 18:00 | 2023-03-08 05:59 | 2023-03-08 01:02 | Emissions
PHOEBE | PHOEBE_UNIT1 | Solar | Unavoidable Extension | 125 | 0 | 125 | 2023-03-07 18:30 | 2023-03-08 07:12 | 2023-03-08 09:07 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-03-07 18:54 | 2023-03-31 18:00 | 2023-03-09 13:10 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 135 | 30 | 2023-03-07 18:56 | 2023-03-10 17:00 |  | Turbine/Generator Vibration/Repair
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 745 | 75 | 2023-03-07 19:00 | 2023-03-08 23:59 | 2023-03-08 03:04 | Inlet Air Problems/Repairs
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 775 | 40 | 2023-03-07 19:01 | 2023-03-08 05:59 | 2023-03-07 19:28 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 775 | 40 | 2023-03-07 19:28 | 2023-03-07 22:00 | 2023-03-08 | Emissions
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 785 | 35 | 2023-03-07 19:34 | 2023-03-08 23:59 | 2023-03-08 23:58 | Other
PISGAH | PISGAH_SOLAR1 | Solar | Maintenance Level 3 | 187 | 0 | 187 | 2023-03-07 19:51 | 2023-03-08 04:00 | 2023-03-08 01:34 | Other
PISGAH | PISGAH_SOLAR2 | Solar | Maintenance Level 3 | 64 | 0 | 64 | 2023-03-07 19:51 | 2023-03-08 04:00 | 2023-03-08 01:34 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 2 | 153 | 0 | 153 | 2023-03-07 20:01 | 2023-03-08 07:59 | 2023-03-08 07:59 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 81 | 9 | 2023-03-07 20:23 | 2023-03-10 23:59 | 2023-03-09 02:07 | Turbine/Generator Vibration/Repair
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 117 | 9 | 2023-03-07 20:23 | 2023-03-10 23:59 | 2023-03-09 02:07 | Turbine/Generator Vibration/Repair
2023-03-10 |  |  |  | 2 |  |  |  | 5:03