## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-03-18 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Mar 15, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 226 | 20 | 2022-05-03 17:17 | 2023-04-07 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 503 | 20 | 2022-05-12 18:30 | 2023-03-24 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2022-05-23 11:30 | 2023-05-23 11:29 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-03-31 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-03-31 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-03-31 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-08-18 19:25 | 2023-03-18 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 50 | 96 | 2022-09-19 23:21 | 2023-03-31 18:00 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-03-31 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 768 | 68 | 2022-10-29 11:19 | 2023-03-24 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 90 | 35 | 2022-11-08 12:44 | 2023-05-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 17 | 113 | 2022-11-08 12:44 | 2023-05-31 12:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2022-11-14 09:55 | 2023-03-24 18:00 |  | Feedwater Problems/Repairs
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 181 | 0 | 181 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
DIB | DIB_DIB_G4 | Natural Gas | Unavoidable Extension | 81 | 0 | 81 | 2022-11-25 03:42 | 2023-03-22 16:00 |  | Inlet Air Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 59 | 0 | 59 | 2022-11-30 11:44 | 2023-03-31 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG11 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2022-12-03 14:48 | 2023-03-22 18:00 |  | Other
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 78 | 0 | 78 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced Extension | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-03-31 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 10 | 120 | 2022-12-20 15:00 | 2023-03-31 17:00 | 2023-03-16 14:59 | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 10 | 60 | 2022-12-20 15:00 | 2023-03-31 17:00 | 2023-03-16 14:59 | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-12-23 18:08 | 2023-05-31 23:59 |  | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-03-31 18:00 |  | Cooling Water Problems/Repairs
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1227 | 1232 | 0 | 2022-12-31 23:31 | 2023-06-23 10:00 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1214 | 1210 | 4 | 2022-12-31 23:33 | 2023-04-23 23:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-03-31 13:14 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 246 | 247 | 0 | 2023-01-01 00:01 | 2023-04-17 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced Extension | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-05-01 08:59 |  | Other
DOWGEN | DOWGEN_DOW_G67 | Natural Gas | Unavoidable Extension | 101 | 0 | 101 | 2023-01-03 07:00 | 2023-04-04 21:00 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-01-06 22:44 | 2023-04-01 09:00 |  | Overhaul
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-03-31 09:24 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-03-31 23:59 |  | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 815 | 0 | 2023-02-01 09:53 | 2023-03-23 | 2023-03-16 17:06 | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Forced Extension | 13 | 0 | 13 | 2023-02-01 15:20 | 2023-05-01 10:00 |  | Other
CITYVICT | CITYVICT_CTG02 | Natural Gas | Forced | 47 | 44 | 3 | 2023-02-01 16:15 | 2023-03-15 12:00 | 2023-03-15 11:36 | Fuel Problems/Repairs
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced Extension | 150 | 135 | 15 | 2023-02-03 10:00 | 2023-03-17 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced Extension | 150 | 146 | 4 | 2023-02-03 10:00 | 2023-03-17 16:00 |  | Other
DOWGEN | DOWGEN_DOW_G82 | Natural Gas | Forced Extension | 77 | 0 | 77 | 2023-02-06 13:26 | 2023-03-18 10:00 |  | Other
ROSELAND | ROSELAND_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-06 15:39 | 2023-04-03 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced Extension | 85 | 0 | 85 | 2023-02-06 15:39 | 2023-04-03 18:00 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 101 | 0 | 101 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 99 | 0 | 99 | 2023-02-07 11:50 | 2023-04-17 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 61 | 0 | 61 | 2023-02-07 11:54 | 2023-04-17 23:59 |  | Other
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 114 | 0 | 2023-02-07 15:10 | 2023-03-31 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-05-31 18:00 |  | Lack of Steam Load Availability
THW | THW_THWGT33 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-02-14 00:01 | 2023-03-19 23:59 |  | Transformer Repair/Replace
THW | THW_THWGT34 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-02-14 00:01 | 2023-03-19 23:59 |  | Transformer Repair/Replace
THW | THW_THWST_3 | Natural Gas | Unavoidable Extension | 109 | 55 | 54 | 2023-02-15 13:42 | 2023-03-19 23:59 |  | Transformer Repair/Replace
DCSES | DCSES_BES4 | Other | Forced Extension | 64 | 54 | 10 | 2023-02-15 17:50 | 2023-03-17 23:59 | 2023-03-17 23:59 | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Unavoidable Extension | 214 | 0 | 214 | 2023-02-19 20:00 | 2023-03-30 23:59 |  | Boroscope
NEDIN | NEDIN_NEDIN_G2 | Natural Gas | Unavoidable Extension | 214 | 0 | 214 | 2023-02-19 20:00 | 2023-03-30 23:59 |  | Boroscope
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Unavoidable Extension | 255 | 0 | 255 | 2023-02-19 20:00 | 2023-03-30 23:59 |  | Boroscope
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced Extension | 201 | 186 | 15 | 2023-02-20 05:28 | 2023-03-31 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-03-31 20:50 |  | Exhaust Problems/Repairs
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 83 | 75 | 8 | 2023-02-21 13:55 | 2023-03-31 23:59 |  | Inlet Air Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-03-31 16:00 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 93 | 8 | 2023-02-24 20:14 | 2023-03-22 22:00 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 173 | 7 | 2023-02-26 10:10 | 2023-03-18 23:58 |  | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced Extension | 149 | 135 | 14 | 2023-02-26 12:23 | 2023-03-21 18:00 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 121 | 29 | 2023-02-26 21:22 | 2023-03-31 23:27 |  | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2023-02-27 05:51 | 2024-02-26 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 191 | 11 | 2023-02-27 06:48 | 2023-12-31 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 181 | 1 | 2023-02-27 06:57 | 2023-03-31 23:59 | 2023-03-15 10:25 | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 149 | 3 | 2023-02-27 07:00 | 2023-03-31 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 88 | 15 | 2023-02-27 07:01 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 129 | 4 | 2023-02-27 07:02 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced | 14 | 13 | 1 | 2023-02-27 07:03 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 180 | 17 | 2023-02-27 07:23 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 118 | 34 | 2023-02-27 07:23 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT3 | Wind | Forced | 149 | 149 | 0 | 2023-02-27 07:25 | 2023-03-31 23:59 |  | Other
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced Extension | 68 | 52 | 16 | 2023-02-27 08:14 | 2023-03-18 15:05 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 89 | 20 | 2023-02-27 15:42 | 2023-03-31 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 96 | 13 | 2023-02-27 15:42 | 2023-03-31 23:59 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 175 | 9 | 2023-02-28 05:46 | 2023-03-31 22:59 |  | Other
JAY | JAY_UNIT1 | Solar | Forced | 180 | 85 | 95 | 2023-02-28 20:35 | 2023-03-31 | 2023-03-15 09:30 | Other
JAY | JAY_UNIT2 | Solar | Forced | 172 | 115 | 57 | 2023-02-28 20:35 | 2023-03-31 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 4 | 19 | 2023-02-28 21:35 | 2023-12-28 21:35 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 3 | 180 | 46 | 134 | 2023-03-01 06:00 | 2023-03-15 19:00 | 2023-03-15 19:00 | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 3 | 172 | 46 | 126 | 2023-03-01 06:00 | 2023-03-15 19:00 | 2023-03-15 09:22 | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 139 | 11 | 2023-03-01 08:34 | 2023-03-31 23:59 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 14 | 41 | 2023-03-01 09:48 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 45 | 3 | 2023-03-01 09:50 | 2023-12-28 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Unavoidable Extension | 391 | 0 | 391 | 2023-03-01 14:04 | 2023-04-30 23:59 |  | Overhaul
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 130 | 5 | 2023-03-01 14:11 | 2023-03-31 23:59 | 2023-03-16 22:05 | Other
AZ | AZ_AZ_G4 | Natural Gas | Forced Extension | 36 | 0 | 36 | 2023-03-01 14:53 | 2023-03-31 23:59 |  | Other
BYRDR_ES | BYRDR_ES_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-01 18:50 | 2023-03-20 23:59 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 60 | 20 | 2023-03-01 22:32 | 2023-03-31 23:59 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 57 | 96 | 2023-03-02 11:07 | 2023-03-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 50 | 97 | 2023-03-02 11:07 | 2023-03-31 23:59 |  | Turbine/Generator Vibration/Repair
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 102 | 19 | 2023-03-02 15:30 | 2023-12-31 23:59 | 2023-03-17 13:38 | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 15 | 135 | 2023-03-02 22:42 | 2023-03-31 18:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-03-02 22:43 | 2023-03-31 18:00 |  | Other
CBY4 | CBY4_CT42 | Natural Gas | Unavoidable Extension | 168 | 0 | 168 | 2023-03-03 | 2023-04-30 23:59 |  | Combustion Inspection and Repair
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 79 | 13 | 2023-03-03 06:27 | 2023-03-31 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 73 | 13 | 2023-03-03 06:31 | 2023-03-31 23:59 |  | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 80 | 12 | 2023-03-03 09:29 | 2023-03-31 23:59 |  | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 83 | 42 | 2023-03-03 13:43 | 2023-03-22 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 82 | 43 | 2023-03-03 13:43 | 2023-03-22 18:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 83 | 42 | 2023-03-03 13:43 | 2023-03-22 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 82 | 43 | 2023-03-03 13:43 | 2023-03-22 18:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 144 | 25 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 143 | 26 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 132 | 18 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 136 | 14 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
CCEC | CCEC_GT1 | Natural Gas | Unavoidable Extension | 139 | 0 | 139 | 2023-03-03 22:00 | 2023-03-20 22:00 | 2023-03-17 18:40 | Boroscope
CCEC | CCEC_ST1 | Natural Gas | Unavoidable Extension | 139 | 0 | 139 | 2023-03-03 22:00 | 2023-03-20 22:00 |  | Other
CCEC | CCEC_ST1 | Natural Gas | Unavoidable Extension | 139 | 30 | 109 | 2023-03-03 22:00 | 2023-03-20 22:00 | 2023-03-17 18:40 | Boroscope
TNP_ONE | TNP_ONE_TNP_O_1 | Lignite | Maintenance Level 3 | 155 | 0 | 155 | 2023-03-04 01:00 | 2023-04-07 23:59 |  | Other
KING_SE | KING_SE_KINGSE | Wind | Forced | 41 | 28 | 13 | 2023-03-04 08:46 | 2023-03-31 23:59 |  | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 610 | 53 | 2023-03-04 18:10 | 2023-03-31 23:59 |  | Inlet Air Problems/Repairs
MYR | MYR_UNIT2 | Solar | Maintenance Level 2 | 146 | 9 | 137 | 2023-03-06 08:00 | 2023-03-31 17:00 |  | Other
VERAWIND | VERAWIND_UNIT5 | Wind | Forced Extension | 101 | 97 | 4 | 2023-03-06 10:34 | 2023-03-27 17:00 |  | Other
BULLCRK | BULLCRK_WND1 | Wind | Forced Extension | 88 | 60 | 28 | 2023-03-06 13:45 | 2023-03-18 17:00 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced Extension | 90 | 60 | 30 | 2023-03-06 13:45 | 2023-03-18 17:00 |  | Other
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 118 | 10 | 2023-03-06 15:54 | 2023-03-31 23:59 | 2023-03-17 02:31 | Other
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-03-06 17:00 | 2023-03-20 21:00 |  | Other
TAV | TAV_UNIT1 | Solar | Maintenance Level 2 | 144 | 20 | 124 | 2023-03-06 17:00 | 2023-04-30 12:00 |  | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 105 | 15 | 2023-03-06 17:20 | 2023-03-18 18:00 | 2023-03-15 04:50 | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-03-07 | 2023-03-23 18:00 |  | Tube Leak
BAC | BAC_CTG3 | Natural Gas | Maintenance Level 2 | 52 | 0 | 52 | 2023-03-07 09:02 | 2023-04-07 19:00 |  | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced Extension | 110 | 100 | 10 | 2023-03-08 10:29 | 2023-03-31 23:59 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 90 | 25 | 2023-03-08 10:35 | 2023-03-15 23:59 | 2023-03-15 20:28 | Turbine/Generator Vibration/Repair
EXN | EXN_EXN_G8 | Natural Gas | Maintenance Level 1 | 35 | 0 | 35 | 2023-03-08 14:00 | 2023-04-02 12:00 |  | Other
AEEC | AEEC_ELK_1 | Natural Gas | Forced Extension | 195 | 0 | 195 | 2023-03-08 14:35 | 2023-03-17 23:59 | 2023-03-18 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 176 | 10 | 2023-03-08 21:08 | 2023-03-15 23:00 | 2023-03-15 11:17 | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-05-12 17:00 |  | Other
DECKER | DECKER_DPGT_2 | Natural Gas | Maintenance Level 1 | 50 | 0 | 50 | 2023-03-09 00:25 | 2023-03-18 23:59 | 2023-03-16 12:01 | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced | 143 | 138 | 5 | 2023-03-09 08:00 | 2023-04-28 16:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced | 116 | 112 | 4 | 2023-03-09 08:00 | 2023-04-28 16:00 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 100 | 22 | 2023-03-09 08:00 | 2023-05-26 16:00 |  | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 107 | 26 | 2023-03-09 12:40 | 2023-03-31 23:59 | 2023-03-17 18:08 | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 48 | 2 | 2023-03-09 16:31 | 2023-04-09 16:31 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 197 | 147 | 50 | 2023-03-09 17:16 | 2023-03-17 23:59 | 2023-03-15 16:20 | Feedwater Problems/Repairs
NEBULA | NEBULA_UNIT1 | Solar | Forced Extension | 138 | 134 | 4 | 2023-03-09 18:00 | 2023-03-24 18:00 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 50 | 50 | 2023-03-09 18:48 | 2023-03-17 19:00 | 2023-03-17 05:57 | Turbine/Generator Vibration/Repair
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 55 | 25 | 2023-03-09 20:41 | 2023-03-31 23:59 |  | Other
DDPEC | DDPEC_GT1 | Natural Gas | Unavoidable Extension | 190 | 0 | 190 | 2023-03-10 09:52 | 2023-03-20 23:59 |  | Tube Leak
WHTTAIL | WHTTAIL_WR1 | Wind | Forced | 113 | 45 | 68 | 2023-03-10 10:08 | 2023-03-31 23:59 |  | Other
RADN_SLR | RADN_SLR_UNIT1 | Solar | Forced | 159 | 159 | 0 | 2023-03-10 11:20 | 2023-03-31 18:00 |  | Other
DEC | DEC_AGR_A | Natural Gas | Forced | 56 | 52 | 4 | 2023-03-10 11:53 | 2023-03-25 23:59 |  | Combustion Inspection and Repair
SWEC | SWEC_G1 | Wind | Forced Extension | 120 | 106 | 14 | 2023-03-10 12:34 | 2023-03-20 18:00 | 2023-03-15 20:46 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 135 | 28 | 2023-03-10 12:46 | 2023-03-18 17:00 |  | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 66 | 36 | 2023-03-10 14:54 | 2023-03-17 20:00 | 2023-03-17 06:00 | Turbine/Generator Vibration/Repair
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 102 | 18 | 2023-03-10 15:18 | 2023-03-17 18:00 | 2023-03-17 06:02 | Turbine/Generator Vibration/Repair
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced | 100 | 93 | 7 | 2023-03-10 16:54 | 2023-03-17 20:00 | 2023-03-17 06:09 | Turbine/Generator Vibration/Repair
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 104 | 11 | 2023-03-10 17:31 | 2023-03-24 17:30 |  | Other
CABEZON | CABEZON_WIND2 | Wind | Forced | 122 | 112 | 10 | 2023-03-10 17:31 | 2023-03-17 17:30 | 2023-03-16 08:56 | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 210 | 3 | 2023-03-10 22:02 | 2023-03-31 23:59 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 116 | 15 | 2023-03-11 11:10 | 2023-03-23 18:00 |  | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 60 | 15 | 2023-03-11 12:18 | 2023-03-15 23:49 | 2023-03-15 09:45 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 56 | 39 | 2023-03-11 22:10 | 2023-03-31 22:00 | 2023-03-16 10:58 | Turbine/Generator Vibration/Repair
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 220 | 12 | 2023-03-11 23:33 | 2023-03-31 23:59 |  | Other
LARDVFTN | LARDVFTN_G5 | Natural Gas | Unavoidable Extension | 90 | 0 | 90 | 2023-03-12 00:01 | 2023-03-22 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG2 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2023-03-12 01:24 | 2023-03-20 17:00 |  | Unknown
GUNMTN | GUNMTN_G1 | Wind | Forced | 120 | 112 | 8 | 2023-03-12 13:57 | 2023-03-20 13:58 | 2023-03-17 01:01 | Unknown
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 138 | 25 | 2023-03-12 16:34 | 2023-03-31 18:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 129 | 22 | 2023-03-13 05:40 | 2023-03-19 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 129 | 22 | 2023-03-13 05:40 | 2023-03-19 18:00 |  | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 124 | 37 | 2023-03-13 06:23 | 2023-03-16 18:00 | 2023-03-16 06:43 | Turbine/Generator Vibration/Repair
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 125 | 24 | 2023-03-13 07:51 | 2023-03-31 23:59 | 2023-03-15 16:37 | Other
WEC | WEC_WECG1 | Wind | Unavoidable Extension | 57 | 0 | 57 | 2023-03-13 08:00 | 2023-03-17 23:59 | 2023-03-16 15:37 | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 88 | 15 | 2023-03-13 08:19 | 2023-03-31 23:59 | 2023-03-16 06:48 | Other
UCC_COGN | UCC_COGN_UCC_C_2 | Blast-Furnace Gas | Forced Extension | 15 | 0 | 15 | 2023-03-13 12:35 | 2023-03-17 08:59 | 2023-03-17 08:59 | Lack of Steam Load Availability
WH_WIND | WH_WIND_UNIT1 | Wind | Forced Extension | 209 | 174 | 35 | 2023-03-13 12:40 | 2023-03-15 23:59 | 2023-03-15 23:59 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 104 | 22 | 2023-03-13 13:07 | 2023-04-09 13:00 | 2023-03-16 09:43 | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 145 | 6 | 2023-03-13 13:27 | 2023-03-20 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 89 | 9 | 2023-03-13 13:27 | 2023-03-20 14:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 83 | 41 | 2023-03-13 14:40 | 2023-04-28 16:00 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 138 | 0 | 2023-03-13 15:49 | 2023-03-31 23:59 |  | Other
KING_SW | KING_SW_KINGSW | Wind | Forced | 80 | 63 | 17 | 2023-03-13 20:55 | 2023-03-31 23:59 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 182 | 91 | 91 | 2023-03-13 21:00 | 2023-04-30 23:59 |  | Turbine/Generator Vibration/Repair
TXCTY | TXCTY_CTB | Natural Gas | Unavoidable Extension | 101 | 0 | 101 | 2023-03-13 22:05 | 2023-03-19 23:59 |  | Boroscope
TXCTY | TXCTY_ST | Natural Gas | Unavoidable Extension | 132 | 90 | 42 | 2023-03-13 22:05 | 2023-03-19 23:59 |  | Boroscope
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 153 | 11 | 2023-03-14 | 2023-03-19 23:59 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 770 | 50 | 2023-03-14 | 2023-03-18 | 2023-03-16 08:06 | Other
THW | THW_THWGT43 | Natural Gas | Maintenance Level 2 | 56 | 0 | 56 | 2023-03-14 00:01 | 2023-03-15 23:59 | 2023-03-15 23:59 | Tube Leak
THW | THW_THWST_4 | Natural Gas | Maintenance Level 2 | 109 | 80 | 29 | 2023-03-14 00:01 | 2023-03-15 23:59 | 2023-03-15 23:59 | Tube Leak
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 76 | 14 | 2023-03-14 00:22 | 2023-03-20 23:59 |  | Turbine/Generator Vibration/Repair
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 103 | 23 | 2023-03-14 00:23 | 2023-03-20 23:59 |  | Turbine/Generator Vibration/Repair
TXCTY | TXCTY_CTA | Natural Gas | Forced | 101 | 60 | 41 | 2023-03-14 03:48 | 2023-03-15 23:59 | 2023-03-15 08:38 | Lack of Steam Load Availability
TXCTY | TXCTY_CTC | Natural Gas | Forced | 101 | 60 | 41 | 2023-03-14 03:48 | 2023-03-15 23:59 | 2023-03-15 08:38 | Lack of Steam Load Availability
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 138 | 6 | 2023-03-14 05:57 | 2023-03-21 18:00 | 2023-03-15 23:29 | Unknown
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 138 | 6 | 2023-03-14 05:57 | 2023-03-21 18:00 | 2023-03-15 23:29 | Unknown
NACPW | NACPW_UNIT1 | Wood/Wood Waste Solids | Maintenance Level 3 | 105 | 0 | 105 | 2023-03-14 08:00 | 2023-03-16 17:00 | 2023-03-15 17:23 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 820 | 755 | 65 | 2023-03-14 08:01 | 2023-03-15 | 2023-03-15 | Emissions
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 0 | 150 | 2023-03-14 08:08 | 2023-03-15 16:00 | 2023-03-15 16:00 | Other
JCKCNTY2 | JCKCNTY2_CT3 | Natural Gas | Forced Extension | 165 | 0 | 165 | 2023-03-14 08:44 | 2023-03-22 23:59 |  | Other
JCKCNTY2 | JCKCNTY2_CT4 | Natural Gas | Forced Extension | 165 | 165 | 0 | 2023-03-14 08:44 | 2023-03-22 23:59 |  | Other
JCKCNTY2 | JCKCNTY2_ST2 | Natural Gas | Forced Extension | 294 | 135 | 159 | 2023-03-14 08:44 | 2023-03-22 23:59 |  | Other
RHESS2 | RHESS2_ESS_1 | Other | Forced | 10 | 8 | 2 | 2023-03-14 10:49 | 2023-03-24 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG10 | Natural Gas | Forced Extension | 79 | 0 | 79 | 2023-03-14 10:50 | 2023-03-22 17:00 |  | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced Extension | 145 | 100 | 45 | 2023-03-14 11:39 | 2023-03-15 23:59 | 2023-03-15 23:59 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 150 | 45 | 2023-03-14 13:09 | 2023-03-16 23:59 | 2023-03-15 10:12 | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 44 | 2 | 2023-03-14 14:10 | 2023-03-24 12:00 |  | Other
PEARSAL2 | PEARSAL2_AGR_A | Natural Gas | Forced Extension | 51 | 33 | 18 | 2023-03-14 15:20 | 2023-03-16 16:00 | 2023-03-16 13:25 | Other
STWF | STWF_T1 | Wind | Forced | 98 | 88 | 10 | 2023-03-14 15:31 | 2023-03-16 23:59 | 2023-03-16 18:25 | Other
SSPURTWO | SSPURTWO_SS3WIND1 | Wind | Forced | 96 | 84 | 12 | 2023-03-14 15:48 | 2023-03-17 12:00 | 2023-03-17 12:00 | Other
SSPURTWO | SSPURTWO_SS3WIND2 | Wind | Forced | 98 | 90 | 8 | 2023-03-14 15:48 | 2023-03-17 12:00 | 2023-03-16 22:07 | Other
GIDEON | GIDEON_GIDEONG3 | Natural Gas | Maintenance Level 1 | 336 | 0 | 336 | 2023-03-14 16:03 | 2023-03-16 | 2023-03-16 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 149 | 33 | 2023-03-14 17:30 | 2023-03-31 23:59 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 130 | 35 | 2023-03-14 17:50 | 2023-03-17 17:00 | 2023-03-15 14:48 | Turbine/Generator Vibration/Repair
IMPACT | IMPACT_UNIT1 | Solar | Forced | 199 | 159 | 40 | 2023-03-14 17:50 | 2023-03-15 06:00 | 2023-03-15 01:34 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 1 | 153 | 0 | 153 | 2023-03-14 20:01 | 2023-03-15 07:59 | 2023-03-15 07:59 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Maintenance Level 1 | 149 | 0 | 149 | 2023-03-14 20:01 | 2023-03-15 07:59 | 2023-03-15 07:59 | Other
EGROVESL | EGROVESL_UNIT1 | Solar | Unavoidable Extension | 108 | 0 | 108 | 2023-03-14 20:03 | 2023-03-20 18:00 |  | Other
B_DAVIS | B_DAVIS_B_DAVIG2 | Natural Gas | Maintenance Level 1 | 322 | 154 | 168 | 2023-03-15 | 2023-03-16 | 2023-03-15 16:52 | Fuel Problems/Repairs
B_DAVIS | B_DAVIS_B_DAVIG3 | Natural Gas | Maintenance Level 1 | 161 | 0 | 161 | 2023-03-15 | 2023-03-16 | 2023-03-15 16:52 | Fuel Problems/Repairs
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 161 | 143 | 18 | 2023-03-15 | 2023-03-15 23:59 | 2023-03-15 23:40 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 153 | 136 | 17 | 2023-03-15 | 2023-03-15 23:59 | 2023-03-15 23:40 | Other
CSEC | CSEC_CSECG2 | Wind | Forced | 120 | 92 | 28 | 2023-03-15 04:50 | 2023-03-22 18:00 | 2023-03-15 20:45 | Other
JAY | JAY_UNIT1 | Solar | Forced | 180 | 51 | 129 | 2023-03-15 06:00 | 2023-03-16 19:00 | 2023-03-16 19:00 | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2023-03-15 06:01 | 2023-03-15 23:59 | 2023-03-15 11:50 | Turbine/Generator Vibration/Repair
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 363 | 461 | 2023-03-15 07:00 | 2023-03-15 23:59 | 2023-03-15 14:21 | Feedwater Problems/Repairs
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 167 | 156 | 11 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 159 | 149 | 10 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 159 | 149 | 10 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 167 | 157 | 10 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 159 | 148 | 11 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 159 | 148 | 11 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 161 | 151 | 10 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 153 | 142 | 11 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 153 | 142 | 11 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 161 | 150 | 11 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced | 165 | 154 | 11 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 156 | 146 | 10 | 2023-03-15 07:18 | 2023-03-15 23:59 | 2023-03-15 23:42 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 1 | 153 | 9 | 144 | 2023-03-15 08:00 | 2023-03-15 20:00 | 2023-03-15 20:00 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Maintenance Level 1 | 149 | 9 | 140 | 2023-03-15 08:00 | 2023-03-15 20:00 | 2023-03-15 20:00 | Other
BAC | BAC_CTG6 | Natural Gas | Maintenance Level 2 | 54 | 0 | 54 | 2023-03-15 09:00 | 2023-03-15 15:00 | 2023-03-15 15:00 | Cooling Water Problems/Repairs
AZURE | AZURE_SOLAR2 | Solar | Forced | 154 | 106 | 48 | 2023-03-15 09:48 | 2023-03-15 22:00 | 2023-03-15 22:00 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 150 | 45 | 2023-03-15 10:05 | 2023-03-17 | 2023-03-16 10:47 | Other
DNDAM | DNDAM_DENISOG1 | Water | Forced | 50 | 0 | 50 | 2023-03-15 10:10 | 2023-03-15 19:00 | 2023-03-15 18:30 | Other
DNDAM | DNDAM_DENISOG2 | Water | Forced | 50 | 0 | 50 | 2023-03-15 10:10 | 2023-03-15 19:00 | 2023-03-15 18:30 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 655 | 200 | 2023-03-15 10:15 | 2023-03-15 17:00 | 2023-03-15 13:25 | Fuel Limitation/Lack of Fuel Availability
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 134 | 14 | 2023-03-15 10:19 | 2023-03-31 18:00 | 2023-03-16 05:59 | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 171 | 11 | 2023-03-15 10:26 | 2023-03-31 23:59 |  | Other
WCPP | WCPP_CT2 | Natural Gas | Forced | 244 | 0 | 244 | 2023-03-15 10:46 | 2023-03-19 22:59 |  | Exhaust Problems/Repairs
WCPP | WCPP_ST1 | Natural Gas | Forced | 298 | 130 | 168 | 2023-03-15 10:46 | 2023-03-19 22:59 |  | Exhaust Problems/Repairs
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-03-15 11:18 | 2023-03-17 23:59 | 2023-03-17 08:23 | Other
RATLIFF | RATLIFF_SOLAR1 | Solar | Forced Extension | 160 | 0 | 160 | 2023-03-15 13:45 | 2023-03-16 12:00 | 2023-03-16 08:30 | Other
PYR | PYR_PYRON2 | Wind | Forced | 128 | 125 | 3 | 2023-03-15 14:18 | 2023-06-30 17:00 |  | Other
BOSQUESW | BOSQUESW_BSQSU_1 | Natural Gas | Forced | 162 | 0 | 162 | 2023-03-15 14:39 | 2023-03-15 18:00 | 2023-03-15 15:22 | Other
BOSQUESW | BOSQUESW_BSQSU_5 | Natural Gas | Forced | 222 | 110 | 112 | 2023-03-15 14:39 | 2023-03-15 18:00 | 2023-03-15 15:22 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 120 | 45 | 2023-03-15 14:48 | 2023-03-18 17:00 |  | Turbine/Generator Vibration/Repair
CHAMPION | CHAMPION_UNIT1 | Wind | Forced | 127 | 99 | 28 | 2023-03-15 15:14 | 2023-03-17 17:00 | 2023-03-17 07:18 | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 136 | 13 | 2023-03-15 16:37 | 2023-03-31 23:59 |  | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Maintenance Level 2 | 163 | 96 | 67 | 2023-03-15 19:30 | 2023-03-15 22:00 | 2023-03-15 19:55 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 2 | 153 | 0 | 153 | 2023-03-15 20:01 | 2023-03-16 07:59 | 2023-03-16 07:59 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Maintenance Level 2 | 149 | 0 | 149 | 2023-03-15 20:01 | 2023-03-16 07:59 | 2023-03-16 07:59 | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 85 | 30 | 2023-03-15 20:28 | 2023-03-31 23:59 |  | Turbine/Generator Vibration/Repair
CSEC | CSEC_CSECG2 | Wind | Forced | 120 | 105 | 15 | 2023-03-15 20:45 | 2023-03-22 18:00 |  | Other
LV5 | LV5_UNIT_1 | Wind | Forced | 110 | 80 | 30 | 2023-03-15 21:28 | 2023-03-16 18:00 | 2023-03-15 21:38 | Other
LV5 | LV5_UNIT_1 | Wind | Forced | 110 | 50 | 60 | 2023-03-15 21:37 | 2023-03-16 18:00 | 2023-03-16 02:54 | Other
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 131 | 13 | 2023-03-15 23:19 | 2023-03-21 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 131 | 13 | 2023-03-15 23:19 | 2023-03-21 18:00 |  | Other
THW | THW_THWGT43 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-03-15 23:59 | 2023-03-16 19:00 | 2023-03-16 17:30 | Tube Leak
THW | THW_THWST_4 | Natural Gas | Unavoidable Extension | 109 | 52 | 57 | 2023-03-15 23:59 | 2023-03-16 19:00 | 2023-03-16 17:30 | Tube Leak
2023-03-18 |  |  |  | 2 |  |  |  | 5:03