## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-03-26 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Mar 23, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 226 | 20 | 2022-05-03 17:17 | 2023-04-07 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 503 | 20 | 2022-05-12 18:30 | 2023-03-24 23:59 | 2023-03-24 23:59 | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2022-05-23 11:30 | 2023-05-23 11:29 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-03-31 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-03-31 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-03-31 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-08-18 19:25 | 2023-03-30 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 50 | 96 | 2022-09-19 23:21 | 2023-03-31 18:00 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-05-17 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 768 | 68 | 2022-10-29 11:19 | 2023-03-27 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 90 | 35 | 2022-11-08 12:44 | 2023-05-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 17 | 113 | 2022-11-08 12:44 | 2023-05-31 12:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-03-31 23:59 |  | Exhaust Problems/Repairs
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2022-11-14 09:55 | 2023-03-31 18:00 |  | Feedwater Problems/Repairs
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 181 | 0 | 181 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
DIB | DIB_DIB_G4 | Natural Gas | Unavoidable Extension | 81 | 0 | 81 | 2022-11-25 03:42 | 2023-03-23 23:59 | 2023-03-23 23:04 | Inlet Air Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 59 | 0 | 59 | 2022-11-30 11:44 | 2023-03-31 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG11 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2022-12-03 14:48 | 2023-03-27 18:00 | 2023-03-26 00:38 | Other
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 78 | 0 | 78 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2022-12-09 12:56 | 2023-03-31 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced Extension | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-03-31 17:00 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-12-23 18:08 | 2023-05-31 23:59 |  | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-03-31 18:00 |  | Cooling Water Problems/Repairs
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 246 | 247 | 0 | 2023-01-01 00:01 | 2023-04-17 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced Extension | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-05-01 08:59 |  | Other
DOWGEN | DOWGEN_DOW_G67 | Natural Gas | Unavoidable Extension | 101 | 0 | 101 | 2023-01-03 07:00 | 2023-04-04 21:00 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-01-06 22:44 | 2023-04-01 09:00 |  | Overhaul
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-03-31 09:24 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-03-31 23:59 |  | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Forced Extension | 13 | 0 | 13 | 2023-02-01 15:20 | 2023-05-01 10:00 |  | Other
ROSELAND | ROSELAND_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-06 15:39 | 2023-04-03 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced Extension | 85 | 0 | 85 | 2023-02-06 15:39 | 2023-04-03 18:00 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 101 | 0 | 101 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced Extension | 99 | 0 | 99 | 2023-02-07 11:50 | 2023-09-30 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced Extension | 61 | 0 | 61 | 2023-02-07 11:54 | 2023-09-30 23:59 |  | Other
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 114 | 0 | 2023-02-07 15:10 | 2023-03-31 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-05-31 18:00 |  | Lack of Steam Load Availability
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Unavoidable Extension | 214 | 0 | 214 | 2023-02-19 20:00 | 2023-04-02 23:59 |  | Boroscope
NEDIN | NEDIN_NEDIN_G2 | Natural Gas | Unavoidable Extension | 214 | 0 | 214 | 2023-02-19 20:00 | 2023-04-02 23:59 |  | Boroscope
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Unavoidable Extension | 255 | 0 | 255 | 2023-02-19 20:00 | 2023-04-02 23:59 |  | Boroscope
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced Extension | 201 | 186 | 15 | 2023-02-20 05:28 | 2023-03-31 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-03-31 20:50 |  | Exhaust Problems/Repairs
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 83 | 75 | 8 | 2023-02-21 13:55 | 2023-03-31 23:59 |  | Inlet Air Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-03-31 16:00 |  | Other
CBEC | CBEC_GT11 | Natural Gas | Forced | 39 | 0 | 39 | 2023-02-23 16:28 | 2023-04-21 17:00 |  | Other
CBEC | CBEC_GT12 | Natural Gas | Forced | 39 | 0 | 39 | 2023-02-24 12:24 | 2023-04-21 17:00 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 93 | 8 | 2023-02-24 20:14 | 2023-03-28 22:00 | 2023-03-24 21:30 | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced Extension | 149 | 135 | 14 | 2023-02-26 12:23 | 2023-03-27 18:00 | 2023-03-25 01:52 | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2023-02-27 05:51 | 2024-02-26 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 191 | 11 | 2023-02-27 06:48 | 2023-12-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 149 | 3 | 2023-02-27 07:00 | 2023-03-31 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 88 | 15 | 2023-02-27 07:01 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 129 | 4 | 2023-02-27 07:02 | 2023-03-31 23:59 |  | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced | 14 | 13 | 1 | 2023-02-27 07:03 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 180 | 17 | 2023-02-27 07:23 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 118 | 34 | 2023-02-27 07:23 | 2023-03-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT3 | Wind | Forced | 149 | 149 | 0 | 2023-02-27 07:25 | 2023-03-31 23:59 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 89 | 20 | 2023-02-27 15:42 | 2023-03-31 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 96 | 13 | 2023-02-27 15:42 | 2023-03-31 23:59 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 175 | 9 | 2023-02-28 05:46 | 2023-03-31 22:59 |  | Other
JAY | JAY_UNIT2 | Solar | Forced | 172 | 115 | 57 | 2023-02-28 20:35 | 2023-03-31 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 4 | 19 | 2023-02-28 21:35 | 2023-12-28 21:35 |  | Other
VICTORIA | VICTORIA_VICTORG6 | Natural Gas | Unavoidable Extension | 171 | 0 | 171 | 2023-03-01 00:01 | 2023-03-25 23:59 | 2023-03-25 23:59 | Overhaul
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 139 | 11 | 2023-03-01 08:34 | 2023-03-31 23:59 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 14 | 41 | 2023-03-01 09:48 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 45 | 3 | 2023-03-01 09:50 | 2023-12-28 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Unavoidable Extension | 391 | 0 | 391 | 2023-03-01 14:04 | 2023-04-30 23:59 |  | Overhaul
AZ | AZ_AZ_G4 | Natural Gas | Forced Extension | 36 | 0 | 36 | 2023-03-01 14:53 | 2023-03-31 23:59 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 60 | 20 | 2023-03-01 22:32 | 2023-03-31 23:59 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 57 | 96 | 2023-03-02 11:07 | 2023-03-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 50 | 97 | 2023-03-02 11:07 | 2023-03-31 23:59 |  | Turbine/Generator Vibration/Repair
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 15 | 135 | 2023-03-02 22:42 | 2023-03-31 18:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-03-02 22:43 | 2023-03-31 18:00 |  | Other
CBY4 | CBY4_CT42 | Natural Gas | Unavoidable Extension | 168 | 0 | 168 | 2023-03-03 | 2023-04-30 23:59 |  | Combustion Inspection and Repair
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 79 | 13 | 2023-03-03 06:27 | 2023-03-31 23:59 | 2023-03-24 14:10 | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 80 | 12 | 2023-03-03 09:29 | 2023-03-31 23:59 |  | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 83 | 42 | 2023-03-03 13:43 | 2023-03-29 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 82 | 43 | 2023-03-03 13:43 | 2023-03-29 18:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 83 | 42 | 2023-03-03 13:43 | 2023-03-29 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 82 | 43 | 2023-03-03 13:43 | 2023-03-29 18:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 144 | 25 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 143 | 26 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 132 | 18 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 136 | 14 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
LOSTPI | LOSTPI_LOSTPST1 | Natural Gas | Unavoidable Extension | 192 | 0 | 192 | 2023-03-04 | 2023-03-31 23:00 |  | Other
LEG | LEG_LEG_G2 | Lignite | Unavoidable Extension | 836 | 0 | 836 | 2023-03-04 00:01 | 2023-03-27 23:59 |  | Other
TNP_ONE | TNP_ONE_TNP_O_1 | Lignite | Maintenance Level 3 | 155 | 0 | 155 | 2023-03-04 01:00 | 2023-04-07 23:59 |  | Other
KING_SE | KING_SE_KINGSE | Wind | Forced | 41 | 28 | 13 | 2023-03-04 08:46 | 2023-03-31 23:59 |  | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 610 | 53 | 2023-03-04 18:10 | 2023-03-31 23:59 |  | Inlet Air Problems/Repairs
MYR | MYR_UNIT2 | Solar | Maintenance Level 2 | 146 | 9 | 137 | 2023-03-06 08:00 | 2023-03-31 17:00 |  | Other
VERAWIND | VERAWIND_UNIT5 | Wind | Forced Extension | 101 | 97 | 4 | 2023-03-06 10:34 | 2023-03-27 17:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-03-06 17:00 | 2023-03-27 21:00 |  | Other
TAV | TAV_UNIT1 | Solar | Maintenance Level 2 | 144 | 20 | 124 | 2023-03-06 17:00 | 2023-04-30 12:00 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-03-07 | 2023-03-30 18:00 |  | Tube Leak
BAC | BAC_CTG3 | Natural Gas | Maintenance Level 2 | 52 | 0 | 52 | 2023-03-07 09:02 | 2023-04-07 19:00 |  | Other
WHCCS2 | WHCCS2_CT4 | Natural Gas | Unavoidable Extension | 331 | 0 | 331 | 2023-03-08 00:01 | 2023-03-24 17:30 | 2023-03-24 17:30 | Other
WHCCS2 | WHCCS2_CT5 | Natural Gas | Unavoidable Extension | 331 | 0 | 331 | 2023-03-08 00:01 | 2023-03-25 13:00 | 2023-03-24 13:00 | Other
WHCCS2 | WHCCS2_STG6 | Natural Gas | Unavoidable Extension | 457 | 0 | 457 | 2023-03-08 00:01 | 2023-03-24 17:30 | 2023-03-24 17:30 | Other
EXN | EXN_EXN_G8 | Natural Gas | Maintenance Level 1 | 35 | 0 | 35 | 2023-03-08 14:00 | 2023-04-02 12:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-05-12 17:00 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced | 143 | 138 | 5 | 2023-03-09 08:00 | 2023-04-28 16:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced | 116 | 112 | 4 | 2023-03-09 08:00 | 2023-04-28 16:00 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 100 | 22 | 2023-03-09 08:00 | 2023-05-26 16:00 |  | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 48 | 2 | 2023-03-09 16:31 | 2023-04-09 16:31 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced Extension | 138 | 134 | 4 | 2023-03-09 18:00 | 2023-03-31 18:00 |  | Other
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 55 | 25 | 2023-03-09 20:41 | 2023-03-31 23:59 |  | Other
RADN_SLR | RADN_SLR_UNIT1 | Solar | Forced | 159 | 159 | 0 | 2023-03-10 11:20 | 2023-03-31 18:00 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 135 | 28 | 2023-03-10 12:46 | 2023-03-31 18:00 |  | Other
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 104 | 11 | 2023-03-10 17:31 | 2023-03-31 17:30 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 210 | 3 | 2023-03-10 22:02 | 2023-03-31 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 220 | 12 | 2023-03-11 23:33 | 2023-03-31 23:59 |  | Other
LARDVFTN | LARDVFTN_G5 | Natural Gas | Unavoidable Extension | 90 | 0 | 90 | 2023-03-12 00:01 | 2023-03-26 23:59 | 2023-03-24 15:34 | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 138 | 25 | 2023-03-12 16:34 | 2023-03-31 18:00 |  | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced Extension | 151 | 145 | 6 | 2023-03-13 13:27 | 2023-03-27 14:00 | 2023-03-24 17:45 | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced Extension | 98 | 89 | 9 | 2023-03-13 13:27 | 2023-03-27 14:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 83 | 41 | 2023-03-13 14:40 | 2023-04-28 16:00 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 138 | 0 | 2023-03-13 15:49 | 2023-03-31 23:59 |  | Other
KING_SW | KING_SW_KINGSW | Wind | Forced | 80 | 63 | 17 | 2023-03-13 20:55 | 2023-03-31 23:59 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 182 | 91 | 91 | 2023-03-13 21:00 | 2023-04-30 23:59 |  | Turbine/Generator Vibration/Repair
RHESS2 | RHESS2_ESS_1 | Other | Forced Extension | 10 | 8 | 2 | 2023-03-14 10:49 | 2023-03-31 23:59 |  | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced Extension | 46 | 44 | 2 | 2023-03-14 14:10 | 2023-03-31 12:00 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 149 | 33 | 2023-03-14 17:30 | 2023-03-31 23:59 | 2023-03-24 11:40 | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 171 | 11 | 2023-03-15 10:26 | 2023-03-31 23:59 |  | Other
PYR | PYR_PYRON2 | Wind | Forced | 128 | 125 | 3 | 2023-03-15 14:18 | 2023-06-30 17:00 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 131 | 13 | 2023-03-15 23:19 | 2023-03-27 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 131 | 13 | 2023-03-15 23:19 | 2023-03-27 18:00 |  | Other
STEAM | STEAM_STEAM_2 | Natural Gas | Unavoidable Extension | 22 | 0 | 22 | 2023-03-16 | 2023-04-01 22:00 |  | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 148 | 13 | 2023-03-16 04:43 | 2023-03-23 20:00 | 2023-03-23 12:08 | Turbine/Generator Vibration/Repair
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 84 | 19 | 2023-03-16 06:47 | 2023-03-31 23:59 | 2023-03-23 14:09 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 100 | 26 | 2023-03-16 09:43 | 2023-04-09 13:00 |  | Other
SILASRAY | SILASRAY_SILAS_10 | Natural Gas | Forced | 46 | 39 | 7 | 2023-03-16 10:00 | 2023-03-31 23:59 |  | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced | 96 | 86 | 10 | 2023-03-16 22:32 | 2023-03-31 23:59 | 2023-03-24 14:05 | Other
GUNMTN | GUNMTN_G1 | Wind | Forced Extension | 120 | 102 | 18 | 2023-03-17 00:30 | 2023-03-29 18:00 |  | Other
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 101 | 27 | 2023-03-17 02:31 | 2023-03-31 23:59 |  | Other
TTWEC | TTWEC_G1 | Wind | Forced | 170 | 160 | 10 | 2023-03-17 04:06 | 2023-03-24 18:00 | 2023-03-23 14:57 | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced | 100 | 91 | 9 | 2023-03-17 04:10 | 2023-03-23 20:00 | 2023-03-23 12:11 | Turbine/Generator Vibration/Repair
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-03-17 07:20 | 2023-03-30 18:00 |  | Other
DDPEC | DDPEC_GT6 | Natural Gas | Forced Extension | 174 | 0 | 174 | 2023-03-17 07:27 | 2023-03-24 23:59 | 2023-03-24 14:38 | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-03-17 13:39 | 2023-03-31 23:59 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Forced | 161 | 0 | 161 | 2023-03-17 17:00 | 2023-03-27 23:59 | 2023-03-25 18:30 | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced | 323 | 150 | 173 | 2023-03-17 17:00 | 2023-03-27 23:59 | 2023-03-25 18:30 | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 12 | 138 | 2023-03-17 20:00 | 2023-04-17 20:00 |  | Other
TNSKA | TNSKA_GT1 | Natural Gas | Maintenance Level 3 | 86 | 0 | 86 | 2023-03-18 | 2023-04-07 23:59 |  | Other
TNSKA | TNSKA_STG | Natural Gas | Unavoidable Extension | 87 | 65 | 22 | 2023-03-18 | 2023-03-24 23:59 | 2023-03-24 23:59 | Other
MCLNSLR | MCLNSLR_UNIT1 | Solar | Forced | 200 | 178 | 22 | 2023-03-18 17:56 | 2023-03-25 19:00 | 2023-03-24 14:16 | Other
OECCS | OECCS_CT12 | Natural Gas | Unavoidable Extension | 156 | 0 | 156 | 2023-03-19 00:01 | 2023-03-28 08:59 |  | Overhaul
OECCS | OECCS_UNIT1 | Natural Gas | Unavoidable Extension | 206 | 0 | 206 | 2023-03-19 00:01 | 2023-03-28 08:59 |  | Overhaul
MASSENGL | MASSENGL_G8 | Natural Gas | Forced Extension | 38 | 12 | 26 | 2023-03-19 08:41 | 2023-06-01 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 78 | 8 | 2023-03-19 11:21 | 2023-03-31 23:59 | 2023-03-24 22:03 | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 129 | 22 | 2023-03-19 14:10 | 2023-03-25 18:00 |  | Unknown
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 129 | 22 | 2023-03-19 14:10 | 2023-03-25 18:00 |  | Unknown
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1227 | 1225 | 2 | 2023-03-19 18:39 | 2023-04-23 23:59 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1214 | 1207 | 7 | 2023-03-19 18:39 | 2023-04-23 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced Extension | 90 | 72 | 18 | 2023-03-19 19:54 | 2023-04-01 23:59 | 2023-03-24 10:39 | Turbine/Generator Vibration/Repair
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced Extension | 126 | 99 | 27 | 2023-03-19 19:57 | 2023-04-01 23:59 |  | Turbine/Generator Vibration/Repair
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 95 | 20 | 2023-03-19 19:58 | 2023-03-31 23:59 |  | Turbine/Generator Vibration/Repair
CCEC | CCEC_GT1 | Natural Gas | Forced Extension | 139 | 0 | 139 | 2023-03-19 22:30 | 2023-03-27 23:59 |  | Other
SANDHSYD | SANDHSYD_SH6 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-20 | 2023-04-07 23:59 |  | Other
SANDHSYD | SANDHSYD_SH7 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-20 | 2023-04-07 23:59 |  | Other
CCEC | CCEC_ST1 | Natural Gas | Forced Extension | 139 | 30 | 109 | 2023-03-20 00:01 | 2023-03-27 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
TRSES | TRSES_UNIT6 | Natural Gas | Forced | 235 | 0 | 235 | 2023-03-20 00:01 | 2023-03-29 23:59 |  | Overhaul
DCSES | DCSES_BES4 | Other | Forced | 64 | 60 | 4 | 2023-03-20 07:19 | 2023-03-27 16:29 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-20 10:00 | 2023-05-15 19:00 |  | Boroscope
BYU | BYU_BYU_G3 | Natural Gas | Forced Extension | 85 | 0 | 85 | 2023-03-20 10:20 | 2023-04-30 23:59 |  | Tube Leak
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 131 | 19 | 2023-03-20 10:37 | 2023-03-31 23:59 |  | Other
MIL | MIL_MILLERG2 | Natural Gas | Forced Extension | 120 | 0 | 120 | 2023-03-20 13:00 | 2023-03-30 23:59 |  | Fuel Problems/Repairs
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 52 | 48 | 2023-03-20 18:23 | 2023-03-24 20:00 | 2023-03-24 06:33 | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 72 | 30 | 2023-03-20 18:24 | 2023-03-24 20:00 | 2023-03-24 06:33 | Turbine/Generator Vibration/Repair
TXCTY | TXCTY_CTA | Natural Gas | Unavoidable Extension | 101 | 0 | 101 | 2023-03-20 20:26 | 2023-03-29 10:00 |  | Boroscope
TXCTY | TXCTY_ST | Natural Gas | Unavoidable Extension | 132 | 90 | 42 | 2023-03-20 20:26 | 2023-03-29 10:00 |  | Boroscope
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced Extension | 161 | 151 | 10 | 2023-03-20 22:29 | 2023-03-29 22:52 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 48 | 47 | 2023-03-20 22:50 | 2023-03-24 22:00 | 2023-03-23 20:33 | Other
EGROVESL | EGROVESL_UNIT1 | Solar | Forced Extension | 108 | 105 | 3 | 2023-03-21 07:50 | 2023-03-27 20:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-03-21 08:30 | 2023-03-28 18:00 |  | Other
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced Extension | 68 | 41 | 27 | 2023-03-21 09:17 | 2023-03-31 16:30 | 2023-03-25 08:53 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 188 | 21 | 2023-03-21 09:30 | 2023-03-23 | 2023-03-23 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 184 | 26 | 2023-03-21 09:30 | 2023-03-23 | 2023-03-23 | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 107 | 24 | 2023-03-21 09:36 | 2023-03-24 18:00 | 2023-03-23 15:03 | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 96 | 24 | 2023-03-21 09:36 | 2023-03-29 18:00 |  | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced Extension | 195 | 145 | 50 | 2023-03-21 09:38 | 2023-03-25 | 2023-03-23 22:50 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 176 | 10 | 2023-03-21 14:19 | 2023-03-27 23:00 |  | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 110 | 35 | 2023-03-21 14:35 | 2023-03-23 | 2023-03-23 | Other
STWF | STWF_T1 | Wind | Forced Extension | 98 | 82 | 16 | 2023-03-21 14:35 | 2023-03-24 | 2023-03-24 | Other
STWF | STWF_T1 | Wind | Forced Extension | 98 | 82 | 16 | 2023-03-21 14:35 | 2023-03-27 17:00 | 2023-03-25 19:55 | Other
VICTPORT | VICTPORT_CTG01 | Natural Gas | Forced | 47 | 0 | 47 | 2023-03-21 16:00 | 2023-04-21 19:00 |  | Combustion Inspection and Repair
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 90 | 30 | 2023-03-21 16:20 | 2023-03-24 20:00 | 2023-03-24 06:32 | Turbine/Generator Vibration/Repair
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 153 | 11 | 2023-03-21 16:55 | 2023-03-25 23:59 | 2023-03-26 01:59 | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 105 | 5 | 2023-03-21 18:16 | 2023-03-31 23:59 | 2023-03-24 08:23 | Other
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced Extension | 50 | 28 | 22 | 2023-03-21 21:19 | 2023-03-24 17:59 | 2023-03-24 17:59 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 125 | 40 | 2023-03-21 21:28 | 2023-03-31 17:00 |  | Unknown
RAB | RAB_UNIT2 | Natural Gas | Forced | 45 | 0 | 45 | 2023-03-21 22:00 | 2023-03-23 23:59 | 2023-03-23 19:05 | Other
THW | THW_THWGT44 | Natural Gas | Maintenance Level 3 | 56 | 0 | 56 | 2023-03-22 00:01 | 2023-04-01 23:59 |  | Combustion Inspection and Repair
THW | THW_THWST_4 | Natural Gas | Unavoidable Extension | 109 | 55 | 54 | 2023-03-22 00:01 | 2023-04-01 23:59 |  | Combustion Inspection and Repair
CHALUPA | CHALUPA_UNIT1 | Wind | Forced Extension | 173 | 160 | 13 | 2023-03-22 01:30 | 2023-03-27 22:00 | 2023-03-23 18:15 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-03-22 02:00 | 2023-03-31 18:00 | 2023-03-23 20:10 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 820 | 805 | 15 | 2023-03-22 05:04 | 2023-03-28 22:06 |  | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 131 | 17 | 2023-03-22 07:54 | 2023-03-31 18:00 | 2023-03-23 20:10 | Other
MYR | MYR_UNIT1 | Solar | Maintenance Level 1 | 167 | 9 | 158 | 2023-03-22 08:00 | 2023-04-28 17:00 |  | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 129 | 23 | 2023-03-22 08:49 | 2023-03-31 18:00 | 2023-03-24 08:13 | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Maintenance Level 1 | 83 | 0 | 83 | 2023-03-22 10:12 | 2023-04-25 16:00 |  | Overhaul
BIG_STAR | BIG_STAR_UNIT1 | Solar | Maintenance Level 1 | 130 | 40 | 90 | 2023-03-22 15:00 | 2023-04-14 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Maintenance Level 1 | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-04-14 17:00 |  | Other
RADN_SLR | RADN_SLR_UNIT1 | Solar | Unavoidable Extension | 159 | 120 | 39 | 2023-03-22 19:30 | 2023-03-23 23:00 | 2023-03-23 20:44 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 2 | 153 | 0 | 153 | 2023-03-22 20:01 | 2023-03-23 07:59 | 2023-03-23 07:59 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Maintenance Level 2 | 149 | 0 | 149 | 2023-03-22 20:01 | 2023-03-23 07:59 | 2023-03-23 07:59 | Other
LMAJADAS | LMAJADAS_UNIT1 | Wind | Forced | 110 | 27 | 83 | 2023-03-22 22:45 | 2023-03-23 23:59 | 2023-03-23 22:09 | Other
LMAJADAS | LMAJADAS_UNIT2 | Wind | Forced | 24 | 1 | 23 | 2023-03-22 22:45 | 2023-03-23 23:59 | 2023-03-23 22:09 | Other
LMAJADAS | LMAJADAS_UNIT3 | Wind | Forced | 139 | 46 | 93 | 2023-03-22 22:45 | 2023-03-23 23:59 | 2023-03-23 22:09 | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 131 | 32 | 2023-03-22 23:21 | 2023-03-23 23:00 | 2023-03-23 20:44 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 167 | 136 | 31 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 159 | 139 | 20 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 159 | 139 | 20 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 167 | 145 | 22 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 159 | 139 | 20 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 159 | 138 | 21 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced Extension | 161 | 136 | 25 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced Extension | 153 | 129 | 24 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 153 | 133 | 20 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 161 | 140 | 21 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced Extension | 244 | 212 | 32 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced Extension | 244 | 212 | 32 | 2023-03-22 23:48 | 2023-03-24 23:59 | 2023-03-24 12:01 | Other
LILY | LILY_BESS1 | Not Available | Maintenance Level 1 | 52 | 0 | 52 | 2023-03-23 04:14 | 2023-03-23 07:00 | 2023-03-23 07:13 | Other
LILY | LILY_SOLAR1 | Solar | Maintenance Level 1 | 148 | 98 | 50 | 2023-03-23 04:14 | 2023-03-23 07:00 | 2023-03-23 07:13 | Other
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced | 785 | 0 | 785 | 2023-03-23 05:59 | 2023-03-27 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 2 | 180 | 67 | 113 | 2023-03-23 06:00 | 2023-03-24 19:00 | 2023-03-24 11:59 | Other
CHAMPION | CHAMPION_UNIT1 | Wind | Maintenance Level 1 | 127 | 99 | 28 | 2023-03-23 07:40 | 2023-03-23 12:00 | 2023-03-23 11:19 | Other
TXCTY | TXCTY_CTB | Natural Gas | Forced | 101 | 0 | 101 | 2023-03-23 07:49 | 2023-03-23 11:00 | 2023-03-23 09:03 | Unknown
BCK | BCK_UNIT1 | Solar | Maintenance Level 2 | 218 | 192 | 26 | 2023-03-23 08:00 | 2023-03-23 17:00 | 2023-03-23 15:55 | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 2 | 221 | 136 | 85 | 2023-03-23 08:00 | 2023-03-23 17:00 | 2023-03-23 15:55 | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 129 | 4 | 2023-03-23 08:00 | 2023-03-31 23:59 | 2023-03-23 11:06 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 1 | 153 | 9 | 144 | 2023-03-23 08:00 | 2023-03-23 20:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Maintenance Level 1 | 149 | 9 | 140 | 2023-03-23 08:00 | 2023-03-23 20:00 |  | Other
FLVABES1 | FLVABES1_FLATU1 | Not Available | Maintenance Level 1 | 10 | 8 | 2 | 2023-03-23 08:00 | 2023-03-23 16:00 | 2023-03-23 16:00 | Other
TYLRWIND | TYLRWIND_UNIT1 | Wind | Forced | 126 | 0 | 126 | 2023-03-23 08:13 | 2023-03-25 23:59 | 2023-03-23 09:55 | Other
THW | THW_THWGT32 | Natural Gas | Forced Extension | 56 | 0 | 56 | 2023-03-23 08:18 | 2023-03-23 23:59 | 2023-03-23 11:06 | Turbine/Generator Vibration/Repair
THW | THW_THWST_3 | Natural Gas | Forced Extension | 109 | 82 | 27 | 2023-03-23 08:18 | 2023-03-23 23:59 | 2023-03-23 11:06 | Turbine/Generator Vibration/Repair
MADERO | MADERO_UNIT2 | Not Available | Maintenance Level 2 | 100 | 50 | 50 | 2023-03-23 08:20 | 2023-03-23 14:00 | 2023-03-23 14:17 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-03-23 09:35 | 2023-03-31 18:00 | 2023-03-23 20:10 | Other
TYLRWIND | TYLRWIND_UNIT1 | Wind | Forced | 126 | 93 | 33 | 2023-03-23 09:56 | 2023-03-25 18:00 | 2023-03-23 14:08 | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 121 | 12 | 2023-03-23 11:07 | 2023-03-31 23:59 | 2023-03-23 15:16 | Other
PSA | PSA_PSA_G1 | Natural Gas | Forced | 65 | 0 | 65 | 2023-03-23 11:30 | 2023-03-23 23:59 | 2023-03-23 12:59 | Unknown
PSA | PSA_PSA_G2 | Natural Gas | Forced | 66 | 0 | 66 | 2023-03-23 11:30 | 2023-03-23 23:59 | 2023-03-23 20:42 | Unknown
PSA | PSA_PSA_G7 | Purchased Steam | Forced | 118 | 0 | 118 | 2023-03-23 11:30 | 2023-03-23 23:59 | 2023-03-23 20:42 | Unknown
PSG | PSG_PSG_GT3 | Natural Gas | Forced Extension | 170 | 0 | 170 | 2023-03-23 11:54 | 2023-03-23 23:59 | 2023-03-23 17:58 | Emissions
PSG | PSG_PSG_ST2 | Natural Gas | Forced Extension | 168 | 85 | 83 | 2023-03-23 11:54 | 2023-03-23 23:59 | 2023-03-23 17:58 | Emissions
PENA | PENA_UNIT1 | Wind | Forced | 161 | 151 | 10 | 2023-03-23 12:09 | 2023-03-27 18:00 |  | Turbine/Generator Vibration/Repair
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced | 100 | 90 | 10 | 2023-03-23 12:12 | 2023-03-27 18:00 |  | Transformer Repair/Replace
TAV | TAV_UNIT1 | Solar | Forced | 144 | 43 | 101 | 2023-03-23 12:35 | 2023-03-31 22:00 |  | Other
TYLRWIND | TYLRWIND_UNIT1 | Wind | Forced Extension | 126 | 0 | 126 | 2023-03-23 14:08 | 2023-03-24 23:59 | 2023-03-24 04:59 | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 90 | 13 | 2023-03-23 14:09 | 2023-03-31 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 115 | 16 | 2023-03-23 15:04 | 2023-03-29 18:00 | 2023-03-24 14:20 | Other
LEON_CRK | LEON_CRK_LCPCT2 | Natural Gas | Forced | 46 | 0 | 46 | 2023-03-23 17:17 | 2023-03-24 23:59 | 2023-03-23 21:34 | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 0 | 749 | 2023-03-23 17:37 | 2023-03-25 12:00 | 2023-03-25 11:58 | Turbine/Generator Vibration/Repair
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 134 | 14 | 2023-03-23 20:10 | 2023-03-31 18:00 | 2023-03-24 11:39 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 2 | 153 | 0 | 153 | 2023-03-23 20:23 | 2023-03-24 07:59 | 2023-03-24 07:59 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Maintenance Level 2 | 149 | 0 | 149 | 2023-03-23 20:23 | 2023-03-24 07:59 | 2023-03-24 07:59 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 56 | 39 | 2023-03-23 20:34 | 2023-03-27 22:00 | 2023-03-24 20:35 | Other
LONEWOLF | LONEWOLF_G3 | Wind | Forced | 26 | 2 | 24 | 2023-03-23 21:13 | 2023-03-24 18:00 | 2023-03-24 04:43 | Other
PRSPERO2 | PRSPERO2_UNIT1 | Solar | Unavoidable Extension | 127 | 0 | 127 | 2023-03-23 21:30 | 2023-03-24 16:00 | 2023-03-24 14:55 | Other
PRSPERO2 | PRSPERO2_UNIT2 | Solar | Unavoidable Extension | 126 | 0 | 126 | 2023-03-23 21:30 | 2023-03-27 20:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced | 536 | 454 | 82 | 2023-03-23 22:56 | 2023-03-24 23:59 | 2023-03-24 00:11 | Fuel Problems/Repairs
2023-03-26 |  |  |  | 2 |  |  |  | 5:03