## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-03-31 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Mar 28, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 226 | 20 | 2022-05-03 17:17 | 2023-04-07 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2022-05-23 11:30 | 2023-05-23 11:29 | 2023-03-28 23:59 | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-04-16 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-04-30 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-04-30 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-08-18 19:25 | 2023-04-04 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-04-07 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 50 | 96 | 2022-09-19 23:21 | 2023-03-31 18:00 | 2023-03-30 19:14 | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-05-17 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-04-30 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 90 | 35 | 2022-11-08 12:44 | 2023-05-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 17 | 113 | 2022-11-08 12:44 | 2023-05-31 12:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-04-30 23:59 |  | Exhaust Problems/Repairs
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2022-11-14 09:55 | 2023-03-31 18:00 | 2023-03-30 19:14 | Feedwater Problems/Repairs
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 181 | 0 | 181 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 55 | 0 | 55 | 2022-11-30 11:44 | 2023-03-31 23:59 |  | Other
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2022-12-09 12:56 | 2023-04-04 23:59 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 78 | 0 | 78 | 2022-12-09 12:56 | 2023-04-04 23:59 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2022-12-09 12:56 | 2023-04-04 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced Extension | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-03-31 17:00 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-12-23 18:08 | 2023-05-31 23:59 |  | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-03-31 18:00 |  | Cooling Water Problems/Repairs
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 246 | 247 | 0 | 2023-01-01 00:01 | 2023-04-17 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced Extension | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-05-01 08:59 |  | Other
DOWGEN | DOWGEN_DOW_G67 | Natural Gas | Unavoidable Extension | 101 | 0 | 101 | 2023-01-03 07:00 | 2023-04-05 21:00 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-01-06 22:44 | 2023-04-01 09:00 |  | Overhaul
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-06-30 08:24 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-04-30 23:59 |  | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Forced Extension | 13 | 0 | 13 | 2023-02-01 15:20 | 2023-05-01 10:00 |  | Other
ROSELAND | ROSELAND_BESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-02-06 15:39 | 2023-04-03 18:00 |  | Other
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced Extension | 85 | 0 | 85 | 2023-02-06 15:39 | 2023-04-03 18:00 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 101 | 0 | 101 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced Extension | 99 | 0 | 99 | 2023-02-07 11:50 | 2023-09-30 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced Extension | 61 | 0 | 61 | 2023-02-07 11:54 | 2023-09-30 23:59 |  | Other
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 114 | 0 | 2023-02-07 15:10 | 2023-04-30 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-05-31 18:00 |  | Lack of Steam Load Availability
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Unavoidable Extension | 214 | 0 | 214 | 2023-02-19 20:00 | 2023-04-05 22:00 |  | Boroscope
NEDIN | NEDIN_NEDIN_G2 | Natural Gas | Unavoidable Extension | 214 | 0 | 214 | 2023-02-19 20:00 | 2023-04-05 22:00 |  | Boroscope
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Unavoidable Extension | 255 | 0 | 255 | 2023-02-19 20:00 | 2023-04-05 22:00 |  | Boroscope
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced Extension | 201 | 186 | 15 | 2023-02-20 05:28 | 2023-04-30 23:59 | 2023-03-28 21:44 | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-04-14 23:59 |  | Exhaust Problems/Repairs
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 83 | 75 | 8 | 2023-02-21 13:55 | 2023-04-30 23:59 |  | Inlet Air Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-04-28 16:00 |  | Other
CBEC | CBEC_GT11 | Natural Gas | Forced | 39 | 0 | 39 | 2023-02-23 16:28 | 2023-04-21 17:00 |  | Other
CBEC | CBEC_GT12 | Natural Gas | Forced | 39 | 0 | 39 | 2023-02-24 12:24 | 2023-04-21 17:00 |  | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2023-02-27 05:51 | 2024-02-26 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 191 | 11 | 2023-02-27 06:48 | 2023-12-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced Extension | 152 | 149 | 3 | 2023-02-27 07:00 | 2023-04-30 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 88 | 15 | 2023-02-27 07:01 | 2023-03-31 23:59 | 2023-03-28 08:27 | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 129 | 4 | 2023-02-27 07:02 | 2023-04-30 23:59 |  | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-02-27 07:03 | 2023-04-30 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 180 | 17 | 2023-02-27 07:23 | 2023-03-31 23:59 | 2023-03-28 11:33 | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced Extension | 152 | 118 | 34 | 2023-02-27 07:23 | 2023-04-30 23:59 |  | Other
YNG_WND | YNG_WND_UNIT3 | Wind | Forced Extension | 149 | 149 | 0 | 2023-02-27 07:25 | 2023-04-30 23:59 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced Extension | 184 | 175 | 9 | 2023-02-28 05:46 | 2023-04-30 23:59 |  | Other
JAY | JAY_UNIT2 | Solar | Forced Extension | 172 | 115 | 57 | 2023-02-28 20:35 | 2023-03-31 12:00 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 4 | 19 | 2023-02-28 21:35 | 2023-12-28 21:35 |  | Other
AZ | AZ_AZ_G3 | Natural Gas | Unavoidable Extension | 36 | 0 | 36 | 2023-03-01 00:01 | 2023-04-30 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced Extension | 150 | 139 | 11 | 2023-03-01 08:34 | 2023-04-30 23:59 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 14 | 41 | 2023-03-01 09:48 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 45 | 3 | 2023-03-01 09:50 | 2023-12-28 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Unavoidable Extension | 391 | 0 | 391 | 2023-03-01 14:04 | 2023-04-30 23:59 |  | Overhaul
AZ | AZ_AZ_G4 | Natural Gas | Forced Extension | 36 | 0 | 36 | 2023-03-01 14:53 | 2023-03-31 23:59 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced Extension | 80 | 60 | 20 | 2023-03-01 22:32 | 2023-04-30 23:59 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 57 | 96 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 50 | 97 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 15 | 135 | 2023-03-02 22:42 | 2023-03-31 18:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-03-02 22:43 | 2023-03-31 18:00 |  | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Unavoidable Extension | 412 | 0 | 412 | 2023-03-03 | 2023-03-28 23:59 | 2023-03-28 20:40 | Overhaul
CBY4 | CBY4_CT42 | Natural Gas | Unavoidable Extension | 168 | 0 | 168 | 2023-03-03 | 2023-04-30 23:59 |  | Combustion Inspection and Repair
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Unavoidable Extension | 109 | 0 | 109 | 2023-03-03 09:00 | 2023-06-30 23:55 |  | Overhaul
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced Extension | 92 | 80 | 12 | 2023-03-03 09:29 | 2023-04-30 23:59 |  | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 83 | 42 | 2023-03-03 13:43 | 2023-04-10 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 82 | 43 | 2023-03-03 13:43 | 2023-04-10 18:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 83 | 42 | 2023-03-03 13:43 | 2023-04-10 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 82 | 43 | 2023-03-03 13:43 | 2023-04-10 18:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 144 | 25 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 143 | 26 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 132 | 18 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 136 | 14 | 2023-03-03 17:00 | 2023-04-07 16:00 |  | Other
LOSTPI | LOSTPI_LOSTPST1 | Natural Gas | Unavoidable Extension | 192 | 0 | 192 | 2023-03-04 | 2023-04-03 23:00 |  | Other
TNP_ONE | TNP_ONE_TNP_O_1 | Lignite | Maintenance Level 3 | 155 | 0 | 155 | 2023-03-04 01:00 | 2023-04-07 23:59 |  | Other
KING_SE | KING_SE_KINGSE | Wind | Forced Extension | 41 | 28 | 13 | 2023-03-04 08:46 | 2023-04-30 23:59 |  | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 610 | 53 | 2023-03-04 18:10 | 2023-04-30 23:59 |  | Inlet Air Problems/Repairs
MYR | MYR_UNIT2 | Solar | Maintenance Level 2 | 146 | 9 | 137 | 2023-03-06 08:00 | 2023-03-31 17:00 |  | Other
VERAWIND | VERAWIND_UNIT5 | Wind | Forced Extension | 101 | 97 | 4 | 2023-03-06 10:34 | 2023-04-03 17:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-03-06 17:00 | 2023-04-02 21:00 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-03-07 | 2023-03-30 18:00 | 2023-03-30 07:00 | Tube Leak
BAC | BAC_CTG3 | Natural Gas | Maintenance Level 2 | 52 | 0 | 52 | 2023-03-07 09:02 | 2023-04-07 19:00 |  | Other
EXN | EXN_EXN_G8 | Natural Gas | Maintenance Level 1 | 35 | 0 | 35 | 2023-03-08 14:00 | 2023-04-02 12:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-05-12 17:00 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced | 143 | 138 | 5 | 2023-03-09 08:00 | 2023-04-28 16:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced | 116 | 112 | 4 | 2023-03-09 08:00 | 2023-04-28 16:00 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 100 | 22 | 2023-03-09 08:00 | 2023-05-26 16:00 |  | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 48 | 2 | 2023-03-09 16:31 | 2023-04-09 16:31 |  | Other
KING_NW | KING_NW_KINGNW | Wind | Forced Extension | 80 | 55 | 25 | 2023-03-09 20:41 | 2023-04-30 23:59 | 2023-03-28 23:58 | Other
RADN_SLR | RADN_SLR_UNIT1 | Solar | Forced | 159 | 159 | 0 | 2023-03-10 11:20 | 2023-03-31 18:00 | 2023-03-28 15:50 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 135 | 28 | 2023-03-10 12:46 | 2023-03-31 18:00 | 2023-03-30 09:07 | Other
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 104 | 11 | 2023-03-10 17:31 | 2023-03-31 17:30 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 210 | 3 | 2023-03-10 22:02 | 2023-04-30 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 220 | 12 | 2023-03-11 23:33 | 2023-04-30 23:59 |  | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 138 | 25 | 2023-03-12 16:34 | 2023-03-31 18:00 | 2023-03-28 15:50 | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 83 | 41 | 2023-03-13 14:40 | 2023-04-28 16:00 | 2023-03-29 10:50 | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 138 | 0 | 2023-03-13 15:49 | 2023-04-30 23:59 | 2023-03-30 10:05 | Other
KING_SW | KING_SW_KINGSW | Wind | Forced Extension | 80 | 63 | 17 | 2023-03-13 20:55 | 2023-04-30 23:59 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 182 | 91 | 91 | 2023-03-13 21:00 | 2023-04-30 23:59 |  | Turbine/Generator Vibration/Repair
TXCTY | TXCTY_ST | Natural Gas | Unavoidable Extension | 132 | 0 | 132 | 2023-03-13 22:05 | 2023-03-31 23:59 |  | Turbine/Generator Vibration/Repair
RHESS2 | RHESS2_ESS_1 | Other | Forced Extension | 10 | 8 | 2 | 2023-03-14 10:49 | 2023-04-07 23:59 |  | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced Extension | 46 | 44 | 2 | 2023-03-14 14:10 | 2023-03-31 12:00 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 171 | 11 | 2023-03-15 10:26 | 2023-04-30 23:59 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 131 | 13 | 2023-03-15 23:19 | 2023-04-01 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 131 | 13 | 2023-03-15 23:19 | 2023-04-01 18:00 |  | Other
STEAM | STEAM_STEAM_2 | Natural Gas | Unavoidable Extension | 22 | 0 | 22 | 2023-03-16 | 2023-04-01 22:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 100 | 26 | 2023-03-16 09:43 | 2023-04-09 13:00 |  | Other
SILASRAY | SILASRAY_SILAS_10 | Natural Gas | Forced | 46 | 39 | 7 | 2023-03-16 10:00 | 2023-03-31 23:59 |  | Other
GUNMTN | GUNMTN_G1 | Wind | Forced Extension | 120 | 102 | 18 | 2023-03-17 00:30 | 2023-03-29 18:00 | 2023-03-29 15:15 | Other
TORR | TORR_UNIT2_25 | Wind | Forced Extension | 128 | 101 | 27 | 2023-03-17 02:31 | 2023-04-30 23:59 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-03-17 07:20 | 2023-03-31 18:00 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-03-17 13:39 | 2023-03-31 23:59 | 2023-03-28 23:59 | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 12 | 138 | 2023-03-17 20:00 | 2023-04-17 20:00 |  | Other
TNSKA | TNSKA_GT1 | Natural Gas | Maintenance Level 3 | 86 | 0 | 86 | 2023-03-18 | 2023-04-07 23:59 |  | Other
CVC | CVC_CVC_G1 | Natural Gas | Unavoidable Extension | 181 | 0 | 181 | 2023-03-18 00:01 | 2023-04-26 23:59 |  | Other
OECCS | OECCS_CT11 | Natural Gas | Unavoidable Extension | 165 | 0 | 165 | 2023-03-19 00:01 | 2023-03-30 11:00 | 2023-03-30 13:00 | Overhaul
OECCS | OECCS_CT12 | Natural Gas | Unavoidable Extension | 156 | 0 | 156 | 2023-03-19 00:01 | 2023-03-29 08:00 | 2023-03-29 08:00 | Overhaul
OECCS | OECCS_UNIT1 | Natural Gas | Unavoidable Extension | 206 | 0 | 206 | 2023-03-19 00:01 | 2023-03-29 08:00 | 2023-03-29 08:00 | Overhaul
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1227 | 1225 | 2 | 2023-03-19 18:39 | 2023-04-23 23:59 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1214 | 1207 | 7 | 2023-03-19 18:39 | 2023-04-23 23:59 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 95 | 20 | 2023-03-19 19:58 | 2023-03-31 23:59 | 2023-03-28 08:52 | Turbine/Generator Vibration/Repair
CCEC | CCEC_GT1 | Natural Gas | Forced Extension | 139 | 0 | 139 | 2023-03-19 22:30 | 2023-04-17 10:00 |  | Other
SANDHSYD | SANDHSYD_SH6 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-20 | 2023-04-07 23:59 |  | Other
SANDHSYD | SANDHSYD_SH7 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-20 | 2023-04-07 23:59 |  | Other
CCEC | CCEC_ST1 | Natural Gas | Forced Extension | 139 | 30 | 109 | 2023-03-20 00:01 | 2023-04-17 10:00 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
CITYVICT | CITYVICT_CTG01 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-20 10:00 | 2023-05-15 19:00 |  | Boroscope
BYU | BYU_BYU_G3 | Natural Gas | Forced Extension | 85 | 0 | 85 | 2023-03-20 10:20 | 2023-04-30 23:59 |  | Tube Leak
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced Extension | 150 | 131 | 19 | 2023-03-20 10:37 | 2023-04-30 23:59 |  | Other
MIL | MIL_MILLERG2 | Natural Gas | Forced Extension | 120 | 0 | 120 | 2023-03-20 13:00 | 2023-03-30 23:59 | 2023-03-28 17:56 | Fuel Problems/Repairs
TXCTY | TXCTY_CTA | Natural Gas | Unavoidable Extension | 101 | 0 | 101 | 2023-03-20 20:26 | 2023-03-31 23:59 |  | Boroscope
TXCTY | TXCTY_ST | Natural Gas | Unavoidable Extension | 132 | 90 | 42 | 2023-03-20 20:26 | 2023-03-31 23:59 |  | Boroscope
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced Extension | 161 | 151 | 10 | 2023-03-20 22:29 | 2023-03-31 23:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-03-21 08:30 | 2023-03-28 18:00 |  | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 96 | 24 | 2023-03-21 09:36 | 2023-04-05 18:00 |  | Other
VICTPORT | VICTPORT_CTG01 | Natural Gas | Forced | 47 | 0 | 47 | 2023-03-21 16:00 | 2023-04-21 19:00 |  | Combustion Inspection and Repair
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 125 | 40 | 2023-03-21 21:28 | 2023-03-31 17:00 | 2023-03-29 07:08 | Unknown
THW | THW_THWGT44 | Natural Gas | Maintenance Level 3 | 56 | 0 | 56 | 2023-03-22 00:01 | 2023-04-01 23:59 |  | Combustion Inspection and Repair
THW | THW_THWST_4 | Natural Gas | Unavoidable Extension | 109 | 55 | 54 | 2023-03-22 00:01 | 2023-04-01 23:59 |  | Combustion Inspection and Repair
MYR | MYR_UNIT1 | Solar | Maintenance Level 1 | 167 | 9 | 158 | 2023-03-22 08:00 | 2023-04-28 17:00 |  | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Maintenance Level 1 | 83 | 0 | 83 | 2023-03-22 10:12 | 2023-04-25 16:00 |  | Overhaul
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-06-05 17:00 |  | Other
BRAUNIG | BRAUNIG_AVR1_CT1 | Natural Gas | Unavoidable Extension | 164 | 0 | 164 | 2023-03-23 | 2023-05-05 23:59 |  | Overhaul
BRAUNIG | BRAUNIG_AVR1_CT2 | Natural Gas | Unavoidable Extension | 164 | 0 | 164 | 2023-03-23 | 2023-05-05 23:59 |  | Overhaul
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Unavoidable Extension | 190 | 0 | 190 | 2023-03-23 | 2023-05-05 23:59 |  | Overhaul
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 0 | 785 | 2023-03-23 05:59 | 2023-03-30 23:59 | 2023-03-29 13:13 | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced Extension | 75 | 60 | 15 | 2023-03-24 08:25 | 2023-03-31 23:59 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 154 | 28 | 2023-03-24 11:41 | 2023-03-31 23:59 | 2023-03-29 18:10 | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 40 | 50 | 2023-03-24 12:00 | 2023-04-24 19:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 491 | 45 | 2023-03-24 12:35 | 2023-04-14 23:59 |  | Feedwater Problems/Repairs
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 61 | 31 | 2023-03-24 14:11 | 2023-04-30 23:59 |  | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced Extension | 195 | 155 | 40 | 2023-03-24 16:05 | 2023-03-29 21:00 | 2023-03-29 21:00 | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 123 | 10 | 2023-03-24 18:23 | 2023-04-30 23:59 | 2023-03-31 01:13 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced Extension | 95 | 56 | 39 | 2023-03-24 20:35 | 2023-04-07 22:00 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 80 | 6 | 2023-03-24 22:04 | 2023-04-30 23:59 |  | Other
LOSTPI | LOSTPI_LOSTPGT1 | Natural Gas | Unavoidable Extension | 183 | 0 | 183 | 2023-03-24 23:00 | 2023-04-03 23:00 |  | Other
BOSQUESW | BOSQUESW_BSQSU_4 | Natural Gas | Unavoidable Extension | 84 | 0 | 84 | 2023-03-25 00:32 | 2023-04-10 23:59 |  | Boroscope
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 114 | 17 | 2023-03-25 01:35 | 2023-04-01 18:00 |  | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced | 149 | 123 | 26 | 2023-03-25 01:53 | 2023-03-31 18:00 | 2023-03-28 01:15 | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-03-25 02:21 | 2023-04-30 23:59 | 2023-03-30 18:43 | Other
ROSELAND | ROSELAND_SOLAR1 | Solar | Forced | 250 | 0 | 250 | 2023-03-25 09:16 | 2023-03-28 21:00 | 2023-03-28 21:59 | Transformer Repair/Replace
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 34 | 131 | 2023-03-25 09:16 | 2023-03-28 21:00 | 2023-03-28 21:59 | Transformer Repair/Replace
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 0 | 390 | 2023-03-25 10:00 | 2023-03-28 07:59 | 2023-03-28 08:00 | Feedwater Problems/Repairs
PLN | PLN_UNIT1 | Solar | Forced | 257 | 187 | 70 | 2023-03-25 16:30 | 2023-04-01 18:00 | 2023-03-29 08:42 | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Forced Extension | 161 | 0 | 161 | 2023-03-25 18:50 | 2023-04-20 17:00 |  | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced Extension | 323 | 150 | 173 | 2023-03-25 18:50 | 2023-04-20 17:00 |  | Other
STWF | STWF_T1 | Wind | Forced Extension | 98 | 88 | 10 | 2023-03-25 19:55 | 2023-03-28 17:00 | 2023-03-28 01:45 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced Extension | 173 | 160 | 13 | 2023-03-25 21:15 | 2023-04-07 22:00 | 2023-03-28 15:27 | Other
THW | THW_THWGT56 | Natural Gas | Forced Extension | 57 | 0 | 57 | 2023-03-25 21:21 | 2023-03-28 23:59 | 2023-03-28 22:08 | Turbine/Generator Vibration/Repair
THW | THW_THWGT42 | Natural Gas | Maintenance Level 3 | 56 | 0 | 56 | 2023-03-26 00:01 | 2023-04-01 23:59 |  | Combustion Inspection and Repair
THW | THW_THWGT43 | Natural Gas | Maintenance Level 3 | 56 | 0 | 56 | 2023-03-26 00:01 | 2023-04-01 23:59 |  | Combustion Inspection and Repair
THW | THW_THWST_4 | Natural Gas | Maintenance Level 3 | 109 | 0 | 109 | 2023-03-26 00:01 | 2023-04-01 23:59 |  | Combustion Inspection and Repair
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 0 | 523 | 2023-03-26 01:55 | 2023-04-02 23:59 |  | Other
SHAFFER | SHAFFER_UNIT1 | Wind | Forced | 226 | 208 | 18 | 2023-03-26 06:57 | 2023-03-28 18:00 | 2023-03-28 12:06 | Turbine/Generator Vibration/Repair
RAB | RAB_UNIT1 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-03-26 07:00 | 2023-03-28 14:00 | 2023-03-28 13:07 | Other
GRIZZLY | GRIZZLY_SOLAR1 | Solar | Forced Extension | 100 | 0 | 100 | 2023-03-26 15:47 | 2023-03-29 23:59 | 2023-03-29 12:41 | Other
BVE | BVE_UNIT1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-03-26 18:01 | 2023-04-01 23:59 |  | Boroscope
BVE | BVE_UNIT2 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-03-26 18:01 | 2023-04-01 23:59 |  | Boroscope
BVE | BVE_UNIT3 | Natural Gas | Unavoidable Extension | 270 | 0 | 270 | 2023-03-26 18:01 | 2023-04-01 23:59 |  | Boroscope
WH_WIND | WH_WIND_UNIT1 | Wind | Forced Extension | 209 | 185 | 24 | 2023-03-26 18:43 | 2023-03-29 21:00 | 2023-03-29 21:00 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced Extension | 210 | 178 | 32 | 2023-03-26 18:43 | 2023-03-29 21:00 | 2023-03-29 21:00 | Other
NCO | NCO_ESS1 | Not Available | Forced Extension | 50 | 46 | 4 | 2023-03-26 19:47 | 2023-04-07 18:00 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 153 | 11 | 2023-03-26 22:55 | 2023-03-31 23:59 |  | Other
WHCCS2 | WHCCS2_CT4 | Natural Gas | Maintenance Level 1 | 331 | 0 | 331 | 2023-03-27 00:01 | 2023-04-02 22:00 | 2023-03-29 08:00 | Turbine/Generator Vibration/Repair
WHCCS2 | WHCCS2_CT5 | Natural Gas | Maintenance Level 1 | 331 | 0 | 331 | 2023-03-27 00:01 | 2023-04-02 22:00 | 2023-03-29 08:00 | Turbine/Generator Vibration/Repair
WHCCS2 | WHCCS2_STG6 | Natural Gas | Maintenance Level 1 | 457 | 0 | 457 | 2023-03-27 00:01 | 2023-04-02 22:00 | 2023-03-29 08:00 | Turbine/Generator Vibration/Repair
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 79 | 22 | 2023-03-27 04:50 | 2023-03-28 22:00 | 2023-03-28 08:26 | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 2 | 180 | 67 | 113 | 2023-03-27 06:00 | 2023-03-28 19:00 | 2023-03-28 19:00 | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 91 | 12 | 2023-03-27 06:40 | 2023-04-30 23:59 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 93 | 16 | 2023-03-27 06:41 | 2023-04-30 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 94 | 15 | 2023-03-27 06:41 | 2023-04-30 23:59 |  | Other
NCO | NCO_ESS1 | Not Available | Maintenance Level 3 | 50 | 0 | 50 | 2023-03-27 07:00 | 2023-03-29 17:00 | 2023-03-28 16:38 | Other
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced | 50 | 45 | 5 | 2023-03-27 07:18 | 2023-04-06 06:59 | 2023-03-29 06:28 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 125 | 27 | 2023-03-27 07:47 | 2023-03-31 18:00 | 2023-03-29 07:54 | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 148 | 70 | 2023-03-27 08:00 | 2023-03-28 06:00 | 2023-03-28 06:00 | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 189 | 32 | 2023-03-27 08:00 | 2023-03-28 06:00 | 2023-03-28 06:00 | Other
PYR | PYR_PYRON2 | Wind | Forced Extension | 128 | 77 | 51 | 2023-03-27 08:37 | 2023-03-30 07:59 | 2023-03-30 07:59 | Other
TAV | TAV_UNIT1 | Solar | Forced | 144 | 49 | 95 | 2023-03-27 11:45 | 2023-03-28 22:00 | 2023-03-28 12:15 | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 138 | 13 | 2023-03-27 12:42 | 2023-04-03 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 89 | 9 | 2023-03-27 12:42 | 2023-04-03 14:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Maintenance Level 1 | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-04-14 17:00 |  | Other
WAP | WAP_WAP_G5 | Bituminous Coal | Forced Extension | 664 | 0 | 664 | 2023-03-27 14:11 | 2023-03-29 09:00 | 2023-03-28 22:56 | Inlet Air Problems/Repairs
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 99 | 27 | 2023-03-27 14:23 | 2023-03-28 23:59 | 2023-03-28 23:59 | Other
AEEC | AEEC_ELK_1 | Natural Gas | Forced Extension | 195 | 0 | 195 | 2023-03-27 15:19 | 2023-03-30 23:59 | 2023-03-30 23:59 | Other
APOGEE | APOGEE_UNIT1 | Wind | Forced | 25 | 10 | 15 | 2023-03-27 15:28 | 2023-03-28 23:59 | 2023-03-28 23:59 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 176 | 10 | 2023-03-27 15:54 | 2023-03-30 21:30 | 2023-03-29 12:28 | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 136 | 2 | 2023-03-27 16:15 | 2023-04-07 12:00 | 2023-03-30 10:03 | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 151 | 10 | 2023-03-27 17:09 | 2023-04-07 18:00 | 2023-03-29 09:02 | Turbine/Generator Vibration/Repair
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 90 | 30 | 2023-03-27 17:34 | 2023-04-07 18:00 |  | Turbine/Generator Vibration/Repair
APOGEE | APOGEE_UNIT5 | Wind | Forced Extension | 110 | 100 | 10 | 2023-03-27 18:11 | 2023-03-31 23:59 | 2023-03-28 09:25 | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 8 | 30 | 2023-03-27 19:25 | 2023-06-01 23:59 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 52 | 48 | 2023-03-27 19:29 | 2023-04-07 18:00 |  | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 66 | 36 | 2023-03-27 19:32 | 2023-04-07 18:00 |  | Turbine/Generator Vibration/Repair
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 1 | 153 | 0 | 153 | 2023-03-27 20:00 | 2023-03-28 07:59 | 2023-03-28 07:59 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Maintenance Level 1 | 149 | 0 | 149 | 2023-03-27 20:00 | 2023-03-28 07:59 | 2023-03-28 07:59 | Other
JUNO | JUNO_UNIT1 | Solar | Maintenance Level 2 | 162 | 78 | 84 | 2023-03-27 20:00 | 2023-03-28 04:00 | 2023-03-28 00:31 | Other
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced | 68 | 53 | 15 | 2023-03-27 20:00 | 2023-03-31 16:00 |  | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced Extension | 90 | 76 | 14 | 2023-03-27 20:15 | 2023-03-28 23:59 | 2023-03-28 23:59 | Other
W_PECOS | W_PECOS_UNIT1 | Solar | Forced | 100 | 50 | 50 | 2023-03-27 20:15 | 2023-03-28 17:00 | 2023-03-28 16:34 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 167 | 151 | 16 | 2023-03-28 00:01 | 2023-03-29 23:59 | 2023-03-29 23:59 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 159 | 151 | 8 | 2023-03-28 00:01 | 2023-03-29 23:59 | 2023-03-29 23:59 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 159 | 151 | 8 | 2023-03-28 00:01 | 2023-03-29 23:59 | 2023-03-29 23:59 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 167 | 150 | 17 | 2023-03-28 00:01 | 2023-03-29 23:59 | 2023-03-29 23:59 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 159 | 143 | 16 | 2023-03-28 00:01 | 2023-03-29 23:59 | 2023-03-29 23:59 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 159 | 143 | 16 | 2023-03-28 00:01 | 2023-03-29 23:59 | 2023-03-29 23:59 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced Extension | 161 | 143 | 18 | 2023-03-28 00:01 | 2023-03-29 23:59 | 2023-03-29 23:59 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced Extension | 153 | 136 | 17 | 2023-03-28 00:01 | 2023-03-29 23:59 | 2023-03-29 23:59 | Other
WAP | WAP_WAP_G1 | Natural Gas | Maintenance Level 3 | 169 | 0 | 169 | 2023-03-28 00:01 | 2023-04-07 23:59 |  | Combustion Inspection and Repair
STWF | STWF_T1 | Wind | Forced | 98 | 83 | 15 | 2023-03-28 01:44 | 2023-03-28 17:00 | 2023-03-28 16:27 | Other
EGROVESL | EGROVESL_UNIT1 | Solar | Forced | 108 | 105 | 3 | 2023-03-28 01:49 | 2023-03-28 12:00 | 2023-03-28 07:36 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 830 | 25 | 2023-03-28 02:46 | 2023-03-28 08:00 | 2023-03-28 07:35 | Other
MCLNSLR | MCLNSLR_UNIT1 | Solar | Maintenance Level 1 | 200 | 0 | 200 | 2023-03-28 03:00 | 2023-03-28 07:30 | 2023-03-28 04:45 | Other
MGSES | MGSES_CT1 | Natural Gas | Unavoidable Extension | 67 | 0 | 67 | 2023-03-28 07:00 | 2023-03-28 15:00 | 2023-03-28 15:50 | Black Start Test
MGSES | MGSES_CT2 | Natural Gas | Unavoidable Extension | 66 | 0 | 66 | 2023-03-28 07:00 | 2023-03-28 16:00 | 2023-03-28 15:50 | Black Start Test
MGSES | MGSES_CT3 | Natural Gas | Unavoidable Extension | 66 | 0 | 66 | 2023-03-28 07:00 | 2023-03-28 16:00 | 2023-03-28 15:50 | Black Start Test
MGSES | MGSES_CT4 | Natural Gas | Unavoidable Extension | 67 | 0 | 67 | 2023-03-28 07:00 | 2023-03-28 15:00 | 2023-03-28 15:50 | Black Start Test
MGSES | MGSES_CT5 | Natural Gas | Unavoidable Extension | 68 | 0 | 68 | 2023-03-28 07:00 | 2023-03-28 15:00 | 2023-03-28 15:50 | Black Start Test
MGSES | MGSES_CT6 | Natural Gas | Unavoidable Extension | 68 | 0 | 68 | 2023-03-28 07:00 | 2023-03-28 15:00 | 2023-03-28 15:50 | Black Start Test
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 1 | 153 | 0 | 153 | 2023-03-28 08:00 | 2023-03-28 20:00 | 2023-03-28 20:00 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Maintenance Level 1 | 149 | 0 | 149 | 2023-03-28 08:00 | 2023-03-28 20:00 | 2023-03-28 20:00 | Other
INDL | INDL_INADALE2 | Wind | Forced | 102 | 0 | 102 | 2023-03-28 08:00 | 2023-03-29 12:00 | 2023-03-28 08:01 | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 86 | 17 | 2023-03-28 08:26 | 2023-04-30 23:59 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 93 | 8 | 2023-03-28 08:27 | 2023-04-07 18:00 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 75 | 40 | 2023-03-28 08:52 | 2023-03-31 23:59 |  | Turbine/Generator Vibration/Repair
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 0 | 121 | 2023-03-28 08:53 | 2023-03-28 23:59 | 2023-03-28 09:26 | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 0 | 116 | 2023-03-28 08:53 | 2023-03-28 23:59 | 2023-03-28 09:26 | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 0 | 117 | 2023-03-28 08:53 | 2023-03-28 23:59 | 2023-03-28 09:26 | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 0 | 170 | 2023-03-28 08:53 | 2023-03-28 23:59 | 2023-03-28 09:26 | Other
GOPHER | GOPHER_UNIT1 | Wind | Maintenance Level 1 | 82 | 61 | 21 | 2023-03-28 09:00 | 2023-03-28 17:00 | 2023-03-28 13:00 | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 75 | 35 | 2023-03-28 09:24 | 2023-03-29 09:24 | 2023-03-28 09:28 | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 85 | 25 | 2023-03-28 09:26 | 2023-03-29 09:24 | 2023-03-29 09:24 | Other
SHAFFER | SHAFFER_UNIT1 | Wind | Forced | 226 | 208 | 18 | 2023-03-28 10:06 | 2023-04-07 18:00 | 2023-03-30 19:22 | Turbine/Generator Vibration/Repair
FTWIND | FTWIND_UNIT_1 | Wind | Forced | 200 | 0 | 200 | 2023-03-28 10:47 | 2023-03-28 17:00 | 2023-03-28 17:00 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 134 | 14 | 2023-03-28 10:49 | 2023-03-31 18:00 | 2023-03-28 16:55 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 135 | 13 | 2023-03-28 10:57 | 2023-03-31 18:00 | 2023-03-28 10:58 | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 174 | 23 | 2023-03-28 11:34 | 2023-03-31 23:59 | 2023-03-29 09:43 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 116 | 11 | 2023-03-28 12:13 | 2023-04-01 12:13 |  | Turbine/Generator Vibration/Repair
TAV | TAV_UNIT1 | Solar | Forced | 144 | 55 | 89 | 2023-03-28 12:15 | 2023-03-28 22:00 | 2023-03-28 22:00 | Other
SILASRAY | SILASRAY_SILAS_10 | Natural Gas | Forced | 46 | 0 | 46 | 2023-03-28 13:00 | 2023-03-28 14:00 | 2023-03-28 14:10 | Other
FTR | FTR_FTR_G3 | Natural Gas | Forced | 180 | 0 | 180 | 2023-03-28 13:15 | 2023-03-28 14:45 | 2023-03-28 14:25 | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 129 | 22 | 2023-03-28 13:59 | 2023-04-03 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 129 | 22 | 2023-03-28 13:59 | 2023-04-03 18:00 |  | Other
MADERO | MADERO_UNIT1 | Not Available | Forced Extension | 100 | 0 | 100 | 2023-03-28 15:22 | 2023-04-07 12:00 |  | Unknown
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 168 | 5 | 2023-03-28 15:28 | 2023-04-07 22:00 | 2023-03-30 16:41 | Other
NUECES_B | NUECES_B_NUECESG7 | Natural Gas | Forced | 322 | 300 | 22 | 2023-03-28 15:45 | 2023-03-29 23:59 | 2023-03-29 08:08 | Temperature Limit
NUECES_B | NUECES_B_NUECESG8 | Natural Gas | Forced | 161 | 100 | 61 | 2023-03-28 15:45 | 2023-03-29 23:59 | 2023-03-29 08:08 | Temperature Limit
NUECES_B | NUECES_B_NUECESG9 | Natural Gas | Forced | 161 | 100 | 61 | 2023-03-28 15:45 | 2023-03-29 23:59 | 2023-03-29 08:08 | Temperature Limit
NUECES_B | NUECES_B_NUECESG7 | Natural Gas | Forced | 322 | 301 | 21 | 2023-03-28 15:50 | 2023-03-28 23:59 | 2023-03-28 15:52 | Temperature Limit
NUECES_B | NUECES_B_NUECESG8 | Natural Gas | Forced | 161 | 101 | 60 | 2023-03-28 15:50 | 2023-03-28 23:59 | 2023-03-28 15:52 | Temperature Limit
NUECES_B | NUECES_B_NUECESG9 | Natural Gas | Forced | 161 | 101 | 60 | 2023-03-28 15:50 | 2023-03-28 23:59 | 2023-03-28 15:52 | Temperature Limit
MADERO | MADERO_UNIT2 | Not Available | Forced | 100 | 0 | 100 | 2023-03-28 16:14 | 2023-03-28 23:59 | 2023-03-28 17:06 | Unknown
MCDLD | MCDLD_SB4_G87 | Wind | Forced | 4 | 0 | 4 | 2023-03-28 16:27 | 2023-04-07 17:00 |  | Other
STWF | STWF_T1 | Wind | Forced | 98 | 87 | 11 | 2023-03-28 16:28 | 2023-03-29 15:00 | 2023-03-29 12:55 | Other
W_PECOS | W_PECOS_UNIT1 | Solar | Forced Extension | 100 | 76 | 24 | 2023-03-28 16:36 | 2023-03-31 17:00 |  | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 780 | 40 | 2023-03-28 16:49 | 2023-03-29 00:59 | 2023-03-28 17:19 | Emissions
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 775 | 45 | 2023-03-28 17:19 | 2023-03-29 00:59 | 2023-03-29 00:22 | Emissions
BYRDR_ES | BYRDR_ES_BESS1 | Not Available | Forced | 50 | 42 | 8 | 2023-03-28 17:43 | 2023-03-29 23:59 | 2023-03-28 21:19 | Other
DEC | DEC_AGR_D | Natural Gas | Forced | 56 | 38 | 18 | 2023-03-28 18:50 | 2023-03-28 23:00 | 2023-03-28 21:09 | Combustion Inspection and Repair
WAP | WAP_WAP_G4 | Natural Gas | Forced | 536 | 322 | 214 | 2023-03-28 19:05 | 2023-03-28 21:00 | 2023-03-28 19:17 | Feedwater Problems/Repairs
RADN_SLR | RADN_SLR_UNIT2 | Solar | Unavoidable Extension | 163 | 131 | 32 | 2023-03-28 19:30 | 2023-03-31 17:30 | 2023-03-30 11:19 | Other
JAY | JAY_UNIT2 | Solar | Forced | 172 | 100 | 72 | 2023-03-28 19:33 | 2023-03-29 06:00 | 2023-03-29 03:44 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Maintenance Level 1 | 153 | 0 | 153 | 2023-03-28 20:00 | 2023-03-29 07:59 | 2023-03-29 06:58 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Maintenance Level 1 | 149 | 0 | 149 | 2023-03-28 20:00 | 2023-03-29 07:59 | 2023-03-29 06:58 | Other
JUNO | JUNO_UNIT1 | Solar | Maintenance Level 2 | 162 | 133 | 29 | 2023-03-28 20:00 | 2023-03-29 04:00 | 2023-03-28 23:34 | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 196 | 5 | 2023-03-28 21:45 | 2023-04-30 23:59 | 2023-03-30 10:05 | Other
ROSELAND | ROSELAND_SOLAR1 | Solar | Forced | 250 | 0 | 250 | 2023-03-28 21:59 | 2023-03-30 18:00 | 2023-03-30 18:00 | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 34 | 131 | 2023-03-28 21:59 | 2023-03-30 18:00 | 2023-03-30 18:00 | Other
TAV | TAV_UNIT1 | Solar | Maintenance Level 2 | 144 | 55 | 89 | 2023-03-28 22:01 | 2023-04-28 22:00 | 2023-03-29 12:19 | Other
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 39 | 41 | 2023-03-28 23:59 | 2023-04-30 23:59 | 2023-03-29 09:25 | Other
2023-03-31 |  |  |  | 2 |  |  |  | 5:03