## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-04-18 | 1 | 7:42

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Apr 15, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 226 | 20 | 2022-05-03 17:17 | 2023-04-18 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 711 | 34 | 2022-05-25 16:34 | 2023-04-30 23:59 |  | Inlet Air Problems/Repairs
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-04-30 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-04-30 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-04-28 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-05-17 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-04-30 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-06-15 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-05-26 23:59 |  | Exhaust Problems/Repairs
CVC | CVC_CVC_G1 | Natural Gas | Forced Extension | 181 | 0 | 181 | 2022-11-25 00:06 | 2023-04-23 23:59 |  | Unknown
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 55 | 0 | 55 | 2022-11-30 11:44 | 2023-04-30 23:59 |  | Other
CBEC | CBEC_GT3 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2022-12-09 12:56 | 2023-04-18 17:00 |  | Other
CBEC | CBEC_GT4 | Natural Gas | Forced Extension | 78 | 0 | 78 | 2022-12-09 12:56 | 2023-04-18 17:00 |  | Other
CBEC | CBEC_STG2 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2022-12-09 12:56 | 2023-04-18 17:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced Extension | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-04-28 17:00 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-12-23 18:08 | 2023-05-31 23:59 |  | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2022-12-30 10:26 | 2023-04-30 18:00 |  | Cooling Water Problems/Repairs
BCK | BCK_UNIT1 | Solar | Maintenance Level 1 | 218 | 200 | 18 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
BCK | BCK_UNIT2 | Solar | Maintenance Level 1 | 221 | 156 | 65 | 2022-12-31 09:00 | 2023-04-30 07:30 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 246 | 247 | 0 | 2023-01-01 00:01 | 2023-05-05 23:59 |  | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced Extension | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-05-01 08:59 |  | Other
DOWGEN | DOWGEN_DOW_G67 | Natural Gas | Unavoidable Extension | 101 | 0 | 101 | 2023-01-03 07:00 | 2023-04-23 21:00 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-06-30 08:24 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-04-30 23:59 |  | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Forced Extension | 13 | 0 | 13 | 2023-02-01 15:20 | 2023-05-01 10:00 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 101 | 0 | 101 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced Extension | 99 | 0 | 99 | 2023-02-07 11:50 | 2023-09-30 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced Extension | 61 | 0 | 61 | 2023-02-07 11:54 | 2023-09-30 23:59 |  | Other
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 114 | 0 | 2023-02-07 15:10 | 2023-04-30 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-09-30 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-05-19 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-04-28 16:00 |  | Other
CBEC | CBEC_GT11 | Natural Gas | Forced | 39 | 0 | 39 | 2023-02-23 16:28 | 2023-04-21 17:00 |  | Other
CBEC | CBEC_GT12 | Natural Gas | Forced | 39 | 0 | 39 | 2023-02-24 12:24 | 2023-04-21 17:00 |  | Other
OECCS | OECCS_CT21 | Natural Gas | Unavoidable Extension | 165 | 0 | 165 | 2023-02-27 00:01 | 2023-04-25 23:59 |  | Other
OECCS | OECCS_CT22 | Natural Gas | Unavoidable Extension | 156 | 0 | 156 | 2023-02-27 00:01 | 2023-04-25 23:59 |  | Other
OECCS | OECCS_UNIT2 | Natural Gas | Unavoidable Extension | 206 | 0 | 206 | 2023-02-27 00:01 | 2023-04-25 23:59 |  | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2023-02-27 05:51 | 2024-02-26 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 191 | 11 | 2023-02-27 06:48 | 2023-12-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced Extension | 152 | 149 | 3 | 2023-02-27 07:00 | 2023-04-30 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 129 | 4 | 2023-02-27 07:02 | 2023-04-30 23:59 |  | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-02-27 07:03 | 2023-04-30 23:59 |  | Other
YNG_WND | YNG_WND_UNIT3 | Wind | Forced Extension | 149 | 149 | 0 | 2023-02-27 07:25 | 2023-04-30 23:59 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 4 | 19 | 2023-02-28 21:35 | 2023-12-28 21:35 |  | Other
AZ | AZ_AZ_G3 | Natural Gas | Unavoidable Extension | 36 | 0 | 36 | 2023-03-01 00:01 | 2023-04-30 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced Extension | 150 | 139 | 11 | 2023-03-01 08:34 | 2023-04-30 23:59 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 14 | 41 | 2023-03-01 09:48 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 45 | 3 | 2023-03-01 09:50 | 2023-12-28 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Unavoidable Extension | 391 | 0 | 391 | 2023-03-01 14:04 | 2023-04-30 23:59 |  | Overhaul
KING_NE | KING_NE_KINGNE | Wind | Forced Extension | 80 | 60 | 20 | 2023-03-01 22:32 | 2023-04-30 23:59 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 57 | 96 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 50 | 97 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
CBY4 | CBY4_CT42 | Natural Gas | Unavoidable Extension | 168 | 0 | 168 | 2023-03-03 | 2023-04-30 23:59 |  | Combustion Inspection and Repair
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Unavoidable Extension | 109 | 0 | 109 | 2023-03-03 09:00 | 2023-06-30 23:55 |  | Overhaul
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced Extension | 92 | 80 | 12 | 2023-03-03 09:29 | 2023-04-30 23:59 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced Extension | 169 | 144 | 25 | 2023-03-03 17:00 | 2023-04-21 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced Extension | 169 | 143 | 26 | 2023-03-03 17:00 | 2023-04-21 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced Extension | 150 | 132 | 18 | 2023-03-03 17:00 | 2023-04-21 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced Extension | 150 | 136 | 14 | 2023-03-03 17:00 | 2023-04-21 16:00 |  | Other
KING_SE | KING_SE_KINGSE | Wind | Forced Extension | 41 | 28 | 13 | 2023-03-04 08:46 | 2023-04-30 23:59 |  | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 610 | 53 | 2023-03-04 18:10 | 2023-04-30 23:59 |  | Inlet Air Problems/Repairs
MYR | MYR_UNIT2 | Solar | Unavoidable Extension | 146 | 9 | 137 | 2023-03-06 08:00 | 2023-04-28 17:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-03-06 17:00 | 2023-04-21 21:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-05-12 17:00 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced | 143 | 138 | 5 | 2023-03-09 08:00 | 2023-04-28 16:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced | 116 | 112 | 4 | 2023-03-09 08:00 | 2023-04-28 16:00 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 100 | 22 | 2023-03-09 08:00 | 2023-05-26 16:00 |  | Other
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 104 | 11 | 2023-03-10 17:31 | 2023-04-18 14:00 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 210 | 3 | 2023-03-10 22:02 | 2023-04-30 23:59 |  | Other
MIL | MIL_MILLERG4 | Natural Gas | Unavoidable Extension | 104 | 0 | 104 | 2023-03-11 00:01 | 2023-04-24 18:00 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 182 | 91 | 91 | 2023-03-13 21:00 | 2023-04-30 23:59 |  | Turbine/Generator Vibration/Repair
SILASRAY | SILASRAY_SILAS_10 | Natural Gas | Forced Extension | 46 | 39 | 7 | 2023-03-16 10:00 | 2023-04-28 23:59 |  | Other
TORR | TORR_UNIT2_25 | Wind | Forced Extension | 128 | 101 | 27 | 2023-03-17 02:31 | 2023-04-30 23:59 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-03-17 07:20 | 2023-04-30 18:00 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 12 | 138 | 2023-03-17 20:00 | 2023-04-17 20:00 | 2023-04-17 12:17 | Other
CVC | CVC_CVC_G1 | Natural Gas | Unavoidable Extension | 181 | 0 | 181 | 2023-03-18 00:01 | 2023-06-01 23:59 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1227 | 1224 | 3 | 2023-03-19 19:40 | 2023-06-23 09:40 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1214 | 1201 | 13 | 2023-03-19 19:40 | 2023-06-23 09:40 |  | Other
CCEC | CCEC_GT1 | Natural Gas | Forced Extension | 139 | 0 | 139 | 2023-03-19 22:30 | 2023-04-17 22:00 | 2023-04-17 20:15 | Other
CCEC | CCEC_ST1 | Natural Gas | Forced Extension | 139 | 30 | 109 | 2023-03-20 00:01 | 2023-04-17 22:00 | 2023-04-17 20:15 | Steam Turbine Limited/Unavailable Due to CT/GT Work
CITYVICT | CITYVICT_CTG01 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-20 10:00 | 2023-05-15 19:00 |  | Boroscope
BYU | BYU_BYU_G3 | Natural Gas | Forced Extension | 85 | 0 | 85 | 2023-03-20 10:20 | 2023-04-30 23:59 |  | Tube Leak
WFTANK | WFTANK_ESS1 | Not Available | Forced | 150 | 20 | 130 | 2023-03-21 12:06 | 2023-05-10 23:59 |  | Other
VICTPORT | VICTPORT_CTG01 | Natural Gas | Forced | 47 | 0 | 47 | 2023-03-21 16:00 | 2023-04-21 19:00 |  | Combustion Inspection and Repair
MYR | MYR_UNIT1 | Solar | Maintenance Level 1 | 167 | 9 | 158 | 2023-03-22 08:00 | 2023-04-28 17:00 |  | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Maintenance Level 1 | 83 | 0 | 83 | 2023-03-22 10:12 | 2023-04-25 16:00 |  | Overhaul
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-06-05 17:00 |  | Other
BRAUNIG | BRAUNIG_AVR1_CT1 | Natural Gas | Unavoidable Extension | 164 | 0 | 164 | 2023-03-23 | 2023-05-05 23:59 |  | Overhaul
BRAUNIG | BRAUNIG_AVR1_CT2 | Natural Gas | Unavoidable Extension | 164 | 0 | 164 | 2023-03-23 | 2023-05-05 23:59 |  | Overhaul
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Unavoidable Extension | 190 | 0 | 190 | 2023-03-23 | 2023-05-05 23:59 |  | Overhaul
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 40 | 50 | 2023-03-24 12:00 | 2023-04-24 19:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 491 | 45 | 2023-03-24 12:35 | 2023-05-19 23:59 |  | Feedwater Problems/Repairs
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 61 | 31 | 2023-03-24 14:11 | 2023-04-30 23:59 |  | Other
DIB | DIB_DIB_G3 | Purchased Steam | Unavoidable Extension | 75 | 0 | 75 | 2023-03-24 16:30 | 2023-04-19 18:00 |  | Combustion Inspection and Repair
BOSQUESW | BOSQUESW_BSQSU_4 | Natural Gas | Unavoidable Extension | 84 | 0 | 84 | 2023-03-25 00:32 | 2023-05-08 23:59 |  | Boroscope
DIB | DIB_DIB_G1 | Natural Gas | Unavoidable Extension | 70 | 0 | 70 | 2023-03-25 18:39 | 2023-04-20 18:00 |  | Combustion Inspection and Repair
KMCHI | KMCHI_2CT201 | Natural Gas | Forced Extension | 161 | 0 | 161 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced Extension | 323 | 150 | 173 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
NCO | NCO_ESS1 | Not Available | Forced Extension | 50 | 46 | 4 | 2023-03-26 19:47 | 2023-04-21 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 153 | 11 | 2023-03-26 22:55 | 2023-04-30 23:59 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 93 | 16 | 2023-03-27 06:41 | 2023-04-30 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 94 | 15 | 2023-03-27 06:41 | 2023-04-30 23:59 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-06-05 12:56 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 8 | 30 | 2023-03-27 19:25 | 2023-06-01 23:59 |  | Other
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced Extension | 68 | 53 | 15 | 2023-03-27 20:00 | 2023-05-01 16:00 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 86 | 17 | 2023-03-28 08:26 | 2023-04-30 23:59 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 101 | 23 | 2023-03-29 10:51 | 2023-05-31 17:00 |  | Other
FILESSLR | FILESSLR_PV1 | Solar | Forced | 145 | 20 | 125 | 2023-03-29 12:00 | 2023-04-30 23:59 | 2023-04-17 14:12 | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced Extension | 121 | 99 | 22 | 2023-03-29 12:40 | 2023-12-31 23:59 | 2023-04-17 16:34 | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-03-29 13:30 | 2024-03-28 13:29 | 2023-04-17 16:46 | Other
PYR | PYR_PYRON2 | Wind | Maintenance Level 1 | 128 | 74 | 54 | 2023-03-30 15:00 | 2023-05-26 16:00 | 2023-04-16 08:00 | Other
APPALOSA | APPALOSA_UNIT1 | Wind | Forced | 158 | 154 | 4 | 2023-03-30 18:39 | 2023-04-30 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced | 146 | 85 | 61 | 2023-03-30 19:15 | 2023-04-30 23:59 |  | Feedwater Problems/Repairs
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 400 | 12 | 2023-03-30 19:20 | 2023-05-19 23:59 |  | Other
VICTPORT | VICTPORT_CTG01 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-31 06:00 | 2023-04-28 19:00 |  | Other
KING_SW | KING_SW_KINGSW | Wind | Forced | 80 | 49 | 31 | 2023-03-31 13:59 | 2023-04-30 23:59 |  | Other
DDPEC | DDPEC_GT3 | Natural Gas | Unavoidable Extension | 190 | 0 | 190 | 2023-04-01 00:27 | 2023-04-16 11:00 | 2023-04-16 10:40 | Combustion Inspection and Repair
DDPEC | DDPEC_ST1 | Natural Gas | Unavoidable Extension | 290 | 175 | 115 | 2023-04-01 00:27 | 2023-04-16 11:00 | 2023-04-16 10:40 | Steam Turbine Limited/Unavailable Due to CT/GT Work
CHE | CHE_GT2 | Natural Gas | Forced Extension | 169 | 0 | 169 | 2023-04-01 03:07 | 2023-05-13 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 81 | 5 | 2023-04-01 06:33 | 2023-04-30 23:59 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 27 | 138 | 2023-04-01 18:19 | 2023-05-31 18:30 |  | Unknown
THW | THW_THWST_4 | Natural Gas | Forced | 109 | 78 | 31 | 2023-04-01 20:43 | 2023-05-14 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
FORMOSA | FORMOSA_FORMOSG15 | Natural Gas | Forced | 93 | 0 | 93 | 2023-04-02 | 2023-04-27 16:00 |  | Combustion Inspection and Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 96 | 5 | 2023-04-02 | 2023-05-31 17:00 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 92 | 9 | 2023-04-02 | 2023-04-30 17:00 |  | Turbine/Generator Vibration/Repair
FORMOSA | FORMOSA_FORMOSG5 | Natural Gas | Maintenance Level 2 | 83 | 0 | 83 | 2023-04-02 10:00 | 2023-05-26 16:00 |  | Overhaul
FORMOSA | FORMOSA_FORMOSG13 | Natural Gas | Maintenance Level 2 | 40 | 0 | 40 | 2023-04-02 11:00 | 2023-05-01 16:00 |  | Other
SPNCER | SPNCER_SPNCE_5 | Natural Gas | Forced Extension | 61 | 0 | 61 | 2023-04-03 00:01 | 2023-04-18 23:59 |  | Other
SPNCER | SPNCER_SPNCE_4 | Natural Gas | Forced Extension | 57 | 0 | 57 | 2023-04-03 00:02 | 2023-04-18 23:59 |  | Other
WHCCS2 | WHCCS2_STG6 | Natural Gas | Forced Extension | 457 | 428 | 29 | 2023-04-03 16:35 | 2023-04-19 22:59 |  | Turbine/Generator Vibration/Repair
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 91 | 12 | 2023-04-03 17:43 | 2023-04-30 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 391 | 358 | 2023-04-03 19:29 | 2023-05-26 23:59 |  | Inlet Air Problems/Repairs
B_DAVIS | B_DAVIS_B_DAVIG2 | Natural Gas | Unavoidable Extension | 322 | 0 | 322 | 2023-04-04 00:01 | 2023-04-15 23:59 | 2023-04-15 21:11 | Other
B_DAVIS | B_DAVIS_B_DAVIG3 | Natural Gas | Unavoidable Extension | 161 | 0 | 161 | 2023-04-04 00:01 | 2023-04-15 23:59 | 2023-04-15 21:11 | Other
B_DAVIS | B_DAVIS_B_DAVIG4 | Natural Gas | Unavoidable Extension | 161 | 0 | 161 | 2023-04-04 00:01 | 2023-04-15 23:59 | 2023-04-15 21:11 | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 169 | 155 | 14 | 2023-04-04 08:37 | 2023-05-13 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced Extension | 116 | 105 | 11 | 2023-04-04 08:54 | 2023-09-30 23:59 | 2023-04-17 16:39 | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced Extension | 117 | 102 | 15 | 2023-04-04 08:54 | 2023-09-30 23:59 | 2023-04-17 16:42 | Other
INRT_W | INRT_W_UNIT1 | Wind | Forced | 68 | 25 | 43 | 2023-04-05 10:50 | 2023-04-30 23:59 |  | Other
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 0 | 85 | 2023-04-05 11:16 | 2023-05-31 18:30 |  | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 96 | 24 | 2023-04-05 18:01 | 2023-04-18 18:00 |  | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 176 | 10 | 2023-04-05 18:55 | 2023-04-30 23:59 |  | Other
W_PECOS | W_PECOS_UNIT1 | Solar | Unavoidable Extension | 100 | 0 | 100 | 2023-04-05 21:16 | 2023-04-24 17:00 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced | 125 | 90 | 35 | 2023-04-06 12:38 | 2023-05-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 25 | 105 | 2023-04-06 12:38 | 2023-05-31 12:00 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced Extension | 138 | 135 | 3 | 2023-04-06 16:01 | 2023-04-20 16:00 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 133 | 5 | 2023-04-06 17:03 | 2023-04-30 23:59 |  | Other
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 90 | 30 | 2023-04-06 17:43 | 2023-04-19 18:00 |  | Turbine/Generator Vibration/Repair
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-04-07 | 2023-04-30 18:00 |  | Other
DUKE | DUKE_DUKE_GT1 | Natural Gas | Unavoidable Extension | 143 | 0 | 143 | 2023-04-07 13:52 | 2023-04-22 08:00 |  | Boroscope
DUKE | DUKE_DUKE_GT2 | Natural Gas | Unavoidable Extension | 143 | 0 | 143 | 2023-04-07 13:52 | 2023-05-11 08:00 |  | Overhaul
DUKE | DUKE_DUKE_ST1 | Natural Gas | Unavoidable Extension | 172 | 80 | 92 | 2023-04-07 13:52 | 2023-05-11 08:00 |  | Overhaul
DUKE | DUKE_DUKE_ST1 | Natural Gas | Unavoidable Extension | 172 | 0 | 172 | 2023-04-07 13:52 | 2023-04-22 08:00 |  | Boroscope
MCDLD | MCDLD_SB4_G87 | Wind | Forced Extension | 4 | 0 | 4 | 2023-04-07 17:02 | 2023-04-28 17:00 |  | Other
AVIATOR | AVIATOR_UNIT2 | Wind | Forced Extension | 146 | 135 | 11 | 2023-04-07 17:17 | 2023-04-21 17:00 |  | Other
INGLCOSW | INGLCOSW_CTG1 | Natural Gas | Unavoidable Extension | 170 | 0 | 170 | 2023-04-07 19:14 | 2023-04-17 18:00 | 2023-04-16 23:00 | Combustion Inspection and Repair
GOAT | GOAT_GOATWIN2 | Wind | Forced Extension | 70 | 50 | 20 | 2023-04-07 22:00 | 2023-04-21 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 189 | 12 | 2023-04-07 22:32 | 2023-04-30 23:59 | 2023-04-15 20:29 | Other
SCSES | SCSES_UNIT1A | Natural Gas | Unavoidable Extension | 167 | 0 | 167 | 2023-04-08 | 2023-04-28 23:59 |  | Overhaul
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 767 | 69 | 2023-04-08 10:20 | 2023-04-20 23:59 |  | Inlet Air Problems/Repairs
CHALUPA | CHALUPA_UNIT1 | Wind | Forced Extension | 173 | 160 | 13 | 2023-04-08 16:54 | 2023-04-21 22:00 |  | Other
LEON_CRK | LEON_CRK_LCPCT3 | Natural Gas | Unavoidable Extension | 46 | 0 | 46 | 2023-04-09 | 2023-05-20 23:59 |  | Overhaul
LEON_CRK | LEON_CRK_LCPCT4 | Natural Gas | Unavoidable Extension | 46 | 0 | 46 | 2023-04-09 | 2023-04-20 23:59 |  | Overhaul
LGE | LGE_LGE_GT1 | Natural Gas | Unavoidable Extension | 152 | 0 | 152 | 2023-04-09 00:01 | 2023-04-21 22:00 |  | Other
LGE | LGE_LGE_GT2 | Natural Gas | Unavoidable Extension | 151 | 0 | 151 | 2023-04-09 00:01 | 2023-04-21 22:00 |  | Other
LGE | LGE_LGE_STG | Blast-Furnace Gas | Unavoidable Extension | 75 | 0 | 75 | 2023-04-09 00:01 | 2023-04-21 22:00 |  | Other
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 400 | 385 | 2023-04-09 08:30 | 2023-04-30 23:59 |  | Other
THW | THW_THWGT31 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-04-09 20:00 | 2023-04-17 23:59 | 2023-04-17 22:43 | Other
THW | THW_THWGT32 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-04-09 20:00 | 2023-04-17 23:59 | 2023-04-17 22:43 | Other
THW | THW_THWGT33 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-04-09 20:00 | 2023-04-17 23:59 | 2023-04-17 22:43 | Other
THW | THW_THWGT34 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-04-09 20:00 | 2023-04-17 23:59 | 2023-04-17 22:43 | Other
THW | THW_THWST_3 | Natural Gas | Unavoidable Extension | 109 | 0 | 109 | 2023-04-09 20:00 | 2023-04-17 23:59 | 2023-04-17 22:43 | Other
FORMOSA | FORMOSA_FORMOSG8 | Natural Gas | Unavoidable Extension | 35 | 0 | 35 | 2023-04-10 00:25 | 2023-04-19 18:00 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 202 | 30 | 2023-04-10 04:15 | 2023-04-30 23:59 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Unavoidable Extension | 101 | 0 | 101 | 2023-04-10 06:17 | 2023-04-15 12:00 | 2023-04-15 10:31 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Unavoidable Extension | 102 | 0 | 102 | 2023-04-10 07:01 | 2023-04-15 12:00 | 2023-04-15 10:45 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Unavoidable Extension | 100 | 0 | 100 | 2023-04-10 07:02 | 2023-04-15 12:00 | 2023-04-15 10:45 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 125 | 27 | 2023-04-10 08:41 | 2023-04-29 23:59 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 89 | 9 | 2023-04-10 12:12 | 2023-04-17 14:00 | 2023-04-17 13:59 | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-04-10 16:59 | 2023-04-21 12:00 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 95 | 20 | 2023-04-10 18:29 | 2023-04-17 23:59 | 2023-04-15 12:49 | Turbine/Generator Vibration/Repair
WHCCS2 | WHCCS2_CT4 | Natural Gas | Unavoidable Extension | 331 | 0 | 331 | 2023-04-10 22:00 | 2023-04-19 22:59 |  | Turbine/Generator Vibration/Repair
WHCCS2 | WHCCS2_CT5 | Natural Gas | Unavoidable Extension | 331 | 0 | 331 | 2023-04-10 22:00 | 2023-04-19 22:59 |  | Turbine/Generator Vibration/Repair
WHCCS2 | WHCCS2_STG6 | Natural Gas | Unavoidable Extension | 457 | 0 | 457 | 2023-04-10 22:00 | 2023-04-19 22:59 |  | Turbine/Generator Vibration/Repair
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 138 | 13 | 2023-04-10 22:30 | 2023-04-17 14:00 | 2023-04-17 13:59 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 144 | 17 | 2023-04-11 02:28 | 2023-04-17 23:59 | 2023-04-15 20:32 | Other
RSNAKE | RSNAKE_G1 | Wind | Unavoidable Extension | 105 | 84 | 21 | 2023-04-11 07:04 | 2023-04-18 19:00 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 0 | 246 | 2023-04-11 10:35 | 2023-04-18 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-04-20 23:59 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 149 | 3 | 2023-04-11 15:22 | 2023-04-30 23:59 |  | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced | 100 | 84 | 16 | 2023-04-11 18:56 | 2023-04-19 20:00 | 2023-04-17 06:21 | Unknown
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 112 | 14 | 2023-04-11 19:25 | 2023-04-17 23:59 | 2023-04-15 12:40 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 63 | 27 | 2023-04-11 19:26 | 2023-04-17 23:59 | 2023-04-15 12:40 | Other
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 59 | 21 | 2023-04-11 23:14 | 2023-04-30 23:59 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 100 | 26 | 2023-04-12 | 2023-05-12 |  | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Maintenance Level 2 | 50 | 35 | 15 | 2023-04-12 | 2023-04-19 23:59 |  | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Maintenance Level 2 | 50 | 35 | 15 | 2023-04-12 | 2023-04-19 23:59 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 46 | 49 | 2023-04-12 02:24 | 2023-04-17 22:00 | 2023-04-17 09:47 | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 645 | 191 | 2023-04-12 04:52 | 2023-04-16 22:00 | 2023-04-16 22:00 | Lack of Steam Load Availability
TURQBESS | TURQBESS_BESS1 | Not Available | Forced | 190 | 190 | 0 | 2023-04-12 09:25 | 2023-05-10 23:59 |  | Other
EXN | EXN_EXN_G15 | Blast-Furnace Gas | Forced | 8 | 0 | 8 | 2023-04-12 10:01 | 2023-04-19 23:59 |  | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 126 | 37 | 2023-04-12 10:29 | 2023-04-30 17:30 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 147 | 35 | 2023-04-12 14:48 | 2023-04-30 23:59 |  | Other
OXY_CC | OXY_CC_OXY_CCG1 | Natural Gas | Forced | 34 | 2 | 32 | 2023-04-12 15:47 | 2023-05-15 23:59 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 135 | 16 | 2023-04-12 16:00 | 2023-04-19 18:00 | 2023-04-17 13:26 | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 135 | 16 | 2023-04-12 16:00 | 2023-04-19 18:00 | 2023-04-17 13:26 | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 148 | 2 | 2023-04-12 19:43 | 2023-04-30 23:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 250 | 252 | 2023-04-12 19:52 | 2023-04-17 23:58 | 2023-04-15 00:46 | Feedwater Problems/Repairs
DEC | DEC_AGR_D | Natural Gas | Forced Extension | 56 | 38 | 18 | 2023-04-13 02:00 | 2023-04-15 15:00 | 2023-04-15 15:00 | Unknown
VENADO | VENADO_UNIT2 | Wind | Forced | 97 | 0 | 97 | 2023-04-13 08:08 | 2023-04-15 18:00 | 2023-04-15 11:33 | Other
SJS | SJS_SJS_G1 | Natural Gas | Maintenance Level 1 | 83 | 0 | 83 | 2023-04-13 09:21 | 2023-04-20 23:59 | 2023-04-18 00:22 | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced | 71 | 63 | 8 | 2023-04-13 12:00 | 2023-04-17 12:00 | 2023-04-17 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced | 33 | 29 | 4 | 2023-04-13 12:00 | 2023-04-17 12:00 | 2023-04-17 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced | 22 | 17 | 5 | 2023-04-13 12:00 | 2023-04-17 12:00 | 2023-04-17 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT8 | Wind | Forced | 20 | 16 | 4 | 2023-04-13 12:00 | 2023-04-17 12:00 | 2023-04-17 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced | 77 | 67 | 10 | 2023-04-13 12:00 | 2023-04-17 12:00 | 2023-04-17 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced | 202 | 189 | 13 | 2023-04-13 12:00 | 2023-04-17 12:00 | 2023-04-17 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT3 | Wind | Forced | 34 | 25 | 9 | 2023-04-13 12:00 | 2023-04-17 12:00 | 2023-04-17 12:00 | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced | 125 | 70 | 55 | 2023-04-13 14:59 | 2023-04-20 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced | 125 | 70 | 55 | 2023-04-13 14:59 | 2023-04-20 18:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 75 | 50 | 2023-04-13 15:08 | 2023-04-20 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced | 125 | 85 | 40 | 2023-04-13 15:08 | 2023-04-20 18:00 |  | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 121 | 12 | 2023-04-13 16:21 | 2023-05-31 23:59 | 2023-04-15 08:29 | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 170 | 14 | 2023-04-13 16:52 | 2023-05-31 23:59 | 2023-04-16 22:17 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced Extension | 222 | 207 | 15 | 2023-04-13 19:02 | 2023-04-15 18:00 | 2023-04-15 10:02 | Other
VICTORIA | VICTORIA_VICTORG6 | Natural Gas | Unavoidable Extension | 171 | 0 | 171 | 2023-04-14 00:01 | 2023-04-17 12:00 | 2023-04-15 00:01 | Overhaul
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 785 | 35 | 2023-04-14 05:08 | 2023-04-15 23:59 | 2023-04-15 03:45 | Inlet Air Problems/Repairs
JADE_SLR | JADE_SLR_UNIT1 | Solar | Forced | 158 | 17 | 141 | 2023-04-14 07:00 | 2023-04-17 12:00 | 2023-04-17 12:00 | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 60 | 15 | 2023-04-14 08:53 | 2023-04-24 23:59 | 2023-04-15 12:50 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 128 | 35 | 2023-04-14 09:22 | 2023-04-21 18:00 | 2023-04-16 15:40 | Other
TAV | TAV_UNIT1 | Solar | Maintenance Level 2 | 144 | 117 | 27 | 2023-04-14 11:00 | 2023-04-17 11:00 | 2023-04-17 11:00 | Other
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 131 | 13 | 2023-04-14 14:59 | 2023-04-21 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 131 | 13 | 2023-04-14 14:59 | 2023-04-21 18:00 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 117 | 14 | 2023-04-14 15:00 | 2023-04-23 18:00 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 172 | 25 | 2023-04-14 15:47 | 2023-05-31 23:59 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 85 | 37 | 2023-04-14 16:01 | 2023-05-26 16:00 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 126 | 39 | 2023-04-14 16:39 | 2023-04-17 17:00 | 2023-04-17 17:00 | Other
BUCKTHRN | BUCKTHRN_UNIT2 | Wind | Maintenance Level 1 | 56 | 45 | 11 | 2023-04-14 17:01 | 2023-04-15 17:00 | 2023-04-15 15:01 | Other
BLSUMIT3 | BLSUMIT3_UNIT_17 | Wind | Forced | 13 | 0 | 13 | 2023-04-14 17:38 | 2023-04-15 18:00 | 2023-04-15 18:00 | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 0 | 182 | 2023-04-14 17:38 | 2023-04-15 18:00 | 2023-04-15 18:00 | Other
PENA | PENA_UNIT1 | Wind | Forced Extension | 161 | 0 | 161 | 2023-04-14 18:59 | 2023-04-15 18:30 | 2023-04-15 18:12 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 750 | 105 | 2023-04-14 19:08 | 2023-04-15 12:00 | 2023-04-15 02:43 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 755 | 100 | 2023-04-14 19:44 | 2023-04-15 23:59 | 2023-04-15 03:48 | Fuel Problems/Repairs
RADN_SLR | RADN_SLR_UNIT1 | Solar | Maintenance Level 2 | 159 | 60 | 99 | 2023-04-14 20:00 | 2023-04-15 04:00 | 2023-04-15 03:50 | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Maintenance Level 2 | 163 | 25 | 138 | 2023-04-14 20:00 | 2023-04-15 04:00 | 2023-04-15 03:50 | Other
ECEC | ECEC_G1 | Natural Gas | Forced Extension | 154 | 140 | 14 | 2023-04-14 20:15 | 2023-04-15 22:00 | 2023-04-15 12:40 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 125 | 20 | 2023-04-14 20:50 | 2023-04-15 08:00 | 2023-04-15 08:00 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 167 | 150 | 17 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 159 | 142 | 17 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 159 | 142 | 17 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 167 | 150 | 17 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 159 | 142 | 17 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 159 | 142 | 17 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 153 | 139 | 14 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 161 | 142 | 19 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 165 | 152 | 13 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 156 | 144 | 12 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced Extension | 244 | 222 | 22 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced Extension | 244 | 222 | 22 | 2023-04-14 22:31 | 2023-04-16 23:59 | 2023-04-16 21:50 | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 83 | 75 | 8 | 2023-04-14 23:18 | 2023-04-18 23:59 | 2023-04-18 02:06 | Transformer Repair/Replace
MLSES | MLSES_UNIT2 | Lignite | Unavoidable Extension | 820 | 0 | 820 | 2023-04-14 23:22 | 2023-04-18 14:00 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced Extension | 815 | 515 | 300 | 2023-04-14 23:30 | 2023-04-15 05:00 | 2023-04-15 05:00 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 615 | 200 | 2023-04-14 23:38 | 2023-04-15 03:00 | 2023-04-15 02:38 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 500 | 355 | 2023-04-15 | 2023-04-15 04:00 | 2023-04-15 04:22 | Other
CBY4 | CBY4_CT41 | Natural Gas | Maintenance Level 3 | 168 | 0 | 168 | 2023-04-15 00:01 | 2023-04-16 23:59 | 2023-04-16 19:37 | Other
CBY4 | CBY4_ST04 | Natural Gas | Maintenance Level 3 | 182 | 0 | 182 | 2023-04-15 00:01 | 2023-04-16 23:59 | 2023-04-16 19:37 | Other
PANDA_S | PANDA_S_SHER1CT1 | Natural Gas | Maintenance Level 2 | 218 | 0 | 218 | 2023-04-15 00:01 | 2023-05-03 23:59 | 2023-04-16 | Combustion Inspection and Repair
PANDA_S | PANDA_S_SHER1CT2 | Natural Gas | Maintenance Level 2 | 217 | 0 | 217 | 2023-04-15 00:01 | 2023-05-03 23:59 | 2023-04-16 | Combustion Inspection and Repair
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Maintenance Level 2 | 308 | 0 | 308 | 2023-04-15 00:01 | 2023-05-03 23:59 | 2023-04-16 | Combustion Inspection and Repair
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 83 | 65 | 18 | 2023-04-15 00:18 | 2023-04-18 23:59 | 2023-04-18 02:06 | Tube Leak
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 250 | 252 | 2023-04-15 00:47 | 2023-04-17 23:58 | 2023-04-15 18:16 | Feedwater Problems/Repairs
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 515 | 300 | 2023-04-15 02:38 | 2023-04-15 04:00 | 2023-04-15 02:42 | Other
PALMWIND | PALMWIND_UNIT1 | Wind | Forced | 145 | 135 | 10 | 2023-04-15 03:41 | 2023-04-17 22:00 | 2023-04-17 04:50 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 500 | 355 | 2023-04-15 04:22 | 2023-04-15 10:00 | 2023-04-15 09:00 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Unavoidable Extension | 153 | 9 | 144 | 2023-04-15 06:59 | 2023-04-21 23:59 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Unavoidable Extension | 149 | 9 | 140 | 2023-04-15 06:59 | 2023-04-21 23:59 |  | Other
BTM | BTM_UNIT4 | Natural Gas | Maintenance Level 1 | 45 | 0 | 45 | 2023-04-15 07:00 | 2023-04-15 17:00 | 2023-04-15 17:00 | Other
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced Extension | 213 | 0 | 213 | 2023-04-15 08:47 | 2023-04-15 12:00 | 2023-04-15 11:31 | Other
HAYSEN | HAYSEN_HAYSENG3 | Natural Gas | Forced | 213 | 0 | 213 | 2023-04-15 08:47 | 2023-04-15 08:48 | 2023-04-15 09:42 | Cooling Water Problems/Repairs
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 15 | 86 | 2023-04-15 10:23 | 2023-04-17 18:00 | 2023-04-15 15:42 | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced | 749 | 0 | 749 | 2023-04-15 10:32 | 2023-04-15 12:00 | 2023-04-15 12:00 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 15 | 85 | 2023-04-15 10:46 | 2023-04-17 18:00 | 2023-04-15 18:14 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 15 | 87 | 2023-04-15 10:47 | 2023-04-17 18:00 | 2023-04-15 18:12 | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 128 | 35 | 2023-04-15 12:19 | 2023-04-30 17:30 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced | 120 | 0 | 120 | 2023-04-15 12:37 | 2023-04-16 17:00 | 2023-04-15 22:05 | Overhaul
BLACKJAK | BLACKJAK_UNIT2 | Wind | Forced | 120 | 0 | 120 | 2023-04-15 12:37 | 2023-04-16 17:00 | 2023-04-15 22:05 | Overhaul
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 76 | 14 | 2023-04-15 12:40 | 2023-04-30 23:59 | 2023-04-16 12:28 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 108 | 18 | 2023-04-15 12:40 | 2023-04-30 23:59 | 2023-04-16 12:28 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 830 | 25 | 2023-04-15 12:46 | 2023-04-15 20:00 | 2023-04-15 19:46 | Exhaust Problems/Repairs
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 100 | 15 | 2023-04-15 12:49 | 2023-04-30 23:59 | 2023-04-16 12:29 | Turbine/Generator Vibration/Repair
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 95 | 15 | 2023-04-15 12:50 | 2023-04-30 23:59 | 2023-04-16 12:31 | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 363 | 386 | 2023-04-15 12:56 | 2023-04-18 23:59 |  | Inlet Air Problems/Repairs
STEAM | STEAM_STEAM_2 | Natural Gas | Forced | 22 | 10 | 12 | 2023-04-15 14:11 | 2023-04-21 23:59 | 2023-04-15 21:56 | Tube Leak
THW | THW_THWST_4 | Natural Gas | Forced Extension | 109 | 65 | 44 | 2023-04-15 15:15 | 2023-04-16 10:00 | 2023-04-16 08:55 | Exhaust Problems/Repairs
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 50 | 51 | 2023-04-15 15:43 | 2023-04-17 18:00 | 2023-04-17 15:48 | Other
BUCKTHRN | BUCKTHRN_UNIT2 | Wind | Unavoidable Extension | 56 | 45 | 11 | 2023-04-15 17:00 | 2023-04-21 23:59 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 24 | 76 | 2023-04-15 18:14 | 2023-04-17 18:00 | 2023-04-17 13:48 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 33 | 69 | 2023-04-15 18:16 | 2023-04-17 18:00 | 2023-04-16 19:33 | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 200 | 302 | 2023-04-15 18:16 | 2023-04-19 23:58 |  | Feedwater Problems/Repairs
PENA | PENA_UNIT1 | Wind | Forced | 161 | 24 | 137 | 2023-04-15 18:17 | 2023-04-17 18:00 | 2023-04-16 19:28 | Turbine/Generator Vibration/Repair
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 0 | 165 | 2023-04-15 19:25 | 2023-04-17 09:30 |  | Other
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced | 68 | 41 | 27 | 2023-04-15 19:45 | 2023-05-01 16:00 |  | Other
GALLOWAY | GALLOWAY_SOLAR1 | Solar | Maintenance Level 3 | 250 | 0 | 250 | 2023-04-15 20:00 | 2023-04-16 05:00 | 2023-04-16 03:44 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced Extension | 161 | 154 | 7 | 2023-04-15 20:32 | 2023-04-19 12:00 |  | Other
DIB | DIB_DIB_G2 | Natural Gas | Forced | 70 | 0 | 70 | 2023-04-15 20:41 | 2023-04-17 23:59 | 2023-04-15 20:42 | Other
DIB | DIB_DIB_G2 | Natural Gas | Forced | 70 | 70 | 0 | 2023-04-15 20:41 | 2023-04-17 23:59 | 2023-04-15 20:42 | Other
DIB | DIB_DIB_G2 | Natural Gas | Forced | 70 | 0 | 70 | 2023-04-15 20:42 | 2023-04-16 23:59 | 2023-04-16 05:08 | Other
DIB | DIB_DIB_G4 | Natural Gas | Forced Extension | 81 | 0 | 81 | 2023-04-15 20:55 | 2023-04-18 23:59 |  | Other
STEAM | STEAM_STEAM_2 | Natural Gas | Forced | 22 | 0 | 22 | 2023-04-15 21:56 | 2023-04-21 18:00 |  | Tube Leak
2023-04-18 |  |  |  | 2 |  |  |  | 7:42