## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-05-06 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: May 3, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2022-05-08 23:37 | 2023-05-07 23:59 |  | Unknown
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-05-30 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-05-30 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-05-12 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-05-17 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-05-31 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-06-15 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-05-26 23:59 |  | Exhaust Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced Extension | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-05-31 17:00 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-12-23 18:08 | 2023-05-31 23:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
MDANP | MDANP_CT6 | Natural Gas | Forced Extension | 246 | 247 | 0 | 2023-01-01 00:01 | 2023-05-05 23:59 | 2023-05-05 23:45 | Temperature Limit
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced Extension | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-05-07 08:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-06-30 08:24 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-05-31 23:59 |  | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-02-02 14:45 | 2023-12-31 23:59 | 2023-05-03 18:17 | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 101 | 0 | 101 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-09-30 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-05-19 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-05-31 16:00 |  | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2023-02-27 05:51 | 2024-02-26 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 191 | 11 | 2023-02-27 06:48 | 2023-12-31 23:59 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 4 | 19 | 2023-02-28 21:35 | 2023-12-28 21:35 |  | Other
AZ | AZ_AZ_G3 | Natural Gas | Unavoidable Extension | 36 | 0 | 36 | 2023-03-01 00:01 | 2023-05-12 23:59 |  | Other
CITYVICT | CITYVICT_CTG02 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-01 06:00 | 2023-05-12 22:00 |  | Turbine/Generator Vibration/Repair
TGCCS | TGCCS_CT1 | Natural Gas | Unavoidable Extension | 162 | 0 | 162 | 2023-03-01 07:04 | 2023-06-02 12:49 |  | Overhaul
TGCCS | TGCCS_CT2 | Natural Gas | Unavoidable Extension | 179 | 0 | 179 | 2023-03-01 07:04 | 2023-06-02 12:50 |  | Overhaul
TGCCS | TGCCS_CT3 | Natural Gas | Unavoidable Extension | 178 | 0 | 178 | 2023-03-01 07:05 | 2023-06-02 12:50 |  | Overhaul
TGCCS | TGCCS_UNIT4 | Natural Gas | Unavoidable Extension | 389 | 0 | 389 | 2023-03-01 07:05 | 2023-06-02 12:50 |  | Overhaul
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 14 | 41 | 2023-03-01 09:48 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 45 | 3 | 2023-03-01 09:50 | 2023-12-28 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Unavoidable Extension | 391 | 0 | 391 | 2023-03-01 14:04 | 2023-05-06 18:00 |  | Overhaul
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 57 | 96 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 50 | 97 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Unavoidable Extension | 109 | 0 | 109 | 2023-03-03 09:00 | 2023-06-30 23:55 |  | Overhaul
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-03-06 17:00 | 2023-05-06 21:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-05-12 17:00 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 138 | 5 | 2023-03-09 08:00 | 2023-05-26 18:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 112 | 4 | 2023-03-09 08:00 | 2023-05-26 18:00 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 100 | 22 | 2023-03-09 08:00 | 2023-05-26 16:00 |  | Other
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 104 | 11 | 2023-03-10 17:31 | 2023-05-08 12:00 |  | Other
MIL | MIL_MILLERG4 | Natural Gas | Unavoidable Extension | 104 | 0 | 104 | 2023-03-11 00:01 | 2023-05-12 23:59 |  | Other
SILASRAY | SILASRAY_SILAS_10 | Natural Gas | Forced Extension | 46 | 39 | 7 | 2023-03-16 10:00 | 2023-05-05 23:59 | 2023-05-04 16:25 | Other
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-03-17 07:20 | 2023-05-04 23:59 | 2023-05-04 23:59 | Other
UCC_COGN | UCC_COGN_UCC_C_2 | Blast-Furnace Gas | Unavoidable Extension | 15 | 0 | 15 | 2023-03-17 09:00 | 2023-05-12 15:00 |  | Lack of Steam Load Availability
CVC | CVC_CVC_G1 | Natural Gas | Unavoidable Extension | 181 | 0 | 181 | 2023-03-18 00:01 | 2023-06-21 17:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1227 | 1224 | 3 | 2023-03-19 19:40 | 2023-06-23 09:40 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-20 10:00 | 2023-05-15 19:00 |  | Boroscope
BYU | BYU_BYU_G3 | Natural Gas | Forced Extension | 85 | 0 | 85 | 2023-03-20 10:20 | 2023-05-13 23:59 |  | Tube Leak
WFTANK | WFTANK_ESS1 | Not Available | Forced | 150 | 20 | 130 | 2023-03-21 12:06 | 2023-05-10 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Unavoidable Extension | 83 | 0 | 83 | 2023-03-22 10:12 | 2023-05-22 18:00 |  | Overhaul
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-06-05 17:00 |  | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 491 | 45 | 2023-03-24 12:35 | 2023-05-19 23:59 |  | Feedwater Problems/Repairs
BYU | BYU_BYU_G3 | Natural Gas | Unavoidable Extension | 85 | 0 | 85 | 2023-03-24 20:00 | 2023-05-06 20:00 |  | Other
BOSQUESW | BOSQUESW_BSQSU_4 | Natural Gas | Unavoidable Extension | 84 | 0 | 84 | 2023-03-25 00:32 | 2023-05-17 23:59 |  | Boroscope
KMCHI | KMCHI_2CT201 | Natural Gas | Forced Extension | 161 | 0 | 161 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced Extension | 323 | 150 | 173 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-06-05 17:00 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 8 | 30 | 2023-03-27 19:25 | 2023-06-01 23:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 45 | 105 | 2023-03-28 08:30 | 2023-09-29 17:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 101 | 23 | 2023-03-29 10:51 | 2023-05-31 17:00 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 85 | 61 | 2023-03-30 19:15 | 2023-05-18 23:59 |  | Feedwater Problems/Repairs
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 400 | 12 | 2023-03-30 19:20 | 2023-05-19 23:59 |  | Other
VICTPORT | VICTPORT_CTG01 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-31 06:00 | 2023-05-20 19:00 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 18 | 132 | 2023-03-31 18:00 | 2023-09-29 17:00 |  | Other
CHE | CHE_GT2 | Natural Gas | Forced Extension | 169 | 0 | 169 | 2023-04-01 03:07 | 2023-06-23 23:59 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 27 | 138 | 2023-04-01 18:19 | 2023-05-31 18:30 |  | Unknown
THW | THW_THWST_4 | Natural Gas | Forced | 109 | 78 | 31 | 2023-04-01 20:43 | 2023-05-14 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
FORMOSA | FORMOSA_FORMOSG15 | Natural Gas | Forced Extension | 93 | 0 | 93 | 2023-04-02 | 2023-05-08 16:00 |  | Combustion Inspection and Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 96 | 5 | 2023-04-02 | 2023-05-31 17:00 |  | Turbine/Generator Vibration/Repair
FORMOSA | FORMOSA_FORMOSG6 | Purchased Steam | Unavoidable Extension | 32 | 0 | 32 | 2023-04-02 09:00 | 2023-05-05 16:00 | 2023-05-04 09:16 | Overhaul
FORMOSA | FORMOSA_FORMOSG5 | Natural Gas | Maintenance Level 2 | 83 | 0 | 83 | 2023-04-02 10:00 | 2023-05-05 16:00 |  | Overhaul
FORMOSA | FORMOSA_FORMOSG13 | Natural Gas | Unavoidable Extension | 40 | 0 | 40 | 2023-04-02 11:00 | 2023-05-08 19:00 |  | Other
SPNCER | SPNCER_SPNCE_5 | Natural Gas | Forced Extension | 61 | 0 | 61 | 2023-04-03 00:01 | 2023-05-10 20:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 391 | 358 | 2023-04-03 19:29 | 2023-05-26 23:59 |  | Inlet Air Problems/Repairs
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 169 | 155 | 14 | 2023-04-04 08:37 | 2023-06-23 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 0 | 85 | 2023-04-05 11:16 | 2023-05-31 18:30 |  | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 96 | 24 | 2023-04-05 18:01 | 2023-05-12 18:00 |  | Other
MCDLD | MCDLD_SB4_G87 | Wind | Forced Extension | 4 | 0 | 4 | 2023-04-07 17:02 | 2023-06-30 17:00 |  | Other
GOAT | GOAT_GOATWIN2 | Wind | Forced Extension | 70 | 50 | 20 | 2023-04-07 22:00 | 2023-05-05 23:59 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 767 | 69 | 2023-04-08 10:20 | 2023-05-08 23:59 |  | Inlet Air Problems/Repairs
CHALUPA | CHALUPA_UNIT1 | Wind | Forced Extension | 173 | 160 | 13 | 2023-04-08 16:54 | 2023-06-01 22:00 |  | Other
LEON_CRK | LEON_CRK_LCPCT3 | Natural Gas | Unavoidable Extension | 46 | 0 | 46 | 2023-04-09 | 2023-05-20 23:59 |  | Overhaul
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 400 | 385 | 2023-04-09 08:30 | 2023-05-31 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG8 | Natural Gas | Unavoidable Extension | 35 | 0 | 35 | 2023-04-10 00:25 | 2023-05-08 18:00 | 2023-05-03 14:56 | Other
GRSES | GRSES_UNIT2 | Natural Gas | Unavoidable Extension | 390 | 0 | 390 | 2023-04-11 00:01 | 2023-05-06 23:59 |  | Overhaul
LPCCS | LPCCS_CT11 | Natural Gas | Unavoidable Extension | 161 | 0 | 161 | 2023-04-11 00:01 | 2023-05-28 23:59 |  | Other
LPCCS | LPCCS_CT12 | Natural Gas | Unavoidable Extension | 153 | 0 | 153 | 2023-04-11 00:01 | 2023-05-28 23:59 |  | Other
LPCCS | LPCCS_UNIT1 | Natural Gas | Unavoidable Extension | 204 | 0 | 204 | 2023-04-11 00:01 | 2023-05-28 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-05-17 23:59 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 100 | 26 | 2023-04-12 | 2023-05-12 |  | Other
TURQBESS | TURQBESS_BESS1 | Not Available | Forced | 190 | 190 | 0 | 2023-04-12 09:25 | 2023-05-10 23:59 |  | Other
EXN | EXN_EXN_G15 | Blast-Furnace Gas | Forced Extension | 8 | 0 | 8 | 2023-04-12 10:01 | 2023-05-19 23:59 |  | Other
OXY_CC | OXY_CC_OXY_CCG1 | Natural Gas | Forced | 34 | 2 | 32 | 2023-04-12 15:47 | 2023-05-15 23:59 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 117 | 14 | 2023-04-14 15:00 | 2023-05-12 18:00 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 85 | 37 | 2023-04-14 16:01 | 2023-05-26 16:00 |  | Other
FORMOSA | FORMOSA_FORMOSG1 | Natural Gas | Unavoidable Extension | 83 | 0 | 83 | 2023-04-15 03:00 | 2023-05-05 16:00 | 2023-05-04 16:53 | Combustion Inspection and Repair
ELSAUZ | ELSAUZ_UNIT1 | Wind | Unavoidable Extension | 153 | 9 | 144 | 2023-04-15 06:59 | 2023-05-15 18:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Unavoidable Extension | 149 | 9 | 140 | 2023-04-15 06:59 | 2023-05-15 18:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 363 | 386 | 2023-04-15 12:56 | 2023-05-26 23:59 |  | Inlet Air Problems/Repairs
DIB | DIB_DIB_G4 | Natural Gas | Forced Extension | 81 | 0 | 81 | 2023-04-15 20:55 | 2023-05-07 23:59 |  | Other
PANDA_S | PANDA_S_SHER1CT1 | Natural Gas | Unavoidable Extension | 218 | 0 | 218 | 2023-04-16 00:01 | 2023-05-08 23:59 |  | Combustion Inspection and Repair
PANDA_S | PANDA_S_SHER1CT2 | Natural Gas | Unavoidable Extension | 217 | 0 | 217 | 2023-04-16 00:01 | 2023-05-08 23:59 |  | Combustion Inspection and Repair
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Unavoidable Extension | 308 | 0 | 308 | 2023-04-16 00:01 | 2023-05-08 23:59 |  | Combustion Inspection and Repair
PYR | PYR_PYRON2 | Wind | Maintenance Level 2 | 128 | 24 | 104 | 2023-04-16 08:01 | 2023-05-26 16:00 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 197 | 90 | 107 | 2023-04-16 23:00 | 2023-05-15 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
BTE | BTE_BTE_G4 | Natural Gas | Unavoidable Extension | 147 | 0 | 147 | 2023-04-16 23:00 | 2023-05-15 23:59 |  | Boroscope
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 65 | 81 | 2023-04-17 06:31 | 2023-05-18 20:00 |  | Feedwater Problems/Repairs
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 83 | 65 | 18 | 2023-04-18 00:22 | 2023-05-06 23:59 | 2023-05-05 16:16 | Exhaust Problems/Repairs
EXN | EXN_EXN_G13 | Natural Gas | Unavoidable Extension | 35 | 0 | 35 | 2023-04-19 11:51 | 2023-05-19 23:59 |  | Other
SPNCER | SPNCER_SPNCE_4 | Natural Gas | Forced Extension | 57 | 40 | 17 | 2023-04-19 13:22 | 2023-05-18 23:59 |  | Cooling Water Problems/Repairs
RIPPEY | RIPPEY_UNIT1 | Solar | Forced Extension | 60 | 0 | 60 | 2023-04-21 09:42 | 2023-05-14 23:59 |  | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-04-21 13:03 | 2023-05-26 23:59 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 89 | 36 | 2023-04-21 14:44 | 2023-05-12 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 86 | 39 | 2023-04-21 14:44 | 2023-05-12 18:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 140 | 10 | 2023-04-21 16:00 | 2023-05-05 16:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 140 | 10 | 2023-04-21 16:00 | 2023-05-05 16:00 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 120 | 0 | 120 | 2023-04-21 16:37 | 2023-05-12 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 62 | 0 | 62 | 2023-04-21 16:39 | 2023-05-12 23:59 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 91 | 18 | 2023-04-21 17:50 | 2023-05-31 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 94 | 15 | 2023-04-21 17:50 | 2023-05-31 23:59 |  | Other
GIDEON | GIDEON_GIDEONG2 | Natural Gas | Unavoidable Extension | 133 | 0 | 133 | 2023-04-22 01:23 | 2023-05-08 23:00 |  | Other
GUADG | GUADG_GAS3 | Natural Gas | Unavoidable Extension | 158 | 0 | 158 | 2023-04-22 01:30 | 2023-05-03 06:00 | 2023-05-03 04:48 | Boroscope
GUADG | GUADG_GAS4 | Natural Gas | Unavoidable Extension | 158 | 0 | 158 | 2023-04-22 01:30 | 2023-05-14 23:59 |  | Boroscope
GUADG | GUADG_STM6 | Natural Gas | Unavoidable Extension | 200 | 0 | 200 | 2023-04-22 01:30 | 2023-05-03 06:00 | 2023-05-03 04:48 | Boroscope
GIDEON | GIDEON_GIDEONG1 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2023-04-22 01:43 | 2023-05-11 23:00 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 184 | 13 | 2023-04-22 14:49 | 2023-05-31 23:59 | 2023-05-03 23:18 | Other
PSG | PSG_PSG_GT2 | Natural Gas | Unavoidable Extension | 170 | 0 | 170 | 2023-04-23 00:01 | 2023-05-03 23:59 | 2023-05-03 19:00 | Boroscope
SL | SL_SL_G4 | Waste/Other Coal | Maintenance Level 2 | 30 | 0 | 30 | 2023-04-23 03:00 | 2023-05-25 17:00 | 2023-05-03 09:38 | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced Extension | 50 | 35 | 15 | 2023-04-23 11:37 | 2023-05-23 17:00 | 2023-05-03 23:59 | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced Extension | 50 | 35 | 15 | 2023-04-23 11:37 | 2023-05-23 17:00 | 2023-05-03 23:59 | Other
STEAM | STEAM_STEAM_2 | Natural Gas | Forced Extension | 22 | 0 | 22 | 2023-04-23 12:30 | 2023-05-12 23:59 |  | Tube Leak
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced Extension | 68 | 50 | 18 | 2023-04-25 07:06 | 2023-05-08 23:59 |  | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced Extension | 126 | 114 | 12 | 2023-04-25 16:12 | 2023-05-05 20:00 | 2023-05-03 09:00 | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 98 | 5 | 2023-04-25 21:05 | 2023-05-05 23:59 | 2023-05-05 02:49 | Other
FTR | FTR_FTR_G1 | Natural Gas | Unavoidable Extension | 180 | 0 | 180 | 2023-04-26 | 2023-05-05 12:00 | 2023-05-05 12:00 | Other
FTR | FTR_FTR_G2 | Natural Gas | Unavoidable Extension | 180 | 0 | 180 | 2023-04-26 | 2023-05-05 12:00 | 2023-05-05 12:00 | Other
FTR | FTR_FTR_G3 | Natural Gas | Unavoidable Extension | 180 | 0 | 180 | 2023-04-26 | 2023-05-05 12:00 | 2023-05-05 12:00 | Other
FTR | FTR_FTR_G4 | Natural Gas | Unavoidable Extension | 400 | 0 | 400 | 2023-04-26 | 2023-05-05 12:00 | 2023-05-05 12:00 | Other
DOWGEN | DOWGEN_DOW_GT96 | Natural Gas | Forced | 179 | 0 | 179 | 2023-04-26 07:00 | 2023-05-03 10:00 | 2023-05-03 10:00 | Boroscope
VERAWIND | VERAWIND_UNIT5 | Wind | Forced Extension | 101 | 96 | 5 | 2023-04-26 08:30 | 2023-05-12 17:00 |  | Turbine/Generator Vibration/Repair
AMOCOOIL | AMOCOOIL_AMOCO_G2 | Natural Gas | Unavoidable Extension | 160 | 0 | 160 | 2023-04-26 23:59 | 2023-05-05 23:59 | 2023-05-05 14:00 | Other
DDPEC | DDPEC_GT4 | Natural Gas | Unavoidable Extension | 202 | 0 | 202 | 2023-04-27 00:01 | 2023-05-07 23:59 |  | Other
DDPEC | DDPEC_ST1 | Natural Gas | Unavoidable Extension | 290 | 175 | 115 | 2023-04-27 00:01 | 2023-05-07 23:59 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced Extension | 90 | 40 | 50 | 2023-04-27 03:00 | 2023-05-10 09:00 |  | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 118 | 34 | 2023-04-27 08:55 | 2023-05-31 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-05-31 12:00 |  | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2023-04-27 11:03 | 2023-05-06 23:59 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 184 | 0 | 2023-04-27 12:38 | 2023-05-31 23:59 |  | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 65 | 60 | 2023-04-27 15:05 | 2023-05-09 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 105 | 20 | 2023-04-27 15:05 | 2023-05-09 18:00 |  | Other
AVIATOR | AVIATOR_UNIT2 | Wind | Forced Extension | 146 | 128 | 18 | 2023-04-28 05:50 | 2023-05-06 12:00 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 142 | 21 | 2023-04-28 05:50 | 2023-05-05 18:00 | 2023-05-05 17:05 | Other
BTM | BTM_UNIT1 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-06 19:00 |  | Other
BTM | BTM_UNIT2 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-06 19:00 |  | Other
BTM | BTM_UNIT3 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-06 19:00 |  | Other
BTM | BTM_UNIT4 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-06 19:00 |  | Other
BTM | BTM_UNIT5 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-06 19:00 |  | Other
BTM | BTM_UNIT6 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-06 19:00 |  | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 26 | 141 | 2023-04-28 08:00 | 2023-05-08 17:00 |  | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 66 | 80 | 2023-04-28 08:00 | 2023-05-08 17:00 | 2023-05-04 07:59 | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 165 | 15 | 2023-04-28 09:02 | 2023-05-19 08:58 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 154 | 15 | 2023-04-28 11:43 | 2023-05-05 16:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 159 | 10 | 2023-04-28 11:43 | 2023-05-05 16:00 |  | Other
SKY1 | SKY1_SKY1B | Natural Gas | Forced Extension | 27 | 17 | 10 | 2023-04-28 15:26 | 2023-05-07 23:59 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 110 | 55 | 2023-04-28 17:35 | 2023-05-05 17:00 | 2023-05-05 16:47 | Unknown
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 0 | 130 | 2023-04-28 21:15 | 2023-05-12 12:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-04-29 | 2023-06-30 23:59 |  | Combustion Inspection and Repair
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 160 | 43 | 2023-04-29 00:01 | 2023-05-06 23:59 |  | Other
HAYSEN | HAYSEN_HAYSENG2 | Natural Gas | Maintenance Level 3 | 214 | 0 | 214 | 2023-04-29 00:01 | 2023-05-16 23:58 |  | Turbine/Generator Vibration/Repair
PANDA_T1 | PANDA_T1_TMPL1CT1 | Natural Gas | Maintenance Level 3 | 220 | 0 | 220 | 2023-04-29 00:01 | 2023-05-22 23:59 |  | Other
PANDA_T1 | PANDA_T1_TMPL1CT2 | Natural Gas | Maintenance Level 3 | 207 | 0 | 207 | 2023-04-29 00:01 | 2023-05-22 23:59 |  | Other
PANDA_T1 | PANDA_T1_TMPL1ST1 | Natural Gas | Maintenance Level 3 | 324 | 0 | 324 | 2023-04-29 00:01 | 2023-05-22 23:59 |  | Other
PALMWIND | PALMWIND_UNIT1 | Wind | Forced | 145 | 125 | 20 | 2023-04-29 06:21 | 2023-05-26 22:00 | 2023-05-03 00:18 | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 56 | 46 | 2023-04-29 16:47 | 2023-05-04 18:00 | 2023-05-03 19:41 | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 110 | 15 | 2023-04-29 18:18 | 2023-05-12 12:00 |  | Other
BRAUNIG | BRAUNIG_VHB6CT7 | Natural Gas | Unavoidable Extension | 48 | 0 | 48 | 2023-04-30 | 2023-05-21 23:59 |  | Overhaul
SPNCER | SPNCER_SPNCE_4 | Natural Gas | Maintenance Level 2 | 57 | 0 | 57 | 2023-04-30 00:02 | 2023-05-04 18:00 | 2023-05-04 17:02 | Tube Leak
WCPP | WCPP_CT1 | Natural Gas | Unavoidable Extension | 244 | 0 | 244 | 2023-04-30 00:36 | 2023-05-17 23:59 |  | Overhaul
WCPP | WCPP_CT2 | Natural Gas | Unavoidable Extension | 244 | 0 | 244 | 2023-04-30 00:36 | 2023-05-17 23:59 |  | Overhaul
WCPP | WCPP_ST1 | Natural Gas | Unavoidable Extension | 298 | 0 | 298 | 2023-04-30 00:36 | 2023-05-17 23:59 |  | Overhaul
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 0 | 824 | 2023-04-30 04:04 | 2023-05-04 17:00 | 2023-05-03 20:22 | Exhaust Problems/Repairs
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 176 | 10 | 2023-04-30 04:47 | 2023-05-31 23:58 |  | Other
INGLCOSW | INGLCOSW_CTG1 | Natural Gas | Unavoidable Extension | 170 | 0 | 170 | 2023-04-30 09:00 | 2023-05-06 23:59 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 147 | 35 | 2023-04-30 10:33 | 2023-05-31 23:59 | 2023-05-04 12:11 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 46 | 49 | 2023-04-30 11:57 | 2023-05-26 22:00 | 2023-05-04 18:40 | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 139 | 22 | 2023-04-30 15:55 | 2023-05-04 18:00 | 2023-05-03 19:34 | Other
MADERO | MADERO_UNIT1 | Not Available | Forced Extension | 100 | 0 | 100 | 2023-04-30 17:20 | 2023-05-10 23:59 | 2023-05-04 19:40 | Unknown
PSG | PSG_PSG_ST2 | Natural Gas | Forced Extension | 168 | 85 | 83 | 2023-04-30 18:14 | 2023-05-03 23:59 | 2023-05-03 19:00 | Steam Turbine Limited/Unavailable Due to CT/GT Work
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 92 | 11 | 2023-04-30 19:22 | 2023-05-30 23:59 | 2023-05-05 02:52 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 72 | 18 | 2023-05-01 | 2023-05-05 23:59 | 2023-05-03 18:40 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 95 | 31 | 2023-05-01 | 2023-05-05 23:59 | 2023-05-03 18:40 | Other
BORDAS | BORDAS_JAVEL20 | Wind | Forced | 230 | 206 | 24 | 2023-05-01 00:01 | 2023-05-30 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 202 | 30 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 148 | 2 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 114 | 0 | 2023-05-01 00:01 | 2023-05-31 23:59 | 2023-05-04 03:16 | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 205 | 8 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 80 | 12 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 115 | 35 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 149 | 3 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 129 | 4 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 61 | 31 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 81 | 5 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT3 | Wind | Forced | 149 | 149 | 0 | 2023-05-01 00:01 | 2023-05-31 23:59 | 2023-05-03 23:18 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 135 | 13 | 2023-05-01 04:15 | 2023-05-31 18:00 |  | Other
SALTFORK | SALTFORK_UNIT1 | Wind | Forced | 64 | 62 | 2 | 2023-05-01 04:17 | 2023-05-03 23:59 | 2023-05-03 23:59 | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced | 110 | 100 | 10 | 2023-05-01 04:17 | 2023-05-03 23:59 | 2023-05-03 23:59 | Other
DDPEC | DDPEC_GT1 | Natural Gas | Unavoidable Extension | 190 | 0 | 190 | 2023-05-01 07:01 | 2023-05-08 23:59 |  | Other
AJAXWIND | AJAXWIND_UNIT1 | Wind | Unavoidable Extension | 226 | 0 | 226 | 2023-05-01 08:00 | 2023-05-05 15:00 | 2023-05-03 18:52 | Other
AJAXWIND | AJAXWIND_UNIT2 | Wind | Unavoidable Extension | 141 | 0 | 141 | 2023-05-01 08:00 | 2023-05-05 15:00 | 2023-05-03 18:52 | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 148 | 3 | 2023-05-01 08:56 | 2023-05-08 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 89 | 9 | 2023-05-01 08:56 | 2023-05-08 14:00 |  | Other
DERMOTT | DERMOTT_UNIT1 | Wind | Unavoidable Extension | 127 | 0 | 127 | 2023-05-01 09:00 | 2023-05-07 18:00 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 81 | 57 | 2023-05-01 12:01 | 2023-05-05 12:00 | 2023-05-04 18:19 | Other
S_HILLS | S_HILLS_UNIT1 | Wind | Unavoidable Extension | 30 | 0 | 30 | 2023-05-01 12:34 | 2023-05-04 15:00 | 2023-05-04 15:58 | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-05-31 23:59 |  | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced Extension | 127 | 126 | 1 | 2023-05-01 13:39 | 2023-05-07 18:00 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 120 | 45 | 2023-05-01 15:15 | 2023-05-05 17:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 130 | 21 | 2023-05-01 15:56 | 2023-05-08 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 129 | 22 | 2023-05-01 15:56 | 2023-05-08 18:00 |  | Other
OECCS | OECCS_CT21 | Natural Gas | Forced Extension | 165 | 0 | 165 | 2023-05-01 16:44 | 2023-05-06 11:59 |  | Other
OECCS | OECCS_CT22 | Natural Gas | Forced Extension | 156 | 0 | 156 | 2023-05-01 16:44 | 2023-05-06 11:59 |  | Other
OECCS | OECCS_UNIT2 | Natural Gas | Forced Extension | 206 | 0 | 206 | 2023-05-01 16:44 | 2023-05-06 11:59 |  | Other
JADE_SLR | JADE_SLR_UNIT1 | Solar | Forced | 158 | 150 | 8 | 2023-05-01 21:33 | 2023-05-08 19:00 |  | Other
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Maintenance Level 2 | 785 | 0 | 785 | 2023-05-01 22:14 | 2023-05-03 23:00 | 2023-05-03 08:14 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 167 | 152 | 15 | 2023-05-02 00:01 | 2023-05-04 00:11 | 2023-05-04 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 159 | 145 | 14 | 2023-05-02 00:01 | 2023-05-04 00:11 | 2023-05-04 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 159 | 145 | 14 | 2023-05-02 00:01 | 2023-05-04 00:11 | 2023-05-04 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 167 | 151 | 16 | 2023-05-02 00:01 | 2023-05-04 00:11 | 2023-05-04 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 159 | 144 | 15 | 2023-05-02 00:01 | 2023-05-04 00:11 | 2023-05-04 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 159 | 144 | 15 | 2023-05-02 00:01 | 2023-05-04 00:11 | 2023-05-04 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 153 | 138 | 15 | 2023-05-02 00:01 | 2023-05-04 00:11 | 2023-05-04 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 161 | 145 | 16 | 2023-05-02 00:01 | 2023-05-04 00:11 | 2023-05-04 | Other
MCSES | MCSES_UNIT7 | Natural Gas | Maintenance Level 1 | 118 | 0 | 118 | 2023-05-02 00:01 | 2023-05-04 23:59 | 2023-05-04 23:59 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 165 | 151 | 14 | 2023-05-02 00:01 | 2023-05-04 00:03 | 2023-05-04 00:01 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 165 | 158 | 7 | 2023-05-02 00:01 | 2023-05-04 00:11 | 2023-05-04 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 156 | 150 | 6 | 2023-05-02 00:01 | 2023-05-04 00:11 | 2023-05-04 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 156 | 142 | 14 | 2023-05-02 00:01 | 2023-05-04 00:03 | 2023-05-04 00:01 | Other
THW | THW_THWGT33 | Natural Gas | Maintenance Level 1 | 56 | 0 | 56 | 2023-05-02 00:01 | 2023-05-04 23:59 | 2023-05-04 20:52 | Fuel Problems/Repairs
THW | THW_THWST_3 | Natural Gas | Maintenance Level 1 | 109 | 82 | 27 | 2023-05-02 00:01 | 2023-05-04 23:59 | 2023-05-04 20:52 | Fuel Problems/Repairs
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 150 | 11 | 2023-05-02 02:46 | 2023-05-06 23:59 | 2023-05-05 02:00 | Other
TRINITY | TRINITY_TH1_BUS1 | Wind | Unavoidable Extension | 103 | 0 | 103 | 2023-05-02 07:00 | 2023-05-04 18:00 | 2023-05-04 16:59 | Other
TRINITY | TRINITY_TH1_BUS2 | Wind | Unavoidable Extension | 95 | 0 | 95 | 2023-05-02 07:00 | 2023-05-04 18:00 | 2023-05-04 16:59 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 34 | 66 | 2023-05-02 07:11 | 2023-05-08 20:00 | 2023-05-05 18:53 | Other
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 104 | 16 | 2023-05-02 07:14 | 2023-05-08 18:00 |  | Turbine/Generator Vibration/Repair
LMAJADAS | LMAJADAS_UNIT3 | Wind | Forced | 139 | 123 | 16 | 2023-05-02 07:15 | 2023-05-05 23:59 | 2023-05-04 07:33 | Other
MIAM1 | MIAM1_G1 | Wind | Unavoidable Extension | 144 | 0 | 144 | 2023-05-02 07:20 | 2023-05-04 12:00 | 2023-05-03 20:15 | Other
MIAM1 | MIAM1_G2 | Wind | Unavoidable Extension | 144 | 0 | 144 | 2023-05-02 07:20 | 2023-05-04 12:00 | 2023-05-03 20:15 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 141 | 11 | 2023-05-02 08:00 | 2023-05-31 |  | Other
DUKE | DUKE_DUKE_GT2 | Natural Gas | Maintenance Level 2 | 143 | 0 | 143 | 2023-05-02 08:01 | 2023-05-14 23:59 |  | Overhaul
DUKE | DUKE_DUKE_ST1 | Natural Gas | Maintenance Level 2 | 172 | 80 | 92 | 2023-05-02 08:01 | 2023-05-14 23:59 |  | Overhaul
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 805 | 50 | 2023-05-02 08:40 | 2023-05-04 23:59 | 2023-05-03 07:13 | Other
GRSES | GRSES_UNIT1 | Natural Gas | Forced | 239 | 0 | 239 | 2023-05-02 09:10 | 2023-05-03 23:59 | 2023-05-03 13:30 | Tube Leak
APOGEE | APOGEE_UNIT4 | Wind | Forced Extension | 115 | 95 | 20 | 2023-05-02 10:32 | 2023-05-08 23:59 |  | Turbine/Generator Vibration/Repair
RIONOG | RIONOG_ST1 | Blast-Furnace Gas | Forced | 306 | 306 | 0 | 2023-05-02 13:00 | 2023-05-31 23:59 |  | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 840 | 15 | 2023-05-02 13:05 | 2023-05-04 09:00 | 2023-05-03 07:04 | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 593 | 243 | 2023-05-02 15:58 | 2023-05-08 23:59 |  | Inlet Air Problems/Repairs
OWF | OWF_OWF | Wind | Forced Extension | 55 | 6 | 49 | 2023-05-02 17:06 | 2023-05-12 23:59 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 91 | 10 | 2023-05-02 17:49 | 2023-05-12 18:00 |  | Other
CBY4 | CBY4_CT42 | Natural Gas | Forced Extension | 168 | 0 | 168 | 2023-05-02 17:51 | 2023-05-03 05:00 | 2023-05-03 04:57 | Unknown
CBY4 | CBY4_ST04 | Natural Gas | Forced Extension | 182 | 91 | 91 | 2023-05-02 17:51 | 2023-05-03 05:00 | 2023-05-03 04:57 | Unknown
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced | 18 | 0 | 18 | 2023-05-02 18:59 | 2023-05-03 23:59 | 2023-05-03 07:18 | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 45 | 5 | 2023-05-02 19:00 | 2023-05-16 19:00 | 2023-05-04 14:29 | Other
WAP | WAP_WAP_G5 | Bituminous Coal | Forced | 664 | 651 | 13 | 2023-05-02 19:55 | 2023-05-03 23:59 | 2023-05-03 07:10 | Inlet Air Problems/Repairs
JUNO | JUNO_UNIT1 | Solar | Maintenance Level 2 | 162 | 0 | 162 | 2023-05-02 20:00 | 2023-05-03 06:00 | 2023-05-03 03:46 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 810 | 45 | 2023-05-02 20:00 | 2023-05-03 08:00 | 2023-05-03 07:13 | Fuel Limitation/Lack of Fuel Availability
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 696 | 49 | 2023-05-02 20:09 | 2023-05-05 23:59 | 2023-05-04 07:25 | Inlet Air Problems/Repairs
CRANELL | CRANELL_UNIT1 | Wind | Forced | 220 | 152 | 68 | 2023-05-02 20:18 | 2023-05-03 17:00 | 2023-05-03 14:54 | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 2 | 180 | 0 | 180 | 2023-05-02 20:30 | 2023-05-03 06:00 | 2023-05-03 04:18 | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 2 | 172 | 0 | 172 | 2023-05-02 20:30 | 2023-05-03 06:00 | 2023-05-03 04:18 | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 187 | 14 | 2023-05-02 23:29 | 2023-05-31 23:59 |  | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced | 663 | 587 | 76 | 2023-05-02 23:30 | 2023-05-03 05:00 | 2023-05-03 01:42 | Fuel Limitation/Lack of Fuel Availability
DEC | DEC_AGR_D | Natural Gas | Forced | 56 | 38 | 18 | 2023-05-02 23:40 | 2023-05-03 01:20 | 2023-05-03 00:52 | Other
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 110 | 18 | 2023-05-02 23:50 | 2023-06-30 23:59 | 2023-05-05 13:22 | Other
HLSES | HLSES_UNIT5 | Natural Gas | Maintenance Level 2 | 435 | 0 | 435 | 2023-05-02 23:59 | 2023-05-03 14:00 | 2023-05-03 14:05 | Other
RAB | RAB_UNIT1 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-05-03 | 2023-05-03 03:00 | 2023-05-03 00:48 | Other
RAB | RAB_UNIT2 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-05-03 | 2023-05-03 03:00 | 2023-05-03 00:48 | Other
RAB | RAB_UNIT3 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-05-03 | 2023-05-03 03:00 | 2023-05-03 00:48 | Other
RAB | RAB_UNIT4 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-05-03 | 2023-05-03 03:00 | 2023-05-03 00:48 | Other
RAB | RAB_UNIT5 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-05-03 | 2023-05-03 03:00 | 2023-05-03 00:48 | Other
RAB | RAB_UNIT6 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-05-03 | 2023-05-03 03:00 | 2023-05-03 00:48 | Other
RAB | RAB_UNIT7 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-05-03 | 2023-05-03 03:00 | 2023-05-03 00:48 | Other
RAB | RAB_UNIT8 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-05-03 | 2023-05-03 03:00 | 2023-05-03 00:48 | Other
TEN | TEN_CT1 | Natural Gas | Maintenance Level 2 | 163 | 0 | 163 | 2023-05-03 00:01 | 2023-05-04 23:59 | 2023-05-03 23:59 | Other
TEN | TEN_STG | Blast-Furnace Gas | Maintenance Level 2 | 106 | 0 | 106 | 2023-05-03 00:01 | 2023-05-04 23:59 | 2023-05-03 23:59 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 580 | 75 | 2023-05-03 03:03 | 2023-05-03 11:59 | 2023-05-03 10:16 | Fuel Problems/Repairs
B_DAVIS | B_DAVIS_B_DAVIG2 | Natural Gas | Maintenance Level 2 | 322 | 0 | 322 | 2023-05-03 04:00 | 2023-05-03 09:00 | 2023-05-03 10:44 | Gas Company Pipeline Work
B_DAVIS | B_DAVIS_B_DAVIG3 | Natural Gas | Maintenance Level 2 | 161 | 0 | 161 | 2023-05-03 04:00 | 2023-05-03 09:00 | 2023-05-03 10:44 | Gas Company Pipeline Work
B_DAVIS | B_DAVIS_B_DAVIG4 | Natural Gas | Maintenance Level 2 | 161 | 0 | 161 | 2023-05-03 04:00 | 2023-05-03 09:00 | 2023-05-03 10:44 | Gas Company Pipeline Work
WES | WES_UNIT1 | Solar | Maintenance Level 2 | 102 | 48 | 54 | 2023-05-03 04:15 | 2023-05-03 12:00 | 2023-05-03 06:44 | Other
GUADG | GUADG_STM6 | Natural Gas | Forced Extension | 200 | 100 | 100 | 2023-05-03 04:49 | 2023-05-14 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
HLSES | HLSES_UNIT5 | Natural Gas | Maintenance Level 1 | 435 | 335 | 100 | 2023-05-03 05:01 | 2023-05-04 18:59 | 2023-05-04 19:28 | Fuel Limitation/Lack of Fuel Availability
BOSQUESW | BOSQUESW_BSQSU_3 | Natural Gas | Unavoidable Extension | 161 | 0 | 161 | 2023-05-03 06:00 | 2023-05-03 20:00 | 2023-05-03 18:37 | Other
BOSQUESW | BOSQUESW_BSQSU_4 | Natural Gas | Unavoidable Extension | 84 | 0 | 84 | 2023-05-03 06:00 | 2023-05-03 20:00 | 2023-05-03 18:37 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 835 | 20 | 2023-05-03 07:07 | 2023-05-04 08:59 | 2023-05-03 11:01 | Fuel Limitation/Lack of Fuel Availability
COYOTE_W | COYOTE_W_UNIT1 | Wind | Maintenance Level 1 | 90 | 0 | 90 | 2023-05-03 07:19 | 2023-05-03 15:00 | 2023-05-03 15:00 | Other
COYOTE_W | COYOTE_W_UNIT2 | Wind | Maintenance Level 1 | 27 | 0 | 27 | 2023-05-03 07:19 | 2023-05-03 15:00 | 2023-05-03 15:00 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Maintenance Level 1 | 126 | 0 | 126 | 2023-05-03 07:19 | 2023-05-03 15:00 | 2023-05-03 15:00 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 153 | 11 | 2023-05-03 07:37 | 2023-05-31 23:59 | 2023-05-04 03:17 | Other
AZ | AZ_AZ_G2 | Natural Gas | Maintenance Level 1 | 36 | 0 | 36 | 2023-05-03 08:00 | 2023-05-05 23:59 | 2023-05-05 00:01 | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Maintenance Level 2 | 116 | 79 | 37 | 2023-05-03 08:00 | 2023-05-03 12:00 | 2023-05-03 11:03 | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Maintenance Level 2 | 103 | 75 | 28 | 2023-05-03 08:00 | 2023-05-03 11:00 | 2023-05-03 11:00 | Other
LEG | LEG_LEG_G2 | Lignite | Forced | 836 | 363 | 473 | 2023-05-03 08:00 | 2023-05-03 09:00 | 2023-05-03 08:44 | Inlet Air Problems/Repairs
FLVABES1 | FLVABES1_FLATU1 | Not Available | Maintenance Level 1 | 10 | 8 | 2 | 2023-05-03 08:01 | 2023-05-03 15:59 | 2023-05-03 15:59 | Other
PRTLAVS | PRTLAVS_BESS1 | Not Available | Maintenance Level 1 | 10 | 0 | 10 | 2023-05-03 09:00 | 2023-05-03 13:00 | 2023-05-03 11:34 | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 0 | 169 | 2023-05-03 09:11 | 2023-05-04 23:59 | 2023-05-04 18:00 | Transformer Repair/Replace
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 0 | 246 | 2023-05-03 09:11 | 2023-05-03 23:59 | 2023-05-03 23:44 | Transformer Repair/Replace
WAP | WAP_WAP_G5 | Bituminous Coal | Forced | 664 | 159 | 505 | 2023-05-03 09:15 | 2023-05-03 12:00 | 2023-05-03 11:00 | Inlet Air Problems/Repairs
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 128 | 20 | 2023-05-03 09:57 | 2023-05-31 18:00 | 2023-05-03 13:43 | Other
AZURE | AZURE_BESS1 | Not Available | Maintenance Level 2 | 78 | 0 | 78 | 2023-05-03 10:03 | 2023-05-03 17:00 | 2023-05-03 16:52 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 120 | 89 | 2023-05-03 10:15 | 2023-05-03 23:59 | 2023-05-03 19:08 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 159 | 51 | 2023-05-03 10:15 | 2023-05-03 23:59 | 2023-05-03 19:08 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 825 | 30 | 2023-05-03 10:20 | 2023-05-04 08:59 | 2023-05-03 15:08 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 145 | 50 | 2023-05-03 10:22 | 2023-05-03 23:59 | 2023-05-03 19:14 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 405 | 450 | 2023-05-03 10:27 | 2023-05-03 18:59 | 2023-05-03 14:00 | Other
STWF | STWF_T1 | Wind | Forced | 98 | 78 | 20 | 2023-05-03 10:28 | 2023-05-03 23:59 | 2023-05-03 23:59 | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Maintenance Level 2 | 103 | 75 | 28 | 2023-05-03 11:00 | 2023-05-03 15:00 | 2023-05-03 15:00 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 755 | 100 | 2023-05-03 11:02 | 2023-05-04 08:59 | 2023-05-03 12:38 | Fuel Limitation/Lack of Fuel Availability
PSG | PSG_PSG_GT3 | Natural Gas | Forced | 170 | 0 | 170 | 2023-05-03 12:34 | 2023-05-03 23:59 | 2023-05-03 15:17 | Other
PSG | PSG_PSG_ST2 | Natural Gas | Forced | 168 | 0 | 168 | 2023-05-03 12:34 | 2023-05-03 23:59 | 2023-05-03 15:17 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 800 | 55 | 2023-05-03 12:38 | 2023-05-04 08:59 | 2023-05-04 08:57 | Fuel Limitation/Lack of Fuel Availability
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 135 | 13 | 2023-05-03 13:44 | 2023-05-31 18:00 | 2023-05-04 08:42 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 775 | 45 | 2023-05-03 14:17 | 2023-05-04 03:00 | 2023-05-04 01:00 | Emissions
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 574 | 81 | 2023-05-03 14:18 | 2023-05-04 05:59 | 2023-05-03 21:09 | Other
TC | TC_TCHP1 | Natural Gas | Forced | 47 | 0 | 47 | 2023-05-03 14:28 | 2023-05-03 21:00 | 2023-05-03 21:00 | Other
GPASTURE | GPASTURE_WIND_I | Wind | Unavoidable Extension | 150 | 12 | 138 | 2023-05-03 14:52 | 2023-05-03 21:00 | 2023-05-03 17:52 | Other
ANDMDSLR | ANDMDSLR_UNIT1 | Solar | Maintenance Level 1 | 158 | 13 | 145 | 2023-05-03 15:05 | 2023-05-03 19:00 | 2023-05-03 19:00 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 795 | 60 | 2023-05-03 15:09 | 2023-05-03 20:30 | 2023-05-03 17:01 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 805 | 50 | 2023-05-03 17:01 | 2023-05-04 20:32 | 2023-05-04 12:30 | Fuel Limitation/Lack of Fuel Availability
PENA | PENA_UNIT1 | Wind | Forced | 161 | 144 | 17 | 2023-05-03 17:34 | 2023-05-12 18:00 |  | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 54 | 48 | 2023-05-03 17:42 | 2023-05-12 18:00 |  | Turbine/Generator Vibration/Repair
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 0 | 655 | 2023-05-03 18:03 | 2023-05-03 23:00 | 2023-05-03 22:22 | Inlet Air Problems/Repairs
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced Extension | 90 | 67 | 23 | 2023-05-03 18:40 | 2023-05-08 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 90 | 36 | 2023-05-03 18:41 | 2023-05-05 23:59 | 2023-05-04 03:57 | Other
ARAGORN | ARAGORN_UNIT1 | Solar | Maintenance Level 2 | 187 | 109 | 78 | 2023-05-03 20:15 | 2023-05-04 06:00 | 2023-05-04 02:55 | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 2 | 180 | 0 | 180 | 2023-05-03 20:30 | 2023-05-04 06:00 | 2023-05-04 00:42 | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 2 | 172 | 0 | 172 | 2023-05-03 20:30 | 2023-05-04 06:00 | 2023-05-04 00:42 | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-03 21:00 | 2023-12-31 23:59 | 2023-05-04 20:31 | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 0 | 412 | 2023-05-03 21:40 | 2023-05-07 23:59 | 2023-05-04 13:41 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 156 | 0 | 156 | 2023-05-03 22:24 | 2023-05-06 23:59 |  | Other
OECCS | OECCS_UNIT1 | Natural Gas | Forced | 206 | 100 | 106 | 2023-05-03 22:24 | 2023-05-06 23:59 |  | Other
OECCS | OECCS_CT11 | Natural Gas | Forced | 165 | 0 | 165 | 2023-05-03 22:28 | 2023-05-05 23:59 | 2023-05-05 14:02 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 156 | 0 | 156 | 2023-05-03 22:28 | 2023-05-05 23:59 | 2023-05-05 14:02 | Other
OECCS | OECCS_UNIT1 | Natural Gas | Forced | 206 | 0 | 206 | 2023-05-03 22:28 | 2023-05-05 23:59 | 2023-05-05 14:02 | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 194 | 3 | 2023-05-03 23:19 | 2023-06-30 23:59 |  | Other
2023-05-06 |  |  |  | 2 |  |  |  | 5:03