## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-05-11 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: May 8, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-05-30 23:59 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-05-30 23:59 |  | Other
PLN | PLN_UNIT2 | Solar | Maintenance Level 1 | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-05-30 17:00 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-05-12 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-06-01 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 147 | 22 | 2022-09-23 10:00 | 2023-05-31 23:59 |  | Exhaust Problems/Repairs
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-06-15 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-05-31 23:59 |  | Exhaust Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced Extension | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-05-31 17:00 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-12-23 18:08 | 2023-05-31 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced Extension | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-06-02 10:00 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-06-30 08:24 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-05-31 23:59 |  | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-05-31 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 101 | 0 | 101 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-09-30 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-05-19 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-05-31 16:00 |  | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2023-02-27 05:51 | 2024-02-26 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 191 | 11 | 2023-02-27 06:48 | 2023-12-31 23:59 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 4 | 19 | 2023-02-28 21:35 | 2023-12-28 21:35 |  | Other
AZ | AZ_AZ_G3 | Natural Gas | Unavoidable Extension | 36 | 0 | 36 | 2023-03-01 00:01 | 2023-05-12 23:59 |  | Other
CITYVICT | CITYVICT_CTG02 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-01 06:00 | 2023-05-12 22:00 | 2023-05-08 19:08 | Turbine/Generator Vibration/Repair
TGCCS | TGCCS_CT1 | Natural Gas | Unavoidable Extension | 162 | 0 | 162 | 2023-03-01 07:04 | 2023-06-02 12:49 |  | Overhaul
TGCCS | TGCCS_CT2 | Natural Gas | Unavoidable Extension | 179 | 0 | 179 | 2023-03-01 07:04 | 2023-06-02 12:50 |  | Overhaul
TGCCS | TGCCS_CT3 | Natural Gas | Unavoidable Extension | 178 | 0 | 178 | 2023-03-01 07:05 | 2023-06-02 12:50 |  | Overhaul
TGCCS | TGCCS_UNIT4 | Natural Gas | Unavoidable Extension | 389 | 0 | 389 | 2023-03-01 07:05 | 2023-06-02 12:50 |  | Overhaul
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 14 | 41 | 2023-03-01 09:48 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 45 | 3 | 2023-03-01 09:50 | 2023-12-28 23:59 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 57 | 96 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 50 | 97 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Unavoidable Extension | 109 | 0 | 109 | 2023-03-03 09:00 | 2023-06-30 23:55 |  | Overhaul
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-03-06 17:00 | 2023-05-12 09:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-05-31 17:00 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 138 | 5 | 2023-03-09 08:00 | 2023-05-26 18:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 112 | 4 | 2023-03-09 08:00 | 2023-05-26 18:00 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 100 | 22 | 2023-03-09 08:00 | 2023-05-26 16:00 |  | Other
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 104 | 11 | 2023-03-10 17:31 | 2023-05-22 12:00 |  | Other
MIL | MIL_MILLERG4 | Natural Gas | Unavoidable Extension | 104 | 0 | 104 | 2023-03-11 00:01 | 2023-05-12 23:59 |  | Other
UCC_COGN | UCC_COGN_UCC_C_2 | Blast-Furnace Gas | Unavoidable Extension | 15 | 0 | 15 | 2023-03-17 09:00 | 2023-05-16 15:00 |  | Lack of Steam Load Availability
CVC | CVC_CVC_G1 | Natural Gas | Unavoidable Extension | 181 | 0 | 181 | 2023-03-18 00:01 | 2023-06-21 17:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1227 | 1224 | 3 | 2023-03-19 19:40 | 2023-06-23 09:40 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-20 10:00 | 2023-05-15 19:00 | 2023-05-08 19:08 | Boroscope
BYU | BYU_BYU_G3 | Natural Gas | Forced Extension | 85 | 0 | 85 | 2023-03-20 10:20 | 2023-05-13 23:59 |  | Tube Leak
WFTANK | WFTANK_ESS1 | Not Available | Forced | 150 | 20 | 130 | 2023-03-21 12:06 | 2023-05-10 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Unavoidable Extension | 83 | 0 | 83 | 2023-03-22 10:12 | 2023-05-22 18:00 |  | Overhaul
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-06-05 17:00 |  | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 491 | 45 | 2023-03-24 12:35 | 2023-05-19 23:59 |  | Feedwater Problems/Repairs
BOSQUESW | BOSQUESW_BSQSU_4 | Natural Gas | Unavoidable Extension | 84 | 0 | 84 | 2023-03-25 00:32 | 2023-05-17 23:59 |  | Boroscope
KMCHI | KMCHI_2CT201 | Natural Gas | Forced Extension | 161 | 0 | 161 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced Extension | 323 | 150 | 173 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-06-05 17:00 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 8 | 30 | 2023-03-27 19:25 | 2023-06-01 23:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 45 | 105 | 2023-03-28 08:30 | 2023-09-29 17:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 101 | 23 | 2023-03-29 10:51 | 2023-05-31 17:00 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 85 | 61 | 2023-03-30 19:15 | 2023-05-18 23:59 | 2023-05-08 16:17 | Feedwater Problems/Repairs
VICTPORT | VICTPORT_CTG01 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-03-31 06:00 | 2023-05-20 19:00 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 18 | 132 | 2023-03-31 18:00 | 2023-09-29 17:00 |  | Other
CHE | CHE_GT2 | Natural Gas | Forced Extension | 169 | 0 | 169 | 2023-04-01 03:07 | 2023-06-23 23:59 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 27 | 138 | 2023-04-01 18:19 | 2023-05-31 18:30 |  | Unknown
THW | THW_THWST_4 | Natural Gas | Forced | 109 | 78 | 31 | 2023-04-01 20:43 | 2023-05-14 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
FORMOSA | FORMOSA_FORMOSG15 | Natural Gas | Forced Extension | 93 | 0 | 93 | 2023-04-02 | 2023-05-08 16:00 | 2023-05-08 16:01 | Combustion Inspection and Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 96 | 5 | 2023-04-02 | 2023-05-31 17:00 |  | Turbine/Generator Vibration/Repair
FORMOSA | FORMOSA_FORMOSG13 | Natural Gas | Unavoidable Extension | 40 | 0 | 40 | 2023-04-02 11:00 | 2023-05-11 19:00 |  | Other
SPNCER | SPNCER_SPNCE_5 | Natural Gas | Forced Extension | 61 | 0 | 61 | 2023-04-03 00:01 | 2023-05-11 20:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 391 | 358 | 2023-04-03 19:29 | 2023-05-31 23:59 |  | Inlet Air Problems/Repairs
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 169 | 155 | 14 | 2023-04-04 08:37 | 2023-06-23 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 0 | 85 | 2023-04-05 11:16 | 2023-05-31 18:30 |  | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 96 | 24 | 2023-04-05 18:01 | 2023-05-12 18:00 |  | Other
MCDLD | MCDLD_SB4_G87 | Wind | Forced Extension | 4 | 0 | 4 | 2023-04-07 17:02 | 2023-06-30 17:00 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 767 | 69 | 2023-04-08 10:20 | 2023-05-15 23:59 |  | Inlet Air Problems/Repairs
CHALUPA | CHALUPA_UNIT1 | Wind | Forced Extension | 173 | 160 | 13 | 2023-04-08 16:54 | 2023-06-01 22:00 |  | Other
LEON_CRK | LEON_CRK_LCPCT3 | Natural Gas | Unavoidable Extension | 46 | 0 | 46 | 2023-04-09 | 2023-05-20 23:59 |  | Overhaul
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 400 | 385 | 2023-04-09 08:30 | 2023-05-31 23:59 |  | Other
LPCCS | LPCCS_CT11 | Natural Gas | Unavoidable Extension | 161 | 0 | 161 | 2023-04-11 00:01 | 2023-05-28 23:59 |  | Other
LPCCS | LPCCS_CT12 | Natural Gas | Unavoidable Extension | 153 | 0 | 153 | 2023-04-11 00:01 | 2023-05-28 23:59 |  | Other
LPCCS | LPCCS_UNIT1 | Natural Gas | Unavoidable Extension | 204 | 0 | 204 | 2023-04-11 00:01 | 2023-05-28 23:59 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-05-17 23:59 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 100 | 26 | 2023-04-12 | 2023-05-12 |  | Other
TURQBESS | TURQBESS_BESS1 | Not Available | Forced | 190 | 190 | 0 | 2023-04-12 09:25 | 2023-05-10 23:59 |  | Other
EXN | EXN_EXN_G15 | Blast-Furnace Gas | Forced Extension | 8 | 0 | 8 | 2023-04-12 10:01 | 2023-05-19 23:59 |  | Other
OXY_CC | OXY_CC_OXY_CCG1 | Natural Gas | Forced | 34 | 2 | 32 | 2023-04-12 15:47 | 2023-05-15 23:59 |  | Other
FERGCC | FERGCC_FERGGT2 | Natural Gas | Unavoidable Extension | 176 | 0 | 176 | 2023-04-13 00:31 | 2023-05-12 08:00 |  | Overhaul
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 117 | 14 | 2023-04-14 15:00 | 2023-05-12 18:00 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 85 | 37 | 2023-04-14 16:01 | 2023-05-26 16:00 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Unavoidable Extension | 153 | 9 | 144 | 2023-04-15 06:59 | 2023-05-15 18:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Unavoidable Extension | 149 | 9 | 140 | 2023-04-15 06:59 | 2023-05-15 18:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 363 | 386 | 2023-04-15 12:56 | 2023-05-28 23:59 |  | Inlet Air Problems/Repairs
DIB | DIB_DIB_G4 | Natural Gas | Forced Extension | 81 | 0 | 81 | 2023-04-15 20:55 | 2023-05-11 23:59 |  | Other
PANDA_S | PANDA_S_SHER1CT1 | Natural Gas | Unavoidable Extension | 218 | 0 | 218 | 2023-04-16 00:01 | 2023-05-10 23:59 | 2023-05-11 | Combustion Inspection and Repair
PANDA_S | PANDA_S_SHER1CT2 | Natural Gas | Unavoidable Extension | 217 | 0 | 217 | 2023-04-16 00:01 | 2023-05-13 23:59 |  | Combustion Inspection and Repair
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Unavoidable Extension | 308 | 0 | 308 | 2023-04-16 00:01 | 2023-05-13 23:59 |  | Combustion Inspection and Repair
PYR | PYR_PYRON2 | Wind | Maintenance Level 2 | 128 | 24 | 104 | 2023-04-16 08:01 | 2023-05-26 16:00 | 2023-05-10 08:00 | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 197 | 90 | 107 | 2023-04-16 23:00 | 2023-05-15 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
BTE | BTE_BTE_G4 | Natural Gas | Unavoidable Extension | 147 | 0 | 147 | 2023-04-16 23:00 | 2023-05-15 23:59 | 2023-05-09 13:37 | Boroscope
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 65 | 81 | 2023-04-17 06:31 | 2023-05-18 20:00 | 2023-05-08 16:17 | Feedwater Problems/Repairs
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
EXN | EXN_EXN_G13 | Natural Gas | Unavoidable Extension | 35 | 0 | 35 | 2023-04-19 11:51 | 2023-05-19 23:59 |  | Other
SPNCER | SPNCER_SPNCE_4 | Natural Gas | Forced Extension | 57 | 40 | 17 | 2023-04-19 13:22 | 2023-05-18 23:59 |  | Cooling Water Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Unavoidable Extension | 749 | 0 | 749 | 2023-04-21 | 2023-05-28 23:59 |  | Overhaul
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-04-21 13:03 | 2023-05-26 23:59 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 89 | 36 | 2023-04-21 14:44 | 2023-05-12 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 86 | 39 | 2023-04-21 14:44 | 2023-05-12 18:00 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 120 | 0 | 120 | 2023-04-21 16:37 | 2023-05-12 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 62 | 0 | 62 | 2023-04-21 16:39 | 2023-05-12 23:59 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 91 | 18 | 2023-04-21 17:50 | 2023-05-31 23:59 | 2023-05-09 20:53 | Other
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 94 | 15 | 2023-04-21 17:50 | 2023-05-31 23:59 | 2023-05-09 20:53 | Other
GIDEON | GIDEON_GIDEONG2 | Natural Gas | Unavoidable Extension | 133 | 0 | 133 | 2023-04-22 01:23 | 2023-05-08 23:00 | 2023-05-08 06:50 | Other
GUADG | GUADG_GAS4 | Natural Gas | Unavoidable Extension | 158 | 0 | 158 | 2023-04-22 01:30 | 2023-05-14 23:59 |  | Boroscope
GIDEON | GIDEON_GIDEONG1 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2023-04-22 01:43 | 2023-05-11 23:00 | 2023-05-11 03:24 | Other
STEAM | STEAM_STEAM_2 | Natural Gas | Forced Extension | 22 | 0 | 22 | 2023-04-23 12:30 | 2023-05-12 23:59 |  | Tube Leak
VERAWIND | VERAWIND_UNIT5 | Wind | Forced Extension | 101 | 96 | 5 | 2023-04-26 08:30 | 2023-05-12 17:00 |  | Turbine/Generator Vibration/Repair
DDPEC | DDPEC_GT4 | Natural Gas | Unavoidable Extension | 202 | 0 | 202 | 2023-04-27 00:01 | 2023-05-10 18:00 | 2023-05-10 14:50 | Other
DDPEC | DDPEC_ST1 | Natural Gas | Unavoidable Extension | 290 | 175 | 115 | 2023-04-27 00:01 | 2023-05-10 18:00 | 2023-05-10 14:50 | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced Extension | 90 | 40 | 50 | 2023-04-27 03:00 | 2023-06-10 09:00 |  | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 118 | 34 | 2023-04-27 08:55 | 2023-05-31 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-05-31 12:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Forced | 13 | 0 | 13 | 2023-04-27 10:10 | 2023-05-13 10:00 |  | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2023-04-27 11:03 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 184 | 0 | 2023-04-27 12:38 | 2023-05-31 23:59 |  | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 65 | 60 | 2023-04-27 15:05 | 2023-05-16 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 105 | 20 | 2023-04-27 15:05 | 2023-05-16 18:00 |  | Other
BTM | BTM_UNIT1 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-10 19:00 | 2023-05-10 16:46 | Other
BTM | BTM_UNIT2 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-10 19:00 | 2023-05-10 16:46 | Other
BTM | BTM_UNIT3 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-10 19:00 | 2023-05-10 16:46 | Other
BTM | BTM_UNIT4 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-10 19:00 | 2023-05-10 16:46 | Other
BTM | BTM_UNIT5 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-10 19:00 | 2023-05-10 16:46 | Other
BTM | BTM_UNIT6 | Natural Gas | Unavoidable Extension | 45 | 0 | 45 | 2023-04-28 07:00 | 2023-05-10 19:00 | 2023-05-10 16:46 | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 26 | 141 | 2023-04-28 08:00 | 2023-05-08 17:00 | 2023-05-08 07:59 | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 165 | 15 | 2023-04-28 09:02 | 2023-05-19 08:58 |  | Other
SKY1 | SKY1_SKY1B | Natural Gas | Forced Extension | 27 | 17 | 10 | 2023-04-28 15:26 | 2023-05-10 23:59 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 0 | 130 | 2023-04-28 21:15 | 2023-05-12 12:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-04-29 | 2023-06-30 23:59 |  | Combustion Inspection and Repair
CORAZON | CORAZON_UNIT1 | Solar | Forced Extension | 203 | 160 | 43 | 2023-04-29 00:01 | 2023-05-13 23:59 |  | Other
HAYSEN | HAYSEN_HAYSENG2 | Natural Gas | Maintenance Level 3 | 214 | 0 | 214 | 2023-04-29 00:01 | 2023-05-16 23:58 |  | Turbine/Generator Vibration/Repair
PANDA_T1 | PANDA_T1_TMPL1CT1 | Natural Gas | Maintenance Level 3 | 220 | 0 | 220 | 2023-04-29 00:01 | 2023-05-22 23:59 |  | Other
PANDA_T1 | PANDA_T1_TMPL1CT2 | Natural Gas | Maintenance Level 3 | 207 | 0 | 207 | 2023-04-29 00:01 | 2023-05-22 23:59 |  | Other
PANDA_T1 | PANDA_T1_TMPL1ST1 | Natural Gas | Maintenance Level 3 | 324 | 0 | 324 | 2023-04-29 00:01 | 2023-05-22 23:59 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 110 | 15 | 2023-04-29 18:18 | 2023-05-12 12:00 |  | Other
BRAUNIG | BRAUNIG_VHB6CT7 | Natural Gas | Unavoidable Extension | 48 | 0 | 48 | 2023-04-30 | 2023-05-21 23:59 |  | Overhaul
WCPP | WCPP_CT1 | Natural Gas | Unavoidable Extension | 244 | 0 | 244 | 2023-04-30 00:36 | 2023-05-17 23:59 |  | Overhaul
WCPP | WCPP_CT2 | Natural Gas | Unavoidable Extension | 244 | 0 | 244 | 2023-04-30 00:36 | 2023-05-17 23:59 |  | Overhaul
WCPP | WCPP_ST1 | Natural Gas | Unavoidable Extension | 298 | 0 | 298 | 2023-04-30 00:36 | 2023-05-17 23:59 |  | Overhaul
INGLCOSW | INGLCOSW_CTG1 | Natural Gas | Unavoidable Extension | 170 | 0 | 170 | 2023-04-30 09:00 | 2023-05-09 11:00 | 2023-05-09 11:00 | Other
BORDAS | BORDAS_JAVEL20 | Wind | Forced | 230 | 206 | 24 | 2023-05-01 00:01 | 2023-05-30 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 202 | 30 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 148 | 2 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 205 | 8 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
INDNNWP | INDNNWP_INDNNWP2 | Wind | Forced | 92 | 80 | 12 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 115 | 35 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 149 | 3 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced | 133 | 129 | 4 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 61 | 31 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 81 | 5 | 2023-05-01 00:01 | 2023-05-31 23:59 |  | Other
DDPEC | DDPEC_GT1 | Natural Gas | Unavoidable Extension | 190 | 0 | 190 | 2023-05-01 07:01 | 2023-05-10 23:59 | 2023-05-10 15:25 | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 148 | 3 | 2023-05-01 08:56 | 2023-05-08 14:00 | 2023-05-08 14:00 | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 89 | 9 | 2023-05-01 08:56 | 2023-05-08 14:00 | 2023-05-08 14:00 | Other
FALCON | FALCON_FALCONG3 | Water | Unavoidable Extension | 12 | 0 | 12 | 2023-05-01 09:00 | 2023-05-08 11:00 | 2023-05-08 11:00 | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-05-31 23:59 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 130 | 21 | 2023-05-01 15:56 | 2023-05-15 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 129 | 22 | 2023-05-01 15:56 | 2023-05-15 18:00 |  | Other
JADE_SLR | JADE_SLR_UNIT1 | Solar | Forced Extension | 158 | 150 | 8 | 2023-05-01 21:33 | 2023-05-16 12:00 |  | Other
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 104 | 16 | 2023-05-02 07:14 | 2023-05-14 18:00 |  | Turbine/Generator Vibration/Repair
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 141 | 11 | 2023-05-02 08:00 | 2023-05-31 |  | Other
DUKE | DUKE_DUKE_GT2 | Natural Gas | Maintenance Level 2 | 143 | 0 | 143 | 2023-05-02 08:01 | 2023-05-14 23:59 |  | Overhaul
DUKE | DUKE_DUKE_ST1 | Natural Gas | Maintenance Level 2 | 172 | 80 | 92 | 2023-05-02 08:01 | 2023-05-14 23:59 |  | Overhaul
RIONOG | RIONOG_ST1 | Blast-Furnace Gas | Forced | 306 | 306 | 0 | 2023-05-02 13:00 | 2023-05-31 23:59 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 593 | 243 | 2023-05-02 15:58 | 2023-05-15 23:59 | 2023-05-09 07:15 | Inlet Air Problems/Repairs
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 91 | 10 | 2023-05-02 17:49 | 2023-05-12 18:00 |  | Other
GUADG | GUADG_STM6 | Natural Gas | Forced Extension | 200 | 100 | 100 | 2023-05-03 04:49 | 2023-05-14 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
PENA | PENA_UNIT1 | Wind | Forced | 161 | 144 | 17 | 2023-05-03 17:34 | 2023-05-12 18:00 |  | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 54 | 48 | 2023-05-03 17:42 | 2023-05-12 18:00 | 2023-05-08 07:24 | Turbine/Generator Vibration/Repair
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced Extension | 90 | 67 | 23 | 2023-05-03 18:40 | 2023-05-08 23:59 | 2023-05-08 20:54 | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 194 | 3 | 2023-05-03 23:19 | 2023-06-30 23:59 |  | Other
ANDMDSLR | ANDMDSLR_UNIT2 | Solar | Forced Extension | 162 | 12 | 150 | 2023-05-04 07:00 | 2023-05-16 20:00 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced Extension | 126 | 90 | 36 | 2023-05-04 07:35 | 2023-05-15 23:59 |  | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 75 | 71 | 2023-05-04 08:00 | 2023-05-08 23:59 | 2023-05-08 07:59 | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 141 | 11 | 2023-05-04 09:15 | 2023-06-30 23:59 | 2023-05-08 17:50 | Other
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 124 | 20 | 2023-05-04 09:16 | 2023-05-17 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 124 | 20 | 2023-05-04 09:16 | 2023-05-17 18:00 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 156 | 26 | 2023-05-04 12:12 | 2023-05-31 23:59 |  | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced | 71 | 63 | 8 | 2023-05-04 15:00 | 2023-05-08 12:00 | 2023-05-08 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced | 33 | 29 | 4 | 2023-05-04 15:00 | 2023-05-08 12:00 | 2023-05-08 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced | 202 | 189 | 13 | 2023-05-04 15:00 | 2023-05-08 12:00 | 2023-05-08 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced | 22 | 18 | 4 | 2023-05-04 15:00 | 2023-05-08 12:00 | 2023-05-08 12:00 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 570 | 85 | 2023-05-04 17:35 | 2023-05-09 18:59 | 2023-05-08 20:06 | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 700 | 45 | 2023-05-04 18:26 | 2023-05-30 23:59 |  | Inlet Air Problems/Repairs
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 46 | 49 | 2023-05-04 18:40 | 2023-05-11 22:00 | 2023-05-10 04:01 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 820 | 0 | 2023-05-05 00:27 | 2023-05-12 11:59 | 2023-05-08 21:15 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced Extension | 161 | 149 | 12 | 2023-05-05 02:00 | 2023-05-15 23:59 | 2023-05-09 07:54 | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 96 | 7 | 2023-05-05 02:50 | 2023-05-31 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 98 | 5 | 2023-05-05 02:53 | 2023-05-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 92 | 17 | 2023-05-05 07:44 | 2023-07-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 125 | 65 | 2023-05-05 07:44 | 2023-07-31 23:59 |  | Other
DAN | DAN_UNIT1 | Solar | Maintenance Level 2 | 300 | 17 | 283 | 2023-05-05 08:00 | 2023-05-18 07:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 231 | 15 | 2023-05-05 14:08 | 2023-05-14 23:59 |  | Inlet Air Problems/Repairs
GBY | GBY_GBYGT84 | Natural Gas | Forced Extension | 57 | 0 | 57 | 2023-05-05 15:08 | 2023-05-11 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG5 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2023-05-05 16:01 | 2023-05-10 16:00 | 2023-05-10 13:17 | Other
MESQCRK | MESQCRK_WND1 | Wind | Forced | 106 | 85 | 21 | 2023-05-05 16:04 | 2023-05-12 18:00 |  | Other
MESQCRK | MESQCRK_WND2 | Wind | Forced | 106 | 77 | 29 | 2023-05-05 16:04 | 2023-05-12 18:00 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 83 | 70 | 13 | 2023-05-05 16:16 | 2023-05-31 23:59 | 2023-05-09 07:18 | Exhaust Problems/Repairs
GBY | GBY_GBYGT73 | Natural Gas | Forced Extension | 57 | 0 | 57 | 2023-05-05 16:17 | 2023-05-08 23:59 | 2023-05-08 15:16 | Turbine/Generator Vibration/Repair
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 126 | 39 | 2023-05-05 16:47 | 2023-05-12 17:00 | 2023-05-08 16:44 | Unknown
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 138 | 25 | 2023-05-05 17:05 | 2023-05-12 17:00 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 50 | 50 | 2023-05-05 18:54 | 2023-05-12 18:00 |  | Unknown
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 167 | 147 | 20 | 2023-05-05 23:49 | 2023-05-07 23:59 | 2023-05-08 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 159 | 140 | 19 | 2023-05-05 23:49 | 2023-05-07 23:59 | 2023-05-08 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 159 | 145 | 14 | 2023-05-05 23:49 | 2023-05-07 23:59 | 2023-05-08 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 167 | 146 | 21 | 2023-05-05 23:49 | 2023-05-07 23:59 | 2023-05-08 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 159 | 139 | 20 | 2023-05-05 23:49 | 2023-05-07 23:59 | 2023-05-08 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 159 | 139 | 20 | 2023-05-05 23:49 | 2023-05-07 23:59 | 2023-05-08 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 153 | 131 | 22 | 2023-05-05 23:49 | 2023-05-07 23:59 | 2023-05-08 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 161 | 138 | 23 | 2023-05-05 23:49 | 2023-05-07 23:59 | 2023-05-08 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 165 | 151 | 14 | 2023-05-05 23:49 | 2023-05-07 23:59 | 2023-05-08 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 156 | 143 | 13 | 2023-05-05 23:49 | 2023-05-07 23:59 | 2023-05-08 | Other
BYRDR_ES | BYRDR_ES_BESS1 | Not Available | Unavoidable Extension | 50 | 0 | 50 | 2023-05-06 | 2023-05-08 08:00 | 2023-05-08 08:00 | Other
GOAT | GOAT_GOATWIN2 | Wind | Forced | 70 | 50 | 20 | 2023-05-06 | 2023-05-31 23:59 |  | Other
WAP | WAP_WAPGT_1 | Natural Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-05-06 | 2023-05-08 23:59 | 2023-05-08 18:53 | Boroscope
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 144 | 6 | 2023-05-06 03:17 | 2023-06-06 18:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 139 | 11 | 2023-05-06 03:17 | 2023-06-06 18:00 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 127 | 23 | 2023-05-06 03:20 | 2023-05-31 23:59 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 151 | 18 | 2023-05-06 03:43 | 2023-06-06 18:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 157 | 12 | 2023-05-06 03:43 | 2023-06-06 18:00 |  | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 351 | 61 | 2023-05-06 11:00 | 2023-05-14 23:59 |  | Other
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 0 | 785 | 2023-05-06 12:44 | 2023-05-11 23:59 |  | Other
CALHOUN | CALHOUN_UNIT2 | Natural Gas | Forced Extension | 47 | 40 | 7 | 2023-05-06 13:54 | 2023-05-31 23:59 |  | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced Extension | 28 | 22 | 6 | 2023-05-06 15:21 | 2023-05-11 18:00 | 2023-05-10 18:00 | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced Extension | 110 | 75 | 35 | 2023-05-06 16:00 | 2023-05-08 23:59 | 2023-05-08 20:59 | Turbine/Generator Vibration/Repair
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 773 | 51 | 2023-05-06 16:00 | 2023-05-08 17:00 | 2023-05-08 14:04 | Other
OXY_CC | OXY_CC_OXY_CCG1 | Natural Gas | Maintenance Level 2 | 34 | 0 | 34 | 2023-05-06 16:08 | 2023-05-15 12:00 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 0 | 169 | 2023-05-06 16:36 | 2023-05-12 23:59 |  | Transformer Repair/Replace
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 133 | 5 | 2023-05-06 17:15 | 2023-05-13 17:15 |  | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 55 | 20 | 2023-05-06 18:35 | 2023-05-08 23:59 | 2023-05-08 21:00 | Other
OWF | OWF_OWF | Wind | Forced Extension | 55 | 0 | 55 | 2023-05-06 18:37 | 2023-05-12 23:59 |  | Other
SL | SL_SL_G4 | Waste/Other Coal | Forced | 30 | 0 | 30 | 2023-05-06 19:40 | 2023-05-31 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-05-06 20:15 | 2023-05-31 23:58 | 2023-05-08 01:00 | Other
NCO | NCO_ESS1 | Not Available | Forced | 50 | 42 | 8 | 2023-05-06 20:45 | 2023-05-09 20:00 | 2023-05-09 20:00 | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 48 | 2 | 2023-05-06 20:45 | 2023-05-09 20:00 | 2023-05-09 12:03 | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced | 50 | 45 | 5 | 2023-05-06 20:45 | 2023-05-09 20:00 | 2023-05-09 20:00 | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced | 50 | 42 | 8 | 2023-05-06 20:45 | 2023-05-09 20:00 | 2023-05-09 20:00 | Other
BCATWIND | BCATWIND_WIND_1 | Wind | Forced | 162 | 135 | 27 | 2023-05-06 21:11 | 2023-05-08 23:59 | 2023-05-08 20:56 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced Extension | 209 | 184 | 25 | 2023-05-06 21:28 | 2023-05-09 23:59 |  | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced Extension | 210 | 173 | 37 | 2023-05-06 21:28 | 2023-05-09 23:59 |  | Other
FTR | FTR_FTR_G2 | Natural Gas | Forced Extension | 180 | 0 | 180 | 2023-05-07 00:45 | 2023-05-09 12:00 | 2023-05-08 11:10 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 540 | 115 | 2023-05-07 05:09 | 2023-05-08 18:59 | 2023-05-08 20:00 | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-07 07:10 | 2023-05-19 18:00 |  | Other
WNDTHST2 | WNDTHST2_UNIT1 | Wind | Forced | 68 | 44 | 24 | 2023-05-07 08:00 | 2023-05-08 23:59 | 2023-05-08 23:59 | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 90 | 25 | 2023-05-07 08:20 | 2023-05-08 23:59 | 2023-05-08 20:57 | Turbine/Generator Vibration/Repair
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 135 | 13 | 2023-05-07 08:58 | 2023-05-31 18:00 | 2023-05-08 08:22 | Other
FLTCK | FLTCK_SSI | Wind | Forced | 53 | 40 | 13 | 2023-05-07 09:23 | 2023-05-11 18:00 |  | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced | 149 | 128 | 21 | 2023-05-07 14:58 | 2023-05-14 18:00 | 2023-05-09 16:02 | Other
SALTFORK | SALTFORK_UNIT1 | Wind | Forced | 64 | 64 | 0 | 2023-05-07 16:15 | 2023-05-08 23:59 | 2023-05-08 20:36 | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced | 110 | 100 | 10 | 2023-05-07 16:15 | 2023-05-08 23:59 | 2023-05-08 20:36 | Other
BRANDON | BRANDON_UNIT1 | Natural Gas | Forced Extension | 20 | 0 | 20 | 2023-05-07 16:36 | 2023-05-08 16:00 | 2023-05-08 16:09 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 141 | 23 | 2023-05-07 17:47 | 2023-05-31 23:59 | 2023-05-08 01:01 | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 145 | 246 | 2023-05-07 19:07 | 2023-05-08 17:00 | 2023-05-08 07:19 | Other
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 0 | 390 | 2023-05-07 19:33 | 2023-05-08 22:00 | 2023-05-08 22:00 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 795 | 25 | 2023-05-07 20:00 | 2023-05-08 02:00 | 2023-05-08 00:17 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 141 | 81 | 2023-05-07 20:00 | 2023-05-08 18:00 | 2023-05-08 15:00 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 805 | 50 | 2023-05-07 20:10 | 2023-05-08 08:00 | 2023-05-08 00:18 | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced Extension | 116 | 0 | 116 | 2023-05-07 20:50 | 2023-05-08 23:59 | 2023-05-08 16:14 | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced Extension | 117 | 0 | 117 | 2023-05-07 20:50 | 2023-05-08 23:59 | 2023-05-08 16:15 | Other
STWF | STWF_T1 | Wind | Forced Extension | 98 | 80 | 18 | 2023-05-07 20:50 | 2023-05-09 23:59 | 2023-05-09 23:59 | Other
RANCHERO | RANCHERO_UNIT2 | Wind | Forced | 150 | 135 | 15 | 2023-05-07 23:05 | 2023-05-08 12:00 | 2023-05-08 10:15 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced Extension | 195 | 145 | 50 | 2023-05-07 23:14 | 2023-05-09 23:59 | 2023-05-09 23:59 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced Extension | 145 | 110 | 35 | 2023-05-07 23:14 | 2023-05-09 23:59 | 2023-05-09 23:59 | Other
MCLNSLR | MCLNSLR_UNIT1 | Solar | Forced | 200 | 0 | 200 | 2023-05-07 23:29 | 2023-05-08 08:00 | 2023-05-08 07:25 | Other
CVC | CVC_CVC_G5 | Natural Gas | Unavoidable Extension | 144 | 0 | 144 | 2023-05-08 00:02 | 2023-05-12 16:00 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 167 | 146 | 21 | 2023-05-08 00:11 | 2023-05-10 23:59 | 2023-05-10 03:04 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 159 | 139 | 20 | 2023-05-08 00:11 | 2023-05-10 23:59 | 2023-05-10 03:04 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 159 | 139 | 20 | 2023-05-08 00:11 | 2023-05-10 23:59 | 2023-05-10 03:04 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 167 | 145 | 22 | 2023-05-08 00:11 | 2023-05-10 23:59 | 2023-05-10 03:04 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 159 | 138 | 21 | 2023-05-08 00:11 | 2023-05-10 23:59 | 2023-05-10 03:04 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 159 | 138 | 21 | 2023-05-08 00:11 | 2023-05-10 23:59 | 2023-05-10 03:04 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 153 | 132 | 21 | 2023-05-08 00:11 | 2023-05-10 23:59 | 2023-05-10 03:04 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 161 | 139 | 22 | 2023-05-08 00:11 | 2023-05-10 23:59 | 2023-05-10 03:04 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 165 | 155 | 10 | 2023-05-08 00:11 | 2023-05-10 23:59 | 2023-05-10 03:04 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 156 | 147 | 9 | 2023-05-08 00:11 | 2023-05-10 23:59 | 2023-05-10 03:04 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 815 | 40 | 2023-05-08 00:18 | 2023-05-08 08:00 | 2023-05-08 04:49 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 815 | 40 | 2023-05-08 00:19 | 2023-05-08 01:59 | 2023-05-08 01:36 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 176 | 10 | 2023-05-08 01:00 | 2023-05-31 23:58 | 2023-05-08 10:23 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 815 | 40 | 2023-05-08 01:00 | 2023-05-08 20:00 | 2023-05-08 21:07 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 151 | 13 | 2023-05-08 01:01 | 2023-05-31 23:59 |  | Other
CVC | CVC_CVC_G3 | Natural Gas | Unavoidable Extension | 178 | 0 | 178 | 2023-05-08 01:07 | 2023-05-12 16:00 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 770 | 85 | 2023-05-08 01:16 | 2023-05-08 02:59 | 2023-05-08 02:59 | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 169 | 13 | 2023-05-08 01:18 | 2023-05-31 23:59 | 2023-05-09 07:08 | Other
FTR | FTR_FTR_G4 | Natural Gas | Forced | 400 | 230 | 170 | 2023-05-08 01:20 | 2023-05-08 12:00 | 2023-05-08 11:09 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 805 | 50 | 2023-05-08 01:34 | 2023-05-08 03:59 | 2023-05-08 03:59 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 830 | 25 | 2023-05-08 04:49 | 2023-05-08 20:00 | 2023-05-08 21:06 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 64 | 38 | 2023-05-08 05:24 | 2023-05-12 18:00 |  | Turbine/Generator Vibration/Repair
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced Extension | 213 | 0 | 213 | 2023-05-08 05:55 | 2023-05-09 15:00 | 2023-05-09 14:06 | Other
NACPW | NACPW_UNIT1 | Wood/Wood Waste Solids | Maintenance Level 2 | 105 | 0 | 105 | 2023-05-08 07:00 | 2023-05-12 17:00 |  | Other
GIDEON | GIDEON_GIDEONG2 | Natural Gas | Forced | 133 | 0 | 133 | 2023-05-08 07:13 | 2023-05-08 18:00 | 2023-05-08 08:01 | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 120 | 271 | 2023-05-08 07:18 | 2023-05-08 17:00 | 2023-05-08 17:00 | Other
DERMOTT | DERMOTT_UNIT1 | Wind | Forced | 127 | 0 | 127 | 2023-05-08 07:23 | 2023-05-08 09:00 | 2023-05-08 08:50 | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 0 | 127 | 2023-05-08 07:23 | 2023-05-08 09:00 | 2023-05-08 08:50 | Other
FTR | FTR_FTR_G3 | Natural Gas | Forced | 180 | 0 | 180 | 2023-05-08 07:50 | 2023-05-08 11:00 | 2023-05-08 11:00 | Exhaust Problems/Repairs
BRP_ZPT1 | BRP_ZPT1_UNIT1 | Not Available | Maintenance Level 1 | 10 | 0 | 10 | 2023-05-08 08:00 | 2023-05-08 18:00 | 2023-05-08 17:13 | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 26 | 141 | 2023-05-08 08:00 | 2023-05-15 08:00 |  | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 75 | 71 | 2023-05-08 08:00 | 2023-05-15 08:00 |  | Other
ROUTE_66 | ROUTE_66_WIND1 | Wind | Forced | 150 | 134 | 16 | 2023-05-08 08:00 | 2023-05-31 21:00 | 2023-05-09 08:25 | Other
SRWE1 | SRWE1_SRWE2 | Wind | Maintenance Level 2 | 165 | 66 | 99 | 2023-05-08 08:00 | 2023-05-08 15:00 | 2023-05-08 10:06 | Other
BRP_ZPT2 | BRP_ZPT2_UNIT1 | Not Available | Maintenance Level 1 | 10 | 0 | 10 | 2023-05-08 08:10 | 2023-05-08 18:00 | 2023-05-08 17:13 | Other
LMAJADAS | LMAJADAS_UNIT3 | Wind | Forced | 139 | 125 | 14 | 2023-05-08 08:36 | 2023-05-12 23:59 |  | Other
KING_SE | KING_SE_KINGSE | Wind | Forced | 41 | 30 | 11 | 2023-05-08 08:38 | 2023-05-08 15:00 | 2023-05-08 12:55 | Other
DERMOTT | DERMOTT_UNIT2 | Wind | Forced | 127 | 0 | 127 | 2023-05-08 08:50 | 2023-05-13 19:00 |  | Other
NWF | NWF_NWF2 | Wind | Maintenance Level 1 | 60 | 39 | 21 | 2023-05-08 09:00 | 2023-05-08 17:00 | 2023-05-08 09:47 | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 351 | 61 | 2023-05-08 09:11 | 2023-05-14 23:59 | 2023-05-09 18:12 | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 660 | 164 | 2023-05-08 09:59 | 2023-05-10 17:00 | 2023-05-09 16:06 | Inlet Air Problems/Repairs
MASSENGL | MASSENGL_G7 | Natural Gas | Forced | 18 | 0 | 18 | 2023-05-08 10:00 | 2023-05-10 | 2023-05-08 14:11 | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 0 | 38 | 2023-05-08 10:00 | 2023-05-10 | 2023-05-08 14:11 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-05-08 10:23 | 2023-05-31 23:58 |  | Other
LILY | LILY_BESS1 | Not Available | Forced | 52 | 48 | 4 | 2023-05-08 10:53 | 2023-05-08 13:00 | 2023-05-08 12:43 | Other
FTR | FTR_FTR_G4 | Natural Gas | Forced Extension | 400 | 270 | 130 | 2023-05-08 11:09 | 2023-05-09 20:00 | 2023-05-09 20:00 | Other
FTR | FTR_FTR_G2 | Natural Gas | Forced Extension | 180 | 0 | 180 | 2023-05-08 11:11 | 2023-05-09 20:00 | 2023-05-09 20:00 | Other
LGE | LGE_LGE_GT1 | Natural Gas | Forced Extension | 152 | 0 | 152 | 2023-05-08 11:19 | 2023-05-11 20:00 |  | Fuel Problems/Repairs
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced | 75 | 50 | 25 | 2023-05-08 11:19 | 2023-05-08 23:59 | 2023-05-08 11:20 | Steam Turbine Limited/Unavailable Due to CT/GT Work
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced Extension | 75 | 69 | 6 | 2023-05-08 11:19 | 2023-05-11 20:00 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 135 | 13 | 2023-05-08 11:42 | 2023-05-31 18:00 | 2023-05-09 04:31 | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 141 | 10 | 2023-05-08 14:00 | 2023-05-15 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 89 | 9 | 2023-05-08 14:00 | 2023-05-15 14:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced | 71 | 63 | 8 | 2023-05-08 14:30 | 2023-05-11 12:00 | 2023-05-08 14:31 | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 63 | 8 | 2023-05-08 14:30 | 2023-05-12 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 25 | 8 | 2023-05-08 14:30 | 2023-05-12 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced | 33 | 25 | 8 | 2023-05-08 14:30 | 2023-05-11 12:00 | 2023-05-08 14:31 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 189 | 13 | 2023-05-08 14:30 | 2023-05-12 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced | 202 | 189 | 13 | 2023-05-08 14:30 | 2023-05-11 12:00 | 2023-05-08 14:31 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 18 | 4 | 2023-05-08 14:30 | 2023-05-12 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced | 22 | 18 | 4 | 2023-05-08 14:30 | 2023-05-11 12:00 | 2023-05-08 14:31 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 176 | 10 | 2023-05-08 14:33 | 2023-05-31 23:58 |  | Other
LILY | LILY_BESS1 | Not Available | Forced | 52 | 48 | 4 | 2023-05-08 14:35 | 2023-05-10 16:00 | 2023-05-08 16:11 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 132 | 90 | 2023-05-08 15:00 | 2023-05-09 18:00 | 2023-05-09 15:40 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 177 | 45 | 2023-05-08 15:00 | 2023-05-09 18:00 | 2023-05-09 18:00 | Other
FORMOSA | FORMOSA_FORMOSG15 | Natural Gas | Forced Extension | 93 | 0 | 93 | 2023-05-08 16:02 | 2023-05-11 16:00 |  | Other
EUNICE | EUNICE_PV1 | Solar | Forced | 190 | 181 | 9 | 2023-05-08 16:55 | 2023-05-10 08:00 | 2023-05-08 18:40 | Other
EUNICE | EUNICE_PV2 | Solar | Forced | 237 | 222 | 15 | 2023-05-08 16:55 | 2023-05-10 08:00 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 120 | 45 | 2023-05-08 17:43 | 2023-05-12 17:00 | 2023-05-09 23:59 | Unknown
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 152 | 0 | 2023-05-08 17:51 | 2023-06-30 23:59 |  | Other
SL | SL_SL_G1 | Natural Gas | Forced | 70 | 0 | 70 | 2023-05-08 18:15 | 2023-05-10 23:59 | 2023-05-09 18:03 | Unknown
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced | 146 | 65 | 81 | 2023-05-08 18:30 | 2023-05-18 23:59 |  | Feedwater Problems/Repairs
EUNICE | EUNICE_PV1 | Solar | Forced | 190 | 177 | 13 | 2023-05-08 18:41 | 2023-05-10 08:00 | 2023-05-08 20:15 | Other
EUNICE | EUNICE_PV2 | Solar | Forced | 237 | 218 | 19 | 2023-05-08 18:41 | 2023-05-10 08:00 | 2023-05-08 20:15 | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 47 | 36 | 11 | 2023-05-08 19:00 | 2023-06-30 19:00 |  | Fuel Limitation/Lack of Fuel Availability
GRSES | GRSES_UNIT1 | Natural Gas | Forced | 239 | 0 | 239 | 2023-05-08 19:11 | 2023-05-09 12:00 | 2023-05-09 11:20 | Tube Leak
JUNO | JUNO_UNIT1 | Solar | Maintenance Level 2 | 162 | 80 | 82 | 2023-05-08 20:00 | 2023-05-09 05:00 | 2023-05-09 04:16 | Other
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced | 18 | 0 | 18 | 2023-05-08 20:02 | 2023-05-09 23:59 | 2023-05-09 09:07 | Other
EUNICE | EUNICE_PV1 | Solar | Forced | 190 | 173 | 17 | 2023-05-08 20:15 | 2023-05-10 08:00 | 2023-05-09 08:00 | Other
EUNICE | EUNICE_PV2 | Solar | Forced | 237 | 210 | 27 | 2023-05-08 20:15 | 2023-05-10 08:00 | 2023-05-09 03:10 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 72 | 18 | 2023-05-08 20:54 | 2023-05-15 23:59 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 95 | 20 | 2023-05-08 20:57 | 2023-05-15 23:59 |  | Turbine/Generator Vibration/Repair
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 90 | 20 | 2023-05-08 20:59 | 2023-05-15 23:59 |  | Turbine/Generator Vibration/Repair
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 65 | 10 | 2023-05-08 21:00 | 2023-05-08 23:59 | 2023-05-08 23:59 | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 120 | 271 | 2023-05-08 21:04 | 2023-05-09 23:59 | 2023-05-09 08:10 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 830 | 25 | 2023-05-08 21:05 | 2023-05-09 09:00 | 2023-05-09 09:00 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 825 | 30 | 2023-05-08 21:06 | 2023-05-10 20:00 | 2023-05-08 21:10 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 845 | 10 | 2023-05-08 21:10 | 2023-05-11 08:00 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 795 | 25 | 2023-05-08 21:17 | 2023-05-09 23:59 | 2023-05-09 04:55 | Other
FTWIND | FTWIND_UNIT_1 | Wind | Forced | 200 | 0 | 200 | 2023-05-08 22:10 | 2023-05-09 08:00 | 2023-05-09 02:24 | Unknown
RTS2 | RTS2_U1 | Wind | Forced | 90 | 79 | 11 | 2023-05-08 23:10 | 2023-05-09 19:00 | 2023-05-09 02:27 | Other
CALAVERS | CALAVERS_JKS1 | Subbituminous Coal | Forced Extension | 560 | 0 | 560 | 2023-05-08 23:39 | 2023-05-16 23:59 |  | Tube Leak
2023-05-11 |  |  |  | 2 |  |  |  | 5:03