## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-05-31 | 1 | 5:02

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: May 28, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-06-30 18:00 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-06-30 18:00 |  | Other
PLN | PLN_UNIT2 | Solar | Unavoidable Extension | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-07-15 15:01 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-06-30 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-07-01 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-06-15 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-05-31 23:59 |  | Exhaust Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced Extension | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-05-31 17:00 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced Extension | 50 | 25 | 25 | 2022-12-23 18:08 | 2023-05-29 23:59 | 2023-05-29 23:59 | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced Extension | 34 | 0 | 34 | 2023-01-01 03:23 | 2023-06-02 10:00 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-06-30 08:24 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-06-30 23:59 |  | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 101 | 0 | 101 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-09-30 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-06-02 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-06-30 16:00 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 4 | 19 | 2023-02-28 21:35 | 2023-12-28 21:35 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 14 | 41 | 2023-03-01 09:48 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 45 | 3 | 2023-03-01 09:50 | 2023-12-28 23:59 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 57 | 96 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 50 | 97 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Unavoidable Extension | 109 | 0 | 109 | 2023-03-03 09:00 | 2023-06-30 23:55 | 2023-05-30 15:07 | Overhaul
THW | THW_THWGT41 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-03-06 00:01 | 2023-06-10 23:59 |  | Combustion Inspection and Repair
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-03-06 17:00 | 2023-06-14 10:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-06-16 17:00 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 138 | 5 | 2023-03-09 08:00 | 2023-06-23 17:00 |  | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 112 | 4 | 2023-03-09 08:00 | 2023-06-23 17:00 |  | Other
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 104 | 11 | 2023-03-10 17:31 | 2023-06-02 12:00 |  | Other
UCC_COGN | UCC_COGN_UCC_C_2 | Blast-Furnace Gas | Unavoidable Extension | 15 | 0 | 15 | 2023-03-17 09:00 | 2023-06-30 15:00 |  | Lack of Steam Load Availability
CVC | CVC_CVC_G1 | Natural Gas | Unavoidable Extension | 181 | 0 | 181 | 2023-03-18 00:01 | 2023-06-21 17:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1227 | 1224 | 3 | 2023-03-19 19:40 | 2023-06-23 09:40 |  | Other
GBY | GBY_GBYGT83 | Natural Gas | Unavoidable Extension | 57 | 0 | 57 | 2023-03-20 | 2023-06-08 23:59 |  | Combustion Inspection and Repair
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Unavoidable Extension | 83 | 0 | 83 | 2023-03-22 10:12 | 2023-06-06 18:00 |  | Overhaul
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-06-05 17:00 |  | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-05-31 23:59 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Forced Extension | 161 | 0 | 161 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced Extension | 323 | 150 | 173 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-06-05 17:00 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 8 | 30 | 2023-03-27 19:25 | 2023-06-01 23:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 45 | 105 | 2023-03-28 08:30 | 2023-09-29 17:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 101 | 23 | 2023-03-29 10:51 | 2023-05-31 17:00 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 18 | 132 | 2023-03-31 18:00 | 2023-09-29 17:00 |  | Other
CHE | CHE_GT2 | Natural Gas | Forced Extension | 164 | 0 | 164 | 2023-04-01 03:07 | 2023-06-28 23:59 |  | Other
THW | THW_THWST_4 | Natural Gas | Forced Extension | 109 | 78 | 31 | 2023-04-01 20:43 | 2023-06-10 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 96 | 5 | 2023-04-02 | 2023-05-31 17:00 |  | Turbine/Generator Vibration/Repair
LHSES | LHSES_UNIT2A | Natural Gas | Unavoidable Extension | 523 | 0 | 523 | 2023-04-03 00:01 | 2023-05-31 23:59 | 2023-05-30 19:32 | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 391 | 358 | 2023-04-03 19:29 | 2023-05-31 23:59 | 2023-05-30 08:00 | Inlet Air Problems/Repairs
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 169 | 155 | 14 | 2023-04-04 08:37 | 2023-06-28 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 96 | 24 | 2023-04-05 18:01 | 2023-06-05 18:00 |  | Other
MCDLD | MCDLD_SB4_G87 | Wind | Forced Extension | 4 | 0 | 4 | 2023-04-07 17:02 | 2023-06-30 17:00 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 767 | 69 | 2023-04-08 10:20 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 400 | 385 | 2023-04-09 08:30 | 2023-05-31 23:59 | 2023-05-30 10:53 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Unavoidable Extension | 161 | 0 | 161 | 2023-04-11 00:01 | 2023-05-28 23:59 | 2023-05-28 23:59 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Unavoidable Extension | 153 | 0 | 153 | 2023-04-11 00:01 | 2023-05-28 23:59 | 2023-05-28 23:59 | Other
LPCCS | LPCCS_UNIT1 | Natural Gas | Unavoidable Extension | 204 | 0 | 204 | 2023-04-11 00:01 | 2023-05-28 23:59 | 2023-05-28 23:59 | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-06-02 23:59 |  | Other
EXN | EXN_EXN_G15 | Blast-Furnace Gas | Forced Extension | 8 | 0 | 8 | 2023-04-12 10:01 | 2023-06-09 23:59 |  | Other
PYR | PYR_PYRON1 | Wind | Unavoidable Extension | 122 | 85 | 37 | 2023-04-14 16:01 | 2023-05-31 16:00 | 2023-05-30 12:00 | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 363 | 386 | 2023-04-15 12:56 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
SPNCER | SPNCER_SPNCE_4 | Natural Gas | Forced Extension | 57 | 40 | 17 | 2023-04-19 13:22 | 2023-06-02 23:59 |  | Cooling Water Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Unavoidable Extension | 749 | 0 | 749 | 2023-04-21 | 2023-05-28 23:59 | 2023-05-28 23:59 | Overhaul
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-04-21 13:03 | 2023-06-30 23:59 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 89 | 36 | 2023-04-21 14:44 | 2023-05-30 18:00 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced Extension | 120 | 0 | 120 | 2023-04-21 16:37 | 2023-06-13 01:53 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced Extension | 62 | 0 | 62 | 2023-04-21 16:39 | 2023-06-13 01:54 |  | Other
CPSES | CPSES_UNIT2 | Nuclear | Unavoidable Extension | 1214 | 0 | 1214 | 2023-04-23 12:00 | 2023-05-28 11:59 | 2023-05-28 05:02 | Overhaul
BULLCRK | BULLCRK_WND2 | Wind | Forced Extension | 90 | 40 | 50 | 2023-04-27 03:00 | 2023-06-10 09:00 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-05-31 12:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Forced Extension | 13 | 0 | 13 | 2023-04-27 10:10 | 2023-06-02 10:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-04-29 | 2023-06-30 23:59 |  | Combustion Inspection and Repair
CORAZON | CORAZON_UNIT1 | Solar | Forced Extension | 203 | 160 | 43 | 2023-04-29 00:01 | 2023-05-31 23:59 |  | Other
BORDAS | BORDAS_JAVEL20 | Wind | Forced | 230 | 206 | 24 | 2023-05-01 00:01 | 2023-05-30 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 202 | 30 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 205 | 8 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced Extension | 150 | 115 | 35 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
VICTORIA | VICTORIA_VICTORG5 | Natural Gas | Unavoidable Extension | 132 | 0 | 132 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
VICTORIA | VICTORIA_VICTORG6 | Natural Gas | Unavoidable Extension | 171 | 0 | 171 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
WHMESA | WHMESA_UNIT1 | Wind | Forced Extension | 152 | 149 | 3 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 61 | 31 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced Extension | 86 | 81 | 5 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-06-30 23:59 |  | Other
CAL | CAL_CALGT1 | Natural Gas | Unavoidable Extension | 130 | 0 | 130 | 2023-05-02 00:23 | 2023-06-11 23:59 |  | Overhaul
CAL | CAL_CALSTG1 | Natural Gas | Unavoidable Extension | 55 | 0 | 55 | 2023-05-02 00:23 | 2023-06-11 23:59 |  | Overhaul
RIONOG | RIONOG_ST1 | Blast-Furnace Gas | Forced | 306 | 306 | 0 | 2023-05-02 13:00 | 2023-05-31 23:59 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
DOWGEN | DOWGEN_DOW_GT96 | Natural Gas | Unavoidable Extension | 179 | 0 | 179 | 2023-05-03 10:01 | 2023-06-06 10:00 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 194 | 3 | 2023-05-03 23:19 | 2023-06-30 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 96 | 7 | 2023-05-05 02:50 | 2023-05-31 23:59 | 2023-05-30 13:11 | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-12-31 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 138 | 25 | 2023-05-05 17:05 | 2023-06-02 17:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 144 | 6 | 2023-05-06 03:17 | 2023-06-06 18:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 139 | 11 | 2023-05-06 03:17 | 2023-06-06 18:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 151 | 18 | 2023-05-06 03:43 | 2023-06-06 18:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 157 | 12 | 2023-05-06 03:43 | 2023-06-06 18:00 |  | Other
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 0 | 785 | 2023-05-06 12:44 | 2023-06-07 23:59 |  | Other
SL | SL_SL_G4 | Waste/Other Coal | Forced | 30 | 0 | 30 | 2023-05-06 19:40 | 2023-05-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 152 | 0 | 2023-05-08 17:51 | 2023-06-30 23:59 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 47 | 36 | 11 | 2023-05-08 19:00 | 2023-06-30 19:00 | 2023-05-29 15:20 | Fuel Limitation/Lack of Fuel Availability
SJS | SJS_SJS_G1 | Natural Gas | Forced | 83 | 65 | 18 | 2023-05-09 07:18 | 2023-05-31 23:59 |  | Exhaust Problems/Repairs
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 591 | 245 | 2023-05-09 13:01 | 2023-06-06 17:00 | 2023-05-30 14:00 | Inlet Air Problems/Repairs
FALCON | FALCON_FALCONG2 | Water | Unavoidable Extension | 12 | 0 | 12 | 2023-05-09 17:40 | 2023-06-05 08:59 |  | Other
PYR | PYR_PYRON2 | Wind | Unavoidable Extension | 128 | 0 | 128 | 2023-05-10 08:01 | 2023-06-30 16:00 |  | Other
TURQBESS | TURQBESS_BESS1 | Not Available | Forced Extension | 190 | 190 | 0 | 2023-05-11 | 2023-06-30 23:59 |  | Other
PANDA_S | PANDA_S_SHER1CT1 | Natural Gas | Unavoidable Extension | 218 | 0 | 218 | 2023-05-11 00:01 | 2023-06-25 23:59 | 2023-05-28 16:00 | Turbine/Generator Vibration/Repair
SANDHSYD | SANDHSYD_SH_5A | Natural Gas | Unavoidable Extension | 151 | 0 | 151 | 2023-05-11 00:01 | 2023-05-31 23:59 |  | Other
SANDHSYD | SANDHSYD_SH_5C | Natural Gas | Unavoidable Extension | 148 | 0 | 148 | 2023-05-11 00:01 | 2023-05-31 23:59 |  | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 75 | 0 | 75 | 2023-05-11 16:38 | 2023-06-06 23:59 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 91 | 18 | 2023-05-12 14:00 | 2023-06-30 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 94 | 15 | 2023-05-12 14:00 | 2023-06-30 23:59 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 94 | 7 | 2023-05-12 15:58 | 2023-06-05 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 86 | 39 | 2023-05-12 18:00 | 2023-05-30 18:00 |  | Other
KING_SW | KING_SW_KINGSW | Wind | Forced Extension | 80 | 52 | 28 | 2023-05-12 19:48 | 2023-06-30 23:59 |  | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 87 | 6 | 2023-05-13 04:03 | 2023-06-30 23:59 |  | Other
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Unavoidable Extension | 308 | 150 | 158 | 2023-05-14 00:01 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 380 | 10 | 2023-05-14 15:33 | 2023-05-30 23:59 |  | Other
THW | THW_THWGT55 | Natural Gas | Maintenance Level 3 | 57 | 0 | 57 | 2023-05-15 00:01 | 2023-06-11 23:59 |  | Overhaul
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 112 | 2 | 2023-05-15 01:42 | 2023-06-30 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-05-31 23:59 |  | Inlet Air Problems/Repairs
OWF | OWF_OWF | Wind | Forced Extension | 55 | 6 | 49 | 2023-05-15 11:17 | 2023-06-09 23:59 |  | Turbine/Generator Vibration/Repair
TGCCS | TGCCS_CT3 | Natural Gas | Forced | 178 | 150 | 28 | 2023-05-15 21:35 | 2023-06-02 12:50 |  | Other
TGCCS | TGCCS_UNIT4 | Natural Gas | Forced | 389 | 0 | 389 | 2023-05-15 21:35 | 2023-06-02 12:50 |  | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 142 | 19 | 2023-05-16 00:28 | 2023-05-30 23:59 | 2023-05-29 08:33 | Other
TGCCS | TGCCS_CT1 | Natural Gas | Forced | 162 | 150 | 12 | 2023-05-16 09:37 | 2023-06-02 12:49 |  | Other
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-06-30 23:59 |  | Other
SPTX12B | SPTX12B_BES1 | Not Available | Forced Extension | 25 | 25 | 0 | 2023-05-17 | 2023-06-30 23:59 |  | Other
WFTANK | WFTANK_ESS1 | Not Available | Forced Extension | 150 | 150 | 0 | 2023-05-17 | 2023-06-30 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 118 | 15 | 2023-05-17 01:41 | 2023-06-30 23:59 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 729 | 95 | 2023-05-17 15:41 | 2023-06-02 17:00 |  | Inlet Air Problems/Repairs
BTE | BTE_BTE_G1 | Natural Gas | Unavoidable Extension | 197 | 90 | 107 | 2023-05-18 00:06 | 2023-06-03 23:59 |  | Other
BTE | BTE_BTE_G3 | Natural Gas | Unavoidable Extension | 147 | 0 | 147 | 2023-05-18 00:06 | 2023-06-03 23:59 |  | Other
FTR | FTR_FTR_G3 | Natural Gas | Forced Extension | 180 | 0 | 180 | 2023-05-18 03:00 | 2023-06-01 12:00 | 2023-05-29 10:58 | Other
FTR | FTR_FTR_G4 | Natural Gas | Forced Extension | 400 | 250 | 150 | 2023-05-18 03:00 | 2023-06-01 12:00 | 2023-05-29 10:58 | Other
MIL | MIL_MILLERG2 | Natural Gas | Forced Extension | 120 | 95 | 25 | 2023-05-18 05:06 | 2023-06-05 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 109 | 26 | 2023-05-18 06:17 | 2023-06-29 23:59 |  | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-05-18 17:29 | 2023-05-31 23:00 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 150 | 32 | 2023-05-18 18:01 | 2023-05-31 23:59 | 2023-05-29 09:43 | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 75 | 34 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 105 | 85 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced | 146 | 65 | 81 | 2023-05-19 | 2023-05-31 23:59 |  | Feedwater Problems/Repairs
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 176 | 10 | 2023-05-19 00:08 | 2023-06-30 23:59 | 2023-05-30 10:02 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-05-19 00:08 | 2023-06-30 23:59 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 159 | 21 | 2023-05-19 09:00 | 2023-12-04 23:58 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 178 | 4 | 2023-05-19 10:23 | 2023-06-29 23:59 | 2023-05-28 20:04 | Other
TXCTY | TXCTY_CTA | Natural Gas | Forced Extension | 101 | 0 | 101 | 2023-05-19 11:55 | 2023-05-31 23:59 |  | Other
TXCTY | TXCTY_ST | Natural Gas | Forced Extension | 132 | 90 | 42 | 2023-05-19 11:55 | 2023-05-31 23:59 |  | Other
BTM | BTM_UNIT3 | Natural Gas | Forced | 45 | 0 | 45 | 2023-05-19 12:54 | 2023-05-31 23:59 |  | Other
DAN | DAN_UNIT2 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-11-20 08:00 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-09-11 08:00 |  | Other
WND | WND_WHITNEY1 | Water | Forced Extension | 22 | 0 | 22 | 2023-05-19 17:00 | 2023-06-02 23:59 |  | Unknown
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced Extension | 18 | 0 | 18 | 2023-05-19 17:30 | 2023-06-06 23:59 |  | Turbine/Generator Vibration/Repair
LHSES | LHSES_UNIT2A | Natural Gas | Unavoidable Extension | 523 | 0 | 523 | 2023-05-20 | 2023-05-31 23:59 |  | Overhaul
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 56 | 39 | 2023-05-20 20:54 | 2023-06-01 22:00 |  | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 70 | 32 | 2023-05-21 18:07 | 2023-06-07 15:41 |  | Turbine/Generator Vibration/Repair
DDPEC | DDPEC_GT6 | Natural Gas | Unavoidable Extension | 174 | 0 | 174 | 2023-05-22 09:01 | 2023-06-02 23:59 |  | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced Extension | 151 | 145 | 6 | 2023-05-22 12:52 | 2023-06-05 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced Extension | 98 | 89 | 9 | 2023-05-22 12:52 | 2023-06-05 14:00 |  | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 146 | 15 | 2023-05-22 15:56 | 2023-06-05 18:00 |  | Turbine/Generator Vibration/Repair
GOAT | GOAT_GOATWIN2 | Wind | Forced | 70 | 48 | 22 | 2023-05-23 | 2023-06-02 06:58 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced Extension | 184 | 173 | 11 | 2023-05-23 01:24 | 2023-06-30 23:59 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 50 | 50 | 2023-05-23 07:16 | 2023-05-31 18:00 |  | Other
VORTEX | VORTEX_BESS1 | Other | Maintenance Level 1 | 122 | 0 | 122 | 2023-05-23 08:25 | 2023-07-30 18:00 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 191 | 11 | 2023-05-23 12:06 | 2023-12-31 23:59 |  | Other
CBEC | CBEC_GT12 | Natural Gas | Forced Extension | 39 | 0 | 39 | 2023-05-23 14:02 | 2023-06-02 23:59 |  | Other
PRSPERO2 | PRSPERO2_UNIT2 | Solar | Forced Extension | 126 | 110 | 16 | 2023-05-23 15:39 | 2023-06-02 12:00 | 2023-05-31 00:20 | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 0 | 130 | 2023-05-23 18:35 | 2023-05-30 12:00 | 2023-05-30 11:58 | Other
SCSES | SCSES_UNIT1A | Natural Gas | Forced Extension | 167 | 0 | 167 | 2023-05-23 21:09 | 2023-05-28 11:59 | 2023-05-28 07:00 | Tube Leak
BCH | BCH_UNIT1 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-05-23 22:00 | 2023-06-02 22:00 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced Extension | 150 | 117 | 33 | 2023-05-24 03:40 | 2023-06-30 23:59 |  | Other
INKSDA | INKSDA_INKS_G1 | Water | Unavoidable Extension | 14 | 0 | 14 | 2023-05-24 06:13 | 2023-05-28 17:00 | 2023-05-28 15:32 | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced Extension | 126 | 17 | 109 | 2023-05-24 09:35 | 2023-06-30 23:59 |  | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced Extension | 100 | 85 | 15 | 2023-05-24 13:47 | 2023-06-06 18:00 |  | Unknown
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 83 | 0 | 83 | 2023-05-24 14:01 | 2023-05-31 23:59 |  | Tube Leak
DAN | DAN_UNIT1 | Solar | Maintenance Level 2 | 300 | 18 | 282 | 2023-05-24 15:01 | 2023-06-06 23:59 |  | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced Extension | 158 | 118 | 40 | 2023-05-24 15:32 | 2023-06-30 23:59 |  | Other
LOSTPI | LOSTPI_LOSTPGT2 | Natural Gas | Forced Extension | 175 | 0 | 175 | 2023-05-24 16:00 | 2023-05-30 12:00 | 2023-05-30 08:10 | Boroscope
LOSTPI | LOSTPI_LOSTPST1 | Natural Gas | Forced Extension | 192 | 159 | 33 | 2023-05-24 16:00 | 2023-05-30 12:00 | 2023-05-30 08:10 | Boroscope
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 94 | 26 | 2023-05-24 16:08 | 2023-06-06 18:00 |  | Turbine/Generator Vibration/Repair
WGU | WGU_UNIT1 | Solar | Forced Extension | 120 | 88 | 32 | 2023-05-24 16:11 | 2023-05-29 18:00 | 2023-05-28 17:51 | Other
GRSES | GRSES_UNIT1 | Natural Gas | Forced Extension | 239 | 0 | 239 | 2023-05-24 17:29 | 2023-05-29 07:59 | 2023-05-29 04:23 | Tube Leak
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 194 | 7 | 2023-05-24 20:02 | 2023-05-31 23:59 | 2023-05-29 03:00 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 153 | 11 | 2023-05-25 03:24 | 2023-06-30 23:59 | 2023-05-29 20:26 | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 85 | 30 | 2023-05-25 06:36 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 133 | 5 | 2023-05-25 08:00 | 2023-06-01 16:00 |  | Other
TAV | TAV_UNIT2 | Solar | Unavoidable Extension | 96 | 14 | 82 | 2023-05-25 10:00 | 2023-05-29 20:00 | 2023-05-29 20:00 | Other
TGCCS | TGCCS_CT2 | Natural Gas | Forced | 179 | 150 | 29 | 2023-05-25 11:18 | 2023-06-02 12:49 |  | Other
ROW | ROW_UNIT1 | Solar | Forced Extension | 100 | 48 | 52 | 2023-05-25 13:43 | 2023-06-06 18:00 |  | Other
LV1 | LV1_LV1A | Wind | Forced | 200 | 177 | 23 | 2023-05-25 18:05 | 2023-05-30 23:59 | 2023-05-30 08:32 | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 131 | 20 | 2023-05-25 19:30 | 2023-06-01 18:00 | 2023-05-31 04:37 | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 131 | 20 | 2023-05-25 19:30 | 2023-06-01 18:00 | 2023-05-31 04:37 | Other
CBEC | CBEC_GT11 | Natural Gas | Forced Extension | 39 | 0 | 39 | 2023-05-25 22:35 | 2023-06-02 23:59 |  | Other
DDPEC | DDPEC_GT1 | Natural Gas | Maintenance Level 2 | 190 | 0 | 190 | 2023-05-26 00:01 | 2023-05-30 09:00 | 2023-05-29 16:27 | Feedwater Problems/Repairs
DDPEC | DDPEC_ST1 | Natural Gas | Maintenance Level 2 | 290 | 175 | 115 | 2023-05-26 00:01 | 2023-05-30 09:00 | 2023-05-29 16:27 | Steam Turbine Limited/Unavailable Due to CT/GT Work
PSG | PSG_PSG_GT2 | Natural Gas | Maintenance Level 1 | 170 | 0 | 170 | 2023-05-26 00:01 | 2023-05-30 23:59 | 2023-05-30 03:00 | Other
PSG | PSG_PSG_GT3 | Natural Gas | Maintenance Level 1 | 170 | 0 | 170 | 2023-05-26 00:01 | 2023-05-30 23:59 | 2023-05-30 03:00 | Other
PSG | PSG_PSG_ST2 | Natural Gas | Maintenance Level 1 | 168 | 0 | 168 | 2023-05-26 00:01 | 2023-05-30 23:59 | 2023-05-30 03:00 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-05-26 04:53 | 2023-05-30 18:00 | 2023-05-29 03:56 | Other
NCARBIDE | NCARBIDE_NCARBIG3 | Natural Gas | Forced | 36 | 0 | 36 | 2023-05-26 07:35 | 2023-06-28 10:00 |  | Fuel Problems/Repairs
MYR | MYR_UNIT1 | Solar | Forced | 167 | 22 | 145 | 2023-05-26 08:00 | 2023-06-01 08:00 |  | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 115 | 31 | 2023-05-26 08:00 | 2023-06-02 08:00 |  | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 67 | 23 | 2023-05-26 08:04 | 2023-06-15 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 108 | 18 | 2023-05-26 08:05 | 2023-06-15 23:59 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 131 | 13 | 2023-05-26 10:46 | 2023-06-03 17:51 | 2023-05-29 17:55 | Unknown
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 131 | 13 | 2023-05-26 10:46 | 2023-06-03 17:51 | 2023-05-29 17:55 | Unknown
GWEC | GWEC_GWEC_G1 | Wind | Forced | 149 | 136 | 13 | 2023-05-26 11:04 | 2023-06-02 18:00 |  | Unknown
BOSQUESW | BOSQUESW_BSQSU_4 | Natural Gas | Forced Extension | 84 | 0 | 84 | 2023-05-26 11:12 | 2023-06-01 23:59 |  | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Forced Extension | 240 | 48 | 192 | 2023-05-26 13:00 | 2023-06-02 18:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 101 | 23 | 2023-05-26 15:14 | 2023-06-02 17:00 |  | Other
VERAWIND | VERAWIND_UNIT1 | Wind | Forced | 12 | 10 | 2 | 2023-05-26 17:00 | 2023-06-01 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT4 | Wind | Forced | 22 | 20 | 2 | 2023-05-26 17:00 | 2023-06-01 | 2023-05-30 14:16 | Turbine/Generator Vibration/Repair
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 43 | 3 | 2023-05-26 17:45 | 2023-06-02 18:00 |  | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced Extension | 173 | 0 | 173 | 2023-05-26 18:01 | 2023-06-02 22:00 |  | Other
CHALUPA | CHALUPA_UNIT2 | Wind | Forced Extension | 25 | 0 | 25 | 2023-05-26 18:01 | 2023-06-02 22:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 491 | 45 | 2023-05-26 18:16 | 2023-06-02 23:59 |  | Inlet Air Problems/Repairs
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 620 | 35 | 2023-05-26 19:01 | 2023-05-30 23:59 | 2023-05-30 18:36 | Fuel Limitation/Lack of Fuel Availability
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 198 | 24 | 2023-05-26 19:48 | 2023-05-30 18:00 | 2023-05-28 08:44 | Other
STRATEGC | STRATEGC_UNIT1 | Solar | Forced | 135 | 117 | 18 | 2023-05-26 20:00 | 2023-05-29 12:00 | 2023-05-29 10:40 | Other
VICTPORT | VICTPORT_CTG02 | Natural Gas | Forced Extension | 47 | 0 | 47 | 2023-05-26 20:16 | 2023-06-02 19:00 |  | Other
PANDA_S | PANDA_S_SHER1CT2 | Natural Gas | Maintenance Level 2 | 217 | 0 | 217 | 2023-05-26 22:01 | 2023-05-28 23:59 | 2023-05-28 16:00 | Feedwater Problems/Repairs
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Maintenance Level 2 | 308 | 0 | 308 | 2023-05-26 22:01 | 2023-05-28 23:59 | 2023-05-28 16:00 | Steam Turbine Limited/Unavailable Due to CT/GT Work
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 27 | 138 | 2023-05-26 22:29 | 2023-06-30 18:30 |  | Unknown
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 0 | 165 | 2023-05-26 22:31 | 2023-06-30 18:00 |  | Unknown
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 0 | 85 | 2023-05-26 22:33 | 2023-06-30 18:30 |  | Other
MWEC | MWEC_G1 | Wind | Forced | 150 | 128 | 22 | 2023-05-26 23:27 | 2023-05-31 18:00 | 2023-05-31 04:29 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 167 | 150 | 17 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 159 | 143 | 16 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 159 | 142 | 17 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 167 | 149 | 18 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 159 | 142 | 17 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 159 | 142 | 17 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 153 | 135 | 18 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 161 | 142 | 19 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 165 | 150 | 15 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 156 | 142 | 14 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced Extension | 244 | 216 | 28 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced Extension | 244 | 216 | 28 | 2023-05-26 23:39 | 2023-05-28 23:59 | 2023-05-28 23:31 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 115 | 50 | 2023-05-27 01:00 | 2023-06-02 17:00 |  | Other
GIDEON | GIDEON_GIDEONG3 | Natural Gas | Maintenance Level 3 | 336 | 0 | 336 | 2023-05-27 01:04 | 2023-05-31 23:00 |  | Other
WCPP | WCPP_CT1 | Natural Gas | Maintenance Level 1 | 244 | 0 | 244 | 2023-05-27 02:00 | 2023-05-29 21:00 | 2023-05-29 11:09 | Other
WCPP | WCPP_ST1 | Natural Gas | Maintenance Level 1 | 298 | 150 | 148 | 2023-05-27 02:00 | 2023-05-29 21:00 | 2023-05-29 11:09 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 113 | 97 | 2023-05-27 11:55 | 2023-05-28 23:59 | 2023-05-28 12:25 | Other
FTR | FTR_FTR_G4 | Natural Gas | Forced | 400 | 175 | 225 | 2023-05-27 12:46 | 2023-05-30 17:00 | 2023-05-28 11:54 | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced | 125 | 88 | 37 | 2023-05-27 15:00 | 2023-06-28 12:00 |  | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 115 | 10 | 2023-05-27 15:03 | 2023-05-31 18:00 |  | Unknown
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 115 | 10 | 2023-05-27 15:03 | 2023-05-31 18:00 |  | Unknown
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 780 | 40 | 2023-05-27 15:44 | 2023-05-29 23:59 | 2023-05-29 20:09 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 820 | 760 | 60 | 2023-05-27 15:44 | 2023-06-01 21:23 | 2023-05-30 10:10 | Other
TI_SOLAR | TI_SOLAR_UNIT1 | Solar | Forced Extension | 137 | 0 | 137 | 2023-05-27 16:00 | 2023-05-28 06:00 | 2023-05-28 00:30 | Other
TI_SOLAR | TI_SOLAR_UNIT2 | Solar | Forced Extension | 131 | 0 | 131 | 2023-05-27 16:00 | 2023-05-28 06:00 | 2023-05-28 00:30 | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 109 | 22 | 2023-05-27 17:10 | 2023-05-31 18:00 |  | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 765 | 90 | 2023-05-27 19:33 | 2023-05-28 02:59 | 2023-05-28 01:37 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 740 | 115 | 2023-05-27 19:35 | 2023-05-28 06:59 | 2023-05-28 05:09 | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 700 | 45 | 2023-05-27 20:30 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
TTWEC | TTWEC_G1 | Wind | Forced | 170 | 160 | 10 | 2023-05-27 21:35 | 2023-05-31 18:00 | 2023-05-28 17:15 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 400 | 420 | 2023-05-27 23:01 | 2023-05-27 23:59 | 2023-05-28 01:11 | Feedwater Problems/Repairs
FTR | FTR_FTR_G2 | Natural Gas | Maintenance Level 1 | 180 | 0 | 180 | 2023-05-28 00:01 | 2023-05-28 13:00 | 2023-05-28 11:54 | Other
FTR | FTR_FTR_G4 | Natural Gas | Maintenance Level 1 | 400 | 110 | 290 | 2023-05-28 00:01 | 2023-05-28 13:00 | 2023-05-28 11:54 | Other
SALVTION | SALVTION_UNIT2 | Wind | Forced | 125 | 82 | 43 | 2023-05-28 05:05 | 2023-05-28 11:00 | 2023-05-28 11:00 | Other
CVC | CVC_CVC_G5 | Natural Gas | Forced | 144 | 0 | 144 | 2023-05-28 05:53 | 2023-05-28 23:59 | 2023-05-28 23:59 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 210 | 12 | 2023-05-28 08:45 | 2023-05-31 18:00 |  | Other
ANDMDSLR | ANDMDSLR_UNIT2 | Solar | Maintenance Level 2 | 162 | 120 | 42 | 2023-05-28 09:00 | 2023-05-28 19:00 | 2023-05-28 12:55 | Other
FTR | FTR_FTR_G1 | Natural Gas | Forced | 180 | 102 | 78 | 2023-05-28 09:00 | 2023-05-28 11:00 | 2023-05-28 10:42 | Other
FTR | FTR_FTR_G4 | Natural Gas | Forced | 400 | 48 | 352 | 2023-05-28 09:00 | 2023-05-28 11:00 | 2023-05-28 10:42 | Other
SALTFORK | SALTFORK_UNIT1 | Wind | Forced | 64 | 57 | 7 | 2023-05-28 10:12 | 2023-06-04 23:59 | 2023-05-30 06:12 | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced | 110 | 103 | 7 | 2023-05-28 10:12 | 2023-06-04 23:59 | 2023-05-30 06:12 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced | 127 | 116 | 11 | 2023-05-28 11:23 | 2023-05-30 11:23 | 2023-05-28 15:30 | Turbine/Generator Vibration/Repair
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 350 | 152 | 2023-05-28 12:15 | 2023-05-29 12:59 | 2023-05-28 16:08 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 120 | 90 | 2023-05-28 12:26 | 2023-05-29 23:59 | 2023-05-29 10:25 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 780 | 40 | 2023-05-28 14:24 | 2023-05-28 17:00 | 2023-05-28 16:14 | Other
NCO | NCO_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-05-28 14:48 | 2023-06-15 12:00 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced | 153 | 122 | 31 | 2023-05-28 14:50 | 2023-05-30 07:00 | 2023-05-30 07:00 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced | 149 | 122 | 27 | 2023-05-28 14:50 | 2023-05-30 07:00 | 2023-05-30 07:00 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 805 | 50 | 2023-05-28 14:54 | 2023-05-28 18:00 | 2023-05-28 16:00 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 825 | 30 | 2023-05-28 14:55 | 2023-05-28 18:00 | 2023-05-28 16:00 | Other
ANCHOR | ANCHOR_BESS1 | Not Available | Forced | 35 | 0 | 35 | 2023-05-28 16:00 | 2023-05-30 09:00 |  | Unknown
ANCHOR | ANCHOR_BESS2 | Not Available | Forced | 36 | 0 | 36 | 2023-05-28 16:00 | 2023-05-30 09:00 |  | Unknown
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 825 | 30 | 2023-05-28 16:01 | 2023-05-28 23:59 | 2023-05-28 23:17 | Other
PANDA_S | PANDA_S_SHER1CT1 | Natural Gas | Forced | 218 | 0 | 218 | 2023-05-28 16:01 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 820 | 35 | 2023-05-28 16:02 | 2023-05-29 07:59 | 2023-05-29 08:00 | Inlet Air Problems/Repairs
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 180 | 322 | 2023-05-28 16:08 | 2023-05-28 22:00 | 2023-05-28 17:37 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 455 | 400 | 2023-05-28 16:27 | 2023-05-28 19:00 | 2023-05-28 17:30 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 600 | 255 | 2023-05-28 17:30 | 2023-05-28 19:00 | 2023-05-28 18:44 | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 0 | 502 | 2023-05-28 17:37 | 2023-05-30 10:00 | 2023-05-29 10:36 | Other
WGU | WGU_UNIT1 | Solar | Forced | 120 | 102 | 18 | 2023-05-28 17:52 | 2023-06-02 16:00 |  | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 825 | 30 | 2023-05-28 18:48 | 2023-05-28 20:00 | 2023-05-28 18:50 | Other
PRSPERO2 | PRSPERO2_UNIT1 | Solar | Forced | 127 | 0 | 127 | 2023-05-28 19:16 | 2023-05-29 05:00 | 2023-05-29 03:46 | Other
PRSPERO2 | PRSPERO2_UNIT2 | Solar | Forced | 126 | 0 | 126 | 2023-05-28 19:16 | 2023-05-29 05:00 | 2023-05-29 03:46 | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 166 | 16 | 2023-05-28 20:05 | 2023-06-29 23:59 |  | Other
PROSPERO | PROSPERO_UNIT1 | Solar | Forced | 154 | 0 | 154 | 2023-05-28 21:21 | 2023-05-29 06:59 | 2023-05-29 01:51 | Unknown
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1214 | 400 | 814 | 2023-05-28 21:52 | 2023-05-29 23:59 | 2023-05-29 06:40 | Other
BOSQUESW | BOSQUESW_BSQSU_1 | Natural Gas | Maintenance Level 1 | 162 | 0 | 162 | 2023-05-28 22:56 | 2023-05-29 06:00 | 2023-05-29 04:12 | Feedwater Problems/Repairs
BOSQUESW | BOSQUESW_BSQSU_5 | Natural Gas | Maintenance Level 1 | 222 | 110 | 112 | 2023-05-28 22:56 | 2023-05-29 06:00 | 2023-05-29 04:12 | Feedwater Problems/Repairs
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 750 | 70 | 2023-05-28 23:03 | 2023-05-29 01:00 | 2023-05-29 00:40 | Emissions
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 740 | 80 | 2023-05-28 23:03 | 2023-05-29 01:00 | 2023-05-29 01:00 | Inlet Air Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 800 | 55 | 2023-05-28 23:19 | 2023-05-29 07:59 | 2023-05-29 08:00 | Inlet Air Problems/Repairs
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 167 | 148 | 19 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 159 | 141 | 18 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 159 | 141 | 18 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 167 | 147 | 20 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 159 | 140 | 19 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 159 | 140 | 19 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced Extension | 161 | 139 | 22 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced Extension | 153 | 132 | 21 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 153 | 136 | 17 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 161 | 143 | 18 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 165 | 151 | 14 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 156 | 143 | 13 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced Extension | 244 | 215 | 29 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced Extension | 244 | 216 | 28 | 2023-05-28 23:28 | 2023-05-29 23:59 | 2023-05-29 23:23 | Other
2023-05-31 |  |  |  | 2 |  |  |  | 5:02