## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-06-02 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: May 30, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-06-30 18:00 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-06-30 18:00 |  | Other
PLN | PLN_UNIT2 | Solar | Unavoidable Extension | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-07-15 15:01 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-08-04 | 2023-06-01 23:59 | 2023-06-01 23:59 | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-06-30 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-07-01 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-06-15 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-06-30 23:59 |  | Exhaust Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced Extension | 104 | 101 | 3 | 2022-12-16 16:00 | 2023-05-31 17:00 | 2023-05-31 17:00 | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Forced Extension | 31 | 0 | 31 | 2023-01-01 03:23 | 2023-06-02 10:00 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-06-30 08:24 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-06-30 23:59 |  | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 17 | 66 | 2023-01-27 10:27 | 2023-12-28 23:59 | 2023-05-31 11:29 | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 96 | 0 | 96 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-09-30 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 512 | 15 | 2023-02-20 07:00 | 2023-06-02 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-06-30 16:00 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 4 | 19 | 2023-02-28 21:35 | 2023-12-28 21:35 | 2023-05-31 11:29 | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 14 | 41 | 2023-03-01 09:48 | 2023-12-28 23:59 | 2023-05-31 11:29 | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 45 | 3 | 2023-03-01 09:50 | 2023-12-28 23:59 | 2023-05-31 11:29 | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced Extension | 153 | 57 | 96 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced Extension | 147 | 50 | 97 | 2023-03-02 11:07 | 2023-05-31 23:59 |  | Turbine/Generator Vibration/Repair
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Unavoidable Extension | 107 | 0 | 107 | 2023-03-03 09:00 | 2023-06-30 23:55 | 2023-05-30 15:07 | Overhaul
THW | THW_THWGT41 | Natural Gas | Unavoidable Extension | 54 | 0 | 54 | 2023-03-06 00:01 | 2023-06-10 23:59 |  | Combustion Inspection and Repair
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-03-06 17:00 | 2023-06-02 08:59 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-06-16 17:00 |  | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced Extension | 143 | 138 | 5 | 2023-03-09 08:00 | 2023-06-23 17:00 | 2023-06-01 14:25 | Other
PC_SOUTH | PC_SOUTH_PANTHER2 | Wind | Forced Extension | 116 | 112 | 4 | 2023-03-09 08:00 | 2023-06-23 17:00 | 2023-06-01 14:40 | Other
UCC_COGN | UCC_COGN_UCC_C_2 | Blast-Furnace Gas | Unavoidable Extension | 15 | 0 | 15 | 2023-03-17 09:00 | 2023-06-14 15:00 |  | Lack of Steam Load Availability
CVC | CVC_CVC_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-03-18 00:01 | 2023-06-21 17:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1205 | 1224 | 0 | 2023-03-19 19:40 | 2023-06-23 09:40 |  | Other
GBY | GBY_GBYGT83 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-03-20 | 2023-06-08 23:59 |  | Combustion Inspection and Repair
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Unavoidable Extension | 77 | 0 | 77 | 2023-03-22 10:12 | 2023-06-06 18:00 |  | Overhaul
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-06-05 17:00 |  | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-06-05 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-06-05 23:59 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Forced Extension | 152 | 0 | 152 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced Extension | 311 | 150 | 161 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-06-05 17:00 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced Extension | 38 | 8 | 30 | 2023-03-27 19:25 | 2023-06-02 23:59 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 45 | 105 | 2023-03-28 08:30 | 2023-09-29 17:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 101 | 23 | 2023-03-29 10:51 | 2023-05-31 17:00 | 2023-05-31 17:00 | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 18 | 132 | 2023-03-31 18:00 | 2023-09-29 17:00 |  | Other
CHE | CHE_GT2 | Natural Gas | Forced Extension | 171 | 0 | 171 | 2023-04-01 03:07 | 2023-06-28 23:59 |  | Other
THW | THW_THWST_4 | Natural Gas | Forced Extension | 110 | 78 | 32 | 2023-04-01 20:43 | 2023-06-10 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 96 | 5 | 2023-04-02 | 2023-05-31 17:00 | 2023-05-31 08:30 | Turbine/Generator Vibration/Repair
LHSES | LHSES_UNIT2A | Natural Gas | Unavoidable Extension | 523 | 0 | 523 | 2023-04-03 00:01 | 2023-05-31 23:59 | 2023-05-30 19:32 | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 391 | 358 | 2023-04-03 19:29 | 2023-05-31 23:59 | 2023-05-30 08:00 | Inlet Air Problems/Repairs
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 155 | 16 | 2023-04-04 08:37 | 2023-06-28 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 96 | 24 | 2023-04-05 18:01 | 2023-06-05 18:00 |  | Other
MCDLD | MCDLD_SB4_G87 | Wind | Forced Extension | 4 | 0 | 4 | 2023-04-07 17:02 | 2023-06-30 17:00 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 767 | 69 | 2023-04-08 10:20 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 400 | 385 | 2023-04-09 08:30 | 2023-05-31 23:59 | 2023-05-30 10:53 | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-06-02 23:59 |  | Other
EXN | EXN_EXN_G15 | Blast-Furnace Gas | Forced Extension | 8 | 0 | 8 | 2023-04-12 10:01 | 2023-06-09 23:59 |  | Other
PYR | PYR_PYRON1 | Wind | Unavoidable Extension | 122 | 85 | 37 | 2023-04-14 16:01 | 2023-05-31 16:00 | 2023-05-30 12:00 | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 363 | 386 | 2023-04-15 12:56 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
SPNCER | SPNCER_SPNCE_4 | Natural Gas | Forced Extension | 57 | 40 | 17 | 2023-04-19 13:22 | 2023-06-02 23:59 | 2023-05-31 06:30 | Cooling Water Problems/Repairs
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-04-21 13:03 | 2023-06-30 23:59 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 89 | 36 | 2023-04-21 14:44 | 2023-05-30 18:00 | 2023-05-30 18:00 | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced Extension | 120 | 0 | 120 | 2023-04-21 16:37 | 2023-06-30 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced Extension | 62 | 0 | 62 | 2023-04-21 16:39 | 2023-06-30 23:59 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced Extension | 90 | 40 | 50 | 2023-04-27 03:00 | 2023-06-10 09:00 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced Extension | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-08-01 12:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Forced Extension | 13 | 0 | 13 | 2023-04-27 10:10 | 2023-06-02 10:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-04-29 | 2023-06-30 23:59 |  | Combustion Inspection and Repair
CORAZON | CORAZON_UNIT1 | Solar | Forced Extension | 203 | 160 | 43 | 2023-04-29 00:01 | 2023-06-30 23:59 |  | Other
BORDAS | BORDAS_JAVEL20 | Wind | Forced | 230 | 206 | 24 | 2023-05-01 00:01 | 2023-05-30 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 202 | 30 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 205 | 8 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced Extension | 150 | 115 | 35 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
VICTORIA | VICTORIA_VICTORG5 | Natural Gas | Unavoidable Extension | 125 | 0 | 125 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
VICTORIA | VICTORIA_VICTORG6 | Natural Gas | Unavoidable Extension | 160 | 0 | 160 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
WHMESA | WHMESA_UNIT1 | Wind | Forced Extension | 152 | 149 | 3 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 61 | 31 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced Extension | 86 | 81 | 5 | 2023-05-01 00:01 | 2023-06-30 23:59 | 2023-06-01 03:45 | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-06-30 23:59 |  | Other
CAL | CAL_CALGT1 | Natural Gas | Unavoidable Extension | 131 | 0 | 131 | 2023-05-02 00:23 | 2023-06-11 23:59 |  | Overhaul
CAL | CAL_CALSTG1 | Natural Gas | Unavoidable Extension | 58 | 0 | 58 | 2023-05-02 00:23 | 2023-06-11 23:59 |  | Overhaul
RIONOG | RIONOG_ST1 | Blast-Furnace Gas | Forced Extension | 303 | 306 | 0 | 2023-05-02 13:00 | 2023-06-16 23:59 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
DOWGEN | DOWGEN_DOW_GT96 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-05-03 10:01 | 2023-06-06 10:00 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 194 | 3 | 2023-05-03 23:19 | 2023-06-30 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 96 | 7 | 2023-05-05 02:50 | 2023-05-31 23:59 | 2023-05-30 13:11 | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-12-31 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 138 | 25 | 2023-05-05 17:05 | 2023-06-07 17:00 |  | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 144 | 6 | 2023-05-06 03:17 | 2023-06-06 18:00 |  | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 139 | 11 | 2023-05-06 03:17 | 2023-06-06 18:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 151 | 18 | 2023-05-06 03:43 | 2023-06-06 18:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 157 | 12 | 2023-05-06 03:43 | 2023-06-06 18:00 |  | Other
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 0 | 785 | 2023-05-06 12:44 | 2023-06-07 23:59 |  | Other
SL | SL_SL_G4 | Waste/Other Coal | Forced Extension | 30 | 0 | 30 | 2023-05-06 19:40 | 2023-06-04 23:59 | 2023-06-01 15:28 | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 152 | 0 | 2023-05-08 17:51 | 2023-06-30 23:59 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 80 | 65 | 15 | 2023-05-09 07:18 | 2023-06-02 23:59 |  | Exhaust Problems/Repairs
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 591 | 245 | 2023-05-09 13:01 | 2023-06-06 17:00 | 2023-05-30 14:00 | Inlet Air Problems/Repairs
FALCON | FALCON_FALCONG2 | Water | Unavoidable Extension | 12 | 0 | 12 | 2023-05-09 17:40 | 2023-06-05 08:59 |  | Other
PYR | PYR_PYRON2 | Wind | Unavoidable Extension | 128 | 0 | 128 | 2023-05-10 08:01 | 2023-06-30 16:00 |  | Other
TURQBESS | TURQBESS_BESS1 | Not Available | Forced Extension | 190 | 190 | 0 | 2023-05-11 | 2023-06-30 23:59 |  | Other
SANDHSYD | SANDHSYD_SH_5A | Natural Gas | Unavoidable Extension | 142 | 0 | 142 | 2023-05-11 00:01 | 2023-06-19 23:59 |  | Other
SANDHSYD | SANDHSYD_SH_5C | Natural Gas | Unavoidable Extension | 139 | 0 | 139 | 2023-05-11 00:01 | 2023-06-19 23:59 |  | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 70 | 0 | 70 | 2023-05-11 16:38 | 2023-06-06 23:59 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 91 | 18 | 2023-05-12 14:00 | 2023-06-30 23:59 |  | Other
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 94 | 15 | 2023-05-12 14:00 | 2023-06-30 23:59 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 94 | 7 | 2023-05-12 15:58 | 2023-06-05 18:00 | 2023-06-01 01:53 | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 86 | 39 | 2023-05-12 18:00 | 2023-05-30 18:00 | 2023-05-30 18:00 | Other
KING_SW | KING_SW_KINGSW | Wind | Forced Extension | 80 | 52 | 28 | 2023-05-12 19:48 | 2023-06-30 23:59 |  | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 87 | 6 | 2023-05-13 04:03 | 2023-06-30 23:59 | 2023-05-31 05:10 | Other
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Unavoidable Extension | 287 | 150 | 137 | 2023-05-14 00:01 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 380 | 10 | 2023-05-14 15:33 | 2023-05-30 23:59 | 2023-05-30 23:59 | Other
THW | THW_THWGT55 | Natural Gas | Maintenance Level 3 | 56 | 0 | 56 | 2023-05-15 00:01 | 2023-06-11 23:59 | 2023-06-01 21:06 | Overhaul
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 112 | 2 | 2023-05-15 01:42 | 2023-06-30 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
OWF | OWF_OWF | Wind | Forced Extension | 55 | 6 | 49 | 2023-05-15 11:17 | 2023-06-09 23:59 |  | Turbine/Generator Vibration/Repair
TGCCS | TGCCS_CT3 | Natural Gas | Forced | 153 | 150 | 3 | 2023-05-15 21:35 | 2023-06-02 12:50 |  | Other
TGCCS | TGCCS_UNIT4 | Natural Gas | Forced | 402 | 0 | 402 | 2023-05-15 21:35 | 2023-06-02 12:50 |  | Other
TGCCS | TGCCS_CT1 | Natural Gas | Forced | 156 | 150 | 6 | 2023-05-16 09:37 | 2023-06-02 12:49 |  | Other
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-06-30 23:59 |  | Other
SPTX12B | SPTX12B_BES1 | Not Available | Forced Extension | 25 | 25 | 0 | 2023-05-17 | 2023-06-30 23:59 |  | Other
WFTANK | WFTANK_ESS1 | Not Available | Forced Extension | 150 | 150 | 0 | 2023-05-17 | 2023-06-30 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 118 | 15 | 2023-05-17 01:41 | 2023-06-30 23:59 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 729 | 95 | 2023-05-17 15:41 | 2023-06-02 17:00 | 2023-05-31 14:54 | Inlet Air Problems/Repairs
BTE | BTE_BTE_G1 | Natural Gas | Unavoidable Extension | 196 | 90 | 106 | 2023-05-18 00:06 | 2023-06-04 23:59 |  | Other
BTE | BTE_BTE_G3 | Natural Gas | Unavoidable Extension | 145 | 0 | 145 | 2023-05-18 00:06 | 2023-06-04 23:59 |  | Other
MIL | MIL_MILLERG2 | Natural Gas | Forced Extension | 118 | 95 | 23 | 2023-05-18 05:06 | 2023-06-05 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 109 | 26 | 2023-05-18 06:17 | 2023-06-29 23:59 |  | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced Extension | 50 | 46 | 4 | 2023-05-18 17:29 | 2023-06-02 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 75 | 34 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 105 | 85 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 65 | 81 | 2023-05-19 | 2023-06-07 23:59 |  | Feedwater Problems/Repairs
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 176 | 10 | 2023-05-19 00:08 | 2023-06-30 23:59 | 2023-05-30 10:02 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-05-19 00:08 | 2023-06-30 23:59 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 159 | 21 | 2023-05-19 09:00 | 2023-12-04 23:58 |  | Other
TXCTY | TXCTY_CTA | Natural Gas | Forced Extension | 80 | 0 | 80 | 2023-05-19 11:55 | 2023-06-02 23:59 |  | Other
TXCTY | TXCTY_ST | Natural Gas | Forced Extension | 125 | 90 | 35 | 2023-05-19 11:55 | 2023-06-02 23:59 |  | Other
BTM | BTM_UNIT3 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-05-19 12:54 | 2023-06-02 23:59 |  | Other
DAN | DAN_UNIT2 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-11-20 08:00 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-09-11 08:00 |  | Other
WND | WND_WHITNEY1 | Water | Forced Extension | 22 | 0 | 22 | 2023-05-19 17:00 | 2023-06-02 23:59 | 2023-06-01 09:30 | Unknown
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced Extension | 18 | 0 | 18 | 2023-05-19 17:30 | 2023-06-06 23:59 |  | Turbine/Generator Vibration/Repair
LHSES | LHSES_UNIT2A | Natural Gas | Unavoidable Extension | 523 | 0 | 523 | 2023-05-20 | 2023-05-31 23:59 | 2023-05-31 16:30 | Overhaul
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 56 | 39 | 2023-05-20 20:54 | 2023-06-01 22:00 | 2023-06-01 17:06 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 70 | 32 | 2023-05-21 18:07 | 2023-06-07 15:41 |  | Turbine/Generator Vibration/Repair
DDPEC | DDPEC_GT6 | Natural Gas | Unavoidable Extension | 156 | 0 | 156 | 2023-05-22 09:01 | 2023-06-02 23:59 |  | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced Extension | 151 | 145 | 6 | 2023-05-22 12:52 | 2023-06-05 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced Extension | 98 | 89 | 9 | 2023-05-22 12:52 | 2023-06-05 14:00 |  | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 146 | 15 | 2023-05-22 15:56 | 2023-06-05 18:00 |  | Turbine/Generator Vibration/Repair
GOAT | GOAT_GOATWIN2 | Wind | Forced Extension | 70 | 48 | 22 | 2023-05-23 | 2023-06-30 23:59 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced Extension | 184 | 173 | 11 | 2023-05-23 01:24 | 2023-06-30 23:59 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced Extension | 100 | 50 | 50 | 2023-05-23 07:16 | 2023-06-07 18:00 | 2023-06-01 01:17 | Other
VORTEX | VORTEX_BESS1 | Other | Maintenance Level 1 | 122 | 0 | 122 | 2023-05-23 08:25 | 2023-07-30 18:00 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 191 | 11 | 2023-05-23 12:06 | 2023-12-31 23:59 |  | Other
CBEC | CBEC_GT12 | Natural Gas | Forced Extension | 39 | 0 | 39 | 2023-05-23 14:02 | 2023-06-02 23:59 | 2023-05-31 11:28 | Other
PRSPERO2 | PRSPERO2_UNIT2 | Solar | Forced Extension | 126 | 110 | 16 | 2023-05-23 15:39 | 2023-06-02 12:00 | 2023-05-31 00:20 | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 0 | 130 | 2023-05-23 18:35 | 2023-05-30 12:00 | 2023-05-30 11:58 | Other
BCH | BCH_UNIT1 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-05-23 22:00 | 2023-06-02 22:00 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced Extension | 150 | 117 | 33 | 2023-05-24 03:40 | 2023-06-30 23:59 |  | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced Extension | 126 | 17 | 109 | 2023-05-24 09:35 | 2023-06-30 23:59 |  | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced Extension | 100 | 85 | 15 | 2023-05-24 13:47 | 2023-06-06 18:00 |  | Unknown
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 80 | 0 | 80 | 2023-05-24 14:01 | 2023-06-02 23:59 |  | Tube Leak
DAN | DAN_UNIT1 | Solar | Unavoidable Extension | 300 | 18 | 282 | 2023-05-24 15:01 | 2023-06-09 23:59 |  | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced Extension | 158 | 118 | 40 | 2023-05-24 15:32 | 2023-06-30 23:59 | 2023-06-01 10:50 | Other
LOSTPI | LOSTPI_LOSTPGT2 | Natural Gas | Forced Extension | 170 | 0 | 170 | 2023-05-24 16:00 | 2023-05-30 12:00 | 2023-05-30 08:10 | Boroscope
LOSTPI | LOSTPI_LOSTPST1 | Natural Gas | Forced Extension | 188 | 159 | 29 | 2023-05-24 16:00 | 2023-05-30 12:00 | 2023-05-30 08:10 | Boroscope
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 94 | 26 | 2023-05-24 16:08 | 2023-06-06 18:00 |  | Turbine/Generator Vibration/Repair
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 85 | 30 | 2023-05-25 06:36 | 2023-05-31 23:59 | 2023-05-31 18:02 | Turbine/Generator Vibration/Repair
NEBULA | NEBULA_UNIT1 | Solar | Forced Extension | 138 | 133 | 5 | 2023-05-25 08:00 | 2023-06-08 16:00 |  | Other
TGCCS | TGCCS_CT2 | Natural Gas | Forced | 135 | 150 | 0 | 2023-05-25 11:18 | 2023-06-02 12:49 |  | Other
ROW | ROW_UNIT1 | Solar | Forced Extension | 100 | 48 | 52 | 2023-05-25 13:43 | 2023-06-06 18:00 | 2023-05-31 23:46 | Other
LV1 | LV1_LV1A | Wind | Forced | 200 | 177 | 23 | 2023-05-25 18:05 | 2023-05-30 23:59 | 2023-05-30 08:32 | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 131 | 20 | 2023-05-25 19:30 | 2023-06-01 18:00 | 2023-05-31 04:37 | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 131 | 20 | 2023-05-25 19:30 | 2023-06-01 18:00 | 2023-05-31 04:37 | Other
CBEC | CBEC_GT11 | Natural Gas | Forced Extension | 39 | 0 | 39 | 2023-05-25 22:35 | 2023-06-02 23:59 | 2023-05-31 11:28 | Other
PSG | PSG_PSG_GT2 | Natural Gas | Maintenance Level 1 | 164 | 0 | 164 | 2023-05-26 00:01 | 2023-05-30 23:59 | 2023-05-30 03:00 | Other
PSG | PSG_PSG_GT3 | Natural Gas | Maintenance Level 1 | 164 | 0 | 164 | 2023-05-26 00:01 | 2023-05-30 23:59 | 2023-05-30 03:00 | Other
PSG | PSG_PSG_ST2 | Natural Gas | Maintenance Level 1 | 170 | 0 | 170 | 2023-05-26 00:01 | 2023-05-30 23:59 | 2023-05-30 03:00 | Other
NCARBIDE | NCARBIDE_NCARBIG3 | Natural Gas | Forced | 32 | 0 | 32 | 2023-05-26 07:35 | 2023-06-28 10:00 | 2023-05-31 16:11 | Fuel Problems/Repairs
MYR | MYR_UNIT1 | Solar | Forced Extension | 167 | 22 | 145 | 2023-05-26 08:00 | 2023-06-02 07:59 |  | Other
MYR | MYR_UNIT2 | Solar | Forced Extension | 146 | 115 | 31 | 2023-05-26 08:00 | 2023-06-16 07:59 |  | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 67 | 23 | 2023-05-26 08:04 | 2023-06-15 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 108 | 18 | 2023-05-26 08:05 | 2023-06-15 23:59 | 2023-06-01 11:53 | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced | 149 | 136 | 13 | 2023-05-26 11:04 | 2023-06-02 18:00 |  | Unknown
BOSQUESW | BOSQUESW_BSQSU_4 | Natural Gas | Forced Extension | 79 | 0 | 79 | 2023-05-26 11:12 | 2023-06-02 23:59 |  | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Forced Extension | 240 | 48 | 192 | 2023-05-26 13:00 | 2023-06-02 18:00 | 2023-05-31 08:29 | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 101 | 23 | 2023-05-26 15:14 | 2023-06-02 17:00 |  | Other
VERAWIND | VERAWIND_UNIT1 | Wind | Forced | 12 | 10 | 2 | 2023-05-26 17:00 | 2023-06-01 | 2023-06-01 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT4 | Wind | Forced | 22 | 20 | 2 | 2023-05-26 17:00 | 2023-06-01 | 2023-05-30 14:16 | Turbine/Generator Vibration/Repair
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 43 | 3 | 2023-05-26 17:45 | 2023-06-02 18:00 | 2023-05-31 15:07 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced Extension | 173 | 0 | 173 | 2023-05-26 18:01 | 2023-06-02 22:00 |  | Other
CHALUPA | CHALUPA_UNIT2 | Wind | Forced Extension | 25 | 0 | 25 | 2023-05-26 18:01 | 2023-06-02 22:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 491 | 36 | 2023-05-26 18:16 | 2023-06-02 23:59 |  | Inlet Air Problems/Repairs
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 620 | 35 | 2023-05-26 19:01 | 2023-05-30 23:59 | 2023-05-30 18:36 | Fuel Limitation/Lack of Fuel Availability
VICTPORT | VICTPORT_CTG02 | Natural Gas | Forced Extension | 44 | 0 | 44 | 2023-05-26 20:16 | 2023-06-02 19:00 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 27 | 138 | 2023-05-26 22:29 | 2023-06-30 18:30 | 2023-05-31 15:30 | Unknown
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 0 | 165 | 2023-05-26 22:31 | 2023-06-30 18:00 | 2023-05-31 15:30 | Unknown
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 0 | 85 | 2023-05-26 22:33 | 2023-06-30 18:30 | 2023-05-31 15:29 | Other
GIDEON | GIDEON_GIDEONG3 | Natural Gas | Forced | 336 | 0 | 336 | 2023-05-26 23:00 | 2023-05-31 07:00 |  | Other
MWEC | MWEC_G1 | Wind | Forced | 150 | 128 | 22 | 2023-05-26 23:27 | 2023-05-31 18:00 | 2023-05-31 04:29 | Other
LIG | LIG_UNIT2 | Natural Gas | Unavoidable Extension | 42 | 0 | 42 | 2023-05-27 00:01 | 2023-06-04 23:59 | 2023-06-01 12:08 | Boroscope
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 115 | 50 | 2023-05-27 01:00 | 2023-06-15 18:00 |  | Other
GIDEON | GIDEON_GIDEONG3 | Natural Gas | Maintenance Level 3 | 336 | 0 | 336 | 2023-05-27 01:04 | 2023-05-31 23:00 | 2023-05-31 07:00 | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced | 125 | 88 | 37 | 2023-05-27 15:00 | 2023-06-28 12:00 |  | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 115 | 10 | 2023-05-27 15:03 | 2023-06-08 18:00 |  | Unknown
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 115 | 10 | 2023-05-27 15:03 | 2023-06-08 18:00 |  | Unknown
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 805 | 760 | 45 | 2023-05-27 15:44 | 2023-06-01 21:23 | 2023-05-30 10:10 | Other
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 109 | 22 | 2023-05-27 17:10 | 2023-06-06 18:00 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 700 | 45 | 2023-05-27 20:30 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
REDBARN | REDBARN_UNIT_1 | Solar | Forced Extension | 222 | 210 | 12 | 2023-05-28 08:45 | 2023-06-02 18:00 |  | Other
SALTFORK | SALTFORK_UNIT1 | Wind | Forced | 64 | 57 | 7 | 2023-05-28 10:12 | 2023-06-04 23:59 | 2023-05-30 06:12 | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced | 110 | 103 | 7 | 2023-05-28 10:12 | 2023-06-04 23:59 | 2023-05-30 06:12 | Other
NCO | NCO_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-05-28 14:48 | 2023-06-15 12:00 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced | 153 | 122 | 31 | 2023-05-28 14:50 | 2023-05-30 07:00 | 2023-05-30 07:00 | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced | 149 | 122 | 27 | 2023-05-28 14:50 | 2023-05-30 07:00 | 2023-05-30 07:00 | Other
ANCHOR | ANCHOR_BESS1 | Not Available | Forced | 35 | 0 | 35 | 2023-05-28 16:00 | 2023-05-30 09:00 |  | Unknown
ANCHOR | ANCHOR_BESS2 | Not Available | Forced | 36 | 0 | 36 | 2023-05-28 16:00 | 2023-05-30 09:00 |  | Unknown
PANDA_S | PANDA_S_SHER1CT1 | Natural Gas | Forced | 199 | 0 | 199 | 2023-05-28 16:01 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
WGU | WGU_UNIT1 | Solar | Forced | 120 | 102 | 18 | 2023-05-28 17:52 | 2023-06-02 16:00 | 2023-05-31 18:22 | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 166 | 16 | 2023-05-28 20:05 | 2023-06-29 23:59 |  | Other
CVC | CVC_CVC_G5 | Natural Gas | Forced Extension | 144 | 0 | 144 | 2023-05-29 | 2023-06-01 17:00 | 2023-05-31 16:09 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 134 | 14 | 2023-05-29 03:56 | 2023-05-30 18:00 | 2023-05-30 09:59 | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Forced Extension | 70 | 0 | 70 | 2023-05-29 08:04 | 2023-05-30 12:00 | 2023-05-30 08:32 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 154 | 28 | 2023-05-29 09:43 | 2023-06-30 23:59 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 95 | 31 | 2023-05-29 09:47 | 2023-05-30 12:00 | 2023-05-30 09:59 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced Extension | 210 | 156 | 54 | 2023-05-29 10:26 | 2023-05-31 17:00 | 2023-05-31 10:44 | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced Extension | 201 | 186 | 15 | 2023-05-29 10:40 | 2023-06-30 23:59 |  | Other
THW | THW_THWST_4 | Natural Gas | Forced Extension | 110 | 52 | 58 | 2023-05-29 11:15 | 2023-05-30 12:00 | 2023-05-30 08:04 | Steam Turbine Limited/Unavailable Due to CT/GT Work
WAP | WAP_WAP_G7 | Bituminous Coal | Forced Extension | 577 | 546 | 31 | 2023-05-29 13:04 | 2023-05-30 12:00 | 2023-05-30 08:14 | Feedwater Problems/Repairs
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 805 | 740 | 65 | 2023-05-29 13:12 | 2023-05-30 00:59 | 2023-05-30 00:59 | Emissions
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 815 | 40 | 2023-05-29 14:15 | 2023-05-29 23:59 | 2023-05-30 | Other
SPNCER | SPNCER_SPNCE_5 | Natural Gas | Forced Extension | 61 | 30 | 31 | 2023-05-29 16:32 | 2023-06-05 23:59 | 2023-05-31 06:30 | Feedwater Problems/Repairs
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 122 | 22 | 2023-05-29 17:55 | 2023-06-03 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 122 | 22 | 2023-05-29 17:55 | 2023-06-03 18:00 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced Extension | 44 | 0 | 44 | 2023-05-29 18:07 | 2023-06-01 12:00 | 2023-05-30 18:10 | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 44 | 0 | 44 | 2023-05-29 18:07 | 2023-06-01 12:00 | 2023-05-30 18:10 | Turbine/Generator Vibration/Repair
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 770 | 85 | 2023-05-29 18:19 | 2023-05-29 23:59 | 2023-05-30 | Other
STWF | STWF_T1 | Wind | Forced | 98 | 87 | 11 | 2023-05-29 19:55 | 2023-05-30 23:59 | 2023-05-30 23:59 | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 222 | 169 | 2023-05-29 20:00 | 2023-05-30 12:00 | 2023-05-30 11:33 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 153 | 11 | 2023-05-29 20:27 | 2023-06-30 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 143 | 21 | 2023-05-29 20:27 | 2023-06-30 23:59 | 2023-05-30 10:03 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 770 | 35 | 2023-05-29 21:23 | 2023-06-01 21:23 | 2023-05-30 15:55 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 760 | 45 | 2023-05-29 21:23 | 2023-06-01 21:23 | 2023-06-01 10:11 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 142 | 19 | 2023-05-29 21:35 | 2023-06-02 23:59 | 2023-05-30 20:30 | Other
AMOCOOIL | AMOCOOIL_AMOCO_G3 | Natural Gas | Unavoidable Extension | 150 | 0 | 150 | 2023-05-29 22:00 | 2023-06-01 16:00 | 2023-06-01 16:00 | Other
SWEETWN4 | SWEETWN4_WND4B | Wind | Forced | 112 | 0 | 112 | 2023-05-29 22:08 | 2023-05-30 23:59 | 2023-05-30 00:51 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 165 | 147 | 18 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 157 | 140 | 17 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 157 | 140 | 17 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 165 | 148 | 17 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 157 | 140 | 17 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 157 | 141 | 16 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 153 | 138 | 15 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 145 | 131 | 14 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 145 | 136 | 9 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 153 | 141 | 12 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced | 167 | 151 | 16 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 158 | 143 | 15 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 241 | 214 | 27 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced | 241 | 214 | 27 | 2023-05-29 23:30 | 2023-05-30 23:29 | 2023-05-30 23:18 | Other
CPSES | CPSES_UNIT2 | Nuclear | Forced | 1195 | 935 | 260 | 2023-05-29 23:41 | 2023-05-30 23:59 | 2023-05-30 23:36 | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Maintenance Level 3 | 48 | 0 | 48 | 2023-05-30 | 2023-06-07 23:59 |  | Other
GRSES | GRSES_UNIT2 | Natural Gas | Unavoidable Extension | 390 | 0 | 390 | 2023-05-30 00:01 | 2023-06-02 17:00 |  | Other
SWEETWN4 | SWEETWN4_WND4B | Wind | Forced | 112 | 99 | 13 | 2023-05-30 01:37 | 2023-05-30 23:59 | 2023-05-30 02:44 | Other
SWEETWN4 | SWEETWN4_WND4B | Wind | Forced | 112 | 18 | 94 | 2023-05-30 02:44 | 2023-05-30 23:59 | 2023-05-30 14:13 | Other
BYU | BYU_BYU_G4 | Natural Gas | Maintenance Level 2 | 80 | 0 | 80 | 2023-05-30 03:12 | 2023-06-02 20:00 |  | Other
TOPAZ | TOPAZ_UNIT6 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-05-30 04:00 | 2023-05-31 23:59 | 2023-05-31 20:00 | Other
CALHOUN | CALHOUN_UNIT1 | Natural Gas | Unavoidable Extension | 44 | 0 | 44 | 2023-05-30 05:50 | 2023-06-06 23:59 |  | Gas Company Pipeline Work
CALHOUN | CALHOUN_UNIT2 | Natural Gas | Unavoidable Extension | 44 | 0 | 44 | 2023-05-30 05:50 | 2023-06-06 23:59 | 2023-05-31 17:00 | Gas Company Pipeline Work
SALTFORK | SALTFORK_UNIT1 | Wind | Forced | 64 | 24 | 40 | 2023-05-30 06:09 | 2023-06-04 23:59 | 2023-05-30 15:42 | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced | 110 | 100 | 10 | 2023-05-30 06:09 | 2023-06-04 23:59 | 2023-05-30 15:42 | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 90 | 20 | 2023-05-30 06:48 | 2023-06-01 23:59 | 2023-05-30 19:12 | Other
ANDMDSLR | ANDMDSLR_UNIT2 | Solar | Maintenance Level 1 | 162 | 120 | 42 | 2023-05-30 07:00 | 2023-05-30 19:00 |  | Other
BAC | BAC_CTG1 | Natural Gas | Maintenance Level 2 | 59 | 0 | 59 | 2023-05-30 07:00 | 2023-06-02 19:00 |  | Other
WIPOPA | WIPOPA_WPP_G1 | Natural Gas | Unavoidable Extension | 44 | 0 | 44 | 2023-05-30 07:00 | 2023-05-30 10:00 | 2023-05-30 10:00 | Other
WIPOPA | WIPOPA_WPP_G1 | Natural Gas | Forced | 44 | 0 | 44 | 2023-05-30 07:00 | 2023-05-30 10:00 | 2023-05-30 10:00 | Other
WIPOPA | WIPOPA_WPP_G2 | Natural Gas | Unavoidable Extension | 44 | 0 | 44 | 2023-05-30 07:00 | 2023-05-30 10:00 | 2023-05-30 10:00 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced | 153 | 122 | 31 | 2023-05-30 07:01 | 2023-06-09 17:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced | 149 | 122 | 27 | 2023-05-30 07:01 | 2023-06-09 17:00 |  | Other
EUNICE | EUNICE_PV1 | Solar | Forced | 190 | 180 | 10 | 2023-05-30 07:05 | 2023-05-30 16:00 | 2023-05-30 08:54 | Other
EUNICE | EUNICE_PV2 | Solar | Forced | 237 | 227 | 10 | 2023-05-30 07:05 | 2023-05-30 16:00 | 2023-05-30 08:54 | Other
LGE | LGE_LGE_GT1 | Natural Gas | Forced | 145 | 0 | 145 | 2023-05-30 08:12 | 2023-05-30 23:59 | 2023-05-30 16:10 | Emissions
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced | 75 | 38 | 37 | 2023-05-30 08:12 | 2023-05-30 23:59 | 2023-05-30 16:10 | Emissions
WIPOPA | WIPOPA_WPP_G3 | Natural Gas | Maintenance Level 3 | 44 | 0 | 44 | 2023-05-30 09:00 | 2023-05-30 11:00 | 2023-05-30 11:00 | Other
WIPOPA | WIPOPA_WPP_G4 | Natural Gas | Maintenance Level 3 | 44 | 0 | 44 | 2023-05-30 09:00 | 2023-05-30 11:00 | 2023-05-30 11:00 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 131 | 17 | 2023-05-30 10:00 | 2023-05-31 18:00 | 2023-05-30 18:25 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 91 | 35 | 2023-05-30 10:00 | 2023-05-31 12:00 | 2023-05-30 11:47 | Other
TAV | TAV_UNIT2 | Solar | Maintenance Level 1 | 96 | 14 | 82 | 2023-05-30 10:00 | 2023-06-02 18:00 |  | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced | 127 | 116 | 11 | 2023-05-30 10:30 | 2023-06-01 10:30 | 2023-05-30 16:05 | Turbine/Generator Vibration/Repair
GRSES | GRSES_UNIT1 | Natural Gas | Forced | 239 | 0 | 239 | 2023-05-30 11:03 | 2023-05-30 11:29 | 2023-05-30 11:30 | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced | 65 | 0 | 65 | 2023-05-30 11:05 | 2023-05-31 12:00 | 2023-05-30 19:30 | Unknown
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 125 | 70 | 2023-05-30 11:10 | 2023-05-31 15:00 | 2023-05-31 10:49 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 152 | 57 | 2023-05-30 11:10 | 2023-05-31 15:00 | 2023-05-31 10:44 | Other
BUCKTHRN | BUCKTHRN_UNIT1 | Wind | Forced | 45 | 35 | 10 | 2023-05-30 11:12 | 2023-05-30 23:59 | 2023-05-30 22:56 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 95 | 31 | 2023-05-30 11:48 | 2023-05-31 12:00 | 2023-05-30 11:49 | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 0 | 130 | 2023-05-30 11:59 | 2023-06-02 12:00 | 2023-05-30 15:39 | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 61 | 61 | 2023-05-30 12:01 | 2023-06-30 16:00 | 2023-06-01 12:00 | Other
SALTFORK | SALTFORK_UNIT1 | Wind | Forced | 64 | 56 | 8 | 2023-05-30 12:08 | 2023-06-04 23:59 | 2023-05-30 15:34 | Other
SALTFORK | SALTFORK_UNIT2 | Wind | Forced | 110 | 100 | 10 | 2023-05-30 12:08 | 2023-06-04 23:59 | 2023-05-30 15:34 | Other
STRATEGC | STRATEGC_UNIT1 | Solar | Forced | 135 | 84 | 51 | 2023-05-30 12:08 | 2023-05-31 12:00 | 2023-05-30 14:50 | Other
TOYAH | TOYAH_BESS | Not Available | Maintenance Level 2 | 10 | 10 | 0 | 2023-05-30 13:00 | 2023-05-30 16:00 | 2023-05-30 15:50 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 95 | 31 | 2023-05-30 13:31 | 2023-05-31 12:00 | 2023-05-31 11:39 | Other
DEC | DEC_AGR_A | Natural Gas | Forced | 56 | 38 | 18 | 2023-05-30 14:00 | 2023-05-30 18:00 | 2023-05-30 15:36 | Unknown
LEG | LEG_LEG_G2 | Lignite | Forced | 836 | 620 | 216 | 2023-05-30 14:00 | 2023-06-06 17:00 |  | Inlet Air Problems/Repairs
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 790 | 65 | 2023-05-30 14:01 | 2023-05-30 20:00 | 2023-05-30 18:45 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 805 | 50 | 2023-05-30 14:01 | 2023-05-30 20:00 | 2023-05-30 15:01 | Other
DEC | DEC_AGR_B | Natural Gas | Forced | 56 | 38 | 18 | 2023-05-30 14:29 | 2023-05-30 18:00 | 2023-05-30 14:45 | Unknown
AZ | AZ_AZ_G2 | Natural Gas | Forced | 36 | 0 | 36 | 2023-05-30 14:30 | 2023-05-31 17:00 | 2023-05-30 18:55 | Other
TGCCS | TGCCS_CT3 | Natural Gas | Forced | 153 | 0 | 153 | 2023-05-30 14:39 | 2023-05-30 23:59 | 2023-05-30 16:15 | Other
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Forced | 107 | 50 | 57 | 2023-05-30 15:07 | 2023-06-01 15:00 | 2023-05-31 12:00 | Other
SENATEWD | SENATEWD_UNIT1 | Wind | Forced | 150 | 60 | 90 | 2023-05-30 15:34 | 2023-05-31 18:00 | 2023-05-30 20:10 | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 25 | 105 | 2023-05-30 15:40 | 2023-06-28 12:00 |  | Other
STRATEGC | STRATEGC_UNIT1 | Solar | Forced | 135 | 118 | 17 | 2023-05-30 16:23 | 2023-05-31 12:00 | 2023-05-31 12:00 | Other
CBEC | CBEC_GT11 | Natural Gas | Forced | 39 | 0 | 39 | 2023-05-30 16:56 | 2023-06-02 23:59 | 2023-06-01 08:20 | Other
TC | TC_TCHP1 | Natural Gas | Forced | 46 | 0 | 46 | 2023-05-30 17:00 | 2023-05-31 12:00 | 2023-05-30 20:32 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 740 | 65 | 2023-05-30 17:09 | 2023-05-30 23:59 | 2023-05-30 23:59 | Emissions
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 60 | 15 | 2023-05-30 17:45 | 2023-06-30 23:59 | 2023-05-31 06:53 | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 89 | 36 | 2023-05-30 18:00 | 2023-05-31 06:00 | 2023-05-31 06:07 | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced | 125 | 86 | 39 | 2023-05-30 18:00 | 2023-05-31 06:00 | 2023-05-31 06:07 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 635 | 20 | 2023-05-30 18:36 | 2023-06-02 23:59 | 2023-05-31 21:24 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 810 | 45 | 2023-05-30 18:46 | 2023-05-31 08:30 | 2023-05-31 08:30 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 790 | 65 | 2023-05-30 18:48 | 2023-05-30 23:59 | 2023-05-30 23:59 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 117 | 10 | 2023-05-30 19:45 | 2023-06-03 16:55 |  | Other
ROW | ROW_UNIT1 | Solar | Maintenance Level 2 | 100 | 0 | 100 | 2023-05-30 20:00 | 2023-05-31 06:00 | 2023-05-30 20:10 | Other
ROW | ROW_UNIT1 | Solar | Forced | 100 | 0 | 100 | 2023-05-30 20:10 | 2023-05-31 06:00 | 2023-05-31 06:00 | Other
SENATEWD | SENATEWD_UNIT1 | Wind | Forced | 150 | 106 | 44 | 2023-05-30 20:10 | 2023-05-31 18:00 | 2023-05-31 12:03 | Other
RADN_SLR | RADN_SLR_UNIT1 | Solar | Maintenance Level 2 | 159 | 0 | 159 | 2023-05-30 20:30 | 2023-05-31 06:00 | 2023-05-31 06:00 | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Maintenance Level 2 | 163 | 0 | 163 | 2023-05-30 20:30 | 2023-05-31 06:00 | 2023-05-31 06:00 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 136 | 25 | 2023-05-30 20:30 | 2023-06-02 23:59 |  | Other
HRFDWIND | HRFDWIND_WIND_G | Wind | Forced Extension | 100 | 89 | 11 | 2023-05-30 21:14 | 2023-06-07 16:00 |  | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 165 | 147 | 18 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 157 | 140 | 17 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 157 | 140 | 17 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 165 | 146 | 19 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 157 | 139 | 18 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 157 | 139 | 18 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 153 | 141 | 12 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 145 | 134 | 11 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 145 | 134 | 11 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 153 | 141 | 12 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced | 167 | 151 | 16 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 158 | 142 | 16 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 241 | 213 | 28 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced | 241 | 213 | 28 | 2023-05-30 23:18 | 2023-05-31 23:29 | 2023-05-31 23:24 | Other
2023-06-02 |  |  |  | 2 |  |  |  | 5:03