## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-06-08 | 1 | 5:02

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Jun 5, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-06-30 18:00 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-06-30 18:00 |  | Other
PLN | PLN_UNIT2 | Solar | Unavoidable Extension | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-07-15 15:01 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-06-30 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-07-01 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-06-15 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-06-30 23:59 |  | Exhaust Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-06-30 08:24 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-01-25 19:26 | 2023-06-30 23:59 | 2023-06-07 18:34 | Feedwater Problems/Repairs
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 96 | 0 | 96 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-09-30 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 512 | 15 | 2023-02-20 07:00 | 2023-06-16 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-06-30 16:00 |  | Other
THW | THW_THWGT41 | Natural Gas | Unavoidable Extension | 54 | 0 | 54 | 2023-03-06 00:01 | 2023-06-19 23:59 |  | Combustion Inspection and Repair
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-03-06 17:00 | 2023-06-05 18:00 | 2023-06-05 17:53 | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-06-16 17:00 |  | Other
UCC_COGN | UCC_COGN_UCC_C_2 | Blast-Furnace Gas | Unavoidable Extension | 15 | 0 | 15 | 2023-03-17 09:00 | 2023-06-14 15:00 |  | Lack of Steam Load Availability
CVC | CVC_CVC_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-03-18 00:01 | 2023-06-21 17:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1205 | 1224 | 0 | 2023-03-19 19:40 | 2023-06-23 09:40 |  | Other
GBY | GBY_GBYGT83 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-03-20 | 2023-06-14 23:59 |  | Combustion Inspection and Repair
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Unavoidable Extension | 77 | 0 | 77 | 2023-03-22 10:12 | 2023-06-06 18:00 | 2023-06-06 18:00 | Overhaul
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-06-30 17:00 |  | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-06-30 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-06-30 23:59 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Forced Extension | 152 | 0 | 152 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced Extension | 311 | 150 | 161 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-06-30 17:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 45 | 105 | 2023-03-28 08:30 | 2023-09-29 17:00 | 2023-06-05 09:04 | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 18 | 132 | 2023-03-31 18:00 | 2023-09-29 17:00 |  | Other
CHE | CHE_GT2 | Natural Gas | Forced Extension | 171 | 0 | 171 | 2023-04-01 03:07 | 2023-07-05 23:59 |  | Other
THW | THW_THWST_4 | Natural Gas | Forced Extension | 110 | 78 | 32 | 2023-04-01 20:43 | 2023-06-19 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 155 | 16 | 2023-04-04 08:37 | 2023-06-28 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 96 | 24 | 2023-04-05 18:01 | 2023-06-09 18:00 |  | Other
MCDLD | MCDLD_SB4_G87 | Wind | Forced Extension | 4 | 0 | 4 | 2023-04-07 17:02 | 2023-06-30 17:00 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 767 | 69 | 2023-04-08 10:20 | 2023-06-30 23:59 | 2023-06-07 15:40 | Inlet Air Problems/Repairs
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-06-09 23:59 |  | Other
EXN | EXN_EXN_G15 | Blast-Furnace Gas | Forced Extension | 8 | 0 | 8 | 2023-04-12 10:01 | 2023-06-09 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 363 | 386 | 2023-04-15 12:56 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-04-21 13:03 | 2023-06-30 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced Extension | 120 | 0 | 120 | 2023-04-21 16:37 | 2023-06-30 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced Extension | 62 | 0 | 62 | 2023-04-21 16:39 | 2023-06-30 23:59 |  | Other
DOWGEN | DOWGEN_DOW_G61 | Natural Gas | Unavoidable Extension | 68 | 0 | 68 | 2023-04-25 12:00 | 2023-07-24 17:00 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced Extension | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-08-01 12:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-04-29 | 2023-06-30 23:59 |  | Combustion Inspection and Repair
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 202 | 30 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 205 | 8 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced Extension | 150 | 115 | 35 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
VICTORIA | VICTORIA_VICTORG5 | Natural Gas | Unavoidable Extension | 125 | 0 | 125 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
VICTORIA | VICTORIA_VICTORG6 | Natural Gas | Unavoidable Extension | 160 | 0 | 160 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-06-30 23:59 |  | Other
SCLPCOGN | SCLPCOGN_SCLPC_2 | Natural Gas | Unavoidable Extension | 120 | 0 | 120 | 2023-05-01 23:59 | 2023-06-12 07:00 |  | Combustion Inspection and Repair
CAL | CAL_CALGT1 | Natural Gas | Unavoidable Extension | 131 | 0 | 131 | 2023-05-02 00:23 | 2023-06-17 23:59 |  | Overhaul
CAL | CAL_CALSTG1 | Natural Gas | Unavoidable Extension | 58 | 0 | 58 | 2023-05-02 00:23 | 2023-06-17 23:59 |  | Overhaul
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
DOWGEN | DOWGEN_DOW_GT96 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-05-03 10:01 | 2023-06-09 10:00 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 194 | 3 | 2023-05-03 23:19 | 2023-06-30 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-12-31 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 138 | 25 | 2023-05-05 17:05 | 2023-06-07 17:00 | 2023-06-07 13:00 | Other
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 144 | 6 | 2023-05-06 03:17 | 2023-06-06 18:00 | 2023-06-06 18:00 | Other
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 139 | 11 | 2023-05-06 03:17 | 2023-06-06 18:00 | 2023-06-06 18:00 | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 151 | 18 | 2023-05-06 03:43 | 2023-06-06 18:00 | 2023-06-06 18:00 | Other
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 157 | 12 | 2023-05-06 03:43 | 2023-06-06 18:00 | 2023-06-06 18:00 | Other
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 0 | 785 | 2023-05-06 12:44 | 2023-06-07 23:59 | 2023-06-07 01:55 | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 152 | 0 | 2023-05-08 17:51 | 2023-06-30 23:59 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 80 | 65 | 15 | 2023-05-09 07:18 | 2023-06-05 23:59 | 2023-06-05 13:20 | Exhaust Problems/Repairs
FALCON | FALCON_FALCONG2 | Water | Unavoidable Extension | 12 | 0 | 12 | 2023-05-09 17:40 | 2023-06-05 08:59 | 2023-06-05 08:59 | Other
PYR | PYR_PYRON2 | Wind | Unavoidable Extension | 128 | 0 | 128 | 2023-05-10 08:01 | 2023-06-30 16:00 |  | Other
TURQBESS | TURQBESS_BESS1 | Not Available | Forced Extension | 190 | 190 | 0 | 2023-05-11 | 2023-06-30 23:59 |  | Other
SANDHSYD | SANDHSYD_SH_5A | Natural Gas | Unavoidable Extension | 142 | 0 | 142 | 2023-05-11 00:01 | 2023-06-19 23:59 |  | Other
SANDHSYD | SANDHSYD_SH_5C | Natural Gas | Unavoidable Extension | 139 | 0 | 139 | 2023-05-11 00:01 | 2023-06-19 23:59 |  | Other
MIL | MIL_MILLERG1 | Natural Gas | Forced | 70 | 0 | 70 | 2023-05-11 16:38 | 2023-06-06 23:59 | 2023-06-06 23:59 | Other
KING_SW | KING_SW_KINGSW | Wind | Forced Extension | 80 | 52 | 28 | 2023-05-12 19:48 | 2023-06-30 23:59 |  | Other
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Unavoidable Extension | 287 | 150 | 137 | 2023-05-14 00:01 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 112 | 2 | 2023-05-15 01:42 | 2023-06-30 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-06-30 23:59 |  | Other
SPTX12B | SPTX12B_BES1 | Not Available | Forced Extension | 25 | 25 | 0 | 2023-05-17 | 2023-06-30 23:59 |  | Other
WFTANK | WFTANK_ESS1 | Not Available | Forced Extension | 150 | 150 | 0 | 2023-05-17 | 2023-06-30 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 118 | 15 | 2023-05-17 01:41 | 2023-06-30 23:59 |  | Other
MIL | MIL_MILLERG2 | Natural Gas | Forced Extension | 118 | 95 | 23 | 2023-05-18 05:06 | 2023-06-06 23:59 | 2023-06-06 23:59 | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 109 | 26 | 2023-05-18 06:17 | 2023-06-29 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 75 | 34 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 105 | 85 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 65 | 81 | 2023-05-19 | 2023-06-09 23:59 |  | Feedwater Problems/Repairs
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-05-19 00:08 | 2023-06-30 23:59 | 2023-06-05 14:18 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 156 | 30 | 2023-05-19 00:08 | 2023-06-30 23:59 | 2023-06-05 00:47 | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 159 | 21 | 2023-05-19 09:00 | 2023-12-04 23:58 | 2023-06-05 15:57 | Other
DAN | DAN_UNIT2 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-11-20 08:00 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-09-11 08:00 |  | Other
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced Extension | 18 | 0 | 18 | 2023-05-19 17:30 | 2023-06-09 23:59 |  | Turbine/Generator Vibration/Repair
SANTACRU | SANTACRU_UNIT1 | Wind | Forced Extension | 151 | 145 | 6 | 2023-05-22 12:52 | 2023-06-12 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced Extension | 98 | 89 | 9 | 2023-05-22 12:52 | 2023-06-12 14:00 |  | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 146 | 15 | 2023-05-22 15:56 | 2023-06-05 18:00 | 2023-06-05 07:06 | Turbine/Generator Vibration/Repair
GOAT | GOAT_GOATWIN2 | Wind | Forced Extension | 70 | 48 | 22 | 2023-05-23 | 2023-06-30 23:59 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced Extension | 184 | 173 | 11 | 2023-05-23 01:24 | 2023-06-30 23:59 |  | Other
VORTEX | VORTEX_BESS1 | Other | Maintenance Level 1 | 122 | 0 | 122 | 2023-05-23 08:25 | 2023-07-30 18:00 |  | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced Extension | 126 | 17 | 109 | 2023-05-24 09:35 | 2023-06-30 23:59 |  | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced Extension | 100 | 85 | 15 | 2023-05-24 13:47 | 2023-06-16 18:00 | 2023-06-07 08:35 | Unknown
DAN | DAN_UNIT1 | Solar | Unavoidable Extension | 300 | 18 | 282 | 2023-05-24 15:01 | 2023-06-09 23:59 |  | Other
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 94 | 26 | 2023-05-24 16:08 | 2023-06-06 18:00 | 2023-06-06 09:27 | Turbine/Generator Vibration/Repair
NEBULA | NEBULA_UNIT1 | Solar | Forced Extension | 138 | 133 | 5 | 2023-05-25 08:00 | 2023-06-08 16:00 |  | Other
MYR | MYR_UNIT2 | Solar | Forced Extension | 146 | 115 | 31 | 2023-05-26 08:00 | 2023-06-16 07:59 |  | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 67 | 23 | 2023-05-26 08:04 | 2023-06-15 23:59 | 2023-06-06 07:41 | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 491 | 36 | 2023-05-26 18:16 | 2023-06-16 23:59 |  | Inlet Air Problems/Repairs
VICTPORT | VICTPORT_CTG02 | Natural Gas | Forced Extension | 44 | 0 | 44 | 2023-05-26 20:16 | 2023-06-30 12:00 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 115 | 50 | 2023-05-27 01:00 | 2023-06-15 18:00 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced | 125 | 88 | 37 | 2023-05-27 15:00 | 2023-06-28 12:00 |  | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 115 | 10 | 2023-05-27 15:03 | 2023-06-08 18:00 |  | Unknown
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 115 | 10 | 2023-05-27 15:03 | 2023-06-08 18:00 |  | Unknown
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 109 | 22 | 2023-05-27 17:10 | 2023-06-11 18:00 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 700 | 45 | 2023-05-27 20:30 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
PANDA_S | PANDA_S_SHER1CT1 | Natural Gas | Forced | 199 | 0 | 199 | 2023-05-28 16:01 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 166 | 16 | 2023-05-28 20:05 | 2023-06-29 23:59 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 154 | 28 | 2023-05-29 09:43 | 2023-06-30 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced Extension | 201 | 186 | 15 | 2023-05-29 10:40 | 2023-06-30 23:59 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 122 | 22 | 2023-05-29 17:55 | 2023-06-10 19:01 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 122 | 22 | 2023-05-29 17:55 | 2023-06-10 19:01 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 143 | 21 | 2023-05-29 20:27 | 2023-06-30 23:59 | 2023-06-05 15:05 | Other
CALHOUN | CALHOUN_UNIT1 | Natural Gas | Unavoidable Extension | 44 | 0 | 44 | 2023-05-30 05:50 | 2023-06-11 23:59 |  | Gas Company Pipeline Work
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced | 153 | 122 | 31 | 2023-05-30 07:01 | 2023-06-09 17:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced | 149 | 122 | 27 | 2023-05-30 07:01 | 2023-06-09 17:00 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 620 | 216 | 2023-05-30 14:00 | 2023-06-08 17:00 | 2023-06-06 20:45 | Inlet Air Problems/Repairs
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 25 | 105 | 2023-05-30 15:40 | 2023-06-28 12:00 |  | Other
HRFDWIND | HRFDWIND_WIND_G | Wind | Forced Extension | 100 | 89 | 11 | 2023-05-30 21:14 | 2023-06-07 16:00 | 2023-06-07 16:00 | Other
DANSBY | DANSBY_DANSBYG3 | Natural Gas | Unavoidable Extension | 47 | 0 | 47 | 2023-05-31 00:05 | 2023-06-05 23:55 | 2023-06-05 10:20 | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 121 | 30 | 2023-05-31 04:37 | 2023-06-09 18:00 |  | Unknown
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 121 | 30 | 2023-05-31 04:37 | 2023-06-09 18:00 |  | Unknown
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 70 | 23 | 2023-05-31 05:10 | 2023-06-30 23:59 |  | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Forced Extension | 240 | 96 | 144 | 2023-05-31 08:30 | 2023-06-14 19:00 |  | Other
BORDAS2 | BORDAS2_JAVEL2_B | Wind | Forced | 74 | 64 | 10 | 2023-05-31 09:57 | 2023-06-05 17:00 | 2023-06-05 17:00 | Other
STRATEGC | STRATEGC_UNIT1 | Solar | Forced Extension | 135 | 118 | 17 | 2023-05-31 10:35 | 2023-06-30 16:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 89 | 36 | 2023-05-31 11:05 | 2023-06-08 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced | 125 | 86 | 39 | 2023-05-31 11:05 | 2023-06-08 18:00 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 7 | 16 | 2023-05-31 11:30 | 2023-12-28 21:35 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 11 | 72 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-05-31 11:32 | 2023-12-28 23:59 |  | Other
ANDMDSLR | ANDMDSLR_UNIT1 | Solar | Forced Extension | 158 | 14 | 144 | 2023-05-31 13:46 | 2023-06-06 18:00 | 2023-06-06 18:00 | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced Extension | 46 | 44 | 2 | 2023-05-31 15:08 | 2023-06-14 16:00 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 20 | 145 | 2023-05-31 15:31 | 2023-06-30 18:30 |  | Unknown
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 20 | 65 | 2023-05-31 15:32 | 2023-06-30 16:32 |  | Unknown
CBEC | CBEC_GT12 | Natural Gas | Forced Extension | 39 | 0 | 39 | 2023-05-31 16:00 | 2023-06-08 17:00 |  | Other
WGU | WGU_UNIT1 | Solar | Forced Extension | 120 | 110 | 10 | 2023-05-31 18:22 | 2023-06-08 08:00 |  | Unknown
DUKE | DUKE_DUKE_GT1 | Natural Gas | Unavoidable Extension | 149 | 0 | 149 | 2023-05-31 23:00 | 2023-06-05 13:00 | 2023-06-05 15:00 | Other
DUKE | DUKE_DUKE_ST1 | Natural Gas | Unavoidable Extension | 168 | 80 | 88 | 2023-05-31 23:00 | 2023-06-05 13:00 | 2023-06-05 15:00 | Other
MCSES | MCSES_UNIT8 | Natural Gas | Unavoidable Extension | 568 | 0 | 568 | 2023-06-01 | 2023-06-16 23:59 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT1 | Wind | Unavoidable Extension | 12 | 10 | 2 | 2023-06-01 | 2023-06-05 17:00 | 2023-06-05 08:44 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Maintenance Level 1 | 101 | 81 | 20 | 2023-06-01 | 2023-06-30 17:00 |  | Turbine/Generator Vibration/Repair
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 90 | 11 | 2023-06-01 01:54 | 2023-06-09 18:00 |  | Other
HI_LONE | HI_LONE_WGR4 | Wind | Forced Extension | 102 | 75 | 27 | 2023-06-01 08:24 | 2023-06-07 18:00 | 2023-06-07 18:00 | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 115 | 0 | 2023-06-01 10:46 | 2023-06-30 23:59 |  | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced | 158 | 126 | 32 | 2023-06-01 10:48 | 2023-06-30 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 103 | 23 | 2023-06-01 11:53 | 2023-06-15 23:59 | 2023-06-06 07:42 | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 36 | 86 | 2023-06-01 12:01 | 2023-06-30 16:00 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 131 | 40 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced Extension | 145 | 100 | 45 | 2023-06-01 19:30 | 2023-06-05 08:00 | 2023-06-05 07:56 | Other
TI_SOLAR | TI_SOLAR_UNIT2 | Solar | Forced Extension | 131 | 95 | 36 | 2023-06-01 19:30 | 2023-06-05 18:00 | 2023-06-05 18:00 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 615 | 40 | 2023-06-01 20:04 | 2023-06-05 23:59 | 2023-06-05 14:56 | Fuel Limitation/Lack of Fuel Availability
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 625 | 30 | 2023-06-01 20:04 | 2023-06-05 23:59 | 2023-06-05 00:52 | Fuel Limitation/Lack of Fuel Availability
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 75 | 5 | 2023-06-01 20:49 | 2023-06-30 23:59 |  | Other
CBY4 | CBY4_CT41 | Natural Gas | Unavoidable Extension | 163 | 0 | 163 | 2023-06-01 22:30 | 2023-06-05 23:59 | 2023-06-05 13:59 | Exhaust Problems/Repairs
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 192 | 2 | 2023-06-01 23:51 | 2023-12-01 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 37 | 143 | 2023-06-02 06:30 | 2023-06-05 19:00 | 2023-06-05 10:36 | Other
TGCCS | TGCCS_CT1 | Natural Gas | Forced | 156 | 140 | 16 | 2023-06-02 06:53 | 2023-06-20 23:59 | 2023-06-05 12:26 | Other
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Maintenance Level 3 | 31 | 0 | 31 | 2023-06-02 10:01 | 2023-07-01 10:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Maintenance Level 3 | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-06-14 10:00 |  | Other
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced | 20 | 0 | 20 | 2023-06-02 11:56 | 2023-06-30 23:59 |  | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced | 71 | 63 | 8 | 2023-06-02 12:30 | 2023-06-06 12:00 | 2023-06-06 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced | 33 | 30 | 3 | 2023-06-02 12:30 | 2023-06-06 12:00 | 2023-06-06 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced | 22 | 18 | 4 | 2023-06-02 12:30 | 2023-06-06 12:00 | 2023-06-06 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced | 77 | 72 | 5 | 2023-06-02 12:30 | 2023-06-06 12:00 | 2023-06-06 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced | 202 | 193 | 9 | 2023-06-02 12:30 | 2023-06-06 12:00 | 2023-06-06 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced | 22 | 15 | 7 | 2023-06-02 12:30 | 2023-06-06 12:00 | 2023-06-06 12:00 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 95 | 31 | 2023-06-02 13:40 | 2023-07-12 12:00 | 2023-06-05 15:52 | Other
JAY | JAY_UNIT1 | Solar | Forced | 180 | 71 | 109 | 2023-06-02 14:00 | 2023-06-05 19:00 | 2023-06-05 10:36 | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 108 | 16 | 2023-06-02 15:08 | 2023-06-09 16:00 |  | Other
TGCCS | TGCCS_UNIT4 | Natural Gas | Forced | 402 | 0 | 402 | 2023-06-02 15:19 | 2023-06-20 23:59 | 2023-06-05 21:00 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 134 | 14 | 2023-06-02 16:00 | 2023-06-30 18:00 | 2023-06-05 04:45 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 105 | 105 | 2023-06-02 17:21 | 2023-06-05 12:00 | 2023-06-05 07:53 | Other
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 46 | 4 | 2023-06-02 18:11 | 2023-06-30 23:59 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced | 65 | 0 | 65 | 2023-06-02 22:56 | 2023-06-05 09:00 | 2023-06-05 09:00 | Turbine/Generator Vibration/Repair
TXCTY | TXCTY_CTB | Natural Gas | Unavoidable Extension | 80 | 0 | 80 | 2023-06-02 23:00 | 2023-06-09 12:00 |  | Tube Leak
TXCTY | TXCTY_ST | Natural Gas | Unavoidable Extension | 125 | 90 | 35 | 2023-06-02 23:00 | 2023-06-09 12:00 |  | Tube Leak
DUKE | DUKE_DUKE_GT2 | Natural Gas | Unavoidable Extension | 149 | 0 | 149 | 2023-06-02 23:02 | 2023-06-05 23:59 | 2023-06-05 21:30 | Other
DUKE | DUKE_DUKE_ST1 | Natural Gas | Unavoidable Extension | 168 | 0 | 168 | 2023-06-02 23:02 | 2023-06-05 23:59 | 2023-06-05 21:30 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 140 | 33 | 2023-06-02 23:20 | 2023-06-05 22:00 | 2023-06-05 22:00 | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 8 | 30 | 2023-06-03 | 2023-12-31 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 24 | 62 | 2023-06-03 03:31 | 2023-06-30 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 55 | 2 | 53 | 2023-06-03 05:55 | 2023-06-30 06:32 | 2023-06-07 21:50 | Turbine/Generator Vibration/Repair
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 770 | 35 | 2023-06-03 06:10 | 2023-06-19 06:52 | 2023-06-07 12:57 | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Forced | 240 | 48 | 192 | 2023-06-03 06:15 | 2023-06-05 22:30 | 2023-06-05 09:45 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 106 | 21 | 2023-06-03 07:15 | 2023-06-07 07:15 | 2023-06-05 14:48 | Other
DCSES | DCSES_BES3 | Other | Forced | 64 | 60 | 4 | 2023-06-03 09:08 | 2023-06-05 16:59 | 2023-06-05 17:02 | Other
TAV | TAV_UNIT2 | Solar | Unavoidable Extension | 96 | 14 | 82 | 2023-06-03 10:00 | 2023-06-06 20:00 | 2023-06-06 20:00 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 66 | 29 | 2023-06-03 11:40 | 2023-07-01 22:00 |  | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 170 | 33 | 2023-06-03 12:55 | 2023-06-30 23:59 |  | Other
ANDMDSLR | ANDMDSLR_UNIT1 | Solar | Forced Extension | 158 | 0 | 158 | 2023-06-03 16:50 | 2023-06-06 18:00 | 2023-06-06 13:20 | Other
ANDMDSLR | ANDMDSLR_UNIT2 | Solar | Forced Extension | 162 | 0 | 162 | 2023-06-03 16:50 | 2023-06-06 18:00 | 2023-06-06 13:20 | Other
MYR | MYR_UNIT1 | Solar | Unavoidable Extension | 167 | 47 | 120 | 2023-06-03 17:06 | 2023-06-16 07:59 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced | 48 | 25 | 23 | 2023-06-03 20:12 | 2023-06-09 23:59 | 2023-06-05 11:00 | Fuel Problems/Repairs
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 83 | 9 | 2023-06-03 21:24 | 2023-06-30 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 121 | 31 | 2023-06-03 21:49 | 2023-06-30 23:59 |  | Other
KEO | KEO_SHRBINO2 | Wind | Forced Extension | 132 | 0 | 132 | 2023-06-03 23:32 | 2023-06-06 18:00 | 2023-06-05 20:35 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 136 | 25 | 2023-06-03 23:47 | 2023-06-10 23:59 |  | Other
CBY4 | CBY4_ST04 | Natural Gas | Forced | 178 | 89 | 89 | 2023-06-03 23:59 | 2023-06-05 23:59 | 2023-06-05 13:59 | Steam Turbine Limited/Unavailable Due to CT/GT Work
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 204 | 18 | 2023-06-04 | 2023-06-05 18:00 | 2023-06-05 11:47 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 50 | 50 | 2023-06-04 05:14 | 2023-06-12 18:00 | 2023-06-05 07:05 | Unknown
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 0 | 855 | 2023-06-04 06:00 | 2023-06-07 09:59 | 2023-06-07 10:00 | Tube Leak
JADE_SLR | JADE_SLR_UNIT2 | Solar | Unavoidable Extension | 162 | 66 | 96 | 2023-06-04 07:00 | 2023-06-09 07:00 |  | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 60 | 42 | 2023-06-04 07:15 | 2023-06-12 18:00 | 2023-06-05 07:06 | Unknown
EGROVESL | EGROVESL_UNIT1 | Solar | Forced | 108 | 101 | 7 | 2023-06-04 10:00 | 2023-06-05 21:59 | 2023-06-05 11:24 | Other
ELB | ELB_ELBCREEK | Wind | Forced Extension | 122 | 89 | 33 | 2023-06-04 10:35 | 2023-06-09 23:59 | 2023-06-05 12:04 | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 144 | 6 | 2023-06-04 13:14 | 2023-06-30 23:59 |  | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 840 | 15 | 2023-06-04 13:21 | 2023-06-19 06:09 | 2023-06-08 04:55 | Fuel Problems/Repairs
SJS | SJS_SJS_G2 | Natural Gas | Forced | 80 | 0 | 80 | 2023-06-04 13:55 | 2023-06-05 12:00 | 2023-06-05 11:01 | Lack of Steam Load Availability
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 825 | 30 | 2023-06-04 14:00 | 2023-06-06 08:00 | 2023-06-06 | Fuel Problems/Repairs
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 840 | 15 | 2023-06-04 14:00 | 2023-06-05 19:58 | 2023-06-05 02:30 | Fuel Problems/Repairs
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 140 | 55 | 2023-06-04 18:11 | 2023-06-05 15:00 | 2023-06-05 07:58 | Other
BTM | BTM_UNIT3 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-06-04 18:11 | 2023-06-06 23:59 | 2023-06-06 18:41 | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced | 196 | 165 | 31 | 2023-06-04 18:15 | 2023-06-05 23:59 | 2023-06-05 00:01 | Other
BTE | BTE_BTE_G3 | Natural Gas | Forced | 145 | 0 | 145 | 2023-06-04 18:15 | 2023-06-05 23:59 | 2023-06-05 00:01 | Other
STWF | STWF_T1 | Wind | Forced Extension | 98 | 71 | 27 | 2023-06-04 18:45 | 2023-06-07 18:00 | 2023-06-07 18:00 | Other
BYU | BYU_BYU_G2 | Natural Gas | Maintenance Level 2 | 80 | 0 | 80 | 2023-06-04 19:00 | 2023-06-18 20:00 |  | Tube Leak
LV2 | LV2_LV2 | Wind | Forced | 202 | 173 | 29 | 2023-06-04 19:52 | 2023-12-31 23:59 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 95 | 20 | 2023-06-04 20:58 | 2023-06-15 23:59 | 2023-06-07 03:08 | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 65 | 10 | 2023-06-04 21:01 | 2023-06-15 12:00 |  | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 95 | 15 | 2023-06-04 21:03 | 2023-06-15 12:00 | 2023-06-07 03:11 | Other
VISION | VISION_UNIT1 | Solar | Forced | 127 | 88 | 39 | 2023-06-04 21:20 | 2023-06-05 20:00 | 2023-06-05 20:00 | Other
INDL | INDL_INADALE2 | Wind | Forced | 102 | 81 | 21 | 2023-06-04 22:44 | 2023-06-05 17:00 | 2023-06-05 14:00 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 165 | 146 | 19 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 157 | 139 | 18 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 157 | 139 | 18 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 165 | 145 | 20 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 157 | 138 | 19 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 157 | 138 | 19 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 153 | 140 | 13 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 145 | 133 | 12 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 145 | 135 | 10 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 153 | 140 | 13 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced | 167 | 151 | 16 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 158 | 143 | 15 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 241 | 215 | 26 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced | 241 | 215 | 26 | 2023-06-05 | 2023-06-05 23:59 | 2023-06-06 | Other
BRISCOE | BRISCOE_WIND | Wind | Forced | 150 | 0 | 150 | 2023-06-05 00:31 | 2023-06-09 17:00 |  | Unknown
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 105 | 5 | 2023-06-05 01:25 | 2023-06-15 12:00 | 2023-06-07 03:10 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 81 | 9 | 2023-06-05 04:39 | 2023-06-15 23:59 | 2023-06-06 07:43 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-06-05 04:45 | 2023-06-30 18:00 | 2023-06-06 16:20 | Other
RAYBURN | RAYBURN_RAYBURG8 | Natural Gas | Maintenance Level 1 | 50 | 0 | 50 | 2023-06-05 05:00 | 2023-06-07 12:00 | 2023-06-06 10:00 | Other
LHSES | LHSES_UNIT1 | Natural Gas | Unavoidable Extension | 392 | 0 | 392 | 2023-06-05 06:00 | 2023-06-05 17:59 | 2023-06-05 18:15 | Turbine/Generator Vibration/Repair
SKY1 | SKY1_SKY1A | Natural Gas | Forced | 27 | 17 | 10 | 2023-06-05 06:30 | 2023-06-05 11:30 | 2023-06-05 09:50 | Other
TRSES | TRSES_UNIT6 | Natural Gas | Maintenance Level 2 | 235 | 0 | 235 | 2023-06-05 07:00 | 2023-06-05 12:59 | 2023-06-05 12:05 | Transformer Repair/Replace
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 36 | 64 | 2023-06-05 07:06 | 2023-06-12 20:00 | 2023-06-07 08:25 | Unknown
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 38 | 64 | 2023-06-05 07:08 | 2023-06-12 20:00 | 2023-06-07 19:39 | Unknown
PENA | PENA_UNIT1 | Wind | Forced | 161 | 136 | 25 | 2023-06-05 07:08 | 2023-06-12 20:00 | 2023-06-07 19:36 | Unknown
B_DAVIS | B_DAVIS_B_DAVIG1 | Natural Gas | Forced | 292 | 135 | 157 | 2023-06-05 07:15 | 2023-06-11 23:59 |  | Other
RSNAKE | RSNAKE_G1 | Wind | Forced | 105 | 82 | 23 | 2023-06-05 07:48 | 2023-06-09 18:00 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Maintenance Level 2 | 150 | 9 | 141 | 2023-06-05 07:50 | 2023-06-05 09:30 | 2023-06-05 08:48 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 101 | 63 | 2023-06-05 07:55 | 2023-06-05 11:59 | 2023-06-05 10:00 | Other
DEC | DEC_AGR_A | Natural Gas | Maintenance Level 2 | 56 | 38 | 18 | 2023-06-05 08:00 | 2023-06-05 11:00 | 2023-06-05 11:14 | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
FLVABES1 | FLVABES1_FLATU1 | Not Available | Forced | 10 | 8 | 2 | 2023-06-05 08:01 | 2023-06-05 15:59 | 2023-06-05 15:59 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 70 | 125 | 2023-06-05 08:10 | 2023-06-05 18:00 | 2023-06-05 18:00 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 105 | 40 | 2023-06-05 08:10 | 2023-06-05 18:00 | 2023-06-05 18:00 | Other
WGU | WGU_UNIT1 | Solar | Forced Extension | 120 | 92 | 28 | 2023-06-05 08:25 | 2023-06-20 17:00 |  | Unknown
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced | 65 | 0 | 65 | 2023-06-05 09:00 | 2023-06-07 12:00 | 2023-06-07 12:00 | Turbine/Generator Vibration/Repair
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-06-05 09:05 | 2023-09-29 17:00 |  | Other
RTS2 | RTS2_U1 | Wind | Forced | 90 | 76 | 14 | 2023-06-05 09:17 | 2023-06-05 20:00 | 2023-06-05 13:54 | Other
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 0 | 523 | 2023-06-05 09:30 | 2023-06-06 02:00 | 2023-06-06 01:32 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced Extension | 800 | 765 | 35 | 2023-06-05 09:46 | 2023-06-05 11:29 | 2023-06-05 11:32 | Other
DEC | DEC_AGR_B | Natural Gas | Forced | 56 | 37 | 19 | 2023-06-05 09:50 | 2023-06-05 11:00 | 2023-06-05 11:19 | Other
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 77 | 24 | 2023-06-05 10:20 | 2023-06-30 17:00 |  | Turbine/Generator Vibration/Repair
JAY | JAY_UNIT1 | Solar | Forced | 180 | 69 | 111 | 2023-06-05 10:37 | 2023-06-07 19:00 |  | Other
STWF | STWF_T1 | Wind | Forced Extension | 98 | 25 | 73 | 2023-06-05 11:00 | 2023-06-05 20:00 | 2023-06-05 17:52 | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced | 80 | 0 | 80 | 2023-06-05 11:01 | 2023-06-08 23:59 |  | Tube Leak
SJS | SJS_SJS_G2 | Natural Gas | Forced | 80 | 70 | 10 | 2023-06-05 11:01 | 2023-06-08 23:59 | 2023-06-05 14:36 | Lack of Steam Load Availability
HLSES | HLSES_UNIT4 | Natural Gas | Forced | 435 | 135 | 300 | 2023-06-05 11:15 | 2023-06-05 13:15 | 2023-06-05 12:25 | Other
MDANP | MDANP_CT1 | Natural Gas | Forced | 229 | 229 | 0 | 2023-06-05 11:45 | 2023-06-05 12:59 | 2023-06-05 12:18 | Feedwater Problems/Repairs
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 213 | 9 | 2023-06-05 11:48 | 2023-06-09 18:00 | 2023-06-05 15:06 | Other
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced | 8 | 0 | 8 | 2023-06-05 12:00 | 2023-06-06 23:59 | 2023-06-06 14:05 | Combustion Inspection and Repair
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 575 | 80 | 2023-06-05 12:22 | 2023-06-05 15:00 | 2023-06-05 14:59 | Fuel Limitation/Lack of Fuel Availability
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 91 | 18 | 2023-06-05 13:19 | 2023-06-30 23:59 | 2023-06-05 13:56 | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 94 | 15 | 2023-06-05 13:19 | 2023-06-30 23:59 | 2023-06-05 13:56 | Turbine/Generator Vibration/Repair
TOPAZ | TOPAZ_UNIT2 | Natural Gas | Forced | 45 | 0 | 45 | 2023-06-05 13:36 | 2023-06-05 23:59 | 2023-06-05 14:31 | Other
LGE | LGE_LGE_GT1 | Natural Gas | Forced Extension | 145 | 0 | 145 | 2023-06-05 13:43 | 2023-06-07 23:59 | 2023-06-06 15:51 | Other
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced Extension | 75 | 0 | 75 | 2023-06-05 13:43 | 2023-06-09 23:59 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 94 | 15 | 2023-06-05 13:56 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 74 | 35 | 2023-06-05 13:56 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 176 | 10 | 2023-06-05 14:19 | 2023-06-30 23:59 | 2023-06-07 12:16 | Other
LGE | LGE_LGE_GT2 | Natural Gas | Forced Extension | 145 | 0 | 145 | 2023-06-05 14:21 | 2023-06-06 23:59 | 2023-06-06 10:32 | Exhaust Problems/Repairs
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 80 | 65 | 15 | 2023-06-05 14:36 | 2023-06-08 23:59 |  | Lack of Steam Load Availability
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced | 127 | 116 | 11 | 2023-06-05 14:49 | 2023-06-05 19:45 | 2023-06-05 19:45 | Turbine/Generator Vibration/Repair
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced | 127 | 106 | 21 | 2023-06-05 14:49 | 2023-06-05 19:45 | 2023-06-05 14:50 | Turbine/Generator Vibration/Repair
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 625 | 30 | 2023-06-05 14:56 | 2023-06-30 23:59 | 2023-06-07 08:24 | Fuel Limitation/Lack of Fuel Availability
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 580 | 75 | 2023-06-05 15:01 | 2023-06-05 17:00 | 2023-06-05 15:49 | Fuel Limitation/Lack of Fuel Availability
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 153 | 11 | 2023-06-05 15:07 | 2023-06-30 23:59 |  | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 210 | 12 | 2023-06-05 15:07 | 2023-06-09 18:00 | 2023-06-06 19:41 | Other
LEON_CRK | LEON_CRK_LCPCT2 | Natural Gas | Forced | 46 | 44 | 2 | 2023-06-05 15:45 | 2023-06-09 17:00 | 2023-06-06 11:30 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 92 | 34 | 2023-06-05 15:53 | 2023-06-06 12:00 | 2023-06-06 10:08 | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 161 | 19 | 2023-06-05 15:58 | 2023-12-04 23:58 | 2023-06-06 07:04 | Other
FLTCK | FLTCK_SSI | Wind | Forced | 53 | 22 | 31 | 2023-06-05 16:29 | 2023-06-09 18:00 | 2023-06-05 19:35 | Other
TGCCS | TGCCS_CT3 | Natural Gas | Forced | 153 | 0 | 153 | 2023-06-05 16:34 | 2023-06-05 23:59 | 2023-06-05 21:00 | Other
SILASRAY | SILASRAY_SILAS_10 | Natural Gas | Forced | 46 | 0 | 46 | 2023-06-05 16:53 | 2023-06-05 18:00 | 2023-06-05 18:00 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced Extension | 195 | 70 | 125 | 2023-06-05 18:00 | 2023-06-06 23:59 | 2023-06-06 23:59 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced Extension | 145 | 105 | 40 | 2023-06-05 18:00 | 2023-06-06 23:59 | 2023-06-06 23:59 | Other
TI_SOLAR | TI_SOLAR_UNIT2 | Solar | Forced | 131 | 95 | 36 | 2023-06-05 18:01 | 2023-06-07 18:00 | 2023-06-07 05:51 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 207 | 15 | 2023-06-05 18:46 | 2023-06-09 18:00 | 2023-06-06 19:41 | Other
TOPAZ | TOPAZ_UNIT3 | Natural Gas | Forced | 45 | 0 | 45 | 2023-06-05 18:48 | 2023-06-06 23:59 | 2023-06-05 19:41 | Other
AEEC | AEEC_ELK_1 | Natural Gas | Forced | 190 | 190 | 0 | 2023-06-05 19:34 | 2023-06-05 23:59 | 2023-06-05 19:35 | Other
AEEC | AEEC_ELK_2 | Natural Gas | Forced | 190 | 190 | 0 | 2023-06-05 19:34 | 2023-06-05 23:59 | 2023-06-05 19:35 | Other
AEEC | AEEC_ELK_3 | Natural Gas | Forced | 190 | 190 | 0 | 2023-06-05 19:34 | 2023-06-05 23:59 | 2023-06-05 19:35 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 575 | 80 | 2023-06-05 20:04 | 2023-06-06 02:00 | 2023-06-06 02:30 | Fuel Problems/Repairs
CHALUPA | CHALUPA_UNIT2 | Wind | Forced | 25 | 0 | 25 | 2023-06-05 20:10 | 2023-06-06 22:00 | 2023-06-06 13:07 | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Maintenance Level 2 | 130 | 0 | 130 | 2023-06-05 20:42 | 2023-06-05 22:30 | 2023-06-05 22:02 | Other
TGCCS | TGCCS_UNIT4 | Natural Gas | Forced | 402 | 0 | 402 | 2023-06-05 21:00 | 2023-06-20 23:59 |  | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 140 | 33 | 2023-06-05 22:00 | 2023-06-06 22:00 | 2023-06-06 22:00 | Other
TGCCS | TGCCS_CT2 | Natural Gas | Unavoidable Extension | 135 | 0 | 135 | 2023-06-05 22:00 | 2023-06-06 14:59 | 2023-06-06 13:38 | Other
2023-06-08 |  |  |  | 2 |  |  |  | 5:02