## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-06-16 | 1 | 5:02

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Jun 13, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-06-30 18:00 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-06-30 18:00 |  | Other
PLN | PLN_UNIT2 | Solar | Unavoidable Extension | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-07-15 15:01 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-06-30 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-07-01 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-08-15 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-06-30 23:59 |  | Exhaust Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-06-30 08:24 |  | Other
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 96 | 0 | 96 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-09-30 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 512 | 15 | 2023-02-20 07:00 | 2023-06-16 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-06-30 16:00 |  | Other
THW | THW_THWGT41 | Natural Gas | Unavoidable Extension | 54 | 0 | 54 | 2023-03-06 00:01 | 2023-06-19 23:59 |  | Combustion Inspection and Repair
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-06-30 17:00 |  | Other
CVC | CVC_CVC_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-03-18 00:01 | 2023-06-23 16:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1205 | 1224 | 0 | 2023-03-19 19:40 | 2023-06-23 09:40 |  | Other
GBY | GBY_GBYGT83 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-03-20 | 2023-06-20 23:59 |  | Combustion Inspection and Repair
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-06-30 17:00 |  | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-06-30 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-06-30 23:59 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Forced Extension | 152 | 0 | 152 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced Extension | 311 | 150 | 161 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-06-30 17:00 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 18 | 132 | 2023-03-31 18:00 | 2023-09-29 17:00 | 2023-06-15 09:19 | Other
CHE | CHE_GT2 | Natural Gas | Forced Extension | 171 | 0 | 171 | 2023-04-01 03:07 | 2023-07-09 23:59 |  | Other
THW | THW_THWST_4 | Natural Gas | Forced Extension | 110 | 78 | 32 | 2023-04-01 20:43 | 2023-06-19 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 155 | 16 | 2023-04-04 08:37 | 2023-07-09 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
MCDLD | MCDLD_SB4_G87 | Wind | Forced Extension | 4 | 0 | 4 | 2023-04-07 17:02 | 2023-06-30 17:00 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-06-30 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 363 | 386 | 2023-04-15 12:56 | 2023-06-30 23:59 | 2023-06-14 18:55 | Inlet Air Problems/Repairs
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-04-21 13:03 | 2023-06-30 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced Extension | 120 | 0 | 120 | 2023-04-21 16:37 | 2023-06-30 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced Extension | 62 | 0 | 62 | 2023-04-21 16:39 | 2023-06-30 23:59 |  | Other
DOWGEN | DOWGEN_DOW_G61 | Natural Gas | Unavoidable Extension | 68 | 0 | 68 | 2023-04-25 12:00 | 2023-07-24 17:00 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced Extension | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-08-01 12:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-04-29 | 2023-07-15 23:59 |  | Combustion Inspection and Repair
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 202 | 30 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 205 | 8 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced Extension | 150 | 115 | 35 | 2023-05-01 00:01 | 2023-06-30 23:59 | 2023-06-15 20:54 | Other
VICTORIA | VICTORIA_VICTORG5 | Natural Gas | Unavoidable Extension | 125 | 0 | 125 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
VICTORIA | VICTORIA_VICTORG6 | Natural Gas | Unavoidable Extension | 160 | 0 | 160 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-06-30 23:59 |  | Other
CAL | CAL_CALGT1 | Natural Gas | Unavoidable Extension | 131 | 0 | 131 | 2023-05-02 00:23 | 2023-06-19 23:59 |  | Overhaul
CAL | CAL_CALSTG1 | Natural Gas | Unavoidable Extension | 58 | 0 | 58 | 2023-05-02 00:23 | 2023-06-19 23:59 |  | Overhaul
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
DOWGEN | DOWGEN_DOW_GT96 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-05-03 10:01 | 2023-06-13 15:00 | 2023-06-13 12:00 | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 194 | 3 | 2023-05-03 23:19 | 2023-06-30 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-12-31 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 152 | 0 | 2023-05-08 17:51 | 2023-06-30 23:59 |  | Other
PYR | PYR_PYRON2 | Wind | Unavoidable Extension | 128 | 0 | 128 | 2023-05-10 08:01 | 2023-06-30 16:00 |  | Other
TURQBESS | TURQBESS_BESS1 | Not Available | Forced Extension | 190 | 190 | 0 | 2023-05-11 | 2023-06-30 23:59 |  | Other
SANDHSYD | SANDHSYD_SH_5A | Natural Gas | Unavoidable Extension | 142 | 0 | 142 | 2023-05-11 00:01 | 2023-06-19 23:59 |  | Other
SANDHSYD | SANDHSYD_SH_5C | Natural Gas | Unavoidable Extension | 139 | 0 | 139 | 2023-05-11 00:01 | 2023-06-19 23:59 |  | Other
KING_SW | KING_SW_KINGSW | Wind | Forced Extension | 80 | 52 | 28 | 2023-05-12 19:48 | 2023-06-30 23:59 |  | Other
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Unavoidable Extension | 287 | 150 | 137 | 2023-05-14 00:01 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 112 | 2 | 2023-05-15 01:42 | 2023-06-30 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-06-30 23:59 |  | Other
SPTX12B | SPTX12B_BES1 | Not Available | Forced Extension | 25 | 25 | 0 | 2023-05-17 | 2023-06-30 23:59 | 2023-06-13 14:45 | Other
WFTANK | WFTANK_ESS1 | Not Available | Forced Extension | 150 | 150 | 0 | 2023-05-17 | 2023-06-30 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 118 | 15 | 2023-05-17 01:41 | 2023-06-30 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 109 | 26 | 2023-05-18 06:17 | 2023-06-29 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 75 | 34 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 105 | 85 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 65 | 81 | 2023-05-19 | 2023-06-23 23:59 |  | Feedwater Problems/Repairs
DAN | DAN_UNIT2 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-11-20 08:00 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-09-11 08:00 |  | Other
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced Extension | 18 | 0 | 18 | 2023-05-19 17:30 | 2023-06-15 23:59 | 2023-06-15 23:59 | Turbine/Generator Vibration/Repair
SANTACRU | SANTACRU_UNIT1 | Wind | Forced Extension | 151 | 145 | 6 | 2023-05-22 12:52 | 2023-06-19 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced Extension | 98 | 89 | 9 | 2023-05-22 12:52 | 2023-06-19 14:00 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced Extension | 184 | 173 | 11 | 2023-05-23 01:24 | 2023-06-30 23:59 |  | Other
VORTEX | VORTEX_BESS1 | Other | Maintenance Level 1 | 122 | 0 | 122 | 2023-05-23 08:25 | 2023-07-30 18:00 |  | Other
DAN | DAN_UNIT1 | Solar | Unavoidable Extension | 300 | 18 | 282 | 2023-05-24 15:01 | 2023-06-30 23:59 |  | Other
MYR | MYR_UNIT2 | Solar | Forced Extension | 146 | 115 | 31 | 2023-05-26 08:00 | 2023-06-16 07:59 | 2023-06-13 18:00 | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 491 | 36 | 2023-05-26 18:16 | 2023-06-16 23:59 |  | Inlet Air Problems/Repairs
VICTPORT | VICTPORT_CTG02 | Natural Gas | Forced Extension | 44 | 0 | 44 | 2023-05-26 20:16 | 2023-06-30 12:00 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced | 125 | 88 | 37 | 2023-05-27 15:00 | 2023-06-28 12:00 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 109 | 22 | 2023-05-27 17:10 | 2023-06-18 18:00 | 2023-06-14 02:17 | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 700 | 45 | 2023-05-27 20:30 | 2023-06-30 23:59 | 2023-06-14 08:12 | Inlet Air Problems/Repairs
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 166 | 16 | 2023-05-28 20:05 | 2023-06-29 23:59 | 2023-06-13 18:16 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 154 | 28 | 2023-05-29 09:43 | 2023-06-30 23:59 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 122 | 31 | 2023-05-30 07:01 | 2023-06-30 18:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 122 | 27 | 2023-05-30 07:01 | 2023-06-30 18:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 25 | 105 | 2023-05-30 15:40 | 2023-06-28 12:00 |  | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 116 | 11 | 2023-05-30 19:45 | 2023-06-16 19:45 |  | Turbine/Generator Vibration/Repair
EIFSLR | EIFSLR_UNIT1 | Solar | Forced Extension | 240 | 96 | 144 | 2023-05-31 08:30 | 2023-06-16 19:00 |  | Other
STRATEGC | STRATEGC_UNIT1 | Solar | Forced Extension | 135 | 118 | 17 | 2023-05-31 10:35 | 2023-06-30 16:00 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 7 | 16 | 2023-05-31 11:30 | 2023-12-28 21:35 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 11 | 72 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-05-31 11:32 | 2023-12-28 23:59 |  | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced Extension | 46 | 44 | 2 | 2023-05-31 15:08 | 2023-06-14 16:00 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 20 | 145 | 2023-05-31 15:31 | 2023-06-30 18:30 |  | Unknown
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 20 | 65 | 2023-05-31 15:32 | 2023-06-30 16:32 |  | Unknown
CBEC | CBEC_GT12 | Natural Gas | Forced Extension | 39 | 0 | 39 | 2023-05-31 16:00 | 2023-06-14 17:00 | 2023-06-14 17:00 | Other
MCSES | MCSES_UNIT8 | Natural Gas | Unavoidable Extension | 568 | 0 | 568 | 2023-06-01 | 2023-06-22 23:59 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Maintenance Level 1 | 101 | 81 | 20 | 2023-06-01 | 2023-06-30 17:00 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 115 | 0 | 2023-06-01 10:46 | 2023-06-30 23:59 |  | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced | 158 | 126 | 32 | 2023-06-01 10:48 | 2023-06-30 23:59 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 36 | 86 | 2023-06-01 12:01 | 2023-06-30 16:00 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 131 | 40 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 75 | 5 | 2023-06-01 20:49 | 2023-06-30 23:59 |  | Other
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 192 | 2 | 2023-06-01 23:51 | 2023-12-01 |  | Other
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Maintenance Level 3 | 31 | 0 | 31 | 2023-06-02 10:01 | 2023-07-01 10:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-07-01 15:00 |  | Other
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced | 20 | 0 | 20 | 2023-06-02 11:56 | 2023-06-30 23:59 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced Extension | 124 | 108 | 16 | 2023-06-02 15:08 | 2023-06-23 16:00 |  | Other
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 46 | 4 | 2023-06-02 18:11 | 2023-06-30 23:59 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 8 | 30 | 2023-06-03 | 2023-12-31 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 24 | 62 | 2023-06-03 03:31 | 2023-06-30 23:59 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 66 | 29 | 2023-06-03 11:40 | 2023-07-01 22:00 |  | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 170 | 33 | 2023-06-03 12:55 | 2023-06-30 23:59 | 2023-06-15 09:39 | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 83 | 9 | 2023-06-03 21:24 | 2023-06-30 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 121 | 31 | 2023-06-03 21:49 | 2023-06-30 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 173 | 29 | 2023-06-04 19:52 | 2023-12-31 23:59 |  | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 65 | 10 | 2023-06-04 21:01 | 2023-06-15 12:00 |  | Other
BRISCOE | BRISCOE_WIND | Wind | Forced Extension | 150 | 0 | 150 | 2023-06-05 00:31 | 2023-06-20 20:00 |  | Unknown
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-06-05 09:05 | 2023-09-29 17:00 |  | Other
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 77 | 24 | 2023-06-05 10:20 | 2023-06-30 17:00 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 94 | 15 | 2023-06-05 13:56 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 74 | 35 | 2023-06-05 13:56 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 80 | 65 | 15 | 2023-06-05 14:36 | 2023-06-16 23:59 |  | Lack of Steam Load Availability
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 498 | 4 | 2023-06-05 17:21 | 2023-06-19 17:20 |  | Other
TGCCS | TGCCS_UNIT4 | Natural Gas | Forced | 402 | 0 | 402 | 2023-06-05 21:00 | 2023-06-20 23:59 |  | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 117 | 10 | 2023-06-06 01:53 | 2023-06-14 19:45 | 2023-06-14 18:18 | Other
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Forced | 126 | 17 | 109 | 2023-06-06 07:00 | 2023-06-30 23:59 | 2023-06-13 09:10 | Other
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 98 | 22 | 2023-06-06 07:28 | 2023-06-16 18:00 |  | Turbine/Generator Vibration/Repair
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 196 | 90 | 106 | 2023-06-06 07:52 | 2023-06-13 14:00 | 2023-06-13 14:02 | Turbine/Generator Vibration/Repair
BTE | BTE_BTE_G4 | Natural Gas | Forced Extension | 145 | 0 | 145 | 2023-06-06 07:52 | 2023-06-13 14:00 | 2023-06-13 14:02 | Turbine/Generator Vibration/Repair
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 72 | 18 | 2023-06-06 08:44 | 2023-06-15 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 104 | 22 | 2023-06-06 08:45 | 2023-06-15 23:59 |  | Other
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2023-06-06 10:39 | 2023-06-30 23:55 |  | Other
SPNCER | SPNCER_SPNCE_5 | Natural Gas | Forced Extension | 61 | 0 | 61 | 2023-06-06 11:34 | 2023-06-23 22:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 63 | 8 | 2023-06-06 15:00 | 2023-06-13 12:00 | 2023-06-13 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 30 | 3 | 2023-06-06 15:00 | 2023-06-13 12:00 | 2023-06-13 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced Extension | 22 | 18 | 4 | 2023-06-06 15:00 | 2023-06-13 12:00 | 2023-06-13 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced Extension | 77 | 72 | 5 | 2023-06-06 15:00 | 2023-06-13 12:00 | 2023-06-13 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 193 | 9 | 2023-06-06 15:00 | 2023-06-13 12:00 | 2023-06-13 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 15 | 7 | 2023-06-06 15:00 | 2023-06-13 12:00 | 2023-06-13 12:00 | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Forced | 77 | 0 | 77 | 2023-06-06 18:01 | 2023-07-14 18:00 |  | Overhaul
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 158 | 11 | 2023-06-06 20:40 | 2023-07-06 18:00 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 154 | 15 | 2023-06-06 20:40 | 2023-07-06 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 146 | 4 | 2023-06-06 20:40 | 2023-07-06 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 136 | 14 | 2023-06-06 20:40 | 2023-07-06 18:00 |  | Turbine/Generator Vibration/Repair
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 630 | 25 | 2023-06-07 08:24 | 2023-06-18 10:00 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 100 | 15 | 2023-06-07 08:28 | 2023-06-14 23:59 | 2023-06-14 23:59 | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced Extension | 50 | 48 | 2 | 2023-06-07 10:19 | 2023-06-26 23:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 95 | 31 | 2023-06-07 11:28 | 2023-07-01 12:00 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 370 | 21 | 2023-06-07 12:37 | 2023-06-30 23:59 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 756 | 80 | 2023-06-07 15:40 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 803 | 21 | 2023-06-07 18:34 | 2023-06-30 23:59 |  | Feedwater Problems/Repairs
JAY | JAY_UNIT1 | Solar | Forced | 180 | 69 | 111 | 2023-06-07 19:00 | 2023-06-13 20:00 | 2023-06-13 20:00 | Other
OWF | OWF_OWF | Wind | Forced | 55 | 10 | 45 | 2023-06-07 21:50 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
PH2 | PH2_UNIT1 | Wind | Forced | 94 | 80 | 14 | 2023-06-08 01:50 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
PH2 | PH2_UNIT2 | Wind | Forced | 97 | 82 | 15 | 2023-06-08 01:50 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
NEBULA | NEBULA_UNIT1 | Solar | Forced Extension | 138 | 0 | 138 | 2023-06-08 03:29 | 2023-06-22 16:00 | 2023-06-16 01:28 | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced | 50 | 40 | 10 | 2023-06-08 06:54 | 2023-06-16 08:54 | 2023-06-13 18:00 | Other
TXCTY | TXCTY_ST | Natural Gas | Forced | 125 | 70 | 55 | 2023-06-08 09:30 | 2023-06-16 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 190 | 11 | 2023-06-08 10:40 | 2023-06-30 23:59 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 128 | 16 | 2023-06-08 17:30 | 2023-06-17 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 129 | 15 | 2023-06-08 17:30 | 2023-06-17 18:00 |  | Other
WILDWIND | WILDWIND_UNIT5 | Wind | Forced | 53 | 48 | 5 | 2023-06-09 11:16 | 2023-12-31 23:59 |  | Other
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced | 51 | 42 | 9 | 2023-06-09 12:15 | 2023-07-07 16:00 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 80 | 0 | 80 | 2023-06-09 13:10 | 2023-06-16 23:59 |  | Lack of Steam Load Availability
JUNO | JUNO_UNIT1 | Solar | Forced | 162 | 159 | 3 | 2023-06-09 13:14 | 2023-06-30 18:00 |  | Other
GUADG | GUADG_GAS1 | Natural Gas | Forced | 143 | 128 | 15 | 2023-06-09 15:29 | 2023-06-16 23:59 |  | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 87 | 33 | 2023-06-09 16:20 | 2023-06-19 18:00 |  | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 135 | 14 | 2023-06-09 16:50 | 2023-06-30 23:59 |  | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 105 | 5 | 2023-06-10 | 2023-06-13 00:09 | 2023-06-13 00:09 | Other
EXN | EXN_EXN_G15 | Blast-Furnace Gas | Forced | 8 | 0 | 8 | 2023-06-10 | 2023-06-13 23:59 | 2023-06-13 | Other
VISION | VISION_UNIT1 | Solar | Forced | 127 | 50 | 77 | 2023-06-10 | 2023-06-13 15:00 | 2023-06-13 15:00 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 815 | 40 | 2023-06-10 00:01 | 2023-06-14 06:00 | 2023-06-14 03:00 | Fuel Problems/Repairs
GOAT | GOAT_GOATWIN2 | Wind | Forced Extension | 70 | 53 | 17 | 2023-06-10 01:56 | 2023-06-30 23:59 | 2023-06-14 07:55 | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced | 48 | 24 | 24 | 2023-06-10 06:03 | 2023-06-30 23:59 | 2023-06-13 16:25 | Control system issues
OLINGR | OLINGR_OLING_2 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2023-06-10 09:04 | 2023-06-16 23:59 |  | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 47 | 120 | 2023-06-10 13:30 | 2023-06-17 17:00 | 2023-06-15 12:00 | Other
JAY | JAY_UNIT2 | Solar | Forced Extension | 172 | 94 | 78 | 2023-06-10 14:00 | 2023-06-13 19:00 | 2023-06-13 07:14 | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 149 | 1 | 2023-06-10 16:20 | 2023-06-30 23:59 | 2023-06-15 22:26 | Other
AZ | AZ_AZ_G3 | Natural Gas | Forced Extension | 36 | 0 | 36 | 2023-06-10 16:40 | 2023-06-13 17:00 | 2023-06-13 08:40 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 140 | 23 | 2023-06-10 17:48 | 2023-06-30 18:00 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 775 | 30 | 2023-06-10 19:52 | 2023-06-19 06:52 | 2023-06-14 21:00 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 136 | 25 | 2023-06-11 | 2023-06-19 23:59 |  | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 139 | 22 | 2023-06-11 01:11 | 2023-06-19 18:00 |  | Turbine/Generator Vibration/Repair
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 157 | 23 | 2023-06-11 08:24 | 2023-12-04 23:58 |  | Other
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced Extension | 75 | 0 | 75 | 2023-06-11 11:09 | 2023-06-18 23:59 |  | Control system issues
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 95 | 31 | 2023-06-11 14:13 | 2023-07-31 12:00 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 45 | 55 | 2023-06-11 17:13 | 2023-06-15 20:00 | 2023-06-13 08:27 | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 62 | 40 | 2023-06-11 18:16 | 2023-06-19 20:00 | 2023-06-14 17:53 | Unknown
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 0 | 392 | 2023-06-11 19:10 | 2023-07-11 23:59 |  | Lightening
STWF | STWF_T1 | Wind | Forced Extension | 98 | 85 | 13 | 2023-06-11 20:13 | 2023-06-13 12:00 | 2023-06-13 12:00 | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 0 | 151 | 2023-06-11 21:19 | 2023-06-14 18:00 | 2023-06-13 16:21 | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 130 | 21 | 2023-06-11 21:19 | 2023-06-14 18:00 | 2023-06-13 16:21 | Other
B_DAVIS | B_DAVIS_B_DAVIG1 | Natural Gas | Forced | 292 | 135 | 157 | 2023-06-11 23:59 | 2023-06-13 23:59 | 2023-06-13 23:59 | Other
CALHOUN | CALHOUN_UNIT1 | Natural Gas | Forced | 44 | 0 | 44 | 2023-06-12 00:01 | 2023-06-12 23:59 | 2023-06-13 01:59 | Other
PANDA_S | PANDA_S_SHER1CT1 | Natural Gas | Unavoidable Extension | 199 | 0 | 199 | 2023-06-12 00:01 | 2023-06-14 23:59 | 2023-06-13 23:05 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 158 | 15 | 2023-06-12 04:00 | 2023-06-16 22:00 | 2023-06-14 12:38 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 158 | 15 | 2023-06-12 04:00 | 2023-06-18 22:00 | 2023-06-14 12:37 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 105 | 60 | 2023-06-12 04:55 | 2023-06-30 18:00 | 2023-06-13 03:53 | Other
JADE_SLR | JADE_SLR_UNIT2 | Solar | Forced Extension | 162 | 88 | 74 | 2023-06-12 07:00 | 2023-06-21 07:00 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 65 | 0 | 65 | 2023-06-12 08:00 | 2023-06-17 12:00 |  | Other
DCSES | DCSES_BES4 | Other | Forced | 64 | 60 | 4 | 2023-06-12 08:00 | 2023-06-14 16:00 | 2023-06-13 12:59 | Other
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 81 | 20 | 2023-06-12 08:54 | 2023-06-16 18:00 |  | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 173 | 13 | 2023-06-12 09:00 | 2023-06-30 23:59 | 2023-06-15 11:58 | Other
STEAM1A | STEAM1A_STEAM_1 | Natural Gas | Forced | 18 | 0 | 18 | 2023-06-12 09:37 | 2023-06-23 23:59 | 2023-06-14 17:57 | Tube Leak
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 143 | 21 | 2023-06-12 10:00 | 2023-06-30 23:59 | 2023-06-14 10:28 | Other
EUNICE | EUNICE_BES1 | Not Available | Forced | 40 | 35 | 5 | 2023-06-12 10:30 | 2023-06-14 09:00 | 2023-06-14 09:00 | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced | 126 | 0 | 126 | 2023-06-12 10:30 | 2023-06-30 23:59 |  | Other
REDFISH | REDFISH_MV1B | Wind | Forced Extension | 104 | 80 | 24 | 2023-06-12 12:38 | 2023-06-16 17:00 |  | Other
IMPACT | IMPACT_UNIT1 | Solar | Forced | 199 | 173 | 26 | 2023-06-12 12:40 | 2023-06-15 23:59 |  | Other
DAN | DAN_UNIT1 | Solar | Maintenance Level 1 | 300 | 0 | 300 | 2023-06-12 13:00 | 2023-06-15 13:00 | 2023-06-14 07:00 | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Maintenance Level 1 | 13 | 0 | 13 | 2023-06-12 13:00 | 2023-06-19 17:00 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced | 146 | 0 | 146 | 2023-06-12 13:56 | 2023-06-16 23:59 |  | Tube Leak
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 208 | 14 | 2023-06-12 14:45 | 2023-06-13 18:00 | 2023-06-13 12:24 | Other
TNSKA | TNSKA_GT2 | Natural Gas | Forced Extension | 76 | 0 | 76 | 2023-06-12 16:38 | 2023-06-13 23:59 | 2023-06-13 23:59 | Other
TNSKA | TNSKA_STG | Natural Gas | Forced Extension | 87 | 44 | 43 | 2023-06-12 16:38 | 2023-06-13 23:59 | 2023-06-13 23:59 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 90 | 55 | 2023-06-12 18:01 | 2023-06-13 12:00 | 2023-06-13 12:00 | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 440 | 62 | 2023-06-12 18:42 | 2023-06-16 07:00 | 2023-06-14 13:29 | Other
LON | LON_SOLAR1 | Solar | Maintenance Level 1 | 77 | 0 | 77 | 2023-06-12 20:32 | 2023-06-13 06:00 | 2023-06-13 00:15 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 805 | 50 | 2023-06-12 21:02 | 2023-06-13 20:00 | 2023-06-13 19:58 | Other
MARIAH | MARIAH_NORTE1 | Wind | Forced Extension | 115 | 0 | 115 | 2023-06-12 21:45 | 2023-06-14 23:59 | 2023-06-13 03:36 | Other
MARIAH | MARIAH_NORTE2 | Wind | Forced | 115 | 0 | 115 | 2023-06-12 21:45 | 2023-06-13 12:00 | 2023-06-13 03:49 | Other
ETCCS | ETCCS_CT1 | Natural Gas | Forced | 204 | 193 | 11 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 165 | 142 | 23 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 157 | 137 | 20 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 157 | 134 | 23 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 165 | 142 | 23 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 157 | 134 | 23 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 157 | 134 | 23 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 153 | 132 | 21 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 145 | 126 | 19 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 145 | 126 | 19 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 153 | 132 | 21 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced | 167 | 148 | 19 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 158 | 140 | 18 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 241 | 174 | 67 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced | 241 | 176 | 65 | 2023-06-12 21:46 | 2023-06-13 23:59 | 2023-06-13 21:18 | Other
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 779 | 45 | 2023-06-12 22:41 | 2023-06-13 09:00 | 2023-06-13 03:10 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 131 | 17 | 2023-06-12 23:10 | 2023-06-30 18:00 | 2023-06-13 17:06 | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 0 | 63 | 2023-06-12 23:30 | 2023-06-13 12:00 | 2023-06-13 07:00 | Other
NOBLESLR | NOBLESLR_SOLAR1 | Solar | Forced | 147 | 0 | 147 | 2023-06-12 23:30 | 2023-06-13 12:00 | 2023-06-13 07:00 | Other
PSG | PSG_PSG_GT3 | Natural Gas | Maintenance Level 1 | 164 | 0 | 164 | 2023-06-12 23:54 | 2023-06-13 08:00 | 2023-06-13 06:53 | Inlet Air Problems/Repairs
PSG | PSG_PSG_ST2 | Natural Gas | Maintenance Level 1 | 170 | 85 | 85 | 2023-06-12 23:54 | 2023-06-13 08:00 | 2023-06-13 06:53 | Inlet Air Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 780 | 75 | 2023-06-13 00:01 | 2023-06-13 03:00 | 2023-06-13 02:34 | Other
PANDA_S | PANDA_S_SHER1CT2 | Natural Gas | Unavoidable Extension | 199 | 0 | 199 | 2023-06-13 00:01 | 2023-06-14 23:59 | 2023-06-13 23:05 | Other
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Unavoidable Extension | 287 | 0 | 287 | 2023-06-13 00:01 | 2023-06-14 23:59 | 2023-06-13 23:05 | Other
CALHOUN | CALHOUN_UNIT1 | Natural Gas | Forced Extension | 44 | 0 | 44 | 2023-06-13 02:00 | 2023-06-18 23:59 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 825 | 30 | 2023-06-13 02:37 | 2023-06-13 06:00 | 2023-06-13 04:39 | Other
BAC | BAC_CTG1 | Natural Gas | Forced Extension | 59 | 0 | 59 | 2023-06-13 02:45 | 2023-06-15 06:00 | 2023-06-13 05:44 | Other
BAC | BAC_CTG2 | Natural Gas | Forced Extension | 61 | 0 | 61 | 2023-06-13 02:45 | 2023-06-15 06:00 | 2023-06-13 05:44 | Other
MARIAH | MARIAH_NORTE1 | Wind | Forced | 115 | 57 | 58 | 2023-06-13 03:37 | 2023-06-14 23:59 | 2023-06-13 20:30 | Transformer Repair/Replace
MARIAH | MARIAH_NORTE2 | Wind | Forced | 115 | 58 | 57 | 2023-06-13 03:37 | 2023-06-14 23:59 | 2023-06-13 20:30 | Transformer Repair/Replace
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 115 | 50 | 2023-06-13 03:54 | 2023-06-30 18:00 | 2023-06-15 10:58 | Other
DAG | DAG_UNIT1 | Solar | Forced | 100 | 49 | 51 | 2023-06-13 04:31 | 2023-06-13 08:00 | 2023-06-13 04:32 | Other
DAG | DAG_UNIT2 | Solar | Forced | 100 | 0 | 100 | 2023-06-13 04:31 | 2023-06-13 08:00 | 2023-06-13 04:32 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 845 | 10 | 2023-06-13 04:39 | 2023-06-13 20:00 | 2023-06-13 19:56 | Other
HOVEY | HOVEY_UNIT1 | Solar | Forced Extension | 22 | 0 | 22 | 2023-06-13 05:02 | 2023-06-13 16:00 | 2023-06-13 15:02 | Other
HOVEY | HOVEY_UNIT2 | Solar | Forced Extension | 7 | 0 | 7 | 2023-06-13 05:02 | 2023-06-13 16:00 | 2023-06-13 15:02 | Other
TAV | TAV_UNIT2 | Solar | Maintenance Level 1 | 96 | 14 | 82 | 2023-06-13 06:00 | 2023-06-13 22:00 | 2023-06-13 22:00 | Other
ANDMDSLR | ANDMDSLR_UNIT1 | Solar | Maintenance Level 1 | 158 | 150 | 8 | 2023-06-13 07:00 | 2023-06-13 20:30 | 2023-06-13 20:30 | Other
ANDMDSLR | ANDMDSLR_UNIT2 | Solar | Maintenance Level 1 | 162 | 150 | 12 | 2023-06-13 07:00 | 2023-06-13 20:30 | 2023-06-13 11:05 | Other
EXGNSND | EXGNSND_WIND_1 | Wind | Maintenance Level 2 | 78 | 50 | 28 | 2023-06-13 08:00 | 2023-06-15 08:00 | 2023-06-13 16:56 | Other
SWOOSEII | SWOOSEII_BESS1 | Not Available | Unavoidable Extension | 100 | 0 | 100 | 2023-06-13 08:01 | 2023-06-13 14:00 | 2023-06-13 13:15 | Other
CRANELL | CRANELL_UNIT1 | Wind | Maintenance Level 1 | 220 | 170 | 50 | 2023-06-13 08:05 | 2023-06-13 16:00 | 2023-06-13 13:59 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 58 | 42 | 2023-06-13 08:28 | 2023-06-19 18:00 | 2023-06-14 17:49 | Turbine/Generator Vibration/Repair
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 107 | 20 | 2023-06-13 09:00 | 2023-06-16 08:30 |  | Turbine/Generator Vibration/Repair
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Forced | 126 | 0 | 126 | 2023-06-13 09:10 | 2023-06-16 08:00 |  | Other
JADE_SLR | JADE_SLR_UNIT1 | Solar | Forced | 158 | 130 | 28 | 2023-06-13 11:00 | 2023-06-13 16:00 | 2023-06-13 15:00 | Other
CVC | CVC_CVC_G2 | Natural Gas | Forced | 165 | 110 | 55 | 2023-06-13 11:47 | 2023-06-13 23:59 | 2023-06-13 11:48 | Other
CVC | CVC_CVC_G3 | Natural Gas | Forced | 165 | 110 | 55 | 2023-06-13 11:47 | 2023-06-13 23:59 | 2023-06-13 11:48 | Other
CVC | CVC_CVC_G5 | Natural Gas | Forced | 144 | 89 | 55 | 2023-06-13 11:47 | 2023-06-13 23:59 | 2023-06-13 11:48 | Other
GAMBIT | GAMBIT_BESS1 | Not Available | Forced Extension | 100 | 89 | 11 | 2023-06-13 11:53 | 2023-06-16 12:00 | 2023-06-13 12:02 | Other
GRSES | GRSES_UNIT1 | Natural Gas | Forced | 239 | 0 | 239 | 2023-06-13 12:00 | 2023-06-13 13:00 | 2023-06-13 12:58 | Other
GAMBIT | GAMBIT_BESS1 | Not Available | Forced | 100 | 89 | 11 | 2023-06-13 12:03 | 2023-06-16 12:00 | 2023-06-13 16:29 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 212 | 10 | 2023-06-13 12:09 | 2023-06-13 18:00 | 2023-06-13 17:53 | Other
STWF | STWF_T1 | Wind | Forced | 98 | 69 | 29 | 2023-06-13 12:11 | 2023-06-13 19:00 | 2023-06-13 15:45 | Other
HLSES | HLSES_UNIT5 | Natural Gas | Unavoidable Extension | 435 | 0 | 435 | 2023-06-13 13:12 | 2023-06-16 07:00 | 2023-06-16 04:20 | Tube Leak
BRAUNIG | BRAUNIG_VHB1 | Natural Gas | Forced | 217 | 0 | 217 | 2023-06-13 13:29 | 2023-06-13 15:00 | 2023-06-13 14:22 | Other
BRAUNIG | BRAUNIG_VHB1 | Natural Gas | Forced | 217 | 0 | 217 | 2023-06-13 13:29 | 2023-06-13 23:59 | 2023-06-13 13:56 | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced | 71 | 63 | 8 | 2023-06-13 13:30 | 2023-06-16 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced | 33 | 30 | 3 | 2023-06-13 13:30 | 2023-06-16 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced | 22 | 18 | 4 | 2023-06-13 13:30 | 2023-06-16 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced | 77 | 72 | 5 | 2023-06-13 13:30 | 2023-06-16 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced | 202 | 185 | 17 | 2023-06-13 13:30 | 2023-06-16 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced | 22 | 15 | 7 | 2023-06-13 13:30 | 2023-06-16 12:00 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 375 | 127 | 2023-06-13 14:15 | 2023-06-16 07:00 | 2023-06-14 13:29 | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 0 | 63 | 2023-06-13 14:58 | 2023-06-14 12:00 | 2023-06-13 17:50 | Other
NOBLESLR | NOBLESLR_SOLAR1 | Solar | Forced | 147 | 0 | 147 | 2023-06-13 14:58 | 2023-06-14 12:00 | 2023-06-13 17:50 | Other
VISION | VISION_UNIT1 | Solar | Forced | 127 | 50 | 77 | 2023-06-13 15:01 | 2023-06-16 15:00 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 680 | 65 | 2023-06-13 15:30 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
WAP | WAP_WAP_G7 | Bituminous Coal | Forced | 577 | 421 | 156 | 2023-06-13 15:34 | 2023-06-13 18:00 | 2023-06-13 16:30 | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 392 | 20 | 2023-06-13 16:00 | 2023-06-30 23:59 |  | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 392 | 20 | 2023-06-13 16:00 | 2023-06-30 23:59 | 2023-06-13 16:01 | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 0 | 412 | 2023-06-13 16:00 | 2023-06-30 23:59 | 2023-06-13 16:37 | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 392 | 20 | 2023-06-13 16:00 | 2023-06-30 23:59 | 2023-06-13 16:44 | Other
BTM | BTM_UNIT6 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-06-13 16:02 | 2023-06-14 12:00 | 2023-06-14 10:00 | Other
SILASRAY | SILASRAY_SILAS_10 | Natural Gas | Forced | 46 | 0 | 46 | 2023-06-13 17:00 | 2023-06-13 18:00 | 2023-06-13 17:58 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 128 | 20 | 2023-06-13 17:06 | 2023-06-30 18:00 | 2023-06-13 17:52 | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced | 48 | 24 | 24 | 2023-06-13 17:09 | 2023-06-14 23:59 | 2023-06-14 23:59 | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 0 | 63 | 2023-06-13 17:51 | 2023-06-13 19:00 | 2023-06-13 18:28 | Other
NOBLESLR | NOBLESLR_SOLAR1 | Solar | Forced | 147 | 0 | 147 | 2023-06-13 17:51 | 2023-06-13 19:00 | 2023-06-13 18:28 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 135 | 13 | 2023-06-13 17:52 | 2023-06-30 18:00 | 2023-06-14 19:30 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced Extension | 222 | 209 | 13 | 2023-06-13 17:53 | 2023-06-14 18:00 | 2023-06-14 09:07 | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 82 | 64 | 2023-06-13 18:00 | 2023-06-15 08:00 | 2023-06-15 08:00 | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced | 50 | 45 | 5 | 2023-06-13 18:01 | 2023-06-16 23:59 |  | Other
CALAVERS | CALAVERS_JKS1 | Subbituminous Coal | Forced Extension | 560 | 0 | 560 | 2023-06-13 18:03 | 2023-06-23 23:59 |  | Unknown
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 179 | 3 | 2023-06-13 18:17 | 2023-06-29 23:59 | 2023-06-15 21:42 | Other
NOBLESLR | NOBLESLR_SOLAR1 | Solar | Forced Extension | 147 | 145 | 2 | 2023-06-13 18:45 | 2023-06-16 12:00 |  | Other
SPTX12B | SPTX12B_BES1 | Not Available | Forced | 25 | 0 | 25 | 2023-06-13 19:55 | 2023-06-14 23:59 | 2023-06-14 08:45 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 825 | 30 | 2023-06-13 19:57 | 2023-06-14 20:00 | 2023-06-14 06:30 | Other
NF_BRP | NF_BRP_BES1 | Not Available | Maintenance Level 2 | 101 | 0 | 101 | 2023-06-13 20:01 | 2023-06-14 23:59 |  | Other
OCI_ALM1 | OCI_ALM1_UNIT1 | Solar | Forced | 39 | 0 | 39 | 2023-06-13 20:03 | 2023-06-14 06:00 | 2023-06-13 20:06 | Other
OCI_ALM1 | OCI_ALM1_UNIT1 | Solar | Forced | 39 | 0 | 39 | 2023-06-13 20:15 | 2023-06-14 06:00 | 2023-06-14 00:11 | Other
ETCCS | ETCCS_CT1 | Natural Gas | Forced | 204 | 193 | 11 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 165 | 142 | 23 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 157 | 137 | 20 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 157 | 134 | 23 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 165 | 142 | 23 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 157 | 134 | 23 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 157 | 134 | 23 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 153 | 132 | 21 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 145 | 126 | 19 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 145 | 126 | 19 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 153 | 132 | 21 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced | 167 | 148 | 19 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 158 | 140 | 18 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 241 | 174 | 67 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced | 241 | 176 | 65 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
LILY | LILY_SOLAR1 | Solar | Maintenance Level 2 | 148 | 94 | 54 | 2023-06-13 21:19 | 2023-06-14 06:00 | 2023-06-14 07:38 | Other
HOVEY | HOVEY_UNIT1 | Solar | Maintenance Level 1 | 22 | 0 | 22 | 2023-06-13 21:30 | 2023-06-14 05:00 | 2023-06-14 06:00 | Other
HOVEY | HOVEY_UNIT2 | Solar | Maintenance Level 1 | 7 | 0 | 7 | 2023-06-13 21:30 | 2023-06-14 05:00 | 2023-06-14 06:00 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 54 | 41 | 2023-06-13 22:22 | 2023-06-16 22:00 | 2023-06-14 20:42 | Other
DUKE | DUKE_DUKE_GT2 | Natural Gas | Unavoidable Extension | 149 | 0 | 149 | 2023-06-13 23:15 | 2023-06-14 04:00 | 2023-06-14 03:11 | Fuel Problems/Repairs
DUKE | DUKE_DUKE_ST1 | Natural Gas | Unavoidable Extension | 168 | 80 | 88 | 2023-06-13 23:15 | 2023-06-14 04:00 | 2023-06-14 03:11 | Fuel Problems/Repairs
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 82 | 11 | 2023-06-13 23:37 | 2023-06-30 23:59 |  | Other
2023-06-16 |  |  |  | 2 |  |  |  | 5:02