## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-06-17 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Jun 14, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-06-30 18:00 |  | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-06-30 18:00 |  | Other
PLN | PLN_UNIT2 | Solar | Unavoidable Extension | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-07-15 15:01 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-06-30 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-07-01 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-08-15 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-06-30 23:59 |  | Exhaust Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-06-30 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-06-30 08:24 |  | Other
HI_LONE | HI_LONE_WGR1A | Wind | Forced Extension | 46 | 7 | 39 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1B | Wind | Forced Extension | 52 | 7 | 45 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HI_LONE | HI_LONE_WGR2 | Wind | Forced Extension | 123 | 0 | 123 | 2023-01-26 14:11 | 2023-07-31 18:00 |  | Transformer Repair/Replace
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-06-30 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 96 | 0 | 96 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-09-30 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 512 | 15 | 2023-02-20 07:00 | 2023-06-20 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-06-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-06-30 16:00 |  | Other
THW | THW_THWGT41 | Natural Gas | Unavoidable Extension | 54 | 0 | 54 | 2023-03-06 00:01 | 2023-06-19 23:59 |  | Combustion Inspection and Repair
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-06-30 17:00 |  | Other
CVC | CVC_CVC_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-03-18 00:01 | 2023-06-23 16:00 |  | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced | 1205 | 1224 | 0 | 2023-03-19 19:40 | 2023-06-23 09:40 |  | Other
GBY | GBY_GBYGT83 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-03-20 | 2023-06-20 23:59 |  | Combustion Inspection and Repair
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-06-30 17:00 |  | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-06-30 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-06-30 23:59 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Forced Extension | 152 | 0 | 152 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced Extension | 311 | 150 | 161 | 2023-03-25 18:50 | 2023-06-30 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-06-30 17:00 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 18 | 132 | 2023-03-31 18:00 | 2023-09-29 17:00 | 2023-06-15 09:19 | Other
CHE | CHE_GT2 | Natural Gas | Forced Extension | 171 | 0 | 171 | 2023-04-01 03:07 | 2023-07-09 23:59 |  | Other
THW | THW_THWST_4 | Natural Gas | Forced Extension | 110 | 78 | 32 | 2023-04-01 20:43 | 2023-06-19 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 155 | 16 | 2023-04-04 08:37 | 2023-07-09 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
MCDLD | MCDLD_SB4_G87 | Wind | Forced Extension | 4 | 0 | 4 | 2023-04-07 17:02 | 2023-06-30 17:00 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-06-30 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 363 | 386 | 2023-04-15 12:56 | 2023-06-30 23:59 | 2023-06-14 18:55 | Inlet Air Problems/Repairs
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-04-21 13:03 | 2023-06-30 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced Extension | 120 | 0 | 120 | 2023-04-21 16:37 | 2023-06-30 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced Extension | 62 | 0 | 62 | 2023-04-21 16:39 | 2023-06-30 23:59 |  | Other
DOWGEN | DOWGEN_DOW_G61 | Natural Gas | Unavoidable Extension | 68 | 0 | 68 | 2023-04-25 12:00 | 2023-07-24 17:00 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced Extension | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-08-01 12:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-04-29 | 2023-07-15 23:59 |  | Combustion Inspection and Repair
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 202 | 30 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 205 | 8 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced Extension | 150 | 115 | 35 | 2023-05-01 00:01 | 2023-06-30 23:59 | 2023-06-15 20:54 | Other
VICTORIA | VICTORIA_VICTORG5 | Natural Gas | Unavoidable Extension | 125 | 0 | 125 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
VICTORIA | VICTORIA_VICTORG6 | Natural Gas | Unavoidable Extension | 160 | 0 | 160 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-06-30 23:59 |  | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-06-30 23:59 |  | Other
CAL | CAL_CALGT1 | Natural Gas | Unavoidable Extension | 131 | 0 | 131 | 2023-05-02 00:23 | 2023-06-19 23:59 |  | Overhaul
CAL | CAL_CALSTG1 | Natural Gas | Unavoidable Extension | 58 | 0 | 58 | 2023-05-02 00:23 | 2023-06-19 23:59 |  | Overhaul
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 194 | 3 | 2023-05-03 23:19 | 2023-06-30 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-12-31 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 152 | 0 | 2023-05-08 17:51 | 2023-06-30 23:59 |  | Other
PYR | PYR_PYRON2 | Wind | Unavoidable Extension | 128 | 0 | 128 | 2023-05-10 08:01 | 2023-06-30 16:00 |  | Other
TURQBESS | TURQBESS_BESS1 | Not Available | Forced Extension | 190 | 190 | 0 | 2023-05-11 | 2023-06-30 23:59 |  | Other
SANDHSYD | SANDHSYD_SH_5A | Natural Gas | Unavoidable Extension | 142 | 0 | 142 | 2023-05-11 00:01 | 2023-06-21 23:59 |  | Other
SANDHSYD | SANDHSYD_SH_5C | Natural Gas | Unavoidable Extension | 139 | 0 | 139 | 2023-05-11 00:01 | 2023-06-21 23:59 |  | Other
KING_SW | KING_SW_KINGSW | Wind | Forced Extension | 80 | 52 | 28 | 2023-05-12 19:48 | 2023-06-30 23:59 |  | Other
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Unavoidable Extension | 287 | 150 | 137 | 2023-05-14 00:01 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 112 | 2 | 2023-05-15 01:42 | 2023-06-30 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-06-30 23:59 |  | Other
WFTANK | WFTANK_ESS1 | Not Available | Forced Extension | 150 | 150 | 0 | 2023-05-17 | 2023-06-30 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 118 | 15 | 2023-05-17 01:41 | 2023-06-30 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 109 | 26 | 2023-05-18 06:17 | 2023-06-29 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 75 | 34 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 105 | 85 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 65 | 81 | 2023-05-19 | 2023-06-23 23:59 | 2023-06-16 18:05 | Feedwater Problems/Repairs
DAN | DAN_UNIT2 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-11-20 08:00 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-09-11 08:00 |  | Other
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced Extension | 18 | 0 | 18 | 2023-05-19 17:30 | 2023-06-15 23:59 | 2023-06-15 23:59 | Turbine/Generator Vibration/Repair
SANTACRU | SANTACRU_UNIT1 | Wind | Forced Extension | 151 | 145 | 6 | 2023-05-22 12:52 | 2023-06-19 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced Extension | 98 | 89 | 9 | 2023-05-22 12:52 | 2023-06-19 14:00 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced Extension | 184 | 173 | 11 | 2023-05-23 01:24 | 2023-06-30 23:59 |  | Other
VORTEX | VORTEX_BESS1 | Other | Maintenance Level 1 | 122 | 0 | 122 | 2023-05-23 08:25 | 2023-07-30 18:00 |  | Other
DAN | DAN_UNIT1 | Solar | Unavoidable Extension | 300 | 18 | 282 | 2023-05-24 15:01 | 2023-06-30 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 491 | 36 | 2023-05-26 18:16 | 2023-06-20 23:59 |  | Inlet Air Problems/Repairs
VICTPORT | VICTPORT_CTG02 | Natural Gas | Forced Extension | 44 | 0 | 44 | 2023-05-26 20:16 | 2023-06-30 12:00 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced | 125 | 88 | 37 | 2023-05-27 15:00 | 2023-06-28 12:00 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 109 | 22 | 2023-05-27 17:10 | 2023-06-18 18:00 | 2023-06-14 02:17 | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 700 | 45 | 2023-05-27 20:30 | 2023-06-30 23:59 | 2023-06-14 08:12 | Inlet Air Problems/Repairs
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 154 | 28 | 2023-05-29 09:43 | 2023-06-30 23:59 | 2023-06-16 11:19 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 122 | 31 | 2023-05-30 07:01 | 2023-06-30 18:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 122 | 27 | 2023-05-30 07:01 | 2023-06-30 18:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 25 | 105 | 2023-05-30 15:40 | 2023-06-28 12:00 |  | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 116 | 11 | 2023-05-30 19:45 | 2023-06-16 19:45 | 2023-06-16 06:59 | Turbine/Generator Vibration/Repair
EIFSLR | EIFSLR_UNIT1 | Solar | Forced Extension | 240 | 96 | 144 | 2023-05-31 08:30 | 2023-06-16 19:00 | 2023-06-16 10:10 | Other
STRATEGC | STRATEGC_UNIT1 | Solar | Forced Extension | 135 | 118 | 17 | 2023-05-31 10:35 | 2023-06-30 16:00 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 7 | 16 | 2023-05-31 11:30 | 2023-12-28 21:35 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 11 | 72 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-05-31 11:32 | 2023-12-28 23:59 |  | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced Extension | 46 | 44 | 2 | 2023-05-31 15:08 | 2023-06-14 16:00 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 20 | 145 | 2023-05-31 15:31 | 2023-06-30 18:30 |  | Unknown
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 20 | 65 | 2023-05-31 15:32 | 2023-06-30 16:32 |  | Unknown
CBEC | CBEC_GT12 | Natural Gas | Forced Extension | 39 | 0 | 39 | 2023-05-31 16:00 | 2023-06-14 17:00 | 2023-06-14 17:00 | Other
MCSES | MCSES_UNIT8 | Natural Gas | Unavoidable Extension | 568 | 0 | 568 | 2023-06-01 | 2023-06-22 23:59 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Maintenance Level 1 | 101 | 81 | 20 | 2023-06-01 | 2023-06-30 17:00 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 115 | 0 | 2023-06-01 10:46 | 2023-06-30 23:59 |  | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced | 158 | 126 | 32 | 2023-06-01 10:48 | 2023-06-30 23:59 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 36 | 86 | 2023-06-01 12:01 | 2023-06-30 16:00 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 131 | 40 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 75 | 5 | 2023-06-01 20:49 | 2023-06-30 23:59 |  | Other
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 192 | 2 | 2023-06-01 23:51 | 2023-12-01 |  | Other
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Maintenance Level 3 | 31 | 0 | 31 | 2023-06-02 10:01 | 2023-07-01 10:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-07-01 15:00 |  | Other
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced | 20 | 0 | 20 | 2023-06-02 11:56 | 2023-06-30 23:59 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced Extension | 124 | 108 | 16 | 2023-06-02 15:08 | 2023-06-23 16:00 |  | Other
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 46 | 4 | 2023-06-02 18:11 | 2023-06-30 23:59 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 8 | 30 | 2023-06-03 | 2023-12-31 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 24 | 62 | 2023-06-03 03:31 | 2023-06-30 23:59 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 66 | 29 | 2023-06-03 11:40 | 2023-07-01 22:00 |  | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 170 | 33 | 2023-06-03 12:55 | 2023-06-30 23:59 | 2023-06-15 09:39 | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 83 | 9 | 2023-06-03 21:24 | 2023-06-30 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 121 | 31 | 2023-06-03 21:49 | 2023-06-30 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 173 | 29 | 2023-06-04 19:52 | 2023-12-31 23:59 |  | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 65 | 10 | 2023-06-04 21:01 | 2023-06-15 12:00 |  | Other
BRISCOE | BRISCOE_WIND | Wind | Forced Extension | 150 | 0 | 150 | 2023-06-05 00:31 | 2023-06-20 20:00 |  | Unknown
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-06-05 09:05 | 2023-09-29 17:00 |  | Other
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 77 | 24 | 2023-06-05 10:20 | 2023-06-30 17:00 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 94 | 15 | 2023-06-05 13:56 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 74 | 35 | 2023-06-05 13:56 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 80 | 65 | 15 | 2023-06-05 14:36 | 2023-06-16 23:59 | 2023-06-16 09:46 | Lack of Steam Load Availability
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 498 | 4 | 2023-06-05 17:21 | 2023-06-19 17:20 | 2023-06-16 06:24 | Other
TGCCS | TGCCS_UNIT4 | Natural Gas | Forced | 402 | 0 | 402 | 2023-06-05 21:00 | 2023-06-20 23:59 |  | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 117 | 10 | 2023-06-06 01:53 | 2023-06-14 19:45 | 2023-06-14 18:18 | Other
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 98 | 22 | 2023-06-06 07:28 | 2023-06-20 18:00 |  | Turbine/Generator Vibration/Repair
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 72 | 18 | 2023-06-06 08:44 | 2023-06-15 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 104 | 22 | 2023-06-06 08:45 | 2023-06-15 23:59 |  | Other
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2023-06-06 10:39 | 2023-06-30 23:55 |  | Other
SPNCER | SPNCER_SPNCE_5 | Natural Gas | Forced Extension | 61 | 0 | 61 | 2023-06-06 11:34 | 2023-06-23 22:00 |  | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Forced | 77 | 0 | 77 | 2023-06-06 18:01 | 2023-07-14 18:00 |  | Overhaul
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 158 | 11 | 2023-06-06 20:40 | 2023-07-06 18:00 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 154 | 15 | 2023-06-06 20:40 | 2023-07-06 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 146 | 4 | 2023-06-06 20:40 | 2023-07-06 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 136 | 14 | 2023-06-06 20:40 | 2023-07-06 18:00 |  | Turbine/Generator Vibration/Repair
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 630 | 25 | 2023-06-07 08:24 | 2023-06-18 10:00 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 100 | 15 | 2023-06-07 08:28 | 2023-06-14 23:59 | 2023-06-14 23:59 | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced Extension | 50 | 48 | 2 | 2023-06-07 10:19 | 2023-06-26 23:00 | 2023-06-16 15:55 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 95 | 31 | 2023-06-07 11:28 | 2023-07-01 12:00 | 2023-06-16 10:23 | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 370 | 21 | 2023-06-07 12:37 | 2023-06-30 23:59 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 756 | 80 | 2023-06-07 15:40 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 803 | 21 | 2023-06-07 18:34 | 2023-06-30 23:59 |  | Feedwater Problems/Repairs
OWF | OWF_OWF | Wind | Forced | 55 | 10 | 45 | 2023-06-07 21:50 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
PH2 | PH2_UNIT1 | Wind | Forced | 94 | 80 | 14 | 2023-06-08 01:50 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
PH2 | PH2_UNIT2 | Wind | Forced | 97 | 82 | 15 | 2023-06-08 01:50 | 2023-06-30 23:59 |  | Turbine/Generator Vibration/Repair
NEBULA | NEBULA_UNIT1 | Solar | Forced Extension | 138 | 0 | 138 | 2023-06-08 03:29 | 2023-06-22 16:00 | 2023-06-16 01:28 | Other
TXCTY | TXCTY_ST | Natural Gas | Forced | 125 | 70 | 55 | 2023-06-08 09:30 | 2023-06-16 23:59 | 2023-06-16 23:56 | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 190 | 11 | 2023-06-08 10:40 | 2023-06-30 23:59 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 128 | 16 | 2023-06-08 17:30 | 2023-06-21 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 129 | 15 | 2023-06-08 17:30 | 2023-06-21 18:00 |  | Other
WILDWIND | WILDWIND_UNIT5 | Wind | Forced | 53 | 48 | 5 | 2023-06-09 11:16 | 2023-12-31 23:59 |  | Other
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced | 51 | 42 | 9 | 2023-06-09 12:15 | 2023-07-07 16:00 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 80 | 0 | 80 | 2023-06-09 13:10 | 2023-06-18 23:59 |  | Lack of Steam Load Availability
JUNO | JUNO_UNIT1 | Solar | Forced | 162 | 159 | 3 | 2023-06-09 13:14 | 2023-06-30 18:00 |  | Other
GUADG | GUADG_GAS1 | Natural Gas | Forced Extension | 143 | 128 | 15 | 2023-06-09 15:29 | 2023-08-31 23:59 |  | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 87 | 33 | 2023-06-09 16:20 | 2023-06-19 18:00 |  | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 135 | 14 | 2023-06-09 16:50 | 2023-06-30 23:59 |  | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 815 | 40 | 2023-06-10 00:01 | 2023-06-14 06:00 | 2023-06-14 03:00 | Fuel Problems/Repairs
GOAT | GOAT_GOATWIN2 | Wind | Forced Extension | 70 | 53 | 17 | 2023-06-10 01:56 | 2023-06-30 23:59 | 2023-06-14 07:55 | Other
OLINGR | OLINGR_OLING_2 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2023-06-10 09:04 | 2023-06-16 23:59 | 2023-06-16 13:05 | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 47 | 120 | 2023-06-10 13:30 | 2023-06-17 17:00 | 2023-06-15 12:00 | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 149 | 1 | 2023-06-10 16:20 | 2023-06-30 23:59 | 2023-06-15 22:26 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 140 | 23 | 2023-06-10 17:48 | 2023-06-30 18:00 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 775 | 30 | 2023-06-10 19:52 | 2023-06-19 06:52 | 2023-06-14 21:00 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 136 | 25 | 2023-06-11 | 2023-06-19 23:59 |  | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 139 | 22 | 2023-06-11 01:11 | 2023-06-19 18:00 |  | Turbine/Generator Vibration/Repair
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 157 | 23 | 2023-06-11 08:24 | 2023-12-04 23:58 | 2023-06-16 08:06 | Other
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced Extension | 75 | 0 | 75 | 2023-06-11 11:09 | 2023-06-21 19:00 |  | Control system issues
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 95 | 31 | 2023-06-11 14:13 | 2023-07-31 12:00 | 2023-06-16 10:23 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 62 | 40 | 2023-06-11 18:16 | 2023-06-19 20:00 | 2023-06-14 17:53 | Unknown
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 0 | 392 | 2023-06-11 19:10 | 2023-07-11 23:59 |  | Lightening
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 158 | 15 | 2023-06-12 04:00 | 2023-06-16 22:00 | 2023-06-14 12:38 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 158 | 15 | 2023-06-12 04:00 | 2023-06-18 22:00 | 2023-06-14 12:37 | Other
JADE_SLR | JADE_SLR_UNIT2 | Solar | Forced Extension | 162 | 88 | 74 | 2023-06-12 07:00 | 2023-06-21 07:00 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 65 | 0 | 65 | 2023-06-12 08:00 | 2023-06-17 12:00 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 81 | 20 | 2023-06-12 08:54 | 2023-06-16 18:00 | 2023-06-16 20:00 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 173 | 13 | 2023-06-12 09:00 | 2023-06-30 23:59 | 2023-06-15 11:58 | Other
STEAM1A | STEAM1A_STEAM_1 | Natural Gas | Forced | 18 | 0 | 18 | 2023-06-12 09:37 | 2023-06-23 23:59 | 2023-06-14 17:57 | Tube Leak
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 143 | 21 | 2023-06-12 10:00 | 2023-06-30 23:59 | 2023-06-14 10:28 | Other
EUNICE | EUNICE_BES1 | Not Available | Forced | 40 | 35 | 5 | 2023-06-12 10:30 | 2023-06-14 09:00 | 2023-06-14 09:00 | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced | 126 | 0 | 126 | 2023-06-12 10:30 | 2023-06-30 23:59 |  | Other
REDFISH | REDFISH_MV1B | Wind | Forced Extension | 104 | 80 | 24 | 2023-06-12 12:38 | 2023-06-16 20:00 | 2023-06-16 17:36 | Other
IMPACT | IMPACT_UNIT1 | Solar | Forced | 199 | 173 | 26 | 2023-06-12 12:40 | 2023-06-15 23:59 |  | Other
DAN | DAN_UNIT1 | Solar | Maintenance Level 1 | 300 | 0 | 300 | 2023-06-12 13:00 | 2023-06-15 13:00 | 2023-06-14 07:00 | Other
NCARBIDE | NCARBIDE_NCARBIG5 | Blast-Furnace Gas | Maintenance Level 1 | 13 | 0 | 13 | 2023-06-12 13:00 | 2023-06-19 17:00 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2023-06-12 13:56 | 2023-06-17 23:59 | 2023-06-16 18:06 | Tube Leak
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 440 | 62 | 2023-06-12 18:42 | 2023-06-16 07:00 | 2023-06-14 13:29 | Other
CALHOUN | CALHOUN_UNIT1 | Natural Gas | Forced Extension | 44 | 0 | 44 | 2023-06-13 02:00 | 2023-06-20 23:59 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 115 | 50 | 2023-06-13 03:54 | 2023-06-30 18:00 | 2023-06-15 10:58 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 58 | 42 | 2023-06-13 08:28 | 2023-06-19 18:00 | 2023-06-14 17:49 | Turbine/Generator Vibration/Repair
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 107 | 20 | 2023-06-13 09:00 | 2023-06-19 08:39 | 2023-06-16 15:01 | Turbine/Generator Vibration/Repair
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Forced | 126 | 0 | 126 | 2023-06-13 09:10 | 2023-06-16 08:00 | 2023-06-16 08:00 | Other
HLSES | HLSES_UNIT5 | Natural Gas | Unavoidable Extension | 435 | 0 | 435 | 2023-06-13 13:12 | 2023-06-16 07:00 | 2023-06-16 04:20 | Tube Leak
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 63 | 8 | 2023-06-13 13:30 | 2023-06-17 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 30 | 3 | 2023-06-13 13:30 | 2023-06-17 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced Extension | 22 | 18 | 4 | 2023-06-13 13:30 | 2023-06-17 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced Extension | 77 | 72 | 5 | 2023-06-13 13:30 | 2023-06-17 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 185 | 17 | 2023-06-13 13:30 | 2023-06-17 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 15 | 7 | 2023-06-13 13:30 | 2023-06-17 12:00 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 375 | 127 | 2023-06-13 14:15 | 2023-06-16 07:00 | 2023-06-14 13:29 | Other
VISION | VISION_UNIT1 | Solar | Forced Extension | 127 | 50 | 77 | 2023-06-13 15:01 | 2023-06-17 12:00 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 680 | 65 | 2023-06-13 15:30 | 2023-06-30 23:59 |  | Inlet Air Problems/Repairs
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 392 | 20 | 2023-06-13 16:00 | 2023-06-30 23:59 |  | Other
BTM | BTM_UNIT6 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-06-13 16:02 | 2023-06-14 12:00 | 2023-06-14 10:00 | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced | 48 | 24 | 24 | 2023-06-13 17:09 | 2023-06-14 23:59 | 2023-06-14 23:59 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 135 | 13 | 2023-06-13 17:52 | 2023-06-30 18:00 | 2023-06-14 19:30 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced Extension | 222 | 209 | 13 | 2023-06-13 17:53 | 2023-06-14 18:00 | 2023-06-14 09:07 | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 82 | 64 | 2023-06-13 18:00 | 2023-06-15 08:00 | 2023-06-15 08:00 | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced | 50 | 45 | 5 | 2023-06-13 18:01 | 2023-06-16 23:59 | 2023-06-16 01:59 | Other
CALAVERS | CALAVERS_JKS1 | Subbituminous Coal | Forced Extension | 560 | 0 | 560 | 2023-06-13 18:03 | 2023-06-23 23:59 |  | Unknown
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced | 182 | 179 | 3 | 2023-06-13 18:17 | 2023-06-29 23:59 | 2023-06-15 21:42 | Other
NOBLESLR | NOBLESLR_SOLAR1 | Solar | Forced Extension | 147 | 145 | 2 | 2023-06-13 18:45 | 2023-06-16 12:00 | 2023-06-16 12:00 | Other
SPTX12B | SPTX12B_BES1 | Not Available | Forced | 25 | 0 | 25 | 2023-06-13 19:55 | 2023-06-14 23:59 | 2023-06-14 08:45 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 825 | 30 | 2023-06-13 19:57 | 2023-06-14 20:00 | 2023-06-14 06:30 | Other
NF_BRP | NF_BRP_BES1 | Not Available | Maintenance Level 2 | 101 | 0 | 101 | 2023-06-13 20:01 | 2023-06-14 23:59 |  | Other
OCI_ALM1 | OCI_ALM1_UNIT1 | Solar | Forced | 39 | 0 | 39 | 2023-06-13 20:15 | 2023-06-14 06:00 | 2023-06-14 00:11 | Other
ETCCS | ETCCS_CT1 | Natural Gas | Forced | 204 | 193 | 11 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 165 | 142 | 23 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 157 | 137 | 20 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 157 | 134 | 23 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 165 | 142 | 23 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 157 | 134 | 23 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 157 | 134 | 23 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced | 153 | 132 | 21 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced | 145 | 126 | 19 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 145 | 126 | 19 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 153 | 132 | 21 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced | 167 | 148 | 19 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced | 158 | 140 | 18 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 241 | 174 | 67 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced | 241 | 176 | 65 | 2023-06-13 21:18 | 2023-06-14 23:59 | 2023-06-14 23:16 | Other
LILY | LILY_SOLAR1 | Solar | Maintenance Level 2 | 148 | 94 | 54 | 2023-06-13 21:19 | 2023-06-14 06:00 | 2023-06-14 07:38 | Other
HOVEY | HOVEY_UNIT1 | Solar | Maintenance Level 1 | 22 | 0 | 22 | 2023-06-13 21:30 | 2023-06-14 05:00 | 2023-06-14 06:00 | Other
HOVEY | HOVEY_UNIT2 | Solar | Maintenance Level 1 | 7 | 0 | 7 | 2023-06-13 21:30 | 2023-06-14 05:00 | 2023-06-14 06:00 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 54 | 41 | 2023-06-13 22:22 | 2023-06-16 22:00 | 2023-06-14 20:42 | Other
DUKE | DUKE_DUKE_GT2 | Natural Gas | Unavoidable Extension | 149 | 0 | 149 | 2023-06-13 23:15 | 2023-06-14 04:00 | 2023-06-14 03:11 | Fuel Problems/Repairs
DUKE | DUKE_DUKE_ST1 | Natural Gas | Unavoidable Extension | 168 | 80 | 88 | 2023-06-13 23:15 | 2023-06-14 04:00 | 2023-06-14 03:11 | Fuel Problems/Repairs
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 82 | 11 | 2023-06-13 23:37 | 2023-06-30 23:59 |  | Other
CRWN_SLR | CRWN_SLR_UNIT1 | Solar | Forced | 100 | 100 | 0 | 2023-06-14 00:01 | 2023-06-27 | 2023-06-14 00:02 | Other
CRWN_SLR | CRWN_SLR_UNIT1 | Solar | Forced | 100 | 0 | 100 | 2023-06-14 00:01 | 2023-06-27 | 2023-06-14 00:02 | Other
FREC | FREC_GT4 | Natural Gas | Maintenance Level 2 | 145 | 0 | 145 | 2023-06-14 00:02 | 2023-06-14 04:00 | 2023-06-14 02:33 | Exhaust Problems/Repairs
FREC | FREC_ST6 | Natural Gas | Maintenance Level 2 | 168 | 85 | 83 | 2023-06-14 00:02 | 2023-06-14 04:00 | 2023-06-14 02:33 | Exhaust Problems/Repairs
CCEC | CCEC_GT2 | Natural Gas | Maintenance Level 1 | 125 | 0 | 125 | 2023-06-14 00:03 | 2023-06-14 04:00 | 2023-06-14 02:26 | Other
CCEC | CCEC_ST1 | Natural Gas | Maintenance Level 1 | 137 | 30 | 107 | 2023-06-14 00:03 | 2023-06-14 04:00 | 2023-06-14 02:26 | Other
PSG | PSG_PSG_GT3 | Natural Gas | Maintenance Level 2 | 164 | 0 | 164 | 2023-06-14 00:03 | 2023-06-14 08:00 | 2023-06-14 06:00 | Inlet Air Problems/Repairs
PSG | PSG_PSG_ST2 | Natural Gas | Maintenance Level 2 | 170 | 85 | 85 | 2023-06-14 00:03 | 2023-06-14 08:00 | 2023-06-14 06:00 | Inlet Air Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 780 | 75 | 2023-06-14 00:12 | 2023-06-14 04:12 | 2023-06-14 03:52 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 780 | 75 | 2023-06-14 00:15 | 2023-06-14 15:00 | 2023-06-14 14:12 | Other
SPLAIN1 | SPLAIN1_WIND1 | Wind | Forced | 102 | 0 | 102 | 2023-06-14 00:17 | 2023-06-21 18:00 | 2023-06-14 04:25 | Other
SPLAIN1 | SPLAIN1_WIND2 | Wind | Forced | 98 | 0 | 98 | 2023-06-14 00:17 | 2023-06-21 18:00 | 2023-06-14 04:25 | Other
LV1 | LV1_LV1A | Wind | Forced | 200 | 0 | 200 | 2023-06-14 02:06 | 2023-06-14 23:59 | 2023-06-14 13:14 | Unknown
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 117 | 14 | 2023-06-14 02:18 | 2023-06-21 18:00 |  | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced | 149 | 138 | 11 | 2023-06-14 02:18 | 2023-06-20 18:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 100 | 51 | 2023-06-14 02:18 | 2023-06-20 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 117 | 34 | 2023-06-14 02:18 | 2023-06-20 18:00 |  | Other
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced | 210 | 0 | 210 | 2023-06-14 03:16 | 2023-06-14 18:00 | 2023-06-14 07:43 | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced Extension | 165 | 0 | 165 | 2023-06-14 03:41 | 2023-06-19 18:30 |  | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 0 | 165 | 2023-06-14 04:04 | 2023-06-30 18:30 | 2023-06-14 04:05 | Lack of Steam Load Availability
WES | WES_UNIT2 | Solar | Maintenance Level 2 | 102 | 54 | 48 | 2023-06-14 04:15 | 2023-06-14 08:00 | 2023-06-14 06:55 | Other
SPLAIN1 | SPLAIN1_WIND1 | Wind | Forced | 102 | 50 | 52 | 2023-06-14 04:25 | 2023-06-21 18:00 |  | Other
SPLAIN1 | SPLAIN1_WIND2 | Wind | Forced | 98 | 72 | 26 | 2023-06-14 04:25 | 2023-06-21 18:00 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 780 | 75 | 2023-06-14 05:09 | 2023-06-14 23:59 | 2023-06-14 21:02 | Fuel Limitation/Lack of Fuel Availability
TAV | TAV_UNIT2 | Solar | Unavoidable Extension | 96 | 14 | 82 | 2023-06-14 06:00 | 2023-06-15 06:00 | 2023-06-15 06:00 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 819 | 36 | 2023-06-14 06:02 | 2023-06-15 08:00 | 2023-06-14 21:05 | Control system issues
ANDMDSLR | ANDMDSLR_UNIT1 | Solar | Maintenance Level 1 | 158 | 150 | 8 | 2023-06-14 07:00 | 2023-06-14 20:30 | 2023-06-14 20:30 | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Forced Extension | 240 | 51 | 189 | 2023-06-14 07:00 | 2023-06-17 17:00 |  | Transformer Repair/Replace
FLOWERII | FLOWERII_BESS1 | Not Available | Maintenance Level 1 | 100 | 0 | 100 | 2023-06-14 07:01 | 2023-06-14 13:59 | 2023-06-14 12:29 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 200 | 22 | 2023-06-14 07:30 | 2023-06-14 18:00 | 2023-06-14 18:12 | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 75 | 78 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 48 | 99 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
GOAT | GOAT_GOATWIN2 | Wind | Forced | 70 | 31 | 39 | 2023-06-14 07:56 | 2023-06-30 23:59 | 2023-06-14 13:59 | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Maintenance Level 2 | 240 | 56 | 184 | 2023-06-14 08:00 | 2023-06-14 19:00 | 2023-06-14 18:34 | Other
MARBFA | MARBFA_MARBFAG2 | Water | Maintenance Level 2 | 20 | 0 | 20 | 2023-06-14 08:00 | 2023-06-14 11:00 | 2023-06-14 09:40 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Maintenance Level 3 | 182 | 0 | 182 | 2023-06-14 08:02 | 2023-06-16 20:00 | 2023-06-16 08:28 | Transformer Repair/Replace
EGROVESL | EGROVESL_UNIT1 | Solar | Forced | 108 | 104 | 4 | 2023-06-14 08:04 | 2023-06-15 20:59 | 2023-06-14 10:36 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced | 127 | 106 | 21 | 2023-06-14 08:39 | 2023-06-16 08:39 | 2023-06-16 06:59 | Turbine/Generator Vibration/Repair
PANDA_S | PANDA_S_SHER1CT1 | Natural Gas | Forced Extension | 199 | 0 | 199 | 2023-06-14 10:00 | 2023-06-15 23:59 | 2023-06-14 18:06 | Other
PANDA_S | PANDA_S_SHER1CT2 | Natural Gas | Forced Extension | 199 | 0 | 199 | 2023-06-14 10:00 | 2023-06-18 15:00 |  | Other
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Forced Extension | 287 | 0 | 287 | 2023-06-14 10:00 | 2023-06-14 19:00 | 2023-06-14 18:06 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 151 | 13 | 2023-06-14 10:28 | 2023-06-30 23:59 | 2023-06-16 06:44 | Other
GALLOWAY | GALLOWAY_SOLAR1 | Solar | Forced | 250 | 0 | 250 | 2023-06-14 10:55 | 2023-06-14 20:00 | 2023-06-14 19:49 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 91 | 35 | 2023-06-14 11:40 | 2023-06-15 16:00 | 2023-06-15 14:00 | Other
BRAUNIG | BRAUNIG_VHB6CT8 | Natural Gas | Forced | 47 | 0 | 47 | 2023-06-14 12:00 | 2023-06-14 13:00 | 2023-06-14 12:01 | Other
LHSES | LHSES_UNIT2A | Natural Gas | Forced | 523 | 497 | 26 | 2023-06-14 12:08 | 2023-09-30 23:58 |  | Other
TNSKA | TNSKA_GT2 | Natural Gas | Forced | 76 | 0 | 76 | 2023-06-14 12:29 | 2023-06-16 23:59 | 2023-06-14 18:00 | Other
TNSKA | TNSKA_STG | Natural Gas | Forced | 87 | 44 | 43 | 2023-06-14 12:29 | 2023-06-16 23:59 | 2023-06-14 18:00 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced Extension | 173 | 163 | 10 | 2023-06-14 12:37 | 2023-06-17 07:00 |  | Other
DIB | DIB_DIB_G3 | Purchased Steam | Forced | 75 | 0 | 75 | 2023-06-14 12:38 | 2023-06-14 23:59 | 2023-06-14 12:54 | Unknown
DIB | DIB_DIB_G4 | Natural Gas | Forced | 75 | 0 | 75 | 2023-06-14 12:53 | 2023-06-14 23:59 | 2023-06-14 22:28 | Unknown
JADE_SLR | JADE_SLR_UNIT1 | Solar | Forced Extension | 158 | 130 | 28 | 2023-06-14 13:00 | 2023-06-19 17:30 |  | Other
JAY | JAY_UNIT2 | Solar | Forced Extension | 172 | 90 | 82 | 2023-06-14 13:00 | 2023-06-23 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 466 | 61 | 2023-06-14 13:12 | 2023-06-20 23:59 |  | Feedwater Problems/Repairs
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 490 | 12 | 2023-06-14 13:29 | 2023-06-23 06:59 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced | 125 | 70 | 55 | 2023-06-14 13:34 | 2023-06-16 18:00 | 2023-06-14 16:41 | Other
GOAT | GOAT_GOATWIN2 | Wind | Forced | 70 | 50 | 20 | 2023-06-14 14:00 | 2023-06-23 23:59 |  | Turbine/Generator Vibration/Repair
BRAUNIG | BRAUNIG_VHB6CT8 | Natural Gas | Forced | 47 | 0 | 47 | 2023-06-14 15:39 | 2023-06-14 23:59 | 2023-06-14 16:37 | Other
AZ | AZ_AZ_G3 | Natural Gas | Forced Extension | 36 | 0 | 36 | 2023-06-14 15:53 | 2023-06-16 17:00 | 2023-06-16 17:00 | Other
QALSW | QALSW_GT2 | Natural Gas | Forced | 74 | 0 | 74 | 2023-06-14 16:00 | 2023-06-18 23:59 | 2023-06-14 18:47 | Tube Leak
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 800 | 0 | 2023-06-14 16:17 | 2023-06-14 23:59 | 2023-06-14 20:58 | Emissions
SAMSON_1 | SAMSON_1_G2 | Solar | Forced | 125 | 100 | 25 | 2023-06-14 16:41 | 2023-06-16 18:00 | 2023-06-15 23:48 | Other
DEC | DEC_AGR_B | Natural Gas | Forced | 56 | 38 | 18 | 2023-06-14 17:21 | 2023-06-14 23:59 | 2023-06-14 17:26 | Unknown
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 32 | 68 | 2023-06-14 17:50 | 2023-06-16 20:00 | 2023-06-16 09:41 | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 40 | 62 | 2023-06-14 17:54 | 2023-06-16 15:54 | 2023-06-15 13:18 | Turbine/Generator Vibration/Repair
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 204 | 18 | 2023-06-14 18:12 | 2023-06-15 18:00 | 2023-06-15 13:47 | Other
CHAMON | CHAMON_CTG_0101 | Natural Gas | Forced Extension | 44 | 38 | 6 | 2023-06-14 18:45 | 2023-06-14 23:59 | 2023-06-14 23:59 | Other
QALSW | QALSW_GT2 | Natural Gas | Forced | 74 | 0 | 74 | 2023-06-14 18:46 | 2023-06-18 23:59 |  | Tube Leak
QALSW | QALSW_STG1 | Natural Gas | Forced | 98 | 49 | 49 | 2023-06-14 18:46 | 2023-06-18 23:59 |  | Tube Leak
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 371 | 378 | 2023-06-14 18:55 | 2023-07-15 23:59 |  | Inlet Air Problems/Repairs
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 793 | 31 | 2023-06-14 18:55 | 2023-06-15 23:59 | 2023-06-14 20:48 | Feedwater Problems/Repairs
GALLOWAY | GALLOWAY_SOLAR1 | Solar | Maintenance Level 1 | 250 | 0 | 250 | 2023-06-14 20:00 | 2023-06-15 06:00 | 2023-06-15 02:57 | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 629 | 34 | 2023-06-14 20:07 | 2023-06-17 23:59 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced Extension | 95 | 63 | 32 | 2023-06-14 20:42 | 2023-06-23 22:00 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 783 | 41 | 2023-06-14 20:48 | 2023-06-15 23:59 | 2023-06-14 21:35 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 750 | 55 | 2023-06-14 20:59 | 2023-06-19 06:52 | 2023-06-15 12:08 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 820 | 35 | 2023-06-14 21:02 | 2023-06-14 23:59 | 2023-06-14 23:25 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 825 | 30 | 2023-06-14 21:05 | 2023-06-15 08:00 | 2023-06-14 23:26 | Control system issues
BASTEN | BASTEN_GTG1100 | Natural Gas | Forced | 171 | 0 | 171 | 2023-06-14 21:32 | 2023-06-15 | 2023-06-15 02:00 | Other
BASTEN | BASTEN_GTG2100 | Natural Gas | Forced | 171 | 0 | 171 | 2023-06-14 21:32 | 2023-06-15 | 2023-06-15 02:00 | Other
BASTEN | BASTEN_ST0100 | Natural Gas | Forced | 233 | 0 | 233 | 2023-06-14 21:32 | 2023-06-15 | 2023-06-15 02:00 | Other
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 773 | 51 | 2023-06-14 21:35 | 2023-06-15 23:59 | 2023-06-15 06:38 | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced | 169 | 95 | 74 | 2023-06-14 21:35 | 2023-06-15 23:59 | 2023-06-15 06:20 | Other
LILY | LILY_SOLAR1 | Solar | Maintenance Level 2 | 148 | 94 | 54 | 2023-06-14 22:12 | 2023-06-15 06:00 | 2023-06-15 05:20 | Other
LHORN_N | LHORN_N_UNIT1 | Wind | Forced | 100 | 92 | 8 | 2023-06-14 22:20 | 2023-06-15 12:00 | 2023-06-15 11:36 | Turbine/Generator Vibration/Repair
LHORN_N | LHORN_N_UNIT2 | Wind | Forced | 100 | 90 | 10 | 2023-06-14 22:20 | 2023-06-15 12:00 | 2023-06-15 11:36 | Turbine/Generator Vibration/Repair
TGW | TGW_T1 | Wind | Forced | 142 | 98 | 44 | 2023-06-14 22:39 | 2023-06-15 17:00 | 2023-06-14 23:48 | Other
CBEC | CBEC_GT12 | Natural Gas | Forced Extension | 39 | 0 | 39 | 2023-06-14 23:00 | 2023-06-19 17:00 |  | Other
ETCCS | ETCCS_CT1 | Natural Gas | Forced Extension | 204 | 186 | 18 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 165 | 142 | 23 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 157 | 134 | 23 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 157 | 134 | 23 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 165 | 138 | 27 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 157 | 132 | 25 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 157 | 132 | 25 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced Extension | 153 | 132 | 21 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
LPCCS | LPCCS_CT12 | Natural Gas | Forced Extension | 145 | 124 | 21 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced Extension | 145 | 124 | 21 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced Extension | 153 | 130 | 23 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
OECCS | OECCS_CT11 | Natural Gas | Forced Extension | 167 | 148 | 19 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
OECCS | OECCS_CT12 | Natural Gas | Forced Extension | 158 | 140 | 18 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced Extension | 241 | 172 | 69 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced Extension | 241 | 170 | 71 | 2023-06-14 23:13 | 2023-06-16 23:59 | 2023-06-16 00:04 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 810 | 45 | 2023-06-14 23:24 | 2023-06-15 23:59 | 2023-06-15 08:28 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 810 | 45 | 2023-06-14 23:26 | 2023-06-15 08:00 | 2023-06-15 05:14 | Control system issues
2023-06-17 |  |  |  | 2 |  |  |  | 5:03