## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-07-03 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Jun 30, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
REROCK | REROCK_UNIT1 | Solar | Forced Extension | 79 | 72 | 7 | 2022-07-08 12:46 | 2023-07-07 23:59 | 2023-06-30 14:24 | Other
REROCK | REROCK_UNIT2 | Solar | Forced Extension | 79 | 76 | 3 | 2022-07-08 12:46 | 2023-07-07 23:59 | 2023-06-30 14:24 | Other
PLN | PLN_UNIT2 | Solar | Unavoidable Extension | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-07-15 15:01 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-07-15 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-08-01 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-08-15 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-07-31 23:59 |  | Exhaust Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-08-31 23:59 |  | Other
CALLAHAN | CALLAHAN_WND1 | Wind | Unavoidable Extension | 123 | 0 | 123 | 2022-12-05 06:53 | 2023-08-31 23:59 |  | Other
H_HOLLOW | H_HOLLOW_WND1 | Wind | Unavoidable Extension | 230 | 0 | 230 | 2022-12-05 08:14 | 2023-08-31 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-07-01 10:00 | 2023-07-01 09:54 | Other
HI_LONE | HI_LONE_WGR1C | Wind | Forced Extension | 25 | 0 | 25 | 2023-01-26 14:11 | 2023-07-31 18:00 | 2023-07-02 19:18 | Transformer Repair/Replace
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced Extension | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-08-31 22:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 96 | 0 | 96 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-09-30 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 512 | 15 | 2023-02-20 07:00 | 2023-07-31 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced Extension | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-12-21 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-07-31 16:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-08-31 17:00 |  | Other
CVC | CVC_CVC_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-03-18 00:01 | 2023-07-07 16:00 |  | Other
GBY | GBY_GBYGT83 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-03-20 | 2023-07-10 23:59 |  | Combustion Inspection and Repair
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-07-21 17:00 |  | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-07-05 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-07-05 23:59 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-07-21 17:00 |  | Other
CHE | CHE_GT2 | Natural Gas | Forced Extension | 171 | 0 | 171 | 2023-04-01 03:07 | 2023-07-13 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 155 | 16 | 2023-04-04 08:37 | 2023-07-13 23:59 |  | Steam Turbine Limited/Unavailable Due to CT/GT Work
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-07-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-04-21 13:03 | 2023-07-14 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced Extension | 120 | 0 | 120 | 2023-04-21 16:37 | 2023-06-30 23:59 | 2023-06-30 23:59 | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced Extension | 62 | 0 | 62 | 2023-04-21 16:39 | 2023-06-30 23:59 | 2023-06-30 23:59 | Other
DOWGEN | DOWGEN_DOW_G61 | Natural Gas | Unavoidable Extension | 68 | 0 | 68 | 2023-04-25 12:00 | 2023-07-24 17:00 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced Extension | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-08-01 12:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-04-29 | 2023-07-15 23:59 |  | Combustion Inspection and Repair
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 205 | 8 | 2023-05-01 00:01 | 2023-08-31 23:59 | 2023-07-01 16:35 | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-07-31 23:59 |  | Other
VICTORIA | VICTORIA_VICTORG5 | Natural Gas | Unavoidable Extension | 125 | 0 | 125 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
VICTORIA | VICTORIA_VICTORG6 | Natural Gas | Unavoidable Extension | 160 | 0 | 160 | 2023-05-01 00:01 | 2023-07-12 23:59 |  | Overhaul
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-08-31 23:59 |  | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-08-31 23:59 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced Extension | 197 | 194 | 3 | 2023-05-03 23:19 | 2023-08-31 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-12-31 |  | Other
WAP | WAP_WAP_G8 | Bituminous Coal | Unavoidable Extension | 610 | 0 | 610 | 2023-05-08 | 2023-07-15 23:59 |  | Turbine/Generator Vibration/Repair
TURQBESS | TURQBESS_BESS1 | Not Available | Forced Extension | 190 | 190 | 0 | 2023-05-11 | 2023-07-31 23:59 |  | Other
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Unavoidable Extension | 287 | 150 | 137 | 2023-05-14 00:01 | 2023-06-30 23:59 | 2023-06-30 23:49 | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-07-06 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-08-31 23:59 |  | Other
WFTANK | WFTANK_ESS1 | Not Available | Forced Extension | 150 | 150 | 0 | 2023-05-17 | 2023-07-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 118 | 15 | 2023-05-17 01:41 | 2023-08-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 75 | 34 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 105 | 85 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
DAN | DAN_UNIT2 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-11-20 08:00 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-09-11 08:00 |  | Other
VORTEX | VORTEX_BESS1 | Other | Maintenance Level 1 | 122 | 0 | 122 | 2023-05-23 08:25 | 2023-07-30 18:00 |  | Other
DAN | DAN_UNIT1 | Solar | Unavoidable Extension | 300 | 18 | 282 | 2023-05-24 15:01 | 2023-07-07 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 491 | 36 | 2023-05-26 18:16 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 88 | 37 | 2023-05-27 15:00 | 2023-09-01 12:00 |  | Other
STRATEGC | STRATEGC_UNIT1 | Solar | Forced Extension | 135 | 118 | 17 | 2023-05-31 10:35 | 2023-06-30 16:00 | 2023-06-30 16:00 | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 7 | 16 | 2023-05-31 11:30 | 2023-12-28 21:35 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 11 | 72 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-05-31 11:32 | 2023-12-28 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 131 | 40 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 192 | 2 | 2023-06-01 23:51 | 2023-12-01 |  | Other
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Unavoidable Extension | 31 | 0 | 31 | 2023-06-02 10:01 | 2023-07-11 15:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-07-10 15:00 |  | Other
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced Extension | 20 | 0 | 20 | 2023-06-02 11:56 | 2023-07-31 23:59 |  | Other
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 46 | 4 | 2023-06-02 18:11 | 2023-06-30 23:59 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 83 | 9 | 2023-06-03 21:24 | 2023-08-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced Extension | 152 | 121 | 31 | 2023-06-03 21:49 | 2023-08-31 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 173 | 29 | 2023-06-04 19:52 | 2023-12-31 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-06-05 09:05 | 2023-09-29 17:00 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 94 | 15 | 2023-06-05 13:56 | 2023-07-31 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 74 | 35 | 2023-06-05 13:56 | 2023-07-31 23:59 |  | Turbine/Generator Vibration/Repair
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 98 | 22 | 2023-06-06 07:28 | 2023-07-05 18:00 |  | Turbine/Generator Vibration/Repair
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2023-06-06 10:39 | 2023-07-14 23:55 |  | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Forced Extension | 77 | 0 | 77 | 2023-06-06 18:01 | 2023-07-31 17:00 |  | Overhaul
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 146 | 4 | 2023-06-06 20:40 | 2023-07-06 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 136 | 14 | 2023-06-06 20:40 | 2023-07-06 18:00 |  | Turbine/Generator Vibration/Repair
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 756 | 80 | 2023-06-07 15:40 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 803 | 21 | 2023-06-07 18:34 | 2023-07-31 23:59 |  | Feedwater Problems/Repairs
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 128 | 16 | 2023-06-08 17:30 | 2023-07-09 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 129 | 15 | 2023-06-08 17:30 | 2023-07-09 18:00 |  | Other
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced | 51 | 42 | 9 | 2023-06-09 12:15 | 2023-07-07 16:00 |  | Other
JUNO | JUNO_UNIT1 | Solar | Forced Extension | 162 | 159 | 3 | 2023-06-09 13:14 | 2023-07-31 18:00 |  | Other
GUADG | GUADG_GAS1 | Natural Gas | Forced Extension | 143 | 128 | 15 | 2023-06-09 15:29 | 2023-08-31 23:59 |  | Other
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 0 | 392 | 2023-06-11 19:10 | 2023-07-31 23:59 |  | Lightening
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced Extension | 126 | 0 | 126 | 2023-06-12 10:30 | 2023-07-31 23:59 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 680 | 65 | 2023-06-13 15:30 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 392 | 20 | 2023-06-13 16:00 | 2023-09-30 23:59 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 75 | 78 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 48 | 99 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 466 | 61 | 2023-06-14 13:12 | 2023-07-31 23:59 |  | Feedwater Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 371 | 378 | 2023-06-14 18:55 | 2023-07-15 23:59 |  | Inlet Air Problems/Repairs
MYR | MYR_UNIT2 | Solar | Forced Extension | 146 | 115 | 31 | 2023-06-15 09:00 | 2023-07-08 17:00 |  | Other
MIL | MIL_MILLERG2 | Natural Gas | Forced Extension | 118 | 95 | 23 | 2023-06-15 09:08 | 2023-07-08 23:59 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 30 | 120 | 2023-06-15 09:19 | 2023-09-29 17:00 |  | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced Extension | 203 | 150 | 53 | 2023-06-15 09:40 | 2023-07-14 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 240 | 235 | 5 | 2023-06-15 14:59 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 196 | 166 | 30 | 2023-06-15 15:45 | 2023-07-31 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 128 | 22 | 2023-06-15 20:55 | 2023-07-30 23:59 |  | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 80 | 70 | 10 | 2023-06-16 09:46 | 2023-07-31 23:59 |  | Exhaust Problems/Repairs
PHOEBE | PHOEBE_UNIT1 | Solar | Unavoidable Extension | 125 | 104 | 21 | 2023-06-16 10:55 | 2023-07-31 20:00 |  | Other
PHOEBE | PHOEBE_UNIT2 | Solar | Unavoidable Extension | 128 | 104 | 24 | 2023-06-16 10:55 | 2023-07-31 20:00 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 157 | 23 | 2023-06-16 14:30 | 2023-12-04 23:58 |  | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced | 50 | 44 | 6 | 2023-06-16 15:25 | 2023-06-30 | 2023-06-30 | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced | 50 | 44 | 6 | 2023-06-16 15:25 | 2023-06-30 | 2023-06-30 | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 112 | 13 | 2023-06-16 19:05 | 2023-07-05 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 112 | 13 | 2023-06-16 19:05 | 2023-07-05 18:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 83 | 42 | 2023-06-16 19:05 | 2023-07-05 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 82 | 43 | 2023-06-16 19:05 | 2023-07-05 18:00 |  | Other
PRSPERO2 | PRSPERO2_UNIT1 | Solar | Forced | 127 | 117 | 10 | 2023-06-17 14:45 | 2023-06-30 16:00 | 2023-06-30 16:00 | Other
PRSPERO2 | PRSPERO2_UNIT2 | Solar | Forced | 126 | 115 | 11 | 2023-06-17 14:45 | 2023-06-30 16:00 | 2023-06-30 16:00 | Other
MASSENGL | MASSENGL_G6 | Natural Gas | Forced Extension | 18 | 0 | 18 | 2023-06-18 05:41 | 2023-12-31 23:59 |  | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 95 | 15 | 2023-06-18 16:52 | 2023-07-02 23:59 | 2023-07-02 23:59 | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced | 48 | 24 | 24 | 2023-06-19 06:54 | 2023-07-14 23:59 |  | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 52 | 115 | 2023-06-19 08:00 | 2023-06-30 08:00 | 2023-06-30 08:00 | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced | 126 | 111 | 15 | 2023-06-19 12:45 | 2023-06-30 23:59 | 2023-06-30 23:59 | Other
CPSES | CPSES_UNIT1 | Nuclear | Forced Extension | 1205 | 889 | 316 | 2023-06-19 14:24 | 2023-07-02 04:59 | 2023-07-02 05:00 | Feedwater Problems/Repairs
KING_NE | KING_NE_KINGNE | Wind | Forced Extension | 80 | 67 | 13 | 2023-06-19 15:11 | 2023-08-31 23:59 |  | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced Extension | 158 | 118 | 40 | 2023-06-19 18:43 | 2023-07-31 23:59 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced Extension | 138 | 133 | 5 | 2023-06-20 11:56 | 2023-07-07 16:00 |  | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced Extension | 46 | 43 | 3 | 2023-06-20 11:56 | 2023-07-07 16:00 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 360 | 31 | 2023-06-20 14:56 | 2023-06-30 23:59 |  | Other
OLINGR | OLINGR_OLING_2 | Natural Gas | Forced | 107 | 70 | 37 | 2023-06-20 16:51 | 2023-06-30 23:59 |  | Temperature Limit
LHSES | LHSES_UNIT2A | Natural Gas | Forced | 523 | 513 | 10 | 2023-06-21 01:19 | 2023-09-30 23:58 |  | Other
CAL | CAL_CALGT1 | Natural Gas | Forced Extension | 131 | 0 | 131 | 2023-06-21 01:22 | 2023-07-16 23:59 |  | Other
CAL | CAL_CALSTG1 | Natural Gas | Forced Extension | 58 | 0 | 58 | 2023-06-21 01:22 | 2023-07-16 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 55 | 6 | 49 | 2023-06-21 02:42 | 2023-07-31 16:05 |  | Turbine/Generator Vibration/Repair
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 105 | 26 | 2023-06-21 03:11 | 2023-07-03 18:00 |  | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 90 | 30 | 2023-06-21 03:12 | 2023-07-03 18:00 |  | Other
GUNMTN | GUNMTN_G1 | Wind | Forced Extension | 120 | 107 | 13 | 2023-06-21 03:12 | 2023-07-03 18:00 |  | Other
MWEC | MWEC_G1 | Wind | Forced Extension | 150 | 139 | 11 | 2023-06-21 03:12 | 2023-07-03 18:00 |  | Other
TORR | TORR_UNIT2_25 | Wind | Forced Extension | 128 | 93 | 35 | 2023-06-21 08:38 | 2023-08-31 23:59 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 26 | 12 | 2023-06-21 10:42 | 2023-12-31 23:59 |  | Other
BASTEN | BASTEN_ST0100 | Natural Gas | Forced | 233 | 0 | 233 | 2023-06-21 11:46 | 2023-07-01 23:59 | 2023-07-02 01:03 | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Unavoidable Extension | 240 | 155 | 85 | 2023-06-21 12:00 | 2023-07-31 16:00 |  | Other
B_DAVIS | B_DAVIS_B_DAVIG1 | Natural Gas | Forced Extension | 292 | 135 | 157 | 2023-06-21 13:42 | 2023-07-05 23:59 |  | Other
WEC | WEC_WECG1 | Wind | Forced Extension | 57 | 0 | 57 | 2023-06-21 20:07 | 2023-07-31 23:59 |  | Other
MASSENGL | MASSENGL_G7 | Natural Gas | Forced Extension | 18 | 0 | 18 | 2023-06-22 00:01 | 2023-07-31 23:59 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced Extension | 38 | 0 | 38 | 2023-06-22 00:01 | 2023-07-31 23:59 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 63 | 32 | 2023-06-22 14:56 | 2023-07-07 22:00 |  | Other
PALMWIND | PALMWIND_UNIT1 | Wind | Forced Extension | 145 | 135 | 10 | 2023-06-22 15:34 | 2023-07-07 22:00 |  | Other
PYR | PYR_PYRON1 | Wind | Maintenance Level 1 | 122 | 19 | 103 | 2023-06-22 16:00 | 2023-07-07 17:00 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 102 | 63 | 2023-06-23 02:56 | 2023-06-30 18:00 | 2023-06-30 15:00 | Other
AMISTAD | AMISTAD_AMISTAG2 | Water | Forced Extension | 38 | 0 | 38 | 2023-06-23 09:30 | 2023-06-30 18:00 | 2023-06-30 09:22 | Other
MCDLD | MCDLD_FCW1 | Wind | Unavoidable Extension | 124 | 101 | 23 | 2023-06-23 16:00 | 2023-07-07 16:00 | 2023-06-30 14:31 | Other
PENA | PENA_UNIT1 | Wind | Forced Extension | 161 | 144 | 17 | 2023-06-23 16:35 | 2023-07-05 20:00 |  | Turbine/Generator Vibration/Repair
KMCHI | KMCHI_2CT201 | Natural Gas | Forced | 152 | 95 | 57 | 2023-06-23 20:30 | 2023-06-30 17:00 | 2023-06-30 17:00 | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced | 311 | 250 | 61 | 2023-06-23 20:30 | 2023-06-30 17:00 | 2023-06-30 17:00 | Other
NCO | NCO_ESS1 | Not Available | Forced | 50 | 44 | 6 | 2023-06-23 21:09 | 2023-06-30 23:59 | 2023-06-30 20:40 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 133 | 31 | 2023-06-24 06:31 | 2023-07-01 23:59 | 2023-06-30 18:44 | Other
AZ | AZ_AZ_G2 | Natural Gas | Forced Extension | 36 | 0 | 36 | 2023-06-24 11:01 | 2023-07-03 12:00 |  | Other
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced Extension | 75 | 0 | 75 | 2023-06-24 14:02 | 2023-07-07 18:00 |  | Other
LGE | LGE_LGE_GT1 | Natural Gas | Forced Extension | 145 | 138 | 7 | 2023-06-24 16:28 | 2023-07-03 18:00 | 2023-07-01 13:19 | Lack of Steam Load Availability
LGE | LGE_LGE_GT2 | Natural Gas | Forced Extension | 145 | 137 | 8 | 2023-06-24 16:28 | 2023-07-03 18:00 | 2023-07-01 13:19 | Lack of Steam Load Availability
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 171 | 11 | 2023-06-24 17:48 | 2023-08-31 23:59 |  | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced Extension | 93 | 90 | 3 | 2023-06-24 20:47 | 2023-08-31 23:59 | 2023-07-01 05:25 | Other
BTE | BTE_BTE_G4 | Natural Gas | Forced Extension | 145 | 111 | 34 | 2023-06-25 | 2023-07-31 23:59 |  | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced | 149 | 140 | 9 | 2023-06-25 08:45 | 2023-07-02 18:00 |  | Other
CALAVERS | CALAVERS_OWS2 | Natural Gas | Forced Extension | 410 | 0 | 410 | 2023-06-25 16:08 | 2023-07-10 23:59 |  | Turbine/Generator Vibration/Repair
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced | 146 | 30 | 116 | 2023-06-25 18:36 | 2023-07-08 18:36 |  | Temperature Limit
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced Extension | 86 | 63 | 23 | 2023-06-25 18:49 | 2023-08-31 23:59 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 125 | 38 | 2023-06-25 20:00 | 2023-06-30 18:00 | 2023-06-30 15:00 | Unknown
GOAT | GOAT_GOATWIN2 | Wind | Forced | 70 | 40 | 30 | 2023-06-26 08:30 | 2023-06-30 23:59 | 2023-06-30 18:42 | Turbine/Generator Vibration/Repair
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 141 | 10 | 2023-06-26 09:10 | 2023-07-03 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 86 | 12 | 2023-06-26 09:10 | 2023-07-03 14:00 |  | Other
HOVEY | HOVEY_UNIT1 | Solar | Forced | 22 | 21 | 1 | 2023-06-26 11:36 | 2023-06-30 15:00 |  | Other
FRONT_EC | FRONT_EC_CT1 | Natural Gas | Forced | 177 | 157 | 20 | 2023-06-26 11:39 | 2023-06-30 23:59 |  | Other
FRONT_EC | FRONT_EC_CT2 | Natural Gas | Forced | 177 | 157 | 20 | 2023-06-26 11:39 | 2023-06-30 23:59 |  | Other
FRONT_EC | FRONT_EC_ST | Natural Gas | Forced | 185 | 156 | 29 | 2023-06-26 11:39 | 2023-06-30 23:59 |  | Other
TRENT | TRENT_TRENT | Wind | Forced | 38 | 33 | 5 | 2023-06-26 12:00 | 2023-06-30 09:00 | 2023-06-30 10:02 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 166 | 20 | 2023-06-26 13:59 | 2023-07-03 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 118 | 51 | 2023-06-26 15:16 | 2023-07-06 23:59 |  | Temperature Limit
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 85 | 40 | 2023-06-26 16:03 | 2023-09-01 12:00 |  | Other
CALLAHAN | CALLAHAN_WND1 | Wind | Forced Extension | 123 | 109 | 14 | 2023-06-26 17:59 | 2023-08-31 23:59 | 2023-07-01 16:30 | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 144 | 17 | 2023-06-27 | 2023-07-01 23:59 |  | Other
HLSES | HLSES_UNIT3 | Natural Gas | Maintenance Level 1 | 375 | 0 | 375 | 2023-06-27 00:01 | 2023-07-03 23:59 |  | Turbine/Generator Vibration/Repair
MCSES | MCSES_UNIT8 | Natural Gas | Maintenance Level 1 | 568 | 0 | 568 | 2023-06-27 01:30 | 2023-07-07 23:59 | 2023-07-02 18:04 | Turbine/Generator Vibration/Repair
LOSTPI | LOSTPI_LOSTPGT1 | Natural Gas | Forced | 170 | 0 | 170 | 2023-06-27 03:36 | 2023-07-01 | 2023-06-30 02:47 | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced Extension | 103 | 90 | 13 | 2023-06-27 04:42 | 2023-07-31 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 189 | 12 | 2023-06-27 05:02 | 2023-07-30 23:59 | 2023-06-30 09:46 | Other
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 89 | 12 | 2023-06-27 10:05 | 2023-07-03 20:00 | 2023-07-02 23:14 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 132 | 20 | 2023-06-27 10:34 | 2023-07-31 20:00 |  | Other
HOVEY | HOVEY_UNIT1 | Solar | Forced | 22 | 19 | 3 | 2023-06-27 14:27 | 2023-06-30 15:00 |  | Other
E_BLACK | E_BLACK_UNIT_1 | Solar | Forced Extension | 144 | 119 | 25 | 2023-06-27 15:05 | 2023-07-31 23:59 |  | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced Extension | 63 | 63 | 0 | 2023-06-27 15:20 | 2023-07-31 12:00 |  | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced Extension | 63 | 61 | 2 | 2023-06-27 15:20 | 2023-07-31 12:00 |  | Other
LOSTPI | LOSTPI_LOSTPST1 | Natural Gas | Forced | 188 | 79 | 109 | 2023-06-27 16:10 | 2023-07-01 | 2023-06-30 02:47 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 141 | 41 | 2023-06-27 16:56 | 2023-07-31 23:59 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced Extension | 100 | 50 | 50 | 2023-06-27 17:34 | 2023-07-05 18:00 |  | Other
TREB_SLR | TREB_SLR_SOLAR1 | Solar | Forced | 195 | 0 | 195 | 2023-06-27 17:39 | 2023-08-01 12:00 |  | Other
SWEC | SWEC_G1 | Wind | Forced | 120 | 98 | 22 | 2023-06-27 22:19 | 2023-07-02 18:00 | 2023-07-02 17:27 | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 120 | 31 | 2023-06-27 23:25 | 2023-07-05 13:39 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 119 | 32 | 2023-06-27 23:25 | 2023-07-05 13:39 |  | Other
HHGT | HHGT_HHOLLOW3 | Wind | Forced Extension | 224 | 224 | 0 | 2023-06-27 23:39 | 2023-08-31 23:59 | 2023-07-01 16:47 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 122 | 31 | 2023-06-28 | 2023-07-30 18:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 122 | 27 | 2023-06-28 | 2023-07-30 18:00 |  | Other
CAPRIDG4 | CAPRIDG4_CR4 | Wind | Forced Extension | 122 | 108 | 14 | 2023-06-28 01:37 | 2023-08-31 23:59 |  | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced Extension | 115 | 105 | 10 | 2023-06-28 03:15 | 2023-08-31 23:59 | 2023-07-01 16:51 | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 168 | 16 | 2023-06-28 03:16 | 2023-07-31 23:59 | 2023-06-30 16:15 | Other
KING_NW | KING_NW_KINGNW | Wind | Forced Extension | 80 | 50 | 30 | 2023-06-28 06:18 | 2023-08-31 23:59 | 2023-06-30 14:12 | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 65 | 0 | 65 | 2023-06-28 06:30 | 2023-07-05 12:00 |  | Other
SHAFFER | SHAFFER_UNIT1 | Wind | Forced | 226 | 209 | 17 | 2023-06-28 07:02 | 2023-07-03 18:00 |  | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 132 | 17 | 2023-06-28 09:45 | 2023-07-31 20:00 | 2023-06-30 09:52 | Other
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 70 | 31 | 2023-06-28 10:46 | 2023-07-15 17:00 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 67 | 34 | 2023-06-28 10:46 | 2023-07-15 17:00 |  | Turbine/Generator Vibration/Repair
IMPACT | IMPACT_UNIT1 | Solar | Forced | 199 | 182 | 17 | 2023-06-28 12:52 | 2023-07-07 23:59 |  | Other
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced Extension | 50 | 48 | 2 | 2023-06-28 13:00 | 2023-06-30 14:58 | 2023-06-30 14:01 | Other
BVE | BVE_UNIT2 | Natural Gas | Forced Extension | 150 | 147 | 3 | 2023-06-28 13:19 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced | 33 | 26 | 7 | 2023-06-28 14:00 | 2023-06-30 12:00 | 2023-06-30 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced | 22 | 18 | 4 | 2023-06-28 14:00 | 2023-06-30 12:00 | 2023-06-30 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced | 77 | 72 | 5 | 2023-06-28 14:00 | 2023-06-30 12:00 | 2023-06-30 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced | 202 | 189 | 13 | 2023-06-28 14:00 | 2023-06-30 12:00 | 2023-06-30 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced | 22 | 11 | 11 | 2023-06-28 14:00 | 2023-06-30 12:00 | 2023-06-30 12:00 | Other
GALLOWAY | GALLOWAY_SOLAR2 | Solar | Forced | 110 | 20 | 90 | 2023-06-28 14:18 | 2023-07-31 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced | 71 | 67 | 4 | 2023-06-28 14:18 | 2023-06-30 12:00 | 2023-06-30 12:00 | Other
TRSES | TRSES_UNIT6 | Natural Gas | Forced | 235 | 0 | 235 | 2023-06-28 15:28 | 2023-06-30 23:58 | 2023-06-30 14:30 | Turbine/Generator Vibration/Repair
PYR | PYR_PYRON2 | Wind | Maintenance Level 1 | 128 | 103 | 25 | 2023-06-28 15:30 | 2023-07-07 17:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 13 | 117 | 2023-06-28 18:34 | 2023-09-01 12:00 |  | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced Extension | 195 | 155 | 40 | 2023-06-28 18:45 | 2023-07-01 23:59 | 2023-07-01 09:24 | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 116 | 17 | 2023-06-28 20:18 | 2023-07-31 23:59 |  | Other
TTWEC | TTWEC_G1 | Wind | Forced | 170 | 159 | 11 | 2023-06-28 21:34 | 2023-07-05 18:00 |  | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 101 | 26 | 2023-06-28 21:51 | 2023-07-03 18:00 |  | Turbine/Generator Vibration/Repair
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced | 153 | 10 | 143 | 2023-06-28 22:31 | 2023-07-05 12:00 |  | Unknown
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced | 149 | 10 | 139 | 2023-06-28 22:31 | 2023-07-05 12:00 |  | Unknown
AVIATOR | AVIATOR_UNIT2 | Wind | Forced | 146 | 133 | 13 | 2023-06-28 22:55 | 2023-06-30 20:00 | 2023-06-30 14:55 | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 143 | 26 | 2023-06-28 23:18 | 2023-07-04 18:00 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 146 | 23 | 2023-06-28 23:18 | 2023-07-04 18:00 |  | Turbine/Generator Vibration/Repair
PSG | PSG_PSG_GT2 | Natural Gas | Unavoidable Extension | 164 | 155 | 9 | 2023-06-29 00:01 | 2023-06-30 23:59 | 2023-06-30 13:40 | Other
PSG | PSG_PSG_GT3 | Natural Gas | Unavoidable Extension | 164 | 155 | 9 | 2023-06-29 00:01 | 2023-06-30 23:59 | 2023-06-30 13:40 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Maintenance Level 1 | 157 | 0 | 157 | 2023-06-29 00:13 | 2023-06-30 08:59 | 2023-06-30 02:00 | Tube Leak
FRNYPP | FRNYPP_ST20 | Natural Gas | Maintenance Level 1 | 406 | 300 | 106 | 2023-06-29 00:13 | 2023-06-30 08:59 | 2023-06-30 02:00 | Tube Leak
LACY_CRK | LACY_CRK_UNIT1 | Wind | Forced | 135 | 98 | 37 | 2023-06-29 03:23 | 2023-07-30 23:59 | 2023-06-30 16:17 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 134 | 14 | 2023-06-29 05:21 | 2023-07-31 18:00 | 2023-06-30 18:07 | Other
JADE_SLR | JADE_SLR_UNIT2 | Solar | Maintenance Level 1 | 162 | 110 | 52 | 2023-06-29 08:00 | 2023-06-30 17:00 | 2023-06-30 17:00 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 645 | 10 | 2023-06-29 08:06 | 2023-07-03 23:59 |  | Other
RAMBLER | RAMBLER_UNIT1 | Solar | Forced | 200 | 142 | 58 | 2023-06-29 08:07 | 2023-06-30 18:00 |  | Other
CCEC | CCEC_GT1 | Natural Gas | Forced | 125 | 115 | 10 | 2023-06-29 08:36 | 2023-07-31 23:59 |  | Other
DUKE | DUKE_DUKE_GT1 | Natural Gas | Forced | 149 | 142 | 7 | 2023-06-29 08:38 | 2023-07-31 23:59 |  | Other
DUKE | DUKE_DUKE_GT2 | Natural Gas | Forced | 149 | 142 | 7 | 2023-06-29 08:38 | 2023-07-31 23:59 |  | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Forced | 215 | 210 | 5 | 2023-06-29 08:39 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
TAV | TAV_UNIT2 | Solar | Maintenance Level 2 | 96 | 92 | 4 | 2023-06-29 09:00 | 2023-06-30 08:59 | 2023-06-30 08:59 | Other
TAV | TAV_UNIT2 | Solar | Maintenance Level 2 | 96 | 84 | 12 | 2023-06-29 11:00 | 2023-06-30 11:00 | 2023-06-30 08:59 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 60 | 42 | 2023-06-29 12:02 | 2023-07-04 14:02 | 2023-06-30 17:08 | Turbine/Generator Vibration/Repair
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 220 | 12 | 2023-06-29 12:22 | 2023-08-31 23:59 |  | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced | 100 | 90 | 10 | 2023-06-29 12:50 | 2023-06-30 23:59 |  | Unknown
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 805 | 780 | 25 | 2023-06-29 13:19 | 2023-07-14 23:58 | 2023-06-30 06:30 | Other
TNSKA | TNSKA_GT2 | Natural Gas | Forced | 76 | 0 | 76 | 2023-06-29 13:19 | 2023-06-30 14:00 | 2023-06-30 14:00 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced | 153 | 0 | 153 | 2023-06-29 14:10 | 2023-07-06 12:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced | 149 | 0 | 149 | 2023-06-29 14:10 | 2023-07-06 12:00 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 795 | 60 | 2023-06-29 15:24 | 2023-06-30 23:59 | 2023-06-30 13:30 | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 495 | 7 | 2023-06-29 15:30 | 2023-07-14 15:30 | 2023-07-01 09:55 | Other
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Forced | 126 | 20 | 106 | 2023-06-29 15:41 | 2023-07-31 23:59 | 2023-07-01 09:00 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced Extension | 800 | 695 | 105 | 2023-06-29 15:42 | 2023-06-30 02:59 | 2023-06-30 03:00 | Other
SPTX12B | SPTX12B_BES1 | Not Available | Forced | 25 | 20 | 5 | 2023-06-29 15:51 | 2023-07-07 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 128 | 22 | 2023-06-29 15:55 | 2023-07-31 23:59 | 2023-07-01 08:01 | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 761 | 63 | 2023-06-29 16:20 | 2023-06-30 07:00 | 2023-06-30 02:00 | Feedwater Problems/Repairs
STWF | STWF_T1 | Wind | Forced | 98 | 87 | 11 | 2023-06-29 16:25 | 2023-06-30 23:59 | 2023-06-30 23:59 | Other
JADE_SLR | JADE_SLR_UNIT2 | Solar | Maintenance Level 1 | 162 | 130 | 32 | 2023-06-29 17:00 | 2023-07-06 17:00 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 755 | 50 | 2023-06-29 17:12 | 2023-06-29 23:59 | 2023-06-30 | Other
DCSES | DCSES_BES1 | Other | Forced | 67 | 52 | 15 | 2023-06-29 17:30 | 2023-07-01 11:59 | 2023-06-30 07:46 | Other
DCSES | DCSES_BES2 | Other | Forced | 67 | 53 | 14 | 2023-06-29 17:30 | 2023-07-01 11:59 | 2023-06-30 07:46 | Other
DCSES | DCSES_BES3 | Other | Forced | 64 | 41 | 23 | 2023-06-29 17:30 | 2023-07-01 11:59 | 2023-06-30 07:46 | Other
DCSES | DCSES_BES4 | Other | Forced | 64 | 28 | 36 | 2023-06-29 17:30 | 2023-07-01 11:59 | 2023-06-30 07:46 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 795 | 60 | 2023-06-29 18:12 | 2023-06-30 12:00 | 2023-06-30 12:02 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 795 | 60 | 2023-06-29 18:12 | 2023-06-30 11:59 | 2023-06-30 05:17 | Other
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 49 | 3 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 113 | 10 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 93 | 35 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 91 | 11 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
KMCHI | KMCHI_2CT201 | Natural Gas | Forced | 152 | 0 | 152 | 2023-06-29 20:00 | 2023-06-30 08:00 | 2023-06-30 08:00 | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced | 311 | 180 | 131 | 2023-06-29 20:00 | 2023-06-30 08:00 | 2023-06-30 08:00 | Other
NOBLESLR | NOBLESLR_SOLAR1 | Solar | Maintenance Level 2 | 147 | 119 | 28 | 2023-06-29 20:52 | 2023-06-30 05:00 | 2023-06-30 05:14 | Other
NOBLESLR | NOBLESLR_SOLAR2 | Solar | Maintenance Level 2 | 128 | 78 | 50 | 2023-06-29 20:52 | 2023-06-30 05:00 | 2023-06-30 05:14 | Other
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 20 | 145 | 2023-06-29 21:08 | 2023-08-31 18:30 |  | Unknown
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 20 | 65 | 2023-06-29 21:09 | 2023-08-31 16:32 |  | Unknown
BOOTLEG | BOOTLEG_UNIT1 | Solar | Forced | 121 | 105 | 16 | 2023-06-29 21:32 | 2023-07-31 23:59 |  | Other
BASTEN | BASTEN_GTG1100 | Natural Gas | Maintenance Level 1 | 171 | 0 | 171 | 2023-06-29 22:13 | 2023-06-30 22:00 |  | Other
BASTEN | BASTEN_GTG2100 | Natural Gas | Maintenance Level 1 | 171 | 0 | 171 | 2023-06-29 22:13 | 2023-06-30 22:00 |  | Other
TOPAZ | TOPAZ_UNIT9 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-06-29 22:27 | 2023-07-03 18:00 |  | Boroscope
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 154 | 19 | 2023-06-29 23:30 | 2023-07-07 22:00 | 2023-06-30 23:37 | Other
CHALUPA | CHALUPA_UNIT2 | Wind | Forced | 25 | 15 | 10 | 2023-06-29 23:30 | 2023-07-07 22:00 | 2023-06-30 23:37 | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced | 50 | 44 | 6 | 2023-06-30 | 2023-07-15 23:59 |  | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced | 50 | 44 | 6 | 2023-06-30 | 2023-07-15 23:59 |  | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 540 | 115 | 2023-06-30 00:01 | 2023-06-30 16:00 | 2023-06-30 06:26 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 780 | 75 | 2023-06-30 00:03 | 2023-06-30 12:00 | 2023-06-30 12:01 | Other
FERGCC | FERGCC_FERGGT1 | Natural Gas | Maintenance Level 2 | 169 | 0 | 169 | 2023-06-30 00:19 | 2023-06-30 04:00 | 2023-06-30 02:50 | Other
FERGCC | FERGCC_FERGST1 | Natural Gas | Maintenance Level 2 | 182 | 93 | 89 | 2023-06-30 00:19 | 2023-06-30 08:00 | 2023-06-30 06:03 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 760 | 40 | 2023-06-30 01:00 | 2023-06-30 12:00 | 2023-06-30 12:00 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 720 | 85 | 2023-06-30 01:00 | 2023-06-30 12:00 | 2023-06-30 12:00 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 805 | 790 | 15 | 2023-06-30 01:00 | 2023-06-30 12:00 | 2023-06-30 12:00 | Emissions
ETCCS | ETCCS_CT1 | Natural Gas | Forced Extension | 204 | 186 | 18 | 2023-06-30 01:42 | 2023-07-01 23:59 | 2023-07-02 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 165 | 155 | 10 | 2023-06-30 01:42 | 2023-07-01 23:59 | 2023-07-02 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 165 | 155 | 10 | 2023-06-30 01:42 | 2023-07-01 23:59 | 2023-07-02 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced Extension | 241 | 198 | 43 | 2023-06-30 01:42 | 2023-07-01 23:59 | 2023-07-02 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced Extension | 241 | 200 | 41 | 2023-06-30 01:42 | 2023-07-01 23:59 | 2023-07-02 | Other
FERGCC | FERGCC_FERGGT2 | Natural Gas | Maintenance Level 2 | 169 | 0 | 169 | 2023-06-30 04:09 | 2023-06-30 08:00 | 2023-06-30 06:03 | Other
HORSECRK | HORSECRK_UNIT2 | Wind | Forced | 99 | 48 | 51 | 2023-06-30 04:48 | 2023-07-03 18:00 | 2023-06-30 08:00 | Other
HORSECRK | HORSECRK_UNIT2 | Wind | Forced | 99 | 0 | 99 | 2023-06-30 04:48 | 2023-07-03 18:00 | 2023-06-30 08:00 | Other
LOSTPI | LOSTPI_LOSTPGT1 | Natural Gas | Forced Extension | 170 | 0 | 170 | 2023-06-30 05:00 | 2023-07-04 |  | Combustion Inspection and Repair
LOSTPI | LOSTPI_LOSTPST1 | Natural Gas | Forced Extension | 188 | 100 | 88 | 2023-06-30 05:00 | 2023-07-04 |  | Combustion Inspection and Repair
DAG | DAG_UNIT1 | Solar | Forced | 100 | 53 | 47 | 2023-06-30 05:26 | 2023-06-30 06:30 | 2023-06-30 06:30 | Other
DAG | DAG_UNIT1 | Solar | Maintenance Level 2 | 100 | 53 | 47 | 2023-06-30 05:26 | 2023-06-30 06:30 | 2023-06-30 06:05 | Other
FEGC | FEGC_UNIT1 | Natural Gas | Forced | 119 | 0 | 119 | 2023-06-30 06:20 | 2023-06-30 08:00 | 2023-06-30 08:00 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 590 | 65 | 2023-06-30 06:27 | 2023-06-30 17:00 | 2023-06-30 16:45 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 790 | 15 | 2023-06-30 06:30 | 2023-07-14 23:58 | 2023-06-30 16:18 | Other
NF_BRP | NF_BRP_BES1 | Not Available | Maintenance Level 2 | 101 | 0 | 101 | 2023-06-30 07:00 | 2023-06-30 14:00 | 2023-06-30 14:01 | Other
DCSES | DCSES_BES1 | Other | Forced | 67 | 47 | 20 | 2023-06-30 07:35 | 2023-07-01 11:59 | 2023-06-30 16:04 | Other
DCSES | DCSES_BES2 | Other | Forced | 67 | 45 | 22 | 2023-06-30 07:35 | 2023-07-01 11:59 | 2023-06-30 16:04 | Other
DCSES | DCSES_BES3 | Other | Forced | 64 | 47 | 17 | 2023-06-30 07:35 | 2023-07-01 11:59 | 2023-06-30 16:04 | Other
DCSES | DCSES_BES4 | Other | Forced | 64 | 27 | 37 | 2023-06-30 07:35 | 2023-07-01 11:59 | 2023-06-30 16:04 | Other
GRIF_TRL | GRIF_TRL_UNIT1 | Wind | Forced | 99 | 88 | 11 | 2023-06-30 08:00 | 2023-06-30 08:30 | 2023-06-30 08:30 | Turbine/Generator Vibration/Repair
KMCHI | KMCHI_2CT201 | Natural Gas | Forced | 152 | 0 | 152 | 2023-06-30 08:01 | 2023-06-30 11:00 | 2023-06-30 08:29 | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced | 311 | 180 | 131 | 2023-06-30 08:01 | 2023-06-30 11:00 | 2023-06-30 08:29 | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 52 | 115 | 2023-06-30 08:01 | 2023-07-08 18:00 |  | Other
MESQCRK | MESQCRK_WND2 | Wind | Maintenance Level 1 | 106 | 66 | 40 | 2023-06-30 08:24 | 2023-06-30 19:00 |  | Other
RTS2 | RTS2_U1 | Wind | Forced | 90 | 79 | 11 | 2023-06-30 08:40 | 2023-06-30 17:00 | 2023-06-30 17:00 | Other
LPCCS | LPCCS_CT11 | Natural Gas | Forced Extension | 153 | 152 | 1 | 2023-06-30 09:00 | 2023-06-30 14:00 | 2023-06-30 12:40 | Other
LPCCS | LPCCS_UNIT1 | Natural Gas | Forced Extension | 204 | 100 | 104 | 2023-06-30 09:00 | 2023-06-30 14:00 | 2023-06-30 12:40 | Other
TAV | TAV_UNIT2 | Solar | Maintenance Level 2 | 96 | 92 | 4 | 2023-06-30 09:00 | 2023-07-01 08:59 | 2023-07-01 08:59 | Other
TRENT | TRENT_TRENT | Wind | Maintenance Level 2 | 38 | 0 | 38 | 2023-06-30 09:00 | 2023-06-30 12:00 | 2023-06-30 10:02 | Other
TRENT | TRENT_UNIT_1B | Wind | Maintenance Level 2 | 16 | 0 | 16 | 2023-06-30 09:00 | 2023-06-30 12:00 | 2023-06-30 10:02 | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 158 | 43 | 2023-06-30 09:47 | 2023-07-30 23:59 | 2023-06-30 20:37 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 490 | 365 | 2023-06-30 10:13 | 2023-06-30 11:59 | 2023-06-30 12:03 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 241 | 200 | 41 | 2023-06-30 11:00 | 2023-06-30 14:26 | 2023-06-30 11:31 | Other
BRAUNIG | BRAUNIG_VHB1 | Natural Gas | Forced | 217 | 0 | 217 | 2023-06-30 11:24 | 2023-06-30 14:00 | 2023-06-30 12:12 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 241 | 200 | 41 | 2023-06-30 11:30 | 2023-06-30 14:26 | 2023-06-30 12:42 | Other
WCPP | WCPP_ST1 | Natural Gas | Forced | 298 | 120 | 178 | 2023-06-30 11:30 | 2023-06-30 14:26 | 2023-06-30 12:42 | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced | 71 | 67 | 4 | 2023-06-30 12:00 | 2023-07-03 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced | 33 | 26 | 7 | 2023-06-30 12:00 | 2023-07-03 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced | 22 | 20 | 2 | 2023-06-30 12:00 | 2023-07-03 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced | 77 | 72 | 5 | 2023-06-30 12:00 | 2023-07-03 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced | 202 | 189 | 13 | 2023-06-30 12:00 | 2023-07-03 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced | 22 | 11 | 11 | 2023-06-30 12:00 | 2023-07-03 12:00 |  | Other
TC | TC_TCHP1 | Natural Gas | Forced Extension | 46 | 0 | 46 | 2023-06-30 12:40 | 2023-07-01 15:00 | 2023-07-01 10:58 | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 25 | 3 | 2023-06-30 13:04 | 2023-06-30 18:00 | 2023-06-30 14:56 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 815 | 40 | 2023-06-30 13:30 | 2023-06-30 23:59 | 2023-06-30 14:48 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 805 | 50 | 2023-06-30 13:32 | 2023-06-30 23:59 | 2023-06-30 14:53 | Other
TNSKA | TNSKA_GT2 | Natural Gas | Forced Extension | 76 | 0 | 76 | 2023-06-30 14:01 | 2023-07-02 23:59 | 2023-07-01 18:48 | Other
NF_BRP | NF_BRP_BES1 | Not Available | Maintenance Level 1 | 101 | 0 | 101 | 2023-06-30 14:02 | 2023-06-30 16:00 | 2023-06-30 14:28 | Other
MCDLD | MCDLD_FCW1 | Wind | Forced | 124 | 95 | 29 | 2023-06-30 14:32 | 2023-07-07 16:00 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 762 | 62 | 2023-06-30 14:39 | 2023-07-01 23:59 | 2023-07-01 06:02 | Exhaust Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 835 | 20 | 2023-06-30 14:47 | 2023-07-01 23:59 | 2023-07-01 08:18 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 785 | 70 | 2023-06-30 14:53 | 2023-06-30 23:59 | 2023-06-30 23:44 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 137 | 28 | 2023-06-30 15:01 | 2023-07-31 23:59 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 135 | 28 | 2023-06-30 15:01 | 2023-07-31 23:59 |  | Unknown
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 125 | 38 | 2023-06-30 15:01 | 2023-07-31 23:59 | 2023-06-30 15:02 | Unknown
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 96 | 73 | 2023-06-30 15:43 | 2023-07-04 23:59 |  | Temperature Limit
DCSES | DCSES_BES1 | Other | Forced | 67 | 47 | 20 | 2023-06-30 16:02 | 2023-07-05 11:59 | 2023-07-01 15:36 | Other
DCSES | DCSES_BES2 | Other | Forced | 67 | 40 | 27 | 2023-06-30 16:02 | 2023-07-05 11:59 | 2023-07-01 15:36 | Other
DCSES | DCSES_BES3 | Other | Forced | 64 | 49 | 15 | 2023-06-30 16:02 | 2023-07-05 11:59 | 2023-07-01 15:36 | Other
DCSES | DCSES_BES4 | Other | Forced | 64 | 50 | 14 | 2023-06-30 16:02 | 2023-07-05 11:59 | 2023-07-01 15:36 | Other
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 61 | 19 | 2023-06-30 16:14 | 2023-08-31 23:59 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Forced | 184 | 179 | 5 | 2023-06-30 16:16 | 2023-07-31 23:59 | 2023-07-01 16:56 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 770 | 35 | 2023-06-30 16:17 | 2023-07-14 23:58 | 2023-07-01 15:14 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 98 | 28 | 2023-06-30 16:30 | 2023-07-30 12:00 |  | Other
MIL | MIL_MILLERG4 | Natural Gas | Forced | 100 | 0 | 100 | 2023-06-30 16:30 | 2023-06-30 17:30 | 2023-06-30 17:54 | Other
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 211 | 179 | 2023-06-30 16:55 | 2023-06-30 20:58 | 2023-06-30 20:02 | Other
JADE_SLR | JADE_SLR_UNIT2 | Solar | Maintenance Level 2 | 162 | 130 | 32 | 2023-06-30 17:00 | 2023-07-06 17:00 |  | Other
KMCHI | KMCHI_2CT201 | Natural Gas | Forced | 152 | 95 | 57 | 2023-06-30 17:01 | 2023-06-30 22:00 | 2023-06-30 22:00 | Other
KMCHI | KMCHI_2ST | Natural Gas | Forced | 311 | 250 | 61 | 2023-06-30 17:01 | 2023-06-30 22:00 | 2023-06-30 22:00 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 50 | 52 | 2023-06-30 17:10 | 2023-07-05 18:00 |  | Turbine/Generator Vibration/Repair
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 153 | 11 | 2023-06-30 18:51 | 2023-07-31 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 144 | 20 | 2023-06-30 18:52 | 2023-07-03 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 176 | 10 | 2023-06-30 18:54 | 2023-07-31 23:59 |  | Other
GOAT | GOAT_GOATWIN2 | Wind | Forced | 70 | 53 | 17 | 2023-06-30 18:54 | 2023-07-07 23:59 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 80 | 75 | 5 | 2023-06-30 18:55 | 2023-07-04 20:09 | 2023-07-01 06:48 | Lack of Steam Load Availability
WAP | WAP_WAP_G7 | Bituminous Coal | Forced Extension | 577 | 422 | 155 | 2023-06-30 19:06 | 2023-07-01 01:00 | 2023-06-30 23:53 | Fuel Limitation/Lack of Fuel Availability
WAP | WAP_WAP_G7 | Bituminous Coal | Forced | 577 | 455 | 122 | 2023-06-30 19:06 | 2023-06-30 23:59 | 2023-06-30 19:07 | Fuel Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 790 | 65 | 2023-06-30 19:30 | 2023-07-01 04:59 | 2023-07-01 02:16 | Other
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 724 | 100 | 2023-06-30 19:41 | 2023-06-30 23:45 | 2023-06-30 22:43 | Exhaust Problems/Repairs
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 775 | 25 | 2023-06-30 19:42 | 2023-07-01 05:59 | 2023-07-01 05:16 | Emissions
BLSUMMIT | BLSUMMIT_BATTERY | Not Available | Forced | 30 | 0 | 30 | 2023-06-30 20:00 | 2023-06-30 23:00 | 2023-06-30 21:15 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 0 | 855 | 2023-06-30 20:31 | 2023-07-02 11:59 | 2023-07-02 02:00 | Tube Leak
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 173 | 28 | 2023-06-30 20:38 | 2023-07-30 23:59 | 2023-07-01 22:11 | Other
WAP | WAP_WAP_G7 | Bituminous Coal | Forced | 577 | 312 | 265 | 2023-06-30 20:48 | 2023-06-30 23:59 | 2023-06-30 22:35 | Fuel Limitation/Lack of Fuel Availability
REROCK | REROCK_UNIT1 | Solar | Maintenance Level 2 | 79 | 0 | 79 | 2023-06-30 21:05 | 2023-07-01 05:00 | 2023-07-01 02:50 | Other
REROCK | REROCK_UNIT2 | Solar | Maintenance Level 2 | 79 | 0 | 79 | 2023-06-30 21:05 | 2023-07-01 05:00 | 2023-07-01 02:50 | Other
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced | 18 | 0 | 18 | 2023-06-30 21:20 | 2023-07-03 23:59 | 2023-07-01 03:33 | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Forced | 240 | 105 | 135 | 2023-06-30 22:00 | 2023-07-01 11:11 | 2023-07-01 11:11 | Other
BASTEN | BASTEN_GTG1100 | Natural Gas | Maintenance Level 3 | 171 | 0 | 171 | 2023-06-30 22:01 | 2023-07-03 23:59 | 2023-07-02 21:58 | Other
BASTEN | BASTEN_GTG2100 | Natural Gas | Maintenance Level 3 | 171 | 0 | 171 | 2023-06-30 22:01 | 2023-07-03 23:59 | 2023-07-02 21:58 | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced | 100 | 55 | 45 | 2023-06-30 22:34 | 2023-07-01 17:00 | 2023-07-01 01:28 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 157 | 16 | 2023-06-30 23:23 | 2023-07-07 22:00 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 134 | 30 | 2023-06-30 23:42 | 2023-07-03 19:59 |  | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 615 | 40 | 2023-06-30 23:45 | 2023-07-03 23:58 | 2023-07-01 07:50 | Other
2023-07-03 |  |  |  | 2 |  |  |  | 5:03