## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-07-11 | 1 | 5:04

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Jul 8, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
PLN | PLN_UNIT2 | Solar | Unavoidable Extension | 257 | 0 | 257 | 2022-07-17 15:01 | 2023-07-15 15:01 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-07-15 23:59 |  | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-08-01 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-08-15 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 685 | 64 | 2022-11-08 15:42 | 2023-07-31 23:59 |  | Exhaust Problems/Repairs
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-08-31 23:59 |  | Other
CALLAHAN | CALLAHAN_WND1 | Wind | Unavoidable Extension | 123 | 0 | 123 | 2022-12-05 06:53 | 2023-08-31 23:59 |  | Other
H_HOLLOW | H_HOLLOW_WND1 | Wind | Unavoidable Extension | 230 | 0 | 230 | 2022-12-05 08:14 | 2023-08-31 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced Extension | 241 | 0 | 241 | 2023-01-31 02:01 | 2023-08-31 22:59 | 2023-07-09 09:33 | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 96 | 0 | 96 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-09-30 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 512 | 15 | 2023-02-20 07:00 | 2023-07-31 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced Extension | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-12-31 23:59 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-07-31 16:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-08-31 17:00 |  | Other
GBY | GBY_GBYGT83 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-03-20 | 2023-07-10 23:59 | 2023-07-08 16:22 | Combustion Inspection and Repair
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-07-21 17:00 |  | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-07-11 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced Extension | 50 | 0 | 50 | 2023-03-23 14:34 | 2023-07-11 23:59 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-07-21 17:00 |  | Other
CHE | CHE_GT2 | Natural Gas | Forced Extension | 171 | 0 | 171 | 2023-04-01 03:07 | 2023-07-13 23:59 | 2023-07-09 17:07 | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 155 | 16 | 2023-04-04 08:37 | 2023-07-13 23:59 | 2023-07-09 17:07 | Steam Turbine Limited/Unavailable Due to CT/GT Work
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-07-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-04-21 13:03 | 2023-07-14 23:59 |  | Other
DOWGEN | DOWGEN_DOW_G61 | Natural Gas | Unavoidable Extension | 68 | 0 | 68 | 2023-04-25 12:00 | 2023-07-24 17:00 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced Extension | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-08-01 12:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-04-29 | 2023-07-15 23:59 |  | Combustion Inspection and Repair
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-07-31 23:59 |  | Other
VICTORIA | VICTORIA_VICTORG5 | Natural Gas | Unavoidable Extension | 125 | 0 | 125 | 2023-05-01 00:01 | 2023-07-21 23:59 |  | Overhaul
VICTORIA | VICTORIA_VICTORG6 | Natural Gas | Unavoidable Extension | 160 | 0 | 160 | 2023-05-01 00:01 | 2023-07-21 23:59 |  | Overhaul
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-08-31 23:59 |  | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-08-31 23:59 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced Extension | 197 | 194 | 3 | 2023-05-03 23:19 | 2023-08-31 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-12-31 |  | Other
WAP | WAP_WAP_G8 | Bituminous Coal | Unavoidable Extension | 610 | 0 | 610 | 2023-05-08 | 2023-07-15 23:59 |  | Turbine/Generator Vibration/Repair
TURQBESS | TURQBESS_BESS1 | Not Available | Forced Extension | 190 | 190 | 0 | 2023-05-11 | 2023-07-31 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-07-11 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-08-31 23:59 |  | Other
WFTANK | WFTANK_ESS1 | Not Available | Forced Extension | 150 | 150 | 0 | 2023-05-17 | 2023-07-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 118 | 15 | 2023-05-17 01:41 | 2023-08-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 75 | 34 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 105 | 85 | 2023-05-18 20:45 | 2023-07-31 23:59 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 155 | 25 | 2023-05-19 09:00 | 2023-12-04 23:58 | 2023-07-10 06:45 | Other
DAN | DAN_UNIT2 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-11-20 08:00 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-09-11 08:00 |  | Other
VORTEX | VORTEX_BESS1 | Other | Maintenance Level 1 | 122 | 0 | 122 | 2023-05-23 08:25 | 2023-07-30 18:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 491 | 36 | 2023-05-26 18:16 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 88 | 37 | 2023-05-27 15:00 | 2023-09-01 12:00 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 7 | 16 | 2023-05-31 11:30 | 2023-12-28 21:35 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 11 | 72 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-05-31 11:32 | 2023-12-28 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 131 | 40 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 192 | 2 | 2023-06-01 23:51 | 2023-12-01 |  | Other
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Unavoidable Extension | 31 | 0 | 31 | 2023-06-02 10:01 | 2023-07-13 17:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-07-13 20:00 |  | Other
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced Extension | 20 | 0 | 20 | 2023-06-02 11:56 | 2023-07-31 23:59 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 83 | 9 | 2023-06-03 21:24 | 2023-08-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced Extension | 152 | 121 | 31 | 2023-06-03 21:49 | 2023-08-31 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 173 | 29 | 2023-06-04 19:52 | 2023-12-31 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-06-05 09:05 | 2023-09-29 17:00 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 94 | 15 | 2023-06-05 13:56 | 2023-07-31 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 74 | 35 | 2023-06-05 13:56 | 2023-07-31 23:59 |  | Turbine/Generator Vibration/Repair
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 98 | 22 | 2023-06-06 07:28 | 2023-07-11 18:00 |  | Turbine/Generator Vibration/Repair
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Forced Extension | 77 | 0 | 77 | 2023-06-06 18:01 | 2023-07-31 17:00 |  | Overhaul
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 756 | 80 | 2023-06-07 15:40 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 803 | 21 | 2023-06-07 18:34 | 2023-07-31 23:59 |  | Feedwater Problems/Repairs
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 128 | 16 | 2023-06-08 17:30 | 2023-07-09 18:00 | 2023-07-09 02:58 | Other
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 129 | 15 | 2023-06-08 17:30 | 2023-07-09 18:00 | 2023-07-09 02:58 | Other
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced Extension | 51 | 42 | 9 | 2023-06-09 12:15 | 2023-08-04 16:00 |  | Other
JUNO | JUNO_UNIT1 | Solar | Forced Extension | 162 | 159 | 3 | 2023-06-09 13:14 | 2023-07-31 18:00 |  | Other
GUADG | GUADG_GAS1 | Natural Gas | Forced Extension | 143 | 128 | 15 | 2023-06-09 15:29 | 2023-08-31 23:59 |  | Other
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 0 | 392 | 2023-06-11 19:10 | 2023-08-07 23:58 |  | Lightening
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced Extension | 126 | 0 | 126 | 2023-06-12 10:30 | 2023-07-31 23:59 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 680 | 65 | 2023-06-13 15:30 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 392 | 20 | 2023-06-13 16:00 | 2023-09-30 23:59 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 75 | 78 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 48 | 99 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 466 | 61 | 2023-06-14 13:12 | 2023-07-31 23:59 |  | Feedwater Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 371 | 378 | 2023-06-14 18:55 | 2023-07-15 23:59 |  | Inlet Air Problems/Repairs
MYR | MYR_UNIT2 | Solar | Forced Extension | 146 | 115 | 31 | 2023-06-15 09:00 | 2023-07-08 17:00 |  | Other
MIL | MIL_MILLERG2 | Natural Gas | Forced Extension | 118 | 95 | 23 | 2023-06-15 09:08 | 2023-07-31 23:59 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 30 | 120 | 2023-06-15 09:19 | 2023-09-29 17:00 |  | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced Extension | 203 | 150 | 53 | 2023-06-15 09:40 | 2023-07-14 23:59 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 240 | 235 | 5 | 2023-06-15 14:59 | 2023-07-31 23:59 | 2023-07-10 15:53 | Inlet Air Problems/Repairs
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 196 | 166 | 30 | 2023-06-15 15:45 | 2023-07-31 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 128 | 22 | 2023-06-15 20:55 | 2023-07-30 23:59 |  | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 80 | 70 | 10 | 2023-06-16 09:46 | 2023-07-31 23:59 |  | Exhaust Problems/Repairs
PHOEBE | PHOEBE_UNIT1 | Solar | Unavoidable Extension | 125 | 104 | 21 | 2023-06-16 10:55 | 2023-07-31 20:00 |  | Other
PHOEBE | PHOEBE_UNIT2 | Solar | Unavoidable Extension | 128 | 104 | 24 | 2023-06-16 10:55 | 2023-07-31 20:00 |  | Other
MASSENGL | MASSENGL_G6 | Natural Gas | Forced Extension | 18 | 0 | 18 | 2023-06-18 05:41 | 2023-12-31 23:59 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced | 48 | 24 | 24 | 2023-06-19 06:54 | 2023-07-14 23:59 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced Extension | 80 | 67 | 13 | 2023-06-19 15:11 | 2023-08-31 23:59 |  | Other
LHSES | LHSES_UNIT2A | Natural Gas | Forced | 523 | 513 | 10 | 2023-06-21 01:19 | 2023-09-30 23:58 |  | Other
CAL | CAL_CALGT1 | Natural Gas | Forced Extension | 131 | 0 | 131 | 2023-06-21 01:22 | 2023-07-22 23:59 |  | Other
CAL | CAL_CALSTG1 | Natural Gas | Forced Extension | 58 | 0 | 58 | 2023-06-21 01:22 | 2023-07-22 23:59 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 55 | 6 | 49 | 2023-06-21 02:42 | 2023-07-31 16:05 |  | Turbine/Generator Vibration/Repair
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 90 | 30 | 2023-06-21 03:12 | 2023-07-11 18:00 | 2023-07-09 02:58 | Other
GUNMTN | GUNMTN_G1 | Wind | Forced Extension | 120 | 107 | 13 | 2023-06-21 03:12 | 2023-07-14 18:00 |  | Other
MWEC | MWEC_G1 | Wind | Forced Extension | 150 | 139 | 11 | 2023-06-21 03:12 | 2023-07-11 18:00 |  | Other
TORR | TORR_UNIT2_25 | Wind | Forced Extension | 128 | 93 | 35 | 2023-06-21 08:38 | 2023-08-31 23:59 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 26 | 12 | 2023-06-21 10:42 | 2023-12-31 23:59 |  | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Unavoidable Extension | 240 | 155 | 85 | 2023-06-21 12:00 | 2023-07-31 16:00 | 2023-07-10 08:29 | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Forced | 240 | 155 | 85 | 2023-06-21 12:00 | 2023-07-31 16:00 |  | Other
B_DAVIS | B_DAVIS_B_DAVIG1 | Natural Gas | Forced Extension | 292 | 135 | 157 | 2023-06-21 13:42 | 2023-07-09 23:59 |  | Other
WEC | WEC_WECG1 | Wind | Forced Extension | 57 | 0 | 57 | 2023-06-21 20:07 | 2023-07-31 23:59 |  | Other
PENA | PENA_UNIT1 | Wind | Forced Extension | 161 | 144 | 17 | 2023-06-23 16:35 | 2023-07-11 20:00 |  | Turbine/Generator Vibration/Repair
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced Extension | 75 | 0 | 75 | 2023-06-24 14:02 | 2023-07-21 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 171 | 11 | 2023-06-24 17:48 | 2023-08-31 23:59 |  | Other
BTE | BTE_BTE_G4 | Natural Gas | Forced Extension | 145 | 111 | 34 | 2023-06-25 | 2023-07-31 23:59 |  | Other
CALAVERS | CALAVERS_OWS2 | Natural Gas | Forced Extension | 410 | 0 | 410 | 2023-06-25 16:08 | 2023-07-13 23:59 |  | Turbine/Generator Vibration/Repair
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced | 146 | 30 | 116 | 2023-06-25 18:36 | 2023-07-08 18:36 |  | Temperature Limit
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced Extension | 86 | 63 | 23 | 2023-06-25 18:49 | 2023-08-31 23:59 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 85 | 40 | 2023-06-26 16:03 | 2023-09-01 12:00 |  | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced Extension | 103 | 90 | 13 | 2023-06-27 04:42 | 2023-07-31 23:59 |  | Other
E_BLACK | E_BLACK_UNIT_1 | Solar | Forced Extension | 144 | 119 | 25 | 2023-06-27 15:05 | 2023-07-31 23:59 |  | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced Extension | 63 | 63 | 0 | 2023-06-27 15:20 | 2023-07-31 12:00 |  | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced Extension | 63 | 61 | 2 | 2023-06-27 15:20 | 2023-07-31 12:00 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 141 | 41 | 2023-06-27 16:56 | 2023-07-31 23:59 | 2023-07-10 08:59 | Other
TREB_SLR | TREB_SLR_SOLAR1 | Solar | Forced | 195 | 0 | 195 | 2023-06-27 17:39 | 2023-08-01 12:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 120 | 31 | 2023-06-27 23:25 | 2023-07-12 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 119 | 32 | 2023-06-27 23:25 | 2023-07-12 18:00 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 122 | 31 | 2023-06-28 | 2023-07-30 18:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 122 | 27 | 2023-06-28 | 2023-07-30 18:00 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 65 | 0 | 65 | 2023-06-28 06:30 | 2023-07-12 12:00 |  | Other
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 70 | 31 | 2023-06-28 10:46 | 2023-07-15 17:00 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 67 | 34 | 2023-06-28 10:46 | 2023-07-15 17:00 |  | Turbine/Generator Vibration/Repair
BVE | BVE_UNIT2 | Natural Gas | Forced Extension | 150 | 147 | 3 | 2023-06-28 13:19 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
GALLOWAY | GALLOWAY_SOLAR2 | Solar | Forced | 110 | 20 | 90 | 2023-06-28 14:18 | 2023-07-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 13 | 117 | 2023-06-28 18:34 | 2023-09-01 12:00 |  | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 116 | 17 | 2023-06-28 20:18 | 2023-07-31 23:59 |  | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 101 | 26 | 2023-06-28 21:51 | 2023-07-12 10:25 |  | Turbine/Generator Vibration/Repair
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 10 | 143 | 2023-06-28 22:31 | 2023-07-12 12:00 |  | Unknown
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 10 | 139 | 2023-06-28 22:31 | 2023-07-12 12:00 |  | Unknown
CCEC | CCEC_GT1 | Natural Gas | Forced | 125 | 115 | 10 | 2023-06-29 08:36 | 2023-07-31 23:59 |  | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Forced | 215 | 210 | 5 | 2023-06-29 08:39 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 220 | 12 | 2023-06-29 12:22 | 2023-08-31 23:59 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 0 | 153 | 2023-06-29 14:10 | 2023-07-12 12:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 0 | 149 | 2023-06-29 14:10 | 2023-07-12 12:00 |  | Other
SPTX12B | SPTX12B_BES1 | Not Available | Forced Extension | 25 | 20 | 5 | 2023-06-29 15:51 | 2023-07-14 23:59 |  | Other
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 49 | 3 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 113 | 10 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 93 | 35 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 91 | 11 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 20 | 145 | 2023-06-29 21:08 | 2023-08-31 18:30 |  | Unknown
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 20 | 65 | 2023-06-29 21:09 | 2023-08-31 16:32 |  | Unknown
BOOTLEG | BOOTLEG_UNIT1 | Solar | Forced | 121 | 105 | 16 | 2023-06-29 21:32 | 2023-07-31 23:59 |  | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 52 | 115 | 2023-06-30 08:01 | 2023-07-08 18:00 |  | Other
MCDLD | MCDLD_FCW1 | Wind | Forced Extension | 124 | 95 | 29 | 2023-06-30 14:32 | 2023-07-14 16:00 | 2023-07-10 09:11 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 135 | 28 | 2023-06-30 15:01 | 2023-07-31 23:59 |  | Unknown
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 61 | 19 | 2023-06-30 16:14 | 2023-08-31 23:59 | 2023-07-09 06:41 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 133 | 31 | 2023-06-30 18:45 | 2023-07-31 23:59 | 2023-07-09 04:48 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 123 | 41 | 2023-06-30 18:45 | 2023-07-11 03:59 | 2023-07-09 15:30 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 156 | 30 | 2023-06-30 18:54 | 2023-07-11 04:59 | 2023-07-09 15:30 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-06-30 18:54 | 2023-07-31 23:59 | 2023-07-09 04:50 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 114 | 13 | 2023-06-30 19:45 | 2023-07-12 10:25 |  | Turbine/Generator Vibration/Repair
CHALUPA | CHALUPA_UNIT1 | Wind | Forced Extension | 173 | 157 | 16 | 2023-06-30 23:23 | 2023-07-10 22:00 | 2023-07-10 20:26 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 133 | 31 | 2023-06-30 23:42 | 2023-07-31 23:59 | 2023-07-08 04:30 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 123 | 41 | 2023-06-30 23:42 | 2023-07-31 23:59 | 2023-07-08 11:00 | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 77 | 16 | 2023-07-01 05:26 | 2023-08-31 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-07-01 06:00 | 2023-07-14 17:00 |  | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 80 | 70 | 10 | 2023-07-01 06:48 | 2023-07-31 23:59 |  | Lack of Steam Load Availability
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 147 | 3 | 2023-07-01 08:04 | 2023-07-31 23:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 495 | 7 | 2023-07-01 09:50 | 2023-07-14 15:30 |  | Other
HHGT | HHGT_HHOLLOW3 | Wind | Forced | 224 | 212 | 12 | 2023-07-01 22:31 | 2023-08-31 23:59 | 2023-07-09 04:55 | Other
SPNCER | SPNCER_SPNCE_5 | Natural Gas | Forced Extension | 61 | 40 | 21 | 2023-07-01 22:53 | 2023-07-14 18:00 |  | Cooling Water Problems/Repairs
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 126 | 87 | 2023-07-02 04:35 | 2023-08-31 23:59 |  | Other
DDPEC | DDPEC_GT6 | Natural Gas | Forced Extension | 156 | 0 | 156 | 2023-07-02 05:03 | 2023-07-19 19:00 |  | Other
DDPEC | DDPEC_ST1 | Natural Gas | Forced Extension | 287 | 0 | 287 | 2023-07-02 05:03 | 2023-08-16 19:00 |  | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced | 126 | 113 | 13 | 2023-07-02 09:00 | 2023-07-31 20:00 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 760 | 45 | 2023-07-02 14:17 | 2023-07-14 23:59 | 2023-07-09 18:12 | Other
SWEC | SWEC_G1 | Wind | Forced Extension | 120 | 110 | 10 | 2023-07-02 17:28 | 2023-07-11 18:00 |  | Unknown
GWEC | GWEC_GWEC_G1 | Wind | Forced Extension | 149 | 140 | 9 | 2023-07-02 18:00 | 2023-07-13 18:00 |  | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 189 | 12 | 2023-07-02 18:26 | 2023-07-31 23:59 | 2023-07-08 15:19 | Other
HHOLLOW2 | HHOLLOW2_WIND1 | Wind | Forced | 184 | 156 | 28 | 2023-07-02 18:36 | 2023-07-31 23:59 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 91 | 10 | 2023-07-02 23:15 | 2023-07-11 18:00 | 2023-07-10 22:18 | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 70 | 5 | 2023-07-03 03:42 | 2023-07-15 23:59 |  | Other
TAV | TAV_UNIT2 | Solar | Unavoidable Extension | 96 | 96 | 0 | 2023-07-03 05:05 | 2023-07-14 22:00 |  | Other
PYR | PYR_PYRON2 | Wind | Forced Extension | 128 | 25 | 103 | 2023-07-03 12:00 | 2023-07-21 17:00 |  | Other
PYR | PYR_PYRON1 | Wind | Forced Extension | 122 | 10 | 112 | 2023-07-03 12:15 | 2023-07-21 17:00 |  | Other
LGE | LGE_LGE_GT1 | Natural Gas | Forced | 145 | 115 | 30 | 2023-07-03 13:08 | 2023-07-21 23:59 |  | Lack of Steam Load Availability
LGE | LGE_LGE_GT2 | Natural Gas | Forced | 145 | 115 | 30 | 2023-07-03 13:08 | 2023-07-21 23:59 |  | Lack of Steam Load Availability
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 138 | 13 | 2023-07-03 14:00 | 2023-07-10 14:00 | 2023-07-10 10:22 | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 83 | 15 | 2023-07-03 14:00 | 2023-07-10 14:00 | 2023-07-10 10:22 | Other
BOOTLEG | BOOTLEG_UNIT1 | Solar | Unavoidable Extension | 121 | 0 | 121 | 2023-07-03 21:00 | 2023-07-11 12:00 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced Extension | 95 | 56 | 39 | 2023-07-04 03:01 | 2023-07-10 22:00 | 2023-07-10 20:25 | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 165 | 4 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 145 | 24 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 143 | 7 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 134 | 16 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 62 | 38 | 2023-07-04 16:58 | 2023-07-12 20:00 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 370 | 21 | 2023-07-05 10:19 | 2023-10-22 23:59 |  | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-07-05 11:16 | 2023-07-30 18:00 | 2023-07-10 08:44 | Other
HOVEY | HOVEY_UNIT1 | Solar | Forced | 22 | 17 | 5 | 2023-07-05 12:15 | 2023-07-12 12:00 |  | Other
HOVEY | HOVEY_UNIT2 | Solar | Forced | 7 | 7 | 0 | 2023-07-05 12:15 | 2023-07-12 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 67 | 4 | 2023-07-05 12:15 | 2023-07-10 12:00 | 2023-07-10 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 26 | 7 | 2023-07-05 12:15 | 2023-07-10 12:00 | 2023-07-10 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced Extension | 77 | 72 | 5 | 2023-07-05 12:15 | 2023-07-10 12:00 | 2023-07-10 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 189 | 13 | 2023-07-05 12:15 | 2023-07-10 12:00 | 2023-07-10 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 11 | 11 | 2023-07-05 12:15 | 2023-07-10 12:00 | 2023-07-10 12:00 | Other
WAP | WAP_WAP_G3 | Natural Gas | Unavoidable Extension | 240 | 0 | 240 | 2023-07-05 13:00 | 2023-07-09 23:59 | 2023-07-09 23:37 | Feedwater Problems/Repairs
WAP | WAP_WAP_G4 | Natural Gas | Unavoidable Extension | 527 | 0 | 527 | 2023-07-05 13:00 | 2023-07-09 23:59 | 2023-07-09 21:25 | Feedwater Problems/Repairs
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2023-07-05 13:38 | 2023-08-04 23:59 |  | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced | 158 | 125 | 33 | 2023-07-05 14:30 | 2023-07-31 23:59 |  | Other
GALLOWAY | GALLOWAY_SOLAR2 | Solar | Forced Extension | 110 | 0 | 110 | 2023-07-05 15:01 | 2023-07-14 17:00 |  | Other
DOWGEN | DOWGEN_DOW_GT96 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-07-05 15:47 | 2023-07-11 15:00 |  | Tube Leak
TTWEC | TTWEC_G1 | Wind | Forced | 170 | 153 | 17 | 2023-07-05 16:25 | 2023-07-12 18:00 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 125 | 40 | 2023-07-05 18:01 | 2023-07-31 19:00 |  | Unknown
PANDA_S | PANDA_S_SHER1CT1 | Natural Gas | Maintenance Level 2 | 199 | 0 | 199 | 2023-07-05 22:00 | 2023-07-08 23:59 | 2023-07-08 10:02 | Feedwater Problems/Repairs
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 211 | 179 | 2023-07-06 00:08 | 2023-07-08 07:59 | 2023-07-08 09:00 | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced | 100 | 78 | 22 | 2023-07-06 01:17 | 2023-07-09 02:00 | 2023-07-09 02:00 | Hot weather related
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 135 | 14 | 2023-07-06 08:00 | 2023-07-31 20:00 | 2023-07-10 10:50 | Other
TNP_ONE | TNP_ONE_TNP_O_1 | Lignite | Forced | 155 | 80 | 75 | 2023-07-06 08:22 | 2023-07-09 23:59 | 2023-07-08 18:14 | Other
RANCHERO | RANCHERO_UNIT1 | Wind | Forced Extension | 150 | 140 | 10 | 2023-07-06 08:30 | 2023-07-20 18:00 |  | Overhaul
JAY | JAY_UNIT2 | Solar | Forced | 172 | 113 | 59 | 2023-07-06 15:00 | 2023-07-12 23:59 |  | Other
JAY | JAY_UNIT2 | Solar | Forced | 172 | 92 | 80 | 2023-07-06 15:00 | 2023-07-11 23:59 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 105 | 26 | 2023-07-06 18:03 | 2023-07-11 18:00 |  | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced | 50 | 33 | 17 | 2023-07-06 19:15 | 2023-07-11 23:59 |  | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced | 50 | 40 | 10 | 2023-07-06 19:15 | 2023-07-11 23:59 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 651 | 173 | 2023-07-06 19:32 | 2023-07-14 23:59 |  | Feedwater Problems/Repairs
PLN | PLN_UNIT1 | Solar | Forced Extension | 257 | 248 | 9 | 2023-07-06 20:40 | 2023-07-10 18:00 | 2023-07-10 07:46 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced | 102 | 64 | 38 | 2023-07-06 21:44 | 2023-07-09 18:00 | 2023-07-09 18:00 | Turbine/Generator Vibration/Repair
TXCTY | TXCTY_CTA | Natural Gas | Unavoidable Extension | 80 | 0 | 80 | 2023-07-06 23:02 | 2023-07-10 06:00 | 2023-07-10 05:30 | Tube Leak
TXCTY | TXCTY_ST | Natural Gas | Unavoidable Extension | 125 | 90 | 35 | 2023-07-06 23:02 | 2023-07-10 06:00 | 2023-07-10 05:30 | Tube Leak
B_DAVIS | B_DAVIS_B_DAVIG1 | Natural Gas | Unavoidable Extension | 292 | 0 | 292 | 2023-07-07 | 2023-07-09 | 2023-07-08 20:19 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 810 | 45 | 2023-07-07 00:08 | 2023-07-08 23:59 | 2023-07-08 20:00 | Inlet Air Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 825 | 30 | 2023-07-07 00:08 | 2023-07-08 23:59 | 2023-07-08 04:48 | Inlet Air Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 830 | 25 | 2023-07-07 00:08 | 2023-07-08 23:59 | 2023-07-08 00:15 | Inlet Air Problems/Repairs
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Unavoidable Extension | 655 | 0 | 655 | 2023-07-07 00:46 | 2023-07-08 19:59 | 2023-07-08 20:15 | Tube Leak
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 0 | 805 | 2023-07-07 01:42 | 2023-07-09 13:42 | 2023-07-08 12:30 | Tube Leak
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 820 | 35 | 2023-07-07 03:02 | 2023-07-08 07:59 | 2023-07-08 08:00 | Other
SAMSON_1 | SAMSON_1_G1 | Solar | Forced | 125 | 120 | 5 | 2023-07-07 03:14 | 2023-07-14 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced | 125 | 120 | 5 | 2023-07-07 03:14 | 2023-07-14 18:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 95 | 30 | 2023-07-07 03:15 | 2023-07-14 18:00 | 2023-07-09 08:10 | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced | 125 | 95 | 30 | 2023-07-07 03:15 | 2023-07-14 18:00 | 2023-07-09 08:10 | Other
HAYSEN | HAYSEN_HAYSENG2 | Natural Gas | Unavoidable Extension | 211 | 0 | 211 | 2023-07-07 04:55 | 2023-07-08 07:59 | 2023-07-08 08:00 | Feedwater Problems/Repairs
BTE | BTE_BTE_G2 | Natural Gas | Forced Extension | 145 | 105 | 40 | 2023-07-07 07:19 | 2023-07-11 23:59 |  | Feedwater Problems/Repairs
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Forced | 126 | 20 | 106 | 2023-07-07 08:00 | 2023-07-31 23:59 |  | Other
BYU | BYU_BYU_G3 | Natural Gas | Forced Extension | 80 | 0 | 80 | 2023-07-07 09:50 | 2023-07-08 23:59 |  | Unknown
MASSENGL | MASSENGL_G7 | Natural Gas | Forced | 18 | 0 | 18 | 2023-07-07 10:00 | 2023-07-31 | 2023-07-11 00:39 | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 0 | 38 | 2023-07-07 10:00 | 2023-07-31 | 2023-07-11 00:39 | Other
GRIZZLY | GRIZZLY_SOLAR1 | Solar | Forced | 100 | 60 | 40 | 2023-07-07 12:00 | 2023-07-31 23:59 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 0 | 824 | 2023-07-07 12:26 | 2023-07-09 23:59 | 2023-07-08 18:34 | Feedwater Problems/Repairs
OLINGR | OLINGR_OLING_2 | Natural Gas | Forced | 107 | 0 | 107 | 2023-07-07 13:35 | 2023-08-04 23:59 |  | Other
NOBLESLR | NOBLESLR_SOLAR1 | Solar | Forced | 147 | 124 | 23 | 2023-07-07 16:00 | 2023-07-31 12:00 |  | Other
NOBLESLR | NOBLESLR_SOLAR2 | Solar | Forced | 128 | 105 | 23 | 2023-07-07 16:00 | 2023-07-31 12:00 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 0 | 138 | 2023-07-07 17:05 | 2023-07-21 16:00 | 2023-07-08 18:07 | Human Error
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 0 | 46 | 2023-07-07 17:05 | 2023-07-21 16:00 | 2023-07-08 16:07 | Human Error
JADE_SLR | JADE_SLR_UNIT2 | Solar | Maintenance Level 2 | 162 | 138 | 24 | 2023-07-07 18:00 | 2023-07-17 18:00 |  | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 155 | 40 | 2023-07-07 19:53 | 2023-07-08 02:00 | 2023-07-08 02:02 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 125 | 20 | 2023-07-07 19:53 | 2023-07-08 02:00 | 2023-07-08 02:02 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 191 | 18 | 2023-07-07 19:56 | 2023-07-08 02:00 | 2023-07-08 02:02 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 188 | 22 | 2023-07-07 19:56 | 2023-07-08 02:00 | 2023-07-08 02:02 | Other
STWF | STWF_T1 | Wind | Forced Extension | 98 | 94 | 4 | 2023-07-07 20:14 | 2023-07-09 15:00 | 2023-07-09 15:00 | Other
AEEC | AEEC_ANTLP_3 | Natural Gas | Forced Extension | 54 | 45 | 9 | 2023-07-07 20:40 | 2023-07-12 23:59 |  | Other
JUNO | JUNO_UNIT1 | Solar | Maintenance Level 2 | 162 | 136 | 26 | 2023-07-07 21:00 | 2023-07-08 06:00 | 2023-07-08 03:02 | Other
JUNO | JUNO_UNIT2 | Solar | Maintenance Level 3 | 144 | 0 | 144 | 2023-07-07 21:00 | 2023-07-08 06:00 | 2023-07-08 03:07 | Other
GRSES | GRSES_UNIT2 | Natural Gas | Forced | 390 | 211 | 179 | 2023-07-08 | 2023-07-08 08:00 | 2023-07-08 09:00 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 780 | 75 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-09 23:41 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 765 | 90 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-10 14:59 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 760 | 95 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-10 00:02 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 800 | 55 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 00:49 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 760 | 95 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-09 22:06 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 765 | 90 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 19:52 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 755 | 100 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 04:14 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 770 | 85 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 04:16 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 805 | 50 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 22:16 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 735 | 120 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 03:30 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 755 | 100 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-09 03:51 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 770 | 85 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-09 02:09 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 780 | 75 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 01:42 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 790 | 65 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-09 06:00 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 720 | 135 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 01:59 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 795 | 60 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-09 00:43 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 705 | 150 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 06:01 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 785 | 70 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-10 01:54 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 735 | 120 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 03:34 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 775 | 80 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-08 05:28 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 775 | 80 | 2023-07-08 00:01 | 2023-07-11 00:01 | 2023-07-10 00:32 | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Unavoidable Extension | 215 | 0 | 215 | 2023-07-08 00:20 | 2023-07-11 13:00 |  | Other
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Unavoidable Extension | 236 | 120 | 116 | 2023-07-08 00:20 | 2023-07-11 13:00 |  | Other
NEDIN | NEDIN_NEDIN_G2 | Natural Gas | Forced Extension | 215 | 152 | 63 | 2023-07-08 00:25 | 2023-07-11 13:00 |  | Unknown
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Forced Extension | 236 | 70 | 166 | 2023-07-08 00:25 | 2023-07-11 13:00 |  | Unknown
BRAUNIG | BRAUNIG_VHB6CT5 | Natural Gas | Forced | 48 | 0 | 48 | 2023-07-08 02:47 | 2023-07-08 23:59 | 2023-07-08 05:51 | Emissions
LV4 | LV4_UNIT_1 | Wind | Forced | 200 | 0 | 200 | 2023-07-08 05:01 | 2023-07-08 23:59 | 2023-07-08 07:07 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 765 | 90 | 2023-07-08 06:01 | 2023-07-11 00:01 | 2023-07-08 17:57 | Other
ETCCS | ETCCS_CT1 | Natural Gas | Forced | 204 | 193 | 11 | 2023-07-08 06:09 | 2023-07-08 23:59 | 2023-07-08 23:59 | Hot weather related
PSG | PSG_PSG_GT3 | Natural Gas | Forced Extension | 164 | 0 | 164 | 2023-07-08 08:31 | 2023-07-08 14:00 | 2023-07-08 13:21 | Other
PSG | PSG_PSG_ST2 | Natural Gas | Forced Extension | 170 | 85 | 85 | 2023-07-08 08:31 | 2023-07-08 14:00 | 2023-07-08 13:21 | Other
TGW | TGW_T1 | Wind | Forced | 142 | 142 | 0 | 2023-07-08 08:41 | 2023-07-10 17:00 | 2023-07-10 17:32 | Other
TGW | TGW_T2 | Wind | Forced | 142 | 136 | 6 | 2023-07-08 08:41 | 2023-07-10 17:00 | 2023-07-10 17:32 | Other
PANDA_T2 | PANDA_T2_TMPL2CT1 | Natural Gas | Forced | 223 | 0 | 223 | 2023-07-08 09:06 | 2023-07-08 10:00 | 2023-07-08 09:58 | Other
PANDA_T2 | PANDA_T2_TMPL2CT2 | Natural Gas | Forced | 223 | 0 | 223 | 2023-07-08 09:06 | 2023-07-08 10:00 | 2023-07-08 09:58 | Other
PANDA_T2 | PANDA_T2_TMPL2ST1 | Natural Gas | Forced | 335 | 0 | 335 | 2023-07-08 09:06 | 2023-07-08 10:00 | 2023-07-08 09:58 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 208 | 14 | 2023-07-08 09:16 | 2023-07-10 18:00 | 2023-07-08 11:57 | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 23 | 5 | 2023-07-08 10:45 | 2023-07-08 18:00 | 2023-07-08 12:35 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 144 | 20 | 2023-07-08 11:19 | 2023-07-31 23:59 | 2023-07-09 00:58 | Other
RDCANYON | RDCANYON_RDCNY1 | Wind | Forced | 90 | 0 | 90 | 2023-07-08 12:20 | 2023-07-31 23:59 | 2023-07-08 20:00 | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 0 | 745 | 2023-07-08 13:53 | 2023-07-08 15:00 | 2023-07-08 14:46 | Feedwater Problems/Repairs
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Forced Extension | 287 | 137 | 150 | 2023-07-08 14:22 | 2023-07-08 18:00 | 2023-07-08 17:07 | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 371 | 374 | 2023-07-08 14:46 | 2023-07-08 18:00 | 2023-07-08 17:17 | Feedwater Problems/Repairs
MDANP | MDANP_CT5 | Natural Gas | Forced Extension | 241 | 225 | 16 | 2023-07-08 15:15 | 2023-07-09 23:58 | 2023-07-09 23:58 | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 193 | 8 | 2023-07-08 15:20 | 2023-07-31 23:59 |  | Other
WAP | WAP_WAP_G7 | Bituminous Coal | Forced Extension | 577 | 552 | 25 | 2023-07-08 16:46 | 2023-07-09 23:59 | 2023-07-09 00:44 | Emissions
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 113 | 56 | 2023-07-08 17:08 | 2023-07-11 23:59 |  | Temperature Limit
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 735 | 65 | 2023-07-08 18:39 | 2023-07-08 22:38 | 2023-07-08 23:35 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced Extension | 800 | 775 | 25 | 2023-07-08 18:39 | 2023-07-08 23:59 | 2023-07-08 23:35 | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 630 | 115 | 2023-07-08 18:42 | 2023-07-11 23:59 |  | Inlet Air Problems/Repairs
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 25 | 3 | 2023-07-08 18:55 | 2023-07-10 18:00 | 2023-07-09 14:30 | Other
SPLAIN1 | SPLAIN1_WIND1 | Wind | Forced Extension | 102 | 0 | 102 | 2023-07-08 20:01 | 2023-07-17 18:00 |  | Other
SPLAIN1 | SPLAIN1_WIND2 | Wind | Forced Extension | 98 | 0 | 98 | 2023-07-08 20:01 | 2023-07-17 18:00 |  | Other
THW | THW_THWGT31 | Natural Gas | Forced Extension | 54 | 0 | 54 | 2023-07-08 20:07 | 2023-07-10 23:59 | 2023-07-09 19:09 | Fuel Problems/Repairs
THW | THW_THWST_3 | Natural Gas | Forced Extension | 110 | 82 | 28 | 2023-07-08 20:07 | 2023-07-10 23:59 | 2023-07-09 19:09 | Steam Turbine Limited/Unavailable Due to CT/GT Work
TGCCS | TGCCS_UNIT4 | Natural Gas | Forced | 402 | 225 | 177 | 2023-07-08 20:40 | 2023-07-09 06:00 | 2023-07-08 23:50 | Unknown
TGCCS | TGCCS_CT2 | Natural Gas | Forced | 135 | 0 | 135 | 2023-07-08 20:54 | 2023-07-09 06:00 | 2023-07-08 23:50 | Unknown
RDCANYON | RDCANYON_RDCNY1 | Wind | Forced | 90 | 67 | 23 | 2023-07-08 21:05 | 2023-07-31 23:59 | 2023-07-09 13:30 | Other
DIB | DIB_DIB_G4 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-07-08 21:46 | 2023-07-11 23:59 |  | Other
MWEC | MWEC_G1 | Wind | Forced | 150 | 0 | 150 | 2023-07-08 23:40 | 2023-07-10 18:00 | 2023-07-09 11:35 | Other
2023-07-11 |  |  |  | 2 |  |  |  | 5:04