## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-07-22 | 1 | 5:04

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Jul 19, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2022-09-06 20:11 | 2023-07-19 23:59 | 2023-07-19 23:47 | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-08-01 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-08-15 23:59 |  | Other
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-08-31 23:59 |  | Other
CALLAHAN | CALLAHAN_WND1 | Wind | Unavoidable Extension | 123 | 0 | 123 | 2022-12-05 06:53 | 2023-08-31 23:59 |  | Other
H_HOLLOW | H_HOLLOW_WND1 | Wind | Unavoidable Extension | 230 | 0 | 230 | 2022-12-05 08:14 | 2023-08-31 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-10-01 23:59 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 96 | 0 | 96 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-10-31 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 512 | 15 | 2023-02-20 07:00 | 2023-07-31 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced Extension | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-12-31 23:59 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-07-31 16:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-08-31 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-09-30 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT1 | Solar | Unavoidable Extension | 130 | 56 | 74 | 2023-03-27 13:43 | 2023-07-25 17:00 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-07-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-04-21 13:03 | 2023-07-21 23:59 |  | Other
DOWGEN | DOWGEN_DOW_G61 | Natural Gas | Unavoidable Extension | 68 | 0 | 68 | 2023-04-25 12:00 | 2023-08-01 11:00 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced Extension | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-08-01 12:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-07-31 23:59 |  | Other
VICTORIA | VICTORIA_VICTORG5 | Natural Gas | Unavoidable Extension | 125 | 0 | 125 | 2023-05-01 00:01 | 2023-07-22 23:59 |  | Overhaul
VICTORIA | VICTORIA_VICTORG6 | Natural Gas | Unavoidable Extension | 160 | 0 | 160 | 2023-05-01 00:01 | 2023-07-22 23:59 |  | Overhaul
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-08-31 23:59 |  | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-08-31 23:59 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced Extension | 197 | 194 | 3 | 2023-05-03 23:19 | 2023-08-31 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-12-31 |  | Other
WAP | WAP_WAP_G8 | Bituminous Coal | Unavoidable Extension | 610 | 0 | 610 | 2023-05-08 | 2023-07-31 23:59 |  | Turbine/Generator Vibration/Repair
TURQBESS | TURQBESS_BESS1 | Not Available | Forced Extension | 190 | 190 | 0 | 2023-05-11 | 2023-07-31 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-08-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 118 | 15 | 2023-05-17 01:41 | 2023-08-31 23:59 |  | Other
DAN | DAN_UNIT2 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-11-20 08:00 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-09-11 08:00 |  | Other
VORTEX | VORTEX_BESS1 | Other | Maintenance Level 1 | 122 | 0 | 122 | 2023-05-23 08:25 | 2023-07-30 18:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 491 | 36 | 2023-05-26 18:16 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 88 | 37 | 2023-05-27 15:00 | 2023-09-01 12:00 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 7 | 16 | 2023-05-31 11:30 | 2023-12-28 21:35 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 11 | 72 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-05-31 11:32 | 2023-12-28 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 131 | 40 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 192 | 2 | 2023-06-01 23:51 | 2023-12-01 |  | Other
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Unavoidable Extension | 31 | 0 | 31 | 2023-06-02 10:01 | 2023-07-27 17:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-08-05 17:00 |  | Other
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced Extension | 20 | 0 | 20 | 2023-06-02 11:56 | 2023-07-31 23:59 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 83 | 9 | 2023-06-03 21:24 | 2023-08-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced Extension | 152 | 121 | 31 | 2023-06-03 21:49 | 2023-08-31 23:59 |  | Other
LV2 | LV2_LV2 | Wind | Forced | 202 | 173 | 29 | 2023-06-04 19:52 | 2023-12-31 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 75 | 75 | 2023-06-05 09:05 | 2023-09-29 17:00 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 94 | 15 | 2023-06-05 13:56 | 2023-07-31 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 74 | 35 | 2023-06-05 13:56 | 2023-07-31 23:59 |  | Turbine/Generator Vibration/Repair
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Forced Extension | 77 | 0 | 77 | 2023-06-06 18:01 | 2023-07-31 17:00 |  | Overhaul
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 756 | 80 | 2023-06-07 15:40 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 803 | 21 | 2023-06-07 18:34 | 2023-07-31 23:59 |  | Feedwater Problems/Repairs
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced Extension | 51 | 42 | 9 | 2023-06-09 12:15 | 2023-08-04 16:00 |  | Other
JUNO | JUNO_UNIT1 | Solar | Forced Extension | 162 | 159 | 3 | 2023-06-09 13:14 | 2023-07-31 18:00 |  | Other
GUADG | GUADG_GAS1 | Natural Gas | Forced Extension | 143 | 128 | 15 | 2023-06-09 15:29 | 2023-08-31 23:59 |  | Other
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 0 | 392 | 2023-06-11 19:10 | 2023-08-16 23:58 |  | Lightening
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 392 | 20 | 2023-06-13 16:00 | 2023-09-30 23:59 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 75 | 78 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 48 | 99 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 466 | 61 | 2023-06-14 13:12 | 2023-07-31 23:59 |  | Feedwater Problems/Repairs
MIL | MIL_MILLERG2 | Natural Gas | Forced Extension | 118 | 95 | 23 | 2023-06-15 09:08 | 2023-07-31 23:59 |  | Other
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 30 | 120 | 2023-06-15 09:19 | 2023-09-29 17:00 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 196 | 166 | 30 | 2023-06-15 15:45 | 2023-07-31 23:59 |  | Other
MASSENGL | MASSENGL_G6 | Natural Gas | Forced Extension | 18 | 0 | 18 | 2023-06-18 05:41 | 2023-12-31 23:59 |  | Other
LHSES | LHSES_UNIT2A | Natural Gas | Forced | 523 | 513 | 10 | 2023-06-21 01:19 | 2023-09-30 23:58 |  | Other
CAL | CAL_CALGT1 | Natural Gas | Forced Extension | 131 | 0 | 131 | 2023-06-21 01:22 | 2023-07-22 23:59 | 2023-07-19 17:19 | Other
CAL | CAL_CALSTG1 | Natural Gas | Forced Extension | 58 | 0 | 58 | 2023-06-21 01:22 | 2023-07-22 23:59 | 2023-07-19 17:19 | Other
OWF | OWF_OWF | Wind | Forced Extension | 55 | 6 | 49 | 2023-06-21 02:42 | 2023-07-31 16:05 |  | Turbine/Generator Vibration/Repair
GUNMTN | GUNMTN_G1 | Wind | Forced Extension | 120 | 107 | 13 | 2023-06-21 03:12 | 2023-07-19 18:00 | 2023-07-19 18:00 | Other
TORR | TORR_UNIT2_25 | Wind | Forced Extension | 128 | 93 | 35 | 2023-06-21 08:38 | 2023-08-31 23:59 |  | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 26 | 12 | 2023-06-21 10:42 | 2023-12-31 23:59 | 2023-07-20 07:05 | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Forced | 240 | 155 | 85 | 2023-06-21 12:00 | 2023-07-31 16:00 |  | Other
GRSES | GRSES_UNIT1 | Natural Gas | Forced Extension | 239 | 230 | 9 | 2023-06-21 12:00 | 2023-07-27 22:00 |  | Inlet Air Problems/Repairs
WEC | WEC_WECG1 | Wind | Forced Extension | 57 | 0 | 57 | 2023-06-21 20:07 | 2023-07-31 23:59 |  | Other
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced Extension | 75 | 0 | 75 | 2023-06-24 14:02 | 2023-07-22 12:00 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 171 | 11 | 2023-06-24 17:48 | 2023-08-31 23:59 |  | Other
BTE | BTE_BTE_G4 | Natural Gas | Forced Extension | 145 | 111 | 34 | 2023-06-25 | 2023-07-31 23:59 |  | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced Extension | 86 | 63 | 23 | 2023-06-25 18:49 | 2023-08-31 23:59 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 85 | 40 | 2023-06-26 16:03 | 2023-09-01 12:00 |  | Other
E_BLACK | E_BLACK_UNIT_1 | Solar | Forced Extension | 144 | 119 | 25 | 2023-06-27 15:05 | 2023-07-31 23:59 | 2023-07-20 09:46 | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced Extension | 63 | 63 | 0 | 2023-06-27 15:20 | 2023-07-31 12:00 |  | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced Extension | 63 | 61 | 2 | 2023-06-27 15:20 | 2023-07-31 12:00 |  | Other
TREB_SLR | TREB_SLR_SOLAR1 | Solar | Forced | 195 | 0 | 195 | 2023-06-27 17:39 | 2023-08-01 12:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 120 | 31 | 2023-06-27 23:25 | 2023-07-25 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 119 | 32 | 2023-06-27 23:25 | 2023-07-25 18:00 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 122 | 31 | 2023-06-28 | 2023-07-30 18:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 122 | 27 | 2023-06-28 | 2023-07-30 18:00 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 65 | 0 | 65 | 2023-06-28 06:30 | 2023-07-23 18:00 |  | Other
BVE | BVE_UNIT2 | Natural Gas | Forced Extension | 150 | 147 | 3 | 2023-06-28 13:19 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
GALLOWAY | GALLOWAY_SOLAR2 | Solar | Forced | 110 | 20 | 90 | 2023-06-28 14:18 | 2023-07-31 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 13 | 117 | 2023-06-28 18:34 | 2023-09-01 12:00 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 10 | 143 | 2023-06-28 22:31 | 2023-07-26 12:00 |  | Unknown
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 10 | 139 | 2023-06-28 22:31 | 2023-07-26 12:00 |  | Unknown
CCEC | CCEC_GT1 | Natural Gas | Forced | 125 | 115 | 10 | 2023-06-29 08:36 | 2023-07-31 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced Extension | 232 | 220 | 12 | 2023-06-29 12:22 | 2023-08-31 23:59 | 2023-07-19 12:37 | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 0 | 153 | 2023-06-29 14:10 | 2023-07-26 12:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 0 | 149 | 2023-06-29 14:10 | 2023-07-26 12:00 |  | Other
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 49 | 3 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 113 | 10 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 93 | 35 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 91 | 11 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 20 | 145 | 2023-06-29 21:08 | 2023-08-31 18:30 |  | Unknown
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 20 | 65 | 2023-06-29 21:09 | 2023-08-31 16:32 |  | Unknown
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 77 | 16 | 2023-07-01 05:26 | 2023-08-31 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG8 | Blast-Furnace Gas | Forced Extension | 16 | 0 | 16 | 2023-07-01 06:00 | 2023-07-29 17:00 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 495 | 7 | 2023-07-01 09:50 | 2023-07-28 15:30 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 126 | 87 | 2023-07-02 04:35 | 2023-08-31 23:59 |  | Other
DDPEC | DDPEC_GT6 | Natural Gas | Forced Extension | 156 | 0 | 156 | 2023-07-02 05:03 | 2023-08-01 19:00 |  | Other
DDPEC | DDPEC_ST1 | Natural Gas | Forced Extension | 287 | 0 | 287 | 2023-07-02 05:03 | 2023-08-01 19:00 |  | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced | 126 | 113 | 13 | 2023-07-02 09:00 | 2023-07-31 20:00 |  | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced Extension | 149 | 140 | 9 | 2023-07-02 18:00 | 2023-07-27 18:00 |  | Other
TAV | TAV_UNIT2 | Solar | Unavoidable Extension | 96 | 96 | 0 | 2023-07-03 05:05 | 2023-07-21 22:00 | 2023-07-21 22:00 | Other
PYR | PYR_PYRON1 | Wind | Forced Extension | 122 | 10 | 112 | 2023-07-03 12:15 | 2023-09-29 17:00 |  | Other
LGE | LGE_LGE_GT1 | Natural Gas | Forced Extension | 145 | 115 | 30 | 2023-07-03 13:08 | 2023-07-22 12:00 |  | Lack of Steam Load Availability
LGE | LGE_LGE_GT2 | Natural Gas | Forced Extension | 145 | 115 | 30 | 2023-07-03 13:08 | 2023-07-22 12:00 |  | Lack of Steam Load Availability
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 165 | 4 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 145 | 24 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 143 | 7 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 134 | 16 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 370 | 21 | 2023-07-05 10:19 | 2023-10-22 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2023-07-05 13:38 | 2023-08-04 23:59 | 2023-07-20 11:00 | Other
JAY | JAY_UNIT2 | Solar | Forced Extension | 172 | 113 | 59 | 2023-07-06 15:00 | 2023-07-20 00:08 | 2023-07-20 00:08 | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 651 | 173 | 2023-07-06 19:32 | 2023-07-31 23:59 |  | Feedwater Problems/Repairs
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 120 | 5 | 2023-07-07 03:14 | 2023-07-26 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 120 | 5 | 2023-07-07 03:14 | 2023-07-26 18:00 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 113 | 56 | 2023-07-08 17:08 | 2023-07-31 23:59 | 2023-07-19 15:30 | Temperature Limit
SPLAIN1 | SPLAIN1_WIND1 | Wind | Forced Extension | 102 | 0 | 102 | 2023-07-08 20:01 | 2023-07-21 16:00 | 2023-07-20 16:08 | Other
SPLAIN1 | SPLAIN1_WIND2 | Wind | Forced Extension | 98 | 0 | 98 | 2023-07-08 20:01 | 2023-07-21 16:00 | 2023-07-20 16:08 | Other
DIB | DIB_DIB_G4 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-07-08 21:46 | 2023-07-21 23:59 | 2023-07-21 23:53 | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 98 | 22 | 2023-07-09 02:59 | 2023-07-25 18:00 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 120 | 24 | 2023-07-09 02:59 | 2023-07-23 18:00 | 2023-07-21 02:28 | Other
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 120 | 24 | 2023-07-09 02:59 | 2023-07-23 18:00 | 2023-07-21 02:28 | Other
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 54 | 26 | 2023-07-09 06:42 | 2023-08-31 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 143 | 21 | 2023-07-09 07:00 | 2023-07-31 23:59 | 2023-07-20 06:50 | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-07-09 09:34 | 2023-08-31 22:59 |  | Other
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 46 | 4 | 2023-07-09 19:11 | 2023-09-30 23:59 |  | Other
INRT_W | INRT_W_UNIT1 | Wind | Forced | 68 | 39 | 29 | 2023-07-09 21:59 | 2023-07-31 23:59 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 151 | 29 | 2023-07-10 06:45 | 2023-12-04 23:58 |  | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 67 | 4 | 2023-07-10 12:00 | 2023-07-19 12:00 | 2023-07-19 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 25 | 8 | 2023-07-10 12:00 | 2023-07-19 12:00 | 2023-07-19 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced Extension | 77 | 72 | 5 | 2023-07-10 12:00 | 2023-07-19 12:00 | 2023-07-19 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 189 | 13 | 2023-07-10 12:00 | 2023-07-19 12:00 | 2023-07-19 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 14 | 8 | 2023-07-10 12:00 | 2023-07-19 12:00 | 2023-07-19 12:00 | Other
PYR | PYR_ESS2A | Not Available | Forced Extension | 15 | 12 | 3 | 2023-07-10 16:25 | 2023-08-04 17:00 |  | Other
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 102 | 12 | 2023-07-11 03:13 | 2023-07-31 23:59 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 196 | 146 | 50 | 2023-07-11 13:27 | 2023-07-31 23:59 | 2023-07-20 07:22 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 125 | 38 | 2023-07-12 00:36 | 2023-07-30 18:00 |  | Unknown
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 80 | 75 | 5 | 2023-07-12 13:26 | 2023-07-20 23:59 | 2023-07-20 15:47 | Lack of Steam Load Availability
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 140 | 63 | 2023-07-12 15:35 | 2023-07-31 23:59 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced Extension | 100 | 52 | 48 | 2023-07-12 18:01 | 2023-07-19 21:00 | 2023-07-19 17:25 | Turbine/Generator Vibration/Repair
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 135 | 15 | 2023-07-12 21:31 | 2023-07-30 23:59 |  | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-07-13 00:34 | 2023-08-18 23:59 |  | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced | 50 | 44 | 6 | 2023-07-13 00:34 | 2023-08-18 23:59 | 2023-07-21 12:29 | Other
CCEC | CCEC_GT2 | Natural Gas | Forced Extension | 125 | 85 | 40 | 2023-07-13 04:28 | 2023-07-31 23:59 |  | Tube Leak
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 128 | 24 | 2023-07-13 09:20 | 2023-07-31 20:00 | 2023-07-19 08:11 | Other
SBE | SBE_UNIT1 | Solar | Forced | 234 | 0 | 234 | 2023-07-13 13:29 | 2023-07-31 23:59 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced | 749 | 658 | 91 | 2023-07-13 15:06 | 2023-07-31 23:59 | 2023-07-20 15:00 | Inlet Air Problems/Repairs
DECKER | DECKER_DPGT_1 | Natural Gas | Forced | 48 | 24 | 24 | 2023-07-13 16:50 | 2023-07-31 23:59 |  | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 64 | 38 | 2023-07-13 17:34 | 2023-07-23 18:00 |  | Turbine/Generator Vibration/Repair
HOVEY | HOVEY_UNIT1 | Solar | Unavoidable Extension | 22 | 19 | 3 | 2023-07-13 18:30 | 2023-07-26 12:00 |  | Other
HOVEY | HOVEY_UNIT2 | Solar | Unavoidable Extension | 7 | 7 | 0 | 2023-07-13 18:30 | 2023-07-26 12:00 |  | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 95 | 8 | 2023-07-13 23:11 | 2023-07-31 23:59 | 2023-07-20 18:33 | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 191 | 10 | 2023-07-14 00:27 | 2023-08-30 23:59 |  | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 80 | 0 | 80 | 2023-07-14 09:19 | 2023-07-19 23:59 | 2023-07-19 21:57 | Tube Leak
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 95 | 14 | 2023-07-14 13:05 | 2023-07-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 132 | 58 | 2023-07-14 13:05 | 2023-07-31 23:59 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 115 | 10 | 2023-07-14 13:11 | 2023-07-28 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 115 | 10 | 2023-07-14 13:11 | 2023-07-28 18:00 |  | Other
VERAWIND | VERAWIND_UNIT3 | Wind | Forced Extension | 101 | 66 | 35 | 2023-07-14 16:40 | 2023-07-26 16:30 |  | Turbine/Generator Vibration/Repair
GALLOWAY | GALLOWAY_SOLAR2 | Solar | Forced Extension | 110 | 0 | 110 | 2023-07-14 17:00 | 2023-07-28 17:00 |  | Other
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 90 | 30 | 2023-07-14 19:16 | 2023-07-23 18:00 |  | Unknown
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 23 | 5 | 2023-07-14 20:08 | 2023-07-21 18:00 | 2023-07-19 09:28 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 770 | 35 | 2023-07-14 23:33 | 2023-07-22 23:59 |  | Other
PHOEBE | PHOEBE_UNIT1 | Solar | Forced | 125 | 107 | 18 | 2023-07-15 15:11 | 2023-07-31 20:00 |  | Other
PHOEBE | PHOEBE_UNIT2 | Solar | Forced | 128 | 105 | 23 | 2023-07-15 15:11 | 2023-07-31 20:00 |  | Other
LOCKETT | LOCKETT_UNIT1 | Wind | Forced Extension | 184 | 160 | 24 | 2023-07-15 17:25 | 2023-07-25 16:00 |  | Unknown
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 70 | 5 | 2023-07-16 | 2023-07-25 23:59 |  | Other
PNPI | PNPI_GT2 | Natural Gas | Forced | 71 | 0 | 71 | 2023-07-16 | 2023-07-31 23:59 |  | Lack of Steam Load Availability
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 73 | 7 | 2023-07-16 05:50 | 2023-08-31 23:59 |  | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced Extension | 149 | 132 | 17 | 2023-07-16 08:00 | 2023-07-19 20:00 | 2023-07-19 13:59 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 119 | 63 | 2023-07-16 09:11 | 2023-07-31 23:59 | 2023-07-20 09:19 | Other
SWEC | SWEC_G1 | Wind | Forced Extension | 120 | 109 | 11 | 2023-07-16 09:48 | 2023-07-25 18:00 |  | Unknown
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 87 | 44 | 2023-07-16 12:10 | 2023-07-19 18:00 | 2023-07-19 15:17 | Unknown
ELB | ELB_ELBCREEK | Wind | Forced | 122 | 94 | 28 | 2023-07-16 14:42 | 2023-07-21 23:59 | 2023-07-20 00:15 | Other
VERAWIND | VERAWIND_UNIT4 | Wind | Forced Extension | 22 | 16 | 6 | 2023-07-16 16:37 | 2023-07-26 16:30 |  | Other
VERAWIND | VERAWIND_UNIT5 | Wind | Forced Extension | 101 | 49 | 52 | 2023-07-16 16:38 | 2023-07-26 16:30 |  | Turbine/Generator Vibration/Repair
FRNYPP | FRNYPP_ST10 | Natural Gas | Forced | 406 | 360 | 46 | 2023-07-16 19:07 | 2023-07-23 17:59 |  | Other
RANCHERO | RANCHERO_UNIT1 | Wind | Forced Extension | 150 | 130 | 20 | 2023-07-16 19:59 | 2023-07-31 17:00 |  | Overhaul
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 176 | 10 | 2023-07-16 20:03 | 2023-07-31 23:59 | 2023-07-20 15:32 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 125 | 70 | 2023-07-16 21:00 | 2023-07-21 15:00 | 2023-07-21 08:06 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 95 | 50 | 2023-07-16 21:00 | 2023-07-21 15:00 | 2023-07-21 15:00 | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced | 158 | 130 | 28 | 2023-07-17 08:46 | 2023-07-31 23:59 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 44 | 35 | 9 | 2023-07-17 12:00 | 2023-09-30 12:00 |  | Fuel Limitation/Lack of Fuel Availability
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 138 | 13 | 2023-07-17 14:01 | 2023-07-24 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 83 | 15 | 2023-07-17 14:01 | 2023-07-24 14:00 |  | Other
DANSBY | DANSBY_DANSBYG2 | Natural Gas | Forced Extension | 45 | 35 | 10 | 2023-07-17 14:04 | 2023-08-04 23:55 |  | Cooling Water Problems/Repairs
PYR | PYR_PYRON2 | Wind | Forced Extension | 128 | 45 | 83 | 2023-07-17 15:00 | 2023-09-29 17:00 |  | Other
DNDAM | DNDAM_DENISOG2 | Water | Forced Extension | 50 | 0 | 50 | 2023-07-17 16:35 | 2023-07-24 23:59 |  | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 144 | 17 | 2023-07-17 18:52 | 2023-07-24 19:00 |  | Turbine/Generator Vibration/Repair
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 93 | 10 | 2023-07-17 18:56 | 2023-07-31 23:59 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 137 | 28 | 2023-07-17 19:16 | 2023-07-31 19:00 | 2023-07-19 14:05 | Unknown
GOAT | GOAT_GOATWIN2 | Wind | Forced Extension | 70 | 36 | 34 | 2023-07-17 20:36 | 2023-07-31 23:59 | 2023-07-20 17:36 | Hot weather related
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 625 | 30 | 2023-07-17 21:03 | 2023-07-31 23:59 | 2023-07-19 18:54 | Inlet Air Problems/Repairs
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 84 | 17 | 2023-07-17 21:05 | 2023-07-21 18:00 | 2023-07-20 22:00 | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-07-17 22:01 | 2023-07-19 23:59 | 2023-07-19 23:47 | Other
B_DAVIS | B_DAVIS_B_DAVIG1 | Natural Gas | Maintenance Level 2 | 292 | 0 | 292 | 2023-07-17 23:10 | 2023-07-21 19:00 | 2023-07-20 20:53 | Tube Leak
WAP | WAP_WAP_G5 | Bituminous Coal | Maintenance Level 1 | 664 | 0 | 664 | 2023-07-17 23:45 | 2023-07-19 23:59 | 2023-07-19 13:07 | Tube Leak
FRNYPP | FRNYPP_GT11 | Natural Gas | Unavoidable Extension | 165 | 0 | 165 | 2023-07-18 00:01 | 2023-07-20 06:59 | 2023-07-20 07:01 | Tube Leak
FRNYPP | FRNYPP_ST10 | Natural Gas | Unavoidable Extension | 406 | 230 | 176 | 2023-07-18 00:01 | 2023-07-20 06:59 | 2023-07-20 07:01 | Tube Leak
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 53 | 42 | 2023-07-18 06:00 | 2023-07-21 22:00 | 2023-07-21 21:56 | Other
JADE_SLR | JADE_SLR_UNIT2 | Solar | Forced Extension | 162 | 155 | 7 | 2023-07-18 07:00 | 2023-07-26 17:00 |  | Other
ANCHOR | ANCHOR_BESS1 | Not Available | Maintenance Level 3 | 35 | 0 | 35 | 2023-07-18 07:13 | 2023-07-27 19:00 |  | Other
ANCHOR | ANCHOR_BESS2 | Not Available | Maintenance Level 3 | 36 | 0 | 36 | 2023-07-18 07:13 | 2023-07-27 19:00 |  | Other
ANCHOR | ANCHOR_WIND1 | Wind | Maintenance Level 3 | 16 | 0 | 16 | 2023-07-18 07:13 | 2023-07-27 19:00 |  | Other
ANCHOR | ANCHOR_WIND2 | Wind | Maintenance Level 3 | 99 | 0 | 99 | 2023-07-18 07:13 | 2023-07-27 19:00 |  | Other
ANCHOR | ANCHOR_WIND3 | Wind | Maintenance Level 3 | 90 | 0 | 90 | 2023-07-18 07:13 | 2023-07-27 19:00 |  | Other
ANCHOR | ANCHOR_WIND4 | Wind | Maintenance Level 3 | 39 | 0 | 39 | 2023-07-18 07:13 | 2023-07-27 19:00 |  | Other
ANCHOR | ANCHOR_WIND5 | Wind | Maintenance Level 3 | 19 | 0 | 19 | 2023-07-18 07:13 | 2023-07-27 19:00 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Maintenance Level 1 | 391 | 270 | 121 | 2023-07-18 08:01 | 2023-08-01 17:00 |  | Other
OLINGR | OLINGR_OLING_2 | Natural Gas | Forced Extension | 107 | 0 | 107 | 2023-07-18 08:59 | 2023-07-21 23:59 | 2023-07-21 16:05 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced Extension | 222 | 202 | 20 | 2023-07-18 11:36 | 2023-07-21 18:00 | 2023-07-19 17:04 | Other
HLSES | HLSES_UNIT4 | Natural Gas | Forced Extension | 435 | 421 | 14 | 2023-07-18 12:30 | 2023-07-19 23:59 | 2023-07-19 16:05 | Other
GAMBIT | GAMBIT_BESS1 | Not Available | Forced | 100 | 80 | 20 | 2023-07-18 13:15 | 2023-07-21 23:59 | 2023-07-19 18:09 | Hot weather related
WAP | WAP_WAP_G6 | Bituminous Coal | Forced | 663 | 587 | 76 | 2023-07-18 13:39 | 2023-07-19 23:59 | 2023-07-19 17:33 | Turbine/Generator Vibration/Repair
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 656 | 89 | 2023-07-18 13:48 | 2023-07-31 23:59 |  | Inlet Air Problems/Repairs
MCDLD | MCDLD_FCW1 | Wind | Maintenance Level 1 | 124 | 110 | 14 | 2023-07-18 15:08 | 2023-12-31 16:00 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 120 | 0 | 120 | 2023-07-18 15:31 | 2023-11-30 23:59 |  | Overhaul
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 62 | 0 | 62 | 2023-07-18 15:31 | 2023-11-30 23:59 |  | Overhaul
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 103 | 23 | 2023-07-18 16:48 | 2023-07-25 23:58 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 475 | 27 | 2023-07-18 18:00 | 2023-07-28 19:55 | 2023-07-19 22:20 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced | 127 | 109 | 18 | 2023-07-18 18:06 | 2023-07-21 10:25 | 2023-07-19 13:00 | Turbine/Generator Vibration/Repair
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 731 | 74 | 2023-07-18 18:44 | 2023-07-19 06:00 | 2023-07-19 02:36 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 830 | 25 | 2023-07-18 18:53 | 2023-07-19 08:00 | 2023-07-19 02:42 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 830 | 25 | 2023-07-18 18:59 | 2023-07-19 20:29 | 2023-07-19 02:44 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 805 | 50 | 2023-07-18 19:01 | 2023-07-19 08:00 | 2023-07-19 02:43 | Other
FLTCK | FLTCK_SSI | Wind | Forced Extension | 53 | 0 | 53 | 2023-07-18 19:17 | 2023-07-19 12:00 | 2023-07-19 05:00 | Other
DEC | DEC_AGR_D | Natural Gas | Forced | 56 | 41 | 15 | 2023-07-18 19:21 | 2023-07-18 23:55 | 2023-07-19 00:46 | Unknown
WAP | WAP_WAP_G7 | Bituminous Coal | Forced Extension | 577 | 513 | 64 | 2023-07-18 19:22 | 2023-07-19 08:00 | 2023-07-19 04:08 | Inlet Air Problems/Repairs
BCATWIND | BCATWIND_WIND_1 | Wind | Forced | 162 | 147 | 15 | 2023-07-18 19:56 | 2023-07-19 23:59 | 2023-07-19 02:38 | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 131 | 19 | 2023-07-18 20:34 | 2023-07-31 23:59 | 2023-07-19 23:34 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced Extension | 173 | 163 | 10 | 2023-07-18 20:49 | 2023-07-28 22:00 |  | Turbine/Generator Vibration/Repair
MLSES | MLSES_UNIT1 | Lignite | Forced Extension | 800 | 765 | 35 | 2023-07-18 21:15 | 2023-07-19 08:00 | 2023-07-19 01:00 | Other
CHE | CHE_CHEST1 | Natural Gas | Unavoidable Extension | 171 | 155 | 16 | 2023-07-18 22:04 | 2023-07-19 16:00 | 2023-07-19 13:20 | Other
CHE | CHE_GT2 | Natural Gas | Unavoidable Extension | 171 | 0 | 171 | 2023-07-18 22:04 | 2023-07-19 16:00 | 2023-07-19 13:20 | Other
HHOLLOW2 | HHOLLOW2_WIND1 | Wind | Forced | 184 | 179 | 5 | 2023-07-18 22:11 | 2023-07-31 23:59 |  | Other
LHORN_N | LHORN_N_UNIT2 | Wind | Forced | 100 | 88 | 12 | 2023-07-18 22:20 | 2023-07-19 08:00 | 2023-07-19 00:22 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced Extension | 209 | 167 | 42 | 2023-07-18 23:30 | 2023-07-20 23:59 | 2023-07-20 23:59 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced Extension | 210 | 153 | 57 | 2023-07-18 23:30 | 2023-07-20 23:59 | 2023-07-20 23:59 | Other
BYRDR_ES | BYRDR_ES_BESS1 | Not Available | Forced | 50 | 0 | 50 | 2023-07-19 | 2023-07-20 23:59 | 2023-07-19 14:00 | Other
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Maintenance Level 1 | 126 | 126 | 0 | 2023-07-19 | 2023-07-31 23:59 |  | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Maintenance Level 1 | 126 | 28 | 98 | 2023-07-19 | 2023-07-23 23:59 |  | Other
WFTANK | WFTANK_ESS1 | Not Available | Maintenance Level 1 | 150 | 0 | 150 | 2023-07-19 | 2023-07-31 17:00 |  | Other
DEC | DEC_AGR_C | Natural Gas | Unavoidable Extension | 56 | 38 | 18 | 2023-07-19 00:01 | 2023-07-19 15:30 | 2023-07-19 14:15 | Other
JCKCNTY2 | JCKCNTY2_CT4 | Natural Gas | Maintenance Level 2 | 158 | 0 | 158 | 2023-07-19 00:01 | 2023-07-19 06:00 | 2023-07-19 01:02 | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 96 | 19 | 2023-07-19 00:36 | 2023-07-31 23:59 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 565 | 235 | 2023-07-19 01:00 | 2023-07-19 12:00 | 2023-07-19 12:00 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 805 | 570 | 235 | 2023-07-19 01:00 | 2023-07-19 12:00 | 2023-07-19 12:00 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 570 | 235 | 2023-07-19 01:01 | 2023-07-19 12:00 | 2023-07-19 12:00 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 790 | 65 | 2023-07-19 02:42 | 2023-07-19 19:00 | 2023-07-19 18:50 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 810 | 45 | 2023-07-19 02:43 | 2023-07-20 19:59 | 2023-07-19 21:59 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 750 | 105 | 2023-07-19 02:45 | 2023-07-19 20:30 | 2023-07-19 18:52 | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 2 | 180 | 0 | 180 | 2023-07-19 04:00 | 2023-07-19 06:00 | 2023-07-19 06:00 | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 2 | 172 | 0 | 172 | 2023-07-19 04:00 | 2023-07-19 06:00 | 2023-07-19 06:00 | Other
RAB | RAB_UNIT1 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-07-19 04:00 | 2023-07-19 09:00 | 2023-07-19 07:35 | Boroscope
RAB | RAB_UNIT7 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-07-19 04:00 | 2023-07-19 09:00 | 2023-07-19 06:58 | Boroscope
REDGATE | REDGATE_AGR_C | Natural Gas | Maintenance Level 1 | 56 | 37 | 19 | 2023-07-19 04:00 | 2023-07-19 14:00 | 2023-07-19 13:17 | Fuel Problems/Repairs
DAN | DAN_UNIT1 | Solar | Maintenance Level 1 | 300 | 0 | 300 | 2023-07-19 04:54 | 2023-07-19 06:00 | 2023-07-19 05:52 | Other
DAN | DAN_UNIT2 | Solar | Maintenance Level 1 | 150 | 0 | 150 | 2023-07-19 04:54 | 2023-07-19 06:00 | 2023-07-19 05:52 | Other
DAN | DAN_UNIT3 | Solar | Maintenance Level 1 | 150 | 0 | 150 | 2023-07-19 04:54 | 2023-07-19 06:00 | 2023-07-19 05:52 | Other
MARBFA | MARBFA_MARBFAG2 | Water | Forced Extension | 20 | 0 | 20 | 2023-07-19 05:03 | 2023-07-19 18:00 | 2023-07-19 09:39 | Unknown
LV5 | LV5_UNIT_1 | Wind | Forced | 110 | 0 | 110 | 2023-07-19 06:23 | 2023-07-21 18:00 | 2023-07-19 12:55 | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 0 | 167 | 2023-07-19 06:42 | 2023-07-19 08:42 | 2023-07-19 10:00 | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 0 | 146 | 2023-07-19 06:42 | 2023-07-19 08:42 | 2023-07-19 10:00 | Other
MDANP | MDANP_CT6 | Natural Gas | Forced | 243 | 0 | 243 | 2023-07-19 06:55 | 2023-07-19 08:30 | 2023-07-19 07:40 | Other
AZ | AZ_AZ_G1 | Natural Gas | Maintenance Level 1 | 36 | 0 | 36 | 2023-07-19 07:00 | 2023-07-19 12:00 | 2023-07-19 12:00 | Other
GRIF_TRL | GRIF_TRL_UNIT1 | Wind | Forced | 99 | 88 | 11 | 2023-07-19 07:10 | 2023-07-21 07:10 | 2023-07-19 12:15 | Turbine/Generator Vibration/Repair
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 115 | 37 | 2023-07-19 08:00 | 2023-07-31 20:00 |  | Other
VICTPORT | VICTPORT_CTG02 | Natural Gas | Maintenance Level 2 | 44 | 0 | 44 | 2023-07-19 08:00 | 2023-07-19 15:00 | 2023-07-19 12:51 | Other
CAPRIDG4 | CAPRIDG4_BB2_PV1 | Solar | Forced | 100 | 64 | 36 | 2023-07-19 08:52 | 2023-07-31 10:00 | 2023-07-19 14:18 | Unknown
PRTLAVS | PRTLAVS_BESS1 | Not Available | Maintenance Level 2 | 10 | 5 | 5 | 2023-07-19 09:00 | 2023-07-19 17:00 | 2023-07-19 17:00 | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 20 | 8 | 2023-07-19 09:28 | 2023-07-21 18:00 | 2023-07-19 11:50 | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 50 | 117 | 2023-07-19 10:00 | 2023-07-19 23:59 |  | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 0 | 167 | 2023-07-19 10:00 | 2023-07-19 12:00 | 2023-07-19 10:33 | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 0 | 146 | 2023-07-19 10:00 | 2023-07-19 12:00 | 2023-07-19 10:34 | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 0 | 527 | 2023-07-19 10:19 | 2023-07-20 06:00 | 2023-07-20 05:25 | Feedwater Problems/Repairs
TKWSW1 | TKWSW1_ROSCOE | Wind | Forced | 114 | 0 | 114 | 2023-07-19 10:58 | 2023-07-19 13:00 | 2023-07-19 12:29 | Other
TKWSW1 | TKWSW1_ROSCOE2A | Wind | Forced | 95 | 0 | 95 | 2023-07-19 10:58 | 2023-07-19 13:00 | 2023-07-19 12:29 | Other
GIDEON | GIDEON_GIDEONG1 | Natural Gas | Forced | 130 | 106 | 24 | 2023-07-19 11:00 | 2023-07-19 12:00 | 2023-07-19 11:45 | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Maintenance Level 2 | 50 | 0 | 50 | 2023-07-19 11:02 | 2023-07-19 12:00 | 2023-07-19 11:21 | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Maintenance Level 2 | 50 | 0 | 50 | 2023-07-19 11:02 | 2023-07-19 12:00 | 2023-07-19 12:01 | Other
CORALSLR | CORALSLR_BESS1 | Not Available | Forced Extension | 48 | 0 | 48 | 2023-07-19 11:39 | 2023-07-19 14:30 | 2023-07-19 13:47 | Other
CORALSLR | CORALSLR_BESS2 | Not Available | Forced Extension | 51 | 0 | 51 | 2023-07-19 11:39 | 2023-07-19 14:30 | 2023-07-19 13:47 | Other
CORALSLR | CORALSLR_SOLAR1 | Solar | Forced Extension | 96 | 0 | 96 | 2023-07-19 11:39 | 2023-07-19 14:30 | 2023-07-19 13:47 | Other
CORALSLR | CORALSLR_SOLAR2 | Solar | Forced Extension | 55 | 0 | 55 | 2023-07-19 11:39 | 2023-07-19 14:30 | 2023-07-19 13:47 | Other
RTS2 | RTS2_U1 | Wind | Forced | 90 | 79 | 11 | 2023-07-19 11:40 | 2023-07-19 16:00 | 2023-07-19 16:00 | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 240 | 0 | 240 | 2023-07-19 11:46 | 2023-07-20 03:00 | 2023-07-20 01:51 | Transformer Repair/Replace
LIG | LIG_UNIT2 | Natural Gas | Forced | 42 | 0 | 42 | 2023-07-19 11:49 | 2023-07-19 18:00 | 2023-07-19 13:21 | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 23 | 5 | 2023-07-19 11:50 | 2023-07-21 18:00 | 2023-07-20 10:58 | Other
RADN_SLR | RADN_SLR_UNIT1 | Solar | Forced | 159 | 158 | 1 | 2023-07-19 12:00 | 2023-07-31 12:00 |  | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 161 | 2 | 2023-07-19 12:00 | 2023-07-31 12:00 |  | Other
CBY4 | CBY4_CT42 | Natural Gas | Forced | 163 | 141 | 22 | 2023-07-19 12:20 | 2023-07-19 12:40 | 2023-07-19 12:39 | Feedwater Problems/Repairs
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 106 | 126 | 2023-07-19 12:37 | 2023-08-31 23:59 | 2023-07-19 16:31 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 91 | 36 | 2023-07-19 13:00 | 2023-07-22 10:25 | 2023-07-21 19:30 | Turbine/Generator Vibration/Repair
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 67 | 4 | 2023-07-19 13:00 | 2023-07-24 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 25 | 8 | 2023-07-19 13:00 | 2023-07-24 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 193 | 9 | 2023-07-19 13:00 | 2023-07-24 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 14 | 8 | 2023-07-19 13:00 | 2023-07-24 12:00 |  | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 134 | 14 | 2023-07-19 13:15 | 2023-07-19 18:00 | 2023-07-19 14:27 | Other
DAN | DAN_UNIT1 | Solar | Forced | 300 | 75 | 225 | 2023-07-19 13:15 | 2023-07-31 23:15 |  | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 128 | 21 | 2023-07-19 13:45 | 2023-07-31 20:00 | 2023-07-21 08:45 | Other
SPNCER | SPNCER_SPNCE_5 | Natural Gas | Forced | 61 | 16 | 45 | 2023-07-19 13:56 | 2023-07-19 18:59 | 2023-07-19 15:09 | Feedwater Problems/Repairs
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 105 | 60 | 2023-07-19 14:05 | 2023-07-31 19:00 | 2023-07-21 04:12 | Unknown
BAC | BAC_CTG5 | Natural Gas | Forced | 54 | 0 | 54 | 2023-07-19 14:40 | 2023-07-19 19:00 | 2023-07-19 16:45 | Other
EGROVESL | EGROVESL_UNIT1 | Solar | Forced | 108 | 98 | 10 | 2023-07-19 14:48 | 2023-07-19 20:00 | 2023-07-19 20:00 | Other
DEC | DEC_AGR_C | Natural Gas | Forced | 56 | 38 | 18 | 2023-07-19 14:52 | 2023-07-19 17:30 | 2023-07-19 15:50 | Other
BAC | BAC_CTG5 | Natural Gas | Forced | 54 | 0 | 54 | 2023-07-19 15:09 | 2023-07-19 19:00 | 2023-07-19 15:10 | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 133 | 36 | 2023-07-19 15:38 | 2023-07-24 23:59 |  | Temperature Limit
ANDMDSLR | ANDMDSLR_UNIT1 | Solar | Forced | 158 | 158 | 0 | 2023-07-19 16:00 | 2023-07-31 12:00 | 2023-07-19 16:01 | Other
ANDMDSLR | ANDMDSLR_UNIT2 | Solar | Forced | 162 | 160 | 2 | 2023-07-19 16:00 | 2023-07-31 12:00 | 2023-07-19 16:01 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 198 | 24 | 2023-07-19 16:00 | 2023-07-21 18:00 | 2023-07-20 10:01 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 795 | 5 | 2023-07-19 16:09 | 2023-07-19 20:00 | 2023-07-19 18:55 | Emissions
CAPRIDG4 | CAPRIDG4_CR4 | Wind | Forced | 122 | 115 | 7 | 2023-07-19 16:28 | 2023-07-31 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 34 | 198 | 2023-07-19 16:31 | 2023-08-31 23:59 | 2023-07-20 01:42 | Other
RAB | RAB_UNIT7 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-07-19 16:45 | 2023-07-20 12:00 | 2023-07-19 23:33 | Other
CAL | CAL_CALGT1 | Natural Gas | Forced | 131 | 55 | 76 | 2023-07-19 17:20 | 2023-07-20 23:59 | 2023-07-20 09:12 | Transformer Repair/Replace
CAL | CAL_CALSTG1 | Natural Gas | Forced | 58 | 31 | 27 | 2023-07-19 17:20 | 2023-07-20 23:59 | 2023-07-20 09:12 | Transformer Repair/Replace
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 95 | 36 | 2023-07-19 17:25 | 2023-07-23 18:00 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 46 | 54 | 2023-07-19 17:26 | 2023-07-24 22:00 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 577 | 86 | 2023-07-19 17:33 | 2023-07-20 23:59 | 2023-07-20 05:12 | Turbine/Generator Vibration/Repair
RADN_SLR | RADN_SLR_UNIT1 | Solar | Forced | 159 | 142 | 17 | 2023-07-19 17:49 | 2023-07-19 23:59 | 2023-07-19 23:59 | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 146 | 17 | 2023-07-19 17:49 | 2023-07-19 23:59 | 2023-07-19 23:59 | Other
ANDMDSLR | ANDMDSLR_UNIT1 | Solar | Forced | 158 | 144 | 14 | 2023-07-19 18:06 | 2023-07-19 21:00 | 2023-07-19 21:00 | Other
ANDMDSLR | ANDMDSLR_UNIT2 | Solar | Forced | 162 | 144 | 18 | 2023-07-19 18:06 | 2023-07-19 21:00 | 2023-07-19 21:00 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 850 | 5 | 2023-07-19 18:49 | 2023-07-20 10:00 | 2023-07-19 22:48 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 645 | 10 | 2023-07-19 18:53 | 2023-07-31 23:59 | 2023-07-21 15:38 | Inlet Air Problems/Repairs
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 735 | 65 | 2023-07-19 18:54 | 2023-07-20 08:00 | 2023-07-19 21:55 | Emissions
JUNO | JUNO_UNIT1 | Solar | Unavoidable Extension | 162 | 0 | 162 | 2023-07-19 20:00 | 2023-07-20 08:00 | 2023-07-20 06:50 | Other
GRSES | GRSES_UNIT2 | Natural Gas | Forced | 390 | 375 | 15 | 2023-07-19 20:14 | 2023-07-21 20:00 | 2023-07-20 14:54 | Other
JUNO | JUNO_UNIT2 | Solar | Unavoidable Extension | 144 | 0 | 144 | 2023-07-19 20:30 | 2023-07-20 08:00 | 2023-07-20 06:53 | Other
STRATEGC | STRATEGC_UNIT1 | Solar | Forced | 135 | 117 | 18 | 2023-07-19 20:48 | 2023-07-20 05:00 | 2023-07-20 04:00 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 695 | 105 | 2023-07-19 21:55 | 2023-07-20 08:00 | 2023-07-20 07:37 | Emissions
SCSES | SCSES_UNIT2 | Natural Gas | Forced | 502 | 75 | 427 | 2023-07-19 22:00 | 2023-07-20 04:00 | 2023-07-20 00:55 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 795 | 60 | 2023-07-19 22:48 | 2023-07-20 10:00 | 2023-07-19 23:37 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 805 | 50 | 2023-07-19 22:48 | 2023-07-21 09:00 | 2023-07-20 06:15 | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 142 | 8 | 2023-07-19 23:35 | 2023-08-31 23:59 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 775 | 80 | 2023-07-19 23:37 | 2023-07-20 10:00 | 2023-07-20 06:12 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 825 | 30 | 2023-07-19 23:38 | 2023-07-21 08:59 | 2023-07-20 06:17 | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2023-07-19 23:47 | 2023-07-31 23:59 |  | Exhaust Problems/Repairs
2023-07-22 |  |  |  | 2 |  |  |  | 5:04