## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-08-02 | 1 | 5:05

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Jul 30, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-09-01 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-08-15 23:59 |  | Other
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-08-31 23:59 |  | Other
CALLAHAN | CALLAHAN_WND1 | Wind | Unavoidable Extension | 123 | 0 | 123 | 2022-12-05 06:53 | 2023-08-31 23:59 |  | Other
H_HOLLOW | H_HOLLOW_WND1 | Wind | Unavoidable Extension | 230 | 0 | 230 | 2022-12-05 08:14 | 2023-08-31 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
FLCNS | FLCNS_UNIT3 | Natural Gas | Forced Extension | 62 | 0 | 62 | 2023-01-01 | 2023-07-31 23:59 | 2023-07-31 23:59 | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-11-01 15:00 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 96 | 0 | 96 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-10-31 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 512 | 15 | 2023-02-20 07:00 | 2023-08-31 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced Extension | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-12-31 23:59 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-11-01 16:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-08-31 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-09-30 17:00 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-08-15 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
DOWGEN | DOWGEN_DOW_G61 | Natural Gas | Unavoidable Extension | 68 | 0 | 68 | 2023-04-25 12:00 | 2023-08-05 11:00 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced Extension | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-09-01 12:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-05-01 00:01 | 2023-07-31 23:59 | 2023-07-31 05:09 | Other
WHMESA | WHMESA_UNIT2_23 | Wind | Forced Extension | 14 | 13 | 1 | 2023-05-01 00:01 | 2023-08-31 23:59 |  | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-08-31 23:59 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-12-31 |  | Other
WAP | WAP_WAP_G8 | Bituminous Coal | Unavoidable Extension | 610 | 0 | 610 | 2023-05-08 | 2023-08-19 23:59 |  | Turbine/Generator Vibration/Repair
TURQBESS | TURQBESS_BESS1 | Not Available | Forced Extension | 190 | 190 | 0 | 2023-05-11 | 2023-07-31 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-08-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 118 | 15 | 2023-05-17 01:41 | 2023-08-31 23:59 |  | Other
DAN | DAN_UNIT2 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-11-20 08:00 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-09-11 08:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 491 | 36 | 2023-05-26 18:16 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 88 | 37 | 2023-05-27 15:00 | 2023-09-01 12:00 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 7 | 16 | 2023-05-31 11:30 | 2023-12-28 21:35 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 11 | 72 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 42 | 6 | 2023-05-31 11:32 | 2023-12-28 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 131 | 40 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 192 | 2 | 2023-06-01 23:51 | 2023-12-01 |  | Other
NCARBIDE | NCARBIDE_NCARBIG1 | Natural Gas | Unavoidable Extension | 31 | 0 | 31 | 2023-06-02 10:01 | 2023-08-02 17:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-08-05 17:00 |  | Other
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced Extension | 20 | 0 | 20 | 2023-06-02 11:56 | 2023-08-13 23:59 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 83 | 9 | 2023-06-03 21:24 | 2023-08-31 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 94 | 15 | 2023-06-05 13:56 | 2023-08-31 23:59 | 2023-07-30 16:12 | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 74 | 35 | 2023-06-05 13:56 | 2023-08-31 23:59 | 2023-07-30 16:12 | Turbine/Generator Vibration/Repair
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 756 | 80 | 2023-06-07 15:40 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 803 | 21 | 2023-06-07 18:34 | 2023-08-31 23:59 |  | Feedwater Problems/Repairs
PEARSAL2 | PEARSAL2_AGR_C | Natural Gas | Forced Extension | 51 | 42 | 9 | 2023-06-09 12:15 | 2023-08-04 16:00 |  | Other
GUADG | GUADG_GAS1 | Natural Gas | Forced Extension | 143 | 128 | 15 | 2023-06-09 15:29 | 2023-08-31 23:59 |  | Other
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 0 | 392 | 2023-06-11 19:10 | 2023-08-23 23:58 |  | Lightening
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 392 | 20 | 2023-06-13 16:00 | 2023-09-30 23:59 |  | Other
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 75 | 78 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 48 | 99 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 466 | 61 | 2023-06-14 13:12 | 2023-08-31 23:59 |  | Feedwater Problems/Repairs
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 30 | 120 | 2023-06-15 09:19 | 2023-09-29 17:00 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 196 | 166 | 30 | 2023-06-15 15:45 | 2023-08-31 23:59 |  | Other
MASSENGL | MASSENGL_G6 | Natural Gas | Forced Extension | 18 | 0 | 18 | 2023-06-18 05:41 | 2023-12-31 23:59 |  | Other
LHSES | LHSES_UNIT2A | Natural Gas | Forced | 523 | 513 | 10 | 2023-06-21 01:19 | 2023-09-30 23:58 |  | Other
OWF | OWF_OWF | Wind | Forced Extension | 55 | 6 | 49 | 2023-06-21 02:42 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
TORR | TORR_UNIT2_25 | Wind | Forced Extension | 128 | 93 | 35 | 2023-06-21 08:38 | 2023-08-31 23:59 |  | Other
EIFSLR | EIFSLR_UNIT1 | Solar | Forced Extension | 240 | 155 | 85 | 2023-06-21 12:00 | 2023-07-31 20:00 | 2023-07-31 16:11 | Other
WEC | WEC_WECG1 | Wind | Forced Extension | 57 | 0 | 57 | 2023-06-21 20:07 | 2023-11-01 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 171 | 11 | 2023-06-24 17:48 | 2023-08-31 23:59 |  | Other
BTE | BTE_BTE_G4 | Natural Gas | Forced Extension | 145 | 111 | 34 | 2023-06-25 | 2023-08-31 23:59 | 2023-07-31 23:59 | Other
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced Extension | 86 | 63 | 23 | 2023-06-25 18:49 | 2023-08-31 23:59 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 85 | 40 | 2023-06-26 16:03 | 2023-09-01 12:00 |  | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced Extension | 63 | 63 | 0 | 2023-06-27 15:20 | 2023-07-31 12:00 | 2023-07-31 12:12 | Other
TREB_SLR | TREB_SLR_SOLAR1 | Solar | Forced Extension | 195 | 0 | 195 | 2023-06-27 17:39 | 2023-08-16 10:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 120 | 31 | 2023-06-27 23:25 | 2023-08-07 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 119 | 32 | 2023-06-27 23:25 | 2023-08-07 18:00 |  | Other
BVE | BVE_UNIT2 | Natural Gas | Forced Extension | 150 | 147 | 3 | 2023-06-28 13:19 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
GALLOWAY | GALLOWAY_SOLAR2 | Solar | Forced Extension | 110 | 20 | 90 | 2023-06-28 14:18 | 2023-08-31 20:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 13 | 117 | 2023-06-28 18:34 | 2023-09-01 12:00 |  | Other
CCEC | CCEC_GT1 | Natural Gas | Forced Extension | 125 | 115 | 10 | 2023-06-29 08:36 | 2023-08-31 23:59 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 0 | 153 | 2023-06-29 14:10 | 2023-08-31 17:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 0 | 149 | 2023-06-29 14:10 | 2023-08-31 17:00 |  | Other
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 49 | 3 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 113 | 10 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 93 | 35 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 91 | 11 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
ROSELAND | ROSELAND_SOLAR2 | Solar | Forced | 165 | 20 | 145 | 2023-06-29 21:08 | 2023-08-31 18:30 |  | Unknown
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 20 | 65 | 2023-06-29 21:09 | 2023-08-31 16:32 |  | Unknown
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 77 | 16 | 2023-07-01 05:26 | 2023-08-31 23:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 495 | 7 | 2023-07-01 09:50 | 2023-08-04 15:30 | 2023-07-30 13:54 | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 126 | 87 | 2023-07-02 04:35 | 2023-08-31 23:59 |  | Other
DDPEC | DDPEC_ST1 | Natural Gas | Forced Extension | 287 | 0 | 287 | 2023-07-02 05:03 | 2023-08-03 19:00 |  | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced | 126 | 113 | 13 | 2023-07-02 09:00 | 2023-07-31 20:00 | 2023-07-31 20:00 | Other
PYR | PYR_PYRON1 | Wind | Forced Extension | 122 | 10 | 112 | 2023-07-03 12:15 | 2023-09-29 17:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 165 | 4 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 145 | 24 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 143 | 7 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 134 | 16 | 2023-07-04 03:28 | 2023-08-04 18:00 |  | Turbine/Generator Vibration/Repair
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 370 | 21 | 2023-07-05 10:19 | 2023-10-22 23:59 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 651 | 173 | 2023-07-06 19:32 | 2023-08-31 23:59 |  | Feedwater Problems/Repairs
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 120 | 5 | 2023-07-07 03:14 | 2023-08-02 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 120 | 5 | 2023-07-07 03:14 | 2023-08-02 18:00 |  | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 98 | 22 | 2023-07-09 02:59 | 2023-08-07 18:00 |  | Other
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 54 | 26 | 2023-07-09 06:42 | 2023-08-31 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-07-09 09:34 | 2023-08-31 22:59 |  | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 635 | 20 | 2023-07-09 12:56 | 2023-08-31 18:00 |  | Inlet Air Problems/Repairs
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 46 | 4 | 2023-07-09 19:11 | 2023-09-30 23:59 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 151 | 29 | 2023-07-10 06:45 | 2023-12-04 23:58 | 2023-07-31 06:51 | Other
PYR | PYR_ESS2A | Not Available | Forced Extension | 15 | 12 | 3 | 2023-07-10 16:25 | 2023-08-04 17:00 |  | Other
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 102 | 12 | 2023-07-11 03:13 | 2023-07-31 23:59 | 2023-07-31 04:44 | Other
RVRVLYS | RVRVLYS_ESS1 | Not Available | Forced | 50 | 0 | 50 | 2023-07-12 | 2023-08-15 23:59 |  | Other
RVRVLYS | RVRVLYS_ESS2 | Not Available | Forced | 50 | 0 | 50 | 2023-07-12 | 2023-08-15 23:59 |  | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced Extension | 203 | 140 | 63 | 2023-07-12 15:35 | 2023-08-04 23:59 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 135 | 15 | 2023-07-12 21:31 | 2023-07-30 23:59 | 2023-07-30 23:59 | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-07-13 00:34 | 2023-08-18 23:59 |  | Other
CCEC | CCEC_GT2 | Natural Gas | Forced Extension | 125 | 85 | 40 | 2023-07-13 04:28 | 2023-08-31 23:59 |  | Tube Leak
SBE | SBE_UNIT1 | Solar | Forced | 234 | 0 | 234 | 2023-07-13 13:29 | 2023-07-31 23:59 |  | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Forced | 48 | 24 | 24 | 2023-07-13 16:50 | 2023-07-31 23:59 | 2023-07-30 12:51 | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 64 | 38 | 2023-07-13 17:34 | 2023-08-01 18:00 | 2023-08-01 06:19 | Turbine/Generator Vibration/Repair
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 191 | 10 | 2023-07-14 00:27 | 2023-08-30 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 95 | 14 | 2023-07-14 13:05 | 2023-07-31 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 132 | 58 | 2023-07-14 13:05 | 2023-07-31 23:59 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 115 | 10 | 2023-07-14 13:11 | 2023-08-05 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 115 | 10 | 2023-07-14 13:11 | 2023-08-05 18:00 |  | Other
GALLOWAY | GALLOWAY_SOLAR2 | Solar | Forced Extension | 110 | 0 | 110 | 2023-07-14 17:00 | 2023-08-04 17:00 |  | Other
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 90 | 30 | 2023-07-14 19:16 | 2023-08-01 18:00 | 2023-08-01 06:06 | Unknown
PNPI | PNPI_GT2 | Natural Gas | Forced Extension | 71 | 0 | 71 | 2023-07-16 | 2023-08-19 23:59 |  | Lack of Steam Load Availability
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 73 | 7 | 2023-07-16 05:50 | 2023-08-31 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 176 | 10 | 2023-07-16 20:03 | 2023-08-31 22:59 | 2023-08-01 06:01 | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced | 158 | 130 | 28 | 2023-07-17 08:46 | 2023-07-31 23:59 | 2023-07-31 13:51 | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 44 | 35 | 9 | 2023-07-17 12:00 | 2023-09-30 12:00 |  | Fuel Limitation/Lack of Fuel Availability
PYR | PYR_PYRON2 | Wind | Forced Extension | 128 | 45 | 83 | 2023-07-17 15:00 | 2023-09-29 17:00 |  | Other
DNDAM | DNDAM_DENISOG2 | Water | Forced Extension | 50 | 0 | 50 | 2023-07-17 16:35 | 2023-08-11 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Unavoidable Extension | 391 | 270 | 121 | 2023-07-18 08:01 | 2023-08-01 23:06 | 2023-08-01 19:23 | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 656 | 89 | 2023-07-18 13:48 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
MCDLD | MCDLD_FCW1 | Wind | Maintenance Level 1 | 124 | 110 | 14 | 2023-07-18 15:08 | 2023-12-31 16:00 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 120 | 0 | 120 | 2023-07-18 15:31 | 2023-11-30 23:59 |  | Overhaul
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 62 | 0 | 62 | 2023-07-18 15:31 | 2023-11-30 23:59 |  | Overhaul
HHOLLOW2 | HHOLLOW2_WIND1 | Wind | Forced | 184 | 179 | 5 | 2023-07-18 22:11 | 2023-07-31 23:59 | 2023-07-31 05:00 | Other
RADN_SLR | RADN_SLR_UNIT1 | Solar | Forced | 159 | 158 | 1 | 2023-07-19 12:00 | 2023-07-31 12:00 | 2023-07-31 11:50 | Other
RADN_SLR | RADN_SLR_UNIT2 | Solar | Forced | 163 | 161 | 2 | 2023-07-19 12:00 | 2023-07-31 12:00 | 2023-07-31 11:50 | Other
DAN | DAN_UNIT1 | Solar | Forced | 300 | 75 | 225 | 2023-07-19 13:15 | 2023-07-31 23:15 | 2023-07-31 20:30 | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 133 | 36 | 2023-07-19 15:38 | 2023-08-31 23:59 |  | Temperature Limit
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 142 | 8 | 2023-07-19 23:35 | 2023-08-31 23:59 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2023-07-19 23:47 | 2023-08-31 23:59 |  | Exhaust Problems/Repairs
GUNMTN | GUNMTN_G1 | Wind | Forced Extension | 120 | 107 | 13 | 2023-07-20 08:22 | 2023-08-02 18:00 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced | 146 | 30 | 116 | 2023-07-20 11:12 | 2023-07-31 23:59 | 2023-08-01 00:19 | Emissions
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 673 | 76 | 2023-07-20 15:00 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 81 | 20 | 2023-07-20 22:01 | 2023-08-04 18:00 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 128 | 16 | 2023-07-21 02:30 | 2023-08-03 18:00 |  | Unknown
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 127 | 17 | 2023-07-21 02:30 | 2023-08-03 18:00 |  | Unknown
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 143 | 21 | 2023-07-21 06:03 | 2023-08-31 15:04 | 2023-07-31 20:30 | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced | 50 | 46 | 4 | 2023-07-21 12:32 | 2023-08-18 23:59 |  | Other
NOBLESLR | NOBLESLR_SOLAR2 | Solar | Forced | 128 | 122 | 6 | 2023-07-21 16:30 | 2023-07-31 12:00 | 2023-07-31 12:00 | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced | 8 | 0 | 8 | 2023-07-22 00:01 | 2023-08-22 23:59 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 110 | 55 | 2023-07-23 05:26 | 2023-09-01 19:00 |  | Unknown
SWEC | SWEC_G1 | Wind | Forced Extension | 120 | 105 | 15 | 2023-07-23 15:46 | 2023-08-02 18:00 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 135 | 28 | 2023-07-24 01:55 | 2023-07-30 18:00 | 2023-07-30 18:00 | Unknown
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 80 | 0 | 80 | 2023-07-24 09:00 | 2023-07-31 12:00 | 2023-07-31 11:32 | Tube Leak
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 132 | 19 | 2023-07-24 09:47 | 2023-07-31 14:00 | 2023-07-31 14:00 | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 80 | 18 | 2023-07-24 09:47 | 2023-07-31 14:00 | 2023-07-31 14:00 | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 80 | 72 | 8 | 2023-07-24 09:47 | 2023-07-31 23:59 | 2023-07-31 22:01 | Tube Leak
AMOCOOIL | AMOCOOIL_AMOCO_2 | Natural Gas | Unavoidable Extension | 65 | 0 | 65 | 2023-07-24 12:00 | 2023-08-03 19:00 |  | Exhaust Problems/Repairs
BAFFIN | BAFFIN_UNIT1 | Wind | Forced Extension | 100 | 52 | 48 | 2023-07-24 12:38 | 2023-08-29 18:00 |  | Turbine/Generator Vibration/Repair
PENA | PENA_UNIT1 | Wind | Forced Extension | 161 | 141 | 20 | 2023-07-24 12:51 | 2023-08-01 18:00 | 2023-08-01 06:24 | Turbine/Generator Vibration/Repair
INRT_W | INRT_W_UNIT2 | Wind | Forced | 28 | 25 | 3 | 2023-07-24 13:15 | 2023-07-31 23:59 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 65 | 0 | 65 | 2023-07-24 14:00 | 2023-08-02 17:00 |  | Other
ROW | ROW_UNIT1 | Solar | Unavoidable Extension | 100 | 80 | 20 | 2023-07-24 19:21 | 2023-08-31 20:00 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 98 | 33 | 2023-07-25 02:22 | 2023-08-04 18:00 | 2023-07-31 16:11 | Other
GOAT | GOAT_GOATWIND | Wind | Forced Extension | 80 | 70 | 10 | 2023-07-25 16:55 | 2023-08-04 23:59 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 115 | 0 | 2023-07-25 17:12 | 2023-07-31 23:59 | 2023-07-31 05:01 | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 0 | 502 | 2023-07-25 23:55 | 2023-07-30 22:30 | 2023-07-30 14:32 | Feedwater Problems/Repairs
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 70 | 5 | 2023-07-26 | 2023-08-07 12:00 |  | Other
RANCHERO | RANCHERO_UNIT1 | Wind | Forced Extension | 150 | 137 | 13 | 2023-07-26 00:23 | 2023-08-07 17:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 0 | 527 | 2023-07-26 00:45 | 2023-08-08 23:59 |  | Turbine/Generator Vibration/Repair
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 93 | 10 | 2023-07-26 04:30 | 2023-08-31 23:59 | 2023-08-01 08:05 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 106 | 21 | 2023-07-26 09:15 | 2023-07-31 08:56 | 2023-07-31 07:06 | Other
JADE_SLR | JADE_SLR_UNIT2 | Solar | Maintenance Level 1 | 162 | 162 | 0 | 2023-07-26 10:39 | 2023-08-03 17:00 |  | Other
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 240 | 212 | 28 | 2023-07-26 13:14 | 2023-08-31 23:59 |  | Fuel Problems/Repairs
VERAWIND | VERAWIND_UNIT3 | Wind | Maintenance Level 1 | 101 | 74 | 27 | 2023-07-26 16:30 | 2023-08-04 16:30 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT4 | Wind | Maintenance Level 1 | 22 | 20 | 2 | 2023-07-26 16:30 | 2023-08-04 16:30 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Maintenance Level 1 | 101 | 42 | 59 | 2023-07-26 16:30 | 2023-08-04 16:30 |  | Turbine/Generator Vibration/Repair
SANROMAN | SANROMAN_WIND_1 | Wind | Forced Extension | 95 | 66 | 29 | 2023-07-26 18:30 | 2023-08-25 22:00 |  | Other
BRAUNIG | BRAUNIG_VHB2 | Natural Gas | Forced Extension | 230 | 223 | 7 | 2023-07-26 19:57 | 2023-08-04 23:59 |  | Feedwater Problems/Repairs
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 124 | 14 | 2023-07-27 10:00 | 2023-08-10 16:00 |  | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 95 | 8 | 2023-07-27 12:07 | 2023-08-31 23:59 | 2023-08-01 08:05 | Other
OLINGR | OLINGR_OLING_2 | Natural Gas | Forced | 107 | 35 | 72 | 2023-07-27 14:19 | 2023-08-11 23:59 |  | Emissions
ANDMDSLR | ANDMDSLR_UNIT2 | Solar | Forced | 162 | 153 | 9 | 2023-07-27 17:45 | 2023-08-03 15:00 |  | Other
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Forced | 126 | 62 | 64 | 2023-07-27 18:45 | 2023-08-31 23:59 |  | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced | 126 | 28 | 98 | 2023-07-27 18:45 | 2023-08-31 23:59 |  | Other
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 132 | 20 | 2023-07-27 20:24 | 2023-08-31 23:59 |  | Other
MIL | MIL_MILLERG2 | Natural Gas | Forced | 118 | 0 | 118 | 2023-07-27 20:30 | 2023-08-01 23:59 | 2023-08-01 06:13 | Other
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 70 | 31 | 2023-07-28 07:20 | 2023-08-04 16:30 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT4 | Wind | Forced | 22 | 20 | 2 | 2023-07-28 07:20 | 2023-08-04 16:30 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 42 | 59 | 2023-07-28 07:20 | 2023-08-04 16:30 |  | Turbine/Generator Vibration/Repair
TRSES | TRSES_UNIT6 | Natural Gas | Forced | 235 | 235 | 0 | 2023-07-28 07:58 | 2023-08-11 22:00 |  | Turbine/Generator Vibration/Repair
MCLNSLR | MCLNSLR_UNIT1 | Solar | Forced Extension | 200 | 0 | 200 | 2023-07-28 08:00 | 2023-08-05 17:00 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 153 | 11 | 2023-07-28 09:48 | 2023-08-31 23:59 | 2023-07-31 20:30 | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced | 100 | 91 | 9 | 2023-07-28 10:12 | 2023-08-02 18:00 |  | Turbine/Generator Vibration/Repair
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 67 | 4 | 2023-07-28 12:00 | 2023-08-01 12:00 | 2023-07-31 11:59 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 29 | 4 | 2023-07-28 12:00 | 2023-08-01 12:00 | 2023-07-31 11:59 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 193 | 9 | 2023-07-28 12:00 | 2023-08-01 12:00 | 2023-07-31 11:59 | Other
MAVCRK_W | MAVCRK_W_UNIT3 | Wind | Forced Extension | 34 | 29 | 5 | 2023-07-28 12:00 | 2023-08-01 12:00 | 2023-07-31 11:59 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 15 | 7 | 2023-07-28 12:00 | 2023-08-01 12:00 | 2023-07-31 11:59 | Other
ANACACHO | ANACACHO_ANA | Wind | Forced | 100 | 94 | 6 | 2023-07-28 12:10 | 2023-09-28 16:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 60 | 90 | 2023-07-28 17:24 | 2023-09-29 17:00 |  | Other
LOCKETT | LOCKETT_UNIT1 | Wind | Forced | 184 | 166 | 18 | 2023-07-28 18:49 | 2023-08-11 16:00 | 2023-08-01 15:22 | Unknown
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 645 | 10 | 2023-07-28 19:54 | 2023-07-31 23:59 | 2023-07-31 00:52 | Inlet Air Problems/Repairs
CONIGLIO | CONIGLIO_UNIT1 | Solar | Unavoidable Extension | 126 | 98 | 28 | 2023-07-28 20:30 | 2023-08-29 12:00 |  | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Forced | 77 | 0 | 77 | 2023-07-28 23:01 | 2023-07-31 12:00 | 2023-07-31 12:00 | Overhaul
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 730 | 75 | 2023-07-28 23:16 | 2023-08-31 23:59 | 2023-08-01 22:44 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 740 | 65 | 2023-07-28 23:16 | 2023-08-31 23:59 | 2023-08-01 22:29 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 720 | 85 | 2023-07-28 23:16 | 2023-08-31 23:59 | 2023-08-02 03:56 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 765 | 40 | 2023-07-28 23:16 | 2023-08-31 23:59 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 805 | 755 | 50 | 2023-07-28 23:16 | 2023-08-31 23:59 | 2023-08-01 21:41 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 90 | 36 | 2023-07-29 00:03 | 2023-08-01 23:59 | 2023-07-31 04:08 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 147 | 35 | 2023-07-29 09:25 | 2023-09-30 23:59 |  | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 211 | 11 | 2023-07-29 10:42 | 2023-08-01 18:00 | 2023-07-30 08:57 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 795 | 5 | 2023-07-29 13:18 | 2023-07-29 23:59 | 2023-07-30 00:30 | Emissions
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced Extension | 18 | 0 | 18 | 2023-07-29 13:49 | 2023-08-02 23:59 |  | Fuel Problems/Repairs
CAPRIDG4 | CAPRIDG4_CR4 | Wind | Forced | 122 | 119 | 3 | 2023-07-29 14:09 | 2023-07-31 23:59 | 2023-07-31 05:11 | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 128 | 39 | 2023-07-29 16:00 | 2023-07-31 17:00 | 2023-07-31 17:00 | Unknown
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 735 | 70 | 2023-07-29 16:30 | 2023-07-29 23:58 | 2023-07-30 00:30 | Emissions
DANSBY | DANSBY_DANSBYG2 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-07-29 17:34 | 2023-07-30 23:59 | 2023-07-30 10:00 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 135 | 60 | 2023-07-29 17:40 | 2023-08-01 | 2023-08-01 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced Extension | 145 | 100 | 45 | 2023-07-29 17:40 | 2023-08-01 15:00 | 2023-08-01 15:20 | Other
WHCCS | WHCCS_STG | Natural Gas | Forced | 268 | 254 | 14 | 2023-07-29 19:00 | 2023-07-31 18:00 | 2023-07-31 08:45 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced Extension | 209 | 177 | 32 | 2023-07-29 19:00 | 2023-08-01 15:00 | 2023-08-01 15:00 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced Extension | 210 | 181 | 29 | 2023-07-29 19:00 | 2023-08-01 15:00 | 2023-08-01 15:00 | Other
BAC | BAC_CTG2 | Natural Gas | Forced Extension | 61 | 0 | 61 | 2023-07-29 19:16 | 2023-08-01 12:00 | 2023-08-01 11:13 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 815 | 40 | 2023-07-29 19:41 | 2023-07-30 08:00 | 2023-07-30 00:38 | Exhaust Problems/Repairs
IMPACT | IMPACT_UNIT1 | Solar | Unavoidable Extension | 199 | 173 | 26 | 2023-07-29 20:30 | 2023-07-30 18:00 | 2023-07-30 17:09 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 134 | 14 | 2023-07-29 21:17 | 2023-07-31 18:00 | 2023-07-31 18:00 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 825 | 30 | 2023-07-29 21:37 | 2023-08-24 10:00 | 2023-07-30 19:00 | Other
TGCCS | TGCCS_CT1 | Natural Gas | Maintenance Level 1 | 156 | 90 | 66 | 2023-07-29 22:15 | 2023-07-30 06:00 | 2023-07-30 06:00 | Cooling Water Problems/Repairs
TGCCS | TGCCS_CT2 | Natural Gas | Maintenance Level 1 | 135 | 90 | 45 | 2023-07-29 22:15 | 2023-07-30 06:00 | 2023-07-30 06:00 | Cooling Water Problems/Repairs
TGCCS | TGCCS_CT3 | Natural Gas | Maintenance Level 1 | 153 | 90 | 63 | 2023-07-29 22:15 | 2023-07-30 06:00 | 2023-07-30 06:00 | Cooling Water Problems/Repairs
TGCCS | TGCCS_UNIT4 | Natural Gas | Maintenance Level 1 | 402 | 205 | 197 | 2023-07-29 22:15 | 2023-07-30 06:00 | 2023-07-30 06:00 | Cooling Water Problems/Repairs
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 350 | 450 | 2023-07-29 23:00 | 2023-07-30 07:01 | 2023-07-30 07:00 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 700 | 105 | 2023-07-29 23:00 | 2023-07-30 10:01 | 2023-07-30 10:00 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 805 | 700 | 105 | 2023-07-29 23:00 | 2023-07-30 10:00 | 2023-07-30 10:00 | Other
AJAXWIND | AJAXWIND_UNIT1 | Wind | Forced Extension | 226 | 220 | 6 | 2023-07-29 23:42 | 2023-08-07 18:00 |  | Other
AJAXWIND | AJAXWIND_UNIT2 | Wind | Forced Extension | 141 | 132 | 9 | 2023-07-29 23:42 | 2023-08-07 18:00 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 810 | 45 | 2023-07-30 00:30 | 2023-07-30 20:00 | 2023-07-30 18:57 | Exhaust Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 765 | 90 | 2023-07-30 00:35 | 2023-07-30 06:00 | 2023-07-30 03:40 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 805 | 50 | 2023-07-30 00:41 | 2023-08-24 10:17 | 2023-07-30 19:00 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 805 | 50 | 2023-07-30 00:59 | 2023-08-01 07:59 | 2023-08-01 09:59 | Other
BCATWIND | BCATWIND_WIND_1 | Wind | Forced | 162 | 151 | 11 | 2023-07-30 01:50 | 2023-08-01 23:59 | 2023-07-31 07:39 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 780 | 75 | 2023-07-30 03:39 | 2023-07-31 08:00 | 2023-07-30 18:58 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 795 | 60 | 2023-07-30 03:41 | 2023-07-30 19:59 | 2023-07-30 18:56 | Other
DECKER | DECKER_DPGT_1 | Natural Gas | Maintenance Level 2 | 48 | 0 | 48 | 2023-07-30 06:03 | 2023-07-30 08:00 | 2023-07-30 08:00 | Other
TXCTY | TXCTY_CTA | Natural Gas | Forced | 80 | 0 | 80 | 2023-07-30 06:07 | 2023-07-30 11:00 | 2023-07-30 06:59 | Other
TXCTY | TXCTY_ST | Natural Gas | Forced | 125 | 90 | 35 | 2023-07-30 06:07 | 2023-07-30 11:00 | 2023-07-30 06:59 | Other
HRBESS | HRBESS_BESS | Not Available | Forced | 2 | 1 | 1 | 2023-07-30 06:16 | 2023-08-04 23:59 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 565 | 235 | 2023-07-30 07:00 | 2023-07-30 12:00 | 2023-07-30 12:00 | Other
TXCTY | TXCTY_CTA | Natural Gas | Forced Extension | 80 | 0 | 80 | 2023-07-30 07:29 | 2023-07-31 23:59 | 2023-07-31 12:00 | Other
TXCTY | TXCTY_ST | Natural Gas | Forced Extension | 125 | 90 | 35 | 2023-07-30 07:29 | 2023-07-31 23:59 | 2023-07-31 12:00 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 183 | 39 | 2023-07-30 08:30 | 2023-07-31 18:00 | 2023-07-30 10:59 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 135 | 17 | 2023-07-30 08:30 | 2023-07-31 20:00 | 2023-07-31 13:57 | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced | 38 | 0 | 38 | 2023-07-30 09:00 | 2023-07-30 12:00 | 2023-07-30 12:00 | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced | 126 | 111 | 15 | 2023-07-30 09:45 | 2023-07-30 20:00 | 2023-07-30 16:44 | Other
DUKE | DUKE_DUKE_GT1 | Natural Gas | Forced Extension | 149 | 144 | 5 | 2023-07-30 09:57 | 2023-08-04 23:59 | 2023-07-31 23:45 | Other
DUKE | DUKE_DUKE_GT2 | Natural Gas | Forced Extension | 149 | 144 | 5 | 2023-07-30 09:57 | 2023-08-04 23:59 | 2023-07-31 23:45 | Other
LEG | LEG_LEG_G2 | Lignite | Forced | 836 | 506 | 330 | 2023-07-30 11:00 | 2023-07-30 17:00 | 2023-07-30 13:45 | Fuel Limitation/Lack of Fuel Availability
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 202 | 20 | 2023-07-30 11:00 | 2023-08-02 18:00 |  | Other
B_DAVIS | B_DAVIS_B_DAVIG1 | Natural Gas | Forced | 292 | 135 | 157 | 2023-07-30 12:00 | 2023-07-30 23:59 | 2023-07-30 23:59 | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced | 169 | 0 | 169 | 2023-07-30 12:20 | 2023-07-30 23:59 | 2023-07-30 14:34 | Unknown
DEC | DEC_AGR_D | Natural Gas | Forced | 56 | 37 | 19 | 2023-07-30 12:48 | 2023-07-30 12:57 | 2023-07-30 12:57 | Exhaust Problems/Repairs
DEC | DEC_AGR_D | Natural Gas | Forced | 56 | 37 | 19 | 2023-07-30 13:40 | 2023-07-30 16:00 | 2023-07-30 15:02 | Exhaust Problems/Repairs
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 596 | 240 | 2023-07-30 13:45 | 2023-07-31 17:00 | 2023-07-30 14:40 | Fuel Limitation/Lack of Fuel Availability
JACKCNTY | JACKCNTY_CT1 | Natural Gas | Forced | 150 | 54 | 96 | 2023-07-30 13:48 | 2023-07-30 23:59 | 2023-07-30 17:45 | Gas Company Pipeline Work
JACKCNTY | JACKCNTY_CT2 | Natural Gas | Forced | 150 | 55 | 95 | 2023-07-30 13:48 | 2023-07-30 23:59 | 2023-07-30 17:45 | Gas Company Pipeline Work
JACKCNTY | JACKCNTY_STG | Natural Gas | Forced | 289 | 196 | 93 | 2023-07-30 13:48 | 2023-07-30 23:59 | 2023-07-30 17:45 | Gas Company Pipeline Work
JCKCNTY2 | JCKCNTY2_CT3 | Natural Gas | Forced | 158 | 56 | 102 | 2023-07-30 13:48 | 2023-07-30 23:59 | 2023-07-30 17:45 | Gas Company Pipeline Work
JCKCNTY2 | JCKCNTY2_CT4 | Natural Gas | Forced | 158 | 56 | 102 | 2023-07-30 13:48 | 2023-07-30 23:59 | 2023-07-30 17:45 | Gas Company Pipeline Work
JCKCNTY2 | JCKCNTY2_ST2 | Natural Gas | Forced | 295 | 193 | 102 | 2023-07-30 13:48 | 2023-07-30 23:59 | 2023-07-30 17:45 | Gas Company Pipeline Work
WAP | WAP_WAP_G6 | Bituminous Coal | Forced | 663 | 556 | 107 | 2023-07-30 14:03 | 2023-07-30 18:00 | 2023-07-30 14:27 | Exhaust Problems/Repairs
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 65 | 0 | 65 | 2023-07-30 14:12 | 2023-08-03 12:00 |  | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced | 663 | 583 | 80 | 2023-07-30 14:27 | 2023-07-30 18:00 | 2023-07-30 15:44 | Exhaust Problems/Repairs
LEG | LEG_LEG_G2 | Lignite | Forced | 836 | 603 | 233 | 2023-07-30 14:40 | 2023-07-31 17:00 | 2023-07-30 15:42 | Fuel Limitation/Lack of Fuel Availability
LEG | LEG_LEG_G2 | Lignite | Forced | 836 | 513 | 323 | 2023-07-30 15:42 | 2023-07-31 17:00 | 2023-07-31 02:43 | Fuel Limitation/Lack of Fuel Availability
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 95 | 14 | 2023-07-30 16:13 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 100 | 9 | 2023-07-30 16:13 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 135 | 28 | 2023-07-30 18:01 | 2023-08-04 18:00 | 2023-07-30 22:29 | Unknown
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 123 | 46 | 2023-07-30 18:29 | 2023-08-01 23:59 | 2023-08-01 13:00 | Turbine/Generator Vibration/Repair
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 835 | 20 | 2023-07-30 18:57 | 2023-07-31 08:00 | 2023-07-30 18:59 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 854 | 1 | 2023-07-30 18:59 | 2023-08-24 10:00 | 2023-07-30 23:10 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 815 | 40 | 2023-07-30 19:01 | 2023-07-31 08:00 | 2023-07-30 19:02 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 835 | 20 | 2023-07-30 19:02 | 2023-07-31 08:00 | 2023-07-30 23:08 | Other
WAP | WAP_WAP_G7 | Bituminous Coal | Forced | 577 | 460 | 117 | 2023-07-30 20:16 | 2023-07-30 23:59 | 2023-07-30 20:51 | Inlet Air Problems/Repairs
WAP | WAP_WAP_G7 | Bituminous Coal | Forced | 577 | 387 | 190 | 2023-07-30 20:22 | 2023-07-30 23:59 | 2023-07-30 22:30 | Fuel Problems/Repairs
SANMIGL | SANMIGL_G1 | Lignite | Unavoidable Extension | 391 | 305 | 86 | 2023-07-30 20:23 | 2023-08-01 23:05 | 2023-08-01 19:24 | Other
TGCCS | TGCCS_CT1 | Natural Gas | Maintenance Level 1 | 156 | 90 | 66 | 2023-07-30 22:00 | 2023-07-31 06:00 | 2023-07-31 06:00 | Cooling Water Problems/Repairs
TGCCS | TGCCS_CT2 | Natural Gas | Maintenance Level 1 | 135 | 90 | 45 | 2023-07-30 22:00 | 2023-07-31 06:00 | 2023-07-31 06:00 | Cooling Water Problems/Repairs
TGCCS | TGCCS_CT3 | Natural Gas | Maintenance Level 1 | 153 | 90 | 63 | 2023-07-30 22:00 | 2023-07-31 06:00 | 2023-07-31 06:00 | Cooling Water Problems/Repairs
TGCCS | TGCCS_UNIT4 | Natural Gas | Maintenance Level 1 | 402 | 205 | 197 | 2023-07-30 22:00 | 2023-07-31 06:00 | 2023-07-31 06:00 | Cooling Water Problems/Repairs
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 124 | 39 | 2023-07-30 22:30 | 2023-08-04 18:00 |  | Unknown
WAP | WAP_WAP_G7 | Bituminous Coal | Forced Extension | 577 | 400 | 177 | 2023-07-30 22:31 | 2023-07-31 14:00 | 2023-07-31 12:38 | Fuel Problems/Repairs
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 800 | 0 | 2023-07-30 23:07 | 2023-07-31 02:00 | 2023-07-31 00:55 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 765 | 90 | 2023-07-30 23:09 | 2023-07-31 08:00 | 2023-07-31 05:08 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 820 | 35 | 2023-07-30 23:10 | 2023-08-24 10:00 | 2023-07-31 20:33 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 835 | 20 | 2023-07-30 23:10 | 2023-08-24 10:00 | 2023-08-01 20:37 | Other
2023-08-02 |  |  |  | 2 |  |  |  | 5:05