## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-08-14 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Aug 11, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-09-01 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-10-15 23:59 |  | Other
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-08-31 23:59 |  | Other
CALLAHAN | CALLAHAN_WND1 | Wind | Unavoidable Extension | 123 | 0 | 123 | 2022-12-05 06:53 | 2023-08-31 23:59 |  | Other
H_HOLLOW | H_HOLLOW_WND1 | Wind | Unavoidable Extension | 230 | 0 | 230 | 2022-12-05 08:14 | 2023-08-31 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-11-01 15:00 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 96 | 0 | 96 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-10-31 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 512 | 15 | 2023-02-20 07:00 | 2023-08-31 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced Extension | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-12-31 23:59 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-11-01 16:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-08-31 17:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-09-30 17:00 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-08-25 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced Extension | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-09-01 12:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BORDAS2 | BORDAS2_JAVEL2_A | Wind | Forced Extension | 96 | 92 | 4 | 2023-05-01 12:54 | 2023-08-31 23:59 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-12-31 |  | Other
WAP | WAP_WAP_G8 | Bituminous Coal | Unavoidable Extension | 610 | 0 | 610 | 2023-05-08 | 2023-08-19 23:59 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-08-31 23:59 |  | Other
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 118 | 15 | 2023-05-17 01:41 | 2023-08-31 23:59 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 150 | 30 | 2023-05-19 09:00 | 2023-12-04 23:58 | 2023-08-14 03:11 | Other
DAN | DAN_UNIT2 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-11-20 08:00 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 0 | 150 | 2023-05-19 15:00 | 2023-09-11 08:00 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 491 | 36 | 2023-05-26 18:16 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 88 | 37 | 2023-05-27 15:00 | 2023-09-01 12:00 |  | Other
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 171 | 131 | 40 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 192 | 2 | 2023-06-01 23:51 | 2023-12-01 | 2023-08-11 09:00 | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-08-18 17:00 |  | Other
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced Extension | 20 | 0 | 20 | 2023-06-02 11:56 | 2023-08-20 23:59 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 83 | 9 | 2023-06-03 21:24 | 2023-08-31 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 756 | 80 | 2023-06-07 15:40 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 803 | 21 | 2023-06-07 18:34 | 2023-08-31 23:59 |  | Feedwater Problems/Repairs
GUADG | GUADG_GAS1 | Natural Gas | Forced Extension | 143 | 128 | 15 | 2023-06-09 15:29 | 2023-08-31 23:59 |  | Other
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 0 | 392 | 2023-06-11 19:10 | 2023-09-06 23:58 |  | Lightening
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 75 | 78 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 48 | 99 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 466 | 61 | 2023-06-14 13:12 | 2023-08-31 23:59 |  | Feedwater Problems/Repairs
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 30 | 120 | 2023-06-15 09:19 | 2023-09-29 17:00 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 196 | 166 | 30 | 2023-06-15 15:45 | 2023-08-31 23:59 |  | Other
MASSENGL | MASSENGL_G6 | Natural Gas | Forced Extension | 18 | 0 | 18 | 2023-06-18 05:41 | 2023-12-31 23:59 |  | Other
LHSES | LHSES_UNIT2A | Natural Gas | Forced | 523 | 513 | 10 | 2023-06-21 01:19 | 2023-09-30 23:58 |  | Other
TORR | TORR_UNIT2_25 | Wind | Forced Extension | 128 | 93 | 35 | 2023-06-21 08:38 | 2023-08-31 23:59 | 2023-08-12 18:21 | Other
WEC | WEC_WECG1 | Wind | Forced Extension | 57 | 0 | 57 | 2023-06-21 20:07 | 2023-11-01 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 171 | 11 | 2023-06-24 17:48 | 2023-08-31 23:59 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 85 | 40 | 2023-06-26 16:03 | 2023-09-01 12:00 |  | Other
TREB_SLR | TREB_SLR_SOLAR1 | Solar | Forced Extension | 195 | 0 | 195 | 2023-06-27 17:39 | 2023-08-16 10:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 120 | 31 | 2023-06-27 23:25 | 2023-08-14 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 119 | 32 | 2023-06-27 23:25 | 2023-08-14 18:00 |  | Other
BVE | BVE_UNIT2 | Natural Gas | Forced Extension | 150 | 147 | 3 | 2023-06-28 13:19 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
GALLOWAY | GALLOWAY_SOLAR2 | Solar | Forced Extension | 110 | 20 | 90 | 2023-06-28 14:18 | 2023-08-31 20:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced | 130 | 13 | 117 | 2023-06-28 18:34 | 2023-09-01 12:00 |  | Other
CCEC | CCEC_GT1 | Natural Gas | Forced Extension | 125 | 115 | 10 | 2023-06-29 08:36 | 2023-08-31 23:59 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 0 | 153 | 2023-06-29 14:10 | 2023-08-31 17:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 0 | 149 | 2023-06-29 14:10 | 2023-08-31 17:00 |  | Other
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 49 | 3 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 113 | 10 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 93 | 35 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 91 | 11 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 20 | 65 | 2023-06-29 21:09 | 2023-08-31 16:32 |  | Unknown
HHGT | HHGT_HHOLLOW1 | Wind | Forced | 213 | 126 | 87 | 2023-07-02 04:35 | 2023-08-31 23:59 |  | Other
DDPEC | DDPEC_ST1 | Natural Gas | Forced Extension | 287 | 0 | 287 | 2023-07-02 05:03 | 2023-08-18 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 370 | 21 | 2023-07-05 10:19 | 2023-10-22 23:59 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 651 | 173 | 2023-07-06 19:32 | 2023-08-31 23:59 |  | Feedwater Problems/Repairs
SAMSON_1 | SAMSON_1_G1 | Solar | Forced Extension | 125 | 120 | 5 | 2023-07-07 03:14 | 2023-08-16 18:00 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced Extension | 125 | 120 | 5 | 2023-07-07 03:14 | 2023-08-16 18:00 |  | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 635 | 20 | 2023-07-09 00:38 | 2023-08-31 23:55 | 2023-08-12 22:18 | Other
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 98 | 22 | 2023-07-09 02:59 | 2023-08-18 18:00 |  | Other
KING_NW | KING_NW_KINGNW | Wind | Forced | 80 | 54 | 26 | 2023-07-09 06:42 | 2023-08-31 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-07-09 09:34 | 2023-08-31 22:59 |  | Other
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 46 | 4 | 2023-07-09 19:11 | 2023-09-30 23:59 |  | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-07-13 00:34 | 2023-08-18 23:59 |  | Other
CCEC | CCEC_GT2 | Natural Gas | Forced Extension | 125 | 85 | 40 | 2023-07-13 04:28 | 2023-08-31 23:59 |  | Tube Leak
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 191 | 10 | 2023-07-14 00:27 | 2023-08-30 23:59 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 115 | 10 | 2023-07-14 13:11 | 2023-08-19 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 115 | 10 | 2023-07-14 13:11 | 2023-08-19 18:00 |  | Other
PNPI | PNPI_GT2 | Natural Gas | Forced Extension | 71 | 0 | 71 | 2023-07-16 | 2023-08-19 23:59 |  | Lack of Steam Load Availability
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 73 | 7 | 2023-07-16 05:50 | 2023-08-31 23:59 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 44 | 35 | 9 | 2023-07-17 12:00 | 2023-09-30 12:00 |  | Fuel Limitation/Lack of Fuel Availability
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 656 | 89 | 2023-07-18 13:48 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
MCDLD | MCDLD_FCW1 | Wind | Maintenance Level 1 | 124 | 110 | 14 | 2023-07-18 15:08 | 2023-12-31 16:00 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 120 | 0 | 120 | 2023-07-18 15:31 | 2023-11-30 23:59 |  | Overhaul
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 62 | 0 | 62 | 2023-07-18 15:31 | 2023-11-30 23:59 |  | Overhaul
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 133 | 36 | 2023-07-19 15:38 | 2023-08-31 23:59 |  | Temperature Limit
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2023-07-19 23:47 | 2023-08-31 23:59 |  | Exhaust Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 673 | 76 | 2023-07-20 15:00 | 2023-08-31 23:59 |  | Inlet Air Problems/Repairs
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced | 50 | 46 | 4 | 2023-07-21 12:32 | 2023-08-18 23:59 |  | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced | 8 | 0 | 8 | 2023-07-22 00:01 | 2023-08-22 23:59 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 110 | 55 | 2023-07-23 05:26 | 2023-09-01 19:00 |  | Unknown
SWEC | SWEC_G1 | Wind | Forced Extension | 120 | 105 | 15 | 2023-07-23 15:46 | 2023-08-17 18:00 | 2023-08-13 03:12 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 800 | 55 | 2023-07-24 10:16 | 2023-08-24 10:00 |  | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 805 | 50 | 2023-07-24 10:17 | 2023-08-24 10:00 | 2023-08-13 23:04 | Other
ROW | ROW_UNIT1 | Solar | Unavoidable Extension | 100 | 80 | 20 | 2023-07-24 19:21 | 2023-08-31 20:00 |  | Other
GOAT | GOAT_GOATWIND | Wind | Forced Extension | 80 | 70 | 10 | 2023-07-25 16:55 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 527 | 0 | 527 | 2023-07-26 00:45 | 2023-08-18 23:59 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 240 | 212 | 28 | 2023-07-26 13:14 | 2023-08-31 23:59 |  | Fuel Problems/Repairs
OLINGR | OLINGR_OLING_2 | Natural Gas | Forced Extension | 107 | 35 | 72 | 2023-07-27 14:19 | 2023-09-11 23:59 |  | Emissions
WHMESA | WHMESA_UNIT1 | Wind | Forced | 152 | 132 | 20 | 2023-07-27 20:24 | 2023-08-31 23:59 |  | Other
VERAWIND | VERAWIND_UNIT4 | Wind | Forced Extension | 22 | 20 | 2 | 2023-07-28 07:20 | 2023-08-17 16:30 |  | Turbine/Generator Vibration/Repair
TRSES | TRSES_UNIT6 | Natural Gas | Forced Extension | 235 | 235 | 0 | 2023-07-28 07:58 | 2023-09-24 23:59 |  | Turbine/Generator Vibration/Repair
MCLNSLR | MCLNSLR_UNIT1 | Solar | Forced Extension | 200 | 0 | 200 | 2023-07-28 08:00 | 2023-08-15 17:00 |  | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced Extension | 100 | 91 | 9 | 2023-07-28 10:12 | 2023-08-15 05:41 |  | Turbine/Generator Vibration/Repair
ANACACHO | ANACACHO_ANA | Wind | Forced | 100 | 94 | 6 | 2023-07-28 12:10 | 2023-09-28 16:00 |  | Other
VERTIGO | VERTIGO_WIND_I | Wind | Forced | 150 | 60 | 90 | 2023-07-28 17:24 | 2023-09-29 17:00 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 65 | 0 | 65 | 2023-07-30 14:12 | 2023-10-15 15:00 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced | 109 | 95 | 14 | 2023-07-30 16:13 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced | 109 | 100 | 9 | 2023-07-30 16:13 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_CALLAHAN | Wind | Forced | 114 | 102 | 12 | 2023-07-31 04:46 | 2023-08-31 23:59 |  | Other
HHOLLOW2 | HHOLLOW2_WIND1 | Wind | Forced | 184 | 179 | 5 | 2023-07-31 05:00 | 2023-08-31 23:59 | 2023-08-12 01:54 | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 115 | 0 | 2023-07-31 05:02 | 2023-08-31 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced | 138 | 133 | 5 | 2023-07-31 05:09 | 2023-08-31 23:59 |  | Other
CAPRIDG4 | CAPRIDG4_CR4 | Wind | Forced | 122 | 119 | 3 | 2023-07-31 05:11 | 2023-08-31 23:59 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 148 | 32 | 2023-07-31 06:52 | 2023-12-04 23:58 | 2023-08-13 19:16 | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 106 | 21 | 2023-07-31 07:07 | 2023-08-14 08:56 |  | Other
RRANCHES | RRANCHES_UNIT1 | Not Available | Maintenance Level 1 | 145 | 20 | 125 | 2023-07-31 12:00 | 2023-08-31 23:59 |  | Other
RRANCHES | RRANCHES_UNIT2 | Not Available | Maintenance Level 1 | 145 | 20 | 125 | 2023-07-31 12:00 | 2023-08-31 23:59 |  | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced Extension | 158 | 140 | 18 | 2023-07-31 13:50 | 2023-08-31 17:52 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced Extension | 164 | 143 | 21 | 2023-08-01 03:30 | 2023-08-31 23:59 |  | Other
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 90 | 30 | 2023-08-01 06:07 | 2023-08-11 16:00 | 2023-08-11 13:30 | Turbine/Generator Vibration/Repair
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 56 | 46 | 2023-08-01 06:20 | 2023-08-14 16:00 |  | Turbine/Generator Vibration/Repair
PENA | PENA_UNIT1 | Wind | Forced Extension | 161 | 141 | 20 | 2023-08-01 06:26 | 2023-08-15 16:00 | 2023-08-11 05:23 | Turbine/Generator Vibration/Repair
PB2SES | PB2SES_CT4 | Natural Gas | Forced | 64 | 59 | 5 | 2023-08-01 06:31 | 2023-10-24 23:58 |  | Other
INDL | INDL_ESS | Not Available | Maintenance Level 1 | 10 | 10 | 0 | 2023-08-01 07:00 | 2023-08-15 15:00 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 133 | 17 | 2023-08-01 14:34 | 2023-09-30 23:59 |  | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 96 | 7 | 2023-08-03 17:01 | 2023-08-31 23:59 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 105 | 26 | 2023-08-03 17:16 | 2023-08-16 18:00 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 163 | 6 | 2023-08-04 09:00 | 2023-09-04 16:00 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 155 | 14 | 2023-08-04 09:00 | 2023-09-04 16:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 138 | 12 | 2023-08-04 09:00 | 2023-09-04 16:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 141 | 9 | 2023-08-04 09:00 | 2023-09-04 16:00 |  | Turbine/Generator Vibration/Repair
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Forced Extension | 126 | 84 | 42 | 2023-08-04 09:41 | 2023-08-31 23:59 |  | Other
DAN | DAN_UNIT1 | Solar | Forced | 300 | 75 | 225 | 2023-08-04 09:46 | 2023-08-14 23:59 |  | Other
SPTX12B | SPTX12B_BES1 | Not Available | Forced Extension | 25 | 22 | 3 | 2023-08-04 15:00 | 2023-08-18 23:59 |  | Other
MYR | MYR_UNIT1 | Solar | Forced Extension | 167 | 167 | 0 | 2023-08-04 17:00 | 2023-08-14 17:00 |  | Other
MCSES | MCSES_UNIT8 | Natural Gas | Forced Extension | 568 | 0 | 568 | 2023-08-04 21:02 | 2023-08-18 23:59 |  | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 0 | 663 | 2023-08-05 02:03 | 2023-08-17 23:59 | 2023-08-12 21:18 | Tube Leak
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 645 | 10 | 2023-08-05 07:52 | 2023-08-31 23:59 | 2023-08-11 00:51 | Inlet Air Problems/Repairs
JADE_SLR | JADE_SLR_UNIT2 | Solar | Maintenance Level 1 | 162 | 162 | 0 | 2023-08-05 08:10 | 2023-08-18 17:00 |  | Other
HLSES | HLSES_UNIT4 | Natural Gas | Forced Extension | 435 | 425 | 10 | 2023-08-05 08:45 | 2023-08-27 23:59 |  | Other
LOCKETT | LOCKETT_UNIT1 | Wind | Forced Extension | 184 | 183 | 1 | 2023-08-05 09:08 | 2023-08-12 16:00 | 2023-08-12 16:00 | Unknown
MWEC | MWEC_G1 | Wind | Forced Extension | 150 | 138 | 12 | 2023-08-05 17:46 | 2023-08-19 18:00 |  | Other
RAMBLER | RAMBLER_UNIT1 | Solar | Forced | 200 | 0 | 200 | 2023-08-06 10:00 | 2023-08-14 18:00 | 2023-08-11 05:19 | Other
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced Extension | 50 | 46 | 4 | 2023-08-06 15:13 | 2023-08-15 20:00 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 196 | 191 | 5 | 2023-08-06 16:22 | 2023-08-12 17:00 | 2023-08-11 18:00 | Transformer Repair/Replace
BTE | BTE_BTE_G2 | Natural Gas | Forced Extension | 145 | 105 | 40 | 2023-08-06 16:22 | 2023-08-12 17:00 | 2023-08-11 18:00 | Transformer Repair/Replace
BTE | BTE_BTE_G3 | Natural Gas | Forced Extension | 145 | 105 | 40 | 2023-08-06 16:22 | 2023-08-12 17:00 | 2023-08-11 18:00 | Transformer Repair/Replace
BTE | BTE_BTE_G4 | Natural Gas | Forced Extension | 145 | 105 | 40 | 2023-08-06 16:22 | 2023-08-12 17:00 | 2023-08-11 18:00 | Transformer Repair/Replace
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 485 | 17 | 2023-08-06 20:04 | 2023-08-14 18:59 |  | Hot weather related
TRSES | TRSES_UNIT6 | Natural Gas | Forced Extension | 235 | 229 | 6 | 2023-08-06 20:31 | 2023-08-15 08:59 |  | Hot weather related
DDPEC | DDPEC_GT6 | Natural Gas | Unavoidable Extension | 156 | 0 | 156 | 2023-08-06 22:02 | 2023-08-18 23:59 |  | Other
TURQBESS | TURQBESS_BESS1 | Not Available | Forced Extension | 190 | 0 | 190 | 2023-08-07 | 2023-08-18 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 95 | 14 | 2023-08-07 09:12 | 2023-09-30 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 146 | 44 | 2023-08-07 09:12 | 2023-09-30 23:59 |  | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Maintenance Level 1 | 151 | 132 | 19 | 2023-08-07 11:52 | 2023-08-14 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Maintenance Level 1 | 98 | 83 | 15 | 2023-08-07 11:52 | 2023-08-14 14:00 |  | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 70 | 5 | 2023-08-07 13:38 | 2023-08-14 12:00 | 2023-08-11 10:28 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 135 | 28 | 2023-08-07 14:40 | 2023-08-31 18:00 |  | Unknown
PYR | PYR_PYRON1 | Wind | Forced | 122 | 34 | 88 | 2023-08-07 14:56 | 2023-09-29 17:00 |  | Other
PYR | PYR_PYRON2 | Wind | Forced | 128 | 55 | 73 | 2023-08-07 14:56 | 2023-09-29 17:00 |  | Other
SPNCER | SPNCER_SPNCE_4 | Natural Gas | Forced | 57 | 30 | 27 | 2023-08-07 15:20 | 2023-09-30 23:59 | 2023-08-11 12:35 | Other
PITTSDDK | PITTSDDK_UNIT1 | Solar | Forced | 50 | 20 | 30 | 2023-08-07 16:26 | 2023-08-21 23:59 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 40 | 60 | 2023-08-07 23:47 | 2023-08-11 16:00 | 2023-08-11 13:36 | Turbine/Generator Vibration/Repair
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 80 | 65 | 15 | 2023-08-08 01:20 | 2023-08-31 23:59 |  | Lack of Steam Load Availability
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 0 | 23 | 2023-08-08 05:18 | 2023-12-31 00:01 |  | Turbine/Generator Vibration/Repair
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 130 | 35 | 2023-08-08 05:26 | 2023-08-31 19:00 |  | Unknown
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 650 | 186 | 2023-08-08 07:00 | 2023-08-14 23:59 |  | Fuel Problems/Repairs
BR_ARROW | BR_ARROW_UNIT1 | Solar | Unavoidable Extension | 127 | 127 | 0 | 2023-08-08 08:30 | 2023-08-14 17:00 |  | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 130 | 65 | 2023-08-08 10:00 | 2023-08-21 |  | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 100 | 45 | 2023-08-08 10:00 | 2023-08-21 |  | Other
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 81 | 20 | 2023-08-08 10:06 | 2023-08-11 18:00 | 2023-08-11 18:11 | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 48 | 0 | 2023-08-08 10:57 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 14 | 69 | 2023-08-08 11:03 | 2023-12-28 23:59 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_G1 | Natural Gas | Maintenance Level 1 | 150 | 145 | 5 | 2023-08-08 12:00 | 2023-09-09 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 104 | 22 | 2023-08-08 14:29 | 2023-08-15 23:59 |  | Other
AJAXWIND | AJAXWIND_UNIT1 | Wind | Forced | 226 | 220 | 6 | 2023-08-08 14:49 | 2023-08-15 18:00 |  | Other
AJAXWIND | AJAXWIND_UNIT2 | Wind | Forced | 141 | 133 | 8 | 2023-08-08 14:49 | 2023-08-15 18:00 |  | Other
GUNMTN | GUNMTN_G1 | Wind | Forced Extension | 120 | 100 | 20 | 2023-08-08 15:05 | 2023-08-20 18:00 |  | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 105 | 5 | 2023-08-08 16:08 | 2023-08-15 23:59 |  | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 98 | 105 | 2023-08-08 17:19 | 2023-08-14 23:59 | 2023-08-11 15:10 | Other
HRBESS | HRBESS_BESS | Not Available | Forced | 2 | 1 | 1 | 2023-08-08 17:55 | 2023-08-31 09:00 |  | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 166 | 44 | 2023-08-08 20:30 | 2023-08-16 |  | Other
ETCCS | ETCCS_CT1 | Natural Gas | Forced Extension | 204 | 185 | 19 | 2023-08-08 23:45 | 2023-08-11 23:59 | 2023-08-11 23:59 | Hot weather related
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced Extension | 165 | 152 | 13 | 2023-08-08 23:45 | 2023-08-11 23:59 | 2023-08-11 23:59 | Hot weather related
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced Extension | 157 | 145 | 12 | 2023-08-08 23:45 | 2023-08-11 23:59 | 2023-08-11 23:59 | Hot weather related
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 157 | 145 | 12 | 2023-08-08 23:45 | 2023-08-11 23:59 | 2023-08-11 23:59 | Hot weather related
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced Extension | 165 | 152 | 13 | 2023-08-08 23:45 | 2023-08-11 23:59 | 2023-08-11 23:59 | Hot weather related
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced Extension | 157 | 144 | 13 | 2023-08-08 23:45 | 2023-08-11 23:59 | 2023-08-11 23:59 | Hot weather related
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced Extension | 157 | 144 | 13 | 2023-08-08 23:45 | 2023-08-11 23:59 | 2023-08-11 23:59 | Hot weather related
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 645 | 10 | 2023-08-09 00:38 | 2023-08-31 23:55 |  | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 640 | 15 | 2023-08-09 00:38 | 2023-08-31 23:55 | 2023-08-13 05:31 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 171 | 38 | 2023-08-09 00:55 | 2023-08-16 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 123 | 21 | 2023-08-09 04:17 | 2023-08-15 18:00 |  | Unknown
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 123 | 21 | 2023-08-09 04:17 | 2023-08-15 18:00 |  | Unknown
OWF | OWF_OWF | Wind | Forced | 55 | 10 | 45 | 2023-08-09 05:46 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced | 146 | 115 | 31 | 2023-08-09 06:11 | 2023-08-18 23:59 |  | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 56 | 39 | 2023-08-09 07:25 | 2023-08-18 22:00 | 2023-08-11 16:31 | Turbine/Generator Vibration/Repair
RANCHERO | RANCHERO_UNIT1 | Wind | Forced Extension | 150 | 125 | 25 | 2023-08-09 08:00 | 2023-08-13 17:00 | 2023-08-12 18:00 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 138 | 14 | 2023-08-09 08:06 | 2023-08-31 21:00 | 2023-08-12 08:24 | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced Extension | 126 | 44 | 82 | 2023-08-09 08:10 | 2023-08-31 23:59 |  | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 80 | 0 | 80 | 2023-08-09 08:39 | 2023-08-31 23:59 |  | Lack of Steam Load Availability
DIB | DIB_DIB_G1 | Natural Gas | Forced | 65 | 53 | 12 | 2023-08-09 11:28 | 2023-10-20 04:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG3 | Natural Gas | Maintenance Level 1 | 32 | 0 | 32 | 2023-08-09 12:01 | 2023-08-16 17:00 |  | Feedwater Problems/Repairs
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 63 | 8 | 2023-08-09 12:15 | 2023-08-14 12:00 |  | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 29 | 4 | 2023-08-09 12:15 | 2023-08-14 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT3 | Wind | Forced Extension | 34 | 29 | 5 | 2023-08-09 12:15 | 2023-08-14 12:00 |  | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 15 | 7 | 2023-08-09 12:15 | 2023-08-14 12:00 |  | Other
REDGATE | REDGATE_AGR_D | Natural Gas | Forced Extension | 56 | 37 | 19 | 2023-08-09 15:11 | 2023-08-14 18:00 |  | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced | 103 | 0 | 103 | 2023-08-09 17:22 | 2023-08-18 23:59 |  | Unknown
FRONT_EC | FRONT_EC_CT1 | Natural Gas | Forced | 177 | 155 | 22 | 2023-08-09 17:23 | 2023-08-16 23:59 |  | Other
FRONT_EC | FRONT_EC_CT2 | Natural Gas | Forced | 177 | 155 | 22 | 2023-08-09 17:23 | 2023-08-16 23:59 |  | Other
FRONT_EC | FRONT_EC_ST | Natural Gas | Forced | 185 | 170 | 15 | 2023-08-09 17:23 | 2023-08-16 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Forced Extension | 77 | 0 | 77 | 2023-08-09 19:01 | 2023-08-24 10:00 |  | Other
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 382 | 30 | 2023-08-09 20:10 | 2023-09-30 23:59 |  | Other
PRO | PRO_UNIT1 | Natural Gas | Forced Extension | 45 | 0 | 45 | 2023-08-09 20:15 | 2023-08-12 23:59 | 2023-08-12 17:45 | Other
MCSES | MCSES_UNIT6 | Natural Gas | Forced Extension | 122 | 0 | 122 | 2023-08-09 22:20 | 2023-08-16 23:59 |  | Tube Leak
SKY1 | SKY1_SKY1A | Natural Gas | Forced Extension | 27 | 17 | 10 | 2023-08-10 00:01 | 2023-08-14 23:59 |  | Other
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 84 | 17 | 2023-08-10 01:20 | 2023-08-17 16:30 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 47 | 54 | 2023-08-10 01:20 | 2023-08-17 16:30 |  | Turbine/Generator Vibration/Repair
TBWF_ESS | TBWF_ESS_BES1 | Not Available | Forced Extension | 150 | 20 | 130 | 2023-08-10 01:58 | 2023-08-24 08:00 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 221 | 11 | 2023-08-10 05:51 | 2023-09-30 23:59 | 2023-08-11 18:22 | Other
ANDMDSLR | ANDMDSLR_UNIT1 | Solar | Maintenance Level 3 | 158 | 92 | 66 | 2023-08-10 06:00 | 2023-08-11 17:00 | 2023-08-11 13:58 | Other
ANDMDSLR | ANDMDSLR_UNIT1 | Solar | Unavoidable Extension | 158 | 126 | 32 | 2023-08-10 06:00 | 2023-08-11 20:00 | 2023-08-11 13:58 | Other
ANDMDSLR | ANDMDSLR_UNIT2 | Solar | Unavoidable Extension | 162 | 141 | 21 | 2023-08-10 06:00 | 2023-08-11 05:55 | 2023-08-11 05:55 | Other
ANDMDSLR | ANDMDSLR_UNIT2 | Solar | Maintenance Level 3 | 162 | 117 | 45 | 2023-08-10 06:00 | 2023-08-11 17:00 | 2023-08-11 13:58 | Other
VERTIGO | VERTIGO_WIND_I | Wind | Maintenance Level 1 | 150 | 84 | 66 | 2023-08-10 09:30 | 2023-08-14 07:30 |  | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 147 | 35 | 2023-08-10 09:39 | 2023-09-30 23:59 |  | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 125 | 13 | 2023-08-10 10:00 | 2023-08-22 16:00 |  | Other
WAP | WAP_WAP_G5 | Bituminous Coal | Forced Extension | 664 | 647 | 17 | 2023-08-10 10:44 | 2023-08-11 07:00 | 2023-08-11 01:04 | Inlet Air Problems/Repairs
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 100 | 26 | 2023-08-10 10:46 | 2023-09-10 12:00 | 2023-08-11 10:53 | Other
GIDEON | GIDEON_GIDEONG3 | Natural Gas | Unavoidable Extension | 336 | 201 | 135 | 2023-08-10 11:15 | 2023-08-17 12:00 |  | Other
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 805 | 770 | 35 | 2023-08-10 11:18 | 2023-08-11 01:59 | 2023-08-11 01:15 | Hot weather related
REDBARN | REDBARN_UNIT_1 | Solar | Forced Extension | 222 | 192 | 30 | 2023-08-10 14:11 | 2023-08-11 18:00 | 2023-08-11 15:44 | Other
GRSES | GRSES_UNIT1 | Natural Gas | Forced | 239 | 231 | 8 | 2023-08-10 15:01 | 2023-08-31 14:59 |  | Inlet Air Problems/Repairs
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 70 | 16 | 2023-08-10 15:16 | 2023-08-31 23:59 | 2023-08-12 08:00 | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 59 | 4 | 2023-08-10 15:55 | 2023-08-15 12:00 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 780 | 25 | 2023-08-10 16:00 | 2023-09-30 23:59 | 2023-08-11 22:29 | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 19 | 9 | 2023-08-10 16:11 | 2023-08-11 18:00 | 2023-08-11 10:21 | Other
TRSES | TRSES_UNIT6 | Natural Gas | Forced Extension | 235 | 231 | 4 | 2023-08-10 16:12 | 2023-08-13 08:59 | 2023-08-12 00:08 | Hot weather related
TAYGETE2 | TAYGETE2_UNIT2 | Solar | Forced | 102 | 71 | 31 | 2023-08-10 16:43 | 2023-08-11 18:00 | 2023-08-11 17:24 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-08-10 17:20 | 2023-08-31 18:00 | 2023-08-11 16:43 | Other
BRAUNIG | BRAUNIG_VHB2 | Natural Gas | Forced Extension | 230 | 220 | 10 | 2023-08-10 18:07 | 2023-08-14 23:59 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 820 | 35 | 2023-08-10 20:16 | 2023-08-11 00:59 | 2023-08-11 00:43 | Fuel Problems/Repairs
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 85 | 18 | 2023-08-10 20:32 | 2023-08-31 23:59 | 2023-08-11 15:21 | Other
AJAXWIND | AJAXWIND_UNIT1 | Wind | Forced Extension | 226 | 0 | 226 | 2023-08-10 20:48 | 2023-08-18 16:00 |  | Unknown
AJAXWIND | AJAXWIND_UNIT2 | Wind | Forced Extension | 141 | 0 | 141 | 2023-08-10 20:48 | 2023-08-18 16:00 |  | Unknown
AMOCOOIL | AMOCOOIL_AMOCO_G3 | Natural Gas | Maintenance Level 1 | 150 | 0 | 150 | 2023-08-10 21:00 | 2023-08-14 14:00 | 2023-08-13 12:57 | Tube Leak
AMOCOOIL | AMOCOOIL_AMOCO_S1 | Natural Gas | Maintenance Level 1 | 75 | 50 | 25 | 2023-08-10 21:00 | 2023-08-14 14:00 |  | Other
PRSPERO2 | PRSPERO2_UNIT2 | Solar | Maintenance Level 2 | 126 | 80 | 46 | 2023-08-10 21:00 | 2023-08-11 06:00 | 2023-08-11 04:55 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 805 | 50 | 2023-08-10 21:42 | 2023-08-24 10:00 | 2023-08-12 19:08 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 830 | 25 | 2023-08-10 21:42 | 2023-08-24 10:00 | 2023-08-13 21:17 | Other
TGCCS | TGCCS_CT1 | Natural Gas | Maintenance Level 2 | 156 | 85 | 71 | 2023-08-10 22:15 | 2023-08-11 06:00 | 2023-08-11 06:10 | Other
TGCCS | TGCCS_CT2 | Natural Gas | Maintenance Level 2 | 135 | 85 | 50 | 2023-08-10 22:15 | 2023-08-11 06:00 | 2023-08-11 06:10 | Other
TGCCS | TGCCS_CT3 | Natural Gas | Maintenance Level 2 | 153 | 85 | 68 | 2023-08-10 22:15 | 2023-08-11 06:00 | 2023-08-11 06:00 | Other
TGCCS | TGCCS_UNIT4 | Natural Gas | Maintenance Level 2 | 402 | 220 | 182 | 2023-08-10 22:15 | 2023-08-11 06:00 | 2023-08-11 06:00 | Other
DECKER | DECKER_DPGT_4 | Natural Gas | Forced Extension | 48 | 24 | 24 | 2023-08-10 22:19 | 2023-08-12 23:59 | 2023-08-12 11:57 | Other
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced | 18 | 0 | 18 | 2023-08-10 22:48 | 2023-08-11 23:59 | 2023-08-11 06:17 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 156 | 30 | 2023-08-10 23:14 | 2023-08-31 22:59 | 2023-08-11 08:08 | Other
PC_NORTH | PC_NORTH_PANTHER1 | Wind | Forced | 143 | 89 | 54 | 2023-08-10 23:34 | 2023-08-11 17:00 | 2023-08-11 06:45 | Other
SCSES | SCSES_UNIT2 | Natural Gas | Maintenance Level 2 | 502 | 0 | 502 | 2023-08-10 23:42 | 2023-08-11 10:00 | 2023-08-11 09:30 | Feedwater Problems/Repairs
TOYAH | TOYAH_BESS | Not Available | Maintenance Level 1 | 10 | 10 | 0 | 2023-08-10 23:59 | 2023-08-11 07:00 | 2023-08-11 04:25 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 640 | 15 | 2023-08-11 00:52 | 2023-08-31 23:59 | 2023-08-12 00:38 | Inlet Air Problems/Repairs
MLSES | MLSES_UNIT3 | Lignite | Forced | 805 | 790 | 15 | 2023-08-11 01:17 | 2023-08-12 00:59 | 2023-08-11 02:28 | Inlet Air Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 383 | 366 | 2023-08-11 01:24 | 2023-08-11 08:00 | 2023-08-11 08:00 | Feedwater Problems/Repairs
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 350 | 450 | 2023-08-11 02:03 | 2023-08-11 07:59 | 2023-08-11 08:00 | Emissions
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 600 | 205 | 2023-08-11 02:05 | 2023-08-11 06:00 | 2023-08-11 06:00 | Emissions
MLSES | MLSES_UNIT3 | Lignite | Forced | 805 | 600 | 205 | 2023-08-11 02:07 | 2023-08-11 05:59 | 2023-08-11 06:00 | Emissions
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 455 | 400 | 2023-08-11 02:37 | 2023-08-11 04:37 | 2023-08-11 02:49 | Fuel Problems/Repairs
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 780 | 75 | 2023-08-11 02:49 | 2023-08-11 04:37 | 2023-08-11 03:00 | Fuel Problems/Repairs
PENA | PENA_UNIT1 | Wind | Forced | 161 | 0 | 161 | 2023-08-11 03:24 | 2023-08-12 18:00 | 2023-08-11 19:24 | Unknown
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 545 | 291 | 2023-08-11 03:42 | 2023-08-14 23:59 | 2023-08-12 23:59 | Fuel Problems/Repairs
TTWEC | TTWEC_G1 | Wind | Forced | 170 | 157 | 13 | 2023-08-11 03:55 | 2023-08-13 18:00 | 2023-08-13 03:12 | Unknown
RAB | RAB_UNIT7 | Natural Gas | Maintenance Level 2 | 45 | 0 | 45 | 2023-08-11 05:00 | 2023-08-11 09:00 | 2023-08-11 09:00 | Boroscope
DCSES | DCSES_BES4 | Other | Forced | 64 | 59 | 5 | 2023-08-11 05:37 | 2023-08-11 15:59 | 2023-08-11 16:00 | Other
SL | SL_SL_G1 | Natural Gas | Forced Extension | 65 | 0 | 65 | 2023-08-11 05:40 | 2023-09-10 17:00 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 710 | 95 | 2023-08-11 06:00 | 2023-08-11 10:00 | 2023-08-11 10:00 | Emissions
MLSES | MLSES_UNIT3 | Lignite | Forced | 805 | 770 | 35 | 2023-08-11 06:00 | 2023-08-11 10:00 | 2023-08-11 10:00 | Emissions
PANDA_S | PANDA_S_SHER1ST1 | Natural Gas | Maintenance Level 1 | 287 | 150 | 137 | 2023-08-11 06:00 | 2023-08-11 12:00 | 2023-08-11 11:21 | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 0 | 745 | 2023-08-11 06:38 | 2023-08-11 22:00 | 2023-08-11 22:00 | Transformer Repair/Replace
RANCHERO | RANCHERO_UNIT2 | Wind | Forced | 150 | 137 | 13 | 2023-08-11 07:50 | 2023-08-11 16:00 | 2023-08-11 16:00 | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced | 749 | 315 | 434 | 2023-08-11 07:59 | 2023-08-11 09:00 | 2023-08-11 08:23 | Transformer Repair/Replace
ROUTE_66 | ROUTE_66_WIND1 | Wind | Forced | 150 | 136 | 14 | 2023-08-11 08:00 | 2023-08-12 20:00 | 2023-08-12 13:37 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 750 | 50 | 2023-08-11 08:01 | 2023-08-11 09:59 | 2023-08-11 10:00 | Emissions
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 156 | 30 | 2023-08-11 08:12 | 2023-08-31 22:59 |  | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-08-11 08:12 | 2023-08-31 22:59 | 2023-08-11 19:50 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 85 | 60 | 2023-08-11 08:20 | 2023-08-11 23:59 | 2023-08-11 17:39 | Other
ELARA_SL | ELARA_SL_UNIT1 | Solar | Forced | 132 | 117 | 15 | 2023-08-11 08:20 | 2023-08-11 14:00 | 2023-08-11 12:21 | Other
MGSES | MGSES_CT4 | Natural Gas | Forced Extension | 67 | 0 | 67 | 2023-08-11 08:50 | 2023-08-13 00:59 | 2023-08-12 23:39 | Boroscope
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 160 | 34 | 2023-08-11 09:01 | 2023-12-01 |  | Other
LNCRK2 | LNCRK2_G871 | Wind | Forced | 98 | 80 | 18 | 2023-08-11 09:10 | 2023-12-01 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 80 | 20 | 2023-08-11 09:10 | 2023-12-01 |  | Other
HAYSEN | HAYSEN_HAYSENG3 | Natural Gas | Forced Extension | 210 | 0 | 210 | 2023-08-11 09:22 | 2023-08-11 15:59 | 2023-08-11 14:30 | Other
HAYSEN | HAYSEN_HAYSENG4 | Natural Gas | Forced Extension | 213 | 0 | 213 | 2023-08-11 09:22 | 2023-08-11 15:59 | 2023-08-11 14:30 | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 25 | 3 | 2023-08-11 10:21 | 2023-08-14 18:00 | 2023-08-11 10:30 | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 75 | 0 | 2023-08-11 10:28 | 2023-08-14 12:00 | 2023-08-12 10:47 | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 21 | 7 | 2023-08-11 10:30 | 2023-08-14 18:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 96 | 30 | 2023-08-11 10:53 | 2023-08-12 12:00 | 2023-08-11 11:43 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 100 | 26 | 2023-08-11 11:42 | 2023-09-10 12:00 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 805 | 50 | 2023-08-11 12:30 | 2023-08-11 18:00 | 2023-08-11 15:00 | Fuel Problems/Repairs
STEAM | STEAM_STEAM_3 | Natural Gas | Forced | 36 | 33 | 3 | 2023-08-11 13:03 | 2023-08-21 23:59 |  | Emissions
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 96 | 24 | 2023-08-11 13:31 | 2023-08-22 18:00 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 40 | 60 | 2023-08-11 13:37 | 2023-08-23 18:00 |  | Other
STEAM1A | STEAM1A_STEAM_1 | Natural Gas | Forced | 18 | 0 | 18 | 2023-08-11 13:48 | 2023-08-11 18:00 | 2023-08-11 16:35 | Combustion Inspection and Repair
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 75 | 13 | 2023-08-11 14:43 | 2023-08-14 20:00 | 2023-08-11 17:40 | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 72 | 18 | 2023-08-11 14:43 | 2023-08-14 20:00 | 2023-08-11 17:40 | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced | 749 | 657 | 92 | 2023-08-11 15:03 | 2023-08-11 23:59 | 2023-08-11 23:53 | Temperature Limit
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 120 | 83 | 2023-08-11 15:11 | 2023-08-25 23:59 | 2023-08-12 12:00 | Other
KARAKAW1 | KARAKAW1_UNIT2 | Wind | Forced | 103 | 96 | 7 | 2023-08-11 15:22 | 2023-08-31 23:59 |  | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 187 | 35 | 2023-08-11 15:44 | 2023-08-14 18:00 | 2023-08-12 10:30 | Other
TEN | TEN_STG | Blast-Furnace Gas | Forced Extension | 106 | 0 | 106 | 2023-08-11 16:29 | 2023-08-13 07:00 | 2023-08-13 06:40 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 36 | 59 | 2023-08-11 16:30 | 2023-08-11 23:00 | 2023-08-11 17:29 | Turbine/Generator Vibration/Repair
EGROVESL | EGROVESL_UNIT1 | Solar | Forced | 108 | 93 | 15 | 2023-08-11 16:40 | 2023-08-11 20:29 | 2023-08-11 20:30 | Hot weather related
SANROMAN | SANROMAN_WIND_1 | Wind | Forced Extension | 95 | 56 | 39 | 2023-08-11 17:00 | 2023-08-18 22:00 |  | Turbine/Generator Vibration/Repair
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 160 | 35 | 2023-08-11 17:39 | 2023-08-12 23:59 | 2023-08-12 23:59 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 110 | 35 | 2023-08-11 17:39 | 2023-08-12 23:59 | 2023-08-12 23:59 | Other
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 80 | 8 | 2023-08-11 17:40 | 2023-08-14 20:00 |  | Other
BULLCRK | BULLCRK_WND2 | Wind | Forced | 90 | 85 | 5 | 2023-08-11 17:40 | 2023-08-14 20:00 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 210 | 22 | 2023-08-11 18:23 | 2023-09-30 23:59 | 2023-08-12 09:41 | Other
TI_SOLAR | TI_SOLAR_UNIT1 | Solar | Forced | 137 | 0 | 137 | 2023-08-11 18:35 | 2023-08-12 12:00 | 2023-08-12 03:15 | Lightening
TI_SOLAR | TI_SOLAR_UNIT2 | Solar | Forced | 131 | 0 | 131 | 2023-08-11 18:35 | 2023-08-12 12:00 | 2023-08-12 03:15 | Lightening
TEN | TEN_CT1 | Natural Gas | Forced | 163 | 0 | 163 | 2023-08-11 18:52 | 2023-08-11 23:59 | 2023-08-11 23:59 | Tube Leak
TEN | TEN_STG | Blast-Furnace Gas | Forced | 106 | 0 | 106 | 2023-08-11 18:52 | 2023-08-11 23:59 | 2023-08-11 23:59 | Tube Leak
CALHOUN | CALHOUN_UNIT2 | Natural Gas | Forced | 44 | 0 | 44 | 2023-08-11 19:30 | 2023-08-11 23:59 | 2023-08-11 20:05 | Other
DOWGEN | DOWGEN_DOW_G67 | Natural Gas | Maintenance Level 2 | 96 | 0 | 96 | 2023-08-11 20:00 | 2023-08-17 17:00 |  | Feedwater Problems/Repairs
TRINITY | TRINITY_TH1_BUS2 | Wind | Forced | 95 | 42 | 53 | 2023-08-11 20:14 | 2023-08-13 18:00 | 2023-08-12 02:29 | Unknown
MLSES | MLSES_UNIT1 | Lignite | Forced Extension | 800 | 725 | 75 | 2023-08-11 20:33 | 2023-08-12 01:59 | 2023-08-12 01:22 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 755 | 45 | 2023-08-11 20:33 | 2023-08-12 00:59 | 2023-08-11 23:16 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 745 | 55 | 2023-08-11 20:33 | 2023-08-12 00:59 | 2023-08-12 00:01 | Other
FALCON | FALCON_FALCONG1 | Water | Unavoidable Extension | 12 | 0 | 12 | 2023-08-11 21:00 | 2023-08-12 23:00 | 2023-08-12 20:48 | Other
PENA3 | PENA3_UNIT3 | Wind | Forced | 101 | 69 | 32 | 2023-08-11 21:11 | 2023-08-17 16:00 | 2023-08-12 07:49 | Other
MIL | MIL_MILLERG3 | Natural Gas | Forced | 208 | 0 | 208 | 2023-08-11 21:13 | 2023-08-14 23:59 |  | Tube Leak
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 705 | 95 | 2023-08-11 21:33 | 2023-08-12 01:59 | 2023-08-12 01:50 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 800 | 665 | 135 | 2023-08-11 21:33 | 2023-08-12 01:59 | 2023-08-12 02:00 | Other
PENA | PENA_UNIT1 | Wind | Forced | 161 | 67 | 94 | 2023-08-11 21:40 | 2023-08-14 18:00 | 2023-08-12 13:40 | Turbine/Generator Vibration/Repair
WHCCS | WHCCS_CT1 | Natural Gas | Maintenance Level 1 | 239 | 0 | 239 | 2023-08-11 22:00 | 2023-08-12 12:00 | 2023-08-12 06:39 | Other
WHCCS | WHCCS_STG | Natural Gas | Maintenance Level 1 | 268 | 140 | 128 | 2023-08-11 22:00 | 2023-08-12 12:00 | 2023-08-12 06:39 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 740 | 65 | 2023-08-11 22:02 | 2023-08-11 23:59 | 2023-08-11 22:53 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 770 | 35 | 2023-08-11 22:02 | 2023-09-30 23:59 | 2023-08-12 23:04 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 785 | 20 | 2023-08-11 22:02 | 2023-08-11 23:59 | 2023-08-12 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 805 | 755 | 50 | 2023-08-11 22:02 | 2023-09-30 23:59 |  | Other
TGCCS | TGCCS_CT1 | Natural Gas | Maintenance Level 1 | 156 | 85 | 71 | 2023-08-11 22:10 | 2023-08-12 06:00 | 2023-08-12 06:00 | Other
TGCCS | TGCCS_CT2 | Natural Gas | Maintenance Level 1 | 135 | 85 | 50 | 2023-08-11 22:10 | 2023-08-12 06:00 | 2023-08-12 06:00 | Other
TGCCS | TGCCS_CT3 | Natural Gas | Maintenance Level 1 | 153 | 85 | 68 | 2023-08-11 22:10 | 2023-08-12 06:00 | 2023-08-12 06:00 | Other
TGCCS | TGCCS_UNIT4 | Natural Gas | Maintenance Level 1 | 402 | 220 | 182 | 2023-08-11 22:10 | 2023-08-12 06:00 | 2023-08-12 06:00 | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced | 749 | 384 | 365 | 2023-08-11 23:53 | 2023-08-12 07:00 | 2023-08-12 07:04 | Feedwater Problems/Repairs
2023-08-14 |  |  |  | 2 |  |  |  | 5:03