## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-09-01 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Aug 29, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-09-20 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-11-07 23:59 |  | Other
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-10-23 08:00 |  | Other
CALLAHAN | CALLAHAN_WND1 | Wind | Unavoidable Extension | 123 | 0 | 123 | 2022-12-05 06:53 | 2023-10-23 08:00 |  | Other
H_HOLLOW | H_HOLLOW_WND1 | Wind | Unavoidable Extension | 230 | 0 | 230 | 2022-12-05 08:14 | 2023-10-23 08:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-11-01 15:00 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 100 | 0 | 100 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-10-31 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-09-30 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced Extension | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-12-31 23:59 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-11-01 16:00 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Forced Extension | 220 | 195 | 25 | 2023-03-09 00:21 | 2023-08-31 17:00 | 2023-08-31 17:10 | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-09-30 17:00 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-09-17 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
GRANDVW1 | GRANDVW1_COLB | Wind | Forced Extension | 100 | 96 | 4 | 2023-04-27 09:13 | 2023-09-01 12:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced Extension | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-10-01 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-10-31 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 491 | 45 | 2023-05-26 18:16 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2023-06-01 | 2023-10-01 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 174 | 131 | 43 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-09-05 12:00 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 83 | 9 | 2023-06-03 21:24 | 2023-10-31 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 756 | 80 | 2023-06-07 15:40 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 803 | 21 | 2023-06-07 18:34 | 2023-09-30 23:59 |  | Feedwater Problems/Repairs
GUADG | GUADG_GAS1 | Natural Gas | Forced Extension | 158 | 128 | 30 | 2023-06-09 15:29 | 2023-09-30 23:59 |  | Other
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 0 | 392 | 2023-06-11 19:10 | 2023-09-30 23:59 |  | Lightening
PHILLWND | PHILLWND_UNIT1 | Wind | Forced | 153 | 75 | 78 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
PHILLWND | PHILLWND_UNIT2 | Wind | Forced | 147 | 48 | 99 | 2023-06-14 07:49 | 2023-08-31 23:59 |  | Turbine/Generator Vibration/Repair
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 30 | 120 | 2023-06-15 09:19 | 2023-09-29 17:00 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 197 | 166 | 31 | 2023-06-15 15:45 | 2023-09-30 23:59 |  | Other
MASSENGL | MASSENGL_G6 | Natural Gas | Forced Extension | 18 | 0 | 18 | 2023-06-18 05:41 | 2023-10-01 23:59 |  | Other
LHSES | LHSES_UNIT2A | Natural Gas | Forced | 523 | 513 | 10 | 2023-06-21 01:19 | 2023-09-30 23:58 |  | Other
WEC | WEC_WECG1 | Wind | Forced Extension | 57 | 0 | 57 | 2023-06-21 20:07 | 2023-11-01 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 171 | 11 | 2023-06-24 17:48 | 2023-08-31 23:59 | 2023-08-29 12:23 | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 85 | 40 | 2023-06-26 16:03 | 2023-11-01 12:00 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 120 | 31 | 2023-06-27 23:25 | 2023-09-04 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 119 | 32 | 2023-06-27 23:25 | 2023-09-04 18:00 |  | Other
BVE | BVE_UNIT2 | Natural Gas | Forced Extension | 168 | 147 | 21 | 2023-06-28 13:19 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
GALLOWAY | GALLOWAY_SOLAR2 | Solar | Forced Extension | 110 | 20 | 90 | 2023-06-28 14:18 | 2023-08-31 20:00 | 2023-08-29 12:29 | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 13 | 117 | 2023-06-28 18:34 | 2023-11-01 12:00 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 0 | 153 | 2023-06-29 14:10 | 2023-09-30 17:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 0 | 149 | 2023-06-29 14:10 | 2023-09-30 17:00 |  | Other
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 49 | 3 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 113 | 10 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 93 | 35 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 91 | 11 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
ROSELAND | ROSELAND_SOLAR3 | Solar | Forced | 85 | 20 | 65 | 2023-06-29 21:09 | 2023-08-31 16:32 |  | Unknown
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 126 | 87 | 2023-07-02 04:35 | 2023-09-30 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 370 | 21 | 2023-07-05 10:19 | 2023-10-22 23:59 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 651 | 173 | 2023-07-06 19:32 | 2023-09-30 23:59 |  | Feedwater Problems/Repairs
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 98 | 22 | 2023-07-09 02:59 | 2023-09-01 18:00 |  | Other
KING_NW | KING_NW_KINGNW | Wind | Forced Extension | 80 | 54 | 26 | 2023-07-09 06:42 | 2023-10-31 23:59 |  | Other
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 46 | 4 | 2023-07-09 19:11 | 2023-09-30 23:59 |  | Other
CCEC | CCEC_GT2 | Natural Gas | Forced Extension | 138 | 85 | 53 | 2023-07-13 04:28 | 2023-09-30 23:59 |  | Tube Leak
PNPI | PNPI_GT2 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-07-16 | 2023-09-05 23:59 |  | Lack of Steam Load Availability
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 47 | 35 | 12 | 2023-07-17 12:00 | 2023-09-30 12:00 |  | Fuel Limitation/Lack of Fuel Availability
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 656 | 89 | 2023-07-18 13:48 | 2023-09-30 23:59 | 2023-08-31 11:46 | Inlet Air Problems/Repairs
MCDLD | MCDLD_FCW1 | Wind | Maintenance Level 1 | 124 | 110 | 14 | 2023-07-18 15:08 | 2023-12-31 16:00 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 62 | 0 | 62 | 2023-07-18 15:31 | 2023-11-30 23:59 |  | Overhaul
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 133 | 36 | 2023-07-19 15:38 | 2023-09-30 23:59 |  | Temperature Limit
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2023-07-19 23:47 | 2023-09-30 23:59 |  | Exhaust Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 673 | 76 | 2023-07-20 15:00 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
GOAT | GOAT_GOATWIND | Wind | Forced Extension | 80 | 70 | 10 | 2023-07-25 16:55 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 212 | 34 | 2023-07-26 13:14 | 2023-09-30 23:59 |  | Fuel Problems/Repairs
MUSTNGCK | MUSTNGCK_BES1 | Not Available | Forced | 70 | 20 | 50 | 2023-07-27 08:17 | 2023-10-31 17:00 |  | Other
OLINGR | OLINGR_OLING_2 | Natural Gas | Forced Extension | 107 | 35 | 72 | 2023-07-27 14:19 | 2023-09-11 23:59 |  | Emissions
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-07-30 14:12 | 2023-09-15 15:00 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 95 | 14 | 2023-07-30 16:13 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 100 | 9 | 2023-07-30 16:13 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 102 | 12 | 2023-07-31 04:46 | 2023-09-30 23:59 |  | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced Extension | 115 | 115 | 0 | 2023-07-31 05:02 | 2023-09-30 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-07-31 05:09 | 2023-10-31 23:59 |  | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 106 | 21 | 2023-07-31 07:07 | 2023-09-01 09:00 |  | Turbine/Generator Vibration/Repair
SPTX12B | SPTX12B_UNIT1 | Solar | Forced Extension | 158 | 140 | 18 | 2023-07-31 13:50 | 2023-09-30 23:59 |  | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 56 | 46 | 2023-08-01 06:20 | 2023-09-07 16:00 |  | Turbine/Generator Vibration/Repair
PB2SES | PB2SES_CT4 | Natural Gas | Forced | 65 | 59 | 6 | 2023-08-01 06:31 | 2023-10-24 23:58 |  | Other
INDL | INDL_ESS | Not Available | Unavoidable Extension | 10 | 10 | 0 | 2023-08-01 07:00 | 2023-08-30 17:00 | 2023-08-30 15:20 | Other
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced Extension | 103 | 96 | 7 | 2023-08-03 17:01 | 2023-11-30 23:59 | 2023-08-30 11:15 | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced | 169 | 163 | 6 | 2023-08-04 09:00 | 2023-09-04 16:00 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced | 169 | 155 | 14 | 2023-08-04 09:00 | 2023-09-04 16:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced | 150 | 138 | 12 | 2023-08-04 09:00 | 2023-09-04 16:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced | 150 | 141 | 9 | 2023-08-04 09:00 | 2023-09-04 16:00 |  | Turbine/Generator Vibration/Repair
DAN | DAN_UNIT1 | Solar | Forced Extension | 300 | 75 | 225 | 2023-08-04 09:46 | 2023-08-31 23:59 |  | Other
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced Extension | 50 | 46 | 4 | 2023-08-06 15:13 | 2023-09-01 20:00 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 95 | 14 | 2023-08-07 09:12 | 2023-09-30 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 146 | 44 | 2023-08-07 09:12 | 2023-09-30 23:59 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 135 | 28 | 2023-08-07 14:40 | 2023-09-08 18:00 |  | Unknown
PYR | PYR_PYRON1 | Wind | Forced | 122 | 34 | 88 | 2023-08-07 14:56 | 2023-09-29 17:00 |  | Other
PYR | PYR_PYRON2 | Wind | Forced | 128 | 55 | 73 | 2023-08-07 14:56 | 2023-09-29 17:00 | 2023-08-29 13:32 | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 0 | 23 | 2023-08-08 05:18 | 2023-12-31 00:01 |  | Turbine/Generator Vibration/Repair
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 48 | 0 | 2023-08-08 10:57 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 14 | 69 | 2023-08-08 11:03 | 2023-12-28 23:59 |  | Other
HRBESS | HRBESS_BESS | Not Available | Forced | 2 | 1 | 1 | 2023-08-08 17:55 | 2023-08-31 09:00 | 2023-08-31 09:00 | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 115 | 31 | 2023-08-09 06:11 | 2023-09-13 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG3 | Natural Gas | Unavoidable Extension | 32 | 0 | 32 | 2023-08-09 12:01 | 2023-09-15 17:00 |  | Feedwater Problems/Repairs
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced Extension | 103 | 0 | 103 | 2023-08-09 17:22 | 2023-11-30 23:59 |  | Unknown
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 382 | 30 | 2023-08-09 20:10 | 2023-09-30 23:59 |  | Other
AJAXWIND | AJAXWIND_UNIT1 | Wind | Forced Extension | 226 | 0 | 226 | 2023-08-10 20:48 | 2023-09-30 16:00 |  | Unknown
AJAXWIND | AJAXWIND_UNIT2 | Wind | Forced Extension | 141 | 0 | 141 | 2023-08-10 20:48 | 2023-09-30 16:00 |  | Unknown
LNCRK2 | LNCRK2_G871 | Wind | Forced | 98 | 80 | 18 | 2023-08-11 09:10 | 2023-12-01 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 80 | 20 | 2023-08-11 09:10 | 2023-12-01 |  | Other
STEAM | STEAM_STEAM_3 | Natural Gas | Forced Extension | 36 | 33 | 3 | 2023-08-11 13:03 | 2023-09-07 23:59 |  | Emissions
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 221 | 11 | 2023-08-12 09:42 | 2023-09-30 23:59 | 2023-08-29 10:19 | Other
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 77 | 51 | 2023-08-12 18:22 | 2023-10-31 23:59 |  | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 126 | 7 | 2023-08-12 21:00 | 2023-09-30 23:59 |  | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced | 93 | 78 | 15 | 2023-08-13 22:48 | 2023-08-31 23:59 | 2023-08-29 12:20 | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 144 | 36 | 2023-08-14 03:12 | 2023-12-04 23:58 |  | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 167 | 0 | 2023-08-14 17:00 | 2023-09-30 17:00 |  | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 146 | 0 | 2023-08-15 04:00 | 2023-09-30 17:00 |  | Other
TRSES | TRSES_UNIT6 | Natural Gas | Forced | 235 | 235 | 0 | 2023-08-15 09:51 | 2023-09-24 23:59 |  | Turbine/Generator Vibration/Repair
ANACACHO | ANACACHO_ANA | Wind | Forced | 100 | 97 | 3 | 2023-08-15 12:01 | 2023-09-28 16:00 |  | Other
BTE | BTE_BTE_G4 | Natural Gas | Forced Extension | 147 | 125 | 22 | 2023-08-16 06:32 | 2023-09-30 23:59 |  | Other
TREB_SLR | TREB_SLR_SOLAR1 | Solar | Forced | 195 | 0 | 195 | 2023-08-16 10:00 | 2023-09-14 10:00 |  | Other
FENCESLR | FENCESLR_BESS1 | Not Available | Forced | 70 | 0 | 70 | 2023-08-16 22:24 | 2023-12-31 20:00 |  | Other
FENCESLR | FENCESLR_SOLAR1 | Solar | Forced | 138 | 0 | 138 | 2023-08-16 22:24 | 2023-12-31 20:00 |  | Other
FENCESLR | FENCESLR_SOLAR2 | Solar | Forced | 98 | 0 | 98 | 2023-08-16 22:24 | 2023-12-31 20:00 |  | Other
TXCTY | TXCTY_CTC | Natural Gas | Forced Extension | 99 | 68 | 31 | 2023-08-17 08:32 | 2023-09-30 23:59 |  | Fuel Problems/Repairs
HLSES | HLSES_UNIT4 | Natural Gas | Forced Extension | 435 | 425 | 10 | 2023-08-17 19:30 | 2023-09-13 23:59 |  | Lack of Steam Load Availability
THW | THW_THWST_4 | Natural Gas | Forced Extension | 110 | 0 | 110 | 2023-08-17 20:22 | 2023-09-03 23:59 |  | Feedwater Problems/Repairs
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 60 | 15 | 2023-08-18 08:44 | 2023-09-01 23:59 | 2023-08-30 10:16 | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced Extension | 126 | 99 | 27 | 2023-08-18 08:46 | 2023-09-06 23:59 |  | Other
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced Extension | 20 | 0 | 20 | 2023-08-18 08:52 | 2023-12-31 23:59 |  | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Forced Extension | 50 | 46 | 4 | 2023-08-20 09:48 | 2023-08-31 23:59 |  | Other
SBE | SBE_UNIT1 | Solar | Forced Extension | 234 | 0 | 234 | 2023-08-21 00:01 | 2023-09-11 23:59 |  | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced | 100 | 93 | 7 | 2023-08-21 05:48 | 2023-09-04 18:00 |  | Turbine/Generator Vibration/Repair
BRTSW | BRTSW_BCW1 | Wind | Forced | 120 | 98 | 22 | 2023-08-21 05:50 | 2023-09-04 18:00 |  | Turbine/Generator Vibration/Repair
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 130 | 3 | 2023-08-21 06:41 | 2023-10-31 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 180 | 21 | 2023-08-21 06:42 | 2023-08-30 23:59 | 2023-08-29 17:17 | Other
CCEC | CCEC_GT1 | Natural Gas | Forced Extension | 138 | 85 | 53 | 2023-08-21 09:17 | 2023-09-30 23:59 |  | Tube Leak
DECKER | DECKER_DPGT_4 | Natural Gas | Forced | 49 | 24 | 25 | 2023-08-21 10:26 | 2023-09-30 23:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 490 | 12 | 2023-08-21 19:04 | 2023-08-30 20:59 | 2023-08-30 22:59 | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 105 | 5 | 2023-08-21 21:30 | 2023-09-01 23:59 |  | Other
AMOCOOIL | AMOCOOIL_AMOCO_G3 | Natural Gas | Unavoidable Extension | 160 | 0 | 160 | 2023-08-22 00:49 | 2023-09-01 12:00 |  | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Unavoidable Extension | 83 | 0 | 83 | 2023-08-22 05:37 | 2023-09-05 16:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 657 | 92 | 2023-08-22 15:17 | 2023-09-30 23:59 |  | Temperature Limit
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 125 | 13 | 2023-08-22 16:31 | 2023-09-08 16:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 110 | 15 | 2023-08-22 18:29 | 2023-08-31 18:00 | 2023-08-29 13:40 | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced | 125 | 110 | 15 | 2023-08-22 18:29 | 2023-08-31 18:00 | 2023-08-29 13:40 | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-08-23 00:01 | 2023-12-31 23:59 |  | Other
GUNMTN | GUNMTN_G1 | Wind | Forced | 120 | 93 | 27 | 2023-08-23 04:19 | 2023-08-31 18:00 | 2023-08-30 16:34 | Other
MIAM1 | MIAM1_G1 | Wind | Forced Extension | 144 | 138 | 6 | 2023-08-23 04:19 | 2023-09-07 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced Extension | 144 | 138 | 6 | 2023-08-23 04:19 | 2023-09-07 18:00 |  | Other
NUECES_B | NUECES_B_NUECESG8 | Natural Gas | Forced Extension | 161 | 0 | 161 | 2023-08-23 06:02 | 2023-09-02 |  | Other
CASL_GAP | CASL_GAP_BATTERY1 | Not Available | Forced | 10 | 9 | 1 | 2023-08-23 10:24 | 2023-09-06 16:00 |  | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced Extension | 203 | 125 | 78 | 2023-08-23 12:00 | 2023-09-25 23:59 | 2023-08-31 19:05 | Other
TAYGETE2 | TAYGETE2_UNIT1 | Solar | Forced | 102 | 85 | 17 | 2023-08-23 14:28 | 2023-08-31 20:00 | 2023-08-31 20:00 | Other
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 170 | 24 | 2023-08-23 14:29 | 2023-12-01 |  | Other
TAYGETE2 | TAYGETE2_UNIT2 | Solar | Forced | 102 | 81 | 21 | 2023-08-23 14:59 | 2023-08-31 20:00 | 2023-08-31 20:00 | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 121 | 29 | 2023-08-23 17:37 | 2023-09-30 23:59 |  | Other
HHOLLOW2 | HHOLLOW2_WIND1 | Wind | Forced | 184 | 182 | 2 | 2023-08-23 22:27 | 2023-08-31 23:59 | 2023-08-31 12:32 | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 147 | 3 | 2023-08-23 22:28 | 2023-09-30 23:59 |  | Other
MCSES | MCSES_UNIT6 | Natural Gas | Forced Extension | 122 | 0 | 122 | 2023-08-24 00:08 | 2023-08-29 23:59 | 2023-08-29 10:00 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 114 | 51 | 2023-08-24 00:33 | 2023-09-08 18:00 |  | Unknown
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 0 | 241 | 2023-08-24 07:00 | 2023-08-31 23:59 | 2023-08-29 20:08 | Other
AEEC | AEEC_ELK_1 | Natural Gas | Forced Extension | 195 | 0 | 195 | 2023-08-24 07:24 | 2023-09-01 23:59 | 2023-08-31 10:30 | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced Extension | 151 | 132 | 19 | 2023-08-24 07:50 | 2023-09-04 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced Extension | 98 | 80 | 18 | 2023-08-24 07:50 | 2023-09-04 14:00 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced Extension | 100 | 42 | 58 | 2023-08-24 09:00 | 2023-08-31 21:00 | 2023-08-31 01:21 | Turbine/Generator Vibration/Repair
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 735 | 101 | 2023-08-24 10:28 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 325 | 285 | 2023-08-24 15:19 | 2023-09-02 12:00 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 391 | 145 | 2023-08-25 06:11 | 2023-08-31 23:59 | 2023-08-30 21:33 | Cooling Water Problems/Repairs
DILEOSLR | DILEOSLR_UNIT1 | Solar | Forced Extension | 71 | 20 | 51 | 2023-08-25 07:48 | 2023-09-29 23:59 | 2023-08-30 14:00 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced Extension | 186 | 156 | 30 | 2023-08-25 08:57 | 2023-09-30 23:59 | 2023-08-31 09:36 | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced | 71 | 68 | 3 | 2023-08-25 11:00 | 2023-08-30 12:00 | 2023-08-30 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced | 33 | 30 | 3 | 2023-08-25 11:00 | 2023-08-30 12:00 | 2023-08-30 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced | 22 | 20 | 2 | 2023-08-25 11:00 | 2023-08-30 12:00 | 2023-08-30 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced | 202 | 193 | 9 | 2023-08-25 11:00 | 2023-08-30 12:00 | 2023-08-30 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT2 | Wind | Forced | 11 | 8 | 3 | 2023-08-25 11:00 | 2023-08-30 12:00 | 2023-08-30 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT3 | Wind | Forced | 34 | 30 | 4 | 2023-08-25 11:00 | 2023-08-30 12:00 | 2023-08-30 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced | 22 | 15 | 7 | 2023-08-25 11:00 | 2023-08-30 12:00 | 2023-08-30 12:00 | Other
RAB | RAB_UNIT8 | Natural Gas | Forced Extension | 46 | 0 | 46 | 2023-08-25 11:22 | 2023-09-01 23:59 |  | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced Extension | 126 | 50 | 76 | 2023-08-25 13:50 | 2023-09-30 23:59 |  | Other
SPNCER | SPNCER_SPNCE_4 | Natural Gas | Forced | 57 | 0 | 57 | 2023-08-25 14:32 | 2023-09-01 23:59 |  | Cooling Water Problems/Repairs
PENA3 | PENA3_UNIT3 | Wind | Forced Extension | 101 | 96 | 5 | 2023-08-25 14:39 | 2023-09-03 23:00 |  | Other
TRSES | TRSES_UNIT6 | Natural Gas | Forced Extension | 235 | 230 | 5 | 2023-08-25 15:28 | 2023-09-01 18:59 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 850 | 5 | 2023-08-25 16:00 | 2023-08-31 20:00 | 2023-08-29 12:11 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 830 | 25 | 2023-08-25 16:01 | 2023-08-31 23:59 | 2023-08-30 10:13 | Other
PENA | PENA_UNIT1 | Wind | Forced Extension | 161 | 151 | 10 | 2023-08-25 18:05 | 2023-09-07 23:59 |  | Turbine/Generator Vibration/Repair
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 100 | 15 | 2023-08-25 22:56 | 2023-09-01 23:59 | 2023-08-31 09:10 | Other
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 83 | 65 | 18 | 2023-08-26 01:23 | 2023-09-30 23:59 |  | Lack of Steam Load Availability
OWF | OWF_OWF | Wind | Forced Extension | 55 | 14 | 41 | 2023-08-26 03:30 | 2023-09-30 23:59 | 2023-08-31 10:10 | Turbine/Generator Vibration/Repair
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Forced Extension | 126 | 90 | 36 | 2023-08-26 07:00 | 2023-09-30 23:59 |  | Other
HLSES | HLSES_UNIT3 | Natural Gas | Forced | 375 | 250 | 125 | 2023-08-26 08:45 | 2023-10-31 23:59 |  | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 630 | 25 | 2023-08-26 10:16 | 2023-09-30 23:59 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 94 | 32 | 2023-08-26 13:17 | 2023-09-01 12:00 |  | Other
CFLATS | CFLATS_U1 | Wind | Forced Extension | 148 | 138 | 10 | 2023-08-26 15:20 | 2023-09-01 18:00 | 2023-08-31 22:02 | Other
WOV_BESS | WOV_BESS_UNIT1 | Not Available | Forced Extension | 10 | 0 | 10 | 2023-08-26 16:00 | 2023-09-01 08:00 |  | Other
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced Extension | 18 | 0 | 18 | 2023-08-26 20:38 | 2023-09-05 23:59 |  | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 132 | 20 | 2023-08-27 08:00 | 2023-08-29 20:00 | 2023-08-29 08:41 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced Extension | 222 | 212 | 10 | 2023-08-27 09:57 | 2023-08-31 18:00 | 2023-08-31 17:23 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 174 | 35 | 2023-08-27 11:15 | 2023-09-02 | 2023-08-29 23:12 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 184 | 26 | 2023-08-27 11:15 | 2023-09-02 | 2023-08-29 23:12 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 145 | 50 | 2023-08-27 11:16 | 2023-09-02 | 2023-08-29 23:11 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 80 | 65 | 2023-08-27 11:16 | 2023-09-02 | 2023-08-29 23:11 | Other
LOCKETT | LOCKETT_UNIT1 | Wind | Forced | 184 | 175 | 9 | 2023-08-27 11:33 | 2023-09-03 12:00 |  | Other
PSG | PSG_PSG_GT3 | Natural Gas | Forced Extension | 168 | 0 | 168 | 2023-08-27 12:42 | 2023-08-30 23:59 | 2023-08-30 09:23 | Unknown
PSG | PSG_PSG_ST2 | Natural Gas | Forced Extension | 168 | 85 | 83 | 2023-08-27 12:42 | 2023-08-30 23:59 | 2023-08-30 09:23 | Unknown
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 120 | 20 | 100 | 2023-08-27 12:59 | 2023-11-30 23:59 |  | Other
GBY | GBY_GBYGT84 | Natural Gas | Forced Extension | 57 | 0 | 57 | 2023-08-27 15:00 | 2023-08-30 23:59 | 2023-08-30 15:00 | Turbine/Generator Vibration/Repair
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 143 | 39 | 2023-08-27 15:00 | 2023-09-30 23:59 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 90 | 41 | 2023-08-27 16:45 | 2023-09-01 18:00 |  | Other
MWEC | MWEC_G1 | Wind | Forced | 150 | 138 | 12 | 2023-08-27 16:45 | 2023-09-02 18:00 | 2023-08-30 16:34 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 760 | 60 | 2023-08-27 17:04 | 2023-09-30 23:59 | 2023-08-30 15:16 | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 273 | 390 | 2023-08-27 18:30 | 2023-08-31 23:59 | 2023-08-30 14:45 | Feedwater Problems/Repairs
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 188 | 21 | 2023-08-27 18:40 | 2023-09-04 | 2023-08-29 23:12 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 188 | 22 | 2023-08-27 18:40 | 2023-09-04 | 2023-08-29 23:12 | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 148 | 16 | 2023-08-27 19:17 | 2023-08-31 23:59 | 2023-08-31 05:19 | Other
ETCCS | ETCCS_CT1 | Natural Gas | Forced Extension | 212 | 188 | 24 | 2023-08-28 | 2023-09-01 23:59 |  | Hot weather related
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 0 | 610 | 2023-08-28 02:39 | 2023-09-02 12:00 |  | Tube Leak
CALAVERS | CALAVERS_JKS2 | Subbituminous Coal | Forced Extension | 785 | 0 | 785 | 2023-08-28 05:39 | 2023-09-04 23:59 |  | Tube Leak
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 47 | 37 | 10 | 2023-08-28 08:00 | 2023-09-30 23:59 |  | Fuel Limitation/Lack of Fuel Availability
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 59 | 4 | 2023-08-28 08:00 | 2023-08-31 20:00 | 2023-08-29 12:04 | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced | 63 | 56 | 7 | 2023-08-28 08:00 | 2023-08-31 20:00 | 2023-08-29 12:04 | Other
SPNCER | SPNCER_SPNCE_5 | Natural Gas | Forced | 61 | 0 | 61 | 2023-08-28 08:10 | 2023-09-01 23:59 | 2023-08-30 19:11 | Feedwater Problems/Repairs
BRP_ZPT1 | BRP_ZPT1_UNIT1 | Not Available | Forced | 10 | 0 | 10 | 2023-08-28 08:46 | 2023-09-30 23:59 | 2023-08-30 19:10 | Transformer Repair/Replace
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 36 | 44 | 2023-08-28 09:05 | 2023-08-31 23:59 | 2023-08-31 05:10 | Other
KING_SE | KING_SE_KINGSE | Wind | Forced Extension | 41 | 16 | 25 | 2023-08-28 09:05 | 2023-10-31 23:59 |  | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 300 | 355 | 2023-08-28 10:36 | 2023-08-28 23:59 | 2023-08-29 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 64 | 26 | 2023-08-28 11:11 | 2023-09-01 23:59 | 2023-08-30 09:12 | Other
MIL | MIL_MILLERG5 | Natural Gas | Forced Extension | 104 | 0 | 104 | 2023-08-28 12:57 | 2023-08-29 23:59 | 2023-08-29 16:30 | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 0 | 169 | 2023-08-28 13:00 | 2023-08-29 10:00 | 2023-08-29 09:09 | Turbine/Generator Vibration/Repair
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 83 | 65 | 18 | 2023-08-28 13:05 | 2023-09-30 23:59 |  | Emissions
AQUILLA | AQUILLA_U1_23 | Wind | Forced | 14 | 0 | 14 | 2023-08-28 15:20 | 2023-08-31 16:21 | 2023-08-29 00:08 | Other
AQUILLA | AQUILLA_U1_28 | Wind | Forced | 135 | 70 | 65 | 2023-08-28 15:20 | 2023-08-31 16:21 | 2023-08-30 05:30 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced Extension | 222 | 0 | 222 | 2023-08-28 15:34 | 2023-08-31 18:00 | 2023-08-31 16:18 | Other
GRSES | GRSES_UNIT2 | Natural Gas | Forced | 390 | 316 | 74 | 2023-08-28 15:46 | 2023-08-29 13:00 | 2023-08-29 12:36 | Other
GRSES | GRSES_UNIT1 | Natural Gas | Forced | 239 | 231 | 8 | 2023-08-28 15:48 | 2023-09-01 12:59 |  | Inlet Air Problems/Repairs
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 150 | 241 | 2023-08-28 15:56 | 2023-08-29 06:00 | 2023-08-29 04:27 | Fuel Problems/Repairs
REDBARN | REDBARN_UNIT_2 | Solar | Forced Extension | 28 | 10 | 18 | 2023-08-28 16:08 | 2023-08-29 18:00 | 2023-08-29 09:53 | Other
HRZN_SLR | HRZN_SLR_UNIT1 | Solar | Forced | 200 | 7 | 193 | 2023-08-28 16:11 | 2023-09-04 12:00 |  | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 805 | 15 | 2023-08-28 16:39 | 2023-08-28 23:59 | 2023-08-29 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 46 | 49 | 2023-08-28 18:30 | 2023-09-01 22:00 |  | Other
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 106 | 9 | 2023-08-28 19:00 | 2023-09-01 22:00 |  | Other
CABEZON | CABEZON_WIND2 | Wind | Forced Extension | 122 | 110 | 12 | 2023-08-28 19:00 | 2023-09-01 22:00 |  | Other
VERAWIND | VERAWIND_UNIT1 | Wind | Forced | 12 | 8 | 4 | 2023-08-28 19:00 | 2023-08-29 22:00 | 2023-08-29 18:59 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT2 | Wind | Forced | 7 | 6 | 1 | 2023-08-28 19:00 | 2023-08-29 22:00 | 2023-08-29 18:59 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 56 | 45 | 2023-08-28 19:00 | 2023-08-29 22:00 | 2023-08-29 18:59 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT4 | Wind | Forced | 22 | 18 | 4 | 2023-08-28 19:00 | 2023-08-29 22:00 | 2023-08-29 18:59 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 46 | 55 | 2023-08-28 19:00 | 2023-08-29 22:00 | 2023-08-29 18:59 | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 0 | 536 | 2023-08-28 19:15 | 2023-08-29 01:00 | 2023-08-29 00:01 | Turbine/Generator Vibration/Repair
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced | 146 | 0 | 146 | 2023-08-28 19:54 | 2023-08-29 08:00 | 2023-08-29 07:34 | Other
SUNVASLR | SUNVASLR_UNIT1 | Solar | Maintenance Level 1 | 166 | 160 | 6 | 2023-08-28 21:00 | 2023-08-29 06:00 | 2023-08-29 05:45 | Other
SUNVASLR | SUNVASLR_UNIT2 | Solar | Maintenance Level 1 | 86 | 0 | 86 | 2023-08-28 21:00 | 2023-08-29 06:00 | 2023-08-29 05:45 | Other
MGSES | MGSES_CT5 | Natural Gas | Forced Extension | 69 | 0 | 69 | 2023-08-28 21:01 | 2023-08-29 15:59 | 2023-08-29 14:30 | Fuel Problems/Repairs
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 590 | 230 | 2023-08-28 21:01 | 2023-08-29 00:58 | 2023-08-29 01:14 | Inlet Air Problems/Repairs
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 700 | 120 | 2023-08-28 21:17 | 2023-08-29 00:59 | 2023-08-29 01:01 | Emissions
WHCCS | WHCCS_CT1 | Natural Gas | Maintenance Level 1 | 245 | 0 | 245 | 2023-08-28 22:00 | 2023-08-31 22:00 | 2023-08-29 22:52 | Tube Leak
WHCCS | WHCCS_CT2 | Natural Gas | Maintenance Level 1 | 245 | 0 | 245 | 2023-08-28 22:00 | 2023-08-31 22:00 | 2023-08-29 22:52 | Tube Leak
WHCCS | WHCCS_STG | Natural Gas | Maintenance Level 1 | 270 | 0 | 270 | 2023-08-28 22:00 | 2023-08-31 22:00 | 2023-08-29 22:52 | Tube Leak
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 715 | 121 | 2023-08-28 22:23 | 2023-08-29 08:00 | 2023-08-29 05:32 | Feedwater Problems/Repairs
FTR | FTR_FTR_G1 | Natural Gas | Maintenance Level 2 | 180 | 0 | 180 | 2023-08-28 23:00 | 2023-09-01 17:00 |  | Other
FTR | FTR_FTR_G2 | Natural Gas | Maintenance Level 2 | 180 | 0 | 180 | 2023-08-28 23:00 | 2023-09-01 17:00 |  | Other
FTR | FTR_FTR_G3 | Natural Gas | Maintenance Level 2 | 180 | 0 | 180 | 2023-08-28 23:00 | 2023-09-01 17:00 |  | Other
FTR | FTR_FTR_G4 | Natural Gas | Maintenance Level 2 | 400 | 0 | 400 | 2023-08-28 23:00 | 2023-09-01 17:00 |  | Other
DCSES | DCSES_CT10 | Natural Gas | Forced Extension | 72 | 0 | 72 | 2023-08-28 23:05 | 2023-08-29 15:59 | 2023-08-29 10:44 | Other
BRAUNIG | BRAUNIG_VHB2 | Natural Gas | Forced Extension | 230 | 210 | 20 | 2023-08-28 23:28 | 2023-09-30 23:59 |  | Feedwater Problems/Repairs
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced Extension | 145 | 60 | 85 | 2023-08-29 | 2023-09-01 17:00 | 2023-08-30 23:59 | Other
SANDHSYD | SANDHSYD_SH4 | Natural Gas | Maintenance Level 1 | 47 | 0 | 47 | 2023-08-29 | 2023-08-31 23:59 | 2023-08-30 18:22 | Other
SCSES | SCSES_UNIT1A | Natural Gas | Maintenance Level 1 | 167 | 0 | 167 | 2023-08-29 00:01 | 2023-08-30 03:59 | 2023-08-30 00:52 | Inlet Air Problems/Repairs
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 820 | 630 | 190 | 2023-08-29 00:15 | 2023-08-29 19:00 | 2023-08-29 08:00 | Inlet Air Problems/Repairs
GRSES | GRSES_UNIT2 | Natural Gas | Maintenance Level 1 | 390 | 0 | 390 | 2023-08-29 00:44 | 2023-08-29 23:59 | 2023-08-29 17:49 | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 261 | 275 | 2023-08-29 00:47 | 2023-08-30 23:59 | 2023-08-30 21:33 | Feedwater Problems/Repairs
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Maintenance Level 2 | 655 | 0 | 655 | 2023-08-29 00:55 | 2023-08-30 13:59 | 2023-08-29 23:48 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced Extension | 815 | 400 | 415 | 2023-08-29 01:00 | 2023-08-29 12:00 | 2023-08-29 11:57 | Inlet Air Problems/Repairs
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 820 | 600 | 220 | 2023-08-29 01:00 | 2023-08-29 12:00 | 2023-08-29 07:57 | Inlet Air Problems/Repairs
MLSES | MLSES_UNIT3 | Lignite | Forced Extension | 820 | 720 | 100 | 2023-08-29 01:00 | 2023-08-29 12:00 | 2023-08-29 12:00 | Emissions
CBY | CBY_CBY_G2 | Natural Gas | Unavoidable Extension | 749 | 0 | 749 | 2023-08-29 01:29 | 2023-09-01 23:59 |  | Tube Leak
WAP | WAP_WAP_G4 | Natural Gas | Forced | 536 | 167 | 369 | 2023-08-29 02:06 | 2023-08-29 08:00 | 2023-08-29 06:28 | Turbine/Generator Vibration/Repair
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 197 | 90 | 107 | 2023-08-29 02:50 | 2023-08-29 09:00 | 2023-08-29 07:22 | Other
BTE | BTE_BTE_G4 | Natural Gas | Forced Extension | 147 | 0 | 147 | 2023-08-29 02:50 | 2023-08-29 09:00 | 2023-08-29 07:22 | Other
WFTANK | WFTANK_ESS1 | Not Available | Forced | 150 | 0 | 150 | 2023-08-29 03:00 | 2023-08-29 07:00 | 2023-08-29 07:00 | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 0 | 180 | 2023-08-29 03:48 | 2023-08-29 06:30 | 2023-08-29 06:16 | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 0 | 172 | 2023-08-29 03:48 | 2023-08-29 06:30 | 2023-08-29 06:16 | Other
AVIATOR | AVIATOR_UNIT2 | Wind | Forced | 146 | 132 | 14 | 2023-08-29 04:00 | 2023-08-31 17:00 | 2023-08-29 12:30 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 165 | 0 | 2023-08-29 04:00 | 2023-09-01 17:00 | 2023-08-29 19:17 | Unknown
FRONT_EC | FRONT_EC_CT1 | Natural Gas | Maintenance Level 1 | 177 | 0 | 177 | 2023-08-29 04:00 | 2023-08-29 12:00 | 2023-08-29 06:48 | Exhaust Problems/Repairs
BCH | BCH_UNIT3 | Natural Gas | Maintenance Level 2 | 46 | 0 | 46 | 2023-08-29 05:00 | 2023-08-29 09:00 | 2023-08-29 08:06 | Combustion Inspection and Repair
BCH | BCH_UNIT6 | Natural Gas | Maintenance Level 2 | 46 | 0 | 46 | 2023-08-29 05:00 | 2023-08-29 09:00 | 2023-08-29 08:59 | Other
RAB | RAB_UNIT6 | Natural Gas | Maintenance Level 2 | 46 | 0 | 46 | 2023-08-29 05:00 | 2023-08-29 09:00 | 2023-08-29 08:31 | Boroscope
STEAM | STEAM_ENGINE_1 | Natural Gas | Forced | 8 | 0 | 8 | 2023-08-29 05:01 | 2023-08-29 15:00 | 2023-08-29 11:35 | Exhaust Problems/Repairs
WES | WES_UNIT1 | Solar | Maintenance Level 1 | 102 | 50 | 52 | 2023-08-29 05:20 | 2023-08-29 08:00 | 2023-08-29 06:20 | Other
WFTANK | WFTANK_ESS1 | Not Available | Unavoidable Extension | 150 | 0 | 150 | 2023-08-29 07:00 | 2023-08-29 13:00 | 2023-08-29 12:15 | Other
SWEC | SWEC_G1 | Wind | Unavoidable Extension | 120 | 0 | 120 | 2023-08-29 07:08 | 2023-08-29 19:00 | 2023-08-29 19:34 | Other
CBEC | CBEC_GT1 | Natural Gas | Forced | 84 | 68 | 16 | 2023-08-29 08:00 | 2023-08-29 12:00 | 2023-08-29 10:56 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 630 | 190 | 2023-08-29 08:11 | 2023-08-29 16:00 | 2023-08-29 08:13 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 600 | 220 | 2023-08-29 08:13 | 2023-08-29 16:00 | 2023-08-29 08:24 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 600 | 220 | 2023-08-29 08:18 | 2023-08-29 12:59 | 2023-08-29 13:00 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 820 | 650 | 170 | 2023-08-29 08:23 | 2023-08-30 01:59 | 2023-08-30 02:00 | Other
INDL | INDL_ESS | Not Available | Maintenance Level 1 | 10 | 0 | 10 | 2023-08-29 08:37 | 2023-08-29 16:00 | 2023-08-29 15:49 | Other
PEY | PEY_UNIT1 | Wind | Forced | 151 | 0 | 151 | 2023-08-29 08:38 | 2023-08-29 12:00 | 2023-08-29 09:20 | Other
SPLAIN2 | SPLAIN2_WIND22 | Wind | Forced | 152 | 135 | 17 | 2023-08-29 08:41 | 2023-08-31 20:00 | 2023-08-31 08:09 | Other
CHAMON | CHAMON_CTG_0301 | Natural Gas | Forced | 47 | 0 | 47 | 2023-08-29 08:53 | 2023-08-29 12:00 | 2023-08-29 10:15 | Other
WAP | WAP_WAPGT_1 | Natural Gas | Forced | 13 | 0 | 13 | 2023-08-29 09:09 | 2023-08-30 23:59 | 2023-08-29 09:10 | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 0 | 169 | 2023-08-29 09:09 | 2023-08-31 23:59 | 2023-08-31 15:39 | Other
BATCAVE | BATCAVE_BES1 | Not Available | Maintenance Level 1 | 101 | 0 | 101 | 2023-08-29 09:45 | 2023-08-29 11:00 | 2023-08-29 10:48 | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 21 | 7 | 2023-08-29 09:53 | 2023-08-31 18:00 | 2023-08-29 11:48 | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 120 | 112 | 2023-08-29 10:21 | 2023-09-30 23:59 | 2023-08-29 23:45 | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced | 126 | 109 | 17 | 2023-08-29 10:40 | 2023-08-31 20:00 | 2023-08-29 16:33 | Other
MDANP | MDANP_CT3 | Natural Gas | Forced | 230 | 0 | 230 | 2023-08-29 11:04 | 2023-08-29 13:00 | 2023-08-29 11:47 | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 0 | 203 | 2023-08-29 11:09 | 2023-09-05 23:59 | 2023-08-29 18:07 | Other
DEC | DEC_AGR_A | Natural Gas | Forced | 56 | 37 | 19 | 2023-08-29 11:30 | 2023-08-29 13:00 | 2023-08-29 12:06 | Combustion Inspection and Repair
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 19 | 9 | 2023-08-29 11:48 | 2023-08-31 18:00 | 2023-08-29 18:26 | Other
TAYGETE | TAYGETE_UNIT2 | Solar | Forced | 129 | 80 | 49 | 2023-08-29 11:50 | 2023-08-31 20:00 | 2023-08-29 16:33 | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 59 | 4 | 2023-08-29 12:02 | 2023-08-31 20:00 | 2023-08-29 14:21 | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced | 63 | 51 | 12 | 2023-08-29 12:02 | 2023-08-31 20:00 | 2023-08-29 14:21 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 825 | 30 | 2023-08-29 12:03 | 2023-08-31 20:00 | 2023-08-30 10:12 | Other
MASSENGL | MASSENGL_G7 | Natural Gas | Forced Extension | 18 | 0 | 18 | 2023-08-29 12:15 | 2023-08-29 18:40 | 2023-08-29 18:00 | Other
MASSENGL | MASSENGL_G8 | Natural Gas | Forced Extension | 38 | 0 | 38 | 2023-08-29 12:15 | 2023-08-29 18:40 | 2023-08-29 18:00 | Other
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced Extension | 93 | 78 | 15 | 2023-08-29 12:21 | 2023-09-30 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_17 | Wind | Forced Extension | 13 | 12 | 1 | 2023-08-29 12:24 | 2023-09-30 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 161 | 21 | 2023-08-29 12:24 | 2023-09-30 23:59 |  | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 575 | 240 | 2023-08-29 12:35 | 2023-08-29 13:20 | 2023-08-29 12:54 | Other
PYR | PYR_PYRON2 | Wind | Forced | 128 | 73 | 55 | 2023-08-29 13:33 | 2023-09-29 17:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 110 | 15 | 2023-08-29 13:40 | 2023-08-31 18:00 | 2023-08-29 16:43 | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced | 125 | 53 | 72 | 2023-08-29 13:40 | 2023-08-31 18:00 | 2023-08-29 16:43 | Other
BRAUNIG | BRAUNIG_VHB6CT8 | Natural Gas | Forced | 47 | 0 | 47 | 2023-08-29 13:55 | 2023-08-29 23:59 | 2023-08-29 14:05 | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 59 | 4 | 2023-08-29 14:19 | 2023-08-31 20:00 | 2023-08-31 20:00 | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced | 63 | 53 | 10 | 2023-08-29 14:19 | 2023-08-31 20:00 | 2023-08-31 20:00 | Other
DAN | DAN_UNIT2 | Solar | Forced | 150 | 20 | 130 | 2023-08-29 14:35 | 2023-09-30 23:00 | 2023-08-29 17:00 | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 20 | 130 | 2023-08-29 14:35 | 2023-09-30 23:00 | 2023-08-29 17:00 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced Extension | 820 | 400 | 420 | 2023-08-29 15:50 | 2023-08-29 23:59 | 2023-08-29 23:06 | Other
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 560 | 264 | 2023-08-29 16:24 | 2023-08-29 19:00 | 2023-08-29 16:50 | Fuel Problems/Repairs
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 110 | 15 | 2023-08-29 16:43 | 2023-09-07 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 81 | 44 | 2023-08-29 16:43 | 2023-09-07 18:00 |  | Other
DAN | DAN_UNIT2 | Solar | Unavoidable Extension | 150 | 11 | 139 | 2023-08-29 17:15 | 2023-09-30 23:59 |  | Other
DAN | DAN_UNIT3 | Solar | Unavoidable Extension | 150 | 7 | 143 | 2023-08-29 17:15 | 2023-09-30 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 196 | 5 | 2023-08-29 17:18 | 2023-08-30 23:59 | 2023-08-30 23:59 | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 560 | 264 | 2023-08-29 17:57 | 2023-08-29 21:00 | 2023-08-29 20:33 | Fuel Problems/Repairs
REDBARN | REDBARN_UNIT_2 | Solar | Forced | 28 | 16 | 12 | 2023-08-29 18:27 | 2023-08-31 18:00 | 2023-08-30 11:57 | Other
EUNICE | EUNICE_PV1 | Solar | Forced | 190 | 183 | 7 | 2023-08-29 18:50 | 2023-08-30 12:00 | 2023-08-30 08:48 | Other
EUNICE | EUNICE_PV2 | Solar | Forced | 237 | 220 | 17 | 2023-08-29 18:50 | 2023-08-30 12:00 | 2023-08-30 08:48 | Other
DCSES | DCSES_CT10 | Natural Gas | Forced | 72 | 0 | 72 | 2023-08-29 18:59 | 2023-08-30 16:30 | 2023-08-30 15:00 | Other
REDGATE | REDGATE_AGR_C | Natural Gas | Forced Extension | 56 | 37 | 19 | 2023-08-29 19:09 | 2023-08-30 18:00 | 2023-08-30 12:53 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 112 | 53 | 2023-08-29 19:17 | 2023-09-01 17:00 |  | Unknown
VERAWIND | VERAWIND_UNIT1 | Wind | Forced | 12 | 8 | 4 | 2023-08-29 19:19 | 2023-08-30 22:00 | 2023-08-30 19:29 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT2 | Wind | Forced | 7 | 6 | 1 | 2023-08-29 19:19 | 2023-08-30 22:00 | 2023-08-30 19:29 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 60 | 41 | 2023-08-29 19:19 | 2023-08-30 22:00 | 2023-08-30 19:29 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT4 | Wind | Forced | 22 | 18 | 4 | 2023-08-29 19:19 | 2023-08-30 22:00 | 2023-08-30 19:29 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 49 | 52 | 2023-08-29 19:19 | 2023-08-30 22:00 | 2023-08-30 19:29 | Turbine/Generator Vibration/Repair
DAN | DAN_UNIT1 | Solar | Maintenance Level 1 | 300 | 0 | 300 | 2023-08-29 20:00 | 2023-08-30 07:00 | 2023-08-30 06:39 | Other
DAN | DAN_UNIT2 | Solar | Maintenance Level 1 | 150 | 0 | 150 | 2023-08-29 20:00 | 2023-08-30 07:00 | 2023-08-30 06:39 | Other
DAN | DAN_UNIT3 | Solar | Maintenance Level 1 | 150 | 0 | 150 | 2023-08-29 20:00 | 2023-08-30 07:00 | 2023-08-30 06:39 | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced | 241 | 238 | 3 | 2023-08-29 20:09 | 2023-08-31 23:59 | 2023-08-29 21:29 | Other
SUNVASLR | SUNVASLR_UNIT2 | Solar | Maintenance Level 1 | 86 | 0 | 86 | 2023-08-29 20:20 | 2023-08-30 06:00 | 2023-08-30 05:28 | Other
SKY1 | SKY1_SKY1B | Natural Gas | Forced Extension | 27 | 17 | 10 | 2023-08-29 20:26 | 2023-08-30 16:00 | 2023-08-30 12:58 | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced Extension | 241 | 0 | 241 | 2023-08-29 21:30 | 2023-10-23 08:00 |  | Other
PEARSAL2 | PEARSAL2_AGR_D | Natural Gas | Forced Extension | 51 | 42 | 9 | 2023-08-29 22:16 | 2023-12-30 13:00 |  | Other
MGSES | MGSES_CT5 | Natural Gas | Forced | 69 | 69 | 0 | 2023-08-29 22:24 | 2023-09-04 11:59 |  | Emissions
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 775 | 80 | 2023-08-29 22:46 | 2023-08-31 23:59 | 2023-08-30 06:42 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 140 | 55 | 2023-08-29 23:00 | 2023-09-06 | 2023-08-30 23:59 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 90 | 55 | 2023-08-29 23:00 | 2023-09-06 | 2023-08-30 23:59 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 184 | 25 | 2023-08-29 23:12 | 2023-09-06 | 2023-08-30 23:59 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 184 | 26 | 2023-08-29 23:12 | 2023-09-06 | 2023-08-30 23:59 | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 220 | 12 | 2023-08-29 23:47 | 2023-09-30 23:59 | 2023-08-31 08:35 | Other
2023-09-01 |  |  |  | 2 |  |  |  | 5:03