## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-09-08 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Sep 5, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
AMOCOOIL | AMOCOOIL_AMOCO_S2 | Natural Gas | Forced | 75 | 0 | 75 | 2022-09-15 11:50 | 2023-09-15 11:49 |  | Other
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-09-20 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-11-07 23:59 |  | Other
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-10-23 08:00 |  | Other
CALLAHAN | CALLAHAN_WND1 | Wind | Unavoidable Extension | 123 | 0 | 123 | 2022-12-05 06:53 | 2023-10-23 08:00 |  | Other
H_HOLLOW | H_HOLLOW_WND1 | Wind | Unavoidable Extension | 230 | 0 | 230 | 2022-12-05 08:14 | 2023-10-23 08:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-11-01 15:00 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 100 | 0 | 100 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-10-31 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-09-30 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced Extension | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-12-31 23:59 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-11-01 16:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-09-30 17:00 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-09-17 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Unavoidable Extension | 184 | 0 | 184 | 2023-04-27 07:59 | 2023-12-04 08:00 |  | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced Extension | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-10-01 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-10-31 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 491 | 45 | 2023-05-26 18:16 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2023-06-01 | 2023-10-01 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 174 | 131 | 43 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-11-01 17:00 |  | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced Extension | 92 | 83 | 9 | 2023-06-03 21:24 | 2023-10-31 23:59 |  | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 803 | 21 | 2023-06-07 18:34 | 2023-09-30 23:59 |  | Feedwater Problems/Repairs
GUADG | GUADG_GAS1 | Natural Gas | Forced Extension | 158 | 128 | 30 | 2023-06-09 15:29 | 2023-09-30 23:59 |  | Other
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 0 | 392 | 2023-06-11 19:10 | 2023-09-30 23:59 |  | Lightening
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 30 | 120 | 2023-06-15 09:19 | 2023-09-29 17:00 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced Extension | 197 | 166 | 31 | 2023-06-15 15:45 | 2023-09-30 23:59 | 2023-09-06 08:31 | Other
MASSENGL | MASSENGL_G6 | Natural Gas | Forced Extension | 18 | 0 | 18 | 2023-06-18 05:41 | 2023-10-01 23:59 |  | Other
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 513 | 10 | 2023-06-21 01:19 | 2023-10-04 23:58 |  | Other
WEC | WEC_WECG1 | Wind | Forced Extension | 57 | 0 | 57 | 2023-06-21 20:07 | 2023-11-01 23:59 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 85 | 40 | 2023-06-26 16:03 | 2023-11-01 12:00 |  | Other
BVE | BVE_UNIT2 | Natural Gas | Forced Extension | 168 | 147 | 21 | 2023-06-28 13:19 | 2023-09-30 23:59 | 2023-09-06 08:32 | Inlet Air Problems/Repairs
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 13 | 117 | 2023-06-28 18:34 | 2023-11-01 12:00 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 0 | 153 | 2023-06-29 14:10 | 2023-09-30 17:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 0 | 149 | 2023-06-29 14:10 | 2023-09-30 17:00 |  | Other
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 49 | 3 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 113 | 10 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 93 | 35 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 91 | 11 | 2023-06-29 19:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 126 | 87 | 2023-07-02 04:35 | 2023-09-30 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 370 | 21 | 2023-07-05 10:19 | 2023-10-22 23:59 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 651 | 173 | 2023-07-06 19:32 | 2023-09-30 23:59 |  | Feedwater Problems/Repairs
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 98 | 22 | 2023-07-09 02:59 | 2023-09-08 18:00 |  | Other
KING_NW | KING_NW_KINGNW | Wind | Forced Extension | 80 | 54 | 26 | 2023-07-09 06:42 | 2023-10-31 23:59 |  | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 620 | 35 | 2023-07-09 12:56 | 2023-09-30 23:59 | 2023-09-07 08:39 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 645 | 10 | 2023-07-09 12:56 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 620 | 35 | 2023-07-09 12:56 | 2023-09-30 23:59 | 2023-09-07 01:02 | Inlet Air Problems/Repairs
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 635 | 20 | 2023-07-09 12:56 | 2023-09-30 23:59 | 2023-09-06 05:10 | Other
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 46 | 4 | 2023-07-09 19:11 | 2023-09-30 23:59 |  | Other
CCEC | CCEC_GT2 | Natural Gas | Forced Extension | 138 | 85 | 53 | 2023-07-13 04:28 | 2023-09-30 23:59 |  | Tube Leak
PNPI | PNPI_GT2 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-07-16 | 2023-09-05 23:59 | 2023-09-05 08:11 | Lack of Steam Load Availability
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 47 | 35 | 12 | 2023-07-17 12:00 | 2023-09-30 12:00 | 2023-09-07 06:59 | Fuel Limitation/Lack of Fuel Availability
MCDLD | MCDLD_FCW1 | Wind | Maintenance Level 1 | 124 | 110 | 14 | 2023-07-18 15:08 | 2023-12-31 16:00 |  | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 62 | 0 | 62 | 2023-07-18 15:31 | 2023-11-30 23:59 |  | Overhaul
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 133 | 36 | 2023-07-19 15:38 | 2023-09-30 23:59 |  | Temperature Limit
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2023-07-19 23:47 | 2023-09-30 23:59 |  | Exhaust Problems/Repairs
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 673 | 76 | 2023-07-20 15:00 | 2023-09-30 23:59 | 2023-09-05 13:00 | Inlet Air Problems/Repairs
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 780 | 75 | 2023-07-24 10:17 | 2023-10-01 07:59 | 2023-09-07 22:46 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 815 | 40 | 2023-07-24 10:17 | 2023-10-01 07:59 | 2023-09-05 22:28 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 815 | 40 | 2023-07-24 10:17 | 2023-10-01 07:59 | 2023-09-07 00:44 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 790 | 65 | 2023-07-24 10:17 | 2023-10-01 07:59 | 2023-09-07 22:36 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 800 | 55 | 2023-07-24 10:17 | 2023-10-01 07:59 | 2023-09-06 01:34 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 785 | 70 | 2023-07-24 10:17 | 2023-10-01 07:59 |  | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 805 | 50 | 2023-07-24 10:17 | 2023-10-01 07:59 | 2023-09-07 20:34 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 790 | 65 | 2023-07-24 10:17 | 2023-10-01 07:59 | 2023-09-06 03:14 | Other
GOAT | GOAT_GOATWIND | Wind | Forced Extension | 80 | 70 | 10 | 2023-07-25 16:55 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 212 | 34 | 2023-07-26 13:14 | 2023-09-30 23:59 |  | Fuel Problems/Repairs
MUSTNGCK | MUSTNGCK_BES1 | Not Available | Forced | 70 | 20 | 50 | 2023-07-27 08:17 | 2023-10-31 17:00 |  | Other
OLINGR | OLINGR_OLING_2 | Natural Gas | Forced Extension | 107 | 35 | 72 | 2023-07-27 14:19 | 2023-09-11 23:59 |  | Emissions
AMOCOOIL | AMOCOOIL_AMOCO_1 | Natural Gas | Forced Extension | 75 | 0 | 75 | 2023-07-30 14:12 | 2023-09-15 15:00 |  | Other
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 95 | 14 | 2023-07-30 16:13 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 100 | 9 | 2023-07-30 16:13 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 102 | 12 | 2023-07-31 04:46 | 2023-09-30 23:59 |  | Other
HHGT | HHGT_HHOLLOW4 | Wind | Forced Extension | 115 | 115 | 0 | 2023-07-31 05:02 | 2023-09-30 23:59 | 2023-09-05 22:15 | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-07-31 05:09 | 2023-10-31 23:59 |  | Other
GRIF_TRL | GRIF_TRL_UNIT2 | Wind | Forced Extension | 127 | 106 | 21 | 2023-07-31 07:07 | 2023-09-09 09:00 |  | Turbine/Generator Vibration/Repair
SPTX12B | SPTX12B_UNIT1 | Solar | Forced Extension | 158 | 140 | 18 | 2023-07-31 13:50 | 2023-09-30 23:59 |  | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 56 | 46 | 2023-08-01 06:20 | 2023-09-11 16:00 |  | Turbine/Generator Vibration/Repair
PB2SES | PB2SES_CT4 | Natural Gas | Forced | 65 | 59 | 6 | 2023-08-01 06:31 | 2023-10-24 23:58 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced Extension | 169 | 163 | 6 | 2023-08-04 09:00 | 2023-09-11 16:00 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced Extension | 169 | 155 | 14 | 2023-08-04 09:00 | 2023-09-11 16:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced Extension | 150 | 138 | 12 | 2023-08-04 09:00 | 2023-09-11 16:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced Extension | 150 | 141 | 9 | 2023-08-04 09:00 | 2023-09-11 16:00 |  | Turbine/Generator Vibration/Repair
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 640 | 15 | 2023-08-05 12:56 | 2023-09-30 23:59 | 2023-09-05 21:51 | Other
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced Extension | 50 | 46 | 4 | 2023-08-06 15:13 | 2023-09-06 08:00 |  | Other
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 95 | 14 | 2023-08-07 09:12 | 2023-09-30 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 146 | 44 | 2023-08-07 09:12 | 2023-09-30 23:59 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 135 | 28 | 2023-08-07 14:40 | 2023-09-30 18:00 |  | Unknown
PYR | PYR_PYRON1 | Wind | Forced | 122 | 34 | 88 | 2023-08-07 14:56 | 2023-09-29 17:00 |  | Other
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 0 | 23 | 2023-08-08 05:18 | 2023-12-31 00:01 |  | Turbine/Generator Vibration/Repair
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 775 | 45 | 2023-08-08 08:14 | 2023-09-30 23:59 | 2023-09-07 12:19 | Hot weather related
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 780 | 40 | 2023-08-08 08:14 | 2023-09-30 23:58 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 770 | 50 | 2023-08-08 08:14 | 2023-09-30 23:58 | 2023-09-07 12:20 | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 48 | 0 | 2023-08-08 10:57 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 14 | 69 | 2023-08-08 11:03 | 2023-12-28 23:59 |  | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 115 | 31 | 2023-08-09 06:11 | 2023-09-13 23:59 | 2023-09-06 04:01 | Other
NCARBIDE | NCARBIDE_NCARBIG3 | Natural Gas | Unavoidable Extension | 32 | 0 | 32 | 2023-08-09 12:01 | 2023-10-01 17:00 |  | Feedwater Problems/Repairs
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced Extension | 103 | 0 | 103 | 2023-08-09 17:22 | 2023-11-30 23:59 |  | Unknown
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced | 412 | 382 | 30 | 2023-08-09 20:10 | 2023-09-30 23:59 |  | Other
AJAXWIND | AJAXWIND_UNIT1 | Wind | Forced Extension | 226 | 0 | 226 | 2023-08-10 20:48 | 2023-09-30 16:00 |  | Unknown
AJAXWIND | AJAXWIND_UNIT2 | Wind | Forced Extension | 141 | 0 | 141 | 2023-08-10 20:48 | 2023-09-30 16:00 |  | Unknown
LNCRK2 | LNCRK2_G871 | Wind | Forced | 98 | 80 | 18 | 2023-08-11 09:10 | 2023-12-01 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 80 | 20 | 2023-08-11 09:10 | 2023-12-01 |  | Other
STEAM | STEAM_STEAM_3 | Natural Gas | Forced Extension | 36 | 33 | 3 | 2023-08-11 13:03 | 2023-09-11 23:59 |  | Emissions
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 77 | 51 | 2023-08-12 18:22 | 2023-10-31 23:59 |  | Other
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 126 | 7 | 2023-08-12 21:00 | 2023-09-30 23:59 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 144 | 36 | 2023-08-14 03:12 | 2023-12-04 23:58 |  | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 167 | 0 | 2023-08-14 17:00 | 2023-09-30 17:00 |  | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 146 | 0 | 2023-08-15 04:00 | 2023-09-30 17:00 |  | Other
TRSES | TRSES_UNIT6 | Natural Gas | Forced | 235 | 235 | 0 | 2023-08-15 09:51 | 2023-09-24 23:59 | 2023-09-05 12:13 | Turbine/Generator Vibration/Repair
ANACACHO | ANACACHO_ANA | Wind | Forced | 100 | 97 | 3 | 2023-08-15 12:01 | 2023-09-28 16:00 |  | Other
BTE | BTE_BTE_G4 | Natural Gas | Forced Extension | 147 | 125 | 22 | 2023-08-16 06:32 | 2023-09-30 23:59 | 2023-09-06 08:30 | Other
TREB_SLR | TREB_SLR_SOLAR1 | Solar | Forced | 195 | 0 | 195 | 2023-08-16 10:00 | 2023-09-14 10:00 |  | Other
FENCESLR | FENCESLR_BESS1 | Not Available | Forced | 70 | 0 | 70 | 2023-08-16 22:24 | 2023-12-31 20:00 |  | Other
FENCESLR | FENCESLR_SOLAR1 | Solar | Forced | 138 | 0 | 138 | 2023-08-16 22:24 | 2023-12-31 20:00 |  | Other
FENCESLR | FENCESLR_SOLAR2 | Solar | Forced | 98 | 0 | 98 | 2023-08-16 22:24 | 2023-12-31 20:00 |  | Other
TXCTY | TXCTY_CTC | Natural Gas | Forced Extension | 99 | 68 | 31 | 2023-08-17 08:32 | 2023-09-30 23:59 |  | Fuel Problems/Repairs
HLSES | HLSES_UNIT4 | Natural Gas | Forced Extension | 435 | 425 | 10 | 2023-08-17 19:30 | 2023-09-13 23:59 |  | Lack of Steam Load Availability
THW | THW_THWST_4 | Natural Gas | Forced Extension | 110 | 0 | 110 | 2023-08-17 20:22 | 2023-09-24 23:59 |  | Feedwater Problems/Repairs
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced Extension | 20 | 0 | 20 | 2023-08-18 08:52 | 2023-12-31 23:59 |  | Other
SBE | SBE_UNIT1 | Solar | Forced Extension | 234 | 0 | 234 | 2023-08-21 00:01 | 2023-09-12 23:59 |  | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced Extension | 100 | 93 | 7 | 2023-08-21 05:48 | 2023-09-09 19:00 |  | Turbine/Generator Vibration/Repair
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 98 | 22 | 2023-08-21 05:50 | 2023-09-09 19:00 |  | Turbine/Generator Vibration/Repair
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 130 | 3 | 2023-08-21 06:41 | 2023-10-31 23:59 |  | Other
CCEC | CCEC_GT1 | Natural Gas | Forced Extension | 138 | 85 | 53 | 2023-08-21 09:17 | 2023-09-30 23:59 |  | Tube Leak
DECKER | DECKER_DPGT_4 | Natural Gas | Forced | 49 | 24 | 25 | 2023-08-21 10:26 | 2023-09-30 23:59 |  | Other
FORMOSA | FORMOSA_FORMOSG4 | Natural Gas | Unavoidable Extension | 83 | 0 | 83 | 2023-08-22 05:37 | 2023-09-11 16:00 |  | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-08-23 00:01 | 2023-12-31 23:59 |  | Other
CASL_GAP | CASL_GAP_BATTERY1 | Not Available | Forced | 10 | 9 | 1 | 2023-08-23 10:24 | 2023-09-06 16:00 |  | Other
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 170 | 24 | 2023-08-23 14:29 | 2023-12-01 |  | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 121 | 29 | 2023-08-23 17:37 | 2023-09-30 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 147 | 3 | 2023-08-23 22:28 | 2023-09-30 23:59 | 2023-09-05 01:19 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 114 | 51 | 2023-08-24 00:33 | 2023-09-08 18:00 | 2023-09-05 04:53 | Unknown
TRSES | TRSES_UNIT6 | Natural Gas | Forced Extension | 235 | 230 | 5 | 2023-08-25 15:28 | 2023-09-05 23:59 | 2023-09-05 12:14 | Other
PENA | PENA_UNIT1 | Wind | Forced Extension | 161 | 151 | 10 | 2023-08-25 18:05 | 2023-09-09 23:59 |  | Turbine/Generator Vibration/Repair
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 83 | 65 | 18 | 2023-08-26 01:23 | 2023-09-30 23:59 |  | Lack of Steam Load Availability
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Forced Extension | 126 | 90 | 36 | 2023-08-26 07:00 | 2023-09-30 23:59 |  | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced Extension | 655 | 630 | 25 | 2023-08-26 10:16 | 2023-09-30 23:59 | 2023-09-05 01:22 | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced Extension | 126 | 94 | 32 | 2023-08-26 13:17 | 2023-09-11 12:00 |  | Other
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced Extension | 18 | 0 | 18 | 2023-08-26 20:38 | 2023-09-11 23:59 |  | Other
BRAZ_WND | BRAZ_WND_WND1 | Wind | Forced | 120 | 20 | 100 | 2023-08-27 12:59 | 2023-11-30 23:59 | 2023-09-06 10:41 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 143 | 39 | 2023-08-27 15:00 | 2023-09-30 23:59 |  | Other
CITYVICT | CITYVICT_CTG01 | Natural Gas | Forced | 47 | 37 | 10 | 2023-08-28 08:00 | 2023-09-30 23:59 | 2023-09-07 06:59 | Fuel Limitation/Lack of Fuel Availability
KING_SE | KING_SE_KINGSE | Wind | Forced Extension | 41 | 16 | 25 | 2023-08-28 09:05 | 2023-10-31 23:59 |  | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 83 | 65 | 18 | 2023-08-28 13:05 | 2023-09-30 23:59 |  | Emissions
GRSES | GRSES_UNIT1 | Natural Gas | Forced Extension | 239 | 231 | 8 | 2023-08-28 15:48 | 2023-09-08 12:39 |  | Inlet Air Problems/Repairs
HRZN_SLR | HRZN_SLR_UNIT1 | Solar | Forced Extension | 200 | 7 | 193 | 2023-08-28 16:11 | 2023-09-06 12:00 | 2023-09-05 12:09 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced Extension | 95 | 46 | 49 | 2023-08-28 18:30 | 2023-09-08 22:00 | 2023-09-05 04:29 | Other
BRAUNIG | BRAUNIG_VHB2 | Natural Gas | Forced Extension | 230 | 210 | 20 | 2023-08-28 23:28 | 2023-09-30 23:59 | 2023-09-07 20:06 | Feedwater Problems/Repairs
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced Extension | 93 | 78 | 15 | 2023-08-29 12:21 | 2023-09-30 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_17 | Wind | Forced Extension | 13 | 12 | 1 | 2023-08-29 12:24 | 2023-09-30 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 161 | 21 | 2023-08-29 12:24 | 2023-09-30 23:59 |  | Other
PYR | PYR_PYRON2 | Wind | Forced | 128 | 73 | 55 | 2023-08-29 13:33 | 2023-09-29 17:00 |  | Other
SAMSON_3 | SAMSON_3_G1 | Solar | Forced Extension | 125 | 110 | 15 | 2023-08-29 16:43 | 2023-09-07 18:00 | 2023-09-07 15:44 | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced Extension | 125 | 81 | 44 | 2023-08-29 16:43 | 2023-09-07 18:00 | 2023-09-07 15:44 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced Extension | 165 | 112 | 53 | 2023-08-29 19:17 | 2023-09-30 17:00 | 2023-09-05 04:54 | Unknown
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced Extension | 241 | 0 | 241 | 2023-08-29 21:30 | 2023-10-23 08:00 |  | Other
PEARSAL2 | PEARSAL2_AGR_D | Natural Gas | Forced Extension | 51 | 42 | 9 | 2023-08-29 22:16 | 2023-12-30 13:00 |  | Other
MGSES | MGSES_CT5 | Natural Gas | Forced Extension | 69 | 69 | 0 | 2023-08-29 22:24 | 2023-09-15 11:59 |  | Emissions
CVC | CVC_CVC_G2 | Natural Gas | Unavoidable Extension | 163 | 0 | 163 | 2023-08-30 00:01 | 2023-09-11 18:00 |  | Other
AQUILLA | AQUILLA_U1_28 | Wind | Forced Extension | 135 | 115 | 20 | 2023-08-30 05:31 | 2023-09-30 23:59 |  | Other
AQUILLA | AQUILLA_U2_28 | Wind | Forced Extension | 144 | 132 | 12 | 2023-08-30 05:31 | 2023-09-30 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT2 | Wind | Forced | 27 | 24 | 3 | 2023-08-30 09:12 | 2023-09-06 23:59 |  | Other
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 67 | 4 | 2023-08-30 12:00 | 2023-09-06 12:00 | 2023-09-06 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 30 | 3 | 2023-08-30 12:00 | 2023-09-06 12:00 | 2023-09-06 12:00 | Other
MAVCRK_E | MAVCRK_E_UNIT7 | Wind | Forced Extension | 22 | 20 | 2 | 2023-08-30 12:00 | 2023-09-06 12:00 | 2023-09-06 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 193 | 9 | 2023-08-30 12:00 | 2023-09-06 12:00 | 2023-09-06 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT2 | Wind | Forced Extension | 11 | 7 | 4 | 2023-08-30 12:00 | 2023-09-06 12:00 | 2023-09-06 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT3 | Wind | Forced Extension | 34 | 29 | 5 | 2023-08-30 12:00 | 2023-09-06 12:00 | 2023-09-06 12:00 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 15 | 7 | 2023-08-30 12:00 | 2023-09-06 12:00 | 2023-09-06 12:00 | Other
MCSES | MCSES_UNIT6 | Natural Gas | Forced Extension | 122 | 0 | 122 | 2023-08-30 12:33 | 2023-09-08 19:00 |  | Feedwater Problems/Repairs
NCO | NCO_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-08-30 13:20 | 2023-09-28 23:59 |  | Other
DILEOSLR | DILEOSLR_UNIT1 | Solar | Forced | 71 | 61 | 10 | 2023-08-30 14:00 | 2023-09-29 23:59 |  | Other
GUNMTN | GUNMTN_G1 | Wind | Forced Extension | 120 | 106 | 14 | 2023-08-30 16:34 | 2023-09-13 18:00 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 490 | 12 | 2023-08-30 23:00 | 2023-09-26 20:30 |  | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced Extension | 100 | 48 | 52 | 2023-08-31 01:22 | 2023-09-09 04:59 |  | Turbine/Generator Vibration/Repair
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 58 | 22 | 2023-08-31 05:11 | 2023-09-30 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 151 | 13 | 2023-08-31 05:22 | 2023-09-30 23:59 |  | Other
SUNVASLR | SUNVASLR_BESS1 | Not Available | Forced | 53 | 20 | 33 | 2023-08-31 06:00 | 2023-10-31 23:59 |  | Other
SUNVASLR | SUNVASLR_BESS2 | Not Available | Forced | 47 | 20 | 27 | 2023-08-31 06:00 | 2023-10-31 23:59 |  | Other
APOGEE | APOGEE_UNIT4 | Wind | Forced Extension | 115 | 74 | 41 | 2023-08-31 09:10 | 2023-09-14 23:59 |  | Other
HLSES | HLSES_UNIT3 | Natural Gas | Unavoidable Extension | 375 | 0 | 375 | 2023-08-31 09:25 | 2023-09-06 04:00 | 2023-09-06 04:00 | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-08-31 09:36 | 2023-09-30 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 300 | 91 | 2023-08-31 10:09 | 2023-10-22 23:59 | 2023-09-05 15:53 | Other
OWF | OWF_OWF | Wind | Forced | 55 | 18 | 37 | 2023-08-31 10:10 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 680 | 65 | 2023-08-31 11:46 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 465 | 71 | 2023-08-31 12:47 | 2023-09-30 23:59 |  | Fuel Problems/Repairs
HRBESS | HRBESS_BESS | Not Available | Forced | 2 | 1 | 1 | 2023-08-31 13:06 | 2023-09-30 18:00 |  | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced | 50 | 38 | 12 | 2023-08-31 13:44 | 2023-09-28 23:59 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Maintenance Level 2 | 220 | 215 | 5 | 2023-08-31 17:11 | 2023-09-30 17:00 |  | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 130 | 73 | 2023-08-31 19:05 | 2023-09-25 23:59 |  | Other
PALMWIND | PALMWIND_UNIT1 | Wind | Forced | 145 | 135 | 10 | 2023-08-31 19:11 | 2023-09-08 22:00 |  | Other
BAC | BAC_CTG3 | Natural Gas | Forced Extension | 52 | 0 | 52 | 2023-08-31 19:45 | 2023-09-25 19:00 |  | Other
BRP_ZPT1 | BRP_ZPT1_UNIT1 | Not Available | Maintenance Level 1 | 10 | 0 | 10 | 2023-09-01 | 2023-09-30 23:58 | 2023-09-07 16:18 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 75 | 70 | 2023-09-01 00:41 | 2023-09-08 | 2023-09-05 12:30 | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 209 | 23 | 2023-09-01 03:38 | 2023-09-30 23:59 | 2023-09-05 18:01 | Other
MCSES | MCSES_UNIT8 | Natural Gas | Unavoidable Extension | 568 | 0 | 568 | 2023-09-01 10:30 | 2023-09-08 23:59 |  | Tube Leak
SLCNHLS | SLCNHLS_ESS2 | Not Available | Forced | 50 | 46 | 4 | 2023-09-01 10:39 | 2023-09-29 23:59 | 2023-09-05 08:00 | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced | 126 | 80 | 46 | 2023-09-01 10:45 | 2023-09-30 23:59 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 102 | 29 | 2023-09-01 13:40 | 2023-09-08 18:00 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 73 | 53 | 2023-09-01 14:46 | 2023-09-06 23:59 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 790 | 30 | 2023-09-01 18:36 | 2023-09-30 23:59 | 2023-09-06 23:41 | Hot weather related
DEC | DEC_AGR_B | Natural Gas | Forced Extension | 56 | 38 | 18 | 2023-09-01 19:17 | 2023-09-08 23:59 | 2023-09-06 21:29 | Unknown
LEG | LEG_LEG_G2 | Lignite | Forced Extension | 836 | 735 | 101 | 2023-09-01 19:36 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
WOV_BESS | WOV_BESS_UNIT1 | Not Available | Forced | 10 | 0 | 10 | 2023-09-01 22:00 | 2023-09-05 23:59 | 2023-09-05 12:30 | Other
APOGEE | APOGEE_UNIT5 | Wind | Forced | 110 | 105 | 5 | 2023-09-02 | 2023-09-15 23:59 |  | Other
SPNCER | SPNCER_SPNCE_4 | Natural Gas | Forced | 57 | 40 | 17 | 2023-09-02 05:24 | 2023-09-30 23:59 |  | Cooling Water Problems/Repairs
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 72 | 18 | 2023-09-02 20:03 | 2023-09-15 23:59 |  | Other
APOGEE | APOGEE_UNIT7 | Wind | Forced | 75 | 70 | 5 | 2023-09-02 20:05 | 2023-09-15 23:59 |  | Other
LOCKETT | LOCKETT_UNIT1 | Wind | Forced | 184 | 170 | 14 | 2023-09-03 12:00 | 2023-09-10 17:00 | 2023-09-05 08:48 | Other
REDBARN | REDBARN_UNIT_2 | Solar | Forced Extension | 28 | 26 | 2 | 2023-09-03 12:30 | 2023-09-08 18:00 |  | Other
WAP | WAP_WAP_G7 | Bituminous Coal | Forced Extension | 577 | 0 | 577 | 2023-09-03 15:15 | 2023-09-08 23:59 |  | Tube Leak
OCI_ALM1 | OCI_ALM1_UNIT1 | Solar | Forced Extension | 39 | 20 | 19 | 2023-09-03 17:12 | 2023-09-06 00:01 | 2023-09-05 21:06 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced Extension | 195 | 140 | 55 | 2023-09-03 17:25 | 2023-09-05 22:00 | 2023-09-05 12:30 | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 605 | 58 | 2023-09-03 21:00 | 2023-09-06 23:59 | 2023-09-06 13:40 | Inlet Air Problems/Repairs
TRSES | TRSES_UNIT6 | Natural Gas | Forced Extension | 235 | 0 | 235 | 2023-09-03 22:00 | 2023-09-24 23:59 |  | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 795 | 60 | 2023-09-03 23:50 | 2023-09-30 08:00 | 2023-09-05 16:00 | Other
RTS2 | RTS2_U1 | Wind | Forced Extension | 90 | 78 | 12 | 2023-09-04 04:15 | 2023-09-05 13:41 | 2023-09-05 11:15 | Other
COTPLNS | COTPLNS_OLDSETLR | Wind | Forced | 151 | 13 | 138 | 2023-09-04 06:19 | 2023-09-05 18:00 | 2023-09-05 14:25 | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced Extension | 146 | 0 | 146 | 2023-09-04 07:04 | 2023-09-06 23:29 | 2023-09-06 03:35 | Other
GBY | GBY_GBYGT73 | Natural Gas | Maintenance Level 2 | 58 | 0 | 58 | 2023-09-04 08:00 | 2023-09-05 17:00 | 2023-09-05 15:16 | Boroscope
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced | 63 | 49 | 14 | 2023-09-04 08:00 | 2023-09-08 16:00 | 2023-09-05 11:20 | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Forced | 46 | 39 | 7 | 2023-09-04 08:50 | 2023-09-13 12:00 | 2023-09-05 08:55 | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced | 126 | 112 | 14 | 2023-09-04 09:10 | 2023-09-05 20:00 | 2023-09-05 15:49 | Other
TAYGETE | TAYGETE_UNIT2 | Solar | Forced | 129 | 117 | 12 | 2023-09-04 09:15 | 2023-09-05 20:00 | 2023-09-05 15:49 | Other
TAYGETE2 | TAYGETE2_UNIT2 | Solar | Forced Extension | 102 | 90 | 12 | 2023-09-04 09:30 | 2023-09-30 20:00 | 2023-09-07 15:42 | Other
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 131 | 13 | 2023-09-04 10:07 | 2023-09-08 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 131 | 13 | 2023-09-04 10:07 | 2023-09-08 18:00 |  | Other
DCSES | DCSES_BES4 | Other | Forced Extension | 64 | 55 | 9 | 2023-09-04 11:52 | 2023-09-06 16:59 | 2023-09-06 14:01 | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 129 | 9 | 2023-09-04 13:10 | 2023-09-06 12:00 | 2023-09-05 07:39 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 210 | 12 | 2023-09-04 13:45 | 2023-09-05 18:00 | 2023-09-05 11:08 | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced | 151 | 135 | 16 | 2023-09-04 14:00 | 2023-09-11 14:00 |  | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced | 98 | 80 | 18 | 2023-09-04 14:00 | 2023-09-11 14:00 |  | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 51 | 12 | 2023-09-04 15:15 | 2023-09-08 16:00 | 2023-09-05 11:20 | Other
HAYSEN | HAYSEN_HAYSENG2 | Natural Gas | Forced Extension | 216 | 0 | 216 | 2023-09-04 15:48 | 2023-09-06 12:59 | 2023-09-06 08:23 | Control system issues
WAP | WAP_WAP_G2 | Natural Gas | Maintenance Level 1 | 169 | 0 | 169 | 2023-09-04 15:58 | 2023-09-05 23:59 | 2023-09-05 18:41 | Feedwater Problems/Repairs
HAYSEN | HAYSEN_HAYSENG4 | Natural Gas | Forced | 218 | 183 | 35 | 2023-09-04 16:15 | 2023-09-04 23:59 | 2023-09-05 01:30 | Tube Leak
NEBULA | NEBULA_UNIT1 | Solar | Maintenance Level 1 | 138 | 129 | 9 | 2023-09-04 17:11 | 2023-09-06 12:00 | 2023-09-06 08:50 | Other
VANCOURT | VANCOURT_UNIT1 | Solar | Maintenance Level 1 | 46 | 39 | 7 | 2023-09-04 17:12 | 2023-09-13 12:00 | 2023-09-06 08:49 | Other
WAP | WAP_WAP_G8 | Bituminous Coal | Forced | 610 | 510 | 100 | 2023-09-04 17:18 | 2023-09-06 23:59 | 2023-09-05 06:03 | Turbine/Generator Vibration/Repair
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 120 | 31 | 2023-09-04 18:00 | 2023-09-09 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 119 | 32 | 2023-09-04 18:00 | 2023-09-09 18:00 |  | Other
SILASRAY | SILASRAY_SILAS_10 | Natural Gas | Forced Extension | 46 | 0 | 46 | 2023-09-04 18:30 | 2023-09-05 23:59 | 2023-09-05 09:20 | Other
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 463 | 147 | 2023-09-04 18:50 | 2023-09-05 23:59 | 2023-09-05 06:03 | Emissions
VERAWIND | VERAWIND_UNIT1 | Wind | Forced | 12 | 12 | 0 | 2023-09-04 19:00 | 2023-09-05 22:00 | 2023-09-05 21:51 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT2 | Wind | Forced | 7 | 7 | 0 | 2023-09-04 19:00 | 2023-09-05 22:00 | 2023-09-05 21:51 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 68 | 33 | 2023-09-04 19:00 | 2023-09-05 22:00 | 2023-09-05 21:51 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT4 | Wind | Forced | 22 | 16 | 6 | 2023-09-04 19:00 | 2023-09-05 22:00 | 2023-09-05 21:51 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 60 | 41 | 2023-09-04 19:00 | 2023-09-05 22:00 | 2023-09-05 21:51 | Turbine/Generator Vibration/Repair
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-09-04 19:50 | 2023-09-08 18:00 | 2023-09-05 08:43 | Other
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 109 | 6 | 2023-09-04 20:06 | 2023-09-06 22:00 | 2023-09-06 18:59 | Other
CABEZON | CABEZON_WIND2 | Wind | Forced Extension | 122 | 112 | 10 | 2023-09-04 20:06 | 2023-09-06 22:00 | 2023-09-06 18:59 | Other
CHALUPA | CHALUPA_UNIT1 | Wind | Forced | 173 | 163 | 10 | 2023-09-04 20:45 | 2023-09-06 22:00 | 2023-09-06 22:00 | Other
REDGATE | REDGATE_AGR_C | Natural Gas | Maintenance Level 1 | 56 | 37 | 19 | 2023-09-04 22:12 | 2023-09-05 18:00 | 2023-09-05 12:27 | Exhaust Problems/Repairs
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 800 | 55 | 2023-09-04 23:59 | 2023-09-05 02:58 | 2023-09-05 02:59 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 167 | 42 | 2023-09-05 | 2023-09-05 23:59 | 2023-09-05 12:30 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 184 | 26 | 2023-09-05 | 2023-09-05 23:59 | 2023-09-05 12:30 | Other
MLSES | MLSES_UNIT1 | Lignite | Forced | 815 | 400 | 415 | 2023-09-05 01:00 | 2023-09-05 10:00 | 2023-09-05 10:00 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 600 | 220 | 2023-09-05 01:00 | 2023-09-05 10:00 | 2023-09-05 10:00 | Other
MLSES | MLSES_UNIT3 | Lignite | Forced | 820 | 720 | 100 | 2023-09-05 01:00 | 2023-09-05 10:59 | 2023-09-05 10:00 | Other
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 131 | 19 | 2023-09-05 01:20 | 2023-09-30 23:59 | 2023-09-06 15:40 | Other
HAYSEN | HAYSEN_HAYSENG4 | Natural Gas | Unavoidable Extension | 218 | 0 | 218 | 2023-09-05 01:30 | 2023-09-06 13:59 | 2023-09-06 14:00 | Tube Leak
DCSES | DCSES_BES2 | Other | Forced | 67 | 60 | 7 | 2023-09-05 02:15 | 2023-09-06 02:14 | 2023-09-05 02:24 | Other
DCSES | DCSES_BES2 | Other | Forced | 67 | 60 | 7 | 2023-09-05 02:16 | 2023-09-06 02:15 | 2023-09-05 02:41 | Other
DCSES | DCSES_BES2 | Other | Forced | 67 | 60 | 7 | 2023-09-05 02:16 | 2023-09-06 02:15 | 2023-09-05 14:00 | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 0 | 107 | 2023-09-05 03:50 | 2023-09-05 12:00 | 2023-09-05 06:05 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 36 | 59 | 2023-09-05 04:30 | 2023-09-05 22:00 | 2023-09-05 19:19 | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 126 | 39 | 2023-09-05 04:50 | 2023-09-08 18:00 |  | Unknown
RAB | RAB_UNIT1 | Natural Gas | Maintenance Level 2 | 46 | 0 | 46 | 2023-09-05 05:00 | 2023-09-05 09:00 | 2023-09-05 08:22 | Boroscope
RAYBURN | RAYBURN_RAYBURG7 | Natural Gas | Maintenance Level 2 | 50 | 0 | 50 | 2023-09-05 05:11 | 2023-09-05 14:00 | 2023-09-05 09:40 | Other
RAYBURN | RAYBURN_RAYBURG8 | Natural Gas | Maintenance Level 2 | 51 | 0 | 51 | 2023-09-05 05:11 | 2023-09-05 14:00 | 2023-09-05 09:40 | Other
RAYBURN | RAYBURN_RAYBURG9 | Natural Gas | Maintenance Level 2 | 50 | 0 | 50 | 2023-09-05 05:11 | 2023-09-05 14:00 | 2023-09-05 09:40 | Other
RAYBURN | RAYBURN_RAYBURG10 | Natural Gas | Maintenance Level 2 | 40 | 0 | 40 | 2023-09-05 05:12 | 2023-09-05 14:00 | 2023-09-05 09:40 | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 105 | 2 | 2023-09-05 06:06 | 2023-09-15 17:00 | 2023-09-05 06:07 | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 105 | 2 | 2023-09-05 06:10 | 2023-09-08 17:00 |  | Other
LEON_CRK | LEON_CRK_LCPCT4 | Natural Gas | Maintenance Level 2 | 46 | 0 | 46 | 2023-09-05 07:00 | 2023-09-05 09:00 | 2023-09-05 08:22 | Other
NEBULA | NEBULA_UNIT1 | Solar | Forced | 138 | 138 | 0 | 2023-09-05 07:39 | 2023-09-13 12:00 | 2023-09-06 08:50 | Other
ROUTE_66 | ROUTE_66_WIND1 | Wind | Forced | 150 | 140 | 10 | 2023-09-05 08:00 | 2023-09-05 17:11 | 2023-09-05 18:04 | Other
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 135 | 14 | 2023-09-05 08:35 | 2023-09-07 20:00 | 2023-09-06 08:10 | Other
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 131 | 17 | 2023-09-05 08:43 | 2023-09-08 18:00 | 2023-09-05 20:25 | Other
ELARA_SL | ELARA_SL_UNIT1 | Solar | Forced | 132 | 100 | 32 | 2023-09-05 08:45 | 2023-09-06 20:00 | 2023-09-05 16:07 | Other
LOCKETT | LOCKETT_UNIT1 | Wind | Forced | 184 | 175 | 9 | 2023-09-05 08:48 | 2023-09-10 17:00 |  | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Maintenance Level 1 | 50 | 48 | 2 | 2023-09-05 09:04 | 2023-09-29 |  | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Maintenance Level 1 | 50 | 36 | 14 | 2023-09-05 09:05 | 2023-09-05 18:00 | 2023-09-05 18:00 | Other
HWF | HWF_HWFG1 | Wind | Forced | 164 | 145 | 19 | 2023-09-05 09:26 | 2023-09-05 23:59 | 2023-09-05 13:35 | Other
FLVABES1 | FLVABES1_FLATU1 | Not Available | Maintenance Level 2 | 10 | 0 | 10 | 2023-09-05 10:01 | 2023-09-05 11:00 | 2023-09-05 11:00 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 200 | 22 | 2023-09-05 11:08 | 2023-09-06 18:00 | 2023-09-05 14:40 | Other
LGE | LGE_LGE_GT1 | Natural Gas | Forced | 152 | 0 | 152 | 2023-09-05 11:19 | 2023-09-05 16:00 | 2023-09-05 13:00 | Fuel Problems/Repairs
LGE | LGE_LGE_STG | Blast-Furnace Gas | Forced | 75 | 38 | 37 | 2023-09-05 11:19 | 2023-09-05 16:00 | 2023-09-05 13:00 | Fuel Problems/Repairs
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 30 | 33 | 2023-09-05 11:20 | 2023-09-08 16:00 | 2023-09-05 12:30 | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced | 63 | 26 | 37 | 2023-09-05 11:20 | 2023-09-08 16:00 | 2023-09-05 12:30 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 800 | 55 | 2023-09-05 11:35 | 2023-09-05 23:59 | 2023-09-05 16:00 | Other
HAYSEN | HAYSEN_HAYSENG1 | Natural Gas | Forced | 214 | 0 | 214 | 2023-09-05 11:57 | 2023-09-05 12:59 | 2023-09-05 12:31 | Control system issues
HAYSEN | HAYSEN_HAYSENG3 | Natural Gas | Forced | 215 | 0 | 215 | 2023-09-05 11:57 | 2023-09-05 12:59 | 2023-09-05 11:58 | Control system issues
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 775 | 45 | 2023-09-05 12:00 | 2023-09-06 01:00 | 2023-09-05 13:01 | Exhaust Problems/Repairs
HRZN_SLR | HRZN_SLR_UNIT1 | Solar | Forced Extension | 200 | 20 | 180 | 2023-09-05 12:09 | 2023-09-15 12:00 |  | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 115 | 80 | 2023-09-05 12:30 | 2023-09-13 | 2023-09-06 10:25 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 70 | 75 | 2023-09-05 12:30 | 2023-09-13 | 2023-09-06 10:25 | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 20 | 43 | 2023-09-05 12:30 | 2023-09-08 16:00 | 2023-09-05 17:41 | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced | 63 | 26 | 37 | 2023-09-05 12:30 | 2023-09-08 16:00 | 2023-09-05 17:41 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 163 | 46 | 2023-09-05 12:30 | 2023-09-13 | 2023-09-06 10:25 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 170 | 40 | 2023-09-05 12:30 | 2023-09-13 | 2023-09-06 10:25 | Other
BYU | BYU_BYU_G4 | Natural Gas | Forced | 85 | 0 | 85 | 2023-09-05 12:40 | 2023-09-05 23:59 | 2023-09-05 23:59 | Unknown
CBY | CBY_CBY_G2 | Natural Gas | Forced | 749 | 657 | 92 | 2023-09-05 13:00 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
ETCCS | ETCCS_CT1 | Natural Gas | Forced | 212 | 185 | 27 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 169 | 154 | 15 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 161 | 147 | 14 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 161 | 147 | 14 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 169 | 154 | 15 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 161 | 147 | 14 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 161 | 147 | 14 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 153 | 134 | 19 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 161 | 142 | 19 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
MDANP | MDANP_CT1 | Natural Gas | Forced | 233 | 217 | 16 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
MDANP | MDANP_CT6 | Natural Gas | Forced | 247 | 229 | 18 | 2023-09-05 13:00 | 2023-09-05 23:58 | 2023-09-05 23:59 | Hot weather related
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced Extension | 161 | 0 | 161 | 2023-09-05 13:14 | 2023-09-06 07:00 | 2023-09-06 07:00 | Other
FRNYPP | FRNYPP_ST10 | Natural Gas | Forced Extension | 409 | 300 | 109 | 2023-09-05 13:14 | 2023-09-06 07:00 | 2023-09-06 07:00 | Other
SANDHSYD | SANDHSYD_SH2 | Natural Gas | Forced | 47 | 0 | 47 | 2023-09-05 13:15 | 2023-09-05 23:59 | 2023-09-05 14:14 | Other
WND | WND_WHITNEY1 | Water | Forced Extension | 22 | 0 | 22 | 2023-09-05 13:28 | 2023-09-08 23:59 |  | Other
DEC | DEC_AGR_C | Natural Gas | Forced | 56 | 41 | 15 | 2023-09-05 13:46 | 2023-09-05 23:59 | 2023-09-05 14:55 | Other
DCSES | DCSES_BES2 | Other | Forced Extension | 67 | 65 | 2 | 2023-09-05 14:01 | 2023-09-06 16:59 | 2023-09-06 14:01 | Other
GRSES | GRSES_UNIT2 | Natural Gas | Forced | 390 | 342 | 48 | 2023-09-05 14:06 | 2023-09-06 09:59 | 2023-09-06 10:00 | Other
MCSES | MCSES_UNIT7 | Natural Gas | Forced Extension | 118 | 20 | 98 | 2023-09-05 14:15 | 2023-09-05 17:00 | 2023-09-05 16:46 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced | 222 | 206 | 16 | 2023-09-05 14:40 | 2023-09-06 18:00 | 2023-09-06 15:00 | Other
FRNYPP | FRNYPP_ST10 | Natural Gas | Forced Extension | 409 | 329 | 80 | 2023-09-05 14:53 | 2023-09-05 16:00 | 2023-09-05 15:31 | Control system issues
DEC | DEC_AGR_C | Natural Gas | Forced Extension | 56 | 38 | 18 | 2023-09-05 15:00 | 2023-09-08 10:00 | 2023-09-07 18:25 | Other
DEC | DEC_AGR_D | Natural Gas | Forced | 56 | 38 | 18 | 2023-09-05 15:00 | 2023-09-06 20:00 | 2023-09-05 15:01 | Other
THW | THW_THWGT56 | Natural Gas | Forced | 57 | 0 | 57 | 2023-09-05 15:06 | 2023-09-05 16:00 | 2023-09-05 15:29 | Combustion Inspection and Repair
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 360 | 31 | 2023-09-05 15:53 | 2023-10-22 23:59 |  | Other
OGSES | OGSES_UNIT1A | Lignite | Forced Extension | 855 | 840 | 15 | 2023-09-05 16:01 | 2023-09-06 01:58 | 2023-09-06 01:59 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 820 | 35 | 2023-09-05 16:01 | 2023-10-01 07:59 | 2023-09-05 21:49 | Other
DCSES | DCSES_BES2 | Other | Forced | 67 | 63 | 4 | 2023-09-05 16:03 | 2023-09-06 16:59 | 2023-09-06 13:55 | Other
GBY | GBY_GBYGT84 | Natural Gas | Forced | 57 | 0 | 57 | 2023-09-05 16:04 | 2023-09-05 18:00 | 2023-09-05 16:22 | Turbine/Generator Vibration/Repair
MGSES | MGSES_CT1 | Natural Gas | Forced Extension | 68 | 0 | 68 | 2023-09-05 17:21 | 2023-09-05 23:59 | 2023-09-05 19:24 | Control system issues
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced | 63 | 57 | 6 | 2023-09-05 17:41 | 2023-09-08 16:00 | 2023-09-06 07:35 | Other
NOBLESLR | NOBLESLR_BESS2 | Not Available | Forced | 63 | 44 | 19 | 2023-09-05 17:41 | 2023-09-08 16:00 | 2023-09-06 07:35 | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 222 | 10 | 2023-09-05 18:02 | 2023-09-30 23:59 | 2023-09-05 19:38 | Other
VERAWIND | VERAWIND_UNIT1 | Wind | Forced | 12 | 12 | 0 | 2023-09-05 19:00 | 2023-09-06 22:00 | 2023-09-06 18:59 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT2 | Wind | Forced | 7 | 7 | 0 | 2023-09-05 19:00 | 2023-09-06 22:00 | 2023-09-06 18:59 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 68 | 33 | 2023-09-05 19:00 | 2023-09-06 22:00 | 2023-09-06 18:59 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT4 | Wind | Forced | 22 | 18 | 4 | 2023-09-05 19:00 | 2023-09-06 22:00 | 2023-09-06 18:59 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 56 | 45 | 2023-09-05 19:00 | 2023-09-06 22:00 | 2023-09-06 18:59 | Turbine/Generator Vibration/Repair
SANROMAN | SANROMAN_WIND_1 | Wind | Forced | 95 | 46 | 49 | 2023-09-05 19:20 | 2023-09-08 22:00 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 205 | 27 | 2023-09-05 19:39 | 2023-09-30 23:59 | 2023-09-05 23:51 | Other
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Maintenance Level 1 | 126 | 0 | 126 | 2023-09-05 20:00 | 2023-09-06 08:00 | 2023-09-06 08:00 | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Maintenance Level 1 | 126 | 0 | 126 | 2023-09-05 20:00 | 2023-09-06 08:00 | 2023-09-06 08:00 | Other
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 0 | 169 | 2023-09-05 20:19 | 2023-09-08 03:00 | 2023-09-08 01:01 | Feedwater Problems/Repairs
CFLATS | CFLATS_U1 | Wind | Forced | 148 | 138 | 10 | 2023-09-05 20:25 | 2023-09-30 18:00 | 2023-09-06 09:39 | Other
TAV | TAV_UNIT1 | Solar | Maintenance Level 1 | 144 | 0 | 144 | 2023-09-05 21:00 | 2023-09-06 02:00 | 2023-09-06 01:29 | Other
TAV | TAV_UNIT2 | Solar | Maintenance Level 1 | 96 | 0 | 96 | 2023-09-05 21:00 | 2023-09-06 02:00 | 2023-09-06 01:29 | Other
NEDIN | NEDIN_NEDIN_G1 | Natural Gas | Forced Extension | 213 | 128 | 85 | 2023-09-05 21:21 | 2023-09-06 12:00 | 2023-09-06 11:40 | Fuel Limitation/Lack of Fuel Availability
NEDIN | NEDIN_NEDIN_G2 | Natural Gas | Forced Extension | 213 | 129 | 84 | 2023-09-05 21:21 | 2023-09-06 12:00 | 2023-09-06 11:40 | Fuel Limitation/Lack of Fuel Availability
NEDIN | NEDIN_NEDIN_G3 | Natural Gas | Forced Extension | 255 | 142 | 113 | 2023-09-05 21:21 | 2023-09-06 12:00 | 2023-09-06 11:40 | Fuel Limitation/Lack of Fuel Availability
HHGT | HHGT_HHOLLOW4 | Wind | Forced | 115 | 92 | 23 | 2023-09-05 22:15 | 2023-09-30 23:59 | 2023-09-06 00:30 | Other
DUKE | DUKE_DUKE_GT1 | Natural Gas | Forced Extension | 145 | 90 | 55 | 2023-09-05 22:44 | 2023-09-06 12:00 | 2023-09-06 11:40 | Fuel Limitation/Lack of Fuel Availability
DUKE | DUKE_DUKE_GT2 | Natural Gas | Forced Extension | 145 | 90 | 55 | 2023-09-05 22:44 | 2023-09-06 12:00 | 2023-09-06 11:40 | Fuel Limitation/Lack of Fuel Availability
DUKE | DUKE_DUKE_ST1 | Natural Gas | Forced Extension | 173 | 135 | 38 | 2023-09-05 22:44 | 2023-09-06 12:00 | 2023-09-06 11:40 | Fuel Limitation/Lack of Fuel Availability
BYRDR_ES | BYRDR_ES_BESS1 | Not Available | Maintenance Level 2 | 50 | 0 | 50 | 2023-09-05 23:00 | 2023-09-06 02:59 | 2023-09-06 02:59 | Other
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 634 | 190 | 2023-09-05 23:30 | 2023-09-06 03:00 | 2023-09-06 02:26 | Exhaust Problems/Repairs
WAP | WAP_WAP_G1 | Natural Gas | Forced | 169 | 0 | 169 | 2023-09-05 23:49 | 2023-09-06 12:00 | 2023-09-05 23:50 | Feedwater Problems/Repairs
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 0 | 169 | 2023-09-05 23:49 | 2023-09-06 18:00 | 2023-09-06 17:14 | Feedwater Problems/Repairs
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 218 | 14 | 2023-09-05 23:52 | 2023-09-30 23:59 |  | Other
DANSBY | DANSBY_DANSBYG1 | Natural Gas | Forced | 109 | 0 | 109 | 2023-09-05 23:54 | 2023-09-06 10:00 | 2023-09-06 06:47 | Unknown
2023-09-08 |  |  |  | 2 |  |  |  | 5:03