## Report Info
ERCOT
Unplanned Resource Outages Report
Report Description:
This report contains a snapshot of all unplanned Resource outages (i.e., Forced Outages and Maintenance Outages) and derates that were active in the Outage Scheduler at any time on the third day before the posting date of this report. The data for these outages is submitted by operators of generation assets and is used by ERCOT staff in the operation of the Texas power grid. This report does not contain Resource outages for generators that are no longer operational on the Texas power grid or have not begun operating on the Texas power grid. This report contains all outages for Resources that are required to enter outages in the ERCOT Outage Scheduler including Generation Resources in Private Use Networks, and Energy Storage Resources. Some smaller operational derates are not required to be reported.
Resource Decision-Making Entity List
Report Disclaimer:
All information contained in this report and all statements made relating to it are strictly provided “AS IS.” There are no express or implied warranties of any kind relating to this report. The authors do not warrant or represent that the data, conclusions, forecasts or any other information in this report are suitable for any particular purpose. This report might contain errors or omissions. You should independently verify and check the accuracy, completeness, reliability and suitability of this report or any information contained herein before relying on it and seek your own independent expert advice before using it.
Unplanned Resource Outages - Column Descriptions for Data Tab
Resource Name | The name of the generation resource.
Resource Unit Code | The name of the generation resource at the station.
Fuel Type | The type of fuel the generation resource uses to generate power.
Outage Type | The type of unplanned outage.
Available MW Maximum | The maximum output of the generation resource in megawatts in the outage scheduler at the time the report was run. This may differ from the maximum output of the unit at the time of the outage.
Available MW During Outage | The number of megawatts still available from the generation resource.
Effective MW Reduction Due to Outage | The number of megawatts unavailable from the generation resource.
Actual Outage Start | The actual outage start time.
Planned End Date | The date/time the outage is projected to end and is considered the end of the outage until an Actual End Date has been entered.
Actual End Date | The date/time the outage actually ended.
Nature of Work | This field is based on a limited set of options that can be selected by the operator of the generation resource to describe the work being performed on the generation resource.
Glossary of Unplanned Outage Types
Forced | For a generation resource, an outage that requires immediate removal, either through controlled or uncontrolled actions, of all or a portion of the capacity of the generation resource from service through automated or manual means initiated by protective relay, or manually in response to an observation by personnel that the condition of equipment could lead to an event, or potential event, that poses a threat to people, equipment, or public safety.
Forced Extension | When a forced outage is not completed within the submitted timeframe and a generation resource is in such a condition that they cannot be returned to service at the outage schedule completion date.
Unavoidable Extension | When a planned or maintenance outage is not completed within the submitted timeframe and a generation resource is in such a condition that they are forced to extend the outage.
Maintenance Level 1 | Equipment that must be removed from service within 24 hours to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 2 | Equipment that must be removed from service within 7 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
Maintenance Level 3 | Equipment that must be removed from service within 30 days to prevent a potential Forced outage. An outage initiated manually to remove equipment from service to perform work on components that could be postponed briefly but that is required to prevent a potential Forced outage and that cannot be postponed until the next planned outage.
2023-09-19 | 1 | 5:03

## Unplanned Resource Outages
ERCOT
Unplanned Resource Outages Report
Current as of: Sep 16, 2023 11:59 PM
Resource Name | Resource Unit Code | Fuel Type | Outage Type | Available MW Maximum | Available MW During Outage | Effective MW Reduction Due to Outage | Actual Outage Start | Planned End Date | Actual End Date | Nature Of Work
JC_BAT | JC_BAT_UNIT_1 | Not Available | Forced Extension | 2 | 0 | 2 | 2022-09-20 | 2023-09-20 |  | Other
DOWGEN | DOWGEN_DOW_ST64 | Natural Gas | Forced Extension | 50 | 0 | 50 | 2022-10-10 08:00 | 2023-10-10 07:00 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 96 | 4 | 2022-11-01 13:38 | 2023-10-31 23:59 |  | Unknown
WFCOGEN | WFCOGEN_UNIT4 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2022-11-08 00:01 | 2023-11-07 23:59 |  | Other
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced Extension | 115 | 0 | 115 | 2022-11-30 08:24 | 2023-10-23 08:00 |  | Other
CALLAHAN | CALLAHAN_WND1 | Wind | Unavoidable Extension | 123 | 0 | 123 | 2022-12-05 06:53 | 2023-10-23 08:00 |  | Other
H_HOLLOW | H_HOLLOW_WND1 | Wind | Unavoidable Extension | 230 | 0 | 230 | 2022-12-05 08:14 | 2023-10-23 08:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG6 | Blast-Furnace Gas | Unavoidable Extension | 6 | 0 | 6 | 2022-12-31 10:01 | 2023-10-01 09:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 502 | 0 | 2023-01-13 08:25 | 2023-11-01 15:00 |  | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 1 | 180 | 103 | 77 | 2023-02-01 11:00 | 2023-12-31 |  | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 1 | 172 | 152 | 20 | 2023-02-01 11:00 | 2023-12-31 |  | Other
DOWGEN | DOWGEN_DOW_G66 | Natural Gas | Forced | 100 | 0 | 100 | 2023-02-06 16:10 | 2024-02-06 16:09 |  | Other
FORMOSA | FORMOSA_FORMOSG9 | Purchased Steam | Unavoidable Extension | 44 | 0 | 44 | 2023-02-08 01:00 | 2023-10-31 18:00 |  | Lack of Steam Load Availability
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 512 | 24 | 2023-02-20 07:00 | 2023-09-30 23:59 |  | Exhaust Problems/Repairs
PRTLAVS | PRTLAVS_BESS1 | Not Available | Forced Extension | 10 | 7 | 3 | 2023-02-21 16:12 | 2023-12-31 23:59 |  | Other
BLACKJAK | BLACKJAK_UNIT1 | Wind | Forced Extension | 120 | 115 | 5 | 2023-02-22 08:00 | 2023-11-01 16:00 |  | Other
BIG_STAR | BIG_STAR_UNIT2 | Solar | Unavoidable Extension | 70 | 40 | 30 | 2023-03-22 15:00 | 2023-09-30 17:00 |  | Other
TOSBATT | TOSBATT_UNIT1 | Not Available | Forced Extension | 2 | 0 | 2 | 2023-04-11 13:41 | 2023-10-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT1 | Wind | Forced | 121 | 99 | 22 | 2023-04-17 16:29 | 2023-12-31 23:59 |  | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Forced | 116 | 104 | 12 | 2023-04-17 16:37 | 2023-09-30 23:59 | 2023-09-16 13:03 | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Forced | 117 | 101 | 16 | 2023-04-17 16:40 | 2023-09-30 23:59 | 2023-09-16 13:04 | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Forced | 170 | 150 | 20 | 2023-04-17 16:44 | 2023-12-31 23:01 |  | Other
HHGT | HHGT_HHOLLOW2 | Wind | Unavoidable Extension | 184 | 0 | 184 | 2023-04-27 07:59 | 2023-09-18 13:30 | 2023-09-17 12:52 | Other
BCK | BCK_UNIT1 | Solar | Forced | 218 | 200 | 18 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BCK | BCK_UNIT2 | Solar | Forced | 221 | 159 | 62 | 2023-04-28 15:51 | 2023-12-31 10:00 |  | Other
BRAUNIG | BRAUNIG_AVR1_ST | Natural Gas | Forced | 190 | 190 | 0 | 2023-05-02 14:00 | 2023-12-31 23:59 |  | Other
TY_COOKE | TY_COOKE_GT2 | Natural Gas | Forced Extension | 14 | 0 | 14 | 2023-05-05 13:27 | 2023-10-01 23:59 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 156 | 13 | 2023-05-15 09:00 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
WHMESA | WHMESA_UNIT2_28 | Wind | Forced Extension | 183 | 166 | 17 | 2023-05-16 10:59 | 2023-10-31 23:59 |  | Other
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 491 | 45 | 2023-05-26 18:16 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
RELOJ | RELOJ_UNIT1 | Wind | Forced | 55 | 24 | 31 | 2023-05-31 11:31 | 2023-12-28 23:59 |  | Other
TY_COOKE | TY_COOKE_GT3 | Natural Gas | Unavoidable Extension | 17 | 0 | 17 | 2023-06-01 | 2023-10-01 23:59 |  | Other
CHE | CHE_CHEST1 | Natural Gas | Forced Extension | 174 | 131 | 43 | 2023-06-01 15:37 | 2024-05-31 12:00 |  | Other
NCARBIDE | NCARBIDE_NCARBIG7 | Blast-Furnace Gas | Unavoidable Extension | 13 | 0 | 13 | 2023-06-02 10:01 | 2023-11-01 17:00 |  | Other
GRANDVW1 | GRANDVW1_GV1A | Wind | Forced | 107 | 101 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
GRANDVW1 | GRANDVW1_GV1B | Wind | Forced | 104 | 98 | 6 | 2023-06-05 08:00 | 2023-10-31 16:00 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 803 | 21 | 2023-06-07 18:34 | 2023-09-30 23:59 |  | Feedwater Problems/Repairs
GUADG | GUADG_GAS1 | Natural Gas | Forced Extension | 158 | 128 | 30 | 2023-06-09 15:29 | 2023-09-30 23:59 |  | Other
LHSES | LHSES_UNIT1 | Natural Gas | Forced Extension | 392 | 0 | 392 | 2023-06-11 19:10 | 2023-09-30 23:59 |  | Lightening
GPASTURE | GPASTURE_WIND_I | Wind | Forced | 150 | 30 | 120 | 2023-06-15 09:19 | 2023-09-29 17:00 |  | Other
MASSENGL | MASSENGL_G6 | Natural Gas | Forced Extension | 18 | 0 | 18 | 2023-06-18 05:41 | 2023-10-01 23:59 |  | Other
LHSES | LHSES_UNIT2A | Natural Gas | Forced Extension | 523 | 513 | 10 | 2023-06-21 01:19 | 2023-10-04 23:58 |  | Other
WEC | WEC_WECG1 | Wind | Forced Extension | 57 | 0 | 57 | 2023-06-21 20:07 | 2023-11-01 23:59 |  | Other
GREASWOD | GREASWOD_UNIT1 | Solar | Forced Extension | 125 | 85 | 40 | 2023-06-26 16:03 | 2023-11-01 12:00 |  | Other
GREASWOD | GREASWOD_UNIT2 | Solar | Forced Extension | 130 | 13 | 117 | 2023-06-28 18:34 | 2023-11-01 12:00 |  | Other
ELSAUZ | ELSAUZ_UNIT1 | Wind | Forced Extension | 153 | 0 | 153 | 2023-06-29 14:10 | 2023-09-30 17:00 |  | Other
ELSAUZ | ELSAUZ_UNIT2 | Wind | Forced Extension | 149 | 0 | 149 | 2023-06-29 14:10 | 2023-09-30 17:00 |  | Other
HHGT | HHGT_HHOLLOW1 | Wind | Forced Extension | 213 | 126 | 87 | 2023-07-02 04:35 | 2023-09-30 23:59 |  | Other
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 370 | 21 | 2023-07-05 10:19 | 2023-10-22 23:59 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced Extension | 824 | 651 | 173 | 2023-07-06 19:32 | 2023-09-30 23:59 |  | Feedwater Problems/Repairs
CSEC | CSEC_CSECG2 | Wind | Forced Extension | 120 | 98 | 22 | 2023-07-09 02:59 | 2023-09-22 18:00 |  | Other
KING_NW | KING_NW_KINGNW | Wind | Forced Extension | 80 | 54 | 26 | 2023-07-09 06:42 | 2023-10-31 23:59 |  | Other
LASSO | LASSO_UNIT1 | Solar | Forced | 50 | 46 | 4 | 2023-07-09 19:11 | 2023-09-30 23:59 |  | Other
CCEC | CCEC_GT2 | Natural Gas | Forced Extension | 138 | 85 | 53 | 2023-07-13 04:28 | 2023-09-30 23:59 |  | Tube Leak
MCDLD | MCDLD_FCW1 | Wind | Maintenance Level 1 | 124 | 110 | 14 | 2023-07-18 15:08 | 2023-12-31 16:00 |  | Other
WAP | WAP_WAP_G2 | Natural Gas | Forced Extension | 169 | 133 | 36 | 2023-07-19 15:38 | 2023-09-30 23:59 |  | Temperature Limit
WAP | WAP_WAP_G1 | Natural Gas | Forced Extension | 169 | 152 | 17 | 2023-07-19 23:47 | 2023-09-30 23:59 |  | Exhaust Problems/Repairs
WAP | WAP_WAP_G3 | Natural Gas | Forced Extension | 246 | 212 | 34 | 2023-07-26 13:14 | 2023-09-30 23:59 |  | Fuel Problems/Repairs
MUSTNGCK | MUSTNGCK_BES1 | Not Available | Forced | 70 | 20 | 50 | 2023-07-27 08:17 | 2023-10-31 17:00 |  | Other
OLINGR | OLINGR_OLING_2 | Natural Gas | Forced Extension | 107 | 35 | 72 | 2023-07-27 14:19 | 2023-09-25 23:59 |  | Emissions
PH1 | PH1_UNIT1 | Wind | Forced Extension | 109 | 95 | 14 | 2023-07-30 16:13 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
PH1 | PH1_UNIT2 | Wind | Forced Extension | 109 | 100 | 9 | 2023-07-30 16:13 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
HHGT | HHGT_CALLAHAN | Wind | Forced Extension | 114 | 102 | 12 | 2023-07-31 04:46 | 2023-09-30 23:59 |  | Other
LACY_CRK | LACY_CRK_UNIT3 | Wind | Forced Extension | 138 | 133 | 5 | 2023-07-31 05:09 | 2023-10-31 23:59 |  | Other
SPTX12B | SPTX12B_UNIT1 | Solar | Forced Extension | 158 | 140 | 18 | 2023-07-31 13:50 | 2023-09-30 23:59 |  | Other
PB2SES | PB2SES_CT4 | Natural Gas | Forced | 65 | 59 | 6 | 2023-08-01 06:31 | 2023-10-24 23:58 |  | Other
SAGEDRAW | SAGEDRAW_UNIT1 | Wind | Forced Extension | 169 | 163 | 6 | 2023-08-04 09:00 | 2023-10-18 16:00 |  | Turbine/Generator Vibration/Repair
SAGEDRAW | SAGEDRAW_UNIT2 | Wind | Forced Extension | 169 | 155 | 14 | 2023-08-04 09:00 | 2023-10-18 16:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_1 | Wind | Forced Extension | 150 | 138 | 12 | 2023-08-04 09:00 | 2023-10-18 16:00 |  | Turbine/Generator Vibration/Repair
TAHOKA | TAHOKA_UNIT_2 | Wind | Forced Extension | 150 | 141 | 9 | 2023-08-04 09:00 | 2023-10-18 16:00 |  | Turbine/Generator Vibration/Repair
BOARDCRK | BOARDCRK_UNIT1 | Wind | Forced | 109 | 95 | 14 | 2023-08-07 09:12 | 2023-09-30 23:59 |  | Other
BOARDCRK | BOARDCRK_UNIT2 | Wind | Forced | 190 | 146 | 44 | 2023-08-07 09:12 | 2023-09-30 23:59 |  | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced Extension | 163 | 135 | 28 | 2023-08-07 14:40 | 2023-09-30 18:00 | 2023-09-16 02:15 | Unknown
RELOJ | RELOJ_UNIT4 | Wind | Forced | 23 | 0 | 23 | 2023-08-08 05:18 | 2023-12-31 00:01 |  | Turbine/Generator Vibration/Repair
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 780 | 40 | 2023-08-08 08:14 | 2023-09-30 23:58 | 2023-09-17 22:29 | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 775 | 45 | 2023-08-08 08:14 | 2023-09-30 23:58 |  | Other
RELOJ | RELOJ_UNIT2 | Wind | Forced | 48 | 48 | 0 | 2023-08-08 10:57 | 2023-12-28 23:59 |  | Other
RELOJ | RELOJ_UNIT3 | Wind | Forced | 83 | 14 | 69 | 2023-08-08 11:03 | 2023-12-28 23:59 |  | Other
NCARBIDE | NCARBIDE_NCARBIG3 | Natural Gas | Unavoidable Extension | 32 | 0 | 32 | 2023-08-09 12:01 | 2023-10-01 17:00 |  | Feedwater Problems/Repairs
KARAKAW1 | KARAKAW1_UNIT1 | Wind | Forced Extension | 103 | 0 | 103 | 2023-08-09 17:22 | 2023-11-30 23:59 |  | Unknown
BRAUNIG | BRAUNIG_VHB3 | Natural Gas | Forced Extension | 412 | 382 | 30 | 2023-08-09 20:10 | 2023-11-30 23:59 |  | Other
AJAXWIND | AJAXWIND_UNIT1 | Wind | Forced Extension | 226 | 0 | 226 | 2023-08-10 20:48 | 2023-09-30 16:00 |  | Unknown
AJAXWIND | AJAXWIND_UNIT2 | Wind | Forced Extension | 141 | 0 | 141 | 2023-08-10 20:48 | 2023-09-30 16:00 |  | Unknown
STEAM | STEAM_STEAM_3 | Natural Gas | Forced Extension | 36 | 33 | 3 | 2023-08-11 13:03 | 2023-09-25 23:59 |  | Emissions
BLSUMMIT | BLSUMMIT_BLSMT1_5 | Wind | Forced | 133 | 126 | 7 | 2023-08-12 21:00 | 2023-09-30 23:59 |  | Other
CASL_GAP | CASL_GAP_UNIT1 | Solar | Forced | 180 | 144 | 36 | 2023-08-14 03:12 | 2023-12-04 23:58 |  | Other
MYR | MYR_UNIT1 | Solar | Forced | 167 | 167 | 0 | 2023-08-14 17:00 | 2023-09-30 17:00 |  | Other
MYR | MYR_UNIT2 | Solar | Forced | 146 | 146 | 0 | 2023-08-15 04:00 | 2023-09-30 17:00 |  | Other
ANACACHO | ANACACHO_ANA | Wind | Forced | 100 | 97 | 3 | 2023-08-15 12:01 | 2023-09-28 16:00 |  | Other
FENCESLR | FENCESLR_BESS1 | Not Available | Forced | 70 | 0 | 70 | 2023-08-16 22:24 | 2023-12-31 20:00 |  | Other
FENCESLR | FENCESLR_SOLAR1 | Solar | Forced | 138 | 0 | 138 | 2023-08-16 22:24 | 2023-12-31 20:00 |  | Other
FENCESLR | FENCESLR_SOLAR2 | Solar | Forced | 98 | 0 | 98 | 2023-08-16 22:24 | 2023-12-31 20:00 |  | Other
TXCTY | TXCTY_CTC | Natural Gas | Forced Extension | 99 | 68 | 31 | 2023-08-17 08:32 | 2023-09-30 23:59 |  | Fuel Problems/Repairs
HLSES | HLSES_UNIT4 | Natural Gas | Forced Extension | 435 | 425 | 10 | 2023-08-17 19:30 | 2023-10-21 23:59 |  | Lack of Steam Load Availability
THW | THW_THWST_4 | Natural Gas | Forced Extension | 110 | 0 | 110 | 2023-08-17 20:22 | 2023-09-24 23:59 |  | Feedwater Problems/Repairs
SILASRAY | SILASRAY_SILAS_6 | Natural Gas | Forced Extension | 20 | 0 | 20 | 2023-08-18 08:52 | 2023-12-31 23:59 |  | Other
KARAKAW2 | KARAKAW2_UNIT3 | Wind | Forced Extension | 100 | 93 | 7 | 2023-08-21 05:48 | 2023-09-26 21:00 |  | Turbine/Generator Vibration/Repair
BRTSW | BRTSW_BCW1 | Wind | Forced Extension | 120 | 98 | 22 | 2023-08-21 05:50 | 2023-09-19 22:00 |  | Turbine/Generator Vibration/Repair
WHMESA | WHMESA_UNIT3_28 | Wind | Forced Extension | 133 | 130 | 3 | 2023-08-21 06:41 | 2023-10-31 23:59 |  | Other
CCEC | CCEC_GT1 | Natural Gas | Forced Extension | 138 | 85 | 53 | 2023-08-21 09:17 | 2023-09-30 23:59 |  | Tube Leak
DECKER | DECKER_DPGT_4 | Natural Gas | Forced | 49 | 24 | 25 | 2023-08-21 10:26 | 2023-09-30 23:59 |  | Other
STEAM | STEAM_ENGINE_3 | Natural Gas | Forced Extension | 8 | 0 | 8 | 2023-08-23 00:01 | 2023-12-31 23:59 |  | Other
LNCRK | LNCRK_G83 | Wind | Forced | 194 | 170 | 24 | 2023-08-23 14:29 | 2023-12-01 |  | Other
PENA | PENA_UNIT1 | Wind | Forced Extension | 161 | 151 | 10 | 2023-08-25 18:05 | 2023-09-19 07:59 | 2023-09-18 17:06 | Turbine/Generator Vibration/Repair
SJS | SJS_SJS_G1 | Natural Gas | Forced Extension | 83 | 65 | 18 | 2023-08-26 01:23 | 2023-09-30 23:59 |  | Lack of Steam Load Availability
NOVA1SLR | NOVA1SLR_UNIT1 | Solar | Forced Extension | 126 | 90 | 36 | 2023-08-26 07:00 | 2023-09-30 23:59 |  | Other
KING_SE | KING_SE_KINGSE | Wind | Forced Extension | 41 | 16 | 25 | 2023-08-28 09:05 | 2023-10-31 23:59 |  | Other
SJS | SJS_SJS_G2 | Natural Gas | Forced Extension | 83 | 65 | 18 | 2023-08-28 13:05 | 2023-09-30 23:59 | 2023-09-18 10:25 | Emissions
GRSES | GRSES_UNIT1 | Natural Gas | Forced Extension | 239 | 231 | 8 | 2023-08-28 15:48 | 2023-09-18 10:00 | 2023-09-18 10:00 | Inlet Air Problems/Repairs
BLSUMMIT | BLSUMMIT_UNIT2_25 | Wind | Forced Extension | 93 | 78 | 15 | 2023-08-29 12:21 | 2023-09-30 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_17 | Wind | Forced Extension | 13 | 12 | 1 | 2023-08-29 12:24 | 2023-09-30 23:59 |  | Other
BLSUMIT3 | BLSUMIT3_UNIT_25 | Wind | Forced Extension | 182 | 161 | 21 | 2023-08-29 12:24 | 2023-09-30 23:59 |  | Other
HHOLLOW3 | HHOLLOW3_WND_1 | Wind | Forced Extension | 241 | 0 | 241 | 2023-08-29 21:30 | 2023-10-23 08:00 |  | Other
PEARSAL2 | PEARSAL2_AGR_D | Natural Gas | Forced Extension | 51 | 42 | 9 | 2023-08-29 22:16 | 2023-12-30 13:00 |  | Other
CVC | CVC_CVC_G2 | Natural Gas | Unavoidable Extension | 163 | 0 | 163 | 2023-08-30 00:01 | 2023-09-16 16:00 | 2023-09-16 08:05 | Other
AQUILLA | AQUILLA_U1_28 | Wind | Forced Extension | 135 | 115 | 20 | 2023-08-30 05:31 | 2023-09-30 23:59 |  | Other
AQUILLA | AQUILLA_U2_28 | Wind | Forced Extension | 144 | 132 | 12 | 2023-08-30 05:31 | 2023-09-30 23:59 |  | Other
NCO | NCO_ESS1 | Not Available | Forced | 50 | 46 | 4 | 2023-08-30 13:20 | 2023-09-28 23:59 |  | Other
DILEOSLR | DILEOSLR_UNIT1 | Solar | Forced | 71 | 61 | 10 | 2023-08-30 14:00 | 2023-09-29 23:59 |  | Other
SCSES | SCSES_UNIT2 | Natural Gas | Forced Extension | 502 | 490 | 12 | 2023-08-30 23:00 | 2023-09-26 20:30 |  | Other
KING_NE | KING_NE_KINGNE | Wind | Forced | 80 | 58 | 22 | 2023-08-31 05:11 | 2023-09-30 23:59 |  | Other
SUNVASLR | SUNVASLR_BESS1 | Not Available | Forced | 53 | 20 | 33 | 2023-08-31 06:00 | 2023-10-31 23:59 |  | Other
SUNVASLR | SUNVASLR_BESS2 | Not Available | Forced | 47 | 20 | 27 | 2023-08-31 06:00 | 2023-10-31 23:59 |  | Other
FOARDCTY | FOARDCTY_UNIT1 | Wind | Forced | 186 | 166 | 20 | 2023-08-31 09:36 | 2023-09-30 23:59 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced | 745 | 680 | 65 | 2023-08-31 11:46 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
WAP | WAP_WAP_G4 | Natural Gas | Forced Extension | 536 | 465 | 71 | 2023-08-31 12:47 | 2023-09-30 23:59 |  | Fuel Problems/Repairs
HRBESS | HRBESS_BESS | Not Available | Forced | 2 | 1 | 1 | 2023-08-31 13:06 | 2023-09-30 18:00 |  | Other
SLCNHLS | SLCNHLS_ESS1 | Not Available | Forced | 50 | 38 | 12 | 2023-08-31 13:44 | 2023-09-28 23:59 |  | Other
CRANELL | CRANELL_UNIT1 | Wind | Maintenance Level 2 | 220 | 215 | 5 | 2023-08-31 17:11 | 2023-09-30 17:00 |  | Other
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 130 | 73 | 2023-08-31 19:05 | 2023-09-25 23:59 | 2023-09-18 15:45 | Other
BAC | BAC_CTG3 | Natural Gas | Forced Extension | 52 | 0 | 52 | 2023-08-31 19:45 | 2023-09-25 09:00 |  | Other
CSEC | CSEC_CSECG1 | Wind | Forced Extension | 131 | 102 | 29 | 2023-09-01 13:40 | 2023-09-22 18:00 | 2023-09-16 19:42 | Other
SPNCER | SPNCER_SPNCE_4 | Natural Gas | Forced | 57 | 40 | 17 | 2023-09-02 05:24 | 2023-09-30 23:59 |  | Cooling Water Problems/Repairs
TRSES | TRSES_UNIT6 | Natural Gas | Forced Extension | 235 | 0 | 235 | 2023-09-03 22:00 | 2023-09-20 23:59 |  | Other
OVEJA | OVEJA_G1 | Wind | Forced Extension | 151 | 120 | 31 | 2023-09-04 18:00 | 2023-09-16 11:19 | 2023-09-16 11:19 | Other
OVEJA | OVEJA_G2 | Wind | Forced Extension | 151 | 119 | 32 | 2023-09-04 18:00 | 2023-09-16 11:19 | 2023-09-16 11:19 | Other
SLCNHLS | SLCNHLS_ESS2 | Not Available | Maintenance Level 1 | 50 | 48 | 2 | 2023-09-05 09:04 | 2023-09-29 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced | 749 | 657 | 92 | 2023-09-05 13:00 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
SANMIGL | SANMIGL_G1 | Lignite | Forced | 391 | 360 | 31 | 2023-09-05 15:53 | 2023-10-22 23:59 |  | Other
CAPRIDGE | CAPRIDGE_CR1 | Wind | Forced | 232 | 218 | 14 | 2023-09-05 23:52 | 2023-09-30 23:59 |  | Other
HLSES | HLSES_UNIT3 | Natural Gas | Forced | 375 | 350 | 25 | 2023-09-06 04:01 | 2023-10-18 23:59 |  | Other
CBY | CBY_CBY_G1 | Natural Gas | Forced Extension | 745 | 657 | 88 | 2023-09-06 06:00 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
EUNICE | EUNICE_BES1 | Not Available | Forced | 40 | 35 | 5 | 2023-09-06 07:10 | 2023-10-30 09:00 |  | Other
BTE | BTE_BTE_G1 | Natural Gas | Forced | 197 | 190 | 7 | 2023-09-06 08:31 | 2023-09-30 23:59 |  | Other
BVE | BVE_UNIT1 | Natural Gas | Forced | 168 | 162 | 6 | 2023-09-06 08:33 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
BVE | BVE_UNIT2 | Natural Gas | Forced | 168 | 159 | 9 | 2023-09-06 08:35 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
NEDIN | NEDIN_NEDIN_G2 | Natural Gas | Forced | 213 | 208 | 5 | 2023-09-06 08:36 | 2023-09-30 23:59 |  | Inlet Air Problems/Repairs
CAPRIDGE | CAPRIDGE_CR2 | Wind | Forced | 150 | 147 | 3 | 2023-09-06 15:41 | 2023-09-30 23:59 |  | Other
CITYVICT | CITYVICT_CTG02 | Natural Gas | Forced | 47 | 38 | 9 | 2023-09-07 07:00 | 2023-10-30 23:59 |  | Fuel Limitation/Lack of Fuel Availability
GOAT | GOAT_GOATWIND | Wind | Forced | 80 | 68 | 12 | 2023-09-08 06:30 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
CASL_GAP | CASL_GAP_BATTERY1 | Not Available | Forced Extension | 10 | 9 | 1 | 2023-09-08 09:00 | 2023-09-20 08:58 |  | Other
DAN | DAN_UNIT1 | Solar | Forced | 300 | 70 | 230 | 2023-09-08 11:20 | 2023-09-30 23:59 |  | Other
DAN | DAN_UNIT2 | Solar | Forced | 150 | 10 | 140 | 2023-09-08 11:20 | 2023-09-30 23:59 |  | Other
DAN | DAN_UNIT3 | Solar | Forced | 150 | 31 | 119 | 2023-09-08 11:20 | 2023-09-30 23:59 |  | Other
BRAUNIG | BRAUNIG_VHB2 | Natural Gas | Forced Extension | 230 | 210 | 20 | 2023-09-08 11:30 | 2023-10-15 23:59 |  | Feedwater Problems/Repairs
OLINGR | OLINGR_OLING_3 | Natural Gas | Forced | 146 | 100 | 46 | 2023-09-08 16:24 | 2023-09-30 23:59 |  | Other
CAMWIND | CAMWIND_UNIT1 | Wind | Forced | 165 | 108 | 57 | 2023-09-08 20:05 | 2023-09-30 18:00 |  | Unknown
TORR | TORR_UNIT2_23 | Wind | Forced | 23 | 18 | 5 | 2023-09-08 22:19 | 2023-09-30 23:59 |  | Other
TORR | TORR_UNIT2_25 | Wind | Forced | 128 | 105 | 23 | 2023-09-08 22:20 | 2023-10-31 23:59 |  | Other
YNG_WND | YNG_WND_UNIT1 | Wind | Forced | 197 | 197 | 0 | 2023-09-08 22:20 | 2023-09-30 23:59 |  | Other
YNG_WND | YNG_WND_UNIT2 | Wind | Forced | 152 | 143 | 9 | 2023-09-08 22:20 | 2023-09-30 23:59 |  | Other
BRANDON | BRANDON_UNIT1 | Natural Gas | Maintenance Level 1 | 20 | 0 | 20 | 2023-09-08 23:00 | 2023-10-01 | 2023-09-18 05:29 | Other
HI_LONE | HI_LONE_WGR1B | Wind | Forced | 52 | 30 | 22 | 2023-09-09 00:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR2 | Wind | Forced | 123 | 102 | 21 | 2023-09-09 00:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR3 | Wind | Forced | 128 | 73 | 55 | 2023-09-09 00:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HI_LONE | HI_LONE_WGR4 | Wind | Forced | 102 | 75 | 27 | 2023-09-09 00:31 | 2023-10-31 18:30 |  | Turbine/Generator Vibration/Repair
HHOLLOW2 | HHOLLOW2_WIND1 | Wind | Forced | 184 | 174 | 10 | 2023-09-09 02:36 | 2023-09-18 13:30 | 2023-09-17 12:52 | Other
TORR | TORR_UNIT1_25 | Wind | Forced | 150 | 133 | 17 | 2023-09-09 03:00 | 2023-09-30 23:59 |  | Other
JAY | JAY_UNIT2 | Solar | Forced | 172 | 143 | 29 | 2023-09-09 15:12 | 2023-09-23 23:59 |  | Other
CCEC | CCEC_ST1 | Natural Gas | Forced Extension | 139 | 50 | 89 | 2023-09-09 19:08 | 2023-09-17 23:59 | 2023-09-16 12:00 | Other
OLINGR | OLINGR_OLING_3 | Natural Gas | Unavoidable Extension | 146 | 0 | 146 | 2023-09-09 22:56 | 2023-09-22 23:59 |  | Combustion Inspection and Repair
NUECES_B | NUECES_B_NUECESG7 | Natural Gas | Forced Extension | 322 | 0 | 322 | 2023-09-10 | 2023-12-01 |  | Transformer Repair/Replace
NUECES_B | NUECES_B_NUECESG8 | Natural Gas | Forced Extension | 161 | 0 | 161 | 2023-09-10 | 2023-12-01 |  | Transformer Repair/Replace
NUECES_B | NUECES_B_NUECESG9 | Natural Gas | Forced Extension | 161 | 0 | 161 | 2023-09-10 | 2023-12-01 |  | Transformer Repair/Replace
HLSES | HLSES_UNIT5 | Natural Gas | Maintenance Level 2 | 435 | 0 | 435 | 2023-09-10 00:01 | 2023-09-16 23:59 | 2023-09-16 01:09 | Other
HHOLLOW4 | HHOLLOW4_WND1 | Wind | Forced | 115 | 113 | 2 | 2023-09-10 15:20 | 2023-09-30 23:59 |  | Other
DEC | DEC_AGR_B | Natural Gas | Forced Extension | 56 | 38 | 18 | 2023-09-10 18:05 | 2023-09-16 21:00 | 2023-09-16 17:00 | Other
LNCRK2 | LNCRK2_G871 | Wind | Forced | 98 | 60 | 38 | 2023-09-10 22:26 | 2023-12-01 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 60 | 40 | 2023-09-10 22:26 | 2023-12-01 |  | Other
DDPEC | DDPEC_GT2 | Natural Gas | Unavoidable Extension | 206 | 0 | 206 | 2023-09-10 22:52 | 2023-09-17 23:59 | 2023-09-17 20:47 | Other
WOODWRD1 | WOODWRD1_WOODWRD1 | Wind | Forced | 92 | 58 | 34 | 2023-09-10 23:43 | 2023-10-31 23:59 |  | Other
SCLPCOGN | SCLPCOGN_SCLPC_4 | Natural Gas | Unavoidable Extension | 125 | 0 | 125 | 2023-09-11 | 2023-09-19 23:59 | 2023-09-19 00:04 | Other
SANROMAN | SANROMAN_WIND_1 | Wind | Forced Extension | 95 | 56 | 39 | 2023-09-11 00:55 | 2023-09-19 07:00 |  | Other
NOBLESLR | NOBLESLR_SOLAR2 | Solar | Forced Extension | 128 | 103 | 25 | 2023-09-11 05:19 | 2023-09-19 16:00 |  | Unknown
TXCTY | TXCTY_CTA | Natural Gas | Forced Extension | 99 | 0 | 99 | 2023-09-11 08:00 | 2023-09-17 23:59 | 2023-09-17 15:25 | Tube Leak
TXCTY | TXCTY_ST | Natural Gas | Forced Extension | 132 | 90 | 42 | 2023-09-11 08:00 | 2023-09-17 23:59 | 2023-09-17 15:25 | Tube Leak
MCSES | MCSES_UNIT6 | Natural Gas | Forced Extension | 122 | 0 | 122 | 2023-09-11 08:19 | 2023-09-20 23:59 | 2023-09-16 23:59 | Feedwater Problems/Repairs
BRIGHTSD | BRIGHTSD_UNIT1 | Solar | Forced Extension | 50 | 46 | 4 | 2023-09-11 10:35 | 2023-09-22 21:00 |  | Other
LOCKETT | LOCKETT_UNIT1 | Wind | Forced Extension | 184 | 170 | 14 | 2023-09-11 11:49 | 2023-09-25 17:00 |  | Other
CONIGLIO | CONIGLIO_UNIT1 | Solar | Forced | 126 | 98 | 28 | 2023-09-11 12:00 | 2023-10-02 12:00 |  | Other
SANTACRU | SANTACRU_UNIT1 | Wind | Forced Extension | 151 | 132 | 19 | 2023-09-11 12:16 | 2023-09-18 14:00 | 2023-09-18 13:06 | Other
SANTACRU | SANTACRU_UNIT2 | Wind | Forced Extension | 98 | 80 | 18 | 2023-09-11 12:16 | 2023-09-18 14:00 | 2023-09-18 13:06 | Other
BRAZ_WND | BRAZ_WND_WND2 | Wind | Forced | 62 | 20 | 42 | 2023-09-11 14:09 | 2023-11-30 23:59 |  | Overhaul
WOODWRD2 | WOODWRD2_WOODWRD2 | Wind | Forced | 86 | 76 | 10 | 2023-09-11 16:06 | 2023-09-30 23:59 |  | Other
BAC | BAC_CTG5 | Natural Gas | Unavoidable Extension | 56 | 0 | 56 | 2023-09-12 | 2023-09-16 09:00 | 2023-09-16 09:00 | Other
AVIATOR | AVIATOR_UNIT2 | Wind | Forced Extension | 146 | 129 | 17 | 2023-09-12 03:07 | 2023-09-22 17:00 |  | Other
BAFFIN | BAFFIN_UNIT2 | Wind | Forced Extension | 102 | 58 | 44 | 2023-09-12 07:35 | 2023-09-20 17:00 | 2023-09-18 17:03 | Turbine/Generator Vibration/Repair
TRUSGILL | TRUSGILL_UNIT1 | Wind | Unavoidable Extension | 42 | 0 | 42 | 2023-09-12 07:38 | 2023-09-16 12:00 | 2023-09-16 08:22 | Other
TRUSGILL | TRUSGILL_UNIT2 | Wind | Unavoidable Extension | 45 | 0 | 45 | 2023-09-12 07:38 | 2023-09-16 12:00 | 2023-09-16 08:22 | Other
TRUSGILL | TRUSGILL_UNIT3 | Wind | Unavoidable Extension | 42 | 0 | 42 | 2023-09-12 07:38 | 2023-09-16 12:00 | 2023-09-16 08:22 | Other
TRUSGILL | TRUSGILL_UNIT4 | Wind | Unavoidable Extension | 207 | 0 | 207 | 2023-09-12 07:38 | 2023-09-16 12:00 | 2023-09-16 08:22 | Other
MCDLD | MCDLD_FCW1 | Wind | Forced Extension | 124 | 37 | 87 | 2023-09-12 08:33 | 2023-09-16 18:00 | 2023-09-16 18:00 | Unknown
MAVCRK_E | MAVCRK_E_UNIT5 | Wind | Forced Extension | 71 | 67 | 4 | 2023-09-12 12:09 | 2023-09-18 12:00 | 2023-09-18 11:59 | Other
MAVCRK_E | MAVCRK_E_UNIT6 | Wind | Forced Extension | 33 | 30 | 3 | 2023-09-12 12:09 | 2023-09-18 12:00 | 2023-09-18 11:59 | Other
MAVCRK_E | MAVCRK_E_UNIT9 | Wind | Forced Extension | 77 | 67 | 10 | 2023-09-12 12:09 | 2023-09-18 12:00 | 2023-09-18 11:59 | Other
MAVCRK_W | MAVCRK_W_UNIT1 | Wind | Forced Extension | 202 | 193 | 9 | 2023-09-12 12:09 | 2023-09-18 12:00 | 2023-09-18 11:59 | Other
MAVCRK_W | MAVCRK_W_UNIT4 | Wind | Forced Extension | 22 | 15 | 7 | 2023-09-12 12:09 | 2023-09-18 12:00 | 2023-09-18 11:59 | Other
AVIATOR | AVIATOR_UNIT1 | Wind | Forced | 180 | 163 | 17 | 2023-09-12 17:30 | 2023-09-20 18:00 |  | Other
NOBLESLR | NOBLESLR_BESS1 | Not Available | Forced Extension | 63 | 60 | 3 | 2023-09-12 17:30 | 2023-09-19 16:00 |  | Other
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 108 | 7 | 2023-09-12 19:00 | 2023-09-16 22:00 | 2023-09-16 19:00 | Other
CABEZON | CABEZON_WIND2 | Wind | Forced Extension | 122 | 112 | 10 | 2023-09-12 19:00 | 2023-09-16 22:00 | 2023-09-16 19:00 | Other
LEG | LEG_LEG_G2 | Lignite | Forced | 836 | 695 | 141 | 2023-09-13 07:04 | 2023-09-30 23:59 |  | Fuel Problems/Repairs
TREB_SLR | TREB_SLR_SOLAR1 | Solar | Forced Extension | 195 | 18 | 177 | 2023-09-13 09:22 | 2023-09-28 10:00 |  | Other
YNG_WND | YNG_WND_UNIT3 | Wind | Forced | 149 | 132 | 17 | 2023-09-13 09:48 | 2023-10-31 23:59 |  | Other
SPTX12B | SPTX12B_BES1 | Not Available | Forced Extension | 25 | 24 | 1 | 2023-09-13 09:53 | 2023-09-22 23:59 | 2023-09-18 18:27 | Other
WAP | WAP_WAP_G4 | Natural Gas | Unavoidable Extension | 536 | 0 | 536 | 2023-09-13 10:38 | 2023-09-16 03:00 | 2023-09-16 02:21 | Tube Leak
ENDPARKS | ENDPARKS_ESS1 | Not Available | Forced | 50 | 49 | 1 | 2023-09-13 14:28 | 2023-10-13 12:00 |  | Other
PYR | PYR_PYRON1 | Wind | Forced | 122 | 45 | 77 | 2023-09-13 14:45 | 2023-09-29 17:00 |  | Other
PYR | PYR_PYRON2 | Wind | Forced | 128 | 23 | 105 | 2023-09-13 14:46 | 2023-09-29 17:00 |  | Other
HRZN_SLR | HRZN_SLR_UNIT1 | Solar | Forced | 200 | 147 | 53 | 2023-09-13 16:14 | 2023-09-22 12:00 |  | Other
GUNMTN | GUNMTN_G1 | Wind | Forced | 120 | 111 | 9 | 2023-09-13 16:18 | 2023-09-19 18:00 |  | Other
MLSES | MLSES_UNIT2 | Lignite | Forced | 820 | 775 | 45 | 2023-09-13 18:17 | 2023-09-30 23:58 | 2023-09-17 18:48 | Other
B_DAVIS | B_DAVIS_B_DAVIG1 | Natural Gas | Unavoidable Extension | 292 | 0 | 292 | 2023-09-13 22:21 | 2023-09-20 23:00 |  | Other
TXCTY | TXCTY_CTB | Natural Gas | Forced | 99 | 0 | 99 | 2023-09-13 22:21 | 2023-09-17 23:59 | 2023-09-17 04:16 | Tube Leak
TXCTY | TXCTY_ST | Natural Gas | Forced | 132 | 12 | 120 | 2023-09-13 22:21 | 2023-09-17 23:59 | 2023-09-17 04:16 | Tube Leak
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 765 | 90 | 2023-09-13 22:34 | 2023-10-01 07:59 | 2023-09-16 18:04 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced | 855 | 800 | 55 | 2023-09-13 22:35 | 2023-09-18 17:59 | 2023-09-17 18:19 | Other
AMOCOOIL | AMOCOOIL_AMOCO_G2 | Natural Gas | Unavoidable Extension | 160 | 0 | 160 | 2023-09-14 | 2023-09-16 18:00 | 2023-09-16 14:19 | Overhaul
BAC | BAC_CTG1 | Natural Gas | Maintenance Level 1 | 61 | 0 | 61 | 2023-09-14 | 2023-09-16 09:00 | 2023-09-16 09:00 | Other
OGSES | OGSES_UNIT2 | Lignite | Maintenance Level 2 | 855 | 775 | 80 | 2023-09-14 00:01 | 2023-09-17 23:58 | 2023-09-18 00:15 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 105 | 90 | 2023-09-14 02:00 | 2023-09-21 23:59 | 2023-09-16 01:30 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 35 | 110 | 2023-09-14 02:00 | 2023-09-21 23:59 | 2023-09-16 01:30 | Other
WH_WIND | WH_WIND_UNIT1 | Wind | Forced | 209 | 169 | 40 | 2023-09-14 02:00 | 2023-09-21 23:59 | 2023-09-18 20:35 | Other
WH_WIND | WH_WIND_UNIT2 | Wind | Forced | 210 | 181 | 29 | 2023-09-14 02:00 | 2023-09-21 23:59 | 2023-09-18 20:35 | Other
GWEC | GWEC_GWEC_G1 | Wind | Forced Extension | 149 | 138 | 11 | 2023-09-14 04:41 | 2023-09-26 18:00 |  | Other
SCSES | SCSES_UNIT1A | Natural Gas | Forced Extension | 167 | 0 | 167 | 2023-09-14 08:33 | 2023-09-16 09:59 | 2023-09-16 09:46 | Tube Leak
ELB | ELB_ELBCREEK | Wind | Forced Extension | 122 | 101 | 21 | 2023-09-14 10:00 | 2023-09-22 23:59 | 2023-09-17 20:55 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 805 | 50 | 2023-09-14 10:42 | 2023-09-30 10:13 | 2023-09-16 23:56 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 815 | 40 | 2023-09-14 10:42 | 2023-10-01 23:59 | 2023-09-18 17:34 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 840 | 15 | 2023-09-14 10:42 | 2023-10-01 23:59 | 2023-09-17 21:02 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 780 | 75 | 2023-09-14 10:42 | 2023-09-30 10:13 | 2023-09-17 16:02 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 830 | 25 | 2023-09-14 10:42 | 2023-09-30 10:13 | 2023-09-17 19:56 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 790 | 65 | 2023-09-14 10:42 | 2023-09-30 10:13 | 2023-09-16 20:33 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 745 | 110 | 2023-09-14 10:42 | 2023-09-30 10:13 | 2023-09-16 13:00 | Other
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 850 | 5 | 2023-09-14 10:42 | 2023-10-01 23:59 | 2023-09-17 23:55 | Other
DCSES | DCSES_BES1 | Other | Forced | 67 | 62 | 5 | 2023-09-14 14:20 | 2023-09-18 15:59 | 2023-09-16 16:11 | Other
DCSES | DCSES_BES2 | Other | Forced Extension | 67 | 57 | 10 | 2023-09-14 14:20 | 2023-09-20 16:00 |  | Other
DCSES | DCSES_BES2 | Other | Forced | 67 | 47 | 20 | 2023-09-14 14:20 | 2023-09-18 15:59 | 2023-09-16 17:58 | Other
DCSES | DCSES_BES3 | Other | Forced Extension | 64 | 59 | 5 | 2023-09-14 14:20 | 2023-09-20 16:00 |  | Other
DCSES | DCSES_BES3 | Other | Forced | 64 | 53 | 11 | 2023-09-14 14:20 | 2023-09-18 15:59 | 2023-09-16 17:58 | Other
DCSES | DCSES_BES4 | Other | Forced Extension | 64 | 47 | 17 | 2023-09-14 14:20 | 2023-09-20 16:00 |  | Other
DCSES | DCSES_BES4 | Other | Forced | 64 | 47 | 17 | 2023-09-14 14:20 | 2023-09-18 15:59 | 2023-09-16 17:58 | Other
BUFF_GAP | BUFF_GAP_UNIT2_1 | Wind | Unavoidable Extension | 116 | 0 | 116 | 2023-09-14 17:01 | 2023-09-16 23:59 | 2023-09-16 13:03 | Other
BUFF_GAP | BUFF_GAP_UNIT2_2 | Wind | Unavoidable Extension | 117 | 0 | 117 | 2023-09-14 17:01 | 2023-09-16 23:59 | 2023-09-16 13:02 | Other
COLETO | COLETO_COLETOG1 | Subbituminous Coal | Forced | 655 | 645 | 10 | 2023-09-14 22:48 | 2023-09-30 23:59 | 2023-09-18 06:29 | Inlet Air Problems/Repairs
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 153 | 11 | 2023-09-14 23:09 | 2023-09-30 23:00 | 2023-09-16 02:23 | Other
BAFFIN | BAFFIN_UNIT1 | Wind | Forced | 100 | 38 | 62 | 2023-09-15 02:54 | 2023-09-19 21:00 |  | Turbine/Generator Vibration/Repair
NEBULA | NEBULA_UNIT1 | Solar | Forced Extension | 138 | 0 | 138 | 2023-09-15 03:30 | 2023-09-22 16:00 |  | Other
WAP | WAP_WAP_G1 | Natural Gas | Unavoidable Extension | 169 | 0 | 169 | 2023-09-15 06:00 | 2023-09-16 23:59 | 2023-09-16 14:40 | Fuel Problems/Repairs
FTR | FTR_FTR_G4 | Natural Gas | Forced | 400 | 370 | 30 | 2023-09-15 07:40 | 2023-09-18 23:59 | 2023-09-18 22:52 | Lack of Steam Load Availability
SPLAIN2 | SPLAIN2_WIND21 | Wind | Forced | 149 | 128 | 21 | 2023-09-15 08:56 | 2023-09-30 20:00 | 2023-09-17 07:59 | Other
OGSES | OGSES_UNIT2 | Lignite | Forced Extension | 855 | 0 | 855 | 2023-09-15 10:49 | 2023-09-17 07:59 | 2023-09-17 07:13 | Inlet Air Problems/Repairs
FRYE_SLR | FRYE_SLR_UNIT1 | Solar | Forced | 250 | 50 | 200 | 2023-09-15 10:54 | 2023-09-22 23:59 |  | Other
FRYE_SLR | FRYE_SLR_UNIT2 | Solar | Forced | 250 | 7 | 243 | 2023-09-15 10:54 | 2023-09-22 23:59 | 2023-09-18 10:15 | Other
WAP | WAP_WAP_G6 | Bituminous Coal | Forced Extension | 663 | 639 | 24 | 2023-09-15 12:49 | 2023-09-19 23:59 |  | Inlet Air Problems/Repairs
SAMSON_3 | SAMSON_3_G1 | Solar | Forced | 125 | 115 | 10 | 2023-09-15 13:40 | 2023-10-02 18:00 |  | Other
SAMSON_3 | SAMSON_3_G2 | Solar | Forced | 125 | 115 | 10 | 2023-09-15 13:40 | 2023-10-02 18:00 |  | Other
NOVA1SLR | NOVA1SLR_UNIT2 | Solar | Forced | 126 | 100 | 26 | 2023-09-15 13:55 | 2023-09-18 05:00 | 2023-09-18 05:00 | Other
REDBARN | REDBARN_UNIT_1 | Solar | Forced Extension | 222 | 210 | 12 | 2023-09-15 14:31 | 2023-09-18 18:00 | 2023-09-18 16:54 | Other
WAYMARK | WAYMARK_UNIT1 | Solar | Forced | 182 | 138 | 44 | 2023-09-15 14:56 | 2023-09-30 23:59 |  | Other
MIAM1 | MIAM1_G1 | Wind | Forced | 144 | 122 | 22 | 2023-09-15 15:40 | 2023-09-20 18:00 |  | Other
MIAM1 | MIAM1_G2 | Wind | Forced | 144 | 121 | 23 | 2023-09-15 15:40 | 2023-09-20 18:00 |  | Other
BVE | BVE_UNIT1 | Natural Gas | Forced Extension | 168 | 0 | 168 | 2023-09-15 15:52 | 2023-09-16 23:59 | 2023-09-16 14:51 | Other
BVE | BVE_UNIT3 | Natural Gas | Forced Extension | 270 | 120 | 150 | 2023-09-15 15:52 | 2023-09-16 23:59 | 2023-09-16 14:51 | Other
GRSES | GRSES_UNIT2 | Natural Gas | Forced Extension | 390 | 175 | 215 | 2023-09-15 15:53 | 2023-09-18 10:00 | 2023-09-17 09:00 | Other
RPUBRDS | RPUBRDS_ESS1 | Not Available | Maintenance Level 2 | 50 | 40 | 10 | 2023-09-15 16:00 | 2023-09-22 23:59 |  | Other
BVE | BVE_UNIT2 | Natural Gas | Forced Extension | 168 | 0 | 168 | 2023-09-15 16:11 | 2023-09-16 14:00 | 2023-09-16 11:15 | Other
BVE | BVE_UNIT3 | Natural Gas | Forced Extension | 270 | 0 | 270 | 2023-09-15 16:11 | 2023-09-16 14:00 | 2023-09-16 11:15 | Other
DIB | DIB_DIB_G4 | Natural Gas | Forced | 81 | 0 | 81 | 2023-09-15 16:34 | 2023-09-16 23:59 | 2023-09-16 03:35 | Lightening
SAMSON_1 | SAMSON_1_G1 | Solar | Forced | 125 | 0 | 125 | 2023-09-15 18:04 | 2023-09-18 18:00 | 2023-09-16 19:04 | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced | 125 | 67 | 58 | 2023-09-15 18:04 | 2023-09-18 18:00 | 2023-09-16 16:10 | Other
VERAWIND | VERAWIND_UNIT1 | Wind | Forced | 12 | 6 | 6 | 2023-09-15 19:00 | 2023-09-16 22:00 | 2023-09-16 19:00 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT2 | Wind | Forced | 7 | 7 | 0 | 2023-09-15 19:00 | 2023-09-16 22:00 | 2023-09-16 19:00 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Forced | 101 | 64 | 37 | 2023-09-15 19:00 | 2023-09-16 22:00 | 2023-09-16 19:00 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT4 | Wind | Forced | 22 | 16 | 6 | 2023-09-15 19:00 | 2023-09-16 22:00 | 2023-09-16 19:00 | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced | 101 | 52 | 49 | 2023-09-15 19:00 | 2023-09-16 22:00 | 2023-09-16 19:00 | Turbine/Generator Vibration/Repair
DAG | DAG_UNIT2 | Solar | Forced | 100 | 58 | 42 | 2023-09-15 19:01 | 2023-09-16 09:00 | 2023-09-16 01:02 | Other
JAY | JAY_UNIT1 | Solar | Maintenance Level 2 | 180 | 0 | 180 | 2023-09-15 20:00 | 2023-09-16 06:45 | 2023-09-16 06:10 | Other
JAY | JAY_UNIT2 | Solar | Maintenance Level 2 | 172 | 0 | 172 | 2023-09-15 20:00 | 2023-09-16 06:45 | 2023-09-16 06:10 | Other
WAP | WAP_WAP_G8 | Bituminous Coal | Forced Extension | 610 | 320 | 290 | 2023-09-15 22:20 | 2023-09-16 03:00 | 2023-09-16 01:17 | Fuel Limitation/Lack of Fuel Availability
CORAZON | CORAZON_UNIT1 | Solar | Forced | 203 | 0 | 203 | 2023-09-15 23:01 | 2023-09-16 23:59 | 2023-09-16 12:50 | Other
TAYGETE | TAYGETE_UNIT1 | Solar | Forced | 126 | 117 | 9 | 2023-09-15 23:55 | 2023-09-20 18:00 | 2023-09-16 21:24 | Other
OWF | OWF_OWF | Wind | Forced | 55 | 25 | 30 | 2023-09-15 23:56 | 2023-09-30 23:59 |  | Turbine/Generator Vibration/Repair
ETCCS | ETCCS_CT1 | Natural Gas | Forced | 212 | 195 | 17 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
FRNYPP | FRNYPP_GT11 | Natural Gas | Forced | 169 | 154 | 15 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
FRNYPP | FRNYPP_GT12 | Natural Gas | Forced | 161 | 150 | 11 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
FRNYPP | FRNYPP_GT13 | Natural Gas | Forced | 161 | 150 | 11 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
FRNYPP | FRNYPP_GT21 | Natural Gas | Forced | 169 | 157 | 12 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
FRNYPP | FRNYPP_GT22 | Natural Gas | Forced | 161 | 150 | 11 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
FRNYPP | FRNYPP_GT23 | Natural Gas | Forced | 161 | 150 | 11 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
GRSES | GRSES_UNIT1 | Natural Gas | Forced | 239 | 174 | 65 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
LPCCS | LPCCS_CT21 | Natural Gas | Forced | 153 | 141 | 12 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
LPCCS | LPCCS_CT22 | Natural Gas | Forced | 161 | 148 | 13 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
WCPP | WCPP_CT1 | Natural Gas | Forced | 245 | 194 | 51 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
WCPP | WCPP_CT2 | Natural Gas | Forced | 245 | 194 | 51 | 2023-09-16 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
DCSES | DCSES_CT10 | Natural Gas | Maintenance Level 2 | 72 | 0 | 72 | 2023-09-16 00:01 | 2023-09-18 | 2023-09-18 | Other
BTE | BTE_BTE_G1 | Natural Gas | Maintenance Level 3 | 197 | 90 | 107 | 2023-09-16 00:12 | 2023-10-04 10:00 |  | Turbine/Generator Vibration/Repair
BTE | BTE_BTE_G4 | Natural Gas | Maintenance Level 3 | 147 | 0 | 147 | 2023-09-16 00:12 | 2023-10-04 10:00 |  | Turbine/Generator Vibration/Repair
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 95 | 100 | 2023-09-16 01:30 | 2023-09-25 | 2023-09-16 08:34 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 45 | 100 | 2023-09-16 01:30 | 2023-09-25 | 2023-09-16 08:34 | Other
MIDWIND | MIDWIND_UNIT1 | Wind | Forced | 163 | 120 | 43 | 2023-09-16 02:15 | 2023-09-30 18:00 |  | Unknown
WAP | WAP_WAP_G5 | Bituminous Coal | Forced | 664 | 0 | 664 | 2023-09-16 02:31 | 2023-09-16 12:00 | 2023-09-16 04:15 | Feedwater Problems/Repairs
FOARDCTY | FOARDCTY_UNIT2 | Wind | Forced | 164 | 153 | 11 | 2023-09-16 04:10 | 2023-09-25 04:10 |  | Other
GIDEON | GIDEON_GIDEONG2 | Natural Gas | Forced | 135 | 0 | 135 | 2023-09-16 04:20 | 2023-09-16 08:00 | 2023-09-16 05:37 | Other
GIDEON | GIDEON_GIDEONG2 | Natural Gas | Forced | 135 | 39 | 96 | 2023-09-16 04:20 | 2023-09-16 08:00 | 2023-09-16 06:14 | Other
GIDEON | GIDEON_GIDEONG2 | Natural Gas | Forced | 135 | 39 | 96 | 2023-09-16 04:20 | 2023-09-16 08:00 | 2023-09-16 05:37 | Unknown
BULLCRK | BULLCRK_WND1 | Wind | Forced | 88 | 69 | 19 | 2023-09-16 04:29 | 2023-09-16 23:59 | 2023-09-16 09:54 | Other
CARBN | CARBN_BSP_1 | Blast-Furnace Gas | Forced | 18 | 0 | 18 | 2023-09-16 05:13 | 2023-09-16 23:59 | 2023-09-16 23:59 | Other
MCDLD | MCDLD_SB1_2 | Wind | Forced | 71 | 0 | 71 | 2023-09-16 05:49 | 2023-09-16 05:50 | 2023-09-16 05:50 | Other
MCDLD | MCDLD_SB1_2 | Wind | Forced | 71 | 0 | 71 | 2023-09-16 05:49 | 2023-09-16 18:00 | 2023-09-16 05:50 | Other
MCDLD | MCDLD_SB1_2 | Wind | Forced | 71 | 41 | 30 | 2023-09-16 05:51 | 2023-09-16 18:00 | 2023-09-16 12:59 | Other
BUFF_GAP | BUFF_GAP_UNIT3 | Wind | Maintenance Level 1 | 170 | 0 | 170 | 2023-09-16 07:00 | 2023-09-20 23:59 |  | Other
LNCRK2 | LNCRK2_G872 | Wind | Forced | 100 | 68 | 32 | 2023-09-16 07:22 | 2023-09-16 23:59 |  | Other
WAP | WAP_WAP_G8 | Bituminous Coal | Forced | 610 | 320 | 290 | 2023-09-16 08:00 | 2023-09-16 20:00 | 2023-09-16 19:52 | Other
BAIRDWND | BAIRDWND_UNIT1 | Wind | Forced | 195 | 90 | 105 | 2023-09-16 08:30 | 2023-09-25 | 2023-09-18 20:30 | Other
BAIRDWND | BAIRDWND_UNIT2 | Wind | Forced | 145 | 35 | 110 | 2023-09-16 08:30 | 2023-09-25 | 2023-09-18 20:30 | Other
CBECII | CBECII_CT7 | Natural Gas | Maintenance Level 1 | 332 | 150 | 182 | 2023-09-16 09:00 | 2023-09-16 10:00 | 2023-09-16 09:57 | Fuel Problems/Repairs
CBECII | CBECII_CT8 | Natural Gas | Maintenance Level 1 | 338 | 150 | 188 | 2023-09-16 09:00 | 2023-09-16 10:00 | 2023-09-16 09:57 | Fuel Problems/Repairs
CBECII | CBECII_STG9 | Natural Gas | Maintenance Level 1 | 483 | 153 | 330 | 2023-09-16 09:00 | 2023-09-16 10:00 | 2023-09-16 09:57 | Steam Turbine Limited/Unavailable Due to CT/GT Work
MCSES | MCSES_UNIT7 | Natural Gas | Forced | 118 | 0 | 118 | 2023-09-16 09:00 | 2023-09-16 10:00 | 2023-09-16 10:14 | Other
MCLNSLR | MCLNSLR_UNIT1 | Solar | Forced | 200 | 187 | 13 | 2023-09-16 09:20 | 2023-09-16 16:00 | 2023-09-16 09:35 | Other
OVEJA | OVEJA_G1 | Wind | Forced | 151 | 120 | 31 | 2023-09-16 11:20 | 2023-09-20 18:00 |  | Other
OVEJA | OVEJA_G2 | Wind | Forced | 151 | 119 | 32 | 2023-09-16 11:20 | 2023-09-20 18:00 |  | Other
CBY | CBY_CBY_G2 | Natural Gas | Forced | 749 | 0 | 749 | 2023-09-16 12:00 | 2023-09-16 13:00 | 2023-09-16 13:09 | Other
WAP | WAP_WAP_G7 | Bituminous Coal | Forced | 577 | 159 | 418 | 2023-09-16 12:41 | 2023-09-16 16:00 | 2023-09-16 14:19 | Fuel Limitation/Lack of Fuel Availability
OGSES | OGSES_UNIT1A | Lignite | Forced | 855 | 810 | 45 | 2023-09-16 13:01 | 2023-09-30 10:13 | 2023-09-16 19:14 | Other
AMOCOOIL | AMOCOOIL_AMOCO_G1 | Natural Gas | Forced | 160 | 0 | 160 | 2023-09-16 14:19 | 2023-09-16 22:00 | 2023-09-16 15:07 | Overhaul
WAP | WAP_WAP_G7 | Bituminous Coal | Forced Extension | 577 | 226 | 351 | 2023-09-16 14:19 | 2023-09-16 17:00 | 2023-09-16 16:19 | Fuel Limitation/Lack of Fuel Availability
CAPRIDGE | CAPRIDGE_CR3 | Wind | Forced | 201 | 192 | 9 | 2023-09-16 14:32 | 2023-09-30 23:59 |  | Other
FLTCK | FLTCK_SSI | Wind | Forced Extension | 53 | 21 | 32 | 2023-09-16 14:36 | 2023-09-21 18:00 | 2023-09-17 11:25 | Other
COYOTE_W | COYOTE_W_UNIT1 | Wind | Forced | 90 | 72 | 18 | 2023-09-16 15:37 | 2023-09-22 23:59 |  | Other
COYOTE_W | COYOTE_W_UNIT3 | Wind | Forced | 126 | 117 | 9 | 2023-09-16 15:38 | 2023-09-22 23:59 |  | Other
SSPURTWO | SSPURTWO_WIND_1 | Wind | Forced | 161 | 139 | 22 | 2023-09-16 15:39 | 2023-09-18 23:59 |  | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced | 125 | 12 | 113 | 2023-09-16 16:10 | 2023-09-18 18:00 | 2023-09-16 19:04 | Other
MCSES | MCSES_UNIT8 | Natural Gas | Forced Extension | 568 | 0 | 568 | 2023-09-16 16:58 | 2023-09-17 02:00 | 2023-09-17 02:00 | Other
DEC | DEC_AGR_B | Natural Gas | Forced Extension | 56 | 18 | 38 | 2023-09-16 17:00 | 2023-09-19 21:00 | 2023-09-17 13:35 | Other
LONEWOLF | LONEWOLF_G1 | Wind | Forced Extension | 48 | 35 | 13 | 2023-09-16 17:00 | 2023-09-19 16:00 |  | Other
LONEWOLF | LONEWOLF_G2 | Wind | Forced Extension | 51 | 27 | 24 | 2023-09-16 17:00 | 2023-09-19 16:00 |  | Other
LONEWOLF | LONEWOLF_G3 | Wind | Forced Extension | 26 | 23 | 3 | 2023-09-16 17:00 | 2023-09-19 16:00 |  | Other
LONEWOLF | LONEWOLF_G4 | Wind | Forced Extension | 24 | 17 | 7 | 2023-09-16 17:00 | 2023-09-19 16:00 |  | Other
LEG | LEG_LEG_G1 | Lignite | Forced | 824 | 556 | 268 | 2023-09-16 17:08 | 2023-09-17 12:00 | 2023-09-16 19:48 | Feedwater Problems/Repairs
WAP | WAP_WAP_G5 | Bituminous Coal | Forced | 664 | 519 | 145 | 2023-09-16 17:43 | 2023-09-16 20:00 | 2023-09-16 19:41 | Fuel Limitation/Lack of Fuel Availability
FORMOSA | FORMOSA_FORMOSG5 | Natural Gas | Maintenance Level 2 | 83 | 0 | 83 | 2023-09-16 18:59 | 2023-11-15 16:00 |  | Overhaul
CABEZON | CABEZON_WIND1 | Wind | Forced Extension | 115 | 108 | 7 | 2023-09-16 19:00 | 2023-09-19 22:00 |  | Other
CABEZON | CABEZON_WIND2 | Wind | Forced Extension | 122 | 112 | 10 | 2023-09-16 19:00 | 2023-09-19 22:00 |  | Other
VERAWIND | VERAWIND_UNIT1 | Wind | Forced Extension | 12 | 6 | 6 | 2023-09-16 19:00 | 2023-09-19 22:00 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT2 | Wind | Forced Extension | 7 | 7 | 0 | 2023-09-16 19:00 | 2023-09-19 22:00 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT3 | Wind | Forced Extension | 101 | 64 | 37 | 2023-09-16 19:00 | 2023-09-19 22:00 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT4 | Wind | Forced Extension | 22 | 16 | 6 | 2023-09-16 19:00 | 2023-09-19 22:00 |  | Turbine/Generator Vibration/Repair
VERAWIND | VERAWIND_UNIT5 | Wind | Forced Extension | 101 | 52 | 49 | 2023-09-16 19:00 | 2023-09-19 22:00 |  | Turbine/Generator Vibration/Repair
SAMSON_1 | SAMSON_1_G1 | Solar | Forced | 125 | 125 | 0 | 2023-09-16 19:05 | 2023-09-18 18:00 | 2023-09-17 09:55 | Other
SAMSON_1 | SAMSON_1_G2 | Solar | Forced | 125 | 106 | 19 | 2023-09-16 19:05 | 2023-09-18 18:00 | 2023-09-17 09:55 | Other
CSEC | CSEC_CSECG1 | Wind | Forced | 131 | 82 | 49 | 2023-09-16 19:43 | 2023-09-22 18:00 | 2023-09-18 16:20 | Other
DEC | DEC_AGR_B | Natural Gas | Forced | 56 | 37 | 19 | 2023-09-16 21:00 | 2023-09-19 21:00 |  | Unknown
CBY | CBY_CBY_G2 | Natural Gas | Forced Extension | 749 | 305 | 444 | 2023-09-16 21:57 | 2023-09-17 06:00 | 2023-09-17 05:49 | Cooling Water Problems/Repairs
APOGEE | APOGEE_UNIT4 | Wind | Forced | 115 | 95 | 20 | 2023-09-16 22:06 | 2023-09-19 23:59 |  | Other
WAP | WAP_WAP_G5 | Bituminous Coal | Forced | 664 | 605 | 59 | 2023-09-16 22:29 | 2023-09-17 23:59 | 2023-09-17 02:15 | Inlet Air Problems/Repairs
TNSKA | TNSKA_GT1 | Natural Gas | Maintenance Level 1 | 86 | 0 | 86 | 2023-09-16 23:30 | 2023-09-17 11:30 | 2023-09-17 10:27 | Tube Leak
2023-09-19 |  |  |  | 2 |  |  |  | 5:03